## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-30 00:00:00 | 3.628 | 16.74 | 4.903 | 27.85 | 4.934 | 14.23 | 4.912 | 27.35 | 4.064 | 976.195 | 85.1331 | 10.8481
2019-12-30 00:15:00 | 3.547 | 6.277 | 4.305 | 18.74 | 4.28 | 8.11 | 3.995 | 8.65 | 4.072 | 976.611 | 85.6169 | 15.1452
2019-12-30 00:30:00 | 4.65 | 10.05 | 6.038 | 23.17 | 5.786 | 9.32 | 5.391 | 14.96 | 4.127 | 976.594 | 85.212 | 20.717
2019-12-30 00:45:00 | 5.242 | 3.852 | 5.496 | 17.13 | 5.961 | 13.7 | 6.104 | 4.937 | 3.883 | 976.636 | 86.5809 | 33.0504
2019-12-30 01:00:00 | 5.597 | 9.89 | 7.534 | 25.26 | 7.06 | 11.83 | 6.779 | 12.7 | 3.717 | 976.636 | 86.3429 | 31.7831
2019-12-30 01:15:00 | 5.783 | 10.2 | 7.166 | 24.08 | 7.08 | 12.05 | 6.776 | 15.54 | 3.672 | 976.785 | 85.9683 | 23.8835
2019-12-30 01:30:00 | 4.754 | 12.38 | 7.23 | 28.35 | 7.047 | 14.45 | 6.789 | 17.48 | 3.66 | 976.933 | 84.666 | 23.1297
2019-12-30 01:45:00 | 5.528 | 12.26 | 8.25 | 27.28 | 7.899 | 14.51 | 7.484 | 18.04 | 3.699 | 976.933 | 83.3696 | 26.6657
2019-12-30 02:00:00 | 6.805 | 6.773 | 7.526 | 17.65 | 7.19 | 6.973 | 7.204 | 8.13 | 3.58 | 977.525 | 85.4887 | 34.6753
2019-12-30 02:15:00 | 7.142 | 5.075 | 7.493 | 17.88 | 7.563 | 11.5 | 7.599 | 5.318 | 3.147 | 977.229 | 86.379 | 48.432
2019-12-30 02:30:00 | 7.548 | 4.858 | 8.09 | 14.78 | 7.965 | 4.944 | 7.803 | 6.94 | 2.603 | 977.528 | 89.4568 | 50.7154
2019-12-30 02:45:00 | 7.035 | 11.02 | 9.08 | 24.05 | 9.13 | 9.8 | 8.55 | 14.95 | 2.441 | 976.924 | 86.178 | 61.4572
2019-12-30 03:00:00 | 8.31 | 11.55 | 11.89 | 27.35 | 11.18 | 17.21 | 10.74 | 14.46 | 2.804 | 976.933 | 85.2896 | 64.6798
2019-12-30 03:15:00 | 7.956 | 3.324 | 8.19 | 18.37 | 8.52 | 13.57 | 8.77 | 4.671 | 1.895 | 977.231 | 89.4584 | 63.7435
2019-12-30 03:30:00 | 8.52 | 4.677 | 9.17 | 16.88 | 9.12 | 8.32 | 9.19 | 6.444 | 1.586 | 976.933 | 88.9117 | 64.3494
2019-12-30 03:45:00 | 8.63 | 8.15 | 10.16 | 22.82 | 9.74 | 10.23 | 9.51 | 8.37 | 1.211 | 976.933 | 86.9981 | 65.0884
2019-12-30 04:00:00 | 9.82 | 8.07 | 12.63 | 23.5 | 11.67 | 10.36 | 11.17 | 11.51 | 1.113 | 976.487 | 82.3633 | 62.2138
2019-12-30 04:15:00 | 9.41 | 8.22 | 11.76 | 24.42 | 10.59 | 15.79 | 10.01 | 10.18 | 0.863 | 976.944 | 80.3867 | 68.3046
2019-12-30 04:30:00 | 8.96 | 4.095 | 9.86 | 21.64 | 9.76 | 9.99 | 9.79 | 6.167 | 0.585 | 977.581 | 76.0862 | 67.4235
2019-12-30 04:45:00 | 7.704 | 10.17 | 9.67 | 23.1 | 9.08 | 10.62 | 8.7 | 9.42 | 0.173 | 977.678 | 71.6457 | 66.5782
2019-12-30 05:00:00 | 8.52 | 9.66 | 11.15 | 27.01 | 10.04 | 14.21 | 9.44 | 13.03 | 0.072 | 977.827 | 68.1251 | 65.2916
2019-12-30 05:15:00 | 8.82 | 9.71 | 10.49 | 22.96 | 10.04 | 10.02 | 9.72 | 9.21 | -0.074 | 977.827 | 66.7233 | 67.033
2019-12-30 05:30:00 | 8.18 | 9.38 | 10.27 | 25.34 | 9.38 | 11.74 | 9.05 | 13.57 | -0.118 | 978.273 | 66.8602 | 57.0938
2019-12-30 05:45:00 | 8.15 | 11.72 | 10.2 | 26.84 | 9.56 | 13.84 | 9.38 | 12.04 | -0.191 | 979.017 | 64.398 | 58.7908
2019-12-30 06:00:00 | 8.34 | 6.849 | 9.35 | 21.11 | 9.16 | 11.09 | 8.82 | 7.823 | -0.602 | 978.125 | 62.485 | 65.251
2019-12-30 06:15:00 | 8.29 | 5.364 | 8.92 | 14.76 | 9.38 | 11.88 | 9.45 | 5.507 | -0.789 | 979.017 | 60.9127 | 57.7192
2019-12-30 06:30:00 | 9.48 | 5.622 | 9.76 | 19.39 | 9.98 | 12.58 | 10.1 | 4.945 | -1.224 | 979.314 | 59.4428 | 60.966
2019-12-30 06:45:00 | 8.71 | 3.962 | 9.51 | 21.39 | 9.29 | 12.78 | 9.37 | 5.021 | -1.543 | 979.165 | 59.956 | 69.5843
2019-12-30 07:00:00 | 8.86 | 7.578 | 9.78 | 22.49 | 9.33 | 13.18 | 9.33 | 7.984 | -1.844 | 979.611 | 60.7843 | 70.1799
2019-12-30 07:15:00 | 9.01 | 9.1 | 10.37 | 22.05 | 9.74 | 10.32 | 9.48 | 10.45 | -2.052 | 979.611 | 61.6752 | 59.3131
2019-12-30 07:30:00 | 7.936 | 9.87 | 10.51 | 25.23 | 9.97 | 12.72 | 9.43 | 13.77 | -2.062 | 979.909 | 64 | 56.254
2019-12-30 07:45:00 | 8.25 | 8.06 | 9.79 | 24.51 | 9.2 | 12.25 | 8.87 | 11.75 | -2.162 | 980.206 | 64.8889 | 50.8411
2019-12-30 08:00:00 | 7.816 | 8.1 | 9.1 | 21.48 | 8.87 | 10.59 | 8.47 | 10.03 | -2.301 | 980.801 | 64.2051 | 56.7761
2019-12-30 08:15:00 | 8.39 | 359.6 | 8.6 | 18.41 | 10.31 | 17.67 | 11.03 | 2.772 | -2.547 | 981.396 | 61.6068 | 65.7361
2019-12-30 08:30:00 | 9.3 | 6.376 | 9.92 | 22.37 | 9.83 | 13.38 | 10.23 | 4.736 | -2.729 | 981.396 | 58.359 | 70.0588
2019-12-30 08:45:00 | 9.24 | 9.13 | 10.01 | 25.21 | 9.4 | 13.89 | 8.96 | 10.96 | -2.801 | 981.99 | 56.547 | 72.7784
2019-12-30 09:00:00 | 10.04 | 6.653 | 10.29 | 24.64 | 9.61 | 15.87 | 9.94 | 4.707 | -2.809 | 981.842 | 52.5812 | 73.1284
2019-12-30 09:15:00 | 9.75 | 7.753 | 9.61 | 22.71 | 10.2 | 16.56 | 10.87 | 3.959 | -2.861 | 982.585 | 48.8205 | 76.9484
2019-12-30 09:30:00 | 10.26 | 6.874 | 11.19 | 24.39 | 10.16 | 13.84 | 10.05 | 7.832 | -2.944 | 982.585 | 46.4911 | 77.397
2019-12-30 09:45:00 | 10.41 | 10.65 | 11.78 | 26.85 | 10.55 | 15.64 | 10.43 | 10.04 | -2.901 | 982.883 | 43.4798 | 80.1811
2019-12-30 10:00:00 | 10.15 | 7.21 | 11.36 | 23.87 | 10.49 | 13.5 | 10.58 | 7.236 | -2.862 | 983.18 | 41.5656 | 77.8219
2019-12-30 10:15:00 | 10.27 | 6.905 | 11.92 | 28.9 | 10.61 | 19.94 | 10.71 | 6.062 | -2.947 | 983.775 | 39.1044 | 79.9934
2019-12-30 10:30:00 | 10.93 | 6.389 | 11.16 | 23.85 | 11.62 | 17.85 | 12.33 | 3.361 | -2.855 | 984.072 | 34.0797 | 81.3605
2019-12-30 10:45:00 | 11.09 | 6.902 | 11.25 | 23.37 | 11.68 | 16.99 | 12.17 | 3.891 | -3.01 | 984.369 | 34.0113 | 79.5537
2019-12-30 11:00:00 | 10.67 | 6.897 | 10.86 | 27.99 | 10.77 | 20.72 | 11.37 | 1.9 | -2.916 | 984.369 | 33.3618 | 76.6286
2019-12-30 11:15:00 | 9.9 | 9.98 | 11 | 27.77 | 9.44 | 17.75 | 9.48 | 6.581 | -2.818 | 984.072 | 31.3791 | 71.9255
2019-12-30 11:30:00 | 9.4 | 9.51 | 11.49 | 28.04 | 9.48 | 17.24 | 9.14 | 11.49 | -2.802 | 984.667 | 30.9687 | 74.9843
2019-12-30 11:45:00 | 7.573 | 15.06 | 11.61 | 33.17 | 10.17 | 21.44 | 10 | 14.33 | -2.785 | 984.518 | 30.9347 | 72.7893
2019-12-30 12:00:00 | 9.56 | 5.124 | 10.35 | 29.89 | 10.46 | 19.93 | 11.04 | 0.579 | -2.767 | 984.072 | 28.4394 | 74.0041
2019-12-30 12:15:00 | 10.44 | 12.39 | 12.28 | 27.01 | 10.76 | 19.67 | 10.56 | 8.76 | -3.015 | 984.369 | 28.6447 | 77.6804
2019-12-30 12:30:00 | 8.86 | 357.3 | 9.66 | 25.67 | 10.69 | 21.34 | 11.3 | 355.1 | -2.775 | 983.923 | 27.2774 | 76.7287
2019-12-30 12:45:00 | 9.76 | 1.145 | 9.92 | 28.48 | 10.97 | 24.88 | 11.51 | 354.9 | -2.874 | 983.329 | 27.7559 | 73.1062
2019-12-30 13:00:00 | 10.33 | 9.19 | 11.46 | 27.66 | 9.58 | 17.36 | 9.22 | 8.91 | -3.304 | 984.221 | 29.2256 | 75.5116
2019-12-30 13:15:00 | 8.45 | 3.527 | 10.8 | 29.97 | 10.51 | 20.08 | 10.74 | 359.8 | -2.899 | 984.221 | 28.9181 | 75.9365
2019-12-30 13:30:00 | 10.35 | 13.33 | 12.55 | 27.24 | 10.87 | 18.33 | 10.7 | 7.847 | -3.112 | 983.626 | 25.8758 | 78.8923
2019-12-30 13:45:00 | 8.94 | 1.677 | 10.28 | 32.88 | 10.13 | 21.35 | 10.66 | 358.5 | -3.009 | 984.369 | 26.3199 | 74.5509
2019-12-30 14:00:00 | 9.23 | 7.094 | 10.58 | 27.41 | 10.2 | 17.73 | 10.72 | 1.208 | -3.301 | 984.369 | 26.7647 | 68.9469
2019-12-30 14:15:00 | 8.72 | 5.087 | 9.52 | 27.35 | 9.68 | 17.94 | 9.92 | 1.668 | -3.244 | 984.518 | 26.457 | 77.4478
2019-12-30 14:30:00 | 9.94 | 7.488 | 10.54 | 28.09 | 10.22 | 19.45 | 10.6 | 2.149 | -3.545 | 984.518 | 25.5341 | 77.5363
2019-12-30 14:45:00 | 9.81 | 4.488 | 10.12 | 29.46 | 10.4 | 21.62 | 10.75 | 357.5 | -3.475 | 984.667 | 24.3719 | 78.6115
2019-12-30 15:00:00 | 10.74 | 2.484 | 10.81 | 23.53 | 11.92 | 19.09 | 12.85 | 0.332 | -3.485 | 984.964 | 21.7399 | 76.7945
2019-12-30 15:15:00 | 9.07 | 356 | 9.73 | 26.02 | 11.19 | 19.05 | 11.64 | 354.5 | -3.764 | 985.261 | 23.3806 | 73.4778
2019-12-30 15:30:00 | 8.54 | 356.6 | 9.18 | 23.3 | 10.16 | 14.99 | 10.7 | 355.9 | -3.826 | 985.41 | 23.3123 | 77.6272
2019-12-30 15:45:00 | 9.99 | 9.09 | 10.83 | 27.12 | 10.25 | 15.6 | 10.34 | 6.002 | -4.243 | 984.964 | 22.699 | 79.1284
2019-12-30 16:00:00 | 9.29 | 3.761 | 9.61 | 25.24 | 10.7 | 18.43 | 11.3 | 359.8 | -4.509 | 985.261 | 23.282 | 77.5084
2019-12-30 16:15:00 | 9.61 | 358.3 | 9.4 | 22.88 | 10.67 | 21.34 | 11.18 | 358.6 | -4.58 | 985.559 | 23.5214 | 74.0291
2019-12-30 16:30:00 | 11.16 | 9.62 | 13.35 | 27.27 | 11.19 | 16.37 | 11.03 | 8.4 | -4.731 | 984.969 | 24.4103 | 72.5831
2019-12-30 16:45:00 | 9.29 | 9.47 | 10.35 | 25.6 | 9.44 | 13.36 | 9.5 | 5.859 | -4.956 | 984.667 | 24.5504 | 74.1111
2019-12-30 17:00:00 | 9.43 | 5.948 | 10.03 | 24.16 | 10.42 | 15.14 | 10.97 | 4.83 | -5.309 | 985.281 | 24.4175 | 71.4058
2019-12-30 17:15:00 | 11.34 | 6.753 | 11.81 | 23.45 | 12.5 | 16.39 | 12.9 | 3.285 | -5.535 | 985.564 | 24.487 | 77.8806
2019-12-30 17:30:00 | 10.58 | 8.85 | 12.3 | 26.55 | 11.07 | 14.48 | 10.71 | 9 | -5.731 | 985.866 | 24.1452 | 78.5783
2019-12-30 17:45:00 | 9.96 | 9.09 | 11.95 | 26.73 | 10.52 | 17.46 | 10.21 | 8.92 | -5.821 | 986.164 | 24.2849 | 79.2926
2019-12-30 18:00:00 | 10.94 | 7.168 | 12.36 | 26.01 | 10.94 | 14.67 | 10.68 | 10.36 | -5.987 | 984.973 | 24.0123 | 81.1008
2019-12-30 18:15:00 | 10.8 | 6.671 | 12.26 | 24.83 | 11.29 | 16.25 | 11.03 | 7.816 | -6.076 | 985.717 | 23.1914 | 85.4655
2019-12-30 18:30:00 | 11.33 | 8.05 | 12.42 | 23.36 | 11.76 | 12.53 | 11.59 | 8.85 | -6.262 | 986.164 | 25.1753 | 86.973
2019-12-30 18:45:00 | 10.15 | 8.53 | 12.65 | 25.53 | 11.63 | 12.42 | 11.11 | 10.14 | -6.369 | 986.164 | 24.3545 | 84.9075
2019-12-30 19:00:00 | 10.36 | 9.41 | 12.31 | 27.58 | 10.76 | 14.85 | 10.19 | 11 | -6.536 | 986.759 | 22.8506 | 82.4833
2019-12-30 19:15:00 | 10.35 | 10.29 | 13.06 | 27.45 | 11.29 | 14.79 | 10.47 | 11.8 | -6.633 | 985.717 | 22.6477 | 84.8621
2019-12-30 19:30:00 | 10.03 | 10.08 | 12.73 | 28.02 | 11.46 | 16.13 | 10.65 | 12.6 | -6.76 | 986.164 | 22.7848 | 84.3807
2019-12-30 19:45:00 | 10.17 | 11.32 | 13.44 | 29.33 | 12.09 | 20.69 | 11.05 | 12.28 | -6.841 | 986.461 | 23.469 | 83.4222
2019-12-30 20:00:00 | 9.95 | 10.4 | 12.48 | 26.64 | 11.16 | 14.93 | 10.47 | 11.59 | -6.94 | 986.759 | 22.5111 | 81.9073
2019-12-30 20:15:00 | 10.06 | 6.74 | 11.06 | 22.61 | 10.64 | 14.56 | 10.68 | 6.607 | -6.995 | 986.908 | 20.8005 | 78.6448
2019-12-30 20:30:00 | 10.39 | 4.895 | 10.35 | 22.91 | 11.52 | 16.12 | 12.41 | 2.463 | -7.083 | 986.61 | 22.1006 | 82.394
2019-12-30 20:45:00 | 11.8 | 7.504 | 12.87 | 25.11 | 12.52 | 12.61 | 12.31 | 7.244 | -7.34 | 986.61 | 19.911 | 87.7082
2019-12-30 21:00:00 | 12.33 | 5.866 | 13.03 | 24.11 | 12.81 | 15.21 | 13.07 | 7.893 | -7.376 | 986.759 | 19.5005 | 84.139
2019-12-30 21:15:00 | 11.11 | 7.432 | 12.43 | 25.79 | 11.72 | 13.97 | 12.25 | 5.796 | -7.564 | 986.908 | 20.1847 | 85.9701
2019-12-30 21:30:00 | 10.58 | 5.399 | 11.42 | 23.39 | 11.07 | 13.78 | 11.17 | 5.465 | -7.688 | 987.354 | 21.4848 | 78.3027
2019-12-30 21:45:00 | 10.51 | 3.933 | 10.41 | 20.11 | 11.4 | 14.23 | 11.89 | 2.057 | -7.771 | 987.354 | 21.5532 | 75.4155
2019-12-30 22:00:00 | 9.5 | 3.985 | 10.06 | 21.98 | 9.67 | 11.48 | 9.82 | 6.948 | -7.858 | 987.354 | 22.3743 | 63.9483
2019-12-30 22:15:00 | 9.72 | 5.666 | 9.7 | 24.16 | 9.42 | 14.16 | 9.66 | 6.141 | -8.02 | 987.8 | 24.427 | 62.2745
2019-12-30 22:30:00 | 8.34 | 9.13 | 10.49 | 26.53 | 8.84 | 14.47 | 8.63 | 7.867 | -8.15 | 987.949 | 23.948 | 64.6007
2019-12-30 22:45:00 | 8.11 | 9.48 | 9.9 | 25.27 | 8.96 | 12.3 | 8.6 | 9.47 | -8.25 | 987.949 | 24.1542 | 56.3237
2019-12-30 23:00:00 | 7.714 | 8.57 | 8.36 | 22.01 | 7.92 | 11.69 | 7.866 | 7.209 | -8.32 | 988.247 | 25.0432 | 48.0382
2019-12-30 23:15:00 | 6.728 | 9.72 | 9.46 | 26.65 | 8.59 | 12.78 | 8.1 | 13.58 | -8.52 | 987.949 | 25.7968 | 44.8274
2019-12-30 23:30:00 | 7.395 | 6.115 | 8.58 | 25.17 | 9 | 15.08 | 9.12 | 3.186 | -8.7 | 987.949 | 25.5246 | 47.4307
2019-12-30 23:45:00 | 7.65 | 8.38 | 8.56 | 24.5 | 7.632 | 13.53 | 7.37 | 10.19 | -8.93 | 988.152 | 27.5789 | 39.7687