## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-31 00:00:00 | 6.044 | 9.66 | 8.2 | 26.12 | 7.162 | 12.63 | 6.83 | 12.09 | -9.16 | 988.023 | 28.8109 | 32.8139
2019-12-31 00:15:00 | 6.376 | 9.28 | 8.02 | 26.14 | 7.327 | 12.76 | 7.028 | 11.51 | -9.2 | 988.22 | 29.5647 | 31.6094
2019-12-31 00:30:00 | 5.921 | 10.94 | 8.2 | 27.35 | 7.51 | 12.53 | 6.669 | 14.15 | -9.37 | 988.532 | 30.5241 | 30.0613
2019-12-31 00:45:00 | 5.14 | 9.48 | 7.695 | 25.21 | 7.017 | 14.13 | 6.483 | 15.46 | -9.5 | 988.492 | 31.2796 | 30.3458
2019-12-31 01:00:00 | 4.943 | 13.12 | 7.386 | 28.78 | 7.157 | 13.47 | 6.361 | 15.54 | -9.67 | 988.523 | 31.9986 | 33.9408
2019-12-31 01:15:00 | 5.347 | 12.93 | 8.01 | 29.3 | 7.383 | 16.12 | 6.662 | 16.06 | -9.72 | 988.552 | 31.1431 | 28.5575
2019-12-31 01:30:00 | 5.053 | 16.81 | 7.662 | 30.35 | 7.574 | 17.23 | 7.268 | 21.81 | -9.86 | 988.844 | 31.2799 | 21.8328
2019-12-31 01:45:00 | 5.352 | 19.92 | 7.529 | 33.01 | 7.401 | 16.51 | 7.39 | 26.87 | -10 | 988.555 | 31.5537 | 19.0728
2019-12-31 02:00:00 | 5.196 | 17.19 | 7.422 | 30.79 | 7.093 | 16.4 | 6.911 | 23.21 | -10.04 | 988.407 | 31.6222 | 19.2612
2019-12-31 02:15:00 | 5.98 | 19.57 | 7.406 | 32.37 | 7.098 | 15.42 | 6.988 | 25.34 | -10.19 | 988.258 | 31.6906 | 21.3451
2019-12-31 02:30:00 | 5.533 | 16.47 | 7.843 | 29.53 | 7.571 | 17.18 | 7.418 | 22.24 | -10 | 988.109 | 31.0065 | 19.2908
2019-12-31 02:45:00 | 4.461 | 16.93 | 7.386 | 30.66 | 7.734 | 18.5 | 7.446 | 21.91 | -10.09 | 988.258 | 31.6222 | 10.571
2019-12-31 03:00:00 | 3.71 | 23.7 | 5.167 | 38.28 | 5.351 | 27.15 | 5.34 | 30.07 | -10.33 | 987.96 | 32.2382 | 5.0139
2019-12-31 03:15:00 | 4.734 | 30.54 | 5.402 | 44.94 | 5.491 | 23.43 | 5.488 | 34.99 | -10.38 | 987.96 | 32.3752 | 3.2219
2019-12-31 03:30:00 | 2.583 | 41.31 | 3.592 | 54.15 | 3.677 | 47.19 | 3.753 | 45.7 | -10.29 | 987.96 | 32.1713 | 1.3375
2019-12-31 03:45:00 | 3.365 | 38.74 | 4.66 | 50.75 | 4.916 | 27.07 | 4.986 | 45.13 | -10.13 | 987.96 | 31.5582 | 1.4964
2019-12-31 04:00:00 | 3.039 | 45.16 | 4.379 | 61.49 | 4.814 | 44.34 | 4.848 | 46.02 | -10.25 | 987.662 | 31.627 | 1.0198
2019-12-31 04:15:00 | 3.317 | 53.39 | 3.955 | 67.04 | 3.726 | 42.66 | 3.868 | 58.68 | -10.22 | 987.811 | 31.2163 | 0.79809
2019-12-31 04:30:00 | 2.804 | 53.12 | 3.254 | 65.53 | 4.367 | 38.29 | 4.584 | 55.63 | -10.01 | 987.662 | 31.3535 | 0.53575
2019-12-31 04:45:00 | 2.589 | 54.89 | 3.341 | 70.36 | 3.731 | 48.97 | 4.018 | 58.49 | -9.95 | 987.96 | 31.2853 | 0.051728
2019-12-31 05:00:00 | 1.899 | 62.14 | 1.89 | 86.6 | 2.685 | 70.6 | 3.071 | 65.29 | -9.94 | 987.364 | 32.1753 | 0.30667
2019-12-31 05:15:00 | 2.382 | 60.67 | 2.479 | 78.28 | 3.514 | 63.86 | 3.766 | 56.73 | -9.74 | 987.364 | 32.1068 | 0.20322
2019-12-31 05:30:00 | 0.559 | 54.43 | 2.837 | 68.96 | 3.817 | 68.84 | 3.883 | 52.92 | -9.67 | 987.364 | 31.2168 | -0.36579
2019-12-31 05:45:00 | 1.659 | 155.4 | 1.889 | 161.4 | 1.108 | 155.7 | 1.451 | 117.5 | -10.23 | 986.918 | 33.2021 | -0.42121
2019-12-31 06:00:00 | 0.011 | 96.9 | 0.738 | 164.8 | 1.259 | 156.1 | 1.6 | 87.2 | -9.66 | 986.769 | 29.0262 | -0.41382
2019-12-31 06:15:00 | 1.25 | 137.5 | 1.968 | 171.5 | 2.105 | 166.6 | 2.177 | 136.6 | -10.28 | 986.769 | 32.3806 | -0.25494
2019-12-31 06:30:00 | 2.242 | 129.1 | 2.906 | 152.1 | 3.314 | 140.5 | 3.346 | 130.2 | -9.77 | 986.918 | 32.1068 | 1.7255
2019-12-31 06:45:00 | 2.796 | 150.9 | 3.584 | 173.5 | 4.733 | 177.5 | 4.838 | 151.2 | -9.75 | 987.364 | 33.2706 | 4.3304
2019-12-31 07:00:00 | 2.803 | 142.6 | 4.433 | 162.7 | 5.603 | 151.3 | 5.681 | 146.2 | -9.97 | 987.067 | 33.7498 | 5.8305
2019-12-31 07:15:00 | 5.012 | 142.2 | 5.463 | 163.2 | 6.025 | 154.1 | 6.043 | 144.7 | -10.02 | 987.215 | 34.4344 | 6.4327
2019-12-31 07:30:00 | 4.729 | 147.1 | 5.136 | 166 | 5.854 | 154.9 | 5.943 | 150.4 | -9.94 | 987.364 | 35.9056 | 8.3799
2019-12-31 07:45:00 | 4.872 | 152 | 5.207 | 168.5 | 5.274 | 158 | 5.22 | 155 | -9.81 | 987.364 | 37.0295 | 9.5844
2019-12-31 08:00:00 | 4.632 | 142.8 | 4.857 | 158 | 5.33 | 148.3 | 5.378 | 148.9 | -9.74 | 987.338 | 39.2144 | 7.8663
2019-12-31 08:15:00 | 4.783 | 143 | 5.144 | 161.5 | 5.653 | 152.4 | 5.638 | 146.4 | -9.5 | 987.355 | 41.4645 | 6.115
2019-12-31 08:30:00 | 3.958 | 145.1 | 4.394 | 160.8 | 4.461 | 146.4 | 4.466 | 146.9 | -9.24 | 988.247 | 40.3695 | 6.8946
2019-12-31 08:45:00 | 4.657 | 147.1 | 4.568 | 162.6 | 4.517 | 147.1 | 4.53 | 149.5 | -8.96 | 988.544 | 41.3888 | 6.9278
2019-12-31 09:00:00 | 4.867 | 149.8 | 4.742 | 168.4 | 4.27 | 159.5 | 4.186 | 152.3 | -8.74 | 988.842 | 41.6556 | 8.0178
2019-12-31 09:15:00 | 6.069 | 152.5 | 5.941 | 170.3 | 5.826 | 160.8 | 5.865 | 157.6 | -8.5 | 989.12 | 41.9289 | 9.6879
2019-12-31 09:30:00 | 5.819 | 156.6 | 5.854 | 173.9 | 5.671 | 165.8 | 5.653 | 162.4 | -8.35 | 989.179 | 41.928 | 12.7029
2019-12-31 09:45:00 | 5.158 | 173.8 | 4.896 | 191.7 | 4.038 | 183.1 | 4.023 | 179.1 | -7.99 | 989.264 | 40.9656 | 13.2497
2019-12-31 10:00:00 | 5.663 | 168.5 | 5.629 | 181.4 | 4.339 | 175.4 | 4.377 | 177.6 | -7.793 | 988.886 | 40.4851 | 16.6305
2019-12-31 10:15:00 | 6.335 | 159.7 | 6.36 | 172.7 | 5.867 | 164.1 | 5.921 | 165.4 | -7.921 | 988.534 | 39.8987 | 16.8596
2019-12-31 10:30:00 | 6.302 | 167.3 | 6.148 | 180.4 | 5.333 | 175 | 5.36 | 170.1 | -7.226 | 988.533 | 38.0513 | 18.4521
2019-12-31 10:45:00 | 6.557 | 173.3 | 6.307 | 194.4 | 5.623 | 192.4 | 5.554 | 176.4 | -7.061 | 988.093 | 36.5812 | 18.4668
2019-12-31 11:00:00 | 7.28 | 155.4 | 7.007 | 171.8 | 6.325 | 158.2 | 6.201 | 159.7 | -6.981 | 987.938 | 36.1709 | 19.0285
2019-12-31 11:15:00 | 6.361 | 154.3 | 6.23 | 167.5 | 5.882 | 154.9 | 5.987 | 163.9 | -6.537 | 987.79 | 36.1368 | 22.2836
2019-12-31 11:30:00 | 7.083 | 146.6 | 6.974 | 162.8 | 6.605 | 154.7 | 6.613 | 154 | -6.113 | 987.641 | 36.5128 | 21.7811
2019-12-31 11:45:00 | 8.07 | 148.8 | 7.894 | 161.7 | 6.694 | 148.4 | 6.634 | 158.8 | -6.458 | 986.749 | 35.0427 | 24.4525
2019-12-31 12:00:00 | 8.56 | 140 | 8.28 | 154.6 | 7.129 | 140.8 | 6.932 | 149.2 | -5.916 | 986.749 | 32.7521 | 27.8591
2019-12-31 12:15:00 | 7.796 | 148.3 | 7.746 | 162.4 | 7.233 | 154.1 | 7.207 | 157.7 | -5.411 | 986.452 | 28.5128 | 27.0832
2019-12-31 12:30:00 | 7.967 | 140.8 | 7.979 | 156.5 | 7.35 | 144.6 | 7.176 | 148.1 | -4.997 | 986.452 | 30.1874 | 26.965
2019-12-31 12:45:00 | 7.678 | 151.2 | 7.508 | 166.4 | 7.083 | 150.6 | 6.937 | 157.5 | -5.063 | 986.303 | 27.245 | 29.7878
2019-12-31 13:00:00 | 8.08 | 144.6 | 7.928 | 159.8 | 7.052 | 146.6 | 6.937 | 153.8 | -4.631 | 986.303 | 27.6192 | 31.8126
2019-12-31 13:15:00 | 7.234 | 147.4 | 7.406 | 162.6 | 6.872 | 150.6 | 6.797 | 151.7 | -4.407 | 986.154 | 27.7901 | 37.6061
2019-12-31 13:30:00 | 8.13 | 144.2 | 8.09 | 159.2 | 7.474 | 146.5 | 7.405 | 150 | -4.248 | 985.708 | 27.3116 | 38.5003
2019-12-31 13:45:00 | 7.75 | 147.1 | 7.713 | 166.8 | 6.976 | 157.1 | 6.888 | 153 | -3.848 | 985.559 | 25.0556 | 31.963
2019-12-31 14:00:00 | 8.19 | 151.3 | 7.79 | 169.9 | 7.675 | 161.3 | 7.655 | 156 | -3.662 | 985.559 | 23.5174 | 35.5112
2019-12-31 14:15:00 | 7.829 | 146.2 | 7.989 | 161.8 | 7.579 | 151.7 | 7.52 | 153.3 | -3.627 | 985.411 | 23.8934 | 44.4105
2019-12-31 14:30:00 | 8.37 | 154.6 | 8.08 | 171 | 7.299 | 157.2 | 7.196 | 160.5 | -3.377 | 985.262 | 23.5857 | 41.87
2019-12-31 14:45:00 | 7.624 | 177.7 | 7.511 | 192.7 | 6.94 | 185.1 | 6.942 | 180.3 | -3.26 | 984.965 | 23.3123 | 50.7524
2019-12-31 15:00:00 | 7.77 | 165.5 | 7.795 | 180.8 | 7.23 | 170 | 7.217 | 170.9 | -3.397 | 984.519 | 25.6025 | 43.843
2019-12-31 15:15:00 | 7.755 | 180.6 | 7.191 | 197.6 | 6.292 | 190.1 | 6.282 | 178.4 | -3.279 | 984.816 | 27.3458 | 40.7994
2019-12-31 15:30:00 | 6.986 | 172.7 | 6.655 | 188.9 | 6.121 | 182.4 | 6.173 | 173.4 | -3.426 | 984.37 | 28.5763 | 41.6963
2019-12-31 15:45:00 | 7.834 | 158.4 | 8.08 | 176.4 | 7.683 | 163.2 | 7.632 | 162.1 | -3.513 | 984.073 | 28.7814 | 41.8065
2019-12-31 16:00:00 | 6.437 | 161.1 | 6.368 | 178 | 6.399 | 167.4 | 6.356 | 165.6 | -3.441 | 983.775 | 28.5763 | 40.9093
2019-12-31 16:15:00 | 8.83 | 150.7 | 8.84 | 163.5 | 8.01 | 149.3 | 7.902 | 159.3 | -3.539 | 983.181 | 29.9136 | 38.7885
2019-12-31 16:30:00 | 8.86 | 152.4 | 8.82 | 165.8 | 8.1 | 154.1 | 7.963 | 159.6 | -3.622 | 983.181 | 30.9743 | 40.2886
2019-12-31 16:45:00 | 6.767 | 156.5 | 6.808 | 175.9 | 6.747 | 170.4 | 6.753 | 164.4 | -3.753 | 982.586 | 31.5897 | 40.8491
2019-12-31 17:00:00 | 7.489 | 164.5 | 7.12 | 178.2 | 6.686 | 163 | 6.779 | 166.4 | -3.859 | 981.994 | 32.6158 | 42.4057
2019-12-31 17:15:00 | 7.387 | 160.2 | 7.493 | 176.9 | 7.093 | 166.3 | 7.171 | 164.2 | -3.955 | 981.991 | 33.5777 | 41.2677
2019-12-31 17:30:00 | 7.037 | 166.6 | 6.647 | 183.9 | 6.312 | 178.2 | 6.402 | 169.1 | -4.018 | 981.829 | 35.2197 | 45.6868
2019-12-31 17:45:00 | 8.04 | 157.4 | 8.29 | 173.1 | 8.17 | 160.9 | 8.15 | 163.4 | -4.025 | 981.588 | 36.0428 | 48.5872
2019-12-31 18:00:00 | 8.31 | 159.4 | 8.48 | 172.9 | 8.11 | 160.3 | 8.19 | 164.6 | -4.044 | 981.683 | 36.9338 | 48.9567
2019-12-31 18:15:00 | 8.64 | 160.3 | 8.67 | 173.2 | 7.996 | 160.5 | 7.897 | 167.6 | -4.09 | 981.211 | 37.2089 | 48.5059
2019-12-31 18:30:00 | 9.05 | 151.4 | 9.34 | 166.3 | 9.49 | 154 | 9.42 | 156.1 | -4.244 | 981.49 | 37.346 | 49.2449
2019-12-31 18:45:00 | 7.203 | 144.6 | 7.434 | 164.9 | 7.932 | 155.3 | 8 | 149.8 | -4.406 | 981.25 | 37.9617 | 59.9489
2019-12-31 19:00:00 | 8.25 | 147.7 | 8.37 | 162.4 | 8.37 | 152.2 | 8.45 | 152.2 | -4.491 | 981.367 | 38.5773 | 49.176
2019-12-31 19:15:00 | 8.44 | 146.7 | 8.58 | 161.9 | 8.32 | 146.6 | 8.27 | 152.9 | -4.498 | 980.796 | 39.7401 | 51.663
2019-12-31 19:30:00 | 9.03 | 146.5 | 8.94 | 163.2 | 9.21 | 149.7 | 9.23 | 151.4 | -4.425 | 980.803 | 41.3133 | 53.6639
2019-12-31 19:45:00 | 8.65 | 148.3 | 8.68 | 164.6 | 9.03 | 148.9 | 8.97 | 151.6 | -4.493 | 980.799 | 42.2709 | 54.8241
2019-12-31 20:00:00 | 9.55 | 146.7 | 9.75 | 164.1 | 10.07 | 151 | 9.96 | 151.9 | -4.496 | 980.504 | 43.673 | 56.605
2019-12-31 20:15:00 | 8.54 | 147.6 | 8.85 | 164.8 | 9.24 | 151.9 | 9.16 | 154.1 | -4.524 | 980.51 | 45.554 | 57.2598
2019-12-31 20:30:00 | 9.19 | 143.3 | 9.38 | 160.1 | 9.61 | 149.2 | 9.54 | 149.2 | -4.5 | 980.212 | 46.8536 | 56.8955
2019-12-31 20:45:00 | 8.4 | 145.1 | 8.95 | 162.9 | 9.77 | 152.9 | 9.78 | 149.9 | -4.562 | 980.356 | 48.632 | 57.5531
2019-12-31 21:00:00 | 9.04 | 146.5 | 9.38 | 163.2 | 9.52 | 150.9 | 9.51 | 151.2 | -4.568 | 980.212 | 49.2476 | 56.1706
2019-12-31 21:15:00 | 8.82 | 146.1 | 8.99 | 164.4 | 9.78 | 154.7 | 9.72 | 151.7 | -4.558 | 980.212 | 48.0164 | 59.8385
2019-12-31 21:30:00 | 8.36 | 148.4 | 8.7 | 165.7 | 9.39 | 153.1 | 9.42 | 153.2 | -4.561 | 980.51 | 48.29 | 58.1014
2019-12-31 21:45:00 | 8.99 | 147.7 | 9.22 | 164.8 | 9.59 | 154.1 | 9.55 | 153.4 | -4.568 | 980.51 | 48.9398 | 62.539
2019-12-31 22:00:00 | 7.877 | 147.9 | 8.26 | 167.5 | 9.25 | 163.2 | 9.35 | 150.9 | -4.596 | 980.212 | 48.5294 | 68.3325
2019-12-31 22:15:00 | 9.19 | 154.3 | 9.74 | 168.8 | 10.15 | 158.8 | 10.25 | 159.7 | -4.595 | 980.212 | 47.7086 | 74.0521
2019-12-31 22:30:00 | 10.32 | 148.9 | 10.41 | 163.6 | 10.9 | 147.8 | 10.92 | 153.6 | -4.634 | 980.063 | 48.7688 | 75.8995
2019-12-31 22:45:00 | 8.2 | 146.8 | 8.7 | 165 | 9.92 | 156.7 | 10.07 | 152.1 | -4.829 | 979.766 | 49.7264 | 73.206
2019-12-31 23:00:00 | 10.7 | 145.4 | 10.86 | 160.8 | 11.4 | 144.8 | 11.36 | 150.7 | -4.741 | 979.171 | 48.5636 | 81.2386
2019-12-31 23:15:00 | 10.54 | 146.4 | 10.37 | 162 | 11.16 | 144.6 | 11.12 | 151.8 | -4.498 | 979.319 | 48.0848 | 80.1169
2019-12-31 23:30:00 | 10.51 | 147.5 | 10.74 | 162.9 | 10.85 | 147.8 | 10.73 | 153 | -4.549 | 979.319 | 48.0164 | 75.1716
2019-12-31 23:45:00 | 8.09 | 151 | 8.37 | 168.2 | 9.07 | 156.2 | 9.22 | 156.7 | -4.597 | 979.319 | 48.1532 | 72.5906