## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-01 00:00:00 | 9.48 | 146.8 | 9.57 | 162.1 | 9.81 | 153.3 | 9.84 | 153.1 | -4.625 | 979.319 | 48.4952 | 70.2554
2020-01-01 00:15:00 | 9.99 | 150.3 | 10.05 | 166.2 | 9.83 | 155.7 | 9.88 | 157 | -4.548 | 979.022 | 48.3926 | 71.5179
2020-01-01 00:30:00 | 9.3 | 147.7 | 9.42 | 164.5 | 9.65 | 154.8 | 9.59 | 154.2 | -4.617 | 979.022 | 49.3844 | 74.2368
2020-01-01 00:45:00 | 8.36 | 146.1 | 8.83 | 164.8 | 9.95 | 157.9 | 9.98 | 152.8 | -4.762 | 978.423 | 50.5472 | 74.9795
2020-01-01 01:00:00 | 8.19 | 144.4 | 8.99 | 162.3 | 9.77 | 152.9 | 9.68 | 151.6 | -4.771 | 978.724 | 49.2476 | 68.532
2020-01-01 01:15:00 | 10.39 | 146.4 | 10.16 | 160.2 | 10.11 | 144.3 | 10.06 | 152.6 | -4.5 | 978.873 | 48.29 | 63.9927
2020-01-01 01:30:00 | 9.55 | 146.4 | 9.92 | 161.3 | 9.89 | 148.4 | 9.76 | 152.9 | -4.515 | 979.022 | 47.7428 | 61.0869
2020-01-01 01:45:00 | 10.57 | 145.7 | 11.03 | 159.4 | 10.7 | 145.1 | 10.51 | 153.1 | -4.323 | 978.873 | 47.8454 | 62.2323
2020-01-01 02:00:00 | 9.55 | 145.7 | 9.56 | 162.1 | 10.09 | 146.6 | 9.98 | 153.1 | -4.351 | 978.724 | 48.0848 | 58.6113
2020-01-01 02:15:00 | 9.26 | 144.8 | 9.86 | 161.2 | 10.23 | 149.8 | 10.21 | 152.3 | -4.326 | 978.724 | 48.5636 | 60.2112
2020-01-01 02:30:00 | 10.08 | 145.1 | 10.49 | 160.8 | 10.71 | 147.6 | 10.66 | 150.5 | -4.156 | 978.724 | 48.5636 | 63.4442
2020-01-01 02:45:00 | 9.98 | 146.6 | 10.27 | 162.9 | 11.4 | 149 | 11.33 | 152.3 | -4.121 | 978.278 | 49.3844 | 66.8213
2020-01-01 03:00:00 | 10.26 | 149.1 | 10.09 | 161.7 | 10.42 | 145.1 | 10.48 | 154.3 | -4.094 | 978.129 | 50.4788 | 67.5381
2020-01-01 03:15:00 | 9.92 | 145.3 | 10.33 | 161 | 10.63 | 148.5 | 10.52 | 151.7 | -4.088 | 978.272 | 51.2996 | 68.5616
2020-01-01 03:30:00 | 10.1 | 146.9 | 10.41 | 162.3 | 10.63 | 149.9 | 10.58 | 152.1 | -4.046 | 978.085 | 51.71 | 63.1597
2020-01-01 03:45:00 | 10.4 | 145.9 | 10.58 | 161.7 | 10.66 | 152 | 10.61 | 152 | -4.019 | 978.089 | 51.6416 | 66.1825
2020-01-01 04:00:00 | 9.86 | 146.6 | 10.46 | 161.7 | 10.83 | 151 | 10.67 | 151.9 | -3.989 | 977.944 | 52.325 | 64.1093
2020-01-01 04:15:00 | 10.42 | 145.4 | 11 | 160.6 | 10.78 | 147.7 | 10.65 | 151.5 | -3.911 | 977.629 | 53.3174 | 62.1436
2020-01-01 04:30:00 | 10.38 | 144.1 | 10.54 | 162.7 | 10.75 | 152.4 | 10.78 | 149.3 | -3.911 | 977.605 | 54.7189 | 65.0108
2020-01-01 04:45:00 | 10.64 | 143 | 11.22 | 159 | 11.35 | 147.9 | 11.26 | 149.3 | -3.945 | 977.541 | 57.0424 | 64.0908
2020-01-01 05:00:00 | 10.61 | 146.1 | 11.04 | 162.3 | 11.21 | 146.6 | 11.14 | 150.8 | -4.018 | 977.539 | 58.7538 | 54.5692
2020-01-01 05:15:00 | 10.02 | 146.9 | 10.14 | 162.8 | 10.3 | 151.8 | 10.23 | 151.3 | -3.985 | 977.819 | 59.5041 | 50.7821
2020-01-01 05:30:00 | 8.32 | 145.2 | 8.83 | 159 | 9.15 | 146.9 | 9.23 | 149.7 | -3.954 | 977.994 | 61.2161 | 44.3862
2020-01-01 05:45:00 | 7.903 | 140.5 | 8.33 | 156.4 | 8.81 | 140.5 | 8.84 | 147.6 | -3.887 | 978.153 | 62.1725 | 47.7005
2020-01-01 06:00:00 | 7.201 | 139.4 | 7.496 | 154.2 | 7.965 | 143.2 | 7.971 | 145.5 | -3.888 | 978.133 | 62.3047 | 52.186
2020-01-01 06:15:00 | 8.08 | 141.2 | 8.37 | 156.2 | 9.2 | 150.9 | 9.27 | 148.7 | -3.824 | 978.07 | 62.5767 | 52.7328
2020-01-01 06:30:00 | 7.762 | 140.5 | 7.836 | 159.6 | 8.51 | 154.4 | 8.57 | 145.1 | -3.85 | 978.149 | 62.7134 | 52.2893
2020-01-01 06:45:00 | 8.41 | 142.7 | 8.78 | 159 | 9 | 148.3 | 9.09 | 148.8 | -3.793 | 978.354 | 62.5773 | 51.8645
2020-01-01 07:00:00 | 7.578 | 143.4 | 7.805 | 160.2 | 8.08 | 149.4 | 8.11 | 148.4 | -3.822 | 978.293 | 60.7968 | 48.9419
2020-01-01 07:15:00 | 6.521 | 143.6 | 6.718 | 160 | 6.828 | 150.5 | 6.898 | 150.2 | -3.852 | 978.486 | 61.823 | 45.1472
2020-01-01 07:30:00 | 6.174 | 137.6 | 6.412 | 154.8 | 6.862 | 147.4 | 7.092 | 144.2 | -3.826 | 978.435 | 61.1403 | 46.1117
2020-01-01 07:45:00 | 8.15 | 138.4 | 8.46 | 155.9 | 8.7 | 148 | 8.69 | 143.5 | -3.734 | 978.594 | 60.3869 | 44.1201
2020-01-01 08:00:00 | 8.08 | 141 | 8.11 | 154.4 | 8.14 | 139.1 | 8.12 | 147.9 | -3.588 | 979.113 | 59.7709 | 41.3232
2020-01-01 08:15:00 | 6.702 | 136.8 | 7.214 | 152.5 | 7.454 | 143.2 | 7.454 | 144.3 | -3.484 | 978.936 | 59.3606 | 40.078
2020-01-01 08:30:00 | 6.856 | 135 | 7.253 | 149.5 | 7.167 | 138.6 | 7.278 | 141.5 | -3.35 | 979.052 | 59.1552 | 41.0054
2020-01-01 08:45:00 | 5.983 | 139.5 | 6.322 | 158.1 | 6.64 | 150.8 | 6.753 | 147.2 | -3.278 | 979.332 | 58.7399 | 36.5753
2020-01-01 09:00:00 | 6.71 | 138.2 | 7 | 153.8 | 7.385 | 144.5 | 7.41 | 144.1 | -3.07 | 979.612 | 57.436 | 32.8546
2020-01-01 09:15:00 | 7.413 | 139.8 | 7.37 | 155.6 | 7.762 | 144.5 | 7.764 | 146 | -2.807 | 980.802 | 56.8889 | 30.9332
2020-01-01 09:30:00 | 6.866 | 143.1 | 7.12 | 162.3 | 6.561 | 151.5 | 6.578 | 147.5 | -2.453 | 981.396 | 56.5724 | 31.639
2020-01-01 09:45:00 | 7.264 | 143.8 | 7.652 | 161.4 | 7.935 | 150.8 | 7.899 | 148.4 | -2.517 | 981.396 | 57.904 | 32.9174
2020-01-01 10:00:00 | 6.996 | 141.4 | 7.309 | 159.5 | 6.889 | 149 | 6.812 | 146.8 | -2.323 | 981.842 | 57.6995 | 29.0858
2020-01-01 10:15:00 | 6.864 | 144.9 | 6.818 | 159.6 | 6.528 | 146 | 6.501 | 150.1 | -2.332 | 981.876 | 58.0414 | 27.9589
2020-01-01 10:30:00 | 6.187 | 140.3 | 6.261 | 159.9 | 5.915 | 151.9 | 5.821 | 145.4 | -2.013 | 981.696 | 57.0413 | 22.8268
2020-01-01 10:45:00 | 5.426 | 135.7 | 5.706 | 152.6 | 5.3 | 138.8 | 5.294 | 143.9 | -1.57 | 981.69 | 54.5756 | 21.2675
2020-01-01 11:00:00 | 7.313 | 146.6 | 7.759 | 161.9 | 7.551 | 151.2 | 7.418 | 153.3 | -1.094 | 981.69 | 54.0579 | 25.5166
2020-01-01 11:15:00 | 6.524 | 153.7 | 6.539 | 172.6 | 6.274 | 168.9 | 6.338 | 156.6 | -1.123 | 981.393 | 54.4336 | 24.4071
2020-01-01 11:30:00 | 6.483 | 150.8 | 6.591 | 165.2 | 6.213 | 154.2 | 6.221 | 158.5 | -1.26 | 980.798 | 56.7914 | 20.6431
2020-01-01 11:45:00 | 6.575 | 155.6 | 6.473 | 172 | 5.91 | 158.1 | 6.017 | 159.8 | -1.292 | 980.501 | 57.2015 | 17.6946
2020-01-01 12:00:00 | 6.45 | 141.5 | 6.757 | 155.5 | 6.198 | 140.6 | 6.068 | 148.2 | -1.191 | 980.501 | 57.1417 | 16.4975
2020-01-01 12:15:00 | 5.362 | 165.6 | 5.519 | 180.1 | 4.977 | 168.1 | 4.994 | 176 | -0.608 | 980.353 | 55.7041 | 17.3214
2020-01-01 12:30:00 | 6.838 | 146.4 | 6.851 | 160.6 | 6.315 | 146.5 | 6.231 | 154.9 | -0.539 | 980.055 | 55.5966 | 18.7107
2020-01-01 12:45:00 | 6.279 | 154.5 | 6.404 | 169.1 | 5.948 | 157.8 | 5.9 | 160.6 | -0.325 | 979.907 | 53.4085 | 15.0306
2020-01-01 13:00:00 | 5.531 | 149.5 | 5.614 | 165.4 | 5.244 | 155.7 | 5.253 | 156 | -0.243 | 980.055 | 50.504 | 11.454
2020-01-01 13:15:00 | 5.209 | 133.1 | 5.558 | 148.7 | 5.071 | 139.2 | 5.045 | 139.1 | -0.062 | 979.907 | 50.5724 | 9.8431
2020-01-01 13:30:00 | 5.926 | 135.9 | 5.757 | 151.4 | 5.402 | 138.6 | 5.286 | 141.9 | 0.118 | 979.758 | 46.7453 | 12.2817
2020-01-01 13:45:00 | 6.498 | 143.7 | 6.77 | 161.9 | 6.401 | 151 | 6.254 | 148.8 | 0.61 | 979.588 | 47.1516 | 11.8974
2020-01-01 14:00:00 | 6.036 | 147 | 6.417 | 163.4 | 6.185 | 151.2 | 6.119 | 151.8 | 0.619 | 979.906 | 46.6737 | 10.5636
2020-01-01 14:15:00 | 5.898 | 139 | 6.015 | 154.3 | 5.402 | 139.5 | 5.317 | 145.5 | 0.918 | 979.906 | 47.2898 | 11.0771
2020-01-01 14:30:00 | 5.602 | 134.4 | 5.394 | 151.6 | 5.308 | 143.8 | 5.251 | 143.1 | 0.846 | 979.906 | 44.5551 | 10.8555
2020-01-01 14:45:00 | 5.337 | 154.4 | 5.087 | 172.6 | 4.784 | 160.3 | 4.805 | 159 | 0.725 | 980.203 | 44.0765 | 9.7359
2020-01-01 15:00:00 | 5.518 | 137.2 | 5.517 | 153.6 | 5.381 | 140.7 | 5.498 | 143.1 | 0.999 | 980.501 | 45.5129 | 14.7905
2020-01-01 15:15:00 | 5.957 | 136.1 | 5.98 | 153.1 | 5.686 | 141.2 | 5.589 | 145.3 | 0.908 | 980.352 | 46.5357 | 14.82
2020-01-01 15:30:00 | 6.458 | 144.6 | 6.44 | 163.3 | 6.076 | 155.1 | 6.038 | 149.3 | 0.728 | 980.055 | 48.4506 | 10.7594
2020-01-01 15:45:00 | 5.934 | 141.7 | 6.166 | 159.6 | 5.913 | 147.5 | 5.877 | 148 | 0.524 | 979.579 | 49.8166 | 9.6879
2020-01-01 16:00:00 | 5.329 | 145.4 | 5.66 | 162.4 | 5.567 | 150.6 | 5.546 | 150.1 | 0.475 | 979.303 | 50.7077 | 7.0867
2020-01-01 16:15:00 | 4.369 | 145.2 | 4.134 | 168.7 | 3.418 | 164.4 | 3.552 | 146.2 | 0.461 | 979.312 | 51.5975 | 7.6372
2020-01-01 16:30:00 | 5.02 | 149.3 | 5.233 | 168.7 | 4.684 | 162.6 | 4.736 | 153.3 | 0.339 | 979.312 | 53.3743 | 8.0141
2020-01-01 16:45:00 | 4.297 | 146.5 | 4.527 | 165.7 | 4.089 | 153.5 | 4.174 | 152.4 | 0.252 | 979.312 | 54.4741 | 6.6359
2020-01-01 17:00:00 | 4.211 | 139.2 | 4.336 | 157.5 | 4.422 | 144.9 | 4.54 | 145.7 | 0.194 | 979.488 | 53.4604 | 7.8811
2020-01-01 17:15:00 | 3.986 | 135 | 4.221 | 149.7 | 4.405 | 135.3 | 4.53 | 138.5 | 0.149 | 979.607 | 54.6231 | 9.178
2020-01-01 17:30:00 | 3.455 | 132.2 | 3.696 | 148.6 | 3.548 | 138.3 | 3.667 | 137.1 | 0.003 | 979.017 | 56.058 | 10.3603
2020-01-01 17:45:00 | 4.065 | 131.8 | 4.192 | 148 | 3.939 | 132.7 | 4.018 | 138.2 | -0.003 | 979.314 | 56.4004 | 9.3923
2020-01-01 18:00:00 | 4.8 | 131.2 | 5.034 | 146.4 | 4.987 | 130.5 | 5.014 | 136.8 | -0.01 | 978.719 | 57.0843 | 13.2275
2020-01-01 18:15:00 | 4.997 | 127.8 | 5.519 | 142.2 | 5.493 | 133.5 | 5.605 | 135 | 0.045 | 979.017 | 56.7424 | 12.3925
2020-01-01 18:30:00 | 4.555 | 133.7 | 4.798 | 147.7 | 4.964 | 130.9 | 4.986 | 135.6 | -0.116 | 978.719 | 56.5715 | 14.7277
2020-01-01 18:45:00 | 5.099 | 125.8 | 5.67 | 138.3 | 5.585 | 122.4 | 5.648 | 132.8 | -0.027 | 979.017 | 56.1955 | 11.0882
2020-01-01 19:00:00 | 5.199 | 127.6 | 5.397 | 142.4 | 5.493 | 124.9 | 5.656 | 134.3 | -0.075 | 979.017 | 55.9904 | 12.9615
2020-01-01 19:15:00 | 5.086 | 119.8 | 5.547 | 134.1 | 5.826 | 123.3 | 5.872 | 127.2 | -0.117 | 979.017 | 54.8282 | 13.549
2020-01-01 19:30:00 | 6.138 | 125.5 | 6.458 | 139.9 | 6.452 | 126.2 | 6.511 | 132.3 | 0.076 | 978.868 | 54.3497 | 14.7794
2020-01-01 19:45:00 | 4.928 | 126.9 | 5.363 | 141.2 | 5.59 | 127.4 | 5.671 | 132.3 | 0.087 | 979.017 | 54.418 | 17.4988
2020-01-01 20:00:00 | 5.881 | 126 | 6.271 | 140.9 | 6.205 | 126.4 | 6.247 | 134.7 | 0.07 | 978.422 | 54.0079 | 20.2551
2020-01-01 20:15:00 | 5.472 | 124.9 | 5.808 | 142.5 | 5.842 | 130.4 | 5.982 | 131.8 | 0.164 | 978.571 | 53.8711 | 19.106
2020-01-01 20:30:00 | 4.594 | 130.5 | 5.021 | 147.6 | 5.066 | 134.6 | 5.2 | 135 | 0.216 | 979.017 | 53.8023 | 15.8657
2020-01-01 20:45:00 | 4.862 | 130.4 | 5.136 | 149.7 | 5.29 | 133.2 | 5.368 | 136.5 | 0.196 | 979.017 | 53.9395 | 19.8007
2020-01-01 21:00:00 | 5.651 | 133.9 | 5.854 | 149.3 | 5.938 | 132.8 | 6.005 | 141.5 | 0.267 | 979.017 | 54.1104 | 20.2108
2020-01-01 21:15:00 | 5.651 | 134.3 | 6.02 | 152.3 | 6.16 | 140.9 | 6.292 | 138.1 | 0.271 | 979.314 | 53.666 | 20.0371
2020-01-01 21:30:00 | 4.42 | 133.2 | 4.732 | 149.6 | 4.794 | 139 | 5.032 | 138.5 | 0.246 | 979.314 | 54.1446 | 13.4123
2020-01-01 21:45:00 | 3.978 | 134.2 | 4.461 | 152.8 | 4.985 | 143.6 | 5.088 | 140.9 | 0.155 | 979.314 | 54.3155 | 8.561
2020-01-01 22:00:00 | 2.422 | 137.4 | 3.241 | 153.9 | 3.985 | 146.1 | 4.148 | 142 | -0.012 | 979.463 | 54.7599 | 5.7344
2020-01-01 22:15:00 | 2.811 | 147.5 | 2.799 | 167.8 | 3.026 | 173.2 | 3.338 | 148.8 | 0.046 | 979.611 | 54.6915 | 4.0274
2020-01-01 22:30:00 | 2.719 | 142.8 | 2.82 | 165.6 | 3.27 | 156.7 | 3.692 | 143.8 | 0.143 | 979.611 | 54.8282 | 2.6492
2020-01-01 22:45:00 | 2.522 | 148.9 | 2.623 | 177.4 | 3.334 | 169.9 | 3.736 | 145.1 | 0.134 | 979.611 | 55.2039 | 2.3425
2020-01-01 23:00:00 | 1.696 | 140.3 | 2.745 | 153.9 | 3.69 | 158.2 | 3.962 | 148.3 | 0.268 | 979.611 | 54.9644 | 1.1639
2020-01-01 23:15:00 | 2.319 | 148 | 2.858 | 167.9 | 3.863 | 164.7 | 4.115 | 156.5 | 0.291 | 979.463 | 54.9991 | 2.0617
2020-01-01 23:30:00 | 3.23 | 149.1 | 3.886 | 166.8 | 4.573 | 162 | 4.757 | 160 | 0.404 | 979.611 | 54.5548 | 2.0543
2020-01-01 23:45:00 | 3.851 | 154.2 | 4.379 | 168.4 | 4.494 | 158.4 | 4.634 | 162.4 | 0.551 | 979.611 | 54.4859 | 1.5925