## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-02 00:00:00 | 3.12 | 157.9 | 3.773 | 173.2 | 3.947 | 163.3 | 4.128 | 167 | 0.512 | 979.611 | 55.033 | 1.1676
2020-01-02 00:15:00 | 3.322 | 161.3 | 3.891 | 174.4 | 3.815 | 161.1 | 4.026 | 170.2 | 0.532 | 979.611 | 55.2376 | 0.80178
2020-01-02 00:30:00 | 2.85 | 160.2 | 3.198 | 171.7 | 3.136 | 155.6 | 3.46 | 169.8 | 0.548 | 979.611 | 55.5119 | 0.29189
2020-01-02 00:45:00 | 1.473 | 155.1 | 2.244 | 171.1 | 2.078 | 147.6 | 2.332 | 170.8 | 0.577 | 979.611 | 56.0582 | -0.096066
2020-01-02 01:00:00 | 0.213 | 165.2 | 1.167 | 177 | 2.189 | 174.4 | 2.49 | 179.6 | 0.579 | 979.314 | 57.4259 | -0.096066
2020-01-02 01:15:00 | 2.206 | 182.5 | 3.006 | 188.6 | 3.085 | 187 | 3.275 | 190.4 | 0.553 | 979.463 | 57.3574 | -0.059118
2020-01-02 01:30:00 | 2.49 | 184.7 | 3.068 | 193 | 2.902 | 180.6 | 3.185 | 194.6 | 0.523 | 979.314 | 58.2464 | -0.11454
2020-01-02 01:45:00 | 2.492 | 192.3 | 2.922 | 198.9 | 2.912 | 186.8 | 3.188 | 200.4 | 0.499 | 979.314 | 57.9044 | -0.11454
2020-01-02 02:00:00 | 2.579 | 184 | 3.009 | 197.5 | 2.975 | 187.2 | 3.216 | 193.4 | 0.512 | 979.314 | 58.1087 | -0.13301
2020-01-02 02:15:00 | 1.831 | 192.8 | 2.518 | 194.9 | 2.38 | 182 | 2.656 | 201.6 | 0.497 | 979.314 | 58.0755 | -0.13301
2020-01-02 02:30:00 | 2.365 | 194.5 | 2.991 | 201.2 | 3.052 | 190.5 | 3.331 | 203.6 | 0.472 | 979.314 | 58.1097 | -0.16996
2020-01-02 02:45:00 | 1.673 | 196.7 | 2.278 | 210.2 | 2.517 | 190.5 | 2.829 | 206.9 | 0.523 | 979.017 | 58.2806 | -0.26233
2020-01-02 03:00:00 | 2.076 | 209.5 | 2.395 | 210.7 | 2.08 | 204.2 | 2.373 | 218.4 | 0.655 | 979.165 | 58.4515 | -0.31776
2020-01-02 03:15:00 | 1.759 | 211.3 | 2.336 | 210.8 | 2.09 | 206.7 | 2.363 | 218.1 | 0.673 | 979.314 | 58.8261 | -0.53206
2020-01-02 03:30:00 | 1.895 | 209.8 | 2.196 | 210.8 | 1.981 | 203.9 | 2.284 | 213.4 | 0.667 | 979.314 | 58.1781 | -0.29928
2020-01-02 03:45:00 | 0.966 | 207.9 | 1.897 | 210.7 | 1.767 | 198.6 | 2.055 | 214.1 | 0.612 | 979.017 | 59.5112 | -0.29928
2020-01-02 04:00:00 | 0.59 | 209.3 | 1.498 | 210.8 | 1.17 | 200.8 | 1.545 | 214.9 | 0.61 | 979.017 | 59.2719 | -0.29928
2020-01-02 04:15:00 | 0 | 209.3 | 0.432 | 210.8 | 0.376 | 200.5 | 0.928 | 215.6 | 0.609 | 978.422 | 59.0668 | -0.29928
2020-01-02 04:30:00 | 0 | 209.4 | 0.301 | 210.8 | 0.047 | 200.6 | 0.671 | 215.7 | 0.533 | 978.422 | 60.331 | -0.31776
2020-01-02 04:45:00 | 0.357 | 318.5 | 1.03 | 211 | 0.308 | 292.4 | 0.889 | 260.9 | 0.473 | 978.571 | 60.7075 | -0.29928
2020-01-02 05:00:00 | 0.939 | 329.3 | 1.649 | 211.4 | 1.045 | 355.4 | 1.301 | 313.1 | 0.268 | 978.422 | 60.3657 | -0.31776
2020-01-02 05:15:00 | 2.459 | 345.6 | 2.313 | 212.6 | 2.233 | 1.443 | 2.424 | 335.7 | 0.309 | 978.422 | 60.3655 | -0.32884
2020-01-02 05:30:00 | 2.622 | 9.53 | 2.444 | 211.1 | 1.472 | 15.11 | 1.525 | 9.44 | 0.132 | 978.719 | 60.434 | -0.29928
2020-01-02 05:45:00 | 2.551 | 48.86 | 2.312 | 210.8 | 0.159 | 30.97 | 0.128 | 25.87 | 0.365 | 979.017 | 61.5963 | -0.29928
2020-01-02 06:00:00 | 1.026 | 165.4 | 1.599 | 165.1 | 1.359 | 160.1 | 1.445 | 154 | 0.158 | 979.017 | 62.485 | -0.29928
2020-01-02 06:15:00 | 1.923 | 189.5 | 2.316 | 195.1 | 1.66 | 178.3 | 1.887 | 197.9 | 0.071 | 979.314 | 63.237 | -0.29928
2020-01-02 06:30:00 | 1.775 | 196.6 | 2.336 | 195.7 | 1.737 | 185.1 | 1.843 | 204.7 | -0.06 | 979.611 | 62.0749 | -0.29928
2020-01-02 06:45:00 | 1.361 | 172.8 | 2.081 | 179.1 | 1.742 | 159.1 | 1.92 | 181.1 | -0.001 | 979.611 | 60.2974 | -0.29928
2020-01-02 07:00:00 | 1.521 | 190.4 | 1.787 | 193 | 1.559 | 185.7 | 1.823 | 182.5 | 0.234 | 979.611 | 60.229 | -0.29928
2020-01-02 07:15:00 | 0 | 190.3 | 0 | 193 | 0 | 182.9 | 0 | 182.5 | 0.315 | 979.611 | 60.8443 | -0.31776
2020-01-02 07:30:00 | 0 | 190.3 | 0 | 193 | 0 | 182.9 | 0 | 182.5 | 0.256 | 979.909 | 60.1606 | -0.31776
2020-01-02 07:45:00 | 0.956 | 190.4 | 0.023 | 193 | 0 | 211.7 | 0 | 182.5 | 0.268 | 980.355 | 59.6137 | -0.29928
2020-01-02 08:00:00 | 0.086 | 127.9 | 0 | 192.6 | 0 | 225.5 | 0 | 182.5 | 0.392 | 980.504 | 58.5199 | -0.29928
2020-01-02 08:15:00 | 0.134 | 127.9 | 0.783 | 192.2 | 0.577 | 154.2 | 0.998 | 180.5 | 0.914 | 980.801 | 57.8351 | -0.29928
2020-01-02 08:30:00 | 0.604 | 98.9 | 0.827 | 192 | 0.471 | 138 | 0.873 | 155.1 | 1.018 | 981.053 | 58.6566 | -0.28081
2020-01-02 08:45:00 | 1.012 | 58.86 | 1.375 | 191.2 | 0.959 | 130.9 | 1.184 | 99.1 | 0.804 | 981.097 | 58.8766 | -0.28081
2020-01-02 09:00:00 | 0.004 | 58.8 | 0.079 | 191.1 | 0.028 | 130.9 | 0.336 | 81.5 | 1.173 | 981.526 | 57.4065 | -0.2882
2020-01-02 09:15:00 | 0.052 | 53.65 | 0.334 | 191.1 | 0.028 | 130.2 | 0.086 | 81 | 1.794 | 981.815 | 55.7861 | -0.2882
2020-01-02 09:30:00 | 0.528 | 100.8 | 0.724 | 98.2 | 0.638 | 135.7 | 0.88 | 139.6 | 2.134 | 981.984 | 53.9027 | -0.2882
2020-01-02 09:45:00 | 0.715 | 164.9 | 0.086 | 116.7 | 0.142 | 178.7 | 0.447 | 151.7 | 3.211 | 982.578 | 53.137 | -0.26972
2020-01-02 10:00:00 | 0.471 | 232.3 | 0.61 | 302.1 | 0.012 | 254.6 | 0.028 | 204.1 | 2.526 | 982.303 | 52.3818 | -0.26972
2020-01-02 10:15:00 | 2.332 | 159.2 | 1.596 | 169.5 | 0.66 | 162.5 | 0.933 | 152.4 | 3.5 | 982.426 | 51.1479 | -0.29189
2020-01-02 10:30:00 | 1.604 | 173 | 1.581 | 178.4 | 0.985 | 166.8 | 1.245 | 191 | 3.815 | 982.199 | 50.461 | -0.2882
2020-01-02 10:45:00 | 1.245 | 153.9 | 1.429 | 183.9 | 0.671 | 173 | 0.842 | 166.4 | 3.784 | 982.049 | 49.5739 | -0.26972
2020-01-02 11:00:00 | 2.398 | 167.2 | 1.604 | 178.6 | 0.691 | 169.7 | 0.946 | 168 | 4.211 | 981.887 | 50.0429 | -0.2882
2020-01-02 11:15:00 | 2.911 | 192.4 | 2.97 | 206.4 | 1.995 | 197.6 | 2.103 | 215.3 | 4.067 | 982.073 | 50.6913 | -0.25864
2020-01-02 11:30:00 | 3.24 | 220.8 | 3.241 | 233.3 | 2.467 | 218.3 | 2.65 | 230.7 | 4.121 | 981.985 | 53.3892 | -0.26972
2020-01-02 11:45:00 | 3.179 | 250.1 | 2.748 | 260.7 | 2.193 | 241.4 | 2.212 | 236.2 | 3.599 | 982.019 | 53.4304 | -0.28081
2020-01-02 12:00:00 | 2.009 | 287.1 | 2.215 | 295.9 | 1.176 | 286.2 | 1.244 | 289.2 | 3.871 | 981.999 | 51.7593 | -0.31037
2020-01-02 12:15:00 | 2.505 | 289.8 | 2.39 | 303 | 1.854 | 289.8 | 2.006 | 285.1 | 3.752 | 982.018 | 52.0248 | -0.29189
2020-01-02 12:30:00 | 2.214 | 298.8 | 2.374 | 313.8 | 1.636 | 277 | 1.797 | 296.9 | 3.798 | 981.895 | 52.3301 | -0.31037
2020-01-02 12:45:00 | 1.734 | 291.7 | 2.376 | 301.7 | 1.251 | 282.9 | 1.219 | 294.7 | 4.488 | 981.707 | 51.4764 | -0.27711
2020-01-02 13:00:00 | 2.441 | 306.5 | 2.326 | 315 | 1.614 | 262 | 1.702 | 300.4 | 4.448 | 981.735 | 51.2716 | -0.19213
2020-01-02 13:15:00 | 1.439 | 274.1 | 1.791 | 293.9 | 1.868 | 291.1 | 1.966 | 285.2 | 4.311 | 982.001 | 51.9543 | -0.22539
2020-01-02 13:30:00 | 2.599 | 291 | 2.945 | 305.5 | 2.329 | 289.9 | 2.335 | 290.3 | 4.669 | 981.981 | 51.2033 | -0.29928
2020-01-02 13:45:00 | 1.856 | 261.2 | 2.229 | 282.6 | 1.54 | 248.1 | 1.585 | 272.7 | 4.558 | 982.198 | 51.3398 | -0.28081
2020-01-02 14:00:00 | 3.12 | 247.6 | 3.171 | 256.2 | 2.804 | 224.6 | 2.743 | 249.7 | 4.797 | 982.005 | 53.6622 | -0.31776
2020-01-02 14:15:00 | 1.892 | 237.4 | 2.204 | 255 | 1.762 | 242 | 1.886 | 238.5 | 4.344 | 981.822 | 53.671 | -0.2882
2020-01-02 14:30:00 | 1.88 | 252.3 | 1.743 | 259.8 | 1.248 | 260.3 | 1.369 | 254.2 | 4.131 | 981.969 | 53.2959 | -0.28081
2020-01-02 14:45:00 | 3.069 | 287.4 | 3.062 | 295 | 2.634 | 272 | 2.717 | 289.7 | 4.354 | 981.98 | 53.7133 | -0.2882
2020-01-02 15:00:00 | 2.59 | 296.7 | 3.057 | 312.4 | 3.039 | 301.6 | 3.099 | 296.2 | 4.386 | 982.277 | 54.4989 | -0.28081
2020-01-02 15:15:00 | 3.136 | 299.3 | 3.28 | 312.8 | 2.815 | 294.2 | 2.844 | 302.2 | 4.066 | 981.847 | 54.9769 | -0.18105
2020-01-02 15:30:00 | 2.914 | 297.2 | 3.085 | 311.9 | 2.51 | 301.9 | 2.623 | 298.2 | 3.791 | 981.663 | 56.2745 | -0.12562
2020-01-02 15:45:00 | 1.596 | 306.7 | 2.117 | 322 | 1.587 | 308.1 | 1.744 | 307.8 | 3.794 | 981.389 | 56.1747 | -0.092371
2020-01-02 16:00:00 | 0.609 | 349.8 | 1.255 | 319.2 | 1.146 | 342.4 | 1.329 | 328 | 3.605 | 980.795 | 57.312 | -0.24755
2020-01-02 16:15:00 | 1.011 | 17.28 | 1.238 | 319.4 | 0.072 | 3.902 | 0.347 | 0.195 | 3.301 | 980.498 | 58.2748 | -0.28081
2020-01-02 16:30:00 | 0.879 | 7.062 | 1.447 | 319.6 | 0.495 | 353.1 | 0.869 | 0.195 | 3.088 | 980.201 | 58.9582 | -0.28081
2020-01-02 16:45:00 | 1.59 | 7.024 | 1.65 | 319.6 | 0.745 | 359.9 | 1.105 | 0.195 | 3.025 | 979.903 | 59.2997 | -0.28081
2020-01-02 17:00:00 | 3.189 | 49.49 | 2.871 | 354.1 | 1.739 | 352.1 | 2.113 | 0.195 | 2.955 | 979.872 | 59.9959 | -0.29928
2020-01-02 17:15:00 | 4.466 | 355.8 | 4.203 | 356.1 | 3.494 | 354.9 | 3.483 | 0.187 | 2.802 | 980.055 | 60.8851 | 2.0654
2020-01-02 17:30:00 | 4.195 | 354.6 | 4.734 | 356.9 | 4.677 | 358.4 | 4.775 | 356.8 | 2.534 | 980.052 | 62.1217 | 3.2071
2020-01-02 17:45:00 | 2.845 | 7.043 | 3.599 | 22.96 | 2.772 | 19.38 | 2.712 | 10.28 | 2.177 | 979.757 | 63.5571 | 0.38426
2020-01-02 18:00:00 | 2.873 | 18.66 | 3.198 | 23.92 | 2.711 | 34.05 | 2.735 | 25.07 | 2.177 | 979.609 | 62.9079 | 0.30298
2020-01-02 18:15:00 | 2.865 | 25.16 | 3.116 | 24.13 | 1.777 | 29.2 | 1.828 | 29.48 | 2.323 | 979.609 | 62.2587 | 0.0036948
2020-01-02 18:30:00 | 2.975 | 16.81 | 3.264 | 23.84 | 2.416 | 20.29 | 2.434 | 27.12 | 2.357 | 979.312 | 62.669 | -0.051728
2020-01-02 18:45:00 | 2.878 | 18.27 | 3.254 | 23.91 | 2.2 | 19.54 | 2.215 | 28.57 | 2.289 | 979.312 | 62.6049 | -0.055423
2020-01-02 19:00:00 | 2.709 | 15.43 | 2.919 | 23.62 | 1.209 | 11.47 | 1.459 | 345.3 | 2.491 | 979.609 | 61.9922 | -0.11824
2020-01-02 19:15:00 | 2.449 | 2.273 | 2.431 | 22.17 | 2.123 | 4.923 | 2.498 | 2.092 | 2.407 | 979.906 | 62.3313 | 0.30667
2020-01-02 19:30:00 | 2.794 | 2.106 | 3.446 | 18.4 | 2.863 | 12.11 | 3.068 | 0.342 | 2.257 | 979.906 | 62.8462 | 0.31406
2020-01-02 19:45:00 | 2.952 | 4.838 | 3.448 | 19.42 | 2.759 | 15.99 | 2.814 | 0.342 | 2.235 | 979.906 | 62.3354 | 0.055423
2020-01-02 20:00:00 | 2.745 | 5.272 | 3.29 | 19.55 | 2.284 | 18.14 | 2.5 | 0.705 | 2.241 | 980.203 | 62.1321 | -0.22169
2020-01-02 20:15:00 | 2.298 | 4.173 | 2.433 | 19.61 | 1.688 | 14.41 | 1.815 | 348.2 | 2.312 | 980.219 | 61.9285 | -0.29928
2020-01-02 20:30:00 | 2.393 | 3.404 | 2.416 | 19.62 | 1.556 | 17.31 | 1.795 | 349.8 | 2.39 | 979.907 | 62.1326 | -0.27711
2020-01-02 20:45:00 | 2.324 | 60.43 | 2.446 | 19.6 | 2.698 | 9.44 | 2.732 | 353.2 | 2.383 | 979.916 | 62.2693 | -0.21061
2020-01-02 21:00:00 | 2.518 | 74.18 | 2.423 | 19.53 | 2.474 | 11.43 | 2.704 | 356.8 | 2.306 | 979.907 | 62.5416 | -0.30667
2020-01-02 21:15:00 | 2.663 | 6.934 | 2.697 | 19.6 | 2.083 | 10.7 | 2.162 | 353.5 | 2.29 | 980.204 | 62.4374 | -0.31037
2020-01-02 21:30:00 | 2.058 | 0.098 | 2.656 | 19.42 | 2.116 | 10.12 | 2.353 | 356.7 | 2.297 | 980.353 | 62.9179 | -0.29928
2020-01-02 21:45:00 | 1.675 | 353 | 1.661 | 19.26 | 1.376 | 19.97 | 1.39 | 354.1 | 2.36 | 980.204 | 62.95 | -0.29928
2020-01-02 22:00:00 | 0.962 | 336 | 1.333 | 19.22 | 0.519 | 23.07 | 0.768 | 354 | 2.307 | 979.937 | 62.3731 | -0.29928
2020-01-02 22:15:00 | 1.156 | 344 | 1.661 | 18.86 | 0.886 | 16.45 | 1.072 | 354 | 2.313 | 979.976 | 59.4717 | -0.29928
2020-01-02 22:30:00 | 1.273 | 316.9 | 1.628 | 18.15 | 1.049 | 354.2 | 1.209 | 353.5 | 2.401 | 980.011 | 63.3693 | -0.29928
2020-01-02 22:45:00 | 1.402 | 315.8 | 1.715 | 18 | 1.261 | 337 | 1.291 | 353.4 | 2.456 | 980.274 | 62.5498 | -0.29928
2020-01-02 23:00:00 | 0 | 303.1 | 1.288 | 53.1 | 1.34 | 297.3 | 1.556 | 298.1 | 2.302 | 980.354 | 60.9092 | -0.31776
2020-01-02 23:15:00 | 0.007 | 295.1 | 1.362 | 53.12 | 1.635 | 297.1 | 1.882 | 297.1 | 2.112 | 980.293 | 59.2374 | -0.31776
2020-01-02 23:30:00 | 1.081 | 298 | 1.886 | 53.69 | 2.301 | 297.1 | 2.5 | 297.1 | 2.05 | 980.348 | 58.1781 | -0.29928
2020-01-02 23:45:00 | 1.601 | 298.1 | 2.405 | 53.93 | 2.721 | 309.1 | 2.87 | 297.8 | 2.043 | 980.502 | 57.0843 | -0.31776