## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-03 00:00:00 | 1.868 | 302.4 | 2.743 | 53.72 | 2.749 | 338 | 2.814 | 298.8 | 2.049 | 980.205 | 56.7082 | -0.31776
2020-01-03 00:15:00 | 2.035 | 305.5 | 2.776 | 53.49 | 2.685 | 340.5 | 2.803 | 298.2 | 2.116 | 980.051 | 59.6821 | -0.31776
2020-01-03 00:30:00 | 1.671 | 300 | 2.523 | 53.09 | 2.263 | 326.9 | 2.371 | 297.1 | 2.182 | 980.165 | 62.1432 | -0.31776
2020-01-03 00:45:00 | 1.749 | 288.7 | 2.49 | 52.58 | 2.057 | 303.7 | 2.256 | 277.9 | 2.206 | 980.178 | 63.9888 | -0.31776
2020-01-03 01:00:00 | 1.664 | 283.8 | 1.828 | 52.48 | 1.765 | 304.6 | 2.024 | 280 | 2.293 | 980.012 | 63.5105 | -0.31776
2020-01-03 01:15:00 | 1.762 | 303 | 2.229 | 52.25 | 2.055 | 356 | 2.144 | 290.7 | 2.257 | 979.889 | 57.9728 | -0.33623
2020-01-03 01:30:00 | 2.25 | 349.7 | 2.102 | 2.775 | 2.164 | 21.96 | 2.284 | 323.1 | 2.115 | 979.603 | 58.0413 | -0.33623
2020-01-03 01:45:00 | 2.707 | 8.46 | 3.137 | 17.63 | 2.619 | 17.4 | 2.915 | 355 | 2.051 | 979.491 | 57.2206 | -0.33623
2020-01-03 02:00:00 | 2.855 | 7.194 | 3.193 | 18.58 | 2.759 | 21.18 | 3.02 | 27.76 | 2.015 | 979.571 | 60.6383 | -0.31776
2020-01-03 02:15:00 | 2.702 | 1.985 | 3.157 | 18.53 | 2.65 | 15.47 | 2.765 | 0.201 | 2.177 | 979.329 | 61.2524 | -0.32884
2020-01-03 02:30:00 | 2.699 | 5.577 | 3.466 | 18.07 | 3.141 | 14.71 | 3.407 | 1.757 | 2.088 | 979.12 | 61.5583 | -0.35101
2020-01-03 02:45:00 | 2.324 | 11.96 | 3.553 | 18 | 3.481 | 8.06 | 3.86 | 3.658 | 1.985 | 978.875 | 62.5151 | 0.98652
2020-01-03 03:00:00 | 2.431 | 59.91 | 3.034 | 13.85 | 3.746 | 5.921 | 3.988 | 353.8 | 2.01 | 978.767 | 61.7973 | 1.0826
2020-01-03 03:15:00 | 2.653 | 7.843 | 3.661 | 16.82 | 3.171 | 12.8 | 3.71 | 51.35 | 1.907 | 978.542 | 61.7966 | 0.37687
2020-01-03 03:30:00 | 2.763 | 3.524 | 3.85 | 17.08 | 3.921 | 11.19 | 3.906 | 1.762 | 1.813 | 978.749 | 62.0706 | 0.68724
2020-01-03 03:45:00 | 2.262 | 5.55 | 3.108 | 17.08 | 3.026 | 14.79 | 3.46 | 1.909 | 1.837 | 978.562 | 61.3896 | 0.88676
2020-01-03 04:00:00 | 2.653 | 11.07 | 3.474 | 17.36 | 2.955 | 18.98 | 2.783 | 7.285 | 1.773 | 978.354 | 62.2108 | 1.0456
2020-01-03 04:15:00 | 2.643 | 10.82 | 3.339 | 17.52 | 2.51 | 23.88 | 2.847 | 7.963 | 1.774 | 978.346 | 62.4156 | 0.12932
2020-01-03 04:30:00 | 2.268 | 2.623 | 3.106 | 17.13 | 2.868 | 16.3 | 3.234 | 3.1 | 1.816 | 978.666 | 62.3825 | -0.048033
2020-01-03 04:45:00 | 2.395 | 2.414 | 3.385 | 16.92 | 3.242 | 18.16 | 3.593 | 0.198 | 1.89 | 978.385 | 62.3824 | -0.19583
2020-01-03 05:00:00 | 2.594 | 10.54 | 3.31 | 17.29 | 2.515 | 23.26 | 2.592 | 7.239 | 1.789 | 978.655 | 62.861 | -0.38796
2020-01-03 05:15:00 | 2.262 | 7.764 | 2.965 | 16.94 | 2.795 | 13.91 | 2.918 | 3.42 | 1.979 | 978.984 | 63.1687 | -0.33623
2020-01-03 05:30:00 | 1.416 | 349.5 | 2.39 | 16.11 | 2.38 | 3.754 | 2.485 | 351.1 | 2.044 | 979.425 | 62.9636 | -0.33623
2020-01-03 05:45:00 | 0 | 343.8 | 0.537 | 16.11 | 0.615 | 1.611 | 0.992 | 350.7 | 2.03 | 979.572 | 62.9636 | -0.31776
2020-01-03 06:00:00 | 0 | 343.6 | 0 | 16.11 | 0 | 67.12 | 0.443 | 350.7 | 1.706 | 979.313 | 64.4676 | -0.31776
2020-01-03 06:15:00 | 2.597 | 335.5 | 2.694 | 14.36 | 2.233 | 350.3 | 2.307 | 350.4 | 1.753 | 979.165 | 62.5876 | -0.31776
2020-01-03 06:30:00 | 2.025 | 353.7 | 2.267 | 5.01 | 2.665 | 4.734 | 2.88 | 350.4 | 1.929 | 979.314 | 62.4167 | -0.31776
2020-01-03 06:45:00 | 2.058 | 2.333 | 2.546 | 5.659 | 2.38 | 14.06 | 2.852 | 356.8 | 1.858 | 979.611 | 61.9381 | -0.33623
2020-01-03 07:00:00 | 2.574 | 4.356 | 3.223 | 5.847 | 3.123 | 13.91 | 3.42 | 10.13 | 1.793 | 979.575 | 62.2799 | -0.31776
2020-01-03 07:15:00 | 2.245 | 20.22 | 2.937 | 5.809 | 2.96 | 9.51 | 3.346 | 6.071 | 1.837 | 979.537 | 61.3911 | -0.33623
2020-01-03 07:30:00 | 1.384 | 13.96 | 1.81 | 5.801 | 1.503 | 26.59 | 1.894 | 0.39 | 1.791 | 979.605 | 60.0209 | -0.33623
2020-01-03 07:45:00 | 0.337 | 332.7 | 1.642 | 4.974 | 1.696 | 10.97 | 1.828 | 0.195 | 1.906 | 980.067 | 62.551 | -0.30667
2020-01-03 08:00:00 | 1.17 | 26.41 | 1.689 | 5.285 | 1.653 | 11.1 | 1.747 | 0.195 | 1.975 | 980.01 | 59.7469 | -0.31776
2020-01-03 08:15:00 | 1.724 | 10.6 | 2.047 | 5.723 | 1.655 | 39.46 | 1.815 | 0.202 | 1.972 | 979.626 | 60.4916 | -0.31776
2020-01-03 08:30:00 | 1.629 | 21.55 | 2.242 | 6.135 | 2.06 | 24.04 | 2.037 | 2.506 | 2.027 | 980.204 | 61.8488 | -0.29928
2020-01-03 08:45:00 | 1.655 | 27.84 | 2.41 | 6.998 | 2.263 | 35.49 | 2.371 | 25.5 | 2.164 | 980.353 | 64.6848 | -0.29928
2020-01-03 09:00:00 | 2.388 | 21.87 | 2.909 | 8.01 | 2.828 | 21.58 | 2.977 | 22.34 | 2.146 | 980.328 | 65.1281 | -0.29928
2020-01-03 09:15:00 | 1.694 | 33.26 | 2.231 | 8.09 | 2.192 | 31.91 | 2.304 | 31.88 | 2.35 | 980.797 | 63.9619 | -0.29928
2020-01-03 09:30:00 | 0.56 | 66.98 | 1.053 | 7.947 | 0.386 | 73.8 | 0.489 | 68.54 | 3.459 | 980.939 | 61.7625 | -0.29928
2020-01-03 09:45:00 | 0.742 | 158 | 1.308 | 194.1 | 0.278 | 181.1 | 0.412 | 108.5 | 4.555 | 981.241 | 59.6414 | -0.29928
2020-01-03 10:00:00 | 0.619 | 130.4 | 0.896 | 168.2 | 0.213 | 147.9 | 0.345 | 158.8 | 4.105 | 980.944 | 62.0925 | -0.29928
2020-01-03 10:15:00 | 1.324 | 136.8 | 1.092 | 169.1 | 0 | 171.7 | 0 | 138.5 | 4.302 | 981.284 | 60.7138 | -0.29189
2020-01-03 10:30:00 | 2.178 | 223.3 | 1.744 | 263.3 | 1.356 | 234.4 | 1.466 | 229.1 | 3.642 | 980.584 | 64.6748 | -0.28081
2020-01-03 10:45:00 | 2.247 | 227.1 | 2.042 | 248.5 | 1.529 | 214.5 | 1.655 | 218.8 | 3.235 | 980.787 | 63.8211 | -0.28081
2020-01-03 11:00:00 | 2.354 | 225.8 | 1.976 | 254.1 | 1.422 | 259.8 | 1.685 | 220.3 | 3.519 | 981.092 | 64.1328 | -0.29928
2020-01-03 11:15:00 | 2.393 | 276.5 | 2.375 | 283 | 1.931 | 269.6 | 2.062 | 278.1 | 3.309 | 980.795 | 62.6991 | -0.29928
2020-01-03 11:30:00 | 1.932 | 269.9 | 2.008 | 276.4 | 0.725 | 261.6 | 0.852 | 276.4 | 4.61 | 981.263 | 60.304 | -0.29928
2020-01-03 11:45:00 | 1.697 | 216.9 | 1.225 | 263.2 | 0.476 | 261.8 | 0.61 | 179.1 | 4.703 | 981.09 | 58.7966 | -0.29928
2020-01-03 12:00:00 | 2.039 | 280.7 | 2.29 | 298.6 | 1.587 | 274.1 | 1.71 | 301.3 | 4.91 | 980.481 | 60.5002 | -0.29928
2020-01-03 12:15:00 | 1.866 | 289.2 | 2.155 | 301.9 | 1.479 | 291.2 | 1.66 | 283.9 | 4.758 | 980.211 | 59.9765 | -0.29928
2020-01-03 12:30:00 | 2.178 | 305.9 | 2.531 | 318.2 | 2.204 | 298.5 | 2.299 | 307 | 5.071 | 980.363 | 59.3276 | -0.31776
2020-01-03 12:45:00 | 2.543 | 308.8 | 2.827 | 318.1 | 2.058 | 301.2 | 2.117 | 306.4 | 5.019 | 980.196 | 60.0785 | -0.28081
2020-01-03 13:00:00 | 2.758 | 288.9 | 3.088 | 303.7 | 2.456 | 288.6 | 2.59 | 290.5 | 4.818 | 980.195 | 60.3516 | -0.28081
2020-01-03 13:15:00 | 2.845 | 299.6 | 3.137 | 311.4 | 2.141 | 283.5 | 2.208 | 301.7 | 5.013 | 980.492 | 60.1468 | -0.28081
2020-01-03 13:30:00 | 2.791 | 291.9 | 3.055 | 300.7 | 2.879 | 287.9 | 2.905 | 289.9 | 4.991 | 980.531 | 61.6488 | -0.32145
2020-01-03 13:45:00 | 2.908 | 294.9 | 3.021 | 310.6 | 2.492 | 292.9 | 2.516 | 291.7 | 4.798 | 980.58 | 60.0785 | -0.29928
2020-01-03 14:00:00 | 2.149 | 280.1 | 2.324 | 285.5 | 1.841 | 264.3 | 1.954 | 287.2 | 5.038 | 980.864 | 60.2833 | -0.29928
2020-01-03 14:15:00 | 2.972 | 269.5 | 2.986 | 281.4 | 2.724 | 269.2 | 2.745 | 271.8 | 5.113 | 980.825 | 61.2399 | -0.28081
2020-01-03 14:30:00 | 2.76 | 254.8 | 2.694 | 270.6 | 2.011 | 254.7 | 2.083 | 255.3 | 4.809 | 980.403 | 57.0843 | -0.29928
2020-01-03 14:45:00 | 2.467 | 274 | 2.481 | 300 | 1.977 | 284 | 1.978 | 268.1 | 5.034 | 980.494 | 58.9299 | -0.28081
2020-01-03 15:00:00 | 1.879 | 283.3 | 2.242 | 295.9 | 1.566 | 270.4 | 1.619 | 285 | 5.185 | 980.495 | 57.9813 | -0.28081
2020-01-03 15:15:00 | 1.549 | 281.8 | 1.629 | 306.1 | 1.041 | 281.7 | 1.248 | 280.4 | 5.132 | 979.901 | 58.5965 | -0.28081
2020-01-03 15:30:00 | 1.828 | 260 | 1.505 | 287.8 | 0.983 | 263 | 1.123 | 258 | 4.889 | 979.901 | 59.8941 | -0.28081
2020-01-03 15:45:00 | 1.184 | 256.2 | 1.618 | 260.8 | 1.302 | 258.2 | 1.468 | 245 | 4.663 | 979.931 | 60.1332 | -0.28081
2020-01-03 16:00:00 | 1.483 | 240.3 | 1.475 | 258.9 | 1.168 | 248.3 | 1.448 | 231.9 | 4.573 | 979.586 | 60.8503 | -0.28081
2020-01-03 16:15:00 | 1.336 | 203.8 | 1.548 | 231.7 | 1.06 | 224.8 | 1.321 | 205.9 | 4.348 | 979.012 | 60.4483 | -0.28081
2020-01-03 16:30:00 | 0 | 196 | 0.203 | 224.8 | 0 | 209.4 | 0.009 | 200 | 4.35 | 978.715 | 60.9392 | -0.29928
2020-01-03 16:45:00 | 0 | 196 | 0.894 | 224.8 | 0.749 | 209.4 | 1.095 | 199.9 | 4.117 | 978.418 | 62.4424 | -0.28081
2020-01-03 17:00:00 | 0 | 192 | 1.181 | 224.7 | 1.042 | 209.3 | 1.309 | 199 | 3.886 | 977.839 | 62.5448 | -0.29928
2020-01-03 17:15:00 | 0 | 175.2 | 1.387 | 224.7 | 1.279 | 206.1 | 1.522 | 198.4 | 3.981 | 978.079 | 62.4583 | -0.2882
2020-01-03 17:30:00 | 1.003 | 175.2 | 1.493 | 224.7 | 1.091 | 189.3 | 1.331 | 198.4 | 3.972 | 978.42 | 62.5957 | -0.29928
2020-01-03 17:45:00 | 0 | 175.2 | 0.086 | 224.7 | 0.062 | 189.4 | 0.339 | 198.4 | 3.837 | 978.419 | 63.1782 | -0.29928
2020-01-03 18:00:00 | 0 | 175.2 | 0 | 224.7 | 0 | 189.4 | 0 | 198.4 | 3.543 | 978.42 | 64.6504 | -0.29928
2020-01-03 18:15:00 | 0 | 175.2 | 0 | 224.7 | 0 | 189.4 | 0 | 198.4 | 3.45 | 978.122 | 65.0606 | -0.29928
2020-01-03 18:30:00 | 0 | 175.2 | 0 | 224.7 | 0 | 189.4 | 0 | 198.3 | 3.334 | 977.825 | 65.744 | -0.31776
2020-01-03 18:45:00 | 0 | 175.2 | 0 | 224.7 | 0 | 189.4 | 0 | 198.3 | 3.532 | 977.528 | 64.1039 | -0.31776
2020-01-03 19:00:00 | 0.249 | 175.2 | 0.919 | 224.7 | 0.829 | 169.1 | 1.066 | 198.1 | 3.707 | 977.825 | 64.9966 | -0.31776
2020-01-03 19:15:00 | 1.762 | 175.1 | 2.331 | 221.4 | 1.902 | 169.6 | 2.014 | 183 | 3.605 | 977.528 | 67.1806 | -0.31776
2020-01-03 19:30:00 | 2.219 | 172.7 | 2.426 | 221.1 | 2.103 | 167 | 2.18 | 174.5 | 3.665 | 977.825 | 67.4526 | -0.30667
2020-01-03 19:45:00 | 2.145 | 168.7 | 2.656 | 221.1 | 2.192 | 162.1 | 2.22 | 174.4 | 3.552 | 977.825 | 68.4777 | -0.29928
2020-01-03 20:00:00 | 1.759 | 174.7 | 2.201 | 221 | 2.36 | 172.2 | 2.47 | 175.7 | 3.405 | 977.825 | 70.0496 | -0.31776
2020-01-03 20:15:00 | 2.14 | 173.6 | 2.986 | 220.8 | 2.894 | 170.3 | 2.956 | 178.9 | 3.203 | 977.677 | 70.7671 | -0.2882
2020-01-03 20:30:00 | 3.279 | 171.2 | 3.62 | 220.3 | 3.634 | 160.9 | 3.657 | 178.4 | 3.163 | 977.528 | 70.3913 | -0.1404
2020-01-03 20:45:00 | 3.511 | 171.9 | 4.108 | 186.3 | 4.143 | 162.9 | 4.189 | 177.5 | 3.154 | 977.677 | 70.3229 | 0.36579
2020-01-03 21:00:00 | 3.511 | 168.6 | 3.704 | 179.6 | 3.906 | 155 | 3.965 | 172.2 | 3.225 | 977.677 | 71.4164 | 0.67985
2020-01-03 21:15:00 | 3.503 | 168.3 | 3.356 | 173.3 | 3.217 | 154.2 | 3.397 | 175.8 | 2.859 | 977.825 | 72.8515 | 0.94219
2020-01-03 21:30:00 | 2.132 | 165.8 | 2.615 | 180.3 | 2.945 | 155 | 3.076 | 169.4 | 2.957 | 977.825 | 71.143 | 0.40274
2020-01-03 21:45:00 | 2.691 | 168.1 | 3.016 | 180.6 | 3.021 | 158 | 3.16 | 170.7 | 3.011 | 978.122 | 71.5531 | 1.4521
2020-01-03 22:00:00 | 3.457 | 172.1 | 3.707 | 182 | 3.698 | 157.3 | 3.845 | 171.4 | 2.859 | 977.825 | 71.348 | 3.5286
2020-01-03 22:15:00 | 3.358 | 160.7 | 3.61 | 170.8 | 3.906 | 151.8 | 4.069 | 164 | 2.863 | 977.825 | 72.0315 | 2.9854
2020-01-03 22:30:00 | 3.488 | 157.3 | 3.898 | 168.4 | 3.904 | 149.1 | 4.018 | 164.7 | 2.647 | 977.825 | 72.2023 | 3.7761
2020-01-03 22:45:00 | 3.24 | 166 | 3.809 | 175 | 3.784 | 163.8 | 3.921 | 172.3 | 2.635 | 977.825 | 73.8767 | 5.8415
2020-01-03 23:00:00 | 4.66 | 168.7 | 5.008 | 188.5 | 4.908 | 173.4 | 5.065 | 170.9 | 2.549 | 977.528 | 72.4415 | 5.4166
2020-01-03 23:15:00 | 3.644 | 153.8 | 4.231 | 166.6 | 5.01 | 152.8 | 5.118 | 159.5 | 2.781 | 977.379 | 73.0566 | 3.4916
2020-01-03 23:30:00 | 2.49 | 163.9 | 3.183 | 168.3 | 3.726 | 147.5 | 3.87 | 167 | 2.779 | 977.528 | 70.733 | 2.5531
2020-01-03 23:45:00 | 2.975 | 145.5 | 3.116 | 162.1 | 3.568 | 148.4 | 3.7 | 152 | 3.25 | 977.379 | 70.528 | 2.8783