## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-05 00:00:00 | 2.801 | 102.5 | 3.367 | 119.9 | 3.85 | 104.1 | 3.96 | 112.4 | 5.963 | 979.012 | 53.9026 | 9.3516
2020-01-05 00:15:00 | 1.459 | 99.7 | 1.946 | 123 | 2.568 | 85.4 | 2.831 | 106.2 | 5.939 | 979.012 | 53.9026 | 4.9067
2020-01-05 00:30:00 | 2.664 | 114 | 2.848 | 127.3 | 3.278 | 92.6 | 3.277 | 118.1 | 5.83 | 979.012 | 53.0828 | 7.7481
2020-01-05 00:45:00 | 4.341 | 117.6 | 4.486 | 129.7 | 4.397 | 109.7 | 4.558 | 123.2 | 5.875 | 979.012 | 53.0828 | 10.3603
2020-01-05 01:00:00 | 3.023 | 101.4 | 3.111 | 102.6 | 3.102 | 83.9 | 3.443 | 113.9 | 5.704 | 979.012 | 54.6541 | 10.6227
2020-01-05 01:15:00 | 3.368 | 105.6 | 3.497 | 116.1 | 3.654 | 92.7 | 3.911 | 114.3 | 5.682 | 978.715 | 55.064 | 15.2338
2020-01-05 01:30:00 | 2.184 | 101.6 | 2.41 | 121.3 | 2.659 | 65.13 | 2.972 | 114.6 | 5.618 | 979.012 | 54.5175 | 8.3097
2020-01-05 01:45:00 | 3.202 | 60.43 | 3.082 | 65.99 | 2.495 | 45.01 | 2.591 | 98.9 | 5.521 | 979.012 | 53.971 | 5.8453
2020-01-05 02:00:00 | 3.81 | 106.2 | 4.256 | 121.3 | 5.14 | 107 | 5.391 | 110.4 | 5.521 | 978.715 | 52.8096 | 7.8294
2020-01-05 02:15:00 | 5.554 | 97.8 | 5.885 | 111.5 | 6.264 | 94.9 | 6.471 | 105 | 5.591 | 978.418 | 52.6046 | 9.2962
2020-01-05 02:30:00 | 5.84 | 99.1 | 6.493 | 115.1 | 5.987 | 99 | 6.18 | 104.8 | 5.545 | 978.418 | 52.9462 | 8.4316
2020-01-05 02:45:00 | 4.956 | 93.2 | 5.374 | 106.3 | 5.643 | 91.7 | 5.921 | 103.8 | 5.574 | 978.418 | 51.9897 | 6.4697
2020-01-05 03:00:00 | 3.764 | 93.2 | 3.776 | 98.1 | 4.55 | 86 | 4.836 | 103.1 | 5.718 | 978.715 | 52.2289 | 6.2517
2020-01-05 03:15:00 | 1.918 | 104 | 2.748 | 120.1 | 3.476 | 95.8 | 3.814 | 111.9 | 5.785 | 978.715 | 51.3066 | 8.6459
2020-01-05 03:30:00 | 3.779 | 105.2 | 4.384 | 121.4 | 4.667 | 106.4 | 5.034 | 109.4 | 5.628 | 978.418 | 50.8284 | 14.9346
2020-01-05 03:45:00 | 3.429 | 106.5 | 4.448 | 120.6 | 4.776 | 107.9 | 4.904 | 114.5 | 5.553 | 978.418 | 48.0273 | 13.9407
2020-01-05 04:00:00 | 4.709 | 97 | 5.023 | 110.2 | 5.257 | 94.3 | 5.528 | 105 | 5.642 | 978.121 | 46.7976 | 14.0515
2020-01-05 04:15:00 | 5.26 | 96.6 | 5.818 | 109.7 | 5.842 | 92 | 6.104 | 103.2 | 5.705 | 978.121 | 46.3877 | 13.416
2020-01-05 04:30:00 | 4.017 | 109.4 | 4.325 | 126.6 | 4.832 | 118.6 | 5.055 | 113.7 | 5.621 | 978.121 | 45.9095 | 14.8459
2020-01-05 04:45:00 | 4.522 | 120.3 | 4.586 | 141.4 | 5.152 | 132.3 | 5.302 | 123.1 | 5.634 | 977.823 | 46.2511 | 13.4973
2020-01-05 05:00:00 | 2.839 | 107.5 | 3.395 | 119.5 | 3.466 | 114.3 | 3.634 | 112.6 | 5.517 | 977.823 | 47.2417 | 10.0906
2020-01-05 05:15:00 | 3.256 | 101.1 | 3.489 | 114.3 | 3.675 | 103.6 | 3.977 | 108.9 | 5.496 | 977.972 | 45.2263 | 5.4499
2020-01-05 05:30:00 | 2.489 | 107.6 | 2.745 | 115.4 | 3.128 | 95.7 | 3.348 | 114.7 | 5.659 | 978.418 | 45.0213 | 3.4177
2020-01-05 05:45:00 | 5.023 | 118.4 | 5.225 | 131 | 5.084 | 114.1 | 5.136 | 125.5 | 5.889 | 978.418 | 43.45 | 4.589
2020-01-05 06:00:00 | 4.594 | 114.1 | 5.064 | 128.6 | 5.404 | 112.2 | 5.449 | 124.3 | 5.885 | 978.269 | 43.9966 | 7.567
2020-01-05 06:15:00 | 4.923 | 124.2 | 5.463 | 141 | 5.781 | 130.4 | 5.893 | 129.4 | 5.817 | 978.418 | 47.8907 | 7.7961
2020-01-05 06:30:00 | 5.076 | 124 | 5.806 | 141 | 6.414 | 129.2 | 6.415 | 128 | 5.423 | 978.418 | 48.6422 | 7.4931
2020-01-05 06:45:00 | 4.451 | 126.8 | 5.082 | 142.2 | 5.521 | 133.9 | 5.574 | 131.7 | 5.335 | 978.566 | 49.8719 | 6.163
2020-01-05 07:00:00 | 5.429 | 121.2 | 6.097 | 138.9 | 6.523 | 127.6 | 6.463 | 127 | 5.297 | 978.418 | 52.1264 | 10.6116
2020-01-05 07:15:00 | 5.791 | 127.1 | 6.092 | 143.4 | 6.541 | 128.9 | 6.616 | 131.5 | 5.095 | 978.715 | 49.8036 | 12.2595
2020-01-05 07:30:00 | 4.622 | 131.2 | 4.803 | 150.2 | 5.066 | 140.8 | 5.202 | 130.5 | 4.908 | 978.715 | 53.6294 | 12.5957
2020-01-05 07:45:00 | 5.033 | 129.1 | 5.33 | 150.9 | 5.582 | 145 | 5.554 | 126.9 | 4.917 | 978.715 | 51.614 | 15.8804
2020-01-05 08:00:00 | 5.16 | 130.8 | 5.425 | 153.9 | 5.302 | 146 | 5.411 | 128.5 | 5.083 | 979.015 | 52.8096 | 14.1993
2020-01-05 08:15:00 | 4.892 | 122.5 | 5.302 | 147.4 | 4.613 | 144.8 | 4.645 | 117.7 | 5.059 | 979.161 | 53.1511 | 12.5773
2020-01-05 08:30:00 | 4.259 | 96.2 | 5.333 | 112.8 | 5.473 | 101.3 | 5.796 | 101.6 | 5.237 | 979.459 | 48.3006 | 10.8592
2020-01-05 08:45:00 | 4.059 | 100.6 | 4.701 | 114 | 5.341 | 100.8 | 5.582 | 107 | 5.232 | 979.607 | 48.9838 | 8.6053
2020-01-05 09:00:00 | 2.801 | 106.6 | 3.093 | 128.6 | 2.963 | 124.2 | 3.231 | 99.8 | 5.223 | 980.201 | 53.6294 | 6.9722
2020-01-05 09:15:00 | 3.212 | 71.02 | 3.858 | 81.1 | 3.858 | 57.26 | 4.003 | 79.1 | 5.039 | 980.498 | 53.4244 | 3.4658
2020-01-05 09:30:00 | 1.68 | 94.7 | 2.412 | 114.3 | 3.215 | 87.6 | 3.631 | 100.7 | 4.972 | 980.498 | 50.76 | 2.3499
2020-01-05 09:45:00 | 2.684 | 81.4 | 3.658 | 93.1 | 4.534 | 75.32 | 4.642 | 87.9 | 5.319 | 980.647 | 49.7353 | 1.2008
2020-01-05 10:00:00 | 1.024 | 54.9 | 2.321 | 76.87 | 1.897 | 25.5 | 2.013 | 62.85 | 4.985 | 980.201 | 51.0333 | 0.29928
2020-01-05 10:15:00 | 2.395 | 31.03 | 3.129 | 35.83 | 3.7 | 4.543 | 3.921 | 45.42 | 4.898 | 980.201 | 52.7412 | 2.6418
2020-01-05 10:30:00 | 4.405 | 117.6 | 5.087 | 134.3 | 5.353 | 120.2 | 5.444 | 122.1 | 5.428 | 980.201 | 42.6985 | 8.5684
2020-01-05 10:45:00 | 3.539 | 105 | 3.824 | 130.1 | 4.003 | 127.3 | 4.186 | 107.2 | 5.749 | 979.607 | 47.7541 | 19.2982
2020-01-05 11:00:00 | 5.094 | 105.1 | 5.374 | 124.4 | 5.557 | 112.7 | 5.826 | 109.2 | 5.142 | 979.012 | 53.6294 | 22.4055
2020-01-05 11:15:00 | 3.636 | 114.5 | 3.97 | 135.1 | 4.171 | 128.4 | 4.359 | 114.5 | 4.715 | 979.012 | 59.8804 | 19.3795
2020-01-05 11:30:00 | 6.026 | 139.4 | 6.003 | 159.6 | 5.315 | 151.9 | 5.332 | 143.4 | 4.167 | 978.418 | 63.4671 | 14.8385
2020-01-05 11:45:00 | 7.576 | 142.9 | 7.792 | 160.8 | 7.258 | 151.7 | 7.13 | 146.5 | 3.735 | 977.972 | 71.1187 | 40.7444
2020-01-05 12:00:00 | 5.209 | 112.6 | 5.427 | 130.1 | 5.104 | 118.6 | 5.353 | 115 | 2.802 | 977.926 | 81.985 | 37.4657
2020-01-05 12:15:00 | 4.734 | 124.4 | 4.842 | 141.1 | 4.911 | 134.8 | 4.879 | 124.5 | 2.303 | 977.224 | 84.9408 | 16.2499
2020-01-05 12:30:00 | 3.978 | 111.8 | 4.264 | 128.9 | 4.374 | 125.2 | 4.663 | 116.3 | 2.166 | 976.933 | 86.2405 | 10.4749
2020-01-05 12:45:00 | 3.953 | 105.7 | 4.535 | 124.1 | 4.57 | 114.1 | 4.864 | 108.2 | 2.002 | 976.566 | 88.2937 | 6.3403
2020-01-05 13:00:00 | 2.817 | 106 | 3.482 | 123.8 | 3.504 | 115.5 | 3.713 | 104.8 | 1.837 | 976.636 | 89.0483 | 2.2797
2020-01-05 13:15:00 | 1.499 | 99.3 | 1.568 | 127.6 | 1.633 | 121.8 | 2.148 | 100.9 | 1.973 | 976.636 | 88.0232 | 1.09
2020-01-05 13:30:00 | 1.963 | 84.9 | 2.602 | 99.9 | 2.807 | 75.59 | 3.091 | 85.1 | 2.036 | 976.042 | 87.2031 | 0.25125
2020-01-05 13:45:00 | 1.644 | 66.04 | 2.341 | 88.3 | 2.066 | 61.28 | 2.348 | 67.51 | 2.035 | 976.19 | 88.98 | -0.31776
2020-01-05 14:00:00 | 1.209 | 38.75 | 1.704 | 57.81 | 1.187 | 56.8 | 1.592 | 58.53 | 2.19 | 976.19 | 88.2282 | -0.24386
2020-01-05 14:15:00 | 0.261 | 29.27 | 1.634 | 38.58 | 1.355 | 34.53 | 1.779 | 35.25 | 2.181 | 976.042 | 89.9368 | -0.29928
2020-01-05 14:30:00 | 1.219 | 20.05 | 3.379 | 35.94 | 3.171 | 3.207 | 3.331 | 27.57 | 2.212 | 975.744 | 92.2604 | -0.29928
2020-01-05 14:45:00 | 2.689 | 6.506 | 3.344 | 12.11 | 2.731 | 350.4 | 2.793 | 11.26 | 1.88 | 975.744 | 94.3106 | -0.20322
2020-01-05 15:00:00 | 2.916 | 352.8 | 3.093 | 19.47 | 2.808 | 14.97 | 3.206 | 346.2 | 1.496 | 975.744 | 96.7367 | 1.2636
2020-01-05 15:15:00 | 2.061 | 342.6 | 2.492 | 5.154 | 2.69 | 345.8 | 3.089 | 338 | 1.118 | 975.744 | 98.001 | 2.4718
2020-01-05 15:30:00 | 0.671 | 343.8 | 1.826 | 1.254 | 2.135 | 346.9 | 2.471 | 337.9 | 0.819 | 975.744 | 98.8242 | 3.5471
2020-01-05 15:45:00 | 2.575 | 3.537 | 3.423 | 24.37 | 2.726 | 16.55 | 3.058 | 354.4 | 0.635 | 975.596 | 99.3132 | 3.9572
2020-01-05 16:00:00 | 2.919 | 4.722 | 3.428 | 22.32 | 3.113 | 14.8 | 3.601 | 358.7 | 0.48 | 975.505 | 99.7337 | 2.2576
2020-01-05 16:15:00 | 2.977 | 5.501 | 4.116 | 22.06 | 3.619 | 7.281 | 3.687 | 6.001 | 0.479 | 975.391 | 99.9482 | 1.8511
2020-01-05 16:30:00 | 3.192 | 7.371 | 4.658 | 26.17 | 3.629 | 12.31 | 3.702 | 12.15 | 0.411 | 975.441 | 100 | 2.8598
2020-01-05 16:45:00 | 3.378 | 8.6 | 4.374 | 27.42 | 4.036 | 16.05 | 3.784 | 10.47 | 0.21 | 975.448 | 100 | 3.4842
2020-01-05 17:00:00 | 2.716 | 12.81 | 3.727 | 32.08 | 3.446 | 14.9 | 3.422 | 18.31 | 0.129 | 975.3 | 100 | 4.2897
2020-01-05 17:15:00 | 2.864 | 12.79 | 4.471 | 28.26 | 4.478 | 13.59 | 4.082 | 17.94 | 0.077 | 975.3 | 100 | 4.5447
2020-01-05 17:30:00 | 2.431 | 12.79 | 3.817 | 25.96 | 3.164 | 5.98 | 3.231 | 17.61 | 0.196 | 975.151 | 100 | 4.3525
2020-01-05 17:45:00 | 2.415 | 12.76 | 3.719 | 32.59 | 3.469 | 20.89 | 3.501 | 17.46 | 0.191 | 975.3 | 100 | 4.1493
2020-01-05 18:00:00 | 2.599 | 12.6 | 3.814 | 22.17 | 2.772 | 10.86 | 2.781 | 8.33 | 0.131 | 975.151 | 100 | 6.2739
2020-01-05 18:15:00 | 2.546 | 12.2 | 3.64 | 30.15 | 3.194 | 18.52 | 3.02 | 11.15 | 0.102 | 975.151 | 100 | 6.5583
2020-01-05 18:30:00 | 3.542 | 11.96 | 4.318 | 25.05 | 3.86 | 16.29 | 3.776 | 9.71 | 0.192 | 975.151 | 100 | 8.3171
2020-01-05 18:45:00 | 3.442 | 11.81 | 5.026 | 30.07 | 3.886 | 15.2 | 3.542 | 14.48 | 0.207 | 975.151 | 100 | 6.5251
2020-01-05 19:00:00 | 2.719 | 11.62 | 3.758 | 22.06 | 3.929 | 5.944 | 3.376 | 4.688 | 0.22 | 975.3 | 100 | 6.7135
2020-01-05 19:15:00 | 3.118 | 11.23 | 3.712 | 19.95 | 3.476 | 13.69 | 3.725 | 8.31 | 0.267 | 975.151 | 100 | 7.5116
2020-01-05 19:30:00 | 3.874 | 10.9 | 4.412 | 25.03 | 3.784 | 13.41 | 3.425 | 7.25 | 0.267 | 975.151 | 100 | 7.8257
2020-01-05 19:45:00 | 3.72 | 10.17 | 4.369 | 21.48 | 4 | 13.66 | 4.247 | 1.128 | 0.26 | 975.151 | 100 | 11.4725
2020-01-05 20:00:00 | 4.371 | 8.38 | 4.244 | 16.1 | 4.28 | 5.134 | 4.464 | 1.431 | 0.035 | 975.151 | 100 | 14.3545
2020-01-05 20:15:00 | 4.862 | 8.01 | 4.86 | 11.21 | 4.944 | 6.331 | 4.925 | 0.781 | -0.143 | 975.151 | 100 | 13.4825
2020-01-05 20:30:00 | 5.035 | 8.01 | 5.054 | 17.62 | 4.285 | 5.661 | 4.059 | 0.781 | -0.28 | 974.854 | 100 | 17.2956
2020-01-05 20:45:00 | 4.43 | 8.01 | 4.699 | 18.06 | 4.168 | 2.831 | 4.273 | 0.781 | -0.415 | 974.854 | 100 | 15.8287
2020-01-05 21:00:00 | 4.251 | 8.01 | 4.844 | 18.06 | 4.242 | 2.831 | 4.446 | 0.778 | -0.5 | 974.854 | 100 | 13.6118
2020-01-05 21:15:00 | 3.891 | 8.01 | 4.282 | 18.06 | 0 | 2.831 | 0 | 0.773 | -0.563 | 974.854 | 100 | 11.7792
2020-01-05 21:30:00 | 3.899 | 8.01 | 4.54 | 18.06 | 0 | 2.831 | 0 | 0.772 | -0.622 | 974.854 | 100 | 12.2189
2020-01-05 21:45:00 | 3.281 | 8.01 | 3.927 | 18.06 | 0 | 2.831 | 0 | 0.77 | -0.621 | 974.854 | 100 | 10.4121
2020-01-05 22:00:00 | 4.057 | 8.01 | 4.494 | 18.06 | 0 | 2.831 | 0 | 0.771 | -0.666 | 974.854 | 100 | 9.1817
2020-01-05 22:15:00 | 3.636 | 8.01 | 3.684 | 18.06 | 0 | 2.831 | 0 | 0.778 | -0.668 | 974.854 | 100 | 8.6866
2020-01-05 22:30:00 | 3.572 | 8.01 | 3.52 | 18.06 | 0 | 2.831 | 0 | 0.78 | -0.697 | 974.854 | 100 | 7.2197
2020-01-05 22:45:00 | 3.365 | 8.01 | 3.643 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.689 | 974.705 | 100 | 6.8724
2020-01-05 23:00:00 | 3.708 | 8.01 | 3.827 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.689 | 974.259 | 100 | 6.9722
2020-01-05 23:15:00 | 3.978 | 8.01 | 4.187 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.699 | 974.11 | 100 | 4.8292
2020-01-05 23:30:00 | 3.636 | 8.01 | 3.776 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.669 | 973.961 | 100 | 5.7455
2020-01-05 23:45:00 | 3.488 | 8.01 | 3.768 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.607 | 974.259 | 100 | 3.5766