## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-06 00:00:00 | 2.334 | 8.01 | 2.975 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.553 | 973.961 | 100 | 4.0274
2020-01-06 00:15:00 | 0 | 8.01 | 3.305 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.521 | 973.664 | 100 | 3.7466
2020-01-06 00:30:00 | 0 | 8.01 | 3.044 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.484 | 973.664 | 100 | 3.6764
2020-01-06 00:45:00 | 0 | 8.01 | 2.978 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.483 | 973.515 | 100 | 3.7872
2020-01-06 01:00:00 | 0 | 8.01 | 2.638 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.454 | 973.664 | 100 | 2.3241
2020-01-06 01:15:00 | 0 | 8.01 | 2.845 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.38 | 973.664 | 100 | 2.2576
2020-01-06 01:30:00 | 0 | 8.01 | 2.802 | 18.06 | 0 | 2.832 | 0 | 0.781 | -0.344 | 973.664 | 100 | 2.7046
2020-01-06 01:45:00 | 0 | 8.01 | 3.234 | 18.06 | 0 | 2.832 | 0 | 0.781 | -0.291 | 973.813 | 100 | 2.6529
2020-01-06 02:00:00 | 0 | 8.01 | 3.195 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.279 | 973.664 | 100 | 3.536
2020-01-06 02:15:00 | 0 | 8.01 | 3.139 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.269 | 973.367 | 100 | 4.5336
2020-01-06 02:30:00 | 0 | 8.01 | 3.786 | 18.06 | 0 | 2.832 | 0 | 0.781 | -0.264 | 973.515 | 100 | 3.6357
2020-01-06 02:45:00 | 0 | 8.01 | 3.167 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.22 | 973.515 | 100 | 4.6038
2020-01-06 03:00:00 | 0 | 8.01 | 3.203 | 18.06 | 0 | 2.831 | 0 | 0.781 | -0.211 | 972.921 | 100 | 6.7283
2020-01-06 03:15:00 | 0 | 8.01 | 3.829 | 18.04 | 0 | 2.831 | 0 | 0.781 | -0.207 | 972.921 | 100 | 6.3884
2020-01-06 03:30:00 | 0 | 8.01 | 3.31 | 18.01 | 0 | 2.831 | 0 | 0.781 | -0.15 | 972.921 | 100 | 4.5447
2020-01-06 03:45:00 | 0 | 8.01 | 3.275 | 18.01 | 0 | 2.831 | 0 | 0.781 | -0.129 | 972.772 | 100 | 5.328
2020-01-06 04:00:00 | 0 | 8.01 | 3.331 | 17.97 | 0 | 2.86 | 0 | 0.781 | -0.076 | 972.474 | 100 | 5.7196
2020-01-06 04:15:00 | 0 | 8.01 | 3.794 | 17.96 | 0 | 2.911 | 0 | 0.781 | -0.073 | 972.177 | 100 | 5.6827
2020-01-06 04:30:00 | 0 | 8.01 | 4.366 | 17.96 | 0 | 2.96 | 0 | 0.781 | -0.014 | 971.88 | 100 | 8.5277
2020-01-06 04:45:00 | 0 | 8.01 | 4.653 | 17.96 | 0 | 3.026 | 0 | 0.781 | -0.007 | 971.731 | 100 | 8.3134
2020-01-06 05:00:00 | 0 | 8.01 | 4.43 | 17.96 | 0 | 3.061 | 0 | 0.781 | 0.062 | 971.582 | 100 | 9.1337
2020-01-06 05:15:00 | 0 | 8.01 | 3.852 | 17.96 | 0 | 3.079 | 0 | 0.781 | 0.07 | 971.88 | 100 | 8.0769
2020-01-06 05:30:00 | 0 | 8.01 | 3.103 | 17.87 | 0 | 2.945 | 0 | 0.781 | 0.103 | 971.88 | 100 | 9.3184
2020-01-06 05:45:00 | 0 | 8.01 | 3.287 | 17.78 | 0 | 2.716 | 0 | 0.745 | 0.065 | 972.177 | 100 | 8.7531
2020-01-06 06:00:00 | 0 | 8 | 2.719 | 17.73 | 0 | 2.625 | 0 | 0.732 | -0.006 | 972.177 | 100 | 11.975
2020-01-06 06:15:00 | 0 | 8.01 | 3.093 | 17.67 | 0 | 2.441 | 0 | 0.732 | -0.143 | 972.474 | 100 | 10.0056
2020-01-06 06:30:00 | 0 | 8.01 | 1.636 | 17.67 | 0 | 2.441 | 0 | 0.732 | -0.324 | 972.474 | 100 | 7.6779
2020-01-06 06:45:00 | 0 | 8.01 | 3.18 | 17.67 | 0 | 2.441 | 0 | 0.732 | -0.359 | 972.772 | 100 | 8.5499
2020-01-06 07:00:00 | 0 | 8.01 | 3.829 | 17.67 | 0 | 2.441 | 0 | 0.732 | -0.441 | 972.772 | 100 | 8.4649
2020-01-06 07:15:00 | 0 | 8.01 | 2.651 | 17.67 | 0 | 2.441 | 0 | 0.732 | -0.419 | 973.069 | 100 | 8.258
2020-01-06 07:30:00 | 0 | 8.01 | 2.648 | 17.67 | 0 | 2.441 | 0 | 0.732 | -0.478 | 972.772 | 100 | 7.4599
2020-01-06 07:45:00 | 0 | 8.01 | 2.74 | 17.67 | 0 | 2.443 | 0 | 0.732 | -0.334 | 973.069 | 100 | 11.0032
2020-01-06 08:00:00 | 0 | 8.01 | 3.073 | 17.67 | 0 | 2.459 | 0 | 0.732 | -0.454 | 972.772 | 100 | 11.454
2020-01-06 08:15:00 | 0 | 8.01 | 3.883 | 17.67 | 0 | 2.472 | 0 | 0.732 | -0.495 | 972.921 | 100 | 12.4321
2020-01-06 08:30:00 | 0 | 8.01 | 3.845 | 17.67 | 0 | 2.47 | 0 | 0.732 | -0.482 | 973.069 | 100 | 14.9161
2020-01-06 08:45:00 | 0 | 8.01 | 2.971 | 17.67 | 0 | 2.458 | 0 | 0.732 | -0.416 | 973.069 | 100 | 16.2832
2020-01-06 09:00:00 | 0 | 8.01 | 3.183 | 17.67 | 0 | 2.488 | 0 | 0.732 | -0.362 | 973.069 | 100 | 14.9124
2020-01-06 09:15:00 | 0 | 8.01 | 4.044 | 17.67 | 0 | 2.489 | 0 | 0.732 | -0.422 | 973.218 | 100 | 17.314
2020-01-06 09:30:00 | 0 | 8.01 | 2.601 | 17.67 | 0 | 2.485 | 0 | 0.732 | -0.438 | 973.367 | 100 | 14.6538
2020-01-06 09:45:00 | 0 | 8.01 | 3.502 | 17.67 | 0 | 2.488 | 0 | 0.732 | -0.481 | 973.367 | 100 | 15.3225
2020-01-06 10:00:00 | 0 | 8.01 | 4.044 | 17.67 | 0 | 2.502 | 0 | 0.732 | -0.485 | 973.515 | 100 | 14.8939
2020-01-06 10:15:00 | 0 | 8.01 | 4.323 | 17.67 | 0 | 2.538 | 0 | 0.732 | -0.482 | 973.664 | 100 | 10.5562
2020-01-06 10:30:00 | 0 | 8.01 | 3.763 | 17.67 | 0 | 2.513 | 0 | 0.693 | -0.373 | 973.664 | 100 | 15.5184
2020-01-06 10:45:00 | 0 | 7.788 | 4.343 | 17.69 | 0 | 2.764 | 0 | 0.543 | -0.359 | 973.367 | 100 | 17.1921
2020-01-06 11:00:00 | 0 | 7.715 | 3.502 | 17.97 | 0 | 3.086 | 0 | 0.418 | -0.343 | 973.664 | 100 | 17.1256
2020-01-06 11:15:00 | 0 | 7.475 | 3.689 | 18.18 | 0 | 2.987 | 0 | 0.195 | -0.279 | 972.772 | 100 | 20.0612
2020-01-06 11:30:00 | 0 | 7.167 | 4.645 | 18.45 | 0 | 3.437 | 0 | 358.9 | -0.27 | 972.177 | 100 | 27.2906
2020-01-06 11:45:00 | 0 | 7.052 | 6.095 | 18.52 | 0 | 3.615 | 0 | 356.1 | -0.279 | 972.326 | 100 | 19.1208
2020-01-06 12:00:00 | 0 | 7.013 | 5.854 | 18.66 | 0 | 3.655 | 0 | 355.4 | -0.27 | 972.177 | 100 | 22.8305
2020-01-06 12:15:00 | 0 | 7.442 | 4.561 | 18.7 | 0 | 4.338 | 0 | 352.3 | -0.219 | 972.177 | 100 | 19.8709
2020-01-06 12:30:00 | 0 | 7.247 | 3.865 | 18.5 | 0 | 3.265 | 0 | 351.1 | -0.211 | 971.88 | 100 | 27.2606
2020-01-06 12:45:00 | 6.695 | 7.024 | 5.693 | 18.96 | 0.006 | 4.798 | 0 | 345 | -0.206 | 971.88 | 100 | 35.3634
2020-01-06 13:00:00 | 7.257 | 6.997 | 6.059 | 19.16 | 4.84 | 18.34 | 0 | 316.4 | -0.172 | 971.285 | 100 | 36.0246
2020-01-06 13:15:00 | 6.922 | 6.863 | 5.333 | 19.4 | 4.252 | 19.3 | 0 | 322.5 | -0.162 | 971.136 | 100 | 30.2423
2020-01-06 13:30:00 | 6.417 | 5.113 | 5.432 | 19.72 | 3.387 | 15.43 | 0 | 333.2 | -0.144 | 970.988 | 100 | 33.5793
2020-01-06 13:45:00 | 6.843 | 1.844 | 6.506 | 20.07 | 3.631 | 12.61 | 0 | 340.9 | -0.142 | 970.839 | 100 | 23.3551
2020-01-06 14:00:00 | 5.932 | 357 | 6.187 | 20.5 | 3.504 | 15.41 | 0 | 337.1 | -0.136 | 971.285 | 100 | 28.6535
2020-01-06 14:15:00 | 6.172 | 359.2 | 6.166 | 20.58 | 3.232 | 11.84 | 0 | 336.9 | -0.124 | 971.136 | 100 | 29.4479
2020-01-06 14:30:00 | 6.343 | 358.3 | 6.13 | 19.15 | 3.349 | 24.09 | 0 | 337.8 | -0.075 | 971.285 | 100 | 19.8783
2020-01-06 14:45:00 | 6.475 | 4.876 | 6.785 | 18.22 | 2.718 | 18.29 | 0 | 337.9 | -0.012 | 971.136 | 100 | 30.0797
2020-01-06 15:00:00 | 7.121 | 3.529 | 7.171 | 18.82 | 2.991 | 16.81 | 0 | 337.9 | -0.004 | 971.285 | 100 | 29.4719
2020-01-06 15:15:00 | 6.664 | 1.618 | 6.688 | 19.98 | 3.306 | 16.32 | 0 | 338.1 | 0.069 | 970.69 | 100 | 23.5779
2020-01-06 15:30:00 | 6.601 | 4.583 | 7.373 | 19.76 | 2.83 | 14.68 | 0 | 338.9 | 0.1 | 970.542 | 100 | 34.3694
2020-01-06 15:45:00 | 7.382 | 7.889 | 8.83 | 21.54 | 2.629 | 17.47 | 0 | 9.8 | 0.148 | 970.393 | 100 | 29.8909
2020-01-06 16:00:00 | 7.905 | 4.195 | 8.17 | 25.88 | 3.176 | 15.86 | 0 | 4.182 | 0.072 | 970.393 | 100 | 32.8434
2020-01-06 16:15:00 | 6.864 | 4.018 | 7.485 | 25.69 | 2.734 | 15.67 | 0 | 6.958 | 0.062 | 970.69 | 100 | 28.4171
2020-01-06 16:30:00 | 6.685 | 3.23 | 6.724 | 21 | 2.787 | 16.71 | 0 | 2.685 | 0.062 | 970.69 | 100 | 28.177
2020-01-06 16:45:00 | 7.208 | 1.848 | 7.061 | 22.81 | 1.799 | 14.85 | 0 | 6.172 | 0.064 | 970.244 | 100 | 28.3251
2020-01-06 17:00:00 | 6.662 | 4.765 | 6.486 | 18.68 | 0.857 | 12.93 | 0 | 3.986 | 0.077 | 970.542 | 100 | 27.6818
2020-01-06 17:15:00 | 7.03 | 4.44 | 7.355 | 18.86 | 2.343 | 13.09 | 0 | 7.592 | 0.158 | 970.542 | 100 | 23.9026
2020-01-06 17:30:00 | 6.797 | 355.1 | 6.856 | 18.3 | 3.517 | 15.29 | 0 | 358.5 | 0.199 | 970.69 | 100 | 31.1475
2020-01-06 17:45:00 | 6.56 | 358.9 | 7.048 | 18.89 | 3.349 | 14.02 | 0 | 1.195 | 0.234 | 970.988 | 100 | 27.6707
2020-01-06 18:00:00 | 7.418 | 4.942 | 7.041 | 24 | 2.614 | 15.52 | 0 | 4.751 | 0.267 | 971.285 | 100 | 25.1028
2020-01-06 18:15:00 | 6.961 | 4.119 | 7.048 | 22.95 | 2.841 | 13.81 | 0 | 4.307 | 0.268 | 971.285 | 100 | 25.9009
2020-01-06 18:30:00 | 7.081 | 3.742 | 6.764 | 24.93 | 2.438 | 16.68 | 0 | 6.729 | 0.302 | 971.285 | 100 | 30.9702
2020-01-06 18:45:00 | 6.869 | 1.932 | 7.176 | 21.78 | 2.894 | 14.46 | 0 | 5.535 | 0.329 | 970.839 | 100 | 39.0656
2020-01-06 19:00:00 | 7.188 | 3.952 | 7.468 | 25.41 | 3.181 | 17.07 | 0 | 4.473 | 0.404 | 970.542 | 100 | 42.5203
2020-01-06 19:15:00 | 7.594 | 10.98 | 9.38 | 28.99 | 3.56 | 15.42 | 0 | 14.03 | 0.458 | 970.095 | 100 | 40.041
2020-01-06 19:30:00 | 7.109 | 14.4 | 9.59 | 29.76 | 4.491 | 16.36 | 0 | 19.53 | 0.473 | 970.095 | 100 | 38.6422
2020-01-06 19:45:00 | 7.908 | 8.47 | 9.47 | 27.11 | 5.796 | 13.53 | 0 | 12.68 | 0.541 | 969.501 | 100 | 42.9452
2020-01-06 20:00:00 | 8.05 | 7.691 | 9.25 | 25.28 | 7.797 | 14.41 | 0 | 10.68 | 0.64 | 970.095 | 100 | 36.0469
2020-01-06 20:15:00 | 6.864 | 5.18 | 8.56 | 25.86 | 6.719 | 13.55 | 6.809 | 7.39 | 0.688 | 970.69 | 100 | 29.7185
2020-01-06 20:30:00 | 6.767 | 3.056 | 6.854 | 22.34 | 7.014 | 13.04 | 7.308 | 4.203 | 0.747 | 971.136 | 100 | 27.7113
2020-01-06 20:45:00 | 7.014 | 2.154 | 6.887 | 17.06 | 7.187 | 11.71 | 7.349 | 5.786 | 0.684 | 971.285 | 100 | 27.8998
2020-01-06 21:00:00 | 6.764 | 3.502 | 6.795 | 20.18 | 6.996 | 12.86 | 7.39 | 4.598 | 0.475 | 971.281 | 100 | 24.8996
2020-01-06 21:15:00 | 6.917 | 6.221 | 7.718 | 23.99 | 6.874 | 14.67 | 6.797 | 11.3 | 0.472 | 971.136 | 100 | 25.0954
2020-01-06 21:30:00 | 6.08 | 6.888 | 7.289 | 24.81 | 6.561 | 13.5 | 6.404 | 11.94 | 0.481 | 971.285 | 100 | 20.3549
2020-01-06 21:45:00 | 6.307 | 5.115 | 7.225 | 23.12 | 6.185 | 10.48 | 6.094 | 9.65 | 0.53 | 970.988 | 100 | 23.4549
2020-01-06 22:00:00 | 6.154 | 6.592 | 7.383 | 24.47 | 6.289 | 11.7 | 6.089 | 10.31 | 0.541 | 970.988 | 100 | 22.9376
2020-01-06 22:15:00 | 6.069 | 8.33 | 7.447 | 25.88 | 6.566 | 12.6 | 6.305 | 11.81 | 0.556 | 971.285 | 100 | 20.6579
2020-01-06 22:30:00 | 5.898 | 6.448 | 7.299 | 24.46 | 5.954 | 11.39 | 5.773 | 11.2 | 0.61 | 971.285 | 100 | 22.8009
2020-01-06 22:45:00 | 6.21 | 6.258 | 7.6 | 24.85 | 6.47 | 13.37 | 6.389 | 9.62 | 0.541 | 971.285 | 100 | 22.679
2020-01-06 23:00:00 | 5.896 | 5.151 | 7.442 | 25.9 | 6.249 | 13.76 | 6.068 | 8.6 | 0.479 | 971.285 | 100 | 23.1852
2020-01-06 23:15:00 | 5.541 | 6.336 | 6.511 | 24.77 | 5.46 | 12.53 | 5.355 | 8.86 | 0.356 | 971.285 | 100 | 20.6911
2020-01-06 23:30:00 | 5.321 | 2.043 | 5.448 | 22.25 | 4.992 | 13.12 | 5.271 | 4.984 | 0.231 | 971.285 | 100 | 25.3208
2020-01-06 23:45:00 | 5.686 | 3.533 | 5.755 | 24.14 | 5.305 | 15.23 | 5.317 | 5.839 | 0.01 | 971.136 | 100 | 24.4894