## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-07 00:00:00 | 5.569 | 2.052 | 5.527 | 20.99 | 5.353 | 13.13 | 5.5 | 5.8 | -0.082 | 971.285 | 100 | 25.306
2020-01-07 00:15:00 | 4.936 | 356.9 | 5.353 | 18.43 | 5.323 | 9.37 | 5.292 | 4.487 | -0.174 | 970.69 | 100 | 24.7702
2020-01-07 00:30:00 | 5.487 | 356.9 | 6.327 | 22.62 | 5.745 | 10.07 | 5.612 | 4.467 | -0.282 | 970.095 | 100 | 31.0663
2020-01-07 00:45:00 | 5.469 | 356.9 | 7.204 | 23.43 | 6.294 | 10.06 | 6.099 | 4.463 | -0.49 | 970.095 | 100 | 26.4034
2020-01-07 01:00:00 | 5.329 | 356.9 | 5.737 | 14.33 | 5.976 | 10.06 | 5.964 | 4.457 | -0.541 | 970.393 | 100 | 23.4105
2020-01-07 01:15:00 | 5.462 | 356.9 | 5.987 | 19.32 | 5.898 | 10.06 | 5.483 | 4.456 | -0.552 | 970.095 | 100 | 27.6966
2020-01-07 01:30:00 | 5.536 | 356.9 | 7.271 | 23.83 | 6.162 | 10.06 | 5.752 | 4.454 | -0.621 | 970.095 | 100 | 28.8678
2020-01-07 01:45:00 | 6.016 | 356.9 | 6.378 | 17.18 | 6.889 | 10.06 | 6.898 | 4.455 | -0.553 | 969.798 | 100 | 39.2393
2020-01-07 02:00:00 | 5.804 | 356.9 | 7.358 | 21.66 | 7.314 | 10.06 | 6.855 | 4.459 | -0.547 | 969.798 | 100 | 33.2684
2020-01-07 02:15:00 | 6.412 | 356.9 | 7.145 | 20.29 | 6.877 | 10.06 | 6.458 | 4.458 | -0.484 | 969.798 | 100 | 33.6822
2020-01-07 02:30:00 | 7.198 | 356.9 | 9.33 | 23.9 | 7.744 | 10.06 | 7.326 | 4.462 | -0.419 | 969.798 | 100 | 38.6666
2020-01-07 02:45:00 | 7.198 | 356.9 | 8.43 | 21.46 | 7.688 | 10.06 | 7.005 | 4.465 | -0.342 | 969.798 | 100 | 43.9945
2020-01-07 03:00:00 | 8.28 | 356.9 | 8.51 | 19.02 | 8.75 | 10.06 | 8.4 | 4.46 | -0.36 | 968.906 | 100 | 58.9919
2020-01-07 03:15:00 | 7.647 | 356.9 | 8.01 | 23.03 | 7.762 | 10.06 | 7.775 | 4.456 | -0.49 | 968.906 | 100 | 56.5285
2020-01-07 03:30:00 | 6.91 | 356.9 | 7.542 | 16.83 | 8.33 | 10.06 | 8.5 | 4.455 | -0.589 | 968.906 | 100 | 56.7898
2020-01-07 03:45:00 | 7.298 | 356.9 | 7.447 | 15.85 | 8.81 | 10.06 | 9.18 | 4.454 | -0.696 | 968.906 | 100 | 56.9856
2020-01-07 04:00:00 | 8.53 | 356.9 | 9.72 | 24.47 | 8.43 | 10.06 | 7.772 | 4.451 | -0.789 | 968.609 | 100 | 55.3752
2020-01-07 04:15:00 | 8.02 | 356.9 | 8.73 | 24.37 | 8.02 | 10.06 | 7.571 | 4.45 | -0.818 | 968.609 | 100 | 52.2525
2020-01-07 04:30:00 | 6.795 | 356.9 | 7.813 | 21.06 | 7.467 | 10.06 | 6.832 | 4.449 | -0.827 | 968.609 | 100 | 45.7681
2020-01-07 04:45:00 | 7.821 | 356.9 | 8.33 | 22.47 | 7.785 | 10.06 | 7.505 | 4.449 | -0.846 | 968.311 | 100 | 49.74
2020-01-07 05:00:00 | 7.913 | 356.9 | 8.63 | 24.5 | 7.742 | 10.06 | 7.092 | 4.447 | -0.891 | 968.311 | 100 | 44.7667
2020-01-07 05:15:00 | 7.479 | 356.9 | 10.05 | 25.43 | 8.81 | 10.06 | 7.887 | 4.445 | -0.894 | 967.717 | 100 | 40.7615
2020-01-07 05:30:00 | 7.249 | 356.9 | 8.29 | 20.62 | 7.752 | 10.06 | 7.265 | 4.447 | -0.929 | 967.717 | 100 | 41.3268
2020-01-07 05:45:00 | 7.264 | 356.9 | 8.62 | 22.62 | 7.897 | 10.06 | 7.107 | 4.446 | -1.014 | 967.419 | 100 | 45.3986
2020-01-07 06:00:00 | 7.203 | 356.9 | 9 | 26.08 | 8.39 | 10.06 | 7.273 | 4.445 | -1.069 | 967.271 | 100 | 38.9843
2020-01-07 06:15:00 | 7.556 | 356.9 | 8.42 | 20.21 | 7.942 | 10.06 | 7.13 | 4.445 | -1.101 | 967.419 | 100 | 40.2369
2020-01-07 06:30:00 | 7.507 | 356.9 | 7.659 | 13.88 | 8.41 | 10.06 | 8.66 | 4.446 | -1.262 | 967.717 | 100 | 36.8044
2020-01-07 06:45:00 | 7.129 | 356.9 | 7.166 | 14.25 | 8.45 | 10.06 | 8.61 | 4.447 | -1.399 | 967.717 | 100 | 37.6531
2020-01-07 07:00:00 | 7.277 | 356.9 | 7.283 | 16.09 | 8.07 | 10.06 | 8.6 | 4.447 | -1.509 | 967.717 | 100 | 35.9664
2020-01-07 07:15:00 | 6.869 | 356.9 | 6.997 | 14.9 | 7.998 | 10.06 | 8.58 | 4.447 | -1.54 | 967.865 | 100 | 32.9876
2020-01-07 07:30:00 | 6.79 | 356.9 | 7.125 | 16.03 | 7.841 | 10.06 | 8.29 | 4.447 | -1.57 | 968.163 | 100 | 31.1217
2020-01-07 07:45:00 | 6.335 | 356.9 | 6.757 | 13.27 | 7.085 | 10.06 | 7.451 | 4.449 | -1.571 | 968.609 | 100 | 24.7164
2020-01-07 08:00:00 | 6.251 | 356.9 | 6.041 | 13.93 | 6.788 | 10.06 | 6.97 | 4.451 | -1.601 | 968.906 | 100 | 26.3849
2020-01-07 08:15:00 | 6.317 | 356.9 | 6.616 | 14.67 | 7.612 | 10.06 | 7.741 | 4.45 | -1.635 | 968.906 | 100 | 27.9958
2020-01-07 08:30:00 | 6.289 | 356.9 | 6.721 | 15.2 | 6.923 | 10.06 | 7.146 | 4.451 | -1.622 | 968.906 | 100 | 27.9109
2020-01-07 08:45:00 | 6.516 | 356.9 | 6.867 | 17.23 | 7.23 | 10.06 | 7.515 | 4.451 | -1.601 | 969.055 | 100 | 29.0932
2020-01-07 09:00:00 | 5.978 | 356.9 | 6.136 | 16.87 | 6.457 | 10.06 | 6.718 | 4.451 | -1.572 | 969.501 | 100 | 24.8663
2020-01-07 09:15:00 | 3.652 | 356.9 | 4.29 | 24.16 | 4.318 | 10.06 | 4.907 | 4.453 | -1.539 | 969.501 | 100 | 25.5277
2020-01-07 09:30:00 | 2.689 | 356.9 | 3.601 | 15.72 | 4.288 | 10.06 | 4.775 | 4.452 | -1.506 | 970.095 | 100 | 23.4955
2020-01-07 09:45:00 | 3.51 | 356.9 | 4.444 | 23.44 | 5.702 | 10.06 | 6.058 | 4.452 | -1.505 | 970.095 | 100 | 21.5779
2020-01-07 10:00:00 | 3.866 | 356.9 | 4.134 | 16.47 | 5.16 | 10.06 | 5.671 | 4.452 | -1.508 | 970.095 | 100 | 22.3169
2020-01-07 10:15:00 | 4.106 | 356.9 | 4.896 | 15.39 | 5.325 | 10.06 | 5.834 | 4.453 | -1.508 | 970.095 | 100 | 25.7235
2020-01-07 10:30:00 | 5.452 | 356.9 | 5.755 | 25.34 | 5.628 | 10.06 | 5.809 | 4.454 | -1.517 | 969.501 | 100 | 33.8706
2020-01-07 10:45:00 | 6.45 | 356.9 | 5.698 | 19.56 | 5.76 | 10.06 | 5.857 | 4.455 | -1.532 | 969.501 | 100 | 27.3603
2020-01-07 11:00:00 | 6.057 | 356.9 | 5.939 | 15.4 | 6.419 | 10.06 | 6.318 | 4.455 | -1.504 | 969.947 | 100 | 22.8046
2020-01-07 11:15:00 | 4.956 | 356.9 | 5.082 | 22.39 | 4.702 | 10.06 | 5.078 | 4.454 | -1.442 | 969.798 | 100 | 25.2432
2020-01-07 11:30:00 | 4.312 | 356.9 | 4.993 | 23.89 | 4.626 | 10.06 | 4.864 | 4.456 | -1.432 | 969.798 | 100 | 26.8985
2020-01-07 11:45:00 | 4.803 | 356.9 | 4.683 | 24.69 | 4.071 | 10.06 | 4.375 | 4.458 | -1.376 | 969.649 | 100 | 26.2445
2020-01-07 12:00:00 | 5.079 | 356.9 | 5.363 | 24.33 | 5.119 | 10.06 | 5.465 | 4.457 | -1.375 | 969.501 | 100 | 30.4344
2020-01-07 12:15:00 | 6.095 | 356.9 | 6.624 | 23.15 | 7.129 | 10.06 | 7.232 | 4.457 | -1.441 | 968.906 | 100 | 40.7652
2020-01-07 12:30:00 | 7.737 | 356.9 | 7.332 | 22.09 | 7.373 | 10.06 | 7.405 | 4.455 | -1.446 | 968.757 | 100 | 47.2038
2020-01-07 12:45:00 | 8.86 | 356.9 | 7.854 | 20.76 | 8.21 | 10.06 | 8.15 | 4.456 | -1.441 | 968.311 | 100 | 54.5683
2020-01-07 13:00:00 | 8.49 | 356.9 | 8.51 | 26.15 | 7.256 | 10.06 | 7.123 | 4.457 | -1.474 | 968.014 | 100 | 57.966
2020-01-07 13:15:00 | 9.12 | 356.9 | 9.35 | 23.1 | 8.55 | 10.06 | 8.13 | 4.454 | -1.503 | 968.311 | 100 | 68.2928
2020-01-07 13:30:00 | 9.68 | 356.9 | 9.75 | 25.11 | 8.29 | 10.06 | 7.522 | 4.451 | -1.507 | 968.311 | 100 | 64.3568
2020-01-07 13:45:00 | 9.15 | 356.9 | 8.42 | 21.86 | 7.795 | 10.06 | 7.492 | 4.453 | -1.571 | 968.46 | 100 | 66.7363
2020-01-07 14:00:00 | 9.37 | 356.9 | 9 | 23.69 | 8.28 | 10.06 | 7.968 | 4.453 | -1.643 | 968.311 | 100 | 71.85
2020-01-07 14:15:00 | 9.49 | 356.9 | 8.79 | 22.75 | 8.36 | 10.06 | 8.06 | 4.451 | -1.767 | 968.609 | 100 | 72.6016
2020-01-07 14:30:00 | 9.85 | 356.9 | 9.08 | 21.06 | 9.16 | 10.06 | 9.26 | 4.454 | -1.846 | 968.609 | 100 | 66.958
2020-01-07 14:45:00 | 8.6 | 356.9 | 8.31 | 21.76 | 8.4 | 10.06 | 8.62 | 4.455 | -2.05 | 968.906 | 100 | 71.1072
2020-01-07 15:00:00 | 8.97 | 356.9 | 8.72 | 23.23 | 7.696 | 10.06 | 7.207 | 4.452 | -2.092 | 968.906 | 100 | 71.5802
2020-01-07 15:15:00 | 9.09 | 356.9 | 8.61 | 21.11 | 8.53 | 10.06 | 8.6 | 4.451 | -2.199 | 968.906 | 100 | 66.6271
2020-01-07 15:30:00 | 9.71 | 356.9 | 9.06 | 22.77 | 8.51 | 10.06 | 7.736 | 4.449 | -2.324 | 969.203 | 100 | 65.0699
2020-01-07 15:45:00 | 8.72 | 356.9 | 8.04 | 21.44 | 7.279 | 10.06 | 7.133 | 4.449 | -2.345 | 969.798 | 100 | 56.339
2020-01-07 16:00:00 | 7.326 | 356.9 | 7.058 | 19.61 | 6.923 | 10.06 | 7.258 | 4.452 | -2.324 | 970.095 | 100 | 64.0234
2020-01-07 16:15:00 | 7.42 | 356.9 | 7.851 | 22.67 | 8.19 | 10.06 | 8.39 | 4.453 | -2.418 | 970.095 | 100 | 64.2534
2020-01-07 16:30:00 | 8.2 | 356.9 | 7.946 | 19.52 | 8.43 | 10.06 | 8.77 | 4.453 | -2.596 | 970.095 | 100 | 68.624
2020-01-07 16:45:00 | 8.43 | 356.9 | 7.994 | 21.94 | 7.777 | 10.06 | 7.828 | 4.452 | -2.736 | 970.095 | 100 | 62.3875
2020-01-07 17:00:00 | 8.22 | 356.9 | 8.28 | 27.25 | 7.813 | 10.06 | 7.884 | 4.45 | -2.898 | 970.097 | 100 | 68.0369
2020-01-07 17:15:00 | 7.842 | 356.9 | 8.29 | 22.56 | 7.505 | 10.06 | 7.283 | 4.448 | -3.005 | 970.393 | 100 | 64.8773
2020-01-07 17:30:00 | 8.49 | 356.9 | 8.26 | 18.97 | 8.41 | 10.06 | 8.67 | 4.45 | -3.049 | 970.395 | 100 | 69.1564
2020-01-07 17:45:00 | 8.66 | 356.9 | 8.18 | 20.9 | 8.05 | 10.06 | 8.25 | 4.447 | -3.121 | 970.691 | 100 | 60.2392
2020-01-07 18:00:00 | 7.796 | 356.9 | 7.992 | 21.11 | 7.49 | 10.06 | 7.538 | 4.448 | -3.08 | 970.542 | 100 | 69.6167
2020-01-07 18:15:00 | 8.3 | 356.9 | 9.55 | 31.69 | 7.739 | 10.06 | 6.03 | 4.445 | -3.22 | 970.542 | 100 | 64.6191
2020-01-07 18:30:00 | 8.57 | 356.9 | 9.35 | 20 | 6.877 | 10.06 | 5.737 | 4.445 | -3.324 | 970.988 | 100 | 56.1014
2020-01-07 18:45:00 | 8.21 | 356.9 | 7.399 | 14.4 | 7.034 | 10.06 | 7.135 | 4.446 | -3.325 | 971.294 | 100 | 44.3528
2020-01-07 19:00:00 | 7.377 | 356.9 | 6.57 | 12.55 | 7.2 | 10.06 | 7.426 | 4.447 | -3.277 | 971.732 | 100 | 43.9154
2020-01-07 19:15:00 | 6.276 | 356.9 | 5.959 | 20.82 | 5.422 | 10.06 | 5.572 | 4.449 | -3.214 | 972.03 | 100 | 33.5159
2020-01-07 19:30:00 | 4.954 | 356.9 | 5.271 | 26.57 | 4.26 | 10.06 | 4.622 | 4.45 | -3.088 | 972.18 | 100 | 33.2277
2020-01-07 19:45:00 | 4.581 | 356.9 | 4.972 | 10.34 | 4.729 | 10.06 | 5.014 | 4.449 | -3.072 | 972.178 | 100 | 27.0167
2020-01-07 20:00:00 | 4.645 | 356.9 | 5.339 | 16.74 | 4.944 | 10.06 | 4.748 | 4.448 | -3.072 | 972.475 | 100 | 19.76
2020-01-07 20:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 15.038
2020-01-07 20:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 10.8444
2020-01-07 20:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 11.2656
2020-01-07 21:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 11.3727
2020-01-07 21:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 9.6916
2020-01-07 21:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 8.0806
2020-01-07 21:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 7.0313
2020-01-07 22:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 9.3147
2020-01-07 22:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 7.4266
2020-01-07 22:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 6.4955
2020-01-07 22:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 7.9144
2020-01-07 23:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 8.3873
2020-01-07 23:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 6.8281
2020-01-07 23:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 5.7861
2020-01-07 23:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 6.6544