## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-08 00:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 5.0878
2020-01-08 00:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.8131
2020-01-08 00:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.2034
2020-01-08 00:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.1665
2020-01-08 01:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 5.0287
2020-01-08 01:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.8168
2020-01-08 01:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 6.1556
2020-01-08 01:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.2145
2020-01-08 02:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 2.0543
2020-01-08 02:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 0.55792
2020-01-08 02:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 1.6775
2020-01-08 02:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 0.44708
2020-01-08 03:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 0.16257
2020-01-08 03:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 0.31037
2020-01-08 03:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 1.1861
2020-01-08 03:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 2.9743
2020-01-08 04:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 2.4127
2020-01-08 04:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.6394
2020-01-08 04:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.5951
2020-01-08 04:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 4.3858
2020-01-08 05:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 6.8687
2020-01-08 05:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 8.0548
2020-01-08 05:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 6.4771
2020-01-08 05:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 5.6974
2020-01-08 06:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.8722
2020-01-08 06:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 3.4399
2020-01-08 06:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 5.9265
2020-01-08 06:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 9.0265
2020-01-08 07:00:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 11.3173
2020-01-08 07:15:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 12.5071
2020-01-08 07:30:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 7.822
2020-01-08 07:45:00 | 4.813 | 356.9 | 4.443 | 16.06 | 4.394 | 10.06 | 4.387 | 4.449 | -3.079 | 972.772 | 100 | 5.7159
2020-01-08 08:00:00 | 2.699 | 356.9 | 3.868 | 6.377 | 4.606 | 10.06 | 4.693 | 4.446 | -4.499 | 977.236 | 98.2901 | 1.6627
2020-01-08 08:15:00 | 0.716 | 356.9 | 2.359 | 351.6 | 2.51 | 10.06 | 3 | 4.449 | -3.888 | 977.617 | 98.3193 | 1.0235
2020-01-08 08:30:00 | 0 | 356.9 | 2.278 | 19.76 | 3.863 | 10.06 | 3.929 | 4.454 | -3.499 | 977.534 | 98.1552 | 1.1343
2020-01-08 08:45:00 | 0 | 356.9 | 2.405 | 17.38 | 3.85 | 10.06 | 4.054 | 4.457 | -3.353 | 977.828 | 97.9829 | 2.0137
2020-01-08 09:00:00 | 0 | 356.9 | 3.84 | 20.46 | 5.025 | 10.06 | 4.815 | 4.459 | -3.493 | 977.828 | 97.7281 | 5.3501
2020-01-08 09:15:00 | 0 | 356.9 | 4.415 | 25.19 | 4.491 | 10.06 | 4.558 | 4.458 | -3.833 | 978.125 | 97.8636 | 7.168
2020-01-08 09:30:00 | 3.414 | 356.9 | 3.65 | 22.5 | 4.773 | 10.08 | 5.055 | 4.46 | -3.653 | 978.422 | 97.8965 | 7.0645
2020-01-08 09:45:00 | 3.041 | 356.9 | 3.111 | 17.21 | 4.873 | 10.09 | 5.029 | 4.462 | -3.506 | 979.017 | 98.1028 | 6.7246
2020-01-08 10:00:00 | 2.839 | 356.9 | 2.996 | 19.72 | 5.127 | 10.1 | 5.353 | 4.463 | -3.099 | 979.315 | 98.2738 | 7.6705
2020-01-08 10:15:00 | 2.307 | 357 | 2.797 | 33.24 | 4.066 | 10.1 | 4.472 | 4.457 | -2.856 | 979.924 | 98.3938 | 7.1791
2020-01-08 10:30:00 | 4.315 | 356.9 | 3.927 | 35.27 | 3.642 | 10.1 | 3.906 | 4.463 | -2.903 | 979.907 | 98.1379 | 5.0435
2020-01-08 10:45:00 | 4.126 | 356.9 | 3.87 | 31.78 | 4.361 | 10.1 | 4.535 | 4.463 | -3.302 | 979.907 | 98.0352 | 5.1506
2020-01-08 11:00:00 | 4.234 | 356.9 | 4.024 | 32.59 | 3.927 | 10.1 | 4.097 | 4.463 | -3.352 | 979.907 | 97.9669 | 7.0867
2020-01-08 11:15:00 | 5.066 | 356.9 | 5.238 | 32.07 | 4.824 | 10.1 | 4.838 | 4.464 | -3.488 | 979.609 | 98.1377 | 6.1261
2020-01-08 11:30:00 | 4.165 | 356.9 | 4.026 | 34.28 | 4.473 | 10.1 | 4.622 | 4.465 | -3.312 | 979.758 | 98.3769 | 3.3771
2020-01-08 11:45:00 | 4.254 | 356.9 | 4.341 | 29.65 | 4.252 | 10.1 | 4.235 | 4.467 | -3.015 | 979.425 | 98.2051 | 3.2626
2020-01-08 12:00:00 | 5.112 | 356.9 | 5.87 | 30.04 | 5.142 | 10.1 | 4.864 | 4.466 | -3.133 | 979.312 | 98.1925 | 3.983
2020-01-08 12:15:00 | 4.612 | 356.9 | 4.995 | 32.97 | 4.42 | 10.09 | 4.163 | 4.467 | -3.08 | 979.305 | 98.537 | 2.5236
2020-01-08 12:30:00 | 3.925 | 356.9 | 3.888 | 34.11 | 3.522 | 10.1 | 3.753 | 4.467 | -2.884 | 979.312 | 98.3683 | 2.4238
2020-01-08 12:45:00 | 3.275 | 356.9 | 3.448 | 32.85 | 3.835 | 10.1 | 3.832 | 4.469 | -2.846 | 979.312 | 98.1663 | 1.9915
2020-01-08 13:00:00 | 3.34 | 356.9 | 4.282 | 40.72 | 3.227 | 10.1 | 3.292 | 4.467 | -2.681 | 979.585 | 98.1959 | 1.138
2020-01-08 13:15:00 | 1.721 | 356.9 | 2.922 | 42.58 | 2.137 | 10.1 | 1.982 | 4.476 | -2.66 | 979.944 | 98.4202 | 0.25494
2020-01-08 13:30:00 | 1.084 | 356.9 | 1.738 | 45.63 | 2.167 | 10.05 | 1.816 | 4.476 | -1.891 | 979.756 | 98.446 | 0.81656
2020-01-08 13:45:00 | 1.817 | 356.9 | 2.651 | 43.32 | 2.092 | 10.11 | 2.08 | 4.469 | -1.901 | 979.904 | 97.7626 | 0.5764
2020-01-08 14:00:00 | 2.891 | 356.9 | 3.249 | 30.33 | 2.919 | 10.06 | 2.961 | 4.467 | -2.681 | 979.012 | 97.9676 | 1.2119
2020-01-08 14:15:00 | 3.233 | 356.9 | 3.154 | 29.99 | 3.359 | 10.05 | 3.608 | 4.467 | -3.358 | 979.147 | 98.5396 | 1.308
2020-01-08 14:30:00 | 1.76 | 356.9 | 2.906 | 28.43 | 3.095 | 10.05 | 3.448 | 4.466 | -3.295 | 978.717 | 98.5126 | 2.7527
2020-01-08 14:45:00 | 3.35 | 356.9 | 3.543 | 18.18 | 4.237 | 10.05 | 4.38 | 4.463 | -3.575 | 978.122 | 98.4794 | 4.2417
2020-01-08 15:00:00 | 2.98 | 356.9 | 3.413 | 22.32 | 4.127 | 10.05 | 4.031 | 4.459 | -3.652 | 978.23 | 98.3667 | 4.2306
2020-01-08 15:15:00 | 3.976 | 357 | 5.599 | 27.66 | 5.676 | 10.06 | 4.11 | 4.456 | -3.967 | 977.825 | 98.4788 | 5.6753
2020-01-08 15:30:00 | 4.103 | 356.9 | 5.923 | 32.44 | 5.898 | 10.06 | 5.877 | 4.454 | -3.894 | 977.827 | 98.6498 | 5.3945
2020-01-08 15:45:00 | 4.229 | 356.9 | 5.829 | 34.03 | 6.071 | 10.06 | 6.14 | 4.451 | -3.844 | 977.53 | 98.5814 | 6.2849
2020-01-08 16:00:00 | 4.652 | 356.9 | 5.923 | 32.91 | 6.205 | 10.06 | 6.073 | 4.453 | -3.889 | 977.53 | 98.7182 | 9.1891
2020-01-08 16:15:00 | 4.568 | 356.9 | 6.437 | 33.8 | 6.437 | 10.06 | 6.488 | 4.459 | -4.066 | 977.232 | 98.4948 | 9.8431
2020-01-08 16:30:00 | 4.729 | 356.9 | 6.113 | 35.87 | 6.409 | 10.06 | 6.509 | 4.466 | -4.134 | 977.232 | 98.5299 | 10.8702
2020-01-08 16:45:00 | 4.78 | 356.9 | 5.987 | 38.27 | 6.528 | 10.06 | 6.601 | 4.47 | -4.168 | 977.232 | 98.3931 | 11.3506
2020-01-08 17:00:00 | 4.767 | 356.9 | 6.115 | 42.82 | 6.643 | 10.06 | 6.766 | 4.491 | -4.24 | 977.232 | 98.4615 | 10.364
2020-01-08 17:15:00 | 4.448 | 356.9 | 5.576 | 45.24 | 6.49 | 10.06 | 6.56 | 4.628 | -4.255 | 977.232 | 98.3248 | 9.9465
2020-01-08 17:30:00 | 4.961 | 356.9 | 6.12 | 50.52 | 6.406 | 10.06 | 6.468 | 4.861 | -4.425 | 977.232 | 98.188 | 11.7755
2020-01-08 17:45:00 | 4.647 | 356.9 | 6.256 | 49.81 | 6.462 | 10.06 | 6.537 | 5.202 | -4.499 | 977.232 | 98.0855 | 12.1745
2020-01-08 18:00:00 | 5.046 | 356.9 | 6.304 | 48.48 | 6.348 | 10.06 | 6.415 | 5.9 | -4.511 | 977.234 | 97.6761 | 14.3434
2020-01-08 18:15:00 | 5.6 | 356.9 | 6.675 | 46.92 | 6.798 | 10.06 | 6.853 | 33.02 | -4.451 | 977.252 | 97.1282 | 15.7585
2020-01-08 18:30:00 | 5.025 | 356.9 | 6.759 | 48.83 | 7.385 | 10.06 | 7.466 | 34.37 | -4.266 | 977.086 | 93.8804 | 17.8313
2020-01-08 18:45:00 | 5.487 | 356.9 | 6.568 | 47.25 | 7.093 | 10.1 | 7.107 | 32.55 | -3.912 | 977.233 | 90.9402 | 11.8863
2020-01-08 19:00:00 | 5.334 | 356.9 | 6.192 | 44.96 | 6.549 | 10.12 | 6.565 | 33.29 | -3.563 | 977.233 | 89.3675 | 10.7335
2020-01-08 19:15:00 | 5.837 | 74.92 | 6.655 | 43.34 | 6.877 | 10.15 | 6.926 | 32.33 | -3.248 | 977.382 | 87.2821 | 13.9628
2020-01-08 19:30:00 | 6.11 | 26.93 | 6.936 | 44.55 | 7.391 | 10.2 | 7.441 | 29.55 | -3.265 | 977.233 | 84.8205 | 15.1008
2020-01-08 19:45:00 | 5.671 | 25.67 | 6.22 | 42.69 | 6.765 | 29.74 | 6.85 | 29.71 | -3.049 | 977.233 | 83.0769 | 10.0906
2020-01-08 20:00:00 | 5.771 | 28.21 | 6.455 | 44.06 | 6.783 | 28.81 | 6.825 | 32.78 | -2.795 | 977.53 | 78.0855 | 9.8985
2020-01-08 20:15:00 | 4.844 | 32.57 | 5.926 | 48.51 | 6.404 | 28.98 | 6.455 | 36.43 | -2.416 | 977.53 | 74.8718 | 8.0215
2020-01-08 20:30:00 | 4.576 | 32.72 | 5.547 | 51.86 | 6.185 | 38.46 | 6.254 | 37.13 | -2.172 | 977.53 | 70.4957 | 4.8255
2020-01-08 20:45:00 | 4.124 | 34.73 | 4.875 | 53.55 | 5.455 | 45.27 | 5.569 | 37.72 | -1.877 | 977.828 | 66.9402 | 2.4977
2020-01-08 21:00:00 | 4.098 | 38.4 | 4.594 | 54.58 | 4.865 | 39.32 | 4.882 | 41.56 | -1.579 | 977.828 | 63.7949 | 0.65768
2020-01-08 21:15:00 | 3.526 | 34.15 | 4.364 | 51.15 | 4.748 | 30.23 | 4.754 | 38.43 | -1.447 | 977.828 | 62.4274 | 1.0272
2020-01-08 21:30:00 | 3.258 | 34.79 | 4.085 | 48.02 | 4.364 | 26.22 | 4.423 | 36.73 | -1.363 | 977.828 | 59.5556 | 1.5481
2020-01-08 21:45:00 | 3.565 | 41.31 | 4.054 | 49.55 | 3.832 | 47.08 | 3.906 | 47.32 | -1.39 | 977.53 | 56.6838 | 1.6479
2020-01-08 22:00:00 | 3.256 | 33.11 | 4.484 | 53.48 | 4.852 | 32.57 | 4.904 | 37.42 | -1.253 | 977.53 | 54.8376 | 0.87568
2020-01-08 22:15:00 | 3.552 | 38.38 | 3.656 | 56.77 | 3.522 | 47.07 | 3.578 | 41.71 | -1.11 | 977.53 | 52.3761 | 0.059118
2020-01-08 22:30:00 | 3.542 | 38.83 | 3.865 | 55.38 | 3.972 | 38.8 | 3.977 | 45.24 | -0.822 | 977.53 | 49.8462 | 0.19952
2020-01-08 22:45:00 | 3.212 | 40.54 | 4.057 | 51.38 | 4.316 | 27.21 | 4.235 | 50.68 | -0.868 | 977.382 | 49.641 | 0.41752
2020-01-08 23:00:00 | 3.465 | 35.97 | 4.305 | 48.43 | 4.234 | 36.63 | 4.138 | 44.67 | -0.826 | 977.233 | 45.6752 | 0.55792
2020-01-08 23:15:00 | 3.404 | 41.5 | 3.791 | 48.82 | 3.347 | 38.47 | 3.269 | 49.07 | -0.465 | 977.233 | 42.3932 | -0.070202
2020-01-08 23:30:00 | 2.388 | 40.21 | 2.975 | 48.81 | 2.876 | 42.18 | 2.809 | 44.72 | -0.477 | 977.53 | 42.9744 | -0.11084
2020-01-08 23:45:00 | 3.105 | 44.98 | 3.382 | 49.04 | 3.331 | 62.33 | 3.351 | 47.12 | -0.344 | 977.53 | 36.1026 | -0.22169