## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-09 00:00:00 | 3.411 | 48.35 | 3.909 | 80.8 | 3.754 | 59.09 | 3.679 | 59.31 | 0.249 | 977.53 | 35.8291 | -0.33993
2020-01-09 00:15:00 | 1.777 | 76.5 | 1.82 | 91.5 | 2.164 | 60.34 | 2.19 | 83.4 | 0.198 | 977.828 | 38.9039 | -0.31776
2020-01-09 00:30:00 | 0 | 91.6 | 0 | 93.9 | 0.103 | 67.27 | 0 | 98.3 | -0.001 | 977.233 | 38.4898 | -0.31776
2020-01-09 00:45:00 | 0.551 | 91.6 | 0.064 | 93.9 | 0 | 53.03 | 0 | 98.3 | -0.07 | 977.233 | 37.5378 | -0.29928
2020-01-09 01:00:00 | 0.104 | 91.6 | 0 | 93.8 | 0 | 32.71 | 0 | 98.3 | -0.084 | 977.233 | 37.6752 | -0.31776
2020-01-09 01:15:00 | 0 | 91.6 | 0 | 93.8 | 0 | 31.24 | 0 | 98.3 | -0.035 | 977.084 | 37.2991 | -0.29928
2020-01-09 01:30:00 | 0 | 91.6 | 0 | 93.8 | 0.065 | 56.68 | 0.092 | 98.3 | -0.072 | 976.936 | 35.7954 | -0.31037
2020-01-09 01:45:00 | 0 | 91.6 | 0.023 | 93.8 | 0 | 56.68 | 0 | 98.3 | -0.32 | 976.936 | 35.8974 | -0.33993
2020-01-09 02:00:00 | 0 | 91.6 | 0 | 93.8 | 0 | 56.68 | 0 | 98.3 | -0.409 | 976.787 | 39.3846 | 0.092371
2020-01-09 02:15:00 | 0 | 91.6 | 0 | 93.8 | 0.003 | 56.68 | 0 | 98.3 | -0.172 | 976.638 | 37.1282 | 0.46925
2020-01-09 02:30:00 | 0 | 91.6 | 0 | 93.8 | 0 | 56.68 | 0 | 98.3 | -0.063 | 976.638 | 37.4701 | 0.76853
2020-01-09 02:45:00 | 0 | 91.6 | 0 | 93.8 | 0 | 56.68 | 0 | 98.3 | -0.313 | 976.638 | 38.3596 | 0.31037
2020-01-09 03:00:00 | 0.011 | 91.5 | 0.402 | 93.3 | 0 | 47.83 | 0 | 98.3 | -0.46 | 976.49 | 37.7094 | 0.37318
2020-01-09 03:15:00 | 0 | 72.42 | 0.282 | 93.1 | 0.05 | 41.5 | 0 | 98.3 | -0.475 | 976.341 | 38.8376 | 0.2143
2020-01-09 03:30:00 | 0.019 | 6.046 | 0 | 93.2 | 0 | 41.87 | 0 | 98.3 | -0.81 | 976.341 | 38.7699 | 1.6331
2020-01-09 03:45:00 | 1.379 | 6.828 | 1.411 | 94.2 | 0 | 146.4 | 0 | 98.3 | -0.678 | 976.341 | 51.2841 | 1.8437
2020-01-09 04:00:00 | 1.514 | 158.2 | 2.211 | 95.8 | 1.172 | 153.2 | 0.883 | 135.5 | -0.941 | 976.341 | 48.8225 | 3.2219
2020-01-09 04:15:00 | 2.122 | 136.7 | 2.761 | 150.6 | 2.355 | 147.7 | 2.177 | 142.4 | -0.97 | 976.062 | 51.1468 | 5.3797
2020-01-09 04:30:00 | 2.161 | 142.2 | 3.226 | 158.7 | 3.848 | 149.2 | 3.886 | 142.8 | -1.268 | 976.059 | 55.7265 | 4.8255
2020-01-09 04:45:00 | 2.148 | 131.9 | 2.988 | 142.4 | 3.787 | 127.2 | 3.817 | 136.3 | -1.116 | 976.045 | 55.8633 | 4.0459
2020-01-09 05:00:00 | 1.033 | 142.3 | 2.076 | 162 | 3.415 | 156.3 | 3.427 | 143.1 | -1.493 | 976.044 | 58.4616 | 3.8205
2020-01-09 05:15:00 | 1.983 | 124.7 | 2.894 | 145.7 | 3.853 | 146.3 | 3.921 | 130.8 | -1.889 | 976.044 | 48.2051 | 4.0939
2020-01-09 05:30:00 | 2.664 | 128.3 | 2.967 | 151.7 | 3.438 | 141.6 | 3.478 | 135 | -1.253 | 976.044 | 50.9402 | 4.7146
2020-01-09 05:45:00 | 3.539 | 117.9 | 4.328 | 134.9 | 4.705 | 131.1 | 4.767 | 121.4 | -1.457 | 975.895 | 46.7009 | 2.6677
2020-01-09 06:00:00 | 0.459 | 106.6 | 0.639 | 134.3 | 2.213 | 70.11 | 2.388 | 120.5 | -1.49 | 975.746 | 48.2735 | 3.8389
2020-01-09 06:15:00 | 2.505 | 123.9 | 3.758 | 140.2 | 4.183 | 114.4 | 4.166 | 125.3 | -1.519 | 975.749 | 46.5641 | 4.2047
2020-01-09 06:30:00 | 3.743 | 123.2 | 3.829 | 145.9 | 3.308 | 137.7 | 3.338 | 120.9 | -1.072 | 976.044 | 43.2821 | 3.5027
2020-01-09 06:45:00 | 4.675 | 111.8 | 4.632 | 135.9 | 4.265 | 125.7 | 4.337 | 113.3 | -0.757 | 976.044 | 45.6068 | 4.6038
2020-01-09 07:00:00 | 3.71 | 115.3 | 4.387 | 136.1 | 5.096 | 126.6 | 5.218 | 120.2 | -0.834 | 976.044 | 43.8974 | 6.1593
2020-01-09 07:15:00 | 5.835 | 120.7 | 6.233 | 138.1 | 6.297 | 126.3 | 6.356 | 125.5 | -0.885 | 976.341 | 47.453 | 10.4379
2020-01-09 07:30:00 | 3.074 | 130.2 | 3.336 | 151.8 | 4.702 | 140.7 | 5.057 | 134.9 | -1.212 | 976.341 | 48.171 | 7.3491
2020-01-09 07:45:00 | 3.616 | 133.5 | 4.129 | 150.5 | 4.809 | 139.9 | 4.871 | 136.5 | -1.229 | 976.638 | 45.4701 | 6.1852
2020-01-09 08:00:00 | 3.47 | 131.2 | 4.075 | 146.7 | 4.669 | 139.2 | 4.693 | 137.7 | -0.826 | 976.638 | 46.359 | 6.7061
2020-01-09 08:15:00 | 3.8 | 127 | 4.722 | 145.1 | 5.882 | 134.1 | 6.015 | 129.2 | -0.859 | 976.936 | 44.7863 | 8.9748
2020-01-09 08:30:00 | 4.07 | 116 | 4.443 | 135.8 | 4.641 | 127.6 | 4.808 | 117.6 | -0.746 | 977.233 | 41.634 | 9.7913
2020-01-09 08:45:00 | 3.577 | 118.1 | 4.622 | 138.2 | 5.45 | 129.2 | 5.521 | 122.8 | -0.254 | 977.679 | 42.8303 | 10.4786
2020-01-09 09:00:00 | 5.27 | 115.4 | 6.184 | 134.5 | 6.218 | 125.2 | 6.17 | 120 | -0.279 | 978.14 | 43.1301 | 10.6116
2020-01-09 09:15:00 | 4.211 | 112.9 | 4.778 | 135.5 | 5.051 | 132.1 | 5.06 | 116.6 | 0.077 | 978.718 | 42.4398 | 12.0267
2020-01-09 09:30:00 | 4.351 | 110.2 | 4.538 | 131.8 | 4.84 | 125.2 | 4.907 | 113.8 | 0.13 | 978.678 | 46.6713 | 12.895
2020-01-09 09:45:00 | 4.964 | 112.4 | 5.43 | 130.1 | 6.004 | 119.5 | 6.15 | 119.1 | 0.275 | 978.995 | 45.5423 | 16.2499
2020-01-09 10:00:00 | 5.628 | 121.1 | 5.859 | 139.2 | 5.982 | 127.8 | 6.028 | 127 | 0.842 | 978.449 | 42.2205 | 18.2045
2020-01-09 10:15:00 | 5.607 | 122.2 | 6.169 | 136.8 | 5.697 | 118.3 | 5.646 | 127.2 | 0.968 | 978.715 | 48.5739 | 17.4212
2020-01-09 10:30:00 | 3.394 | 132.4 | 3.428 | 153.3 | 3.344 | 145.4 | 3.374 | 131.2 | 1.294 | 979.012 | 44.3723 | 10.9996
2020-01-09 10:45:00 | 3.861 | 120.4 | 4.047 | 144 | 4.12 | 141 | 4.25 | 123.9 | 1.662 | 979.012 | 46.6574 | 6.8946
2020-01-09 11:00:00 | 3.184 | 120.1 | 3.369 | 139.6 | 2.584 | 129.5 | 2.586 | 126.3 | 2.025 | 979.012 | 41.2845 | 3.5544
2020-01-09 11:15:00 | 3.59 | 138 | 3.436 | 162.2 | 3.09 | 158.9 | 3.071 | 141.7 | 3.014 | 978.788 | 38.6205 | 1.6036
2020-01-09 11:30:00 | 4.195 | 142.1 | 4.205 | 165.5 | 3.497 | 158.8 | 3.445 | 144.4 | 3.065 | 978.713 | 42.4791 | 2.9743
2020-01-09 11:45:00 | 4.384 | 150 | 4.18 | 167.6 | 3.558 | 155.9 | 3.425 | 152.9 | 2.232 | 978.564 | 47.1231 | 1.489
2020-01-09 12:00:00 | 4.903 | 147.3 | 4.609 | 166.4 | 3.916 | 159.6 | 3.835 | 150.5 | 2.041 | 978.416 | 49.2744 | 2.4423
2020-01-09 12:15:00 | 5.732 | 147.4 | 5.519 | 165 | 4.499 | 152.9 | 4.306 | 151.8 | 1.847 | 977.97 | 48.8988 | 5.2171
2020-01-09 12:30:00 | 5.094 | 152.6 | 5.098 | 167.9 | 4.623 | 155.5 | 4.558 | 156 | 2.106 | 977.855 | 48.6256 | 2.7822
2020-01-09 12:45:00 | 4.52 | 152.6 | 4.387 | 167.1 | 3.858 | 159.2 | 3.761 | 158.8 | 2.446 | 977.774 | 48.8646 | 0.52836
2020-01-09 13:00:00 | 3.317 | 153.5 | 3.144 | 175.1 | 2.833 | 167.3 | 2.732 | 155.7 | 2.572 | 978.01 | 50.3671 | 0.17735
2020-01-09 13:15:00 | 3.011 | 157.4 | 3.042 | 172.5 | 2.576 | 158.7 | 2.511 | 160.2 | 3.091 | 978.123 | 50.9817 | -0.16627
2020-01-09 13:30:00 | 2.261 | 154.2 | 2.359 | 180.8 | 2.108 | 163.9 | 2.08 | 152.3 | 3.36 | 978.119 | 46.9865 | -0.31037
2020-01-09 13:45:00 | 2.822 | 176.7 | 2.696 | 194.3 | 1.73 | 183.7 | 1.673 | 180.7 | 4.043 | 977.821 | 52.8257 | -0.31037
2020-01-09 14:00:00 | 3.353 | 190.3 | 3.29 | 209 | 2.151 | 197.5 | 1.943 | 185.2 | 2.983 | 977.673 | 49.7866 | -0.28081
2020-01-09 14:15:00 | 2.908 | 191.2 | 2.866 | 211.2 | 1.983 | 197.6 | 1.917 | 190.6 | 2.858 | 977.364 | 51.733 | -0.28081
2020-01-09 14:30:00 | 3.161 | 190.8 | 3.004 | 208.1 | 2.339 | 199.6 | 2.292 | 192.7 | 2.675 | 977.524 | 52.5525 | -0.28081
2020-01-09 14:45:00 | 3.391 | 191.4 | 3.234 | 212.8 | 2.462 | 199 | 2.376 | 192.3 | 2.623 | 977.526 | 53.6123 | -0.26233
2020-01-09 15:00:00 | 3.245 | 186 | 2.794 | 197.8 | 2.133 | 184.1 | 2.116 | 193.8 | 2.715 | 977.526 | 52.2548 | -0.29189
2020-01-09 15:15:00 | 3.682 | 191 | 3.54 | 211.2 | 2.718 | 198 | 2.656 | 191.9 | 2.424 | 977.526 | 52.9443 | -0.29189
2020-01-09 15:30:00 | 3.332 | 188.5 | 3.241 | 200.4 | 2.599 | 192.7 | 2.574 | 190.2 | 2.466 | 977.229 | 54.413 | -0.29189
2020-01-09 15:45:00 | 3.526 | 191 | 3.459 | 213.3 | 2.647 | 197.7 | 2.544 | 190.1 | 2.248 | 976.932 | 57.9334 | -0.29189
2020-01-09 16:00:00 | 3.184 | 181 | 3.285 | 200.5 | 2.886 | 189.3 | 2.89 | 180 | 2.017 | 976.932 | 60.3245 | -0.29189
2020-01-09 16:15:00 | 3.097 | 181.6 | 3.438 | 197.6 | 3.408 | 195.1 | 3.41 | 183.6 | 1.955 | 976.635 | 63.7404 | -0.29189
2020-01-09 16:30:00 | 1.508 | 171.2 | 2.024 | 190.2 | 2.324 | 178.9 | 2.256 | 172.1 | 1.778 | 976.645 | 63.6038 | -0.31037
2020-01-09 16:45:00 | 1.507 | 156.7 | 2.145 | 180.5 | 2.207 | 167.2 | 2.2 | 160.9 | 1.38 | 976.314 | 69.2219 | -0.31037
2020-01-09 17:00:00 | 2.002 | 139.8 | 2.531 | 179.8 | 2.896 | 132.1 | 2.875 | 149.2 | 1.011 | 975.717 | 65.6063 | -0.31037
2020-01-09 17:15:00 | 2.423 | 156.3 | 3.211 | 179.8 | 3.344 | 155.9 | 3.305 | 156.7 | 0.992 | 975.744 | 63.6255 | -0.25494
2020-01-09 17:30:00 | 2.27 | 171.2 | 2.835 | 185.8 | 2.813 | 158.2 | 2.859 | 172.3 | 1.076 | 975.744 | 66.37 | -0.24755
2020-01-09 17:45:00 | 2.454 | 170.3 | 2.855 | 183.5 | 2.879 | 165 | 2.842 | 173 | 1.017 | 975.976 | 67.3386 | -0.218
2020-01-09 18:00:00 | 2.347 | 168 | 2.935 | 184.9 | 2.825 | 156.8 | 2.857 | 172.7 | 1.026 | 976.042 | 65.2538 | -0.218
2020-01-09 18:15:00 | 2.824 | 173.8 | 3.241 | 182.8 | 3.588 | 162.6 | 3.588 | 179.9 | 1.073 | 976.043 | 64.2625 | -0.19952
2020-01-09 18:30:00 | 2.975 | 171.1 | 3.681 | 183.2 | 3.657 | 160.1 | 3.623 | 174.7 | 1.15 | 976.043 | 62.6895 | -0.051728
2020-01-09 18:45:00 | 3.069 | 173.3 | 3.305 | 185.3 | 3.527 | 158 | 3.534 | 175 | 1.063 | 975.597 | 61.1178 | 0.55792
2020-01-09 19:00:00 | 3.465 | 163 | 3.737 | 177.3 | 3.782 | 159.6 | 3.878 | 167.6 | 1.052 | 975.746 | 60.6385 | 0.90893
2020-01-09 19:15:00 | 3.549 | 160.7 | 3.679 | 173.9 | 3.957 | 155.7 | 3.886 | 164.1 | 1.084 | 975.597 | 60.0581 | 1.0456
2020-01-09 19:30:00 | 3.437 | 153.7 | 3.604 | 163.9 | 4.153 | 150.3 | 4.176 | 158.2 | 1.098 | 975.746 | 61.9381 | 1.5481
2020-01-09 19:45:00 | 3.82 | 150.3 | 4.169 | 168.5 | 4.486 | 145.2 | 4.479 | 152.5 | 1.19 | 975.746 | 60.5708 | 2.8524
2020-01-09 20:00:00 | 3.861 | 143.2 | 4.338 | 157.9 | 4.679 | 145.9 | 4.675 | 147.2 | 1.179 | 976.043 | 61.9039 | 3.0667
2020-01-09 20:15:00 | 3.835 | 154.6 | 4.382 | 170.8 | 4.936 | 149.8 | 4.973 | 157.3 | 1.02 | 976.043 | 62.2799 | 4.0569
2020-01-09 20:30:00 | 4.407 | 153.8 | 4.573 | 171 | 5.127 | 147.8 | 5.266 | 157.9 | 1.193 | 976.192 | 62.6901 | 5.0102
2020-01-09 20:45:00 | 4.711 | 139.3 | 5.253 | 154.2 | 5.592 | 136.5 | 5.605 | 144.3 | 1.168 | 976.043 | 61.9381 | 6.8429
2020-01-09 21:00:00 | 3.874 | 143.5 | 4.786 | 160.6 | 5.559 | 148.4 | 5.592 | 148.8 | 0.96 | 975.746 | 62.4167 | 11.9639
2020-01-09 21:15:00 | 6.228 | 134.4 | 6.79 | 148.7 | 7.37 | 133.9 | 7.357 | 139.5 | 1.218 | 975.3 | 55.5802 | 15.4888
2020-01-09 21:30:00 | 4.267 | 139 | 4.967 | 158.9 | 6.068 | 149.6 | 6.058 | 143.3 | 1.221 | 975.413 | 58.2463 | 14.8274
2020-01-09 21:45:00 | 4.466 | 153.3 | 4.773 | 175.2 | 5.193 | 157.1 | 5.223 | 152 | 1.3 | 975.658 | 58.0405 | 14.4764
2020-01-09 22:00:00 | 4.606 | 138.2 | 4.942 | 156.6 | 5.427 | 145.5 | 5.442 | 142.4 | 1.345 | 975.344 | 53.2536 | 19.4312
2020-01-09 22:15:00 | 4.249 | 136.9 | 4.553 | 164.4 | 5.613 | 159.3 | 5.656 | 138.8 | 1.392 | 974.998 | 50.2793 | 22.86
2020-01-09 22:30:00 | 6.177 | 134.6 | 6.417 | 152.9 | 7.017 | 139 | 6.995 | 138.8 | 1.783 | 975.246 | 48.911 | 19.7416
2020-01-09 22:45:00 | 4.548 | 148.4 | 4.916 | 169.9 | 5.562 | 158.8 | 5.74 | 149.3 | 1.482 | 975.408 | 50.3796 | 14.1919
2020-01-09 23:00:00 | 4.014 | 141.1 | 4.121 | 162 | 5.112 | 150.4 | 5.126 | 144.7 | 1.444 | 975.539 | 49.1487 | 7.2567
2020-01-09 23:15:00 | 4.055 | 141 | 4.42 | 155.2 | 4.934 | 140.7 | 5.039 | 145.3 | 1.528 | 975.573 | 48.0594 | 5.4388
2020-01-09 23:30:00 | 3.544 | 140.9 | 4.059 | 156.9 | 3.98 | 143.4 | 3.988 | 146.9 | 1.589 | 975.647 | 47.0293 | 3.7724
2020-01-09 23:45:00 | 3.376 | 134.1 | 3.791 | 152.7 | 4.277 | 136.1 | 4.265 | 140.7 | 1.487 | 975.337 | 49.2175 | 4.3341