## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-10 00:00:00 | 3.69 | 145.8 | 4.031 | 164.4 | 4.293 | 144.5 | 4.339 | 153.6 | 1.383 | 975.226 | 52.9085 | 6.9204
2020-01-10 00:15:00 | 6.006 | 142.6 | 6.713 | 158.2 | 7.246 | 142.4 | 7.217 | 149.8 | 1.08 | 974.895 | 53.3206 | 16.9224
2020-01-10 00:30:00 | 6.598 | 144.1 | 7.122 | 161.8 | 7.678 | 148.1 | 7.657 | 150.1 | 0.986 | 974.817 | 51.7489 | 16.8596
2020-01-10 00:45:00 | 5.87 | 141.3 | 6.182 | 159.4 | 6.574 | 145.5 | 6.601 | 148.4 | 1 | 975.042 | 52.8449 | 9.6842
2020-01-10 01:00:00 | 3.93 | 146.7 | 4.509 | 163.1 | 5.409 | 144.8 | 5.488 | 152 | 0.876 | 975.137 | 54.1445 | 3.8094
2020-01-10 01:15:00 | 3.039 | 143.8 | 3.277 | 169.3 | 3.911 | 147.3 | 4.018 | 145.6 | 0.704 | 975.447 | 55.1701 | 4.1752
2020-01-10 01:30:00 | 1.953 | 153.5 | 2.068 | 165.9 | 2.729 | 145.2 | 2.898 | 155.5 | 0.584 | 975.448 | 53.3242 | 2.579
2020-01-10 01:45:00 | 1.898 | 157.4 | 2.299 | 174.8 | 2.939 | 151 | 3.033 | 150.5 | 0.694 | 975.746 | 53.0166 | 1.8807
2020-01-10 02:00:00 | 2.668 | 147.7 | 3.18 | 161.9 | 4.082 | 151.7 | 4.061 | 156.8 | 0.78 | 975.597 | 54.0762 | 1.1639
2020-01-10 02:15:00 | 2.219 | 142.8 | 2.917 | 160.5 | 4.038 | 145.2 | 4.146 | 151.1 | 0.5 | 975.448 | 55.8879 | 1.1971
2020-01-10 02:30:00 | 3.179 | 142.7 | 3.737 | 155.1 | 4.026 | 136.2 | 3.967 | 152.5 | 0.388 | 975.448 | 55.5119 | 1.2784
2020-01-10 02:45:00 | 3.383 | 150.1 | 3.906 | 164.5 | 4.768 | 155.8 | 4.724 | 162.2 | 0.229 | 975.448 | 57.4927 | 2.3093
2020-01-10 03:00:00 | 3.539 | 158.5 | 3.96 | 173 | 4.534 | 158.5 | 4.65 | 168.9 | 0.254 | 975.448 | 57.4944 | 3.1369
2020-01-10 03:15:00 | 3.021 | 157.8 | 3.533 | 167.9 | 3.698 | 149.8 | 3.682 | 166.8 | 0.136 | 975.448 | 58.5199 | 1.1417
2020-01-10 03:30:00 | 1.877 | 160.3 | 2.433 | 172.1 | 2.914 | 150.1 | 2.91 | 172 | 0.191 | 974.854 | 57.973 | 0.011085
2020-01-10 03:45:00 | 1.982 | 162.9 | 2.145 | 171.2 | 2.014 | 136.7 | 2.095 | 181.6 | 0.381 | 974.854 | 55.6486 | -0.23647
2020-01-10 04:00:00 | 2.684 | 176.8 | 2.502 | 174.5 | 2.634 | 151.4 | 2.709 | 185.9 | 0.577 | 974.854 | 54.4864 | -0.23278
2020-01-10 04:15:00 | 2.575 | 174.7 | 2.722 | 180.8 | 2.657 | 159.4 | 2.724 | 185.3 | 0.717 | 974.854 | 56.9475 | 0.12562
2020-01-10 04:30:00 | 1.79 | 160.6 | 3.336 | 173 | 4.008 | 178.9 | 4.084 | 174.4 | 0.204 | 974.705 | 60.5025 | 2.3241
2020-01-10 04:45:00 | 1.989 | 156.2 | 2.871 | 165.5 | 3.581 | 153.4 | 3.613 | 171.4 | -0.005 | 974.407 | 60.4341 | 2.531
2020-01-10 05:00:00 | 1.378 | 160.1 | 2.515 | 159.3 | 3.09 | 151.2 | 3.106 | 174.7 | 0.068 | 974.556 | 60.8443 | 1.2304
2020-01-10 05:15:00 | 2.778 | 180.1 | 2.878 | 182.3 | 2.919 | 155.9 | 2.956 | 186.9 | 0.407 | 974.556 | 59.7846 | 0.6466
2020-01-10 05:30:00 | 2.674 | 172.3 | 2.607 | 187.9 | 2.647 | 145.1 | 2.628 | 183.6 | 0.444 | 974.259 | 58.4515 | 0.54314
2020-01-10 05:45:00 | 1.118 | 186.8 | 2.114 | 181.7 | 2.431 | 140.5 | 2.595 | 199 | 0.577 | 974.259 | 59.6137 | 0.022169
2020-01-10 06:00:00 | 1.969 | 198.9 | 2.244 | 182.5 | 2.718 | 140.9 | 2.707 | 208.2 | 0.536 | 974.259 | 59.8188 | -0.17735
2020-01-10 06:15:00 | 1.529 | 196.9 | 1.603 | 181.7 | 1.864 | 140.9 | 1.94 | 208.2 | 0.58 | 974.259 | 58.4174 | -0.18844
2020-01-10 06:30:00 | 0 | 197.6 | 1.234 | 182 | 1.096 | 140.7 | 1.079 | 208.2 | 0.753 | 974.556 | 61.2887 | -0.22539
2020-01-10 06:45:00 | 1.42 | 230.2 | 1.702 | 241.2 | 1.521 | 141.6 | 1.512 | 242.2 | 1.019 | 974.705 | 62.4509 | -0.23278
2020-01-10 07:00:00 | 0.655 | 230.7 | 1.119 | 241.6 | 0.968 | 141.5 | 0.953 | 234.1 | 0.739 | 974.556 | 58.1097 | -0.20322
2020-01-10 07:15:00 | 1.159 | 229.9 | 1.725 | 241.5 | 1.431 | 141.5 | 1.482 | 233.1 | 0.672 | 974.854 | 57.8363 | -0.15149
2020-01-10 07:30:00 | 2.222 | 205.7 | 2.73 | 240.5 | 2.35 | 143.4 | 2.355 | 211.9 | 0.747 | 974.854 | 57.5628 | 0.32145
2020-01-10 07:45:00 | 1.849 | 189.9 | 2.188 | 200.9 | 2.683 | 146.4 | 2.714 | 202.6 | 0.848 | 974.854 | 59.2027 | 0.6466
2020-01-10 08:00:00 | 1.982 | 182 | 2.546 | 179.9 | 2.474 | 146.7 | 2.623 | 190.8 | 0.472 | 975.448 | 60.8101 | 0.82764
2020-01-10 08:15:00 | 2.369 | 173.6 | 3.137 | 185.3 | 3.273 | 151.9 | 3.28 | 185 | 0.317 | 975.273 | 64.0527 | 0.84612
2020-01-10 08:30:00 | 1.691 | 155.9 | 2.873 | 171 | 3.161 | 156.4 | 3.16 | 172.1 | 0.22 | 975.487 | 64.1894 | 0.19583
2020-01-10 08:45:00 | 0.408 | 153.8 | 1.305 | 161 | 1.681 | 148.3 | 1.65 | 165.9 | 0.645 | 975.745 | 62.1319 | -0.16257
2020-01-10 09:00:00 | 0.725 | 170.5 | 1.346 | 161.1 | 1.184 | 148.5 | 1.235 | 166.6 | 0.986 | 976.339 | 61.3027 | -0.25494
2020-01-10 09:15:00 | 0.732 | 173.6 | 1.282 | 161.1 | 1.381 | 148.7 | 1.568 | 190 | 1.124 | 976.042 | 62.8738 | -0.29928
2020-01-10 09:30:00 | 1.238 | 175.9 | 1.426 | 161.1 | 1.294 | 149.3 | 1.466 | 191.3 | 1.337 | 976.339 | 62.1562 | -0.2882
2020-01-10 09:45:00 | 1.306 | 181 | 1.626 | 161.4 | 1.551 | 172.5 | 1.652 | 196.9 | 1.398 | 976.315 | 62.8738 | -0.2882
2020-01-10 10:00:00 | 1.224 | 177.3 | 1.427 | 161.4 | 1.281 | 167.2 | 1.441 | 197.2 | 1.806 | 977.228 | 59.5217 | -0.28081
2020-01-10 10:15:00 | 1.603 | 195.6 | 1.404 | 164.9 | 0.168 | 168.3 | 0.067 | 219.9 | 2.996 | 977.396 | 60.1202 | -0.27342
2020-01-10 10:30:00 | 2.462 | 195.4 | 2.193 | 205.4 | 1.464 | 180.8 | 1.525 | 222.1 | 3.183 | 977.378 | 64.5461 | -0.26233
2020-01-10 10:45:00 | 3.067 | 190.4 | 2.643 | 208.7 | 2.098 | 188.7 | 2.017 | 200.5 | 2.639 | 977.474 | 60.7137 | -0.26233
2020-01-10 11:00:00 | 3.948 | 190.1 | 3.53 | 201.7 | 3.143 | 180.5 | 3.163 | 199.5 | 2.887 | 977.433 | 59.2795 | -0.19213
2020-01-10 11:15:00 | 4.686 | 191.1 | 4.499 | 203.7 | 4.031 | 191.6 | 4.064 | 195.1 | 2.279 | 976.863 | 57.9136 | 0.69463
2020-01-10 11:30:00 | 4.28 | 182.8 | 4.223 | 195.9 | 3.7 | 182 | 3.679 | 185.7 | 1.613 | 976.633 | 62.2936 | 0.16257
2020-01-10 11:45:00 | 3.554 | 190.5 | 3.456 | 203.6 | 3.118 | 193.2 | 3.132 | 195.9 | 1.541 | 976.337 | 65.0725 | -0.25494
2020-01-10 12:00:00 | 2.765 | 190.8 | 2.702 | 205.3 | 2.49 | 189.8 | 2.503 | 195.7 | 1.629 | 976.04 | 65.1751 | -0.28081
2020-01-10 12:15:00 | 3.138 | 196.9 | 2.935 | 209.5 | 2.375 | 183.3 | 2.455 | 201.9 | 1.889 | 976.04 | 65.1751 | -0.29928
2020-01-10 12:30:00 | 2.982 | 183.1 | 2.766 | 194.8 | 2.233 | 181.6 | 2.167 | 191.8 | 1.928 | 976.04 | 64.8676 | -0.28081
2020-01-10 12:45:00 | 2.214 | 207.2 | 2.192 | 221 | 1.452 | 215.7 | 1.344 | 219.7 | 2.817 | 976.04 | 64.4919 | -0.31037
2020-01-10 13:00:00 | 0.488 | 270 | 0.926 | 273.8 | 0.812 | 256.3 | 0.771 | 247 | 3.064 | 976.337 | 61.6225 | -0.30298
2020-01-10 13:15:00 | 2.643 | 309 | 3.108 | 320.6 | 2.586 | 323.8 | 2.541 | 313.4 | 3.297 | 975.682 | 66.1776 | -0.37687
2020-01-10 13:30:00 | 1.898 | 347.7 | 2.033 | 8.01 | 2.787 | 344.6 | 2.87 | 341.1 | 2.264 | 975.578 | 67.2017 | -0.26233
2020-01-10 13:45:00 | 2.187 | 297.7 | 2.368 | 307.5 | 2.123 | 304.3 | 1.989 | 304.4 | 2.625 | 975.805 | 67.7822 | -0.26233
2020-01-10 14:00:00 | 2.061 | 289.3 | 2.464 | 299 | 1.963 | 290.6 | 1.917 | 292.7 | 2.847 | 975.627 | 66.7236 | -0.25864
2020-01-10 14:15:00 | 2.47 | 288 | 2.72 | 306.2 | 2.444 | 292 | 2.337 | 287.4 | 2.628 | 975.476 | 67.509 | -0.2882
2020-01-10 14:30:00 | 2.452 | 306.6 | 2.592 | 319.5 | 2.256 | 317.2 | 2.309 | 302.5 | 2.509 | 975.332 | 69.1139 | -0.23278
2020-01-10 14:45:00 | 3.057 | 299.5 | 2.927 | 310.2 | 2.896 | 283.9 | 2.921 | 300.4 | 2.291 | 975.321 | 66.9968 | 0.12932
2020-01-10 15:00:00 | 1.933 | 319.2 | 2.523 | 329.6 | 2.685 | 315.3 | 2.59 | 319.7 | 2.556 | 975.742 | 64.9138 | 0.2143
2020-01-10 15:15:00 | 1.799 | 332.8 | 2.32 | 352.4 | 2.511 | 346.5 | 2.581 | 330.1 | 2.598 | 975.446 | 68.2944 | 0.025864
2020-01-10 15:30:00 | 2.254 | 319.7 | 2.431 | 327.8 | 2.37 | 318 | 2.319 | 323.3 | 2.502 | 975.446 | 69.4573 | -0.23278
2020-01-10 15:45:00 | 1.743 | 296.4 | 2.62 | 311.5 | 2.283 | 291.5 | 2.195 | 298.8 | 2.423 | 974.852 | 70.2866 | -0.17735
2020-01-10 16:00:00 | 2.01 | 311.4 | 2.375 | 313.9 | 2.057 | 314.4 | 2.078 | 314.1 | 1.743 | 974.257 | 72.0751 | -0.19952
2020-01-10 16:15:00 | 1.89 | 326.5 | 2.183 | 343.3 | 2.121 | 329.2 | 2.299 | 323.3 | 1.558 | 973.96 | 71.9385 | 0.096066
2020-01-10 16:30:00 | 2.162 | 326.9 | 2.592 | 345.8 | 2.561 | 338.3 | 2.61 | 327.7 | 1.294 | 973.924 | 72.4366 | -0.0073897
2020-01-10 16:45:00 | 2.372 | 317.8 | 2.505 | 344.2 | 2.263 | 321 | 2.271 | 316.3 | 1.195 | 973.942 | 71.4132 | -0.051728
2020-01-10 17:00:00 | 1.24 | 334.3 | 1.823 | 345.4 | 2.69 | 3.488 | 2.727 | 335.4 | 1.032 | 973.957 | 73.5349 | 0.029559
2020-01-10 17:15:00 | 1.778 | 348.4 | 2.192 | 16.72 | 2.553 | 10.64 | 2.618 | 347.5 | 0.665 | 973.812 | 78.0454 | -0.014779
2020-01-10 17:30:00 | 1.566 | 337.8 | 2.508 | 1.548 | 2.792 | 4.382 | 2.753 | 346.8 | 0.473 | 973.961 | 79.0072 | 0.014779
2020-01-10 17:45:00 | 1.281 | 351.2 | 1.56 | 33.69 | 2.217 | 35.28 | 2.373 | 339.6 | 0.264 | 973.961 | 81.3443 | 0.084981
2020-01-10 18:00:00 | 1.634 | 16.5 | 1.838 | 23.51 | 1.927 | 12.51 | 1.943 | 336.1 | 0.187 | 974.241 | 79.6443 | -0.040643
2020-01-10 18:15:00 | 1.836 | 320.3 | 1.96 | 23.13 | 1.808 | 7.165 | 1.892 | 313.9 | 0.373 | 973.961 | 79.3027 | -0.10715
2020-01-10 18:30:00 | 1.775 | 347.5 | 1.779 | 23.23 | 1.406 | 13.26 | 1.553 | 326.8 | 0.424 | 973.961 | 70.4824 | 3.7253e-09
2020-01-10 18:45:00 | 2.4 | 325.5 | 2.216 | 18.34 | 1.981 | 4.168 | 2.116 | 315.8 | 0.508 | 974.11 | 68.8425 | 0.066507
2020-01-10 19:00:00 | 1.526 | 330.5 | 2.114 | 355.7 | 1.851 | 10.05 | 1.966 | 329.7 | 0.268 | 973.961 | 70.5518 | -0.055423
2020-01-10 19:15:00 | 1.803 | 319.2 | 2.134 | 353.8 | 2.451 | 3.171 | 2.574 | 307.4 | 0.464 | 973.961 | 65.4247 | -0.11084
2020-01-10 19:30:00 | 2.436 | 332.7 | 2.579 | 347.2 | 2.441 | 352.3 | 2.472 | 330.5 | 0.051 | 974.259 | 75.4743 | 0.35101
2020-01-10 19:45:00 | 2.663 | 323.9 | 2.807 | 348.2 | 2.785 | 355.4 | 2.944 | 318.7 | -0.067 | 974.259 | 78.3456 | 0.56901
2020-01-10 20:00:00 | 2.977 | 5.953 | 3.06 | 17.25 | 2.861 | 14.51 | 3.025 | 348.3 | -0.61 | 973.961 | 87.6431 | 0.38796
2020-01-10 20:15:00 | 2.528 | 338.7 | 2.462 | 23.33 | 3.039 | 16.78 | 3.073 | 326.3 | -0.735 | 973.664 | 84.5325 | 0.092371
2020-01-10 20:30:00 | 2.319 | 323 | 3.152 | 348.5 | 3.049 | 9.56 | 3.086 | 320.4 | -0.209 | 973.961 | 75.9546 | 0.29559
2020-01-10 20:45:00 | 2.482 | 338.3 | 2.272 | 7.552 | 2.889 | 13.37 | 2.877 | 329.7 | -0.151 | 973.961 | 75.545 | 0.34731
2020-01-10 21:00:00 | 2.171 | 339.9 | 2.17 | 5.511 | 2.894 | 9.24 | 2.9 | 332.8 | -0.249 | 973.961 | 76.5006 | 0.76483
2020-01-10 21:15:00 | 2.291 | 347.3 | 2.29 | 6.394 | 3.057 | 10.52 | 3.022 | 340.2 | -0.346 | 973.961 | 77.3208 | 1.1639
2020-01-10 21:30:00 | 2.845 | 0.361 | 3.28 | 6.519 | 3.189 | 16.83 | 3.178 | 344.6 | -0.424 | 973.813 | 79.5078 | 1.2267
2020-01-10 21:45:00 | 3.281 | 2.534 | 3.86 | 6.867 | 3.822 | 21.69 | 3.644 | 354.3 | -0.62 | 973.813 | 79.0298 | 1.1676
2020-01-10 22:00:00 | 3.307 | 40.44 | 3.379 | 6.981 | 3.207 | 22.57 | 3.089 | 355.5 | -0.432 | 973.961 | 78.2814 | 0.70941
2020-01-10 22:15:00 | 3.036 | 3.999 | 3.213 | 6.981 | 2.449 | 20.41 | 2.775 | 67.8 | -0.41 | 974.11 | 78.6221 | 1.3671
2020-01-10 22:30:00 | 3.128 | 1.551 | 3.566 | 6.982 | 2.805 | 15.53 | 3.063 | 67.32 | -0.55 | 974.259 | 79.6481 | 1.5888
2020-01-10 22:45:00 | 2.505 | 11.23 | 3.978 | 7.029 | 3.011 | 9.83 | 3.468 | 3.635 | -0.845 | 974.259 | 83.0709 | 2.3573
2020-01-10 23:00:00 | 3.506 | 7.945 | 4.545 | 7.193 | 3.278 | 18.22 | 3.45 | 6.784 | -1.567 | 973.961 | 95.6569 | 3.7872
2020-01-10 23:15:00 | 2.99 | 3.382 | 3.863 | 7.177 | 4.364 | 8.05 | 4.632 | 8.63 | -2.683 | 973.961 | 93.812 | 5.3501
2020-01-10 23:30:00 | 4.374 | 5.268 | 4.977 | 7.342 | 3.797 | 14.62 | 3.384 | 5.262 | -1.33 | 973.961 | 86.2906 | 5.4942
2020-01-10 23:45:00 | 3.764 | 5.527 | 5.041 | 7.468 | 4.066 | 13.34 | 3.466 | 6.14 | -1.484 | 973.664 | 89.641 | 5.4536