## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-11 00:00:00 | 4.193 | 9.56 | 5.54 | 8.29 | 5.496 | 17.65 | 5.477 | 14.31 | -1.751 | 973.813 | 90.6666 | 5.1026
2020-01-11 00:15:00 | 4.098 | 12.1 | 5.092 | 8.79 | 5.811 | 14.25 | 5.656 | 15.46 | -1.785 | 973.664 | 87.8632 | 5.4905
2020-01-11 00:30:00 | 4.096 | 9.9 | 5.074 | 8.89 | 4.931 | 16.39 | 5.022 | 13.21 | -1.144 | 974.11 | 80.3419 | 3.2884
2020-01-11 00:45:00 | 3.866 | 14.86 | 4.921 | 8.89 | 5.231 | 17.06 | 5.095 | 13.91 | -0.937 | 974.11 | 79.0427 | 1.9878
2020-01-11 01:00:00 | 3.44 | 14.61 | 4.323 | 8.88 | 4.517 | 14.61 | 4.665 | 16.75 | -0.801 | 974.259 | 79.0427 | 1.0346
2020-01-11 01:15:00 | 2.753 | 17.07 | 4.013 | 8.8 | 4.214 | 14.73 | 4.37 | 19.18 | -1.229 | 973.961 | 85.812 | 0.97174
2020-01-11 01:30:00 | 3.542 | 16.36 | 4.596 | 8.79 | 4.898 | 22.23 | 4.851 | 19.95 | -2.237 | 973.813 | 89.641 | 2.5236
2020-01-11 01:45:00 | 3.863 | 9.41 | 5.218 | 8.89 | 5.086 | 15.96 | 5.027 | 18.56 | -1.643 | 973.664 | 90.8034 | 3.802
2020-01-11 02:00:00 | 3.335 | 10.08 | 4.929 | 8.89 | 4.969 | 13.11 | 5.116 | 20.33 | -3.366 | 973.069 | 97.1282 | 2.8118
2020-01-11 02:15:00 | 4.392 | 15.48 | 5.215 | 8.93 | 5.44 | 19.79 | 5.37 | 25.04 | -2.662 | 973.367 | 97.6752 | 4.7922
2020-01-11 02:30:00 | 4.571 | 24.1 | 5.184 | 9.08 | 5.363 | 22.63 | 5.37 | 29.09 | -1.805 | 973.391 | 94.4273 | 5.5016
2020-01-11 02:45:00 | 4.456 | 25.94 | 5.913 | 9.28 | 6.223 | 18.94 | 6.221 | 30.46 | -1.486 | 973.373 | 90.5983 | 8.6127
2020-01-11 03:00:00 | 3.94 | 30.88 | 5.276 | 9.43 | 6.063 | 28.86 | 6.165 | 37.35 | -1.536 | 973.367 | 76.1709 | 6.8429
2020-01-11 03:15:00 | 3.304 | 34.75 | 4.568 | 9.34 | 5.249 | 43.41 | 5.299 | 37.27 | -0.24 | 973.367 | 72.2735 | 6.0965
2020-01-11 03:30:00 | 4.165 | 20.92 | 5.215 | 9.37 | 5.753 | 19.74 | 5.849 | 27.21 | -0.127 | 973.367 | 72.547 | 5.8896
2020-01-11 03:45:00 | 2.61 | 12.08 | 3.819 | 9.21 | 5.542 | 10.22 | 5.712 | 23.41 | -1.418 | 973.219 | 89.025 | 5.8046
2020-01-11 04:00:00 | 3.381 | 8.61 | 4.228 | 11.86 | 4.542 | 17.93 | 4.882 | 13.27 | -4.268 | 972.475 | 98.017 | 8.7937
2020-01-11 04:15:00 | 4.04 | 13.58 | 4.246 | 25.04 | 5.992 | 23.87 | 6.221 | 24 | -4.512 | 972.475 | 98.5299 | 9.1891
2020-01-11 04:30:00 | 4.078 | 9.82 | 4.32 | 21.11 | 6.615 | 14.31 | 6.705 | 15.55 | -4.587 | 972.499 | 98.3339 | 11.6314
2020-01-11 04:45:00 | 4.859 | 15.55 | 5.995 | 26.91 | 7.693 | 22.68 | 7.881 | 20.63 | -4.507 | 972.302 | 98.3415 | 13.501
2020-01-11 05:00:00 | 4.696 | 22.61 | 5.67 | 33.19 | 7.408 | 24.03 | 7.627 | 27.72 | -4.534 | 972.527 | 98.4186 | 15.0306
2020-01-11 05:15:00 | 4.313 | 27.18 | 6.516 | 44.42 | 8.02 | 26.59 | 8.07 | 30.75 | -4.726 | 972.715 | 98.6992 | 12.1339
2020-01-11 05:30:00 | 3.547 | 21.77 | 6.212 | 35.87 | 7.538 | 23.95 | 7.668 | 27.32 | -4.53 | 973.024 | 98.2558 | 10.1534
2020-01-11 05:45:00 | 2.515 | 13.32 | 3.638 | 22.6 | 4.809 | 9.34 | 5.08 | 23.66 | -4.562 | 973.209 | 98.0164 | 10.1202
2020-01-11 06:00:00 | 3.265 | 14.24 | 4.228 | 32.92 | 4.786 | 21.49 | 5.108 | 29.55 | -4.779 | 973.517 | 98.0848 | 12.0784
2020-01-11 06:15:00 | 3.853 | 31.79 | 4.532 | 38.98 | 6.284 | 15.39 | 6.504 | 37.13 | -4.946 | 973.219 | 97.948 | 23.3847
2020-01-11 06:30:00 | 6.174 | 27.23 | 7.897 | 43.58 | 9.22 | 21.32 | 9.45 | 30.05 | -3.66 | 973.517 | 98.9056 | 31.6353
2020-01-11 06:45:00 | 5.212 | 25.29 | 8.15 | 42.99 | 9.64 | 26.76 | 9.73 | 27.53 | -3.485 | 973.665 | 98.3242 | 31.033
2020-01-11 07:00:00 | 5.406 | 20.79 | 7.544 | 37.31 | 8.06 | 20.65 | 8.16 | 26.16 | -3.736 | 973.874 | 97.606 | 23.1519
2020-01-11 07:15:00 | 6.082 | 22.04 | 7.654 | 36.34 | 8.44 | 16.17 | 8.53 | 27.6 | -3.907 | 973.33 | 95.793 | 28.3184
2020-01-11 07:30:00 | 5.618 | 29.39 | 7.406 | 43.86 | 7.769 | 23.39 | 7.795 | 35.3 | -3.691 | 972.976 | 90.6277 | 26.8689
2020-01-11 07:45:00 | 5.48 | 26.83 | 7.81 | 41.04 | 7.922 | 22.7 | 7.963 | 32.08 | -3.38 | 973.23 | 84.6075 | 16.6859
2020-01-11 08:00:00 | 4.632 | 26.98 | 6.624 | 40.25 | 6.968 | 24.62 | 6.993 | 33.77 | -3.252 | 973.51 | 80.425 | 19.2945
2020-01-11 08:15:00 | 4.928 | 32.97 | 6.325 | 48.34 | 6.663 | 32.56 | 6.682 | 36.69 | -3.374 | 973.256 | 80.9706 | 23.4586
2020-01-11 08:30:00 | 4.323 | 36.71 | 5.849 | 50.61 | 6.264 | 34.48 | 6.287 | 41.32 | -3.097 | 973.517 | 72.5532 | 19.93
2020-01-11 08:45:00 | 3.603 | 29.57 | 4.392 | 40.33 | 4.606 | 23.22 | 4.558 | 36.53 | -3.048 | 973.966 | 67.0771 | 11.1141
2020-01-11 09:00:00 | 3.215 | 34.99 | 4.134 | 49.99 | 4.339 | 24.33 | 4.339 | 46.81 | -2.762 | 974.259 | 62.906 | 13.6931
2020-01-11 09:15:00 | 5.079 | 33.93 | 5.76 | 45.6 | 6.2 | 22.86 | 6.254 | 41.82 | -2.362 | 974.408 | 64.547 | 10.9811
2020-01-11 09:30:00 | 4.131 | 20.03 | 5.99 | 30.66 | 6.307 | 20.3 | 6.348 | 28.64 | -2.446 | 974.854 | 80.1368 | 10.0758
2020-01-11 09:45:00 | 3.748 | 21.82 | 6.125 | 34.15 | 6.18 | 28.21 | 6.259 | 31.13 | -2.169 | 975.151 | 68.7814 | 8.7235
2020-01-11 10:00:00 | 4.259 | 20.25 | 5.56 | 32.08 | 5.821 | 23.23 | 5.908 | 28.51 | -1.969 | 975.3 | 74.2096 | 5.2504
2020-01-11 10:15:00 | 3.922 | 18.22 | 5.343 | 29.87 | 5.508 | 28.49 | 5.574 | 29.51 | -2.725 | 974.854 | 88.2584 | 5.2762
2020-01-11 10:30:00 | 3.097 | 7.261 | 3.855 | 22.6 | 4.656 | 17.16 | 4.642 | 19.56 | -2.622 | 975.003 | 84.5668 | 6.599
2020-01-11 10:45:00 | 3.945 | 10.51 | 4.356 | 14.36 | 4.14 | 9.59 | 4.074 | 15.73 | -2.586 | 974.854 | 85.5922 | 7.7592
2020-01-11 11:00:00 | 3.562 | 6.861 | 4.653 | 22.07 | 4.209 | 13.62 | 4.016 | 13.42 | -2.66 | 974.854 | 89.2155 | 7.2493
2020-01-11 11:15:00 | 2.865 | 12.13 | 4.54 | 24.2 | 4.997 | 5.464 | 5.034 | 21.2 | -2.633 | 974.259 | 88.4977 | 8.4908
2020-01-11 11:30:00 | 3.08 | 12.12 | 4.443 | 22.26 | 4.926 | 9.56 | 4.907 | 21.37 | -2.651 | 973.962 | 87.1988 | 6.4992
2020-01-11 11:45:00 | 3.761 | 12.76 | 4.673 | 26.39 | 4.766 | 16.13 | 4.724 | 23.76 | -2.714 | 973.665 | 86.5835 | 4.8772
2020-01-11 12:00:00 | 3.996 | 5.984 | 4.059 | 12.77 | 4.219 | 357.8 | 4.184 | 18.36 | -2.395 | 973.962 | 81.6271 | 3.4288
2020-01-11 12:15:00 | 2.32 | 6.26 | 3.776 | 28.08 | 3.326 | 13.71 | 2.977 | 12.74 | -2.118 | 973.813 | 80.8751 | 2.7563
2020-01-11 12:30:00 | 3.148 | 17.02 | 3.811 | 30.02 | 3.703 | 21.39 | 3.743 | 24.41 | -2.263 | 973.516 | 80.9093 | 2.6123
2020-01-11 12:45:00 | 2.651 | 15.07 | 3.408 | 28.34 | 3.448 | 14.64 | 3.137 | 14.69 | -2.101 | 973.367 | 80.1914 | 1.6848
2020-01-11 13:00:00 | 2.663 | 14.66 | 3.19 | 31.26 | 3.927 | 28.87 | 2.921 | 16.61 | -2.058 | 973.367 | 82.4474 | 0.62812
2020-01-11 13:15:00 | 2.347 | 11.56 | 2.602 | 31.23 | 2.594 | 36.11 | 2.783 | 19.63 | -2.1 | 973.367 | 80.8067 | -0.036948
2020-01-11 13:30:00 | 1.636 | 13.61 | 2.439 | 31.03 | 3.359 | 23.41 | 2.979 | 12.33 | -2.035 | 973.07 | 74.6539 | 0.17366
2020-01-11 13:45:00 | 1.139 | 8.42 | 1.791 | 30.71 | 2.876 | 24.62 | 3.084 | 7.617 | -1.468 | 973.07 | 75.7477 | 0.011085
2020-01-11 14:00:00 | 1.175 | 5.944 | 1.567 | 30.77 | 2.711 | 25.45 | 3.16 | 7.077 | -1.206 | 973.07 | 76.9775 | -0.1404
2020-01-11 14:15:00 | 1.082 | 1.664 | 1.23 | 30.76 | 2.133 | 23.73 | 2.347 | 2.387 | -0.959 | 973.219 | 77.5252 | -0.13671
2020-01-11 14:30:00 | 1.616 | 17.86 | 1.89 | 31.28 | 1.676 | 29.3 | 1.884 | 355.1 | -1.239 | 973.318 | 79.0972 | -0.19583
2020-01-11 14:45:00 | 1.594 | 8.76 | 2.119 | 31.54 | 1.701 | 34.48 | 1.723 | 353.1 | -1.233 | 973.702 | 78.1658 | -0.25494
2020-01-11 15:00:00 | 0.737 | 24.33 | 1.651 | 31.21 | 1.757 | 359.6 | 1.853 | 7.764 | -1.214 | 973.367 | 79.0728 | -0.26972
2020-01-11 15:15:00 | 2.076 | 10.1 | 2.003 | 24.08 | 1.622 | 340.8 | 1.708 | 337.8 | -1.231 | 972.772 | 80.4374 | -0.24386
2020-01-11 15:30:00 | 2.158 | 347.2 | 2.437 | 6.671 | 2.902 | 340.8 | 2.862 | 346.1 | -1.653 | 972.772 | 80.2474 | -0.084981
2020-01-11 15:45:00 | 2.834 | 342.2 | 2.743 | 352.4 | 2.52 | 335.4 | 2.638 | 337.4 | -1.931 | 972.888 | 81.0797 | 1.5814
2020-01-11 16:00:00 | 2.942 | 339.2 | 2.983 | 0.01 | 3.115 | 338.5 | 3.219 | 336.7 | -2.053 | 972.921 | 81.1136 | 3.2256
2020-01-11 16:15:00 | 3.603 | 357.4 | 3.633 | 32.69 | 3.52 | 26.27 | 3.713 | 344.1 | -2.289 | 972.772 | 83.0627 | 5.1358
2020-01-11 16:30:00 | 3.856 | 359.4 | 4.065 | 29.98 | 3.998 | 20.75 | 4.087 | 349.5 | -2.454 | 972.474 | 83.4045 | 6.7431
2020-01-11 16:45:00 | 3.771 | 1.736 | 3.758 | 20.86 | 3.891 | 19.76 | 4.079 | 351.9 | -2.536 | 972.474 | 83.3401 | 7.8109
2020-01-11 17:00:00 | 3.718 | 351.6 | 3.898 | 17.48 | 4.349 | 13.38 | 4.459 | 348.7 | -2.592 | 972.474 | 82.9399 | 7.9181
2020-01-11 17:15:00 | 3.419 | 351.9 | 3.443 | 14.42 | 4.361 | 350.9 | 4.54 | 345 | -2.678 | 972.474 | 82.9402 | 13.2534
2020-01-11 17:30:00 | 4.001 | 345.8 | 4.676 | 3.634 | 5.498 | 353.7 | 5.661 | 343.3 | -2.795 | 972.772 | 82.5299 | 13.2941
2020-01-11 17:45:00 | 3.787 | 346.7 | 4.341 | 7.331 | 4.992 | 354.9 | 5.083 | 345.4 | -2.825 | 972.772 | 85.7436 | 15.644
2020-01-11 18:00:00 | 2.856 | 2.173 | 3.036 | 26.37 | 4.115 | 352.5 | 4.359 | 349 | -3.013 | 972.785 | 86.1538 | 13.8335
2020-01-11 18:15:00 | 3.322 | 349 | 3.193 | 25.47 | 4.908 | 4.527 | 5.294 | 344.3 | -3.069 | 972.772 | 85.3333 | 13.5084
2020-01-11 18:30:00 | 4.836 | 4.088 | 4.701 | 24.16 | 5.035 | 18.38 | 5.34 | 2.588 | -3.078 | 972.624 | 84.2393 | 15.2634
2020-01-11 18:45:00 | 4.701 | 6.783 | 5.225 | 24.03 | 5.577 | 17.01 | 5.903 | 5.41 | -3.313 | 972.624 | 87.7271 | 12.1339
2020-01-11 19:00:00 | 5.449 | 9.38 | 6.404 | 25.52 | 6.254 | 14.25 | 6.152 | 13.34 | -3.359 | 972.626 | 87.4233 | 8.6275
2020-01-11 19:15:00 | 4.019 | 13.55 | 4.609 | 14.75 | 4.489 | 7.007 | 4.624 | 5.597 | -3.278 | 972.921 | 85.685 | 6.7911
2020-01-11 19:30:00 | 4.272 | 351.5 | 4.492 | 10.05 | 5.702 | 11.75 | 5.826 | 354 | -3.332 | 973.07 | 83.774 | 6.4364
2020-01-11 19:45:00 | 3.736 | 4.509 | 4.044 | 16.93 | 4.511 | 15.25 | 4.749 | 5.039 | -3.285 | 972.966 | 84.6972 | 5.594
2020-01-11 20:00:00 | 3.999 | 358.9 | 4.55 | 9.77 | 5.473 | 8.97 | 5.954 | 6.373 | -3.424 | 973.154 | 85.5525 | 5.376
2020-01-11 20:15:00 | 3.828 | 4.332 | 3.748 | 18.77 | 4.964 | 17.73 | 5.292 | 2.501 | -3.486 | 973.09 | 85.1427 | 4.6444
2020-01-11 20:30:00 | 3.452 | 10.44 | 4.034 | 13.66 | 4.557 | 9.43 | 5.098 | 2.662 | -3.612 | 972.847 | 87.0588 | 6.5399
2020-01-11 20:45:00 | 3.835 | 9.84 | 3.99 | 23.72 | 4.173 | 8.04 | 4.168 | 6.32 | -3.77 | 972.977 | 88.496 | 7.1939
2020-01-11 21:00:00 | 3.897 | 7.814 | 4.97 | 24.18 | 4.491 | 15.44 | 4.558 | 10.04 | -3.819 | 972.809 | 88.7096 | 6.5879
2020-01-11 21:15:00 | 3.294 | 7.664 | 4.952 | 24.46 | 4.336 | 14.68 | 4.683 | 9.62 | -3.877 | 972.905 | 90.1501 | 6.5953
2020-01-11 21:30:00 | 4.07 | 12.39 | 4.906 | 30.95 | 5.455 | 20.36 | 5.46 | 14.66 | -4.021 | 972.893 | 88.4405 | 6.1963
2020-01-11 21:45:00 | 3.276 | 15.92 | 4.622 | 31.37 | 5.369 | 20.02 | 4.604 | 17.65 | -3.89 | 972.899 | 85.7045 | 5.2208
2020-01-11 22:00:00 | 3.565 | 10.95 | 4.261 | 31.48 | 4.585 | 22.2 | 4.459 | 13.81 | -3.904 | 973.07 | 83.8577 | 4.4301
2020-01-11 22:15:00 | 3.205 | 10.91 | 3.776 | 27.51 | 3.954 | 18.14 | 3.934 | 15.5 | -3.675 | 973.219 | 81.7373 | 3.8279
2020-01-11 22:30:00 | 2.896 | 9.53 | 3.188 | 19.9 | 3.336 | 6.156 | 3.338 | 6.691 | -3.548 | 973.368 | 80.7798 | 3.9572
2020-01-11 22:45:00 | 3.166 | 4.32 | 3.776 | 23.1 | 3.553 | 3.266 | 4.204 | 11.16 | -3.542 | 973.368 | 82.5239 | 4.2528
2020-01-11 23:00:00 | 3.212 | 7.722 | 2.876 | 19.01 | 3.113 | 355.5 | 3.078 | 7.905 | -3.668 | 973.352 | 84.1997 | 5.9487
2020-01-11 23:15:00 | 3.131 | 8.93 | 3.691 | 25.91 | 3.695 | 7.367 | 3.695 | 11.24 | -3.636 | 973.03 | 85.7045 | 6.3293
2020-01-11 23:30:00 | 3.996 | 19.32 | 4.975 | 28.04 | 5.524 | 23.18 | 5.449 | 20.89 | -4.023 | 973.069 | 86.8673 | 4.3156
2020-01-11 23:45:00 | 4.098 | 18.38 | 4.479 | 39.18 | 4.4 | 27.32 | 4.334 | 21.33 | -3.846 | 972.773 | 85.4309 | 3.7872