## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-12 00:00:00 | 3.917 | 22.92 | 4.609 | 40.76 | 4.819 | 33.64 | 4.637 | 23.47 | -3.499 | 972.773 | 83.2421 | 3.1332
2020-01-12 00:15:00 | 3.031 | 12.5 | 3.553 | 34.02 | 3.591 | 16.68 | 3.669 | 16.3 | -3.261 | 972.921 | 82.9685 | 1.9287
2020-01-12 00:30:00 | 3.332 | 16.69 | 3.704 | 30.57 | 4.59 | 18.64 | 4.8 | 18.67 | -3.519 | 972.721 | 85.5677 | 2.0026
2020-01-12 00:45:00 | 3.031 | 22.92 | 3.74 | 30.61 | 4.094 | 17.48 | 4.181 | 27.32 | -3.879 | 972.436 | 87.687 | 1.6848
2020-01-12 01:00:00 | 1.4 | 3.967 | 2.6 | 26.44 | 2.79 | 358.7 | 2.376 | 6.523 | -3.787 | 972.734 | 86.4566 | 1.6294
2020-01-12 01:15:00 | 2.776 | 5.127 | 3.679 | 12.7 | 3.311 | 358.5 | 3.249 | 9.51 | -3.79 | 972.461 | 89.2588 | 2.8044
2020-01-12 01:30:00 | 2.536 | 5.542 | 3.99 | 15.95 | 3.863 | 4.368 | 4.13 | 10.02 | -4.087 | 972.278 | 90.0758 | 2.7231
2020-01-12 01:45:00 | 3.026 | 10.35 | 4.1 | 29.08 | 4.478 | 20.89 | 4.329 | 11.67 | -4.251 | 972.208 | 91.5167 | 2.1393
2020-01-12 02:00:00 | 3.291 | 23.92 | 4.085 | 38.04 | 4.031 | 25.38 | 4.214 | 24.79 | -4.297 | 972.368 | 91.8604 | 1.308
2020-01-12 02:15:00 | 3.243 | 31.19 | 3.865 | 46.27 | 3.86 | 29.91 | 3.766 | 29.5 | -3.942 | 972.452 | 86.9357 | -0.21061
2020-01-12 02:30:00 | 2.778 | 29.27 | 2.904 | 46.09 | 3.026 | 46.34 | 2.898 | 28.53 | -3.321 | 972.618 | 82.7975 | -0.37687
2020-01-12 02:45:00 | 2.155 | 14.45 | 2.254 | 45.18 | 1.166 | 31.86 | 1.037 | 5.726 | -3.048 | 972.442 | 80.1642 | -0.34731
2020-01-12 03:00:00 | 2.288 | 19.93 | 2.38 | 44.93 | 0.978 | 34.54 | 0.545 | 25.52 | -2.652 | 972.38 | 76.4022 | -0.33623
2020-01-12 03:15:00 | 2.308 | 21.57 | 2.372 | 44.98 | 0.417 | 32.24 | 0.154 | 47.79 | -2.582 | 972.03 | 74.8967 | -0.51728
2020-01-12 03:30:00 | 0.27 | 24.04 | 0 | 44.95 | 0.022 | 15.41 | 0 | 47.71 | -2.458 | 972.186 | 73.6583 | -0.29928
2020-01-12 03:45:00 | 0.961 | 24.03 | 0 | 44.95 | 0 | 17.82 | 0 | 47.68 | -2.263 | 971.865 | 72.6993 | -0.33623
2020-01-12 04:00:00 | 0 | 24.03 | 0 | 44.96 | 0 | 17.87 | 0 | 47.67 | -2.079 | 971.497 | 48.6968 | -0.31776
2020-01-12 04:15:00 | 0.559 | 341.9 | 1.465 | 44.69 | 1.668 | 3.271 | 1.647 | 46.31 | -1.774 | 971.705 | 65.9311 | -0.33623
2020-01-12 04:30:00 | 2.628 | 344.7 | 2.577 | 43.78 | 2.439 | 353.7 | 2.483 | 342.2 | -2.19 | 971.919 | 68.8677 | -0.33623
2020-01-12 04:45:00 | 1.379 | 342.7 | 2.152 | 43.76 | 1.838 | 1.425 | 1.869 | 340.4 | -2.258 | 971.946 | 72.7646 | -0.33623
2020-01-12 05:00:00 | 1.618 | 339.7 | 1.914 | 43.75 | 1.541 | 0.989 | 1.487 | 340.4 | -2.296 | 971.882 | 69.6838 | -0.33623
2020-01-12 05:15:00 | 1.02 | 337.6 | 1.62 | 43.77 | 1.431 | 2.987 | 1.421 | 340.3 | -2.221 | 972.03 | 68.7223 | -0.3547
2020-01-12 05:30:00 | 1.504 | 337.6 | 1.526 | 43.8 | 1.632 | 4.169 | 1.716 | 340.4 | -2.047 | 972.326 | 68.2395 | -0.33623
2020-01-12 05:45:00 | 1.38 | 333.1 | 2.211 | 43.76 | 1.874 | 359.9 | 1.91 | 339.5 | -2.05 | 972.326 | 69.3334 | -0.34731
2020-01-12 06:00:00 | 2.265 | 349.2 | 2.96 | 43.52 | 2.64 | 2.611 | 2.633 | 339.9 | -2.487 | 972.485 | 72.3419 | -0.33623
2020-01-12 06:15:00 | 2.385 | 348.8 | 2.776 | 43.36 | 2.841 | 3.435 | 2.9 | 348.2 | -2.375 | 972.483 | 70.5983 | -0.37687
2020-01-12 06:30:00 | 1.976 | 356.8 | 2.393 | 43.37 | 3.469 | 8.47 | 3.651 | 354.1 | -2.681 | 972.178 | 78.4302 | -0.27342
2020-01-12 06:45:00 | 3.013 | 4.747 | 3.604 | 43.36 | 3.392 | 14.21 | 3.98 | 356.8 | -3.226 | 972.193 | 81.0031 | -0.11454
2020-01-12 07:00:00 | 2.86 | 7.69 | 3.699 | 43.37 | 3.331 | 12.19 | 3.738 | 3.645 | -3.318 | 972.53 | 78.1672 | -0.18844
2020-01-12 07:15:00 | 3.971 | 7.64 | 3.842 | 43.41 | 3.484 | 15.4 | 4.125 | 7.063 | -3 | 972.605 | 76.7996 | -0.22539
2020-01-12 07:30:00 | 3.447 | 10.78 | 3.691 | 43.85 | 3.146 | 21.43 | 3.86 | 8.63 | -2.956 | 972.459 | 76.5259 | -0.32884
2020-01-12 07:45:00 | 2.584 | 13.28 | 3.262 | 43.81 | 3.092 | 20.8 | 2.488 | 12.6 | -2.476 | 972.53 | 67.0873 | -0.32884
2020-01-12 08:00:00 | 2.094 | 13.3 | 2.717 | 43.82 | 2.767 | 27.45 | 2.722 | 12.94 | -1.995 | 972.478 | 61.2683 | -0.31776
2020-01-12 08:15:00 | 2.229 | 20.71 | 2.86 | 44.2 | 2.927 | 35.33 | 2.949 | 24.95 | -1.815 | 972.773 | 51.6239 | -0.31776
2020-01-12 08:30:00 | 1.701 | 27.63 | 2.375 | 45.04 | 2.573 | 44.71 | 2.582 | 31.66 | -1.555 | 973.219 | 48.2735 | -0.31776
2020-01-12 08:45:00 | 0 | 32.01 | 0.765 | 45.06 | 1.342 | 59.51 | 1.334 | 35.05 | -0.995 | 973.962 | 51.7528 | -0.35101
2020-01-12 09:00:00 | 0 | 19.88 | 0.03 | 45.2 | 0.761 | 112.8 | 0.713 | 34.53 | -0.64 | 974.854 | 52.9824 | -0.3547
2020-01-12 09:15:00 | 0 | 12.27 | 0.139 | 45.1 | 0.384 | 118.8 | 0.282 | 33.86 | 0.202 | 974.719 | 53.3774 | -0.18844
2020-01-12 09:30:00 | 0.231 | 17.32 | 0.124 | 45.14 | 0 | 119.2 | 0 | 33.89 | -0.207 | 975.15 | 57.1323 | -0.014779
2020-01-12 09:45:00 | 1.433 | 137.6 | 0.792 | 46.12 | 0 | 132.5 | 0 | 34.75 | -0.344 | 975.714 | 56.4764 | 0.17735
2020-01-12 10:00:00 | 1.555 | 153.5 | 1.433 | 46.4 | 0.289 | 153.9 | 0.034 | 172.5 | -0.155 | 975.747 | 59.4707 | 0.022169
2020-01-12 10:15:00 | 1.348 | 149.9 | 0.828 | 46.38 | 0 | 148.6 | 0 | 174.4 | -0.241 | 976.041 | 62.5107 | -0.19213
2020-01-12 10:30:00 | 1.512 | 161 | 1.132 | 54.82 | 0.202 | 162.3 | 0.151 | 176.6 | 0.527 | 975.892 | 60.5295 | -0.22169
2020-01-12 10:45:00 | 2.37 | 232.6 | 2.5 | 243.2 | 1.794 | 183.6 | 1.578 | 231.7 | 0.271 | 975.595 | 67.3593 | -0.31406
2020-01-12 11:00:00 | 2.617 | 214.1 | 2.661 | 224.1 | 2.012 | 210.5 | 1.875 | 226 | 0.134 | 975.149 | 65.5152 | -0.29928
2020-01-12 11:15:00 | 2.472 | 237.2 | 2.418 | 256.2 | 1.451 | 233.3 | 1.1 | 221 | -0.137 | 974.852 | 66.1998 | -0.28081
2020-01-12 11:30:00 | 2.255 | 244.5 | 2.006 | 253.7 | 1.464 | 246.3 | 1.42 | 225.6 | -0.283 | 974.703 | 65.2434 | -0.29928
2020-01-12 11:45:00 | 2.85 | 215.8 | 2.456 | 229.1 | 1.979 | 208.5 | 1.91 | 230.1 | 0.297 | 974.257 | 60.5978 | -0.29928
2020-01-12 12:00:00 | 2.651 | 240 | 2.651 | 242.8 | 2.106 | 215.3 | 1.99 | 236.7 | 0.008 | 974.257 | 60.0512 | -0.2882
2020-01-12 12:15:00 | 2.366 | 255.4 | 2.416 | 267.8 | 1.897 | 248.8 | 1.843 | 263.9 | 0.216 | 974.257 | 59.3681 | -0.29928
2020-01-12 12:30:00 | 2.525 | 278.3 | 1.993 | 289.2 | 1.263 | 264.8 | 1 | 281 | 0.353 | 974.257 | 71.2553 | -0.29928
2020-01-12 12:45:00 | 2.459 | 278.3 | 2.607 | 291.1 | 1.943 | 266 | 1.775 | 282.9 | 0.127 | 974.257 | 72.7577 | -0.29928
2020-01-12 13:00:00 | 2.351 | 286.3 | 2.348 | 299.6 | 1.497 | 286.4 | 1.231 | 280 | 0.472 | 974.109 | 70.7083 | -0.29928
2020-01-12 13:15:00 | 2.671 | 273.6 | 2.364 | 289.3 | 0.831 | 259.9 | 0.541 | 274.1 | 0.512 | 973.96 | 69.6498 | -0.29928
2020-01-12 13:30:00 | 2.569 | 289 | 2.702 | 293.5 | 2.225 | 267.5 | 2.157 | 289.4 | 0.43 | 973.96 | 67.4979 | -0.28081
2020-01-12 13:45:00 | 2.38 | 299.3 | 2.935 | 314.6 | 2.184 | 289.9 | 1.973 | 305.6 | 0.792 | 973.663 | 68.1469 | -0.28081
2020-01-12 14:00:00 | 1.827 | 303.1 | 2.304 | 314 | 1.558 | 302.2 | 1.402 | 307.7 | 0.797 | 973.812 | 66.3365 | -0.2882
2020-01-12 14:15:00 | 2.27 | 305.2 | 2.458 | 311.8 | 2.093 | 294.3 | 2.006 | 308.1 | 0.613 | 973.515 | 67.0196 | -0.29928
2020-01-12 14:30:00 | 2.167 | 307 | 2.582 | 314.7 | 2.258 | 291.1 | 2.21 | 313 | 0.736 | 973.663 | 64.0137 | -0.28081
2020-01-12 14:45:00 | 2.211 | 282.9 | 2.139 | 292.8 | 1.754 | 262.8 | 1.677 | 289.2 | 0.268 | 973.663 | 60.9052 | -0.29928
2020-01-12 15:00:00 | 1.836 | 291.8 | 1.797 | 301.4 | 1.043 | 261.6 | 0.991 | 299 | 0.375 | 973.663 | 58.275 | -0.31776
2020-01-12 15:15:00 | 1.932 | 291.8 | 2.139 | 296.7 | 1.382 | 267.6 | 1.352 | 301.8 | 0.501 | 973.517 | 59.0265 | -0.29928
2020-01-12 15:30:00 | 1.974 | 300.2 | 1.96 | 303.4 | 1.02 | 276.4 | 1.07 | 286.8 | 0.24 | 973.287 | 59.5809 | -0.29928
2020-01-12 15:45:00 | 1.695 | 303.3 | 1.766 | 308.4 | 0.937 | 285.4 | 1.123 | 294.3 | 0.003 | 973.068 | 62.5251 | -0.33993
2020-01-12 16:00:00 | 2.13 | 315.6 | 2.408 | 313.5 | 1.859 | 300.6 | 1.907 | 316.2 | -0.32 | 972.623 | 64.3082 | -0.29928
2020-01-12 16:15:00 | 2.169 | 348 | 2.725 | 355.9 | 2.963 | 327.6 | 2.956 | 335.3 | -0.638 | 972.177 | 70.1862 | -0.29189
2020-01-12 16:30:00 | 1.831 | 13.01 | 2.257 | 16.2 | 2.617 | 9.49 | 2.742 | 354.9 | -0.914 | 972.16 | 75.2655 | -0.24755
2020-01-12 16:45:00 | 2.686 | 1.318 | 2.804 | 18.39 | 3.118 | 1.997 | 3.002 | 3.041 | -1.202 | 972.027 | 76.2946 | -0.10715
2020-01-12 17:00:00 | 2.768 | 2.409 | 3.364 | 18.16 | 2.545 | 1.243 | 2.205 | 7.874 | -1.373 | 972.028 | 77.2517 | -0.025864
2020-01-12 17:15:00 | 2.737 | 4.841 | 3.773 | 18.41 | 2.894 | 5.555 | 2.977 | 12.26 | -1.496 | 972.028 | 79.1659 | 0.22539
2020-01-12 17:30:00 | 2.96 | 14.06 | 3.587 | 31.18 | 3.339 | 16.8 | 3.201 | 16.05 | -1.575 | 972.177 | 78.2868 | 0.80917
2020-01-12 17:45:00 | 3.309 | 15.58 | 3.811 | 31.56 | 3.67 | 17.65 | 3.593 | 21.01 | -1.57 | 971.88 | 77.9487 | 0.89415
2020-01-12 18:00:00 | 3.299 | 17.96 | 3.648 | 31.99 | 3.334 | 19.33 | 3.341 | 22.62 | -1.63 | 971.88 | 80.2051 | 0.42491
2020-01-12 18:15:00 | 3.069 | 23.78 | 3.185 | 32.69 | 2.502 | 20.7 | 2.284 | 28.97 | -1.658 | 971.88 | 77.6752 | 0.16627
2020-01-12 18:30:00 | 2.661 | 22.42 | 2.748 | 32.66 | 1.47 | 18.77 | 1.347 | 14.3 | -1.438 | 972.177 | 74.4615 | 0.014779
2020-01-12 18:45:00 | 2.308 | 14.98 | 2.093 | 32.66 | 0.57 | 24.55 | 0.502 | 3.119 | -1.134 | 972.474 | 65.5043 | -0.040643
2020-01-12 19:00:00 | 2.025 | 19.82 | 1.996 | 32.68 | 0.519 | 33.06 | 0.505 | 356.5 | -0.878 | 972.326 | 62.5983 | -0.29189
2020-01-12 19:15:00 | 1.816 | 29.11 | 1.909 | 47.08 | 0.208 | 37.11 | 0.163 | 356.8 | -0.799 | 972.326 | 54.5641 | -0.33254
2020-01-12 19:30:00 | 1.24 | 38.76 | 1.13 | 52.58 | 0 | 35.68 | 0 | 356.8 | -0.579 | 972.474 | 47.6239 | -0.37687
2020-01-12 19:45:00 | 0 | 38.76 | 0 | 52.58 | 0 | 35.69 | 0 | 356.8 | -0.425 | 972.474 | 44.7863 | -0.3547
2020-01-12 20:00:00 | 0.019 | 38.76 | 0 | 52.58 | 0 | 35.69 | 0 | 356.8 | -0.409 | 972.474 | 43.5555 | -0.34731
2020-01-12 20:15:00 | 0 | 38.76 | 0 | 52.58 | 0 | 35.69 | 0 | 356.8 | -0.391 | 972.474 | 43.282 | -0.33623
2020-01-12 20:30:00 | 0 | 38.76 | 0 | 52.58 | 0 | 35.69 | 0 | 356.8 | -0.336 | 972.474 | 43.4872 | -0.33623
2020-01-12 20:45:00 | 0.041 | 38.76 | 0.458 | 52.58 | 0 | 35.64 | 0 | 356.8 | -0.335 | 972.474 | 43.2137 | -0.34731
2020-01-12 21:00:00 | 0 | 38.76 | 0 | 52.58 | 0 | 35.64 | 0 | 356.8 | -0.272 | 972.474 | 42.3248 | -0.33623
2020-01-12 21:15:00 | 0 | 38.76 | 0.376 | 52.58 | 0 | 35.61 | 0 | 356.8 | -0.333 | 972.623 | 44.3077 | -0.33623
2020-01-12 21:30:00 | 0.205 | 38.76 | 0.011 | 52.58 | 0 | 35.49 | 0 | 356.8 | -0.377 | 972.474 | 44.1026 | -0.33623
2020-01-12 21:45:00 | 0 | 38.76 | 0 | 52.58 | 0 | 35.54 | 0 | 356.8 | -0.407 | 972.474 | 45.7436 | -0.37687
2020-01-12 22:00:00 | 0 | 101.1 | 0.071 | 52.58 | 0.789 | 35.67 | 0.867 | 356.8 | -0.39 | 972.177 | 45.7436 | -0.34731
2020-01-12 22:15:00 | 0.495 | 125.2 | 1.038 | 52.69 | 1.12 | 44.03 | 1.179 | 356.8 | -0.478 | 972.328 | 48.3419 | -0.36579
2020-01-12 22:30:00 | 1.453 | 166.8 | 1.858 | 53.28 | 1.518 | 46.3 | 1.635 | 171.9 | -0.555 | 972.475 | 45.8803 | -0.33623
2020-01-12 22:45:00 | 1.507 | 190.9 | 1.93 | 53.37 | 1.424 | 46.37 | 1.522 | 190.2 | -0.763 | 972.772 | 52.6154 | -0.36579
2020-01-12 23:00:00 | 1.422 | 197.6 | 1.467 | 53.27 | 1.236 | 181.2 | 1.291 | 193.1 | -0.816 | 972.772 | 55.1121 | -0.33623
2020-01-12 23:15:00 | 1.137 | 197.7 | 1.475 | 53.07 | 1.124 | 181.3 | 1.237 | 193.1 | -0.851 | 972.772 | 54.7692 | -0.3547
2020-01-12 23:30:00 | 1.164 | 197.7 | 1.605 | 53.02 | 1.312 | 182.5 | 1.479 | 197.9 | -0.791 | 972.772 | 50.4957 | -0.34731
2020-01-12 23:45:00 | 2.155 | 206.3 | 2.331 | 53.16 | 2.118 | 204 | 2.22 | 211 | -0.781 | 972.475 | 49.2992 | -0.37318