## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-13 00:00:00 | 2.405 | 205.2 | 2.446 | 53.53 | 2.281 | 208.6 | 2.455 | 206.5 | -0.834 | 972.475 | 51.9658 | -0.3584
2020-01-13 00:15:00 | 1.854 | 204.8 | 2.18 | 53.53 | 2.375 | 207.7 | 2.455 | 213.5 | -0.913 | 972.475 | 53.0598 | -0.36579
2020-01-13 00:30:00 | 1.223 | 205 | 1.7 | 53.39 | 1.704 | 212.3 | 1.772 | 216.7 | -0.913 | 972.475 | 59.6923 | -0.3547
2020-01-13 00:45:00 | 0.87 | 206 | 0.669 | 53.07 | 0.9 | 223.3 | 1.039 | 222.9 | -0.82 | 972.178 | 51.8291 | -0.36579
2020-01-13 01:00:00 | 0.554 | 206 | 0.192 | 53.04 | 0.709 | 223.4 | 0.811 | 222.9 | -0.974 | 972.475 | 51.8291 | -0.38426
2020-01-13 01:15:00 | 1.657 | 252 | 1.845 | 52.52 | 1.706 | 225.1 | 1.892 | 249.7 | -0.888 | 972.475 | 61.3334 | -0.39535
2020-01-13 01:30:00 | 0.655 | 252.6 | 1.114 | 293.8 | 1.345 | 246 | 1.479 | 243 | -0.947 | 972.475 | 59.5556 | -0.37687
2020-01-13 01:45:00 | 0 | 251.6 | 1.138 | 293.8 | 1.264 | 246 | 1.329 | 242.8 | -0.959 | 972.326 | 63.3163 | -0.36579
2020-01-13 02:00:00 | 0 | 251.6 | 1.137 | 293.8 | 0.888 | 245.9 | 0.955 | 242.8 | -0.904 | 972.178 | 62.2906 | -0.38426
2020-01-13 02:15:00 | 0 | 251.9 | 1.218 | 293.8 | 1.129 | 245.9 | 1.222 | 243.7 | -0.954 | 972.184 | 60.2393 | -0.37687
2020-01-13 02:30:00 | 0 | 253.1 | 1.022 | 293.8 | 1.081 | 245.9 | 1.115 | 243.9 | -0.815 | 972.031 | 59.8291 | -0.36579
2020-01-13 02:45:00 | 0.834 | 305 | 1.466 | 294.3 | 1.477 | 247.6 | 1.494 | 244.9 | -0.948 | 971.88 | 48.4786 | -0.3547
2020-01-13 03:00:00 | 1.115 | 341.4 | 1.111 | 294.7 | 1.5 | 308.5 | 1.581 | 246.4 | -0.883 | 971.896 | 48.6154 | -0.36579
2020-01-13 03:15:00 | 0.495 | 341.6 | 0.616 | 294.8 | 1.032 | 308.5 | 1.12 | 246.4 | -0.921 | 971.732 | 46.2906 | -0.61334
2020-01-13 03:30:00 | 1.424 | 82.3 | 1.508 | 295.2 | 1.026 | 308.6 | 1.157 | 344.2 | -0.913 | 971.88 | 44.718 | -0.36949
2020-01-13 03:45:00 | 1.826 | 84 | 1.958 | 16.51 | 1.546 | 309 | 1.584 | 344.6 | -0.96 | 971.88 | 44.3761 | -0.37687
2020-01-13 04:00:00 | 1.673 | 84.6 | 1.595 | 0.105 | 1.378 | 310.1 | 1.792 | 353.7 | -1.091 | 971.88 | 42.5983 | -0.37687
2020-01-13 04:15:00 | 1.729 | 84.1 | 1.59 | 0.108 | 1.48 | 316.8 | 1.599 | 355.4 | -1.009 | 971.583 | 43.8291 | -0.39535
2020-01-13 04:30:00 | 2.393 | 84.3 | 2.237 | 1.021 | 2.342 | 0.797 | 2.582 | 356.7 | -0.98 | 971.583 | 45.3333 | -0.42491
2020-01-13 04:45:00 | 2.485 | 5.024 | 3.776 | 1.705 | 2.848 | 8.97 | 2.661 | 6.965 | -1.276 | 971.286 | 44.3077 | -0.41382
2020-01-13 05:00:00 | 2.482 | 19.05 | 3.397 | 1.864 | 3.24 | 23.51 | 3.244 | 19.04 | -1.252 | 971.434 | 45.265 | -0.37318
2020-01-13 05:15:00 | 2.763 | 27.68 | 3.367 | 1.904 | 3.385 | 30.31 | 3.376 | 28.35 | -1.233 | 971.434 | 44.6496 | -0.40643
2020-01-13 05:30:00 | 2.446 | 28 | 2.973 | 1.904 | 2.853 | 33.35 | 2.803 | 29.77 | -1.203 | 971.88 | 46.4274 | -0.40643
2020-01-13 05:45:00 | 2.469 | 25.95 | 2.802 | 1.855 | 2.507 | 33.24 | 2.485 | 28.89 | -1.157 | 971.88 | 48.4103 | -0.37687
2020-01-13 06:00:00 | 1.719 | 25.93 | 2.111 | 1.758 | 1.963 | 30.45 | 1.971 | 29.16 | -1.102 | 971.88 | 51.2137 | -0.38796
2020-01-13 06:15:00 | 1.268 | 33.79 | 1.541 | 47.74 | 1.541 | 53.52 | 1.663 | 36.18 | -1.135 | 971.88 | 50.8376 | -0.36579
2020-01-13 06:30:00 | 0.962 | 39.15 | 1.183 | 69.15 | 0.798 | 66.94 | 0.905 | 46.16 | -1.099 | 972.029 | 50.5983 | -0.38426
2020-01-13 06:45:00 | 0 | 62.98 | 0.06 | 69.29 | 0 | 70.59 | 0 | 46.19 | -1.23 | 972.178 | 51.7607 | -0.37687
2020-01-13 07:00:00 | 0.052 | 104.8 | 0.933 | 69.33 | 0.246 | 73.43 | 0.274 | 46.43 | -1.243 | 972.178 | 51.9658 | -0.3584
2020-01-13 07:15:00 | 0.264 | 133.9 | 1.112 | 69.96 | 0.796 | 75.54 | 0.823 | 117.2 | -1.282 | 972.029 | 54.7692 | -0.37687
2020-01-13 07:30:00 | 0 | 133.9 | 0 | 69.94 | 0 | 75.66 | 0 | 117.7 | -1.229 | 972.475 | 53.812 | -0.37687
2020-01-13 07:45:00 | 0.462 | 133.8 | 0 | 69.79 | 0 | 46.78 | 0 | 117.6 | -1.225 | 972.772 | 51.8291 | -0.38796
2020-01-13 08:00:00 | 1.565 | 133.9 | 1.608 | 69.08 | 0.192 | 343 | 0.025 | 117.3 | -1.364 | 972.772 | 53.6752 | -0.36579
2020-01-13 08:15:00 | 0.331 | 328.6 | 0.924 | 69.03 | 0.673 | 343 | 0.711 | 348.8 | -1.492 | 972.921 | 56.4786 | -0.34731
2020-01-13 08:30:00 | 0 | 328.6 | 0.883 | 69.03 | 0.51 | 343.1 | 0.508 | 348.8 | -1.445 | 973.07 | 58.0504 | -0.34731
2020-01-13 08:45:00 | 0.015 | 311.8 | 0.034 | 69.07 | 0 | 343.1 | 0 | 348.4 | -1.473 | 973.219 | 57.4312 | -0.34731
2020-01-13 09:00:00 | 0 | 311.7 | 0.068 | 69.07 | 0 | 343.2 | 0 | 348.3 | -1.508 | 973.665 | 56.9511 | -0.37687
2020-01-13 09:15:00 | 0 | 311.7 | 0.135 | 69.07 | 0 | 343.2 | 0 | 348.3 | -1.261 | 973.962 | 60.3658 | -0.34731
2020-01-13 09:30:00 | 0 | 311.2 | 0.811 | 69.07 | 0.006 | 343.1 | 0 | 348.3 | -1.53 | 974.111 | 58.9301 | -0.36949
2020-01-13 09:45:00 | 0 | 311.3 | 0.023 | 69.07 | 0 | 343.1 | 0 | 348.3 | -1.502 | 974.111 | 57.5628 | -0.34731
2020-01-13 10:00:00 | 1.675 | 0.005 | 2.07 | 69.01 | 1.493 | 11.17 | 1.813 | 349.5 | -1.88 | 974.259 | 62.28 | -0.34731
2020-01-13 10:15:00 | 1.259 | 357.4 | 2.047 | 68.59 | 2.167 | 13.17 | 2.544 | 356.8 | -2.273 | 973.962 | 62.7585 | -0.41752
2020-01-13 10:30:00 | 1.928 | 12.85 | 2.687 | 68.35 | 2.413 | 359.7 | 2.885 | 356.8 | -2.371 | 973.962 | 64.0574 | -0.39165
2020-01-13 10:45:00 | 1.627 | 359.9 | 2.669 | 68.16 | 3.1 | 3.428 | 3.262 | 356.8 | -2.333 | 973.813 | 78.414 | -0.28081
2020-01-13 11:00:00 | 2.324 | 356.7 | 2.922 | 68.02 | 2.515 | 13.66 | 2.661 | 73.51 | -3.332 | 973.665 | 89.5586 | 0.15518
2020-01-13 11:15:00 | 3.731 | 15.36 | 3.433 | 67.77 | 3.616 | 21.39 | 3.98 | 4.04 | -4.516 | 973.07 | 96.3414 | 0.93849
2020-01-13 11:30:00 | 2.605 | 354 | 3.111 | 14.15 | 4.148 | 17.81 | 4.179 | 353.6 | -4.659 | 972.921 | 91.0085 | 1.4779
2020-01-13 11:45:00 | 2.873 | 5.928 | 3.53 | 23.97 | 4.422 | 22.17 | 4.752 | 359.2 | -4.586 | 972.475 | 92.4786 | 1.9065
2020-01-13 12:00:00 | 3.085 | 10.12 | 4.446 | 29.05 | 3.868 | 18.38 | 3.537 | 7.934 | -4.274 | 972.475 | 79.2478 | 0.83873
2020-01-13 12:15:00 | 2.702 | 26.22 | 3.436 | 45.47 | 3.843 | 29.47 | 3.929 | 26.82 | -3.872 | 972.478 | 84.2393 | 0.60965
2020-01-13 12:30:00 | 2.533 | 15.88 | 2.988 | 28.41 | 3.232 | 13.32 | 3.389 | 24.48 | -3.761 | 972.178 | 86.3932 | 0.58379
2020-01-13 12:45:00 | 1.593 | 8.37 | 2.753 | 23.18 | 2.912 | 19.97 | 2.88 | 7.246 | -3.361 | 972.475 | 82.735 | -0.31037
2020-01-13 13:00:00 | 1.498 | 11.83 | 1.564 | 22.54 | 1.612 | 4.108 | 1.726 | 14.78 | -3.237 | 972.326 | 86.906 | -0.31406
2020-01-13 13:15:00 | 0.698 | 17.35 | 0.955 | 23.08 | 1.086 | 15.88 | 1.201 | 21.24 | -3.068 | 972.475 | 90.7692 | -0.32145
2020-01-13 13:30:00 | 0.985 | 8.21 | 1.549 | 22.84 | 1.255 | 2.57 | 1.263 | 17.13 | -3.281 | 972.178 | 93.8098 | -0.32145
2020-01-13 13:45:00 | 0.984 | 6.592 | 2.157 | 23.38 | 1.877 | 356.7 | 2.001 | 349.5 | -3.327 | 972.475 | 94.3568 | -0.33254
2020-01-13 14:00:00 | 1.562 | 16.32 | 2.978 | 25.98 | 3.308 | 21.29 | 3.094 | 20.54 | -3.33 | 972.475 | 84.7165 | -0.32515
2020-01-13 14:15:00 | 1.677 | 23.44 | 2.666 | 36.42 | 3.118 | 16.76 | 3.117 | 28.53 | -2.979 | 972.475 | 84.7862 | -0.33254
2020-01-13 14:30:00 | 1.598 | 6.203 | 1.373 | 4.558 | 1.114 | 344.5 | 1.017 | 356.8 | -2.606 | 972.475 | 90.188 | -0.3584
2020-01-13 14:45:00 | 1.518 | 9.9 | 1.617 | 12.49 | 1.361 | 323.5 | 1.274 | 3.582 | -2.393 | 972.772 | 89.3622 | -0.39904
2020-01-13 15:00:00 | 0.973 | 25.43 | 1.885 | 29.08 | 1.326 | 28.1 | 1.216 | 11.99 | -2.616 | 972.921 | 89.6972 | -0.38796
2020-01-13 15:15:00 | 2.735 | 351.9 | 2.71 | 339.7 | 2.345 | 317.4 | 2.276 | 351.3 | -2.547 | 973.07 | 92.9758 | -0.37687
2020-01-13 15:30:00 | 1.992 | 347.8 | 2.516 | 9.52 | 2.866 | 337.2 | 2.982 | 341.1 | -2.726 | 972.921 | 94.4831 | -0.13671
2020-01-13 15:45:00 | 2.071 | 333.4 | 2.37 | 353.2 | 2.701 | 335 | 2.735 | 336.2 | -2.746 | 973.07 | 95.9293 | 0.014779
2020-01-13 16:00:00 | 2.336 | 332.2 | 2.572 | 345.6 | 3.324 | 345.2 | 3.496 | 331 | -2.801 | 972.921 | 96.752 | -0.10346
2020-01-13 16:15:00 | 2.281 | 340.2 | 2.704 | 357.8 | 2.754 | 344 | 3.03 | 336.6 | -2.782 | 972.921 | 96.9572 | -0.1441
2020-01-13 16:30:00 | 2.353 | 325.3 | 2.49 | 345.6 | 3.092 | 336.7 | 3.213 | 327.3 | -2.802 | 972.772 | 97.1966 | 0.18105
2020-01-13 16:45:00 | 2.587 | 330.5 | 3.034 | 342.7 | 3.868 | 350.8 | 4.033 | 334.3 | -2.867 | 973.07 | 97.8461 | 0.84612
2020-01-13 17:00:00 | 2.804 | 338.3 | 3.272 | 355.7 | 3.405 | 355.4 | 3.336 | 338.5 | -2.958 | 973.07 | 98.188 | 2.4866
2020-01-13 17:15:00 | 2.865 | 338.4 | 3.404 | 359.3 | 3.235 | 350.2 | 3.308 | 336.5 | -3.01 | 973.367 | 98.359 | 3.7614
2020-01-13 17:30:00 | 3.138 | 340.7 | 3.392 | 2.036 | 3.502 | 348.2 | 3.43 | 337.7 | -3.078 | 973.367 | 98.2222 | 3.5766
2020-01-13 17:45:00 | 2.571 | 336.5 | 3.014 | 351.5 | 2.427 | 347.8 | 2.553 | 333.1 | -3.144 | 973.697 | 98.5299 | 3.3069
2020-01-13 18:00:00 | 2.949 | 353.9 | 3.468 | 17.85 | 3.748 | 0.534 | 3.781 | 346.7 | -3.238 | 973.665 | 98.8718 | 4.5484
2020-01-13 18:15:00 | 2.796 | 351.5 | 3.065 | 8.53 | 3.929 | 0.925 | 4.049 | 346.5 | -3.281 | 973.813 | 99.077 | 6.4586
2020-01-13 18:30:00 | 2.673 | 352.2 | 2.728 | 19.18 | 3.812 | 358.6 | 4.051 | 346.1 | -3.298 | 973.665 | 99.2138 | 7.4525
2020-01-13 18:45:00 | 2.135 | 358.5 | 2.567 | 21.72 | 3.335 | 1.325 | 3.528 | 345.5 | -3.405 | 973.665 | 99.2187 | 9.8763
2020-01-13 19:00:00 | 3.593 | 353.5 | 4.042 | 13.31 | 4.829 | 15.69 | 4.925 | 351.2 | -3.585 | 973.674 | 99.0165 | 8.7014
2020-01-13 19:15:00 | 3.621 | 356 | 3.932 | 15.86 | 4.931 | 15.75 | 5.095 | 354.5 | -3.748 | 973.967 | 98.8542 | 11.4429
2020-01-13 19:30:00 | 3.531 | 344.3 | 3.904 | 10.35 | 5.038 | 10.53 | 5.258 | 344.9 | -3.819 | 974.353 | 98.6835 | 13.7707
2020-01-13 19:45:00 | 2.97 | 347.7 | 3.581 | 10.81 | 4.941 | 6.467 | 5.093 | 347.5 | -3.946 | 974.352 | 98.3445 | 13.5896
2020-01-13 20:00:00 | 4.024 | 1.347 | 4.295 | 16.96 | 5.094 | 10.43 | 5.508 | 359 | -4.067 | 974.234 | 98.2131 | 11.6831
2020-01-13 20:15:00 | 3.552 | 8.39 | 4.387 | 26.8 | 3.848 | 16.58 | 3.855 | 8.12 | -4.087 | 974.435 | 98.837 | 8.1028
2020-01-13 20:30:00 | 3.537 | 12.14 | 4.417 | 29.11 | 4.517 | 14.39 | 4.637 | 13.82 | -4.092 | 974.564 | 98.529 | 5.6679
2020-01-13 20:45:00 | 3.434 | 10.53 | 4.208 | 32.25 | 4.27 | 18.22 | 4.441 | 12.52 | -4.156 | 974.816 | 97.4692 | 5.1691
2020-01-13 21:00:00 | 3.268 | 7.956 | 4.43 | 25.71 | 4.211 | 11.03 | 4.375 | 13.36 | -4.121 | 975.15 | 95.7592 | 3.9535
2020-01-13 21:15:00 | 3.917 | 10.26 | 3.379 | 11.56 | 3.133 | 353.4 | 3.135 | 6.12 | -4.02 | 975.451 | 95.8276 | 6.8059
2020-01-13 21:30:00 | 3.493 | 353.3 | 4.241 | 5.016 | 4.834 | 359.2 | 4.988 | 358 | -4.342 | 975.451 | 95.4856 | 8.1139
2020-01-13 21:45:00 | 3.621 | 344.2 | 4.32 | 2.817 | 4.916 | 356.4 | 4.996 | 349 | -4.608 | 975.451 | 95.4172 | 12.7103
2020-01-13 22:00:00 | 3.743 | 5.373 | 4.116 | 12 | 4.623 | 2.437 | 4.988 | 2.536 | -4.721 | 975.451 | 95.8276 | 12.762
2020-01-13 22:15:00 | 3.279 | 7.496 | 3.722 | 21.95 | 3.911 | 13.06 | 3.832 | 7.103 | -4.905 | 975.451 | 96.58 | 11.576
2020-01-13 22:30:00 | 3.276 | 13.37 | 4.632 | 26.13 | 4.654 | 13.53 | 4.505 | 13.8 | -5.062 | 975.451 | 97.4008 | 9.7618
2020-01-13 22:45:00 | 3.519 | 16.58 | 4.302 | 35.42 | 4.997 | 20.73 | 4.739 | 17.47 | -5.034 | 975.302 | 97.1272 | 13.3014
2020-01-13 23:00:00 | 3.667 | 11.58 | 4.857 | 29.7 | 5.425 | 20.39 | 5.062 | 13.47 | -4.778 | 975.451 | 94.3255 | 13.4751
2020-01-13 23:15:00 | 3.411 | 9.18 | 5.261 | 25.39 | 5.305 | 11.7 | 4.836 | 10.71 | -4.547 | 975.451 | 86.9377 | 10.0204
2020-01-13 23:30:00 | 3.588 | 7.199 | 5.438 | 23.91 | 4.804 | 9.26 | 4.584 | 8.89 | -4.267 | 975.451 | 85.4317 | 10.1017
2020-01-13 23:45:00 | 3.815 | 8.26 | 5.023 | 21.65 | 4.796 | 9.83 | 4.629 | 7.599 | -4.345 | 975.6 | 84.8155 | 11.5501