## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-15 00:00:00 | 1.935 | 145.4 | 3.101 | 158.6 | 2.67 | 147.1 | 2.539 | 158.9 | -2.777 | 977.758 | 44.3912 | -0.32884
2020-01-15 00:15:00 | 1.65 | 159.5 | 2.336 | 159.9 | 1.603 | 140.3 | 1.612 | 177.5 | -2.407 | 977.937 | 43.0567 | -0.32884
2020-01-15 00:30:00 | 0.685 | 167 | 2.024 | 160.6 | 1.439 | 155 | 1.505 | 190 | -2.411 | 977.986 | 43.091 | -0.31776
2020-01-15 00:45:00 | 1.321 | 170.2 | 1.295 | 160.6 | 0.608 | 148 | 0.764 | 181.5 | -2.279 | 978.09 | 41.5527 | -0.32884
2020-01-15 01:00:00 | 1.023 | 175.8 | 1.424 | 160.6 | 1.184 | 148.1 | 1.349 | 217.6 | -2.161 | 977.99 | 41.1081 | -0.33623
2020-01-15 01:15:00 | 1.125 | 176.1 | 1.631 | 160.6 | 1.64 | 148.1 | 1.848 | 213.6 | -2.288 | 978.095 | 41.1422 | -0.34731
2020-01-15 01:30:00 | 1.273 | 176.3 | 1.715 | 160.8 | 1.798 | 152.7 | 1.932 | 213.6 | -2.247 | 977.885 | 41.1078 | -0.37687
2020-01-15 01:45:00 | 1.307 | 176.4 | 1.909 | 161 | 1.864 | 160.4 | 1.981 | 213.7 | -2.312 | 977.951 | 41.1033 | -0.32884
2020-01-15 02:00:00 | 1.005 | 176.7 | 1.83 | 190.5 | 1.782 | 177.1 | 1.882 | 204.2 | -2.358 | 978.006 | 42.0589 | -0.34731
2020-01-15 02:15:00 | 0.138 | 176.5 | 0.859 | 189.9 | 0.103 | 168.5 | 0.357 | 198.3 | -2.384 | 977.72 | 40.4867 | -0.33993
2020-01-15 02:30:00 | 0.368 | 176.5 | 0.867 | 189.9 | 0.221 | 168.5 | 0 | 198.4 | -2.24 | 977.782 | 40.5577 | -0.059118
2020-01-15 02:45:00 | 0.246 | 176.5 | 0.24 | 189.9 | 0 | 168.5 | 0 | 198.3 | -2.247 | 977.551 | 40.2179 | 0.21061
2020-01-15 03:00:00 | 0.007 | 176.5 | 0.27 | 189.9 | 0 | 168.5 | 0 | 198.3 | -2.243 | 977.65 | 39.6031 | 0.56901
2020-01-15 03:15:00 | 2.148 | 103.6 | 1.69 | 189 | 0.074 | 80.3 | 0.006 | 190.1 | -2.354 | 977.408 | 42.2709 | 1.1491
2020-01-15 03:30:00 | 2.564 | 73.64 | 3.167 | 91.5 | 2.154 | 70.31 | 2.126 | 73.01 | -2.727 | 977.101 | 45.4856 | 1.8179
2020-01-15 03:45:00 | 2.709 | 59.05 | 2.469 | 82.1 | 1.795 | 73.56 | 1.726 | 61.21 | -2.395 | 977.111 | 44.3208 | 1.8363
2020-01-15 04:00:00 | 2.73 | 70.19 | 2.313 | 94.9 | 1.171 | 81.6 | 1.19 | 70.14 | -2.378 | 976.84 | 43.9089 | 1.973
2020-01-15 04:15:00 | 1.467 | 99 | 2.201 | 119.8 | 1.714 | 104.9 | 1.869 | 99.6 | -2.402 | 976.79 | 44.589 | 3.0039
2020-01-15 04:30:00 | 0.096 | 109.9 | 0.587 | 119 | 0.537 | 111.4 | 0.568 | 122 | -2.538 | 976.609 | 45.2396 | 4.0015
2020-01-15 04:45:00 | 2.092 | 124.2 | 2.83 | 157.3 | 2.159 | 146.4 | 2.011 | 140 | -2.703 | 976.626 | 45.8242 | 4.1789
2020-01-15 05:00:00 | 3.932 | 120 | 4.343 | 136.2 | 3.08 | 121.5 | 2.966 | 128.8 | -3.108 | 976.716 | 48.4264 | 6.684
2020-01-15 05:15:00 | 1.744 | 98.4 | 2.896 | 105.7 | 2.724 | 64.17 | 2.724 | 114.1 | -3.177 | 976.717 | 50.0684 | 9.7692
2020-01-15 05:30:00 | 1.067 | 95.8 | 2.569 | 105.9 | 3.016 | 46.75 | 3.094 | 108.3 | -3.319 | 976.829 | 51.0944 | 10.2532
2020-01-15 05:45:00 | 2.643 | 91.6 | 3.277 | 92.9 | 2.991 | 55.49 | 2.875 | 102.3 | -3.355 | 976.909 | 51.539 | 8.8529
2020-01-15 06:00:00 | 2.564 | 96.8 | 3.62 | 113 | 3.453 | 98.9 | 3.514 | 102.7 | -3.103 | 977.236 | 53.2832 | 8.827
2020-01-15 06:15:00 | 2.96 | 103.8 | 3.103 | 111.8 | 2.528 | 89.2 | 2.513 | 115.2 | -3.189 | 977.075 | 50.8208 | 9.3369
2020-01-15 06:30:00 | 1.283 | 135 | 1.897 | 162.2 | 2.853 | 163.7 | 2.936 | 133.6 | -3.303 | 977.197 | 55.0616 | 12.0748
2020-01-15 06:45:00 | 0.78 | 110.3 | 1.598 | 86.7 | 3.013 | 28.08 | 3.282 | 120.3 | -3.604 | 977.236 | 56.4637 | 12.9061
2020-01-15 07:00:00 | 2.597 | 118.4 | 4.044 | 129.2 | 4.105 | 104.1 | 3.957 | 127.7 | -3.64 | 976.939 | 53.6252 | 14.1808
2020-01-15 07:15:00 | 1.253 | 119.6 | 2.662 | 123.4 | 3.573 | 89.6 | 3.534 | 126.6 | -3.529 | 976.939 | 56.0876 | 16.5972
2020-01-15 07:30:00 | 1.034 | 116.6 | 1.805 | 131.4 | 2.555 | 120.2 | 2.694 | 126.2 | -3.725 | 977.236 | 58.3447 | 17.9496
2020-01-15 07:45:00 | 3.748 | 126.3 | 5.023 | 137.4 | 3.784 | 127.9 | 3.685 | 137.1 | -3.719 | 977.212 | 62.9275 | 16.0245
2020-01-15 08:00:00 | 3.143 | 126.3 | 4.566 | 138.5 | 3.802 | 127.9 | 3.756 | 135.1 | -3.704 | 977.368 | 62.0363 | 14.953
2020-01-15 08:15:00 | 4.788 | 128.3 | 5.376 | 139.4 | 4.313 | 120.8 | 4.148 | 136.6 | -3.163 | 977.37 | 57.1389 | 12.847
2020-01-15 08:30:00 | 5.344 | 133.7 | 5.489 | 144.2 | 4.99 | 124.7 | 4.897 | 141.6 | -2.995 | 977.835 | 60.8609 | 13.4455
2020-01-15 08:45:00 | 4.341 | 132.4 | 4.873 | 148.7 | 4.717 | 139.5 | 4.688 | 141.1 | -2.934 | 978.424 | 62.4958 | 13.4788
2020-01-15 09:00:00 | 4.476 | 137.3 | 4.737 | 152.4 | 4.58 | 142.3 | 4.528 | 143.8 | -2.829 | 978.422 | 62.0128 | 17.1847
2020-01-15 09:15:00 | 5.431 | 130.7 | 5.588 | 144.7 | 5.712 | 129.9 | 5.679 | 136.4 | -3.006 | 978.571 | 62.9637 | 15.2154
2020-01-15 09:30:00 | 4.295 | 119.6 | 5.039 | 136.5 | 4.702 | 134.5 | 4.629 | 127.8 | -2.849 | 979.017 | 61.9381 | 8.4575
2020-01-15 09:45:00 | 4.126 | 124.2 | 4.075 | 142.5 | 4.028 | 136.2 | 4.09 | 129 | -2.529 | 979.612 | 61.1861 | 7.737
2020-01-15 10:00:00 | 3.705 | 131.7 | 3.709 | 154.8 | 3.268 | 152.9 | 3.247 | 129.6 | -2.026 | 980.207 | 59.6813 | 6.3736
2020-01-15 10:15:00 | 3.478 | 135.6 | 3.615 | 151.8 | 3.069 | 149.4 | 2.961 | 137.3 | -1.519 | 980.504 | 58.6566 | 2.8931
2020-01-15 10:30:00 | 2.532 | 146.6 | 2.702 | 162.4 | 1.851 | 156.1 | 1.746 | 146.5 | -0.838 | 980.506 | 53.5851 | 0.80917
2020-01-15 10:45:00 | 1.996 | 143.6 | 2.103 | 162.6 | 1.6 | 166.9 | 1.56 | 151.9 | -0.081 | 980.798 | 50.1623 | 0.18105
2020-01-15 11:00:00 | 1.366 | 174.6 | 1.551 | 181 | 1.232 | 155.4 | 1.296 | 162.8 | -0.201 | 980.798 | 49.271 | -0.17366
2020-01-15 11:15:00 | 1.826 | 120.3 | 1.819 | 137 | 0.407 | 157.6 | 0.283 | 115 | -0.014 | 980.756 | 49.6408 | -0.25494
2020-01-15 11:30:00 | 1.469 | 204.7 | 1.854 | 199.1 | 0.985 | 191.4 | 0.993 | 194.3 | 0.345 | 980.511 | 49.9062 | -0.31406
2020-01-15 11:45:00 | 1.601 | 296.8 | 1.752 | 307 | 1.374 | 272.5 | 1.394 | 306.9 | 0.265 | 980.349 | 52.5363 | -0.28081
2020-01-15 12:00:00 | 2.758 | 267.4 | 2.776 | 279.4 | 2.586 | 265.9 | 2.587 | 262.5 | -0.479 | 980.201 | 53.3561 | -0.29928
2020-01-15 12:15:00 | 2.273 | 266.4 | 2.113 | 274.5 | 2.079 | 265 | 1.991 | 264.4 | -0.239 | 979.904 | 53.8685 | -0.2882
2020-01-15 12:30:00 | 1.894 | 277.2 | 2.024 | 285.1 | 1.871 | 268.6 | 1.869 | 273.6 | -0.212 | 979.755 | 53.2878 | -0.29928
2020-01-15 12:45:00 | 1.875 | 273 | 2.285 | 271.1 | 1.631 | 259 | 1.484 | 280.6 | 0.223 | 979.755 | 52.8091 | -0.2882
2020-01-15 13:00:00 | 1.917 | 155.3 | 1.922 | 180.1 | 1.017 | 183.5 | 1.012 | 163.2 | 0.627 | 979.755 | 49.5934 | -0.29928
2020-01-15 13:15:00 | 2.084 | 321.3 | 2.595 | 313.2 | 2.447 | 277 | 2.405 | 338.1 | 0.797 | 979.607 | 54.0998 | -0.2882
2020-01-15 13:30:00 | 1.404 | 341 | 1.995 | 345.4 | 2.038 | 297.1 | 1.983 | 2.108 | 0.967 | 979.607 | 55.0545 | -0.28081
2020-01-15 13:45:00 | 0.939 | 21.23 | 1.776 | 22.27 | 3.152 | 343.9 | 3.129 | 21.33 | 0.534 | 979.012 | 57.1088 | -0.32145
2020-01-15 14:00:00 | 2.417 | 13.87 | 3.506 | 32.13 | 3.298 | 8.25 | 3.081 | 7.141 | -0.008 | 978.715 | 58.1383 | -0.062812
2020-01-15 14:15:00 | 1.832 | 15.47 | 3.09 | 30.01 | 2.593 | 9.35 | 2.532 | 10.25 | -0.298 | 978.418 | 57.0453 | 0.37687
2020-01-15 14:30:00 | 1.273 | 21.46 | 2.154 | 13.54 | 2.22 | 7.238 | 2.109 | 21.6 | -0.471 | 978.17 | 56.8403 | 0.38796
2020-01-15 14:45:00 | 0.737 | 26.56 | 2.157 | 15.64 | 2.734 | 342.6 | 2.503 | 21.26 | -0.786 | 978.084 | 56.239 | 0.11454
2020-01-15 15:00:00 | 2.139 | 14.08 | 3.006 | 31.62 | 2.813 | 17.93 | 2.844 | 8.94 | -1.065 | 978.122 | 57.9845 | 0.56162
2020-01-15 15:15:00 | 1.335 | 7.124 | 2.24 | 31.43 | 2.258 | 25.82 | 2.332 | 356.1 | -1.233 | 977.823 | 58.8416 | 0.22539
2020-01-15 15:30:00 | 2.842 | 16.41 | 2.876 | 44.24 | 2.105 | 33.06 | 2.271 | 356 | -1.164 | 977.677 | 56.3813 | 0.25494
2020-01-15 15:45:00 | 2.73 | 23.46 | 2.932 | 20.18 | 2.545 | 10.77 | 2.704 | 7.914 | -1.522 | 977.379 | 55.365 | 0.34731
2020-01-15 16:00:00 | 2.758 | 0.278 | 2.398 | 24.28 | 2.401 | 16.71 | 2.475 | 349.9 | -1.568 | 977.644 | 56.1268 | 0.048033
2020-01-15 16:15:00 | 2.248 | 343.2 | 2.55 | 17.01 | 2.553 | 18.64 | 2.658 | 344.7 | -1.639 | 977.678 | 56.4006 | 0.059118
2020-01-15 16:30:00 | 2.661 | 359.8 | 2.83 | 10.05 | 2.355 | 5.611 | 2.61 | 13.62 | -1.767 | 977.53 | 55.9221 | 0.099761
2020-01-15 16:45:00 | 1.516 | 344 | 2.17 | 8.04 | 2.141 | 1.534 | 2.162 | 352.7 | -1.837 | 977.53 | 58.2464 | 0.081287
2020-01-15 17:00:00 | 2.291 | 347.7 | 2.32 | 6.209 | 2.736 | 355.1 | 2.786 | 348.7 | -1.974 | 977.678 | 59.7505 | 0.6466
2020-01-15 17:15:00 | 2.564 | 15.3 | 3.101 | 13.63 | 2.777 | 6.131 | 2.597 | 3.879 | -2.027 | 977.678 | 58.6617 | 0.787
2020-01-15 17:30:00 | 2.653 | 2.017 | 2.832 | 16.81 | 2.543 | 4.915 | 2.505 | 9.89 | -2.017 | 977.827 | 58.7348 | 0.54684
2020-01-15 17:45:00 | 2.237 | 12.73 | 2.84 | 27.43 | 2.711 | 16.49 | 2.786 | 21.81 | -2.049 | 978.125 | 59.3504 | 0.24016
2020-01-15 18:00:00 | 2.13 | 4.289 | 2.592 | 26.42 | 2.154 | 3.599 | 2.342 | 13.19 | -2.051 | 977.827 | 59.7265 | 0.12193
2020-01-15 18:15:00 | 2.132 | 3.631 | 2.359 | 16.6 | 2.444 | 7.463 | 2.569 | 14.3 | -2.051 | 977.827 | 61.3333 | 0.081287
2020-01-15 18:30:00 | 2.109 | 0.548 | 2.735 | 11.68 | 2.472 | 1.266 | 2.182 | 6.679 | -2.116 | 977.827 | 61.8803 | 0.12193
2020-01-15 18:45:00 | 2.057 | 3.704 | 2.745 | 19.59 | 2.215 | 11.83 | 2.391 | 9.6 | -2.138 | 977.827 | 62.7692 | 0.12562
2020-01-15 19:00:00 | 1.979 | 356.2 | 2.485 | 13.29 | 2.357 | 3.575 | 2.213 | 7.628 | -2.247 | 978.125 | 64.1026 | 0.24016
2020-01-15 19:15:00 | 2.153 | 2.164 | 2.288 | 13.94 | 1.704 | 3.781 | 1.663 | 9.55 | -2.254 | 978.125 | 64.6837 | 0.28081
2020-01-15 19:30:00 | 2.234 | 4.458 | 2.786 | 18.56 | 1.945 | 3.181 | 1.989 | 10.64 | -2.316 | 978.125 | 64.6154 | 0.17366
2020-01-15 19:45:00 | 2.257 | 7.253 | 2.988 | 24.18 | 2.187 | 4.445 | 2.518 | 12.32 | -2.322 | 978.422 | 64.1367 | 0.11824
2020-01-15 20:00:00 | 2.296 | 9.08 | 3.377 | 24.42 | 2.566 | 7.281 | 2.526 | 12.31 | -2.368 | 978.273 | 64.6154 | 0.42121
2020-01-15 20:15:00 | 2.929 | 4.419 | 3.781 | 24.26 | 2.685 | 6.252 | 3.04 | 12.3 | -2.442 | 978.273 | 62.7008 | 0.99022
2020-01-15 20:30:00 | 3.465 | 9.44 | 3.748 | 17.23 | 4.089 | 5.758 | 4.688 | 0.272 | -2.416 | 978.422 | 64.4102 | 2.6788
2020-01-15 20:45:00 | 3.235 | 2.391 | 4.07 | 17.98 | 4.402 | 6.951 | 3.567 | 3.17 | -2.478 | 978.125 | 63.9316 | 3.1591
2020-01-15 21:00:00 | 3.113 | 5.814 | 3.847 | 28.58 | 3.954 | 14.61 | 3.066 | 7.126 | -2.47 | 978.273 | 64.2735 | 2.2391
2020-01-15 21:15:00 | 2.811 | 1.632 | 3.753 | 20.57 | 4.066 | 8.25 | 3.522 | 2.974 | -2.39 | 978.422 | 61.1624 | 2.7711
2020-01-15 21:30:00 | 3.08 | 7.784 | 3.929 | 26.83 | 2.975 | 16.93 | 2.979 | 9.76 | -2.459 | 978.422 | 62.359 | 2.3536
2020-01-15 21:45:00 | 2.888 | 2.495 | 3.773 | 19.41 | 3.944 | 9.14 | 2.946 | 7.216 | -2.402 | 978.422 | 62.0171 | 2.2834
2020-01-15 22:00:00 | 2.495 | 0.586 | 3.63 | 19.6 | 3.883 | 9.19 | 3.173 | 5.759 | -2.414 | 978.422 | 61.5043 | 1.7366
2020-01-15 22:15:00 | 3.345 | 10.15 | 4.016 | 27.1 | 3.102 | 14.34 | 2.74 | 9.59 | -2.386 | 978.422 | 62.0171 | 1.3634
2020-01-15 22:30:00 | 3.304 | 14.2 | 3.865 | 30.2 | 3.751 | 20.83 | 3.595 | 13.25 | -2.529 | 978.422 | 62.1197 | 0.88676
2020-01-15 22:45:00 | 3.105 | 14.97 | 3.791 | 35.29 | 3.596 | 19.56 | 3.43 | 14.79 | -2.461 | 978.422 | 59.4188 | 1.393
2020-01-15 23:00:00 | 3.202 | 17.41 | 3.727 | 40.24 | 3.944 | 26.05 | 4.028 | 18.57 | -2.408 | 978.275 | 58.8034 | 1.3597
2020-01-15 23:15:00 | 2.939 | 15.17 | 3.405 | 40.01 | 3.525 | 22.75 | 3.264 | 16.52 | -2.336 | 978.125 | 56.3419 | 0.90893
2020-01-15 23:30:00 | 2.753 | 11.35 | 3.466 | 39.01 | 2.556 | 18.24 | 2.312 | 11.37 | -2.323 | 978.129 | 55.7265 | 0.74636
2020-01-15 23:45:00 | 3.09 | 11.82 | 3.75 | 38.76 | 3.138 | 19.83 | 2.791 | 11.84 | -2.263 | 977.828 | 54.4957 | 1.0456