## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-16 00:00:00 | 3.082 | 12.6 | 3.765 | 38.95 | 3.311 | 22.02 | 2.811 | 11.73 | -2.248 | 977.828 | 55.1111 | 1.5001
2020-01-16 00:15:00 | 3.028 | 14.51 | 3.804 | 39.76 | 4.252 | 20.37 | 4.316 | 17.31 | -2.256 | 977.679 | 55.7949 | 2.2169
2020-01-16 00:30:00 | 3.222 | 15.28 | 4.159 | 39.45 | 4.55 | 19.17 | 4.578 | 16.9 | -2.251 | 977.53 | 55.2479 | 3.366
2020-01-16 00:45:00 | 3.261 | 13.93 | 4.269 | 38.8 | 4.865 | 19.75 | 4.803 | 16.18 | -2.186 | 977.233 | 54.2906 | 5.0841
2020-01-16 01:00:00 | 3.309 | 15.33 | 4.481 | 33.83 | 4.723 | 16.18 | 4.675 | 17.75 | -2.107 | 977.233 | 53.8122 | 4.8292
2020-01-16 01:15:00 | 3.442 | 14.38 | 4.665 | 28.19 | 4.916 | 17.41 | 4.846 | 20.2 | -2.048 | 977.233 | 54.359 | 4.1863
2020-01-16 01:30:00 | 2.589 | 21.11 | 3.477 | 33.85 | 3.993 | 18.53 | 4.077 | 28.92 | -2.187 | 977.382 | 55.8633 | 2.2428
2020-01-16 01:45:00 | 2.972 | 21.62 | 3.904 | 41.27 | 4.064 | 18.23 | 4.118 | 28.45 | -2.018 | 977.53 | 52.9915 | 1.2193
2020-01-16 02:00:00 | 2.707 | 22.59 | 3.548 | 41.36 | 3.771 | 15.63 | 3.904 | 25.79 | -1.982 | 977.828 | 53.3333 | 0.2882
2020-01-16 02:15:00 | 2.579 | 22.96 | 3.413 | 42.01 | 3.649 | 17.76 | 3.761 | 27.6 | -1.826 | 977.828 | 52.6496 | 0.4286
2020-01-16 02:30:00 | 2.937 | 15.18 | 3.604 | 41.02 | 3.825 | 11.94 | 3.972 | 19.69 | -1.948 | 977.679 | 53.7436 | 0.67246
2020-01-16 02:45:00 | 3.087 | 19.3 | 3.927 | 41.33 | 4.051 | 19.57 | 4.214 | 29.83 | -2.051 | 977.382 | 55.8633 | 0.52097
2020-01-16 03:00:00 | 2.888 | 19.6 | 3.898 | 41.29 | 4.186 | 15.61 | 4.258 | 28.83 | -2.504 | 977.233 | 60.5813 | -0.0073897
2020-01-16 03:15:00 | 2.86 | 28.75 | 3.615 | 42.23 | 4.028 | 22.29 | 4.112 | 36.73 | -2.44 | 977.233 | 54.2906 | -0.33993
2020-01-16 03:30:00 | 2.388 | 33.73 | 3.131 | 42.54 | 3.479 | 30.33 | 3.595 | 36.53 | -1.744 | 977.233 | 52.6496 | -0.25494
2020-01-16 03:45:00 | 2.365 | 31.56 | 3.257 | 42.46 | 3.176 | 31.88 | 3.234 | 33.96 | -1.695 | 977.53 | 52.7863 | -0.24386
2020-01-16 04:00:00 | 2.62 | 16.54 | 3.272 | 41.22 | 3.451 | 18.88 | 3.588 | 21.59 | -1.503 | 977.53 | 52.171 | -0.25125
2020-01-16 04:15:00 | 1.854 | 6.892 | 2.474 | 41.02 | 3.074 | 5.784 | 3.163 | 16.83 | -1.663 | 977.382 | 53.7436 | -0.26233
2020-01-16 04:30:00 | 2.515 | 3.975 | 3.032 | 20.32 | 3.232 | 12.63 | 3.641 | 12.48 | -2.489 | 977.233 | 60.9915 | -0.070202
2020-01-16 04:45:00 | 2.753 | 22.31 | 3.998 | 29.22 | 4.265 | 23.34 | 4.385 | 31.37 | -2.53 | 976.936 | 59.8291 | 0.94219
2020-01-16 05:00:00 | 2.239 | 28.59 | 3.515 | 29.88 | 4.232 | 20.84 | 4.286 | 35.46 | -1.779 | 977.233 | 54.4957 | 0.1441
2020-01-16 05:15:00 | 2.668 | 27.57 | 3.858 | 30.17 | 4.341 | 20.13 | 4.372 | 31.46 | -1.69 | 977.233 | 55.1111 | 0.16627
2020-01-16 05:30:00 | 2.209 | 22.91 | 3.413 | 29.11 | 3.807 | 8.86 | 3.906 | 30.79 | -1.785 | 977.233 | 55.7949 | -0.12193
2020-01-16 05:45:00 | 2.617 | 6.206 | 2.73 | 27.61 | 2.97 | 2.087 | 3.305 | 18.79 | -1.787 | 977.233 | 56.1368 | -0.12193
2020-01-16 06:00:00 | 2.121 | 3.933 | 3.246 | 18.04 | 2.54 | 4.404 | 2.793 | 11.66 | -2.08 | 977.382 | 59.4188 | -0.025864
2020-01-16 06:15:00 | 2.834 | 9.73 | 3.819 | 24.43 | 3.746 | 13.14 | 3.832 | 22.64 | -2.251 | 977.382 | 59.9658 | 0.41013
2020-01-16 06:30:00 | 2.635 | 15.13 | 3.916 | 24.51 | 3.954 | 11.49 | 4.018 | 22.9 | -2.246 | 977.53 | 62.2222 | 0.52836
2020-01-16 06:45:00 | 2.681 | 18.3 | 3.612 | 24.35 | 3.876 | 11.77 | 3.977 | 24.88 | -2.267 | 977.53 | 60.1026 | 0.48772
2020-01-16 07:00:00 | 2.071 | 10.57 | 3.454 | 23.64 | 3.425 | 11.34 | 3.588 | 20.4 | -2.326 | 977.828 | 62.4957 | 0.10715
2020-01-16 07:15:00 | 2.446 | 4.971 | 2.873 | 17.35 | 2.642 | 7.368 | 2.646 | 14.37 | -2.656 | 978.125 | 67.7949 | 0.20322
2020-01-16 07:30:00 | 2.416 | 12.79 | 3.627 | 15.36 | 3.191 | 11.96 | 3.292 | 22.99 | -2.519 | 978.274 | 61.5043 | 0.2143
2020-01-16 07:45:00 | 2.265 | 13.34 | 3.653 | 15.57 | 3.283 | 10.42 | 3.333 | 20.3 | -2.118 | 978.426 | 60.4103 | -0.048033
2020-01-16 08:00:00 | 2.531 | 18.17 | 3.431 | 15.57 | 3.1 | 12.79 | 3.104 | 26.59 | -1.894 | 978.571 | 57.3675 | -0.096066
2020-01-16 08:15:00 | 2.605 | 14.74 | 3.581 | 15.57 | 3.319 | 16.37 | 3.435 | 21.58 | -1.833 | 978.869 | 56.8205 | -0.084981
2020-01-16 08:30:00 | 2.191 | 17.3 | 3.382 | 15.56 | 3.453 | 24.15 | 3.527 | 20.91 | -1.803 | 979.017 | 57.4359 | 0.11824
2020-01-16 08:45:00 | 2.051 | 15.19 | 3.101 | 15.67 | 3.194 | 20.93 | 3.336 | 20.46 | -1.688 | 979.017 | 55.1111 | -0.14779
2020-01-16 09:00:00 | 2.372 | 24.57 | 3.096 | 15.7 | 3.682 | 21.87 | 3.84 | 26.36 | -1.715 | 979.315 | 56.6154 | -0.16627
2020-01-16 09:15:00 | 1.682 | 23.13 | 2.605 | 15.72 | 3.169 | 22.74 | 3.336 | 25.59 | -1.583 | 979.612 | 55.1082 | -0.31406
2020-01-16 09:30:00 | 1.313 | 22.58 | 2.275 | 15.66 | 2.479 | 19.47 | 2.638 | 30.48 | -1.53 | 979.612 | 56.6066 | -0.34731
2020-01-16 09:45:00 | 1.212 | 15.97 | 2.134 | 15.11 | 2.23 | 9.39 | 2.358 | 27.28 | -1.367 | 979.909 | 57.0843 | -0.31776
2020-01-16 10:00:00 | 0.149 | 13.54 | 1.231 | 14.64 | 1.114 | 10.15 | 1.237 | 27.25 | -1.083 | 980.207 | 60.7076 | -0.31776
2020-01-16 10:15:00 | 0.921 | 353.7 | 1.677 | 14.24 | 1.235 | 2.071 | 1.281 | 9.34 | -0.888 | 980.355 | 64.2614 | -0.32145
2020-01-16 10:30:00 | 1.275 | 352.7 | 1.684 | 13.99 | 1.294 | 10.38 | 1.392 | 3.985 | -0.965 | 980.504 | 64.2625 | -0.31776
2020-01-16 10:45:00 | 1.364 | 24.51 | 1.966 | 14.37 | 1.467 | 26.68 | 1.538 | 0.195 | -0.976 | 980.504 | 60.3649 | -0.31776
2020-01-16 11:00:00 | 2.024 | 2.212 | 2.178 | 14.46 | 1.704 | 13.44 | 1.889 | 1.176 | -0.851 | 980.485 | 52.5377 | -0.30667
2020-01-16 11:15:00 | 1.532 | 351.9 | 2.058 | 21.04 | 1.903 | 17.36 | 2.14 | 343.2 | -0.559 | 980.071 | 55.2027 | -0.31776
2020-01-16 11:30:00 | 0.751 | 5.298 | 1.881 | 33.32 | 2.036 | 3.292 | 2.248 | 354.8 | -0.608 | 979.779 | 64.8693 | -0.31037
2020-01-16 11:45:00 | 1.628 | 11 | 2.533 | 21.91 | 2.446 | 8.9 | 2.493 | 3.705 | -0.79 | 979.331 | 58.7173 | -0.30667
2020-01-16 12:00:00 | 2.032 | 357.1 | 2.051 | 10.94 | 1.652 | 338.5 | 1.852 | 345.3 | -0.996 | 979.213 | 65.007 | -0.088676
2020-01-16 12:15:00 | 2.508 | 339.8 | 2.786 | 347.6 | 2.38 | 329.4 | 2.508 | 349.1 | -1.175 | 979.146 | 65.4183 | -0.029559
2020-01-16 12:30:00 | 1.634 | 338.4 | 1.837 | 349 | 1.786 | 348.8 | 2.016 | 352.1 | -1.147 | 979.173 | 65.5595 | 0.14779
2020-01-16 12:45:00 | 2.03 | 0.592 | 2.549 | 13.55 | 2.428 | 340.1 | 2.559 | 0.772 | -0.803 | 979.179 | 59.1331 | 0.17735
2020-01-16 13:00:00 | 0.511 | 330.7 | 1.149 | 343.2 | 0.648 | 326 | 0.639 | 343.9 | -0.463 | 979.219 | 59.7475 | 0.25864
2020-01-16 13:15:00 | 2.339 | 307.5 | 2.316 | 307.6 | 1.347 | 281.5 | 1.375 | 321.1 | -0.698 | 979.017 | 61.7558 | 1.0678
2020-01-16 13:30:00 | 2.587 | 301.2 | 2.932 | 314.5 | 2.444 | 290.4 | 2.439 | 303.9 | -0.809 | 979.015 | 60.0041 | 0.23647
2020-01-16 13:45:00 | 2.315 | 305 | 2.935 | 318 | 3.125 | 307.4 | 3.16 | 306.4 | -0.834 | 978.718 | 63.2839 | -0.29559
2020-01-16 14:00:00 | 2.648 | 311.1 | 3.39 | 316 | 2.779 | 305.7 | 3.005 | 310.1 | -0.756 | 978.718 | 63.3863 | -0.23647
2020-01-16 14:15:00 | 2.809 | 322.2 | 2.835 | 343.8 | 2.993 | 318.1 | 3.099 | 320.6 | -0.561 | 978.718 | 59.4575 | -0.051728
2020-01-16 14:30:00 | 3.074 | 316.3 | 3.523 | 331 | 3.047 | 316.9 | 3.137 | 314 | -0.768 | 978.42 | 60.8936 | 0.75744
2020-01-16 14:45:00 | 2.277 | 352.7 | 2.919 | 15.76 | 3.405 | 349.9 | 3.529 | 346.1 | -0.682 | 978.123 | 59.0541 | 2.0359
2020-01-16 15:00:00 | 2.594 | 350.7 | 3.014 | 351.2 | 2.709 | 329.2 | 2.89 | 352.7 | -0.885 | 978.131 | 59.2272 | 2.9743
2020-01-16 15:15:00 | 2.291 | 15.02 | 2.656 | 18.09 | 2.422 | 340.2 | 2.303 | 359.3 | -1.101 | 977.949 | 59.4737 | 2.5679
2020-01-16 15:30:00 | 1.387 | 17.91 | 2.651 | 29.09 | 2.469 | 333.5 | 2.406 | 3.12 | -1.079 | 978.122 | 57.6312 | 1.1676
2020-01-16 15:45:00 | 2.975 | 16.6 | 4.775 | 35.91 | 4.115 | 22.74 | 3.97 | 16.3 | -1.531 | 977.827 | 58.2123 | 0.80178
2020-01-16 16:00:00 | 1.768 | 13.57 | 2.674 | 30.35 | 2.459 | 10.27 | 2.416 | 9.29 | -1.594 | 977.827 | 59.9555 | 0.23278
2020-01-16 16:15:00 | 2.501 | 6.165 | 3.175 | 29.56 | 2.69 | 16.7 | 2.793 | 354.5 | -1.566 | 977.678 | 60.4341 | -0.040643
2020-01-16 16:30:00 | 1.62 | 14.1 | 2.331 | 15.77 | 2.354 | 359 | 2.554 | 4.443 | -1.578 | 977.827 | 59.6137 | -0.096066
2020-01-16 16:45:00 | 2.022 | 334.4 | 2.446 | 353.4 | 2.713 | 339.3 | 2.791 | 331.7 | -1.645 | 977.678 | 59.8872 | -0.059118
2020-01-16 17:00:00 | 0.974 | 341.9 | 1.572 | 5.008 | 1.983 | 352.9 | 2.187 | 341.4 | -1.781 | 977.53 | 61.1861 | 0.011085
2020-01-16 17:15:00 | 0.227 | 309.7 | 1.016 | 343.2 | 0.811 | 328.6 | 1.02 | 322.9 | -1.787 | 977.678 | 61.599 | 0.3621
2020-01-16 17:30:00 | 1.324 | 332 | 2.139 | 342.3 | 2.502 | 338.9 | 2.63 | 334 | -1.813 | 977.827 | 62.1526 | 0.31037
2020-01-16 17:45:00 | 2.415 | 332.9 | 3.006 | 351.2 | 3.405 | 352.4 | 3.593 | 330.9 | -1.85 | 977.827 | 61.7429 | 1.0013
2020-01-16 18:00:00 | 2.279 | 330.1 | 2.85 | 352.2 | 1.81 | 345 | 1.993 | 330.6 | -2.047 | 977.827 | 64.2735 | 1.6738
2020-01-16 18:15:00 | 2.219 | 316.6 | 2.262 | 325.5 | 2.556 | 317.8 | 2.714 | 309.9 | -2.146 | 977.976 | 65.9145 | 1.7107
2020-01-16 18:30:00 | 1.748 | 323.9 | 2.359 | 338.7 | 2.673 | 335.5 | 2.826 | 321.4 | -2.254 | 977.827 | 64.4444 | 1.8622
2020-01-16 18:45:00 | 2.76 | 321.4 | 3.494 | 337.3 | 3.494 | 334.9 | 3.534 | 324.8 | -2.313 | 977.827 | 66.0513 | 2.409
2020-01-16 19:00:00 | 3.404 | 324.9 | 4.141 | 338.7 | 3.764 | 331.5 | 3.756 | 330.4 | -2.32 | 977.976 | 66.5983 | 1.9213
2020-01-16 19:15:00 | 2.352 | 333.3 | 2.725 | 353.1 | 2.408 | 347.6 | 2.518 | 329.6 | -2.324 | 978.125 | 68.6496 | 1.7846
2020-01-16 19:30:00 | 1.661 | 341.9 | 2.26 | 3.644 | 2.703 | 355.7 | 2.877 | 338.3 | -2.331 | 978.125 | 70.906 | 1.5038
2020-01-16 19:45:00 | 1.415 | 6.444 | 1.748 | 24.81 | 2.614 | 359.7 | 2.767 | 350.2 | -2.392 | 978.125 | 74.0513 | 1.2821
2020-01-16 20:00:00 | 1.897 | 342.9 | 2.574 | 5.355 | 2.594 | 3.329 | 2.763 | 341.4 | -2.485 | 978.273 | 73.9145 | 0.74266
2020-01-16 20:15:00 | 1.317 | 346.2 | 2.066 | 14.72 | 2.233 | 359.6 | 2.48 | 337 | -2.529 | 978.422 | 73.7094 | 0.65029
2020-01-16 20:30:00 | 1.18 | 334.7 | 1.78 | 6.893 | 2.294 | 355.9 | 2.465 | 332.6 | -2.53 | 978.422 | 73.1282 | 0.67985
2020-01-16 20:45:00 | 0.535 | 324.8 | 1.495 | 341.1 | 2.055 | 353.2 | 2.208 | 331.8 | -2.534 | 978.422 | 73.7436 | 0.018474
2020-01-16 21:00:00 | 0.725 | 322 | 1.504 | 350.7 | 1.561 | 316.3 | 1.764 | 321.1 | -2.587 | 978.422 | 73.9487 | 0.20322
2020-01-16 21:15:00 | 0.774 | 304.2 | 1.531 | 350.6 | 1.762 | 315.4 | 1.907 | 308.7 | -2.66 | 978.422 | 75.0085 | -0.025864
2020-01-16 21:30:00 | 0.148 | 329.9 | 0.963 | 351.4 | 1.927 | 348.7 | 2.197 | 323.1 | -2.734 | 978.273 | 76.2393 | -0.33623
2020-01-16 21:45:00 | 0 | 307.1 | 0.624 | 350.8 | 1.295 | 317.4 | 1.43 | 319.9 | -2.735 | 978.273 | 76.0342 | -0.32515
2020-01-16 22:00:00 | 1.005 | 312.9 | 1.333 | 350.6 | 1.355 | 317.4 | 1.489 | 316.8 | -2.803 | 978.422 | 75.829 | -0.30667
2020-01-16 22:15:00 | 0.231 | 334.1 | 1.419 | 350.7 | 0.945 | 317.5 | 1.069 | 334.1 | -2.842 | 978.125 | 76.3761 | -0.32515
2020-01-16 22:30:00 | 0.44 | 331.4 | 1.116 | 350.6 | 0.705 | 317.5 | 0.821 | 333.9 | -2.842 | 978.125 | 76.7179 | -0.2845
2020-01-16 22:45:00 | 0 | 314.7 | 0.917 | 350.6 | 1.391 | 317.4 | 1.372 | 333 | -2.936 | 978.132 | 76.9231 | -0.32145
2020-01-16 23:00:00 | 1.356 | 311.6 | 1.641 | 350.6 | 1.879 | 316.5 | 1.991 | 326.4 | -3.009 | 978.125 | 78.5983 | -0.31406
2020-01-16 23:15:00 | 0.428 | 309.7 | 1.286 | 350.6 | 1.437 | 316.5 | 1.484 | 316.7 | -3.071 | 978.125 | 78.6333 | -0.37687
2020-01-16 23:30:00 | 0 | 309.7 | 0.503 | 350.6 | 0.006 | 316.5 | 0.052 | 316.7 | -3.138 | 977.852 | 79.2489 | -0.29559
2020-01-16 23:45:00 | 0 | 309.7 | 0.293 | 350.6 | 0 | 316.4 | 0 | 316.5 | -3.278 | 977.539 | 80.348 | -0.32884