## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-17 00:00:00 | 0 | 309.8 | 0.011 | 350.7 | 0.003 | 316.4 | 0 | 316.6 | -3.344 | 977.233 | 80.2185 | -0.32884
2020-01-17 00:15:00 | 0 | 309.8 | 0 | 350.7 | 0 | 316.4 | 0 | 316.6 | -3.387 | 977.354 | 80.2188 | -0.31776
2020-01-17 00:30:00 | 0 | 309.8 | 0 | 350.7 | 0 | 316.4 | 0 | 316.5 | -3.478 | 977.205 | 80.3596 | -0.34731
2020-01-17 00:45:00 | 0.007 | 309.8 | 0 | 350.7 | 0 | 316.4 | 0 | 316.6 | -3.475 | 977.336 | 81.1215 | -0.32884
2020-01-17 01:00:00 | 0 | 309.8 | 0 | 350.7 | 0 | 316.4 | 0 | 316.6 | -3.492 | 977.175 | 80.1642 | -0.34731
2020-01-17 01:15:00 | 0 | 309.8 | 0 | 350.7 | 0 | 316.4 | 0 | 316.6 | -3.582 | 977.226 | 82.1477 | -0.36579
2020-01-17 01:30:00 | 0.208 | 309.7 | 0 | 350.7 | 0 | 316.4 | 0 | 316.6 | -3.616 | 977.088 | 83.3105 | -0.37687
2020-01-17 01:45:00 | 1.175 | 310.4 | 0.316 | 350.7 | 0 | 316.5 | 0 | 316.6 | -3.634 | 977.088 | 86.1833 | -0.32884
2020-01-17 02:00:00 | 0.037 | 313.5 | 0 | 350.9 | 0 | 322 | 0 | 316.6 | -3.732 | 976.939 | 87.3461 | -0.3584
2020-01-17 02:15:00 | 0.112 | 313.5 | 0 | 350.9 | 0 | 321 | 0 | 316.5 | -3.815 | 976.641 | 87.7565 | -0.36579
2020-01-17 02:30:00 | 0.517 | 309.6 | 0.222 | 350.9 | 0 | 314.2 | 0 | 316.4 | -3.818 | 976.641 | 89.8769 | -0.39535
2020-01-17 02:45:00 | 0 | 229.4 | 0 | 350.9 | 0 | 303.3 | 0.651 | 315.8 | -3.889 | 976.492 | 89.4665 | -0.37687
2020-01-17 03:00:00 | 0 | 217 | 0 | 350.9 | 0 | 303.3 | 0.76 | 315.4 | -3.657 | 976.195 | 82.2161 | -0.36579
2020-01-17 03:15:00 | 0 | 209.7 | 0 | 350.9 | 0 | 303.3 | 0 | 216.3 | -3.659 | 975.897 | 80.3694 | -0.56901
2020-01-17 03:30:00 | 0 | 209.7 | 0 | 350.9 | 0 | 303.3 | 0 | 216.3 | -3.539 | 976.046 | 80.0274 | -0.34731
2020-01-17 03:45:00 | 0.528 | 209.7 | 0 | 351.4 | 0 | 22.76 | 0 | 216.3 | -3.533 | 975.748 | 80.5071 | -0.38426
2020-01-17 04:00:00 | 0 | 209.7 | 0.004 | 351.4 | 0.183 | 22.71 | 0.517 | 216.3 | -3.477 | 975.6 | 80.13 | -0.36579
2020-01-17 04:15:00 | 0 | 209.7 | 0 | 351.4 | 0.243 | 22.73 | 0.507 | 216.2 | -3.277 | 975.451 | 79.1382 | -0.37687
2020-01-17 04:30:00 | 0.372 | 207.8 | 1.303 | 350.8 | 0.957 | 52.35 | 0.841 | 216.1 | -2.981 | 975.748 | 79.1382 | -0.36579
2020-01-17 04:45:00 | 1.277 | 195.8 | 1.417 | 350.7 | 1.505 | 65.56 | 1.438 | 205.7 | -2.995 | 975.451 | 79.4118 | -0.36579
2020-01-17 05:00:00 | 2.14 | 191.8 | 2.216 | 220.9 | 2.225 | 177 | 2.225 | 201.1 | -3.065 | 975.6 | 81.3954 | -0.38426
2020-01-17 05:15:00 | 3.115 | 202 | 3.471 | 213.3 | 3.288 | 203.5 | 3.297 | 204.3 | -3.256 | 975.854 | 80.643 | -0.40274
2020-01-17 05:30:00 | 2.663 | 200 | 3.254 | 215.8 | 3.026 | 199.5 | 3.213 | 207.9 | -3.228 | 975.81 | 79.4782 | -0.37687
2020-01-17 05:45:00 | 2.926 | 197.7 | 3.147 | 204.4 | 2.957 | 184.6 | 3.033 | 203.3 | -3.213 | 975.537 | 81.9296 | -0.36579
2020-01-17 06:00:00 | 2.375 | 186.2 | 2.536 | 193 | 2.25 | 166.6 | 2.246 | 195.6 | -3.27 | 975.529 | 80.766 | -0.37687
2020-01-17 06:15:00 | 2.75 | 188.7 | 2.873 | 196.9 | 2.879 | 174.1 | 2.928 | 196 | -3.273 | 975.621 | 85.348 | -0.40643
2020-01-17 06:30:00 | 1.928 | 164.6 | 1.899 | 185.6 | 1.431 | 154.6 | 1.416 | 192.1 | -3.221 | 975.813 | 83.3642 | -0.37687
2020-01-17 06:45:00 | 2.668 | 189.4 | 2.671 | 190.3 | 2.314 | 161.1 | 2.475 | 207.4 | -3.214 | 976.139 | 85.6898 | -0.36579
2020-01-17 07:00:00 | 0.704 | 178.4 | 0.628 | 182.8 | 1.189 | 155.7 | 1.246 | 192.3 | -3.102 | 976.115 | 85.0402 | -0.36579
2020-01-17 07:15:00 | 0.953 | 206 | 1.651 | 183.7 | 1.696 | 208.4 | 1.843 | 193.3 | -3.433 | 976.392 | 85.0055 | -0.36579
2020-01-17 07:30:00 | 2.418 | 184.2 | 3.162 | 202.1 | 2.881 | 186.9 | 2.893 | 188 | -3.942 | 976.273 | 87.4679 | -0.36579
2020-01-17 07:45:00 | 1.788 | 161.7 | 2.249 | 189.2 | 2.558 | 158.6 | 2.579 | 166.5 | -3.727 | 976.251 | 86.3087 | -0.36579
2020-01-17 08:00:00 | 1.757 | 168.4 | 2.127 | 189.1 | 2.027 | 150.5 | 2.083 | 177.5 | -3.554 | 976.823 | 84.1881 | -0.36579
2020-01-17 08:15:00 | 0.512 | 170.4 | 1.466 | 189.5 | 1.221 | 142.7 | 1.298 | 178 | -3.519 | 977.031 | 85.006 | -0.3547
2020-01-17 08:30:00 | 1.877 | 178.8 | 2.362 | 190.1 | 2.418 | 176.9 | 2.46 | 177.4 | -3.533 | 977.099 | 87.597 | -0.37687
2020-01-17 08:45:00 | 1.925 | 166.6 | 2.725 | 189 | 2.579 | 161.8 | 2.618 | 174.2 | -3.764 | 977.263 | 89.778 | -0.37687
2020-01-17 09:00:00 | 2.216 | 172.3 | 2.403 | 187.1 | 2.528 | 171.8 | 2.625 | 174.6 | -3.537 | 977.828 | 90.7693 | -0.33623
2020-01-17 09:15:00 | 2.222 | 143.7 | 2.4 | 186.6 | 2.311 | 144.9 | 2.33 | 151 | -3.212 | 978.125 | 88.066 | -0.32884
2020-01-17 09:30:00 | 1.586 | 141.5 | 2.561 | 160.9 | 2.49 | 144.1 | 2.455 | 156.3 | -2.442 | 978.422 | 86.2066 | -0.32884
2020-01-17 09:45:00 | 2.674 | 152.5 | 3.098 | 158.1 | 3.003 | 156.5 | 3.038 | 166.7 | -2.347 | 978.729 | 85.9111 | -0.3547
2020-01-17 10:00:00 | 2.612 | 156.1 | 3.131 | 158.3 | 2.993 | 164.6 | 2.931 | 166.9 | -2.15 | 978.854 | 85.6313 | -0.33623
2020-01-17 10:15:00 | 2.546 | 160.4 | 2.393 | 175.4 | 2.289 | 171.2 | 2.432 | 161.2 | -1.561 | 978.841 | 84.4313 | -0.41382
2020-01-17 10:30:00 | 2.424 | 170.7 | 2.405 | 183 | 2.078 | 182.6 | 2.177 | 160.7 | -1.385 | 978.604 | 83.3898 | -0.17366
2020-01-17 10:45:00 | 3.723 | 143.3 | 3.65 | 156.7 | 2.963 | 154.9 | 2.964 | 149.8 | -1.163 | 978.127 | 80.6149 | -0.051728
2020-01-17 11:00:00 | 4.313 | 151.3 | 3.904 | 170.6 | 3.359 | 167.1 | 3.338 | 156.4 | -1.294 | 977.823 | 81.059 | 0.59118
2020-01-17 11:15:00 | 4.218 | 154.9 | 4.103 | 174.3 | 3.336 | 162.6 | 3.262 | 154.9 | -1.249 | 977.675 | 80.0342 | 0.99761
2020-01-17 11:30:00 | 4.394 | 156.1 | 4.021 | 170 | 3.471 | 159.2 | 3.463 | 161.7 | -0.804 | 977.526 | 77.6772 | 0.16627
2020-01-17 11:45:00 | 3.828 | 147.4 | 3.809 | 163.9 | 2.851 | 152.7 | 2.847 | 158 | -0.772 | 977.526 | 77.0965 | 0.33993
2020-01-17 12:00:00 | 3.309 | 138.7 | 3.103 | 152.2 | 2.15 | 132.8 | 2.066 | 148.1 | -0.49 | 977.229 | 77.2673 | -0.059118
2020-01-17 12:15:00 | 3.8 | 166 | 3.673 | 179.2 | 2.351 | 167.6 | 2.529 | 177.2 | -0.137 | 977.229 | 74.7396 | -0.11084
2020-01-17 12:30:00 | 4.425 | 194.4 | 4.136 | 208.6 | 3.286 | 195.1 | 3.287 | 197.5 | 0.225 | 976.635 | 71.187 | -0.055423
2020-01-17 12:45:00 | 4.223 | 191.3 | 4.098 | 205.3 | 2.978 | 195 | 2.979 | 192.9 | -0.019 | 976.338 | 74.6712 | -0.1441
2020-01-17 13:00:00 | 4.509 | 195.9 | 4.274 | 207.9 | 3.535 | 198.3 | 3.611 | 197.7 | -0.269 | 976.189 | 77.6089 | -0.1404
2020-01-17 13:15:00 | 4.134 | 199.4 | 4.021 | 211.2 | 3.596 | 195.3 | 3.697 | 204.4 | -0.521 | 975.488 | 80.0684 | -0.2845
2020-01-17 13:30:00 | 3.623 | 184 | 3.671 | 194.8 | 3.059 | 188.5 | 3.076 | 196.1 | -0.843 | 975.438 | 83.2994 | -0.29189
2020-01-17 13:45:00 | 3.399 | 202 | 3.108 | 206.7 | 2.711 | 190.4 | 2.791 | 213.3 | -0.75 | 975.149 | 83.3413 | -0.42491
2020-01-17 14:00:00 | 3.917 | 255.3 | 3.85 | 267.9 | 3.395 | 254.1 | 3.42 | 256.2 | -1.343 | 975.15 | 91.8503 | -0.3584
2020-01-17 14:15:00 | 2.799 | 259.9 | 2.929 | 267.6 | 2.612 | 256.2 | 2.595 | 260.3 | -1.503 | 975.02 | 92.4143 | -0.32515
2020-01-17 14:30:00 | 1.419 | 260 | 1.465 | 278.7 | 1.631 | 278.5 | 1.708 | 252.3 | -1.237 | 975.147 | 88.4634 | -0.18474
2020-01-17 14:45:00 | 1.328 | 206.8 | 1.242 | 215.3 | 1.682 | 179.5 | 1.832 | 210.1 | -0.827 | 975.151 | 86.4809 | -0.19213
2020-01-17 15:00:00 | 1.942 | 220.1 | 2.152 | 219.5 | 1.96 | 196.6 | 1.981 | 232.5 | -0.769 | 975.448 | 85.1478 | -0.27711
2020-01-17 15:15:00 | 1.057 | 269.6 | 1.458 | 297.7 | 1.107 | 289.8 | 1.323 | 264.9 | -1.03 | 975.151 | 88.3265 | -0.27342
2020-01-17 15:30:00 | 0.022 | 245.3 | 0.586 | 301.4 | 0.202 | 265.6 | 0.436 | 249.6 | -0.736 | 975.3 | 85.0445 | -0.31776
2020-01-17 15:45:00 | 1.959 | 243.4 | 2.078 | 255.5 | 1.615 | 243.5 | 1.748 | 252.3 | -0.753 | 975.448 | 88.941 | -0.31776
2020-01-17 16:00:00 | 0.64 | 292.8 | 1.064 | 291.4 | 0.003 | 314.7 | 0.126 | 284.1 | -1.097 | 975.151 | 91.7093 | -0.31776
2020-01-17 16:15:00 | 2.168 | 266.4 | 1.912 | 291.4 | 1.129 | 282 | 1.339 | 252.9 | -1.301 | 975.448 | 93.6591 | -0.3547
2020-01-17 16:30:00 | 1.209 | 276.9 | 1.322 | 291.4 | 0.804 | 285.4 | 1.139 | 265.9 | -1.488 | 975.448 | 94.8888 | -0.36949
2020-01-17 16:45:00 | 0.033 | 232.3 | 1.2 | 281.2 | 1.513 | 282.8 | 1.673 | 238.9 | -1.464 | 975.3 | 91.4715 | -0.33623
2020-01-17 17:00:00 | 0.216 | 258.1 | 1.12 | 269.3 | 1.079 | 257.6 | 1.367 | 253.7 | -1.501 | 975.002 | 90.6512 | -0.32515
2020-01-17 17:15:00 | 0 | 242 | 0.192 | 269.3 | 0 | 257.6 | 0.185 | 231.5 | -1.51 | 975.151 | 91.3348 | -0.33623
2020-01-17 17:30:00 | 0 | 242 | 0 | 269.3 | 0 | 257.6 | 0 | 231.4 | -1.569 | 974.854 | 91.5405 | -0.3547
2020-01-17 17:45:00 | 0 | 227.6 | 0.131 | 269.2 | 0 | 257.5 | 0.025 | 229.2 | -1.68 | 974.854 | 91.6906 | -0.34731
2020-01-17 18:00:00 | 0.283 | 202.6 | 0.919 | 268.4 | 1.074 | 251.3 | 1.303 | 216 | -1.639 | 975.002 | 91.8974 | -0.36579
2020-01-17 18:15:00 | 0.298 | 212.2 | 0.824 | 215.8 | 0.71 | 195 | 0.947 | 197 | -1.593 | 975.448 | 89.7436 | -0.37687
2020-01-17 18:30:00 | 1.327 | 222.6 | 1.811 | 217 | 1.58 | 207.4 | 1.64 | 224.2 | -1.533 | 975.746 | 88.2735 | -0.3547
2020-01-17 18:45:00 | 1.768 | 216.8 | 2.168 | 231.1 | 2.217 | 203.2 | 2.309 | 219.9 | -1.504 | 975.448 | 86.8376 | -0.32515
2020-01-17 19:00:00 | 0.66 | 246.9 | 1.516 | 223.2 | 1.737 | 232.2 | 1.887 | 242.5 | -1.541 | 975.746 | 86.7692 | -0.36579
2020-01-17 19:15:00 | 2.574 | 223.3 | 3.057 | 239 | 2.876 | 225.6 | 2.997 | 228.5 | -1.504 | 976.043 | 84.3419 | -0.3584
2020-01-17 19:30:00 | 1.841 | 207 | 1.966 | 225 | 2.047 | 185.7 | 2.149 | 210.4 | -1.563 | 975.746 | 85.8803 | -0.37687
2020-01-17 19:45:00 | 2.778 | 193.7 | 3.147 | 201.8 | 2.787 | 190.8 | 2.877 | 197.9 | -1.534 | 975.746 | 85.4359 | -0.37687
2020-01-17 20:00:00 | 3.161 | 192 | 3.441 | 201.3 | 3.301 | 184.1 | 3.41 | 196.8 | -1.726 | 975.448 | 86.8718 | -0.39535
2020-01-17 20:15:00 | 2.732 | 200.1 | 3.208 | 208.1 | 3.082 | 193.6 | 3.221 | 205.7 | -1.79 | 975.746 | 87.0427 | -0.31406
2020-01-17 20:30:00 | 2.492 | 194.6 | 3.216 | 201.8 | 3.415 | 191.8 | 3.56 | 200.9 | -2.031 | 975.448 | 88.1367 | -0.31776
2020-01-17 20:45:00 | 2.316 | 209.9 | 2.891 | 213.7 | 3.202 | 201.7 | 3.394 | 214.4 | -2.05 | 975.597 | 88.2051 | -0.32515
2020-01-17 21:00:00 | 3.35 | 233.2 | 3.592 | 239.2 | 3.308 | 229.8 | 3.407 | 234.1 | -1.782 | 976.043 | 85.6068 | -0.31776
2020-01-17 21:15:00 | 1.452 | 218.7 | 2.556 | 221.6 | 2.942 | 210.4 | 3.099 | 224.6 | -1.779 | 976.043 | 86.735 | -0.34731
2020-01-17 21:30:00 | 1.629 | 203.6 | 2.341 | 212.2 | 3.1 | 192.4 | 3.3 | 210.1 | -1.913 | 975.746 | 87.5214 | -0.28081
2020-01-17 21:45:00 | 2.73 | 217.9 | 2.702 | 233.1 | 2.769 | 223.4 | 2.987 | 219.2 | -1.741 | 976.043 | 86.0171 | -0.33623
2020-01-17 22:00:00 | 1.901 | 203.4 | 2.285 | 225.7 | 2.543 | 217.8 | 2.722 | 206.3 | -1.691 | 976.043 | 86.1538 | -0.36579
2020-01-17 22:15:00 | 3.018 | 220.8 | 3.369 | 229.7 | 3.026 | 212 | 3.208 | 220.6 | -1.634 | 976.043 | 85.2649 | -0.36579
2020-01-17 22:30:00 | 2.589 | 205.8 | 2.837 | 226.3 | 2.871 | 196.1 | 3.035 | 208 | -1.603 | 976.043 | 85.6752 | -0.38796
2020-01-17 22:45:00 | 3.217 | 195.4 | 3.538 | 202 | 3.377 | 183.9 | 3.494 | 201.3 | -1.688 | 976.043 | 86.5641 | -0.36579
2020-01-17 23:00:00 | 2.594 | 202.9 | 2.559 | 218.1 | 2.372 | 198.1 | 2.504 | 217.6 | -1.657 | 975.597 | 86.4957 | -0.29928
2020-01-17 23:15:00 | 1.551 | 219 | 1.968 | 231.6 | 2.331 | 209.9 | 2.615 | 222.5 | -1.774 | 975.448 | 87.1453 | -0.3547
2020-01-17 23:30:00 | 3.263 | 227.8 | 3.558 | 244.2 | 3.128 | 227.6 | 3.221 | 229 | -1.689 | 975.746 | 86.1538 | -0.34731
2020-01-17 23:45:00 | 3.263 | 235.3 | 3.254 | 248.4 | 2.912 | 228.4 | 2.974 | 234 | -1.777 | 975.448 | 86.7008 | -0.3584