## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-18 00:00:00 | 2.86 | 213.7 | 3.142 | 223.9 | 3.151 | 206.6 | 3.229 | 217.7 | -1.842 | 975.448 | 87.0427 | -0.36949
2020-01-18 00:15:00 | 3.069 | 234.3 | 3.252 | 245.8 | 3.067 | 222.2 | 3.188 | 237 | -1.838 | 975.597 | 87.1111 | -0.34731
2020-01-18 00:30:00 | 2.735 | 227.4 | 3.039 | 235.3 | 2.665 | 218.3 | 2.763 | 234.6 | -1.846 | 975.448 | 88.3419 | -0.37687
2020-01-18 00:45:00 | 3.036 | 228.4 | 3.193 | 236.4 | 3.316 | 229.6 | 3.463 | 233.8 | -1.785 | 975.746 | 87.3159 | -0.34731
2020-01-18 01:00:00 | 2.398 | 241.5 | 2.955 | 248.9 | 2.835 | 221.9 | 2.893 | 246.1 | -1.78 | 976.043 | 87.4188 | -0.37687
2020-01-18 01:15:00 | 1.569 | 260.5 | 2.134 | 262.4 | 2.225 | 260.8 | 2.396 | 260.6 | -1.775 | 976.043 | 87.6581 | -0.36579
2020-01-18 01:30:00 | 2.929 | 255.5 | 3.116 | 262.8 | 2.815 | 248.8 | 2.9 | 258 | -1.749 | 975.894 | 87.3162 | -0.37687
2020-01-18 01:45:00 | 1.327 | 241.8 | 1.776 | 241.5 | 1.57 | 225.2 | 1.713 | 244.1 | -1.773 | 975.746 | 88.1367 | -0.34731
2020-01-18 02:00:00 | 3.797 | 246 | 3.904 | 261.4 | 3.659 | 250.3 | 3.697 | 244.5 | -1.785 | 975.597 | 87.829 | -0.3547
2020-01-18 02:15:00 | 3.166 | 252 | 3.339 | 265.9 | 3.113 | 252.1 | 3.127 | 254.3 | -1.836 | 975.746 | 88 | -0.28081
2020-01-18 02:30:00 | 2.587 | 234.9 | 2.789 | 248.4 | 2.591 | 232.1 | 2.696 | 236.6 | -1.847 | 975.448 | 88.2735 | -0.37687
2020-01-18 02:45:00 | 1.368 | 259.2 | 1.756 | 279.4 | 1.074 | 269 | 1.009 | 252.2 | -1.846 | 974.854 | 88.4786 | -0.3547
2020-01-18 03:00:00 | 0.666 | 259.5 | 0.931 | 279.9 | 0.628 | 279.9 | 0.673 | 262.7 | -1.947 | 974.854 | 88.3761 | -0.34731
2020-01-18 03:15:00 | 1.402 | 251.6 | 1.89 | 259.6 | 1.848 | 252.8 | 1.837 | 253.7 | -1.987 | 974.556 | 88.8889 | -0.56531
2020-01-18 03:30:00 | 0.576 | 253.5 | 1.387 | 258.5 | 1.23 | 235.5 | 1.357 | 256 | -2.049 | 974.259 | 89.3675 | -0.34731
2020-01-18 03:45:00 | 0.843 | 256.5 | 1.408 | 271.2 | 0.824 | 243 | 0.882 | 249.6 | -2.164 | 974.11 | 90.6666 | -0.35101
2020-01-18 04:00:00 | 1.702 | 288.8 | 1.963 | 308.9 | 1.503 | 303.8 | 1.564 | 287.8 | -2.28 | 973.961 | 91.3846 | -0.36949
2020-01-18 04:15:00 | 2.125 | 251.8 | 2.549 | 287.9 | 2.256 | 259.3 | 2.228 | 256.2 | -2.359 | 974.259 | 92.2051 | -0.4286
2020-01-18 04:30:00 | 2.245 | 240.8 | 2.587 | 252 | 2.586 | 237.2 | 2.584 | 245.2 | -2.409 | 974.11 | 92.9914 | -0.37687
2020-01-18 04:45:00 | 1.716 | 255.8 | 2.208 | 268.4 | 2.044 | 249.9 | 2.093 | 257.6 | -2.525 | 973.813 | 93.4701 | -0.3584
2020-01-18 05:00:00 | 0.699 | 200.8 | 1.165 | 268.2 | 0.665 | 244.1 | 0.619 | 215.4 | -2.587 | 973.664 | 93.8806 | -0.3547
2020-01-18 05:15:00 | 2.737 | 198 | 2.878 | 216 | 2.444 | 192.9 | 2.465 | 197.4 | -2.682 | 973.664 | 94.4274 | -0.40643
2020-01-18 05:30:00 | 1.7 | 195.3 | 2.05 | 216.4 | 1.62 | 205.3 | 1.69 | 199.4 | -2.734 | 973.667 | 94.7693 | -0.36579
2020-01-18 05:45:00 | 1.294 | 209.7 | 1.14 | 227.2 | 0.883 | 181.6 | 1.037 | 211.9 | -2.72 | 973.665 | 94.9744 | -0.41752
2020-01-18 06:00:00 | 2.995 | 199.8 | 2.871 | 205.2 | 2.187 | 194.6 | 2.225 | 206.3 | -2.784 | 973.962 | 94.7351 | -0.39904
2020-01-18 06:15:00 | 0.917 | 210.2 | 1.396 | 221.5 | 1.681 | 193.8 | 1.741 | 203.4 | -2.793 | 973.962 | 95.0428 | -0.38796
2020-01-18 06:30:00 | 1.362 | 186.1 | 1.45 | 214.4 | 1.05 | 181.6 | 1.23 | 191.3 | -2.783 | 974.267 | 95.2479 | -0.36579
2020-01-18 06:45:00 | 1.395 | 189.9 | 2.009 | 193.5 | 1.765 | 193 | 1.906 | 205.3 | -2.802 | 974.408 | 95.5214 | -0.38426
2020-01-18 07:00:00 | 3.498 | 183.6 | 3.474 | 194.6 | 3.019 | 180 | 3.028 | 189.4 | -2.802 | 974.259 | 95.7607 | -0.40274
2020-01-18 07:15:00 | 3.45 | 179 | 3.466 | 190.4 | 3.115 | 172.5 | 3.152 | 181.5 | -2.839 | 974.259 | 96.2393 | -0.38796
2020-01-18 07:30:00 | 4.8 | 175.3 | 4.908 | 187.2 | 4.25 | 172.3 | 4.252 | 181.5 | -2.841 | 974.259 | 96.0684 | -0.2143
2020-01-18 07:45:00 | 4.548 | 173 | 4.837 | 189.1 | 4.504 | 173.8 | 4.474 | 175.8 | -2.801 | 974.259 | 95.7265 | -0.19213
2020-01-18 08:00:00 | 5.278 | 182.6 | 5.144 | 200.2 | 4.539 | 186 | 4.563 | 181.2 | -2.749 | 974.41 | 95.453 | -0.066507
2020-01-18 08:15:00 | 4.578 | 180.3 | 4.18 | 201.9 | 3.408 | 197 | 3.331 | 183.7 | -2.647 | 974.408 | 94.9744 | -0.062812
2020-01-18 08:30:00 | 4.624 | 165.7 | 4.742 | 186.6 | 4.293 | 183.6 | 4.278 | 169.3 | -2.596 | 974.705 | 93.7436 | 0.014779
2020-01-18 08:45:00 | 4.507 | 158.3 | 4.412 | 172.1 | 3.639 | 162.1 | 3.618 | 167.2 | -2.497 | 974.854 | 92.2393 | 0.56901
2020-01-18 09:00:00 | 5.217 | 153.3 | 5.069 | 175 | 4.847 | 167.7 | 4.795 | 158.5 | -2.373 | 974.705 | 91.0428 | 2.058
2020-01-18 09:15:00 | 5.367 | 158.4 | 5.197 | 174 | 4.621 | 157.9 | 4.663 | 163.5 | -2.082 | 975.003 | 90.4807 | 3.7466
2020-01-18 09:30:00 | 6.355 | 161.6 | 6.077 | 178.5 | 5.547 | 167.3 | 5.485 | 167.3 | -1.805 | 975.598 | 88.5996 | 4.7774
2020-01-18 09:45:00 | 5.007 | 158.4 | 4.752 | 172.2 | 4.242 | 157.5 | 4.12 | 164.2 | -1.697 | 975.994 | 86.7201 | 3.1702
2020-01-18 10:00:00 | 4.92 | 164.5 | 4.579 | 176.2 | 3.965 | 157.9 | 3.883 | 172.4 | -1.345 | 976.343 | 84.4068 | 3.1406
2020-01-18 10:15:00 | 5.773 | 182.2 | 5.172 | 192.7 | 4.214 | 180.2 | 4.275 | 183 | -0.673 | 976.488 | 82.0776 | 4.5964
2020-01-18 10:30:00 | 5.998 | 181 | 5.696 | 197.8 | 4.845 | 190.7 | 4.797 | 181.7 | -0.9 | 976.637 | 83.2052 | 4.0754
2020-01-18 10:45:00 | 5.898 | 180 | 5.568 | 195 | 4.7 | 184 | 4.833 | 186.3 | -0.69 | 976.484 | 83.1027 | 3.196
2020-01-18 11:00:00 | 4.956 | 167.7 | 4.878 | 182.9 | 4.239 | 173.4 | 4.237 | 176.3 | -0.457 | 976.339 | 81.9384 | 3.0704
2020-01-18 11:15:00 | 5.247 | 152.3 | 5.182 | 167.5 | 4.667 | 157.2 | 4.64 | 156.9 | -0.539 | 976.339 | 82.345 | 2.627
2020-01-18 11:30:00 | 4.351 | 146.9 | 4.083 | 160.9 | 3.631 | 152.9 | 3.573 | 154.3 | 0.013 | 976.339 | 79.2364 | 2.0876
2020-01-18 11:45:00 | 4.831 | 154.1 | 4.525 | 166.1 | 3.525 | 155.2 | 3.402 | 161.1 | 0.296 | 976.153 | 77.6451 | 3.3993
2020-01-18 12:00:00 | 5.046 | 153.1 | 4.75 | 168.9 | 4.257 | 155.8 | 4.194 | 158.9 | 0.344 | 976.041 | 78.5312 | 3.8352
2020-01-18 12:15:00 | 5.102 | 151.6 | 4.908 | 168 | 4.356 | 154.5 | 4.286 | 156.6 | 0.589 | 975.743 | 77.5406 | 5.3095
2020-01-18 12:30:00 | 5.809 | 154.3 | 5.709 | 169.6 | 5.15 | 156.5 | 5.06 | 160.8 | 0.648 | 975.149 | 78.702 | 6.2073
2020-01-18 12:45:00 | 5.909 | 153.4 | 5.624 | 165.3 | 4.824 | 149 | 4.8 | 164.3 | 0.593 | 975 | 79.8634 | 6.9241
2020-01-18 13:00:00 | 6.021 | 160.4 | 5.737 | 171 | 4.847 | 160.9 | 4.843 | 168.7 | 1.219 | 974.852 | 79.5901 | 8.2247
2020-01-18 13:15:00 | 6.172 | 156.6 | 5.928 | 172 | 5.569 | 158 | 5.455 | 161.2 | 0.83 | 974.555 | 79.8634 | 9.5105
2020-01-18 13:30:00 | 7.119 | 159.1 | 7 | 174.2 | 6.236 | 160.8 | 6.269 | 165.3 | 1.007 | 974.257 | 78.8386 | 14.9826
2020-01-18 13:45:00 | 8.12 | 152.6 | 8.25 | 167 | 7.424 | 152.8 | 7.308 | 158.9 | 0.856 | 973.849 | 82.0154 | 21.8328
2020-01-18 14:00:00 | 8.17 | 150.4 | 8.1 | 166 | 7.271 | 153.6 | 7.082 | 155.8 | 1.044 | 973.917 | 82.4713 | 21.9252
2020-01-18 14:15:00 | 7.326 | 153 | 7.391 | 167.1 | 6.673 | 153.1 | 6.651 | 159.5 | 0.966 | 973.961 | 81.3181 | 20.802
2020-01-18 14:30:00 | 7.558 | 149.5 | 7.583 | 164.6 | 6.8 | 149.4 | 6.702 | 155.4 | 0.947 | 973.515 | 81.3903 | 23.1002
2020-01-18 14:45:00 | 6.976 | 143.8 | 7.23 | 160.3 | 6.76 | 146.9 | 6.644 | 149.6 | 1.109 | 972.731 | 79.6441 | 22.4868
2020-01-18 15:00:00 | 6.547 | 144.7 | 6.514 | 161.9 | 6.32 | 150.4 | 6.231 | 150.8 | 1.501 | 973.034 | 74.6935 | 20.281
2020-01-18 15:15:00 | 6.113 | 141.7 | 6.164 | 159.4 | 5.966 | 153.8 | 5.887 | 147.7 | 1.736 | 973.032 | 79.0981 | 19.7859
2020-01-18 15:30:00 | 5.911 | 146.2 | 6.345 | 161 | 6.068 | 146.6 | 6.073 | 156.9 | 1.765 | 972.473 | 72.5355 | 15.9396
2020-01-18 15:45:00 | 6.279 | 151.5 | 6.151 | 166.7 | 5.529 | 154.8 | 5.437 | 159.6 | 1.756 | 972.461 | 74.4216 | 16.1649
2020-01-18 16:00:00 | 6.652 | 152.5 | 6.747 | 167.9 | 6.297 | 154.8 | 6.252 | 159.8 | 1.437 | 972.177 | 78.1821 | 23.5029
2020-01-18 16:15:00 | 6.432 | 155 | 6.608 | 171 | 6.488 | 158.6 | 6.511 | 161 | 1.416 | 972.177 | 78.6263 | 25.7752
2020-01-18 16:30:00 | 7.369 | 158 | 7.23 | 173.5 | 7.032 | 158.9 | 7.115 | 163.2 | 1.352 | 972.177 | 80.5399 | 30.4197
2020-01-18 16:45:00 | 8.93 | 152.4 | 9.16 | 169.4 | 9 | 156.8 | 8.93 | 159.7 | 1.286 | 971.583 | 79.1389 | 43.093
2020-01-18 17:00:00 | 10.05 | 153.7 | 10.1 | 168 | 9.75 | 153.1 | 9.65 | 158.5 | 1.26 | 971.434 | 79.4824 | 46.8728
2020-01-18 17:15:00 | 8.12 | 151.4 | 8.52 | 168.7 | 8.95 | 160.9 | 8.95 | 155.8 | 1.034 | 971.583 | 82.0878 | 52.9767
2020-01-18 17:30:00 | 8.5 | 149.5 | 9.03 | 166.4 | 9.56 | 154.8 | 9.49 | 154 | 0.986 | 971.434 | 82.7444 | 54.935
2020-01-18 17:45:00 | 9.28 | 152 | 9.52 | 168.2 | 9.56 | 155.3 | 9.49 | 157 | 0.955 | 971.656 | 82.8536 | 55.5467
2020-01-18 18:00:00 | 7.992 | 150.1 | 8.42 | 167.9 | 8.99 | 160.2 | 9.02 | 153.9 | 0.916 | 971.81 | 82.8557 | 54.4288
2020-01-18 18:15:00 | 7.586 | 148.5 | 7.943 | 166.9 | 8.54 | 159.5 | 8.49 | 153.1 | 0.952 | 971.862 | 82.1056 | 45.4429
2020-01-18 18:30:00 | 6.616 | 149.9 | 7.094 | 166.3 | 8.07 | 152.3 | 8.08 | 154.6 | 1.066 | 971.877 | 81.2169 | 36.0691
2020-01-18 18:45:00 | 8.47 | 151.8 | 8.86 | 167.2 | 8.75 | 156.4 | 8.58 | 158.1 | 1.223 | 971.425 | 80.4649 | 52.0788
2020-01-18 19:00:00 | 7.898 | 151.7 | 8.18 | 169.9 | 8.88 | 162.5 | 8.93 | 156.7 | 1.022 | 971.266 | 81.0801 | 55.2158
2020-01-18 19:15:00 | 8.52 | 154.6 | 8.93 | 171.5 | 9.33 | 159.9 | 9.34 | 161.2 | 1.029 | 971.519 | 81.0801 | 51.4249
2020-01-18 19:30:00 | 8.86 | 155.8 | 9.39 | 171 | 9.22 | 160.5 | 9.24 | 163 | 1.12 | 971.866 | 80.123 | 50.224
2020-01-18 19:45:00 | 9.07 | 156 | 9.31 | 171 | 9.85 | 160.5 | 9.83 | 162.7 | 1.162 | 971.854 | 79.8496 | 48.8532
2020-01-18 20:00:00 | 9.04 | 156.3 | 9.71 | 170.8 | 10.35 | 160.8 | 10.37 | 164.7 | 1.178 | 971.841 | 80.0541 | 43.1078
2020-01-18 20:15:00 | 7.941 | 157.2 | 8.27 | 175 | 9 | 167.2 | 9.1 | 162.5 | 1.136 | 971.971 | 80.0547 | 44.6928
2020-01-18 20:30:00 | 8.93 | 157.1 | 9.15 | 171.6 | 9.2 | 155.4 | 9.2 | 163.5 | 1.032 | 972.105 | 81.2169 | 46.81
2020-01-18 20:45:00 | 7.658 | 154.5 | 8.08 | 169.6 | 8.36 | 157.1 | 8.39 | 164 | 1.004 | 972.459 | 82.0714 | 37.3512
2020-01-18 21:00:00 | 6.915 | 157.2 | 7.462 | 172 | 8.07 | 161 | 8.12 | 167.4 | 0.933 | 972.17 | 83.3704 | 34.2956
2020-01-18 21:15:00 | 8.08 | 160.8 | 8.3 | 172 | 8.52 | 157.7 | 8.67 | 171.8 | 0.902 | 972.326 | 83.2336 | 32.6772
2020-01-18 21:30:00 | 7.829 | 163 | 8.3 | 175.6 | 8.18 | 161.5 | 8.23 | 174 | 0.953 | 972.326 | 83.6096 | 33.9556
2020-01-18 21:45:00 | 7.931 | 162.9 | 7.961 | 176.6 | 7.764 | 162.2 | 7.889 | 170.7 | 1.148 | 972.175 | 83.6096 | 36.7452
2020-01-18 22:00:00 | 7.435 | 167.2 | 7.728 | 180.9 | 7.464 | 169.4 | 7.533 | 175.5 | 1.226 | 972.326 | 84.0882 | 32.5664
2020-01-18 22:15:00 | 7.377 | 165.5 | 7.544 | 176.9 | 6.93 | 161.4 | 6.898 | 175.4 | 1.233 | 972.177 | 83.4729 | 26.0117
2020-01-18 22:30:00 | 7.425 | 168 | 7.317 | 178.9 | 6.91 | 163.8 | 6.911 | 179.9 | 1.425 | 972.3 | 83.8822 | 21.5188
2020-01-18 22:45:00 | 6.161 | 174.7 | 6.123 | 184.2 | 5.951 | 168.9 | 6.142 | 184.9 | 1.399 | 972.43 | 83.9515 | 17.8276
2020-01-18 23:00:00 | 6.289 | 174.2 | 6.386 | 186.4 | 5.989 | 172.3 | 5.992 | 183.5 | 1.225 | 972.443 | 85.0107 | 20.1147
2020-01-18 23:15:00 | 5.985 | 179.7 | 6.302 | 189.2 | 6.126 | 175 | 6.325 | 189.3 | 1.245 | 972.446 | 85.3871 | 18.5223
2020-01-18 23:30:00 | 5.847 | 178.5 | 6.1 | 187.3 | 6.228 | 171.7 | 6.415 | 189 | 1.232 | 972.438 | 84.84 | 16.1021
2020-01-18 23:45:00 | 5.046 | 184.1 | 5.642 | 194.9 | 5.473 | 183.5 | 5.595 | 190.6 | 1 | 972.323 | 85.8657 | 12.3703