## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-19 00:00:00 | 3.343 | 181.2 | 3.796 | 192.3 | 4.468 | 179.4 | 4.606 | 192 | 1.096 | 972.474 | 86.4809 | 8.9711
2020-01-19 00:15:00 | 3.894 | 187.1 | 4.267 | 195.9 | 4.178 | 186.7 | 4.263 | 193 | 1.182 | 972.473 | 86.2758 | 6.6322
2020-01-19 00:30:00 | 3.881 | 188.2 | 4.256 | 202.8 | 4.3 | 186.2 | 4.359 | 195.3 | 1.031 | 972.474 | 85.7289 | 6.4697
2020-01-19 00:45:00 | 3.697 | 196.4 | 4.164 | 208 | 4.473 | 189.7 | 4.622 | 202 | 1.148 | 972.326 | 86.2417 | 5.5903
2020-01-19 01:00:00 | 4.086 | 197.6 | 4.438 | 206.6 | 4.428 | 195.2 | 4.535 | 205 | 1.141 | 972.177 | 86.4809 | 4.9437
2020-01-19 01:15:00 | 2.916 | 203.5 | 3.515 | 209.5 | 3.787 | 202.3 | 3.932 | 209.1 | 1.065 | 972.474 | 87.7799 | 2.5051
2020-01-19 01:30:00 | 3.179 | 202.3 | 3.553 | 209.6 | 3.853 | 193 | 4.079 | 212.5 | 1.011 | 972.326 | 88.2926 | 1.4853
2020-01-19 01:45:00 | 2.788 | 213.2 | 3.308 | 219.3 | 3.606 | 200 | 3.766 | 222.5 | 0.964 | 972.177 | 88.8737 | 0.30298
2020-01-19 02:00:00 | 2.658 | 240 | 3.244 | 239.5 | 3.433 | 218.6 | 3.463 | 244.5 | 1.155 | 972.474 | 87.7115 | -0.12932
2020-01-19 02:15:00 | 2.903 | 245.6 | 3.037 | 251.7 | 2.701 | 235.2 | 2.658 | 253.1 | 1.089 | 972.474 | 87.9847 | -0.29928
2020-01-19 02:30:00 | 2.485 | 259.7 | 2.722 | 269.1 | 2.729 | 257.1 | 2.763 | 264 | 1.019 | 972.474 | 88.8737 | -0.0036948
2020-01-19 02:45:00 | 2.32 | 263.8 | 2.932 | 272.3 | 3.011 | 257.3 | 2.984 | 267.9 | 0.927 | 972.474 | 90.0007 | -0.022169
2020-01-19 03:00:00 | 2.834 | 261.1 | 3.167 | 273.3 | 3.316 | 254.4 | 3.262 | 266.4 | 0.746 | 972.623 | 90.9572 | 0.1441
2020-01-19 03:15:00 | 3.021 | 276.4 | 3.446 | 273.8 | 3.382 | 279.5 | 3.364 | 279.1 | 0.612 | 972.474 | 92.7016 | -0.1441
2020-01-19 03:30:00 | 2.479 | 277.5 | 3.034 | 274 | 3.067 | 276.1 | 3.04 | 277.3 | 0.484 | 972.177 | 93.6931 | 0.059118
2020-01-19 03:45:00 | 2.278 | 293.1 | 2.582 | 274 | 2.779 | 299 | 2.826 | 296.3 | 0.317 | 972.177 | 94.6845 | 0.036949
2020-01-19 04:00:00 | 2.862 | 297.5 | 3.52 | 292.5 | 3.484 | 308 | 3.453 | 302.2 | 0.176 | 972.028 | 95.9836 | 0.68724
2020-01-19 04:15:00 | 2.702 | 320.8 | 3.011 | 318.5 | 2.729 | 334.9 | 2.74 | 322.5 | 0.004 | 971.88 | 97.2141 | 1.4262
2020-01-19 04:30:00 | 3.899 | 330.4 | 4.438 | 320.6 | 4.209 | 338.7 | 4.184 | 335 | -0.141 | 971.88 | 98.0687 | 3.5581
2020-01-19 04:45:00 | 3.418 | 337.3 | 4.421 | 352.6 | 4.684 | 353.9 | 4.825 | 338.8 | -0.372 | 971.731 | 98.7523 | 5.9154
2020-01-19 05:00:00 | 2.293 | 344.4 | 3.328 | 359.6 | 4.295 | 5.99 | 4.303 | 347.5 | -0.512 | 971.582 | 99.1283 | 3.7503
2020-01-19 05:15:00 | 3.583 | 356.3 | 3.799 | 2.582 | 3.293 | 355.7 | 3.404 | 358.8 | -0.475 | 971.88 | 99.5385 | 1.6146
2020-01-19 05:30:00 | 3.003 | 2.48 | 3.331 | 4.467 | 2.902 | 357.7 | 2.475 | 356.2 | -0.554 | 971.88 | 99.6753 | 0.46555
2020-01-19 05:45:00 | 3.207 | 351.8 | 3.543 | 3.928 | 2.996 | 353.4 | 2.47 | 40.91 | -0.725 | 972.177 | 99.7778 | 0.3584
2020-01-19 06:00:00 | 2.012 | 350.6 | 2.883 | 6.912 | 3.031 | 5.663 | 2.908 | 359.5 | -0.979 | 972.326 | 99.9487 | 0.036949
2020-01-19 06:15:00 | 2.219 | 3.495 | 1.789 | 17.82 | 1.93 | 14.84 | 1.805 | 34.09 | -1.219 | 972.474 | 100 | 0.062812
2020-01-19 06:30:00 | 2.269 | 11.58 | 2.758 | 29.48 | 2.482 | 17.72 | 2.195 | 12.7 | -1.305 | 972.474 | 100 | -0.18474
2020-01-19 06:45:00 | 2.09 | 8.31 | 2.595 | 21.2 | 2.194 | 6.674 | 2.065 | 5.748 | -1.4 | 972.623 | 100 | 0.036948
2020-01-19 07:00:00 | 2.648 | 6.973 | 2.311 | 27.71 | 2.057 | 16.15 | 2.024 | 15.66 | -1.564 | 972.474 | 100 | 0.096066
2020-01-19 07:15:00 | 2.113 | 9.05 | 1.955 | 23.81 | 1.93 | 7.568 | 1.757 | 17.12 | -1.759 | 972.772 | 100 | 0.3584
2020-01-19 07:30:00 | 2.691 | 15.85 | 3.047 | 28.74 | 2.716 | 14.03 | 2.574 | 20.96 | -1.872 | 972.772 | 100 | 0.37687
2020-01-19 07:45:00 | 3.179 | 24.31 | 2.937 | 34.46 | 2.998 | 17.92 | 3.106 | 43.03 | -2.048 | 973.069 | 100 | 0.39535
2020-01-19 08:00:00 | 3.332 | 29.72 | 2.715 | 41.82 | 2.329 | 29.02 | 2.32 | 19.38 | -2.197 | 972.772 | 100 | -0.25864
2020-01-19 08:15:00 | 3.228 | 18.33 | 2.525 | 45.2 | 2.276 | 27.93 | 2.544 | 7.941 | -2.13 | 973.069 | 99.9658 | -0.29928
2020-01-19 08:30:00 | 0.729 | 32.54 | 1.046 | 54.67 | 2.154 | 31.87 | 2.05 | 0.936 | -2.043 | 973.961 | 99.6581 | -0.29928
2020-01-19 08:45:00 | 2.237 | 19.62 | 2.239 | 54.54 | 2.848 | 32.33 | 2.809 | 23.71 | -0.226 | 974.705 | 91.1641 | -0.28081
2020-01-19 09:00:00 | 0.539 | 26.36 | 0.839 | 55.36 | 2.156 | 40.64 | 2.116 | 20.93 | 0.327 | 974.869 | 88.9151 | -0.29928
2020-01-19 09:15:00 | 1.406 | 53.66 | 0.397 | 55.69 | 1.288 | 124.1 | 1.273 | 23.32 | 1.362 | 975.618 | 86.1567 | -0.29928
2020-01-19 09:30:00 | 0.96 | 84.4 | 0.015 | 55.71 | 1.017 | 151.7 | 0.993 | 23.35 | 2.11 | 976.041 | 81.5675 | -0.26972
2020-01-19 09:45:00 | 2.333 | 129.4 | 2.395 | 161.4 | 1.482 | 136.1 | 1.522 | 23.5 | 1.013 | 976.056 | 73.9629 | -0.29928
2020-01-19 10:00:00 | 0.662 | 144.5 | 0.817 | 273 | 1.391 | 217.7 | 1.329 | 24.06 | 1.867 | 976.162 | 76.683 | -0.29928
2020-01-19 10:15:00 | 1.485 | 188.5 | 1.001 | 231.8 | 0.855 | 220.7 | 0.652 | 211.1 | 0.692 | 975.821 | 88.9575 | -0.28081
2020-01-19 10:30:00 | 0.957 | 186.8 | 0.623 | 189.1 | 0.507 | 154.9 | 0.445 | 180.4 | 2.332 | 976.041 | 78.9213 | -0.26972
2020-01-19 10:45:00 | 1.128 | 139.2 | 0.295 | 171.3 | 0.127 | 201.4 | 0.139 | 140.9 | 2.722 | 976.038 | 78.2386 | -0.28081
2020-01-19 11:00:00 | 1.851 | 170.1 | 1.889 | 210.2 | 1.29 | 178.6 | 1.316 | 163 | 1.87 | 976.038 | 83.9734 | -0.26972
2020-01-19 11:15:00 | 2.61 | 168 | 2.387 | 178.1 | 2.133 | 169 | 2.09 | 180.3 | 1.959 | 976.038 | 83.0518 | -0.29928
2020-01-19 11:30:00 | 3.082 | 186.7 | 2.745 | 194.3 | 2.235 | 175.5 | 2.243 | 192 | 2.887 | 975.592 | 68.6124 | -0.2882
2020-01-19 11:45:00 | 2.837 | 183.6 | 2.717 | 182.6 | 2.411 | 172.9 | 2.449 | 192 | 3.129 | 975.295 | 60.6247 | -0.29928
2020-01-19 12:00:00 | 2.896 | 185.7 | 2.722 | 202.3 | 1.974 | 184.1 | 1.771 | 202.8 | 3.602 | 974.942 | 50.5206 | -0.29928
2020-01-19 12:15:00 | 2.577 | 164.2 | 2.237 | 159.5 | 1.423 | 159.1 | 1.385 | 184.7 | 4.273 | 974.765 | 36.2519 | -0.29928
2020-01-19 12:30:00 | 3.118 | 184.6 | 2.822 | 189.7 | 2.126 | 182.9 | 1.999 | 203.4 | 4.964 | 974.712 | 43.4204 | -0.26972
2020-01-19 12:45:00 | 3.159 | 258.6 | 3.29 | 273.2 | 3.189 | 259.2 | 3.173 | 252.1 | 3.503 | 974.862 | 44.1372 | -0.28081
2020-01-19 13:00:00 | 2.883 | 253.8 | 3.055 | 271.8 | 3.164 | 257.7 | 3.201 | 249.1 | 3.613 | 974.913 | 53.9341 | -0.31776
2020-01-19 13:15:00 | 2.994 | 257.6 | 2.855 | 277.8 | 2.853 | 250.7 | 2.923 | 257.4 | 3.28 | 974.929 | 52.8077 | -0.26972
2020-01-19 13:30:00 | 2.837 | 239.3 | 2.745 | 258.3 | 2.106 | 246.2 | 1.988 | 236.4 | 3.562 | 974.289 | 40.0812 | -0.25125
2020-01-19 13:45:00 | 3.598 | 244.3 | 3.395 | 258.9 | 3.067 | 247.4 | 3.117 | 247.2 | 3.573 | 974.577 | 33.2537 | -0.28081
2020-01-19 14:00:00 | 3.726 | 229.8 | 3.471 | 250.4 | 2.907 | 247.1 | 3.033 | 224.3 | 3.313 | 974.404 | 43.1913 | -0.29928
2020-01-19 14:15:00 | 4.54 | 196.9 | 3.86 | 203.8 | 3.461 | 177.7 | 3.524 | 204.9 | 4.027 | 973.959 | 33.6349 | -0.218
2020-01-19 14:30:00 | 4.047 | 208 | 3.993 | 208.9 | 3.789 | 179.3 | 3.799 | 212.8 | 3.948 | 973.959 | 37.0155 | -0.17735
2020-01-19 14:45:00 | 3.687 | 215.2 | 3.74 | 226 | 3.242 | 210.6 | 3.247 | 220.2 | 4.164 | 973.83 | 20.4883 | -0.16996
2020-01-19 15:00:00 | 4.216 | 190.8 | 3.998 | 202.6 | 3.171 | 193.1 | 3.28 | 201.3 | 4.09 | 973.402 | 26.4641 | 0.059118
2020-01-19 15:15:00 | 4.619 | 217.5 | 4.778 | 229.3 | 4.775 | 206.9 | 4.907 | 222.7 | 4.278 | 973.386 | 24.5177 | 2.1134
2020-01-19 15:30:00 | 5.066 | 192.3 | 4.765 | 200 | 4.186 | 181.5 | 4.214 | 200.2 | 4.078 | 973.547 | 29.2983 | 3.0076
2020-01-19 15:45:00 | 5.224 | 200.9 | 4.612 | 205.1 | 3.988 | 186.6 | 4.082 | 214.2 | 4.098 | 973.484 | 28.3763 | 3.2034
2020-01-19 16:00:00 | 4.193 | 217.1 | 4.072 | 224.6 | 3.723 | 198.3 | 3.735 | 223.8 | 3.958 | 973.065 | 29.0592 | 2.3906
2020-01-19 16:15:00 | 4.438 | 220.4 | 3.973 | 231.6 | 3.591 | 220.6 | 3.611 | 222.2 | 3.757 | 973.068 | 29.6445 | 2.8266
2020-01-19 16:30:00 | 4.024 | 216.8 | 3.921 | 231.8 | 4.046 | 228.3 | 4.209 | 224.1 | 3.697 | 973.068 | 27.8731 | 2.3314
2020-01-19 16:45:00 | 3.856 | 215.7 | 3.63 | 224.4 | 4.328 | 186.8 | 4.55 | 216.5 | 3.478 | 972.623 | 29.24 | 2.2834
2020-01-19 17:00:00 | 3.391 | 214.9 | 3.175 | 230.8 | 3.985 | 234.8 | 4.337 | 222.9 | 3.11 | 972.474 | 29.7523 | 2.4497
2020-01-19 17:15:00 | 1.767 | 215.3 | 2.208 | 225.4 | 2.619 | 214.5 | 2.954 | 218.6 | 2.845 | 972.096 | 31.0209 | 0.46555
2020-01-19 17:30:00 | 3.092 | 216.6 | 3.53 | 227.9 | 3.573 | 210.4 | 3.7 | 220.6 | 2.858 | 972.177 | 30.4775 | 0.21061
2020-01-19 17:45:00 | 2.633 | 219 | 2.799 | 230.2 | 3.382 | 216.8 | 3.567 | 223.7 | 2.849 | 972.474 | 30.8218 | 0.15518
2020-01-19 18:00:00 | 2.229 | 218.4 | 2.822 | 228.7 | 3.408 | 208.6 | 3.651 | 224.3 | 2.78 | 972.623 | 31.0952 | 0.24016
2020-01-19 18:15:00 | 2.485 | 212.6 | 3.103 | 224.3 | 3.423 | 204.9 | 3.634 | 216.8 | 2.782 | 972.326 | 30.4117 | 0.23647
2020-01-19 18:30:00 | 2.681 | 206.5 | 3.06 | 215.3 | 3.13 | 202.5 | 3.364 | 213.2 | 2.84 | 972.623 | 30.1384 | 0.43969
2020-01-19 18:45:00 | 2.801 | 213.3 | 3.246 | 217.1 | 4.478 | 194 | 4.836 | 224.4 | 2.824 | 972.772 | 30.9585 | 1.6146
2020-01-19 19:00:00 | 3.641 | 220.1 | 4.369 | 224 | 5.806 | 202.7 | 6.076 | 230.3 | 3.024 | 972.772 | 33.4188 | 3.3069
2020-01-19 19:15:00 | 4.183 | 199 | 4.637 | 208 | 4.819 | 192.5 | 5.042 | 205 | 2.903 | 972.623 | 34.6489 | 4.4708
2020-01-19 19:30:00 | 5.081 | 184.2 | 5.161 | 204.1 | 5.142 | 197.8 | 5.2 | 183.4 | 2.483 | 972.474 | 36.2891 | 12.1782
2020-01-19 19:45:00 | 5.406 | 173.2 | 6.11 | 186.2 | 6.152 | 170 | 6.275 | 180 | 1.748 | 972.177 | 43.7382 | 13.198
2020-01-19 20:00:00 | 4.818 | 165.7 | 5.144 | 182.1 | 5.526 | 168.7 | 5.62 | 172.7 | 1.76 | 972.326 | 43.9468 | 14.3212
2020-01-19 20:15:00 | 3.751 | 171.4 | 4.931 | 181.1 | 5.648 | 173.1 | 5.702 | 187.3 | 1.397 | 972.177 | 47.9159 | 14.7683
2020-01-19 20:30:00 | 4.765 | 178.3 | 5.274 | 189.9 | 5.318 | 179.4 | 5.449 | 186.2 | 2.041 | 972.251 | 48.6707 | 16.7487
2020-01-19 20:45:00 | 3.943 | 164.4 | 4.939 | 179.4 | 5.219 | 170.7 | 5.284 | 171.3 | 1.407 | 972.265 | 57.6275 | 13.0096
2020-01-19 21:00:00 | 2.826 | 162.8 | 3.394 | 181.1 | 4.814 | 190.4 | 4.955 | 173.2 | 1.727 | 972.485 | 56.8104 | 13.2128
2020-01-19 21:15:00 | 3.846 | 165.1 | 4.954 | 174.9 | 5.564 | 165.6 | 5.671 | 177.8 | 1.808 | 972.524 | 56.195 | 15.3669
2020-01-19 21:30:00 | 3.358 | 162.2 | 4.934 | 173 | 5.559 | 165.5 | 5.656 | 170.7 | 1.586 | 972.582 | 55.2384 | 15.5257
2020-01-19 21:45:00 | 3.118 | 165.8 | 4.407 | 173.2 | 5.557 | 171.1 | 5.61 | 178.2 | 1.882 | 972.735 | 51.41 | 12.8839
2020-01-19 22:00:00 | 4.262 | 179.7 | 5.312 | 185.9 | 5.371 | 167 | 5.498 | 188.7 | 2.201 | 972.433 | 48.8805 | 11.0882
2020-01-19 22:15:00 | 4.331 | 181.3 | 5.184 | 189.1 | 5.241 | 168.5 | 5.299 | 189.9 | 2.527 | 972.829 | 48.3336 | 11.8013
2020-01-19 22:30:00 | 4.471 | 183.1 | 5.092 | 192.1 | 4.88 | 178.2 | 4.976 | 191.7 | 2.571 | 972.692 | 49.2848 | 13.5675
2020-01-19 22:45:00 | 4.246 | 179.9 | 5.164 | 188.2 | 5.15 | 178.8 | 5.281 | 186.8 | 2.549 | 972.778 | 49.6244 | 14.2473
2020-01-19 23:00:00 | 4.765 | 185.1 | 5.553 | 191.2 | 5.496 | 175.2 | 5.597 | 194.1 | 2.542 | 972.475 | 49.2796 | 16.8226
2020-01-19 23:15:00 | 4.928 | 177.8 | 6.138 | 186.7 | 6.396 | 173.1 | 6.494 | 187.9 | 2.538 | 972.475 | 50.3691 | 19.1356
2020-01-19 23:30:00 | 4.377 | 172 | 5.89 | 179.1 | 6.271 | 175.7 | 6.359 | 182.8 | 2.268 | 972.624 | 52.3498 | 18.7661
2020-01-19 23:45:00 | 4.711 | 184.8 | 5.818 | 194.2 | 5.778 | 177 | 5.788 | 192.9 | 2.552 | 972.475 | 48.6603 | 20.451