## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-20 00:00:00 | 3.47 | 165.2 | 4.89 | 182.3 | 5.984 | 186.4 | 6.048 | 173.8 | 2.34 | 972.475 | 50.0943 | 21.0865
2020-01-20 00:15:00 | 4.246 | 160.3 | 5.647 | 175.8 | 6.36 | 175.2 | 6.438 | 168.5 | 1.954 | 972.475 | 50.8482 | 23.2258
2020-01-20 00:30:00 | 5.355 | 161.2 | 5.967 | 176.2 | 6.696 | 166.6 | 6.781 | 169.5 | 1.908 | 972.475 | 49.8262 | 24.1273
2020-01-20 00:45:00 | 6.136 | 158.3 | 6.616 | 174.2 | 6.864 | 161.6 | 6.891 | 165.5 | 1.8 | 972.475 | 47.7442 | 27.5414
2020-01-20 01:00:00 | 4.89 | 157.5 | 5.954 | 172.2 | 6.04 | 168.9 | 6.068 | 165.1 | 1.918 | 972.525 | 46.1387 | 29.9098
2020-01-20 01:15:00 | 6.835 | 157.5 | 7.588 | 172.5 | 7.731 | 160.5 | 7.818 | 166 | 1.982 | 972.491 | 45.6648 | 33.4938
2020-01-20 01:30:00 | 7.282 | 159.7 | 7.966 | 172.9 | 8.39 | 160.2 | 8.42 | 169.6 | 2.031 | 972.516 | 45.9004 | 36.2058
2020-01-20 01:45:00 | 6.848 | 156.8 | 7.667 | 170.8 | 8.2 | 159.7 | 8.28 | 166.7 | 1.839 | 972.642 | 47.9174 | 33.2462
2020-01-20 02:00:00 | 5.717 | 159.5 | 6.355 | 174.4 | 6.989 | 161.8 | 7.097 | 167.8 | 1.759 | 972.898 | 49.2197 | 28.842
2020-01-20 02:15:00 | 4.954 | 160.6 | 6.005 | 176 | 6.317 | 169.5 | 6.379 | 167.8 | 1.636 | 972.73 | 50.1757 | 24.1828
2020-01-20 02:30:00 | 4.795 | 167.1 | 5.466 | 181.1 | 5.44 | 174.4 | 5.49 | 172.2 | 1.656 | 972.955 | 51.7505 | 21.0348
2020-01-20 02:45:00 | 4.982 | 164.7 | 6.21 | 177 | 6.683 | 169.2 | 6.835 | 177.2 | 1.642 | 973.18 | 51.2383 | 19.9928
2020-01-20 03:00:00 | 4.614 | 180.9 | 5.545 | 189.2 | 5.348 | 172 | 5.444 | 189.8 | 2.204 | 973.307 | 48.9488 | 15.0232
2020-01-20 03:15:00 | 4.831 | 191.4 | 5.054 | 205.9 | 5.119 | 188.8 | 5.289 | 193.4 | 2.943 | 973.334 | 47.9885 | 11.2914
2020-01-20 03:30:00 | 4.374 | 188.6 | 4.993 | 200.9 | 5.31 | 177 | 5.391 | 193.7 | 2.656 | 973.369 | 49.0759 | 9.6325
2020-01-20 03:45:00 | 3.731 | 202.1 | 4.249 | 210.6 | 4.885 | 189.3 | 5.08 | 211.8 | 2.634 | 973.367 | 48.5943 | 6.2665
2020-01-20 04:00:00 | 4.343 | 211.9 | 4.74 | 214.2 | 4.921 | 200.1 | 5.251 | 225 | 2.792 | 973.367 | 49.8219 | 5.5016
2020-01-20 04:15:00 | 3.833 | 217.4 | 4.172 | 217.9 | 4.448 | 196.3 | 4.65 | 227.7 | 2.517 | 973.515 | 50.915 | 2.4903
2020-01-20 04:30:00 | 2.824 | 225.9 | 3.124 | 224.4 | 3.804 | 197.8 | 3.967 | 241.2 | 2.419 | 973.367 | 50.9147 | 0.92371
2020-01-20 04:45:00 | 3.595 | 239.6 | 3.814 | 243.2 | 4.049 | 219.9 | 4.176 | 246.7 | 2.395 | 973.367 | 49.8219 | 1.8659
2020-01-20 05:00:00 | 2.786 | 252.9 | 2.998 | 263.8 | 3.494 | 237.8 | 3.595 | 257.6 | 2.312 | 973.367 | 50.9186 | 0.45816
2020-01-20 05:15:00 | 2.456 | 262.6 | 3.116 | 275.5 | 3.364 | 262.6 | 3.404 | 265.8 | 1.908 | 973.367 | 51.8095 | 0.26972
2020-01-20 05:30:00 | 2.405 | 267.6 | 2.996 | 276.1 | 3.064 | 265 | 3.091 | 271.7 | 1.843 | 973.385 | 52.5656 | 0.10346
2020-01-20 05:45:00 | 2.962 | 289.8 | 3.221 | 300.6 | 3.186 | 298.8 | 3.305 | 293.6 | 1.732 | 973.906 | 53.6626 | 0.36949
2020-01-20 06:00:00 | 3.297 | 301.7 | 3.916 | 315.2 | 3.865 | 308.7 | 3.873 | 304.7 | 1.506 | 974.102 | 55.1697 | 1.0715
2020-01-20 06:15:00 | 3.215 | 325 | 2.725 | 331.2 | 1.08 | 326.1 | 1.024 | 315.9 | 0.924 | 973.961 | 57.0843 | 1.3375
2020-01-20 06:30:00 | 3.192 | 324.8 | 2.313 | 344.8 | 1.933 | 338.4 | 1.767 | 322.6 | 0.607 | 974.11 | 58.8959 | 1.9102
2020-01-20 06:45:00 | 3.036 | 335.2 | 4.164 | 352.3 | 3.619 | 357.5 | 4.028 | 339.4 | 0.07 | 973.961 | 61.5955 | 2.8118
2020-01-20 07:00:00 | 3.907 | 350.5 | 5.161 | 4.585 | 5.544 | 1.633 | 5.6 | 356.2 | -0.203 | 974.11 | 62.1432 | 4.4079
2020-01-20 07:15:00 | 3.363 | 359.8 | 4.139 | 15.37 | 4.679 | 7.33 | 4.828 | 359.4 | -0.512 | 974.259 | 63.2712 | 4.1936
2020-01-20 07:30:00 | 3.583 | 10.6 | 4.325 | 24.64 | 3.794 | 16.6 | 3.226 | 13.15 | -1.199 | 974.259 | 70.552 | 4.0939
2020-01-20 07:45:00 | 3.682 | 8.62 | 4.686 | 23.12 | 3.784 | 13.8 | 3.677 | 7.497 | -1.374 | 974.556 | 70.6204 | 9.093
2020-01-20 08:00:00 | 4.351 | 9.27 | 5.223 | 24.3 | 4.534 | 16.01 | 4.39 | 10.4 | -1.181 | 975.002 | 68.5011 | 12.3519
2020-01-20 08:15:00 | 4.126 | 15.91 | 5.831 | 34.44 | 6.633 | 21.09 | 5.791 | 17.83 | -1.064 | 975.151 | 67.8858 | 12.8174
2020-01-20 08:30:00 | 4.52 | 13.82 | 6.159 | 29.03 | 6.612 | 13.86 | 6.096 | 17.71 | -0.437 | 975.746 | 65.2193 | 9.1743
2020-01-20 08:45:00 | 4.006 | 22.46 | 4.826 | 35.61 | 5.246 | 26.88 | 5.401 | 24.84 | -0.799 | 976.276 | 66.6527 | 7.8257
2020-01-20 09:00:00 | 3.32 | 19.06 | 4.591 | 37.64 | 5.374 | 38 | 5.531 | 23.91 | -0.733 | 976.34 | 68.7902 | 6.5066
2020-01-20 09:15:00 | 3.685 | 19.91 | 5.409 | 32.25 | 5.707 | 25.52 | 5.798 | 26.11 | -0.248 | 976.785 | 64.1722 | 6.115
2020-01-20 09:30:00 | 4.029 | 23.74 | 5.059 | 37.88 | 5.534 | 32.16 | 5.579 | 30.13 | -0.293 | 976.934 | 65.7075 | 4.4634
2020-01-20 09:45:00 | 3.016 | 23.63 | 4.573 | 36.45 | 5.478 | 33.24 | 5.536 | 31.07 | -0.044 | 977.361 | 65.2618 | 1.4188
2020-01-20 10:00:00 | 2.25 | 25.76 | 2.906 | 51.29 | 2.744 | 53.26 | 2.816 | 30.02 | 0.321 | 977.912 | 65.0412 | 0.10715
2020-01-20 10:15:00 | 2.295 | 20.04 | 3.298 | 41.11 | 2.182 | 29.17 | 2.039 | 17.65 | 0.865 | 978.121 | 62.8864 | 0.7131
2020-01-20 10:30:00 | 2.232 | 14.19 | 2.893 | 31.25 | 2.594 | 24.01 | 2.401 | 14.24 | 1.754 | 978.418 | 60.3165 | 1.2415
2020-01-20 10:45:00 | 2.817 | 5.951 | 3.108 | 27.09 | 3.006 | 14.75 | 3.068 | 2.915 | 1.824 | 978.301 | 58.5283 | 1.5777
2020-01-20 11:00:00 | 1.929 | 22.49 | 2.486 | 35.47 | 2.461 | 18.36 | 2.41 | 9.07 | 2.744 | 978.417 | 55.5224 | 1.5038
2020-01-20 11:15:00 | 3.064 | 8.07 | 2.863 | 35.81 | 2.466 | 30.41 | 2.659 | 2.98 | 2.488 | 978.416 | 54.524 | 0.84242
2020-01-20 11:30:00 | 3.051 | 10.11 | 3.668 | 24.55 | 2.909 | 10.64 | 2.87 | 16.18 | 2.677 | 978.171 | 51.9309 | 0.85351
2020-01-20 11:45:00 | 3.02 | 12.59 | 3.543 | 27.49 | 2.886 | 12.86 | 2.75 | 15.32 | 2.936 | 977.917 | 50.5984 | 0.68355
2020-01-20 12:00:00 | 3.248 | 13.93 | 3.229 | 30 | 2.591 | 19.26 | 2.579 | 17.33 | 2.93 | 977.77 | 49.1988 | 0.7907
2020-01-20 12:15:00 | 2.98 | 18.57 | 3.643 | 32.21 | 2.764 | 18.03 | 2.788 | 14.88 | 3.367 | 977.657 | 47.1837 | 0.56162
2020-01-20 12:30:00 | 2.63 | 12.76 | 2.912 | 26.67 | 2.622 | 12.19 | 2.592 | 11.1 | 3.806 | 977.6 | 44.5206 | 0.33623
2020-01-20 12:45:00 | 2.183 | 9.92 | 2.965 | 23.88 | 2.601 | 14.21 | 2.584 | 10.3 | 4.486 | 977.698 | 43.4911 | 0.86459
2020-01-20 13:00:00 | 1.829 | 8.97 | 2.325 | 20.27 | 1.091 | 357.8 | 1.024 | 9.97 | 5.08 | 977.893 | 42.9084 | 0.56531
2020-01-20 13:15:00 | 1.851 | 12.76 | 2.196 | 33.07 | 1.364 | 14.79 | 1.356 | 25.41 | 4.778 | 978.117 | 42.9425 | 0.62073
2020-01-20 13:30:00 | 1.765 | 24.35 | 2.459 | 28.54 | 2.316 | 12.21 | 2.285 | 19.74 | 4.545 | 977.819 | 42.6694 | 0.72419
2020-01-20 13:45:00 | 2.058 | 4.02 | 3.077 | 21.02 | 2.711 | 12.25 | 2.493 | 0.412 | 4.595 | 977.523 | 43.5569 | 1.1565
2020-01-20 14:00:00 | 1.484 | 34.63 | 2.306 | 4.277 | 3.115 | 335.2 | 3.216 | 27.06 | 5.278 | 977.968 | 43.2839 | 1.0604
2020-01-20 14:15:00 | 1.919 | 21.79 | 2.313 | 23.53 | 2.693 | 334.5 | 2.516 | 11.36 | 5.021 | 977.82 | 44.581 | 0.787
2020-01-20 14:30:00 | 2.262 | 14.53 | 2.307 | 7.817 | 2.521 | 301.2 | 2.516 | 21.92 | 5.246 | 977.974 | 44.7175 | 0.87937
2020-01-20 14:45:00 | 2.329 | 9.88 | 2.332 | 350.7 | 1.987 | 313.7 | 2.068 | 11.83 | 4.981 | 977.856 | 44.9906 | 1.3117
2020-01-20 15:00:00 | 2.839 | 322.6 | 3.566 | 322.9 | 3.204 | 312.9 | 3.201 | 332.3 | 4.901 | 977.838 | 45.4685 | 1.6627
2020-01-20 15:15:00 | 3.238 | 304.8 | 3.778 | 315.3 | 3.306 | 297.5 | 3.354 | 312.5 | 4.686 | 977.96 | 46.8087 | 1.4816
2020-01-20 15:30:00 | 3.215 | 300.7 | 3.617 | 308.9 | 3.006 | 291.2 | 3.048 | 307.1 | 4.279 | 977.818 | 47.5976 | 0.68724
2020-01-20 15:45:00 | 2.543 | 322.5 | 2.743 | 324.3 | 2.329 | 312.1 | 2.391 | 329.1 | 4.084 | 977.376 | 48.8987 | 0.48402
2020-01-20 16:00:00 | 2.354 | 330.2 | 2.518 | 347.7 | 2.563 | 342.6 | 2.605 | 335 | 3.767 | 977.21 | 49.4451 | 0.38426
2020-01-20 16:15:00 | 1.937 | 339.6 | 2.427 | 355 | 2.95 | 352 | 3.053 | 339.8 | 3.523 | 976.932 | 49.1871 | 0.86829
2020-01-20 16:30:00 | 3.118 | 335.6 | 3.377 | 348.3 | 3.37 | 338.1 | 3.422 | 338 | 3.267 | 976.486 | 49.4962 | 1.9546
2020-01-20 16:45:00 | 2.85 | 348 | 3.448 | 10 | 4.196 | 354.9 | 4.219 | 354.8 | 2.874 | 976.04 | 48.0615 | 3.6062
2020-01-20 17:00:00 | 3.897 | 9.76 | 4.752 | 8.76 | 3.868 | 358.2 | 3.292 | 2.789 | 2.799 | 976.307 | 46.875 | 4.7885
2020-01-20 17:15:00 | 4.52 | 22.51 | 4.361 | 7.253 | 3.975 | 352.8 | 3.226 | 4.059 | 2.574 | 976.042 | 47.4244 | 4.7442
2020-01-20 17:30:00 | 3.771 | 2.032 | 3.505 | 12.81 | 3.56 | 356.1 | 3.407 | 9.29 | 2.47 | 976.186 | 47.7695 | 5.1321
2020-01-20 17:45:00 | 3.48 | 4.439 | 3.515 | 14.31 | 2.942 | 357 | 3.275 | 12.04 | 2.351 | 976.19 | 47.7704 | 5.4905
2020-01-20 18:00:00 | 3.085 | 7.01 | 4.154 | 15.28 | 4.049 | 5.899 | 4.232 | 16.1 | 2.085 | 976.042 | 48.3171 | 4.6407
2020-01-20 18:15:00 | 2.707 | 17.51 | 3.517 | 15.51 | 4.066 | 8.05 | 4.207 | 23.55 | 2.182 | 976.042 | 48.3171 | 2.7305
2020-01-20 18:30:00 | 3.077 | 17.56 | 3.791 | 15.83 | 3.573 | 14.02 | 3.473 | 27.62 | 2.306 | 976.042 | 46.6099 | 1.9435
2020-01-20 18:45:00 | 2.985 | 32.62 | 3.162 | 15.91 | 2.571 | 16.89 | 2.536 | 44.91 | 2.456 | 976.042 | 43.9473 | 0.89046
2020-01-20 19:00:00 | 2.554 | 46.46 | 2.656 | 15.91 | 1.92 | 27.05 | 1.889 | 58.84 | 2.697 | 976.042 | 44.2216 | -0.014779
2020-01-20 19:15:00 | 2.531 | 49.01 | 2.556 | 55.76 | 0.992 | 36.81 | 1.16 | 73.65 | 3.046 | 976.19 | 41.4204 | -0.22539
2020-01-20 19:30:00 | 1.808 | 103.6 | 1.631 | 75.43 | 1.072 | 44.94 | 1.339 | 125.2 | 3.268 | 976.343 | 41.5562 | -0.30298
2020-01-20 19:45:00 | 1.701 | 126.5 | 1.652 | 128.4 | 1.449 | 79.04 | 1.609 | 132.9 | 3.53 | 976.339 | 41.966 | -0.28081
2020-01-20 20:00:00 | 1.744 | 143.5 | 2.416 | 147.5 | 2.629 | 129.7 | 2.595 | 141.7 | 3.744 | 976.339 | 43.4675 | -0.28081
2020-01-20 20:15:00 | 2.347 | 148.1 | 3.07 | 152.5 | 3.021 | 149.2 | 3.015 | 150.7 | 3.809 | 976.637 | 43.0563 | -0.28081
2020-01-20 20:30:00 | 2.191 | 148.1 | 2.991 | 152.5 | 3.026 | 146.4 | 3.048 | 150.7 | 3.674 | 976.339 | 43.1916 | -0.26972
2020-01-20 20:45:00 | 2.27 | 147.4 | 2.876 | 152.5 | 2.708 | 148.2 | 2.696 | 150.7 | 3.692 | 976.637 | 42.5081 | -0.20691
2020-01-20 21:00:00 | 2.262 | 147.4 | 3.078 | 152.5 | 2.416 | 145.1 | 2.409 | 150.9 | 3.804 | 976.637 | 43.6699 | -0.20691
2020-01-20 21:15:00 | 2.262 | 142.8 | 2.945 | 152.5 | 2.919 | 145 | 2.938 | 150.8 | 3.804 | 976.785 | 45.1734 | 0.24386
2020-01-20 21:30:00 | 4.527 | 121.2 | 4.543 | 136.7 | 4.112 | 126 | 4.059 | 127.3 | 3.529 | 976.637 | 44.3192 | 2.1319
2020-01-20 21:45:00 | 4.984 | 130.2 | 4.734 | 144.2 | 4.506 | 127.4 | 4.566 | 136.5 | 3.417 | 976.934 | 45.1393 | 4.7072
2020-01-20 22:00:00 | 2.903 | 132.4 | 3.625 | 152.5 | 4.743 | 139.7 | 4.899 | 137.1 | 3.162 | 976.934 | 45.2418 | 8.5166
2020-01-20 22:15:00 | 3.59 | 132.9 | 4.274 | 148.9 | 4.845 | 141.8 | 4.96 | 136.2 | 3.249 | 977.083 | 44.2167 | 9.9946
2020-01-20 22:30:00 | 3.771 | 132.9 | 4.369 | 151 | 4.832 | 142.9 | 4.882 | 138.4 | 3.397 | 977.083 | 43.8749 | 12.3666
2020-01-20 22:45:00 | 4.818 | 131.4 | 5.532 | 147.8 | 6.04 | 137.3 | 6.035 | 137.1 | 3.348 | 977.231 | 44.3533 | 19.0137
2020-01-20 23:00:00 | 5.186 | 132.2 | 5.335 | 149.6 | 5.213 | 130.6 | 5.233 | 137.7 | 3.072 | 976.934 | 45.7885 | 21.5779
2020-01-20 23:15:00 | 5.99 | 129.4 | 6 | 144.1 | 5.992 | 126.8 | 5.979 | 135.3 | 2.974 | 976.934 | 46.882 | 23.9869
2020-01-20 23:30:00 | 5.829 | 130.7 | 6.268 | 144.8 | 6.254 | 129.2 | 6.231 | 137 | 2.962 | 976.934 | 47.4287 | 27.4231
2020-01-20 23:45:00 | 5.324 | 134.9 | 5.655 | 151.7 | 5.918 | 138 | 6 | 140.2 | 2.978 | 976.934 | 47.1553 | 30.8446