## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-21 00:00:00 | 3.897 | 135.8 | 4.663 | 151 | 5.58 | 144.9 | 5.714 | 142.9 | 2.853 | 976.934 | 48.2488 | 30.7855
2020-01-21 00:15:00 | 5.551 | 141.3 | 5.645 | 156.6 | 5.653 | 138.9 | 5.709 | 146.9 | 3.062 | 976.934 | 47.4629 | 29.3149
2020-01-21 00:30:00 | 3.649 | 137.3 | 4.029 | 156.7 | 5.638 | 147.7 | 5.73 | 142.9 | 3.084 | 976.637 | 49.0689 | 30.0095
2020-01-21 00:45:00 | 6.514 | 138.7 | 6.862 | 153.4 | 7.073 | 138.4 | 7.105 | 146.1 | 3.203 | 976.637 | 48.5905 | 37.7281
2020-01-21 01:00:00 | 6.299 | 135 | 6.703 | 150.5 | 7.047 | 137.5 | 7.003 | 141.8 | 3.461 | 976.637 | 49.0005 | 40.1814
2020-01-21 01:15:00 | 6.578 | 138.7 | 7.163 | 153.3 | 7.406 | 141.6 | 7.377 | 145.4 | 3.252 | 976.637 | 50.0256 | 39.9191
2020-01-21 01:30:00 | 7.193 | 138.9 | 7.721 | 154.7 | 8.11 | 144.4 | 8.09 | 144.3 | 3.377 | 976.488 | 49.2739 | 42.6866
2020-01-21 01:45:00 | 7.622 | 133 | 7.726 | 147.6 | 7.724 | 132.7 | 7.612 | 141.7 | 3.158 | 976.634 | 51.2216 | 45.9528
2020-01-21 02:00:00 | 7.522 | 135.1 | 8.02 | 149.8 | 8.32 | 136.8 | 8.3 | 142 | 2.828 | 976.487 | 51.1874 | 47.4862
2020-01-21 02:15:00 | 8.81 | 133.9 | 9.27 | 148.1 | 9.48 | 131.3 | 9.36 | 141.2 | 2.792 | 976.339 | 51.4266 | 58.6778
2020-01-21 02:30:00 | 9.03 | 133.8 | 9.39 | 148.1 | 9.55 | 135.5 | 9.49 | 142 | 2.65 | 976.339 | 50.5724 | 62.8308
2020-01-21 02:45:00 | 8.67 | 136 | 9.39 | 151.9 | 9.98 | 141 | 9.95 | 143 | 2.778 | 975.744 | 48.3855 | 62.1437
2020-01-21 03:00:00 | 8.23 | 137.2 | 8.75 | 152.5 | 8.99 | 138.4 | 8.99 | 142.9 | 2.649 | 975.744 | 47.7704 | 60.5253
2020-01-21 03:15:00 | 8.33 | 135 | 8.76 | 150.3 | 9.39 | 136.9 | 9.39 | 139.6 | 2.517 | 975.596 | 48.1121 | 58.8589
2020-01-21 03:30:00 | 9.13 | 135.7 | 9.43 | 150.6 | 9.88 | 135.3 | 9.8 | 142.8 | 2.432 | 974.852 | 47.2237 | 64.3605
2020-01-21 03:45:00 | 9.28 | 135.5 | 9.4 | 150.6 | 9.47 | 134.9 | 9.37 | 142.2 | 2.512 | 975.15 | 47.9754 | 66.9506
2020-01-21 04:00:00 | 9.28 | 134.5 | 10.03 | 148.5 | 9.86 | 134 | 9.81 | 140.4 | 2.277 | 974.852 | 48.0779 | 68.7758
2020-01-21 04:15:00 | 9.13 | 131.5 | 9.67 | 146.7 | 10.39 | 135.9 | 10.35 | 138.8 | 2.133 | 974.852 | 48.3855 | 74.1482
2020-01-21 04:30:00 | 9.26 | 131.8 | 9.74 | 147.4 | 9.97 | 135.5 | 9.93 | 137.4 | 1.995 | 974.555 | 49.4789 | 70.7349
2020-01-21 04:45:00 | 9.32 | 131.6 | 9.72 | 146.7 | 9.84 | 133.2 | 9.78 | 138.7 | 1.94 | 974.555 | 51.3932 | 73.4757
2020-01-21 05:00:00 | 9.26 | 133.4 | 9.57 | 147.8 | 10.46 | 134.8 | 10.38 | 140.2 | 1.759 | 974.406 | 53.0354 | 73.5865
2020-01-21 05:15:00 | 9.89 | 129.6 | 10.2 | 143.7 | 11.08 | 129.9 | 11.11 | 136.6 | 1.772 | 974.555 | 53.9293 | 72.8439
2020-01-21 05:30:00 | 10.32 | 129.9 | 10.61 | 143.2 | 11.03 | 128.2 | 11.05 | 135.7 | 1.743 | 973.99 | 55.6389 | 72.2572
2020-01-21 05:45:00 | 10.33 | 129.4 | 10.73 | 142.9 | 11.27 | 128.9 | 11.32 | 135.9 | 1.603 | 973.813 | 56.7673 | 77.0966
2020-01-21 06:00:00 | 10.26 | 127.6 | 10.67 | 143.4 | 11.29 | 132.1 | 11.29 | 135.1 | 1.475 | 974.11 | 58.855 | 80.2373
2020-01-21 06:15:00 | 10.15 | 127.1 | 10.53 | 139.3 | 10.99 | 124 | 11.04 | 134 | 1.303 | 974.009 | 60.7689 | 78.8628
2020-01-21 06:30:00 | 10.79 | 127.1 | 11.29 | 140.2 | 12.1 | 127.6 | 12.13 | 133.7 | 1.327 | 974.071 | 61.5233 | 79.7421
2020-01-21 06:45:00 | 10.35 | 130.2 | 10.5 | 146 | 11.15 | 134.9 | 11.21 | 135.6 | 1.449 | 974.102 | 61.8336 | 78.8591
2020-01-21 07:00:00 | 11.02 | 129.6 | 11.39 | 145.3 | 12.03 | 130 | 12.06 | 136.3 | 1.497 | 974.456 | 62.2768 | 79.4031
2020-01-21 07:15:00 | 11.05 | 130.6 | 11.57 | 146.6 | 12.29 | 133.4 | 12.26 | 135.8 | 1.581 | 974.637 | 62.2056 | 76.6015
2020-01-21 07:30:00 | 9.85 | 128.9 | 10.41 | 145.6 | 11.17 | 132 | 11.16 | 135.6 | 1.665 | 974.614 | 63.0953 | 72.0827
2020-01-21 07:45:00 | 9.07 | 133.2 | 9.3 | 144.9 | 9.66 | 128.3 | 9.72 | 140 | 1.542 | 974.579 | 64.2527 | 69.3412
2020-01-21 08:00:00 | 9.67 | 132.5 | 10.48 | 146.2 | 10.68 | 133.1 | 10.55 | 138.1 | 1.407 | 974.705 | 66.3692 | 69.8917
2020-01-21 08:15:00 | 9.13 | 133.2 | 9.26 | 150.7 | 9.67 | 140.5 | 9.6 | 137.7 | 1.356 | 975.002 | 66.4295 | 65.4357
2020-01-21 08:30:00 | 8.39 | 132.8 | 8.92 | 149 | 9.17 | 137.6 | 9.23 | 138.2 | 1.302 | 975.596 | 67.5552 | 59.0806
2020-01-21 08:45:00 | 8.52 | 132.1 | 8.84 | 153.4 | 9.09 | 148.1 | 9.07 | 137.2 | 1.413 | 975.745 | 67.8968 | 57.3514
2020-01-21 09:00:00 | 7.502 | 135.1 | 7.792 | 151 | 7.736 | 143.8 | 7.8 | 142.4 | 1.593 | 975.745 | 67.7601 | 53.7473
2020-01-21 09:15:00 | 8.31 | 133.1 | 8.63 | 152.6 | 8.91 | 143.6 | 8.88 | 140 | 1.614 | 976.036 | 67.931 | 47.2497
2020-01-21 09:30:00 | 8.67 | 136.2 | 9.07 | 154.1 | 9.57 | 144 | 9.64 | 140.3 | 1.731 | 976.333 | 68.1997 | 51.2955
2020-01-21 09:45:00 | 8.7 | 136.2 | 9.14 | 151.3 | 8.97 | 139.5 | 9.07 | 142.3 | 1.774 | 976.339 | 68.4037 | 49.8398
2020-01-21 10:00:00 | 9.24 | 133.6 | 9.73 | 149.6 | 9.69 | 136.1 | 9.54 | 141.1 | 1.865 | 976.333 | 68.1355 | 54.0371
2020-01-21 10:15:00 | 9.6 | 134.7 | 9.68 | 150.5 | 9.87 | 139.5 | 9.86 | 140.8 | 2.014 | 976.636 | 68.0675 | 52.8991
2020-01-21 10:30:00 | 10.37 | 133.6 | 10.59 | 147.6 | 10.41 | 132 | 10.33 | 139.8 | 2.03 | 976.19 | 67.8626 | 54.4805
2020-01-21 10:45:00 | 8.22 | 132.5 | 8.53 | 148.7 | 8.78 | 139 | 8.64 | 137.6 | 2.168 | 976.042 | 67.7259 | 46.4089
2020-01-21 11:00:00 | 9.66 | 134.7 | 9.54 | 148.1 | 9.1 | 132.5 | 9.02 | 140.9 | 2.179 | 976.041 | 67.931 | 47.0391
2020-01-21 11:15:00 | 8.59 | 132.2 | 8.96 | 148 | 8.89 | 139.7 | 8.8 | 140.6 | 2.343 | 975.887 | 67.4526 | 42.7383
2020-01-21 11:30:00 | 8.49 | 144.3 | 8.95 | 162.2 | 8.69 | 153.8 | 8.67 | 148.9 | 2.371 | 975.72 | 67.7238 | 44.6485
2020-01-21 11:45:00 | 7.747 | 143.4 | 7.813 | 163.2 | 7.38 | 153.2 | 7.288 | 145 | 2.304 | 975.574 | 68.8129 | 44.0684
2020-01-21 12:00:00 | 7.719 | 135.3 | 7.736 | 150.4 | 7.561 | 137 | 7.647 | 139.4 | 2.322 | 975.147 | 68.3727 | 44.8694
2020-01-21 12:15:00 | 6.672 | 133.5 | 7.002 | 149.5 | 7.424 | 137.6 | 7.484 | 138.2 | 2.509 | 975.137 | 67.6541 | 43.8985
2020-01-21 12:30:00 | 6.92 | 141.2 | 7.181 | 157.9 | 6.887 | 148.8 | 6.809 | 145.1 | 2.79 | 974.844 | 67.5153 | 47.056
2020-01-21 12:45:00 | 8.58 | 143.5 | 9.03 | 159.6 | 8.72 | 147.4 | 8.59 | 148.6 | 2.638 | 974.852 | 68.4402 | 51.399
2020-01-21 13:00:00 | 7.895 | 143.7 | 8.07 | 159 | 8.47 | 144.6 | 8.5 | 149.5 | 2.644 | 974.555 | 68.7128 | 58.0645
2020-01-21 13:15:00 | 8.85 | 145.5 | 8.9 | 160.6 | 8.87 | 149.7 | 8.84 | 151.6 | 2.647 | 974.253 | 69.2235 | 61.4785
2020-01-21 13:30:00 | 10.75 | 147.5 | 10.89 | 162.3 | 10.7 | 148.8 | 10.61 | 151.6 | 2.87 | 973.931 | 68.9501 | 64.4159
2020-01-21 13:45:00 | 11.85 | 140.4 | 12.01 | 157.8 | 11.75 | 145.3 | 11.65 | 144.9 | 3.003 | 973.654 | 68.0606 | 63.8478
2020-01-21 14:00:00 | 10.68 | 140.2 | 11.18 | 156 | 11.12 | 145.8 | 10.92 | 144.2 | 3.053 | 973.663 | 67.6492 | 65.211
2020-01-21 14:15:00 | 8.03 | 128.8 | 8.02 | 142.5 | 7.871 | 131.2 | 7.907 | 135.1 | 3.268 | 973.951 | 64.4393 | 54.5634
2020-01-21 14:30:00 | 8.07 | 128.2 | 8.28 | 144.7 | 8.86 | 135.7 | 8.93 | 132.9 | 3.532 | 973.961 | 60.5459 | 44.0935
2020-01-21 14:45:00 | 7.471 | 131.3 | 7.92 | 147.8 | 7.706 | 134.3 | 7.787 | 136.1 | 3.658 | 974.258 | 60.5461 | 40.9093
2020-01-21 15:00:00 | 7.032 | 131 | 7.57 | 146.9 | 8.02 | 133.3 | 7.968 | 136.9 | 3.644 | 973.937 | 61.3673 | 41.7111
2020-01-21 15:15:00 | 7.686 | 131.8 | 8.09 | 149.3 | 8.17 | 137.4 | 8.13 | 137.7 | 3.587 | 973.942 | 62.0173 | 45.8567
2020-01-21 15:30:00 | 8.15 | 131.7 | 8.69 | 146.2 | 9.14 | 130.7 | 9.21 | 137 | 3.704 | 973.365 | 60.2027 | 45.8678
2020-01-21 15:45:00 | 7.964 | 135.5 | 8.54 | 151.4 | 8.59 | 138.8 | 8.55 | 140.4 | 3.787 | 973.663 | 60.2735 | 47.1499
2020-01-21 16:00:00 | 7.193 | 139.5 | 7.194 | 159.6 | 6.762 | 154 | 6.664 | 141.9 | 3.751 | 973.366 | 62.05 | 45.1436
2020-01-21 16:15:00 | 7.423 | 134.5 | 7.639 | 154.9 | 7.889 | 141.8 | 7.823 | 138.8 | 3.706 | 973.364 | 62.2543 | 41.0165
2020-01-21 16:30:00 | 6.869 | 136.5 | 6.984 | 151.9 | 7.24 | 137.4 | 7.242 | 141.9 | 3.734 | 973.363 | 63.4827 | 37.0187
2020-01-21 16:45:00 | 6.94 | 136.4 | 6.977 | 153.9 | 6.991 | 137.3 | 6.965 | 142.2 | 3.67 | 973.217 | 64.1701 | 31.6907
2020-01-21 17:00:00 | 6.902 | 142.3 | 7.301 | 159.8 | 7.179 | 146.7 | 7.161 | 145.7 | 3.623 | 972.772 | 64.5796 | 31.9124
2020-01-21 17:15:00 | 6.593 | 140.2 | 7.12 | 156.1 | 7.111 | 142 | 7.082 | 145.2 | 3.536 | 972.772 | 64.1673 | 31.2806
2020-01-21 17:30:00 | 6.166 | 137.9 | 6.166 | 155.7 | 6.513 | 139.1 | 6.58 | 143.4 | 3.634 | 972.772 | 64.5763 | 29.9061
2020-01-21 17:45:00 | 6.11 | 137.7 | 6.327 | 156 | 6.526 | 144.3 | 6.557 | 142.2 | 3.667 | 973.067 | 63.6882 | 31.5688
2020-01-21 18:00:00 | 6.897 | 144.2 | 7.429 | 157.9 | 7.747 | 143.4 | 7.752 | 148.9 | 3.728 | 973.332 | 62.3889 | 32.7881
2020-01-21 18:15:00 | 8.48 | 141.5 | 8.65 | 157.6 | 8.67 | 147.2 | 8.58 | 145.6 | 3.884 | 973.363 | 61.0907 | 38.3894
2020-01-21 18:30:00 | 9 | 141.1 | 9.48 | 157.3 | 9.54 | 142.8 | 9.37 | 146.9 | 3.917 | 973.217 | 61.5674 | 43.5105
2020-01-21 18:45:00 | 7.65 | 143.8 | 7.646 | 158.9 | 8.14 | 147.6 | 8.1 | 148.9 | 3.806 | 973.648 | 62.8017 | 46.1634
2020-01-21 19:00:00 | 6.437 | 147.2 | 6.979 | 164.9 | 6.874 | 156.2 | 6.926 | 152.5 | 3.695 | 973.662 | 63.1417 | 46.3371
2020-01-21 19:15:00 | 5.911 | 143.1 | 6.368 | 159.4 | 6.437 | 150.6 | 6.478 | 150.4 | 3.654 | 973.953 | 62.937 | 44.412
2020-01-21 19:30:00 | 6.164 | 143.4 | 6.632 | 161.9 | 6.849 | 150.4 | 6.888 | 150.3 | 3.566 | 973.958 | 63.4824 | 43.8356
2020-01-21 19:45:00 | 6.601 | 148.4 | 6.575 | 165 | 6.681 | 157.4 | 6.746 | 152.6 | 3.535 | 973.961 | 62.3919 | 46.156
2020-01-21 20:00:00 | 6.475 | 144.7 | 6.856 | 162.7 | 7.449 | 150.4 | 7.474 | 149.8 | 3.532 | 973.804 | 63.3443 | 46.0082
2020-01-21 20:15:00 | 7.175 | 141.7 | 7.271 | 159.2 | 7.92 | 146.6 | 7.938 | 145.7 | 3.583 | 973.652 | 63.0719 | 46.1228
2020-01-21 20:30:00 | 8.11 | 140.4 | 8.41 | 157 | 8.94 | 144.6 | 8.96 | 145.2 | 3.656 | 973.786 | 62.2548 | 41.6187
2020-01-21 20:45:00 | 7.811 | 139.8 | 7.999 | 156.5 | 8.25 | 144.2 | 8.29 | 145 | 3.598 | 973.921 | 62.7306 | 36.5531
2020-01-21 21:00:00 | 6.751 | 143 | 7.064 | 158.9 | 7.314 | 144 | 7.186 | 146.7 | 3.527 | 973.948 | 63.0744 | 31.5466
2020-01-21 21:15:00 | 6.108 | 144.5 | 6.43 | 159 | 6.668 | 147.5 | 6.758 | 149.9 | 3.341 | 974.09 | 64.0302 | 27.2495
2020-01-21 21:30:00 | 5.434 | 145.4 | 5.972 | 159.9 | 6.498 | 145.7 | 6.583 | 149.3 | 3.29 | 974.382 | 63.6211 | 19.058
2020-01-21 21:45:00 | 5.543 | 141.8 | 6.302 | 158.2 | 6.979 | 147.3 | 6.934 | 147.9 | 3.286 | 974.248 | 63.0753 | 17.6872
2020-01-21 22:00:00 | 5.132 | 142.9 | 5.305 | 157.2 | 6.213 | 141.4 | 6.473 | 146.4 | 3.282 | 974.242 | 63.0085 | 19.6233
2020-01-21 22:15:00 | 5.51 | 140.7 | 5.895 | 158.6 | 6.63 | 149.3 | 6.646 | 146.6 | 3.261 | 974.543 | 63.6908 | 19.8561
2020-01-21 22:30:00 | 4.818 | 140.6 | 5.601 | 158.3 | 6.533 | 151.6 | 6.565 | 144.3 | 3.321 | 974.398 | 63.8979 | 16.213
2020-01-21 22:45:00 | 4.573 | 145.8 | 5.294 | 164.7 | 6.394 | 157 | 6.532 | 147.7 | 3.306 | 974.55 | 65.2967 | 14.857
2020-01-21 23:00:00 | 4.497 | 148.7 | 4.811 | 166.5 | 5.661 | 157.4 | 5.732 | 154.3 | 3.466 | 974.406 | 64.3418 | 14.5983
2020-01-21 23:15:00 | 4.599 | 142.9 | 5.23 | 162 | 6.317 | 155.2 | 6.318 | 148.2 | 3.531 | 974.539 | 63.0776 | 21.9991
2020-01-21 23:30:00 | 6.509 | 135.3 | 6.926 | 153.7 | 6.933 | 142.1 | 6.876 | 142.8 | 3.689 | 973.905 | 61.4374 | 26.965
2020-01-21 23:45:00 | 7.178 | 139.8 | 7.35 | 154.2 | 7.808 | 142.2 | 7.792 | 143.8 | 3.614 | 973.961 | 61.984 | 32.6957