## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-22 00:00:00 | 7.19 | 139.5 | 7.214 | 155.9 | 7.398 | 143.5 | 7.438 | 146.2 | 3.521 | 973.811 | 63.4186 | 29.1006
2020-01-22 00:15:00 | 6.156 | 143.1 | 6.703 | 160.8 | 7.434 | 149.6 | 7.39 | 147.4 | 3.249 | 973.663 | 64.4455 | 26.4255
2020-01-22 00:30:00 | 6.761 | 142.3 | 7.03 | 156.7 | 7.696 | 143.2 | 7.655 | 148.3 | 3.341 | 973.491 | 63.6255 | 25.7863
2020-01-22 00:45:00 | 6.026 | 143.1 | 6.325 | 161.8 | 6.933 | 149.8 | 7.023 | 148.7 | 3.275 | 973.64 | 65.129 | 26.3923
2020-01-22 01:00:00 | 4.964 | 142.5 | 5.611 | 159.3 | 6.457 | 147.9 | 6.468 | 147.7 | 3.178 | 973.8 | 64.8556 | 22.6753
2020-01-22 01:15:00 | 4.867 | 143.9 | 5.606 | 161.5 | 6.701 | 150.4 | 6.623 | 149.9 | 3.029 | 973.663 | 64.7189 | 17.266
2020-01-22 01:30:00 | 4.07 | 142.1 | 5.041 | 161.8 | 6.213 | 148 | 6.198 | 149.2 | 3.054 | 973.663 | 64.924 | 17.5468
2020-01-22 01:45:00 | 4.818 | 142.6 | 5.412 | 158 | 6.195 | 148 | 6.096 | 147.4 | 3.129 | 973.366 | 63.9672 | 20.7022
2020-01-22 02:00:00 | 5.155 | 135.8 | 5.547 | 153.5 | 5.865 | 142.9 | 5.875 | 140.3 | 3.424 | 973.366 | 62.6687 | 23.6507
2020-01-22 02:15:00 | 4.402 | 133 | 4.821 | 154 | 5.381 | 141.5 | 5.373 | 139.5 | 3.316 | 973.069 | 63.4546 | 19.9152
2020-01-22 02:30:00 | 4.188 | 139.1 | 4.847 | 157.1 | 5.277 | 147.4 | 5.325 | 144.1 | 3.264 | 972.772 | 64.5823 | 20.1739
2020-01-22 02:45:00 | 4.392 | 143.1 | 4.826 | 157.3 | 5.857 | 147.1 | 5.903 | 148.5 | 3.158 | 972.772 | 66.8375 | 20.0778
2020-01-22 03:00:00 | 4.816 | 145.6 | 5.476 | 161.9 | 6.422 | 154.2 | 6.438 | 151.9 | 3.245 | 972.474 | 67.3842 | 19.2243
2020-01-22 03:15:00 | 5.132 | 148.6 | 6.325 | 161 | 6.9 | 149.5 | 6.898 | 159.3 | 3.12 | 972.474 | 68.136 | 19.0543
2020-01-22 03:30:00 | 5.321 | 145.5 | 6.35 | 157.6 | 6.717 | 144.7 | 6.651 | 155.4 | 3.055 | 972.474 | 69.1611 | 20.9646
2020-01-22 03:45:00 | 5.372 | 145.6 | 6.066 | 157.7 | 6.47 | 142.9 | 6.376 | 155.3 | 3.27 | 972.177 | 69.7762 | 18.5851
2020-01-22 04:00:00 | 5.48 | 146.5 | 6.115 | 156.4 | 6.577 | 141.3 | 6.496 | 156.6 | 3.33 | 972.177 | 71.0063 | 18.1158
2020-01-22 04:15:00 | 4.846 | 145.1 | 4.921 | 163 | 5.124 | 152.3 | 5.126 | 150.2 | 3.3 | 972.177 | 71.6897 | 14.7572
2020-01-22 04:30:00 | 5.344 | 150.2 | 5.568 | 165.6 | 5.425 | 152.4 | 5.429 | 157.7 | 3.158 | 972.177 | 73.0565 | 16.3275
2020-01-22 04:45:00 | 3.692 | 148.8 | 4.126 | 168.2 | 4.667 | 162.9 | 4.66 | 148.6 | 3.072 | 972.177 | 74.6967 | 13.0059
2020-01-22 05:00:00 | 5.122 | 134.6 | 5.645 | 150.1 | 5.783 | 139.9 | 5.747 | 141.8 | 3.03 | 971.88 | 74.3892 | 12.3666
2020-01-22 05:15:00 | 4.905 | 136.8 | 5.348 | 153.3 | 5.915 | 139 | 5.994 | 141.6 | 3.164 | 972.028 | 74.8334 | 12.8802
2020-01-22 05:30:00 | 5.194 | 135.8 | 5.499 | 150 | 5.534 | 138.5 | 5.577 | 139.3 | 3.31 | 971.88 | 75.7218 | 12.9504
2020-01-22 05:45:00 | 4.497 | 134 | 5.034 | 152.9 | 5.086 | 143.2 | 5.065 | 139.7 | 3.135 | 971.583 | 78.4555 | 13.6857
2020-01-22 06:00:00 | 4.177 | 123.4 | 4.558 | 143.1 | 4.913 | 134.6 | 4.96 | 130.5 | 3.471 | 971.583 | 79.3439 | 11.4319
2020-01-22 06:15:00 | 3.856 | 122.6 | 4.681 | 134.1 | 3.919 | 118.1 | 3.789 | 129.1 | 3.522 | 971.583 | 75.2435 | 10.1202
2020-01-22 06:30:00 | 4.747 | 121 | 5 | 136.2 | 3.542 | 117.5 | 3.331 | 126.7 | 3.778 | 971.583 | 73.9791 | 11.8605
2020-01-22 06:45:00 | 2.205 | 109.3 | 3.502 | 117.1 | 4.463 | 104.5 | 4.535 | 117.2 | 3.609 | 971.583 | 75.1409 | 10.8592
2020-01-22 07:00:00 | 2.594 | 90.9 | 2.605 | 98.4 | 1.805 | 75.92 | 1.731 | 105.9 | 3.375 | 971.137 | 74.0133 | 8.0141
2020-01-22 07:15:00 | 2.693 | 82.4 | 3.53 | 92 | 3.059 | 70.88 | 2.994 | 86.7 | 3.249 | 971.285 | 76.2686 | 3.632
2020-01-22 07:30:00 | 2.469 | 73.9 | 2.75 | 75.78 | 3.108 | 42.78 | 3.104 | 89.5 | 2.876 | 971.583 | 77.362 | 1.5888
2020-01-22 07:45:00 | 5.794 | 178.3 | 5.358 | 197.8 | 4.529 | 193.2 | 4.545 | 171.2 | 2.867 | 973.366 | 78.1138 | 11.5391
2020-01-22 08:00:00 | 3.769 | 150 | 4.047 | 168 | 4.588 | 152.2 | 4.701 | 150.6 | 2.98 | 973.663 | 76.9178 | 5.8489
2020-01-22 08:15:00 | 5.582 | 135.2 | 5.916 | 149.2 | 6.096 | 134.8 | 5.997 | 140.6 | 3.214 | 973.662 | 73.5337 | 6.7209
2020-01-22 08:30:00 | 4.154 | 130.3 | 4.78 | 149.1 | 5.798 | 141.4 | 5.872 | 129.9 | 3.053 | 973.803 | 74.2117 | 5.0065
2020-01-22 08:45:00 | 4.517 | 118.8 | 4.796 | 135.4 | 5.498 | 129.4 | 5.589 | 120.9 | 3.672 | 973.916 | 71.3412 | 6.0485
2020-01-22 09:00:00 | 3.343 | 123 | 3.589 | 139.7 | 4.064 | 140.4 | 4.151 | 123.1 | 4.056 | 974.269 | 70.9822 | 6.1371
2020-01-22 09:15:00 | 4.272 | 145.8 | 3.75 | 167.1 | 3.186 | 162.1 | 3.109 | 149.6 | 4.382 | 974.555 | 71.392 | 3.7651
2020-01-22 09:30:00 | 3.639 | 131.5 | 3.406 | 159 | 2.52 | 152.7 | 2.528 | 140.9 | 4.511 | 975.149 | 69.2283 | 2.2576
2020-01-22 09:45:00 | 3.697 | 142.1 | 3.316 | 166.4 | 2.296 | 159.8 | 2.177 | 146.4 | 4.944 | 976.171 | 69.4554 | 1.4779
2020-01-22 10:00:00 | 3.708 | 143.1 | 3.689 | 165.6 | 3.586 | 163.3 | 3.545 | 149.4 | 5.252 | 976.337 | 68.7724 | 1.2526
2020-01-22 10:15:00 | 3.963 | 154.5 | 3.574 | 177.7 | 3.405 | 169.9 | 3.448 | 159.1 | 5.081 | 976.336 | 69.5823 | 1.5112
2020-01-22 10:30:00 | 5.515 | 154.8 | 5.205 | 171.1 | 4.784 | 159.8 | 4.736 | 159.2 | 4.721 | 976.336 | 72.3115 | 1.84
2020-01-22 10:45:00 | 5.661 | 149.3 | 5.668 | 164.2 | 5.152 | 149.6 | 5.039 | 156.2 | 4.637 | 976.336 | 71.2244 | 3.2219
2020-01-22 11:00:00 | 5.025 | 149.2 | 4.995 | 162.8 | 4.242 | 149.4 | 4.176 | 159.9 | 4.736 | 976.484 | 71.026 | 3.5544
2020-01-22 11:15:00 | 4.823 | 176.2 | 4.635 | 188.7 | 4.005 | 176.1 | 4.079 | 182.8 | 5.167 | 976.336 | 69.5912 | 3.6357
2020-01-22 11:30:00 | 4.724 | 188.9 | 4.387 | 207.6 | 4.323 | 196.8 | 4.331 | 190.8 | 5.136 | 976.336 | 70.5822 | 3.063
2020-01-22 11:45:00 | 5.183 | 152.5 | 4.768 | 170.2 | 4.267 | 159.5 | 4.186 | 157.2 | 5.389 | 976.039 | 70.6505 | 2.7859
2020-01-22 12:00:00 | 4.208 | 148.6 | 4.192 | 162.6 | 3.873 | 152.2 | 3.86 | 156.7 | 5.518 | 976.336 | 69.6229 | 2.2354
2020-01-22 12:15:00 | 4.777 | 171.1 | 4.53 | 183.1 | 3.835 | 172.1 | 3.736 | 181.1 | 5.912 | 975.89 | 68.7611 | 1.0789
2020-01-22 12:30:00 | 4.663 | 189.8 | 4.236 | 200.7 | 3.273 | 191.9 | 3.42 | 189.2 | 5.841 | 975.551 | 69.1704 | 0.29559
2020-01-22 12:45:00 | 3.943 | 177.4 | 3.927 | 192.6 | 3.278 | 187.3 | 3.173 | 179.3 | 5.963 | 975.418 | 67.7377 | 0.081287
2020-01-22 13:00:00 | 5.385 | 194.2 | 5.028 | 209.1 | 4 | 194.6 | 4.044 | 199.5 | 5.961 | 975.109 | 69.2728 | 0.2845
2020-01-22 13:15:00 | 4.014 | 190 | 3.704 | 205.7 | 3.4 | 191.7 | 3.478 | 192.8 | 5.914 | 975.143 | 69.3764 | 0.34362
2020-01-22 13:30:00 | 3.983 | 181.3 | 3.796 | 192.3 | 3.092 | 177.1 | 3.168 | 190.2 | 5.934 | 974.999 | 68.9401 | 0.033254
2020-01-22 13:45:00 | 3.312 | 184.5 | 3.111 | 196.3 | 2.856 | 186.9 | 2.928 | 184.2 | 6.104 | 974.85 | 68.226 | -0.16996
2020-01-22 14:00:00 | 4.55 | 200.3 | 4.013 | 206.2 | 3.331 | 190.7 | 3.356 | 202.8 | 6.163 | 974.85 | 67.4748 | -0.26972
2020-01-22 14:15:00 | 3.697 | 210.2 | 3.295 | 215 | 2.917 | 185.9 | 3.048 | 209.4 | 6.32 | 975.148 | 63.9918 | -0.29928
2020-01-22 14:30:00 | 2.763 | 205.1 | 2.692 | 213 | 2.166 | 201.2 | 2.312 | 205.4 | 6.502 | 975.148 | 63.0348 | -0.28081
2020-01-22 14:45:00 | 3.794 | 190.1 | 3.388 | 200.3 | 2.79 | 187 | 2.915 | 198.2 | 6.777 | 975.118 | 62.6846 | -0.28081
2020-01-22 15:00:00 | 2.168 | 198.1 | 2.174 | 224.5 | 1.522 | 208.7 | 1.636 | 201.1 | 6.638 | 974.691 | 63.5712 | -0.28081
2020-01-22 15:15:00 | 1.908 | 189 | 1.874 | 204.2 | 1.2 | 190.4 | 1.337 | 185.6 | 6.481 | 974.553 | 64.1519 | -0.25125
2020-01-22 15:30:00 | 1.408 | 181.8 | 1.458 | 207.3 | 0.523 | 190.4 | 0.771 | 196.7 | 6.376 | 974.256 | 64.4008 | -0.29559
2020-01-22 15:45:00 | 0.855 | 188.3 | 0.894 | 207.8 | 0.074 | 194.2 | 0.076 | 187.7 | 6.469 | 973.959 | 63.7186 | -0.28081
2020-01-22 16:00:00 | 3.644 | 3.853 | 3.806 | 26.47 | 3.708 | 24.43 | 3.85 | 2.239 | 5.317 | 973.781 | 78.4019 | -0.26233
2020-01-22 16:15:00 | 3.189 | 9.83 | 3.254 | 23.41 | 2.81 | 24.47 | 2.956 | 3.774 | 4.925 | 973.662 | 79.5643 | -0.23278
2020-01-22 16:30:00 | 2.588 | 10.38 | 2.786 | 22.99 | 2.624 | 17.63 | 2.755 | 1.107 | 4.829 | 973.663 | 80.4082 | -0.28081
2020-01-22 16:45:00 | 1.784 | 7.34 | 1.797 | 12.4 | 1.228 | 20.81 | 1.13 | 0.683 | 4.699 | 973.663 | 80.6149 | -0.28081
2020-01-22 17:00:00 | 2.51 | 8.94 | 2.697 | 12.56 | 2.139 | 11.67 | 2.098 | 14.75 | 4.612 | 973.068 | 79.8634 | -0.29189
2020-01-22 17:15:00 | 2.638 | 17.05 | 2.814 | 21.4 | 2.278 | 13.77 | 2.202 | 23.9 | 4.55 | 973.366 | 81.0931 | -0.28081
2020-01-22 17:30:00 | 2.359 | 16.96 | 2.29 | 21.76 | 1.64 | 20.05 | 1.275 | 23.71 | 4.495 | 973.375 | 81.5713 | -0.28081
2020-01-22 17:45:00 | 2.459 | 16.96 | 2.538 | 21.76 | 2.075 | 18.31 | 1.981 | 24.05 | 4.518 | 973.556 | 81.6475 | -0.15888
2020-01-22 18:00:00 | 2.727 | 16.92 | 2.748 | 21.76 | 2.121 | 17.51 | 2.098 | 26.59 | 4.499 | 973.954 | 80.6704 | -0.0073897
2020-01-22 18:15:00 | 2.704 | 18.11 | 2.727 | 21.85 | 1.927 | 19.73 | 1.795 | 32.5 | 4.494 | 973.806 | 80.0939 | 0.018474
2020-01-22 18:30:00 | 2.656 | 27.91 | 2.574 | 21.97 | 1.64 | 29.93 | 1.441 | 57.5 | 4.52 | 973.663 | 79.5437 | -0.025864
2020-01-22 18:45:00 | 2.196 | 60.36 | 2.155 | 60.9 | 1.5 | 43.17 | 1.505 | 93 | 4.627 | 973.663 | 78.7236 | -0.19583
2020-01-22 19:00:00 | 2.025 | 99.7 | 1.761 | 82.3 | 1.953 | 63.05 | 1.945 | 113 | 4.739 | 973.663 | 77.0163 | -0.2882
2020-01-22 19:15:00 | 1.908 | 131.6 | 2.012 | 122.5 | 1.846 | 122.5 | 1.826 | 127.8 | 5.084 | 973.961 | 71.8201 | -0.26972
2020-01-22 19:30:00 | 1.854 | 143.1 | 2.551 | 134.5 | 2.472 | 143 | 2.409 | 141.3 | 5.104 | 974.258 | 71.8203 | -0.28081
2020-01-22 19:45:00 | 1.918 | 157.1 | 2.692 | 135 | 3.059 | 155.1 | 3.066 | 143.1 | 4.802 | 974.256 | 73.3251 | -0.29928
2020-01-22 20:00:00 | 2.505 | 154.1 | 3.142 | 135.3 | 3.237 | 163.7 | 3.216 | 143.5 | 4.74 | 974.555 | 74.9285 | -0.26972
2020-01-22 20:15:00 | 2.651 | 153.9 | 3.346 | 135.5 | 3.52 | 157.8 | 3.476 | 144.2 | 4.352 | 974.239 | 78.3828 | -0.218
2020-01-22 20:30:00 | 3.115 | 162.4 | 3.548 | 135.7 | 3.675 | 164.7 | 3.743 | 144.5 | 4.371 | 974.549 | 78.6521 | 0.17735
2020-01-22 20:45:00 | 3.026 | 183.2 | 3.374 | 135.8 | 3.062 | 187 | 3.084 | 180.4 | 4.278 | 974.555 | 79.1303 | 0.26972
2020-01-22 21:00:00 | 2.939 | 171.1 | 3.645 | 184.4 | 3.69 | 174.7 | 3.779 | 173.4 | 4.211 | 974.829 | 80.293 | 1.6368
2020-01-22 21:15:00 | 3.131 | 169.4 | 3.765 | 184 | 3.68 | 166 | 3.705 | 169.4 | 4.174 | 974.852 | 81.5218 | 2.0396
2020-01-22 21:30:00 | 3.715 | 161.4 | 4.359 | 176.4 | 4.382 | 158.1 | 4.382 | 167.4 | 4.082 | 974.852 | 81.7998 | 2.3314
2020-01-22 21:45:00 | 4.333 | 170.8 | 4.806 | 182 | 4.857 | 160.8 | 4.955 | 177 | 4.277 | 975.15 | 79.9192 | 3.3808
2020-01-22 22:00:00 | 4.821 | 175.6 | 5.333 | 186.7 | 5.33 | 170.7 | 5.427 | 180.1 | 4.347 | 975.147 | 80.2275 | 4.1493
2020-01-22 22:15:00 | 5.158 | 172.6 | 5.458 | 182.8 | 5.697 | 165 | 5.844 | 178.1 | 4.214 | 975.15 | 81.4548 | 6.5325
2020-01-22 22:30:00 | 5.209 | 172 | 5.407 | 182.2 | 5.526 | 163.7 | 5.64 | 179.5 | 4.078 | 975.15 | 81.2514 | 7.2567
2020-01-22 22:45:00 | 5.115 | 172.7 | 5.453 | 184.4 | 5.483 | 165 | 5.592 | 177.5 | 4.148 | 975.435 | 81.8671 | 4.9622
2020-01-22 23:00:00 | 4.42 | 167.3 | 4.819 | 181.3 | 4.87 | 158.5 | 4.996 | 172.3 | 4.042 | 975.446 | 82.413 | 3.403
2020-01-22 23:15:00 | 4.951 | 167.2 | 5.225 | 180.9 | 5.539 | 160 | 5.625 | 172.5 | 4.141 | 975.596 | 81.6605 | 5.0619
2020-01-22 23:30:00 | 4.765 | 168 | 4.936 | 178.9 | 5.229 | 160.9 | 5.289 | 175.6 | 4.363 | 975.742 | 81.1803 | 4.3784
2020-01-22 23:45:00 | 4.44 | 173.7 | 4.947 | 183.4 | 5.62 | 167.3 | 5.788 | 180.1 | 4.22 | 975.893 | 82.9542 | 4.3895