## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-23 00:00:00 | 4.9 | 172.4 | 5.404 | 183.6 | 5.74 | 164.6 | 5.849 | 179.5 | 4.172 | 975.744 | 83.0973 | 5.6235
2020-01-23 00:15:00 | 4.213 | 170.6 | 4.701 | 184.7 | 5.435 | 171.7 | 5.62 | 179.4 | 4.156 | 975.739 | 84.0847 | 3.9646
2020-01-23 00:30:00 | 3.378 | 170.3 | 4.006 | 181.9 | 4.468 | 175.6 | 4.64 | 178.9 | 3.766 | 975.595 | 85.6224 | 2.9042
2020-01-23 00:45:00 | 3.271 | 171.3 | 4.003 | 182.8 | 4.4 | 169.2 | 4.545 | 175.2 | 3.566 | 975.298 | 86.1728 | 2.3906
2020-01-23 01:00:00 | 3.207 | 175.1 | 4.1 | 183.8 | 4.466 | 169.4 | 4.617 | 178.3 | 3.59 | 975.137 | 87.2009 | 2.5568
2020-01-23 01:15:00 | 3.365 | 174.8 | 4.476 | 185.5 | 5.025 | 170.7 | 5.134 | 180.5 | 3.49 | 975.149 | 88.0912 | 3.5618
2020-01-23 01:30:00 | 2.674 | 175.6 | 3.86 | 182.8 | 4.326 | 172.9 | 4.421 | 183.1 | 3.444 | 975.15 | 88.1599 | 1.7329
2020-01-23 01:45:00 | 2.868 | 175.4 | 4.07 | 181.4 | 4.397 | 165.4 | 4.492 | 184.9 | 3.408 | 974.852 | 87.9549 | 1.8991
2020-01-23 02:00:00 | 2.171 | 174.9 | 3.162 | 169.8 | 3.899 | 154.6 | 3.96 | 183.2 | 3.398 | 975.001 | 88.8433 | 0.7168
2020-01-23 02:15:00 | 1.27 | 164.2 | 2.674 | 162.9 | 3.621 | 152.7 | 3.695 | 179.2 | 3.371 | 975.001 | 88.9117 | 0.24755
2020-01-23 02:30:00 | 1.852 | 169.4 | 2.853 | 163.2 | 3.156 | 150.5 | 3.129 | 174.8 | 3.584 | 974.852 | 87.4765 | -0.32515
2020-01-23 02:45:00 | 1.554 | 171.3 | 2.62 | 163.4 | 3.105 | 153 | 3.124 | 175.4 | 3.764 | 974.852 | 87.6473 | -0.096066
2020-01-23 03:00:00 | 1.974 | 174.2 | 2.873 | 163.7 | 3.227 | 156.3 | 3.226 | 180.3 | 3.68 | 974.555 | 88.3649 | -0.15149
2020-01-23 03:15:00 | 2.071 | 180.8 | 2.873 | 191.7 | 3.054 | 157.6 | 3.053 | 185.7 | 3.539 | 974.555 | 88.4333 | -0.46925
2020-01-23 03:30:00 | 2.311 | 187.9 | 2.983 | 198.1 | 3.143 | 159.4 | 3.145 | 188.2 | 3.546 | 974.555 | 88.4333 | -0.26233
2020-01-23 03:45:00 | 2.214 | 187.8 | 2.998 | 196.7 | 2.881 | 159.9 | 2.893 | 188.8 | 3.602 | 974.406 | 88.3649 | -0.29559
2020-01-23 04:00:00 | 1.751 | 188 | 2.633 | 196.9 | 2.322 | 160.8 | 2.406 | 196.5 | 3.697 | 974.258 | 87.1348 | -0.28081
2020-01-23 04:15:00 | 2.362 | 195.3 | 2.886 | 197.7 | 2.413 | 198.4 | 2.523 | 208.6 | 3.762 | 974.555 | 86.4514 | -0.26972
2020-01-23 04:30:00 | 1.953 | 207.3 | 2.533 | 197.7 | 2.362 | 207 | 2.424 | 226.1 | 3.798 | 974.555 | 86.7247 | -0.28081
2020-01-23 04:45:00 | 1.678 | 218.8 | 2.18 | 213.2 | 1.915 | 207.1 | 1.92 | 230.3 | 3.873 | 974.555 | 88.7066 | -0.29928
2020-01-23 05:00:00 | 1.767 | 215.1 | 2.308 | 212.2 | 2.014 | 185.7 | 2.052 | 217.8 | 3.695 | 974.555 | 88.775 | -0.29189
2020-01-23 05:15:00 | 2.375 | 162.7 | 2.904 | 184.9 | 3.024 | 169.9 | 3.073 | 169.1 | 3.265 | 974.555 | 90.5518 | 0.60965
2020-01-23 05:30:00 | 4.453 | 150.4 | 4.704 | 162.2 | 4.456 | 147.1 | 4.372 | 158.6 | 2.538 | 974.406 | 93.6272 | 4.2195
2020-01-23 05:45:00 | 3.703 | 140.3 | 4.883 | 159 | 5.389 | 147.9 | 5.21 | 151.4 | 2.047 | 974.555 | 95.6774 | 6.6988
2020-01-23 06:00:00 | 3.664 | 144.3 | 4.714 | 159.6 | 5.748 | 151 | 5.674 | 156.1 | 2.06 | 974.555 | 95.8141 | 9.5105
2020-01-23 06:15:00 | 4.829 | 146.7 | 5.997 | 163.7 | 6.566 | 156.6 | 6.45 | 155.7 | 2.153 | 974.555 | 95.5082 | 10.7446
2020-01-23 06:30:00 | 3.823 | 147.9 | 5.167 | 166.4 | 6.406 | 160.4 | 6.285 | 154.8 | 1.696 | 974.852 | 97.0837 | 9.5364
2020-01-23 06:45:00 | 3.968 | 145.6 | 5.348 | 162.3 | 6.325 | 154.7 | 6.157 | 154.1 | 1.771 | 974.852 | 97.8098 | 8.912
2020-01-23 07:00:00 | 4.078 | 151.2 | 5.586 | 166.1 | 6.009 | 159.3 | 5.964 | 164.2 | 1.992 | 975.453 | 98.4979 | 6.8946
2020-01-23 07:15:00 | 4.017 | 150.9 | 4.614 | 165.5 | 5.526 | 152 | 5.455 | 161.1 | 2.038 | 975.745 | 98.9067 | 6.296
2020-01-23 07:30:00 | 2.719 | 151.7 | 3.584 | 166.3 | 4.824 | 145.2 | 4.757 | 165.5 | 2.037 | 976.043 | 99.3849 | 6.0632
2020-01-23 07:45:00 | 4.589 | 164.7 | 5.003 | 177.4 | 5.16 | 154.1 | 5.246 | 167.6 | 2.318 | 976.339 | 99.579 | 9.4736
2020-01-23 08:00:00 | 5.194 | 159.6 | 5.573 | 167.5 | 5.468 | 150.6 | 5.574 | 166.6 | 2.419 | 976.637 | 99.5739 | 10.6227
2020-01-23 08:15:00 | 4.172 | 157.5 | 5.026 | 168 | 5.58 | 153.8 | 5.628 | 167.5 | 2.299 | 976.934 | 99.8121 | 7.2456
2020-01-23 08:30:00 | 2.942 | 153.5 | 3.97 | 162.2 | 4.806 | 143.1 | 4.879 | 163.7 | 2.35 | 977.231 | 99.9829 | 5.4351
2020-01-23 08:45:00 | 2.97 | 154.3 | 3.579 | 165.6 | 4.428 | 140.1 | 4.528 | 162.3 | 2.666 | 977.513 | 99.9129 | 4.2823
2020-01-23 09:00:00 | 2.405 | 148.8 | 2.901 | 156.2 | 3.38 | 140.3 | 3.282 | 152.1 | 3.099 | 977.825 | 99.7029 | 1.404
2020-01-23 09:15:00 | 2.771 | 159.8 | 3.937 | 170.6 | 3.957 | 157.8 | 3.993 | 169.8 | 3.527 | 978.135 | 98.7879 | 0.81656
2020-01-23 09:30:00 | 1.664 | 169.5 | 1.978 | 180.3 | 2.001 | 166.5 | 1.95 | 181.9 | 4.052 | 978.715 | 94.2101 | -0.3621
2020-01-23 09:45:00 | 0.544 | 169.6 | 1.219 | 180.6 | 1.305 | 162 | 1.292 | 181.2 | 4.714 | 979.458 | 89.4689 | -0.31406
2020-01-23 10:00:00 | 2.306 | 185.2 | 2.84 | 190.1 | 2.441 | 171.8 | 2.442 | 207.3 | 5.06 | 979.312 | 86.4265 | -0.29928
2020-01-23 10:15:00 | 2.868 | 191.8 | 2.812 | 209.4 | 2.462 | 190 | 2.582 | 200.3 | 4.978 | 979.455 | 84.7181 | -0.29189
2020-01-23 10:30:00 | 3 | 188.9 | 2.853 | 206.9 | 2.685 | 191.3 | 2.758 | 193.6 | 4.578 | 979.307 | 86.5972 | -0.28081
2020-01-23 10:45:00 | 2.735 | 193 | 2.653 | 203.1 | 1.841 | 186.8 | 1.898 | 209.8 | 4.579 | 979.537 | 86.4606 | -0.26233
2020-01-23 11:00:00 | 2.61 | 196.1 | 2.531 | 204.2 | 2.05 | 189.3 | 2.09 | 207 | 4.393 | 979.589 | 87.485 | -0.25125
2020-01-23 11:15:00 | 2.725 | 224.5 | 2.508 | 233 | 1.868 | 221 | 1.776 | 222.7 | 4.413 | 979.458 | 88.2461 | -0.29928
2020-01-23 11:30:00 | 2.571 | 264.4 | 2.364 | 244.1 | 1.845 | 259.9 | 1.706 | 260.7 | 4.224 | 979.161 | 91.8088 | -0.2882
2020-01-23 11:45:00 | 3.317 | 291.4 | 3.397 | 305.9 | 2.734 | 285.9 | 2.587 | 289.9 | 4.114 | 979.012 | 93.6247 | -0.26972
2020-01-23 12:00:00 | 2.377 | 307.8 | 2.436 | 312.3 | 1.713 | 299.7 | 1.464 | 306.7 | 4.158 | 979.012 | 90.6914 | -0.28081
2020-01-23 12:15:00 | 2.196 | 344.4 | 2.276 | 329.4 | 1.877 | 304 | 1.597 | 1.634 | 4.246 | 978.863 | 90.9976 | -0.25125
2020-01-23 12:30:00 | 2.472 | 12.08 | 2.405 | 359.5 | 2.512 | 312.6 | 2.317 | 359.1 | 4.952 | 979.012 | 86.5575 | -0.28081
2020-01-23 12:45:00 | 0.86 | 25.71 | 2.152 | 13.52 | 3.01 | 327.4 | 2.826 | 17.52 | 4.992 | 979.012 | 85.5176 | -0.20322
2020-01-23 13:00:00 | 1.977 | 20.37 | 2.562 | 9.66 | 3.754 | 318.9 | 3.29 | 17.39 | 4.971 | 979.012 | 86.5974 | 0.68724
2020-01-23 13:15:00 | 1.632 | 4.383 | 2.875 | 12.58 | 3.081 | 357 | 2.995 | 14.96 | 5.138 | 978.846 | 86.9387 | 0.89046
2020-01-23 13:30:00 | 2.033 | 9.49 | 2.936 | 33.85 | 2.942 | 6.235 | 2.956 | 355.7 | 4.741 | 978.8 | 88.5095 | 0.69094
2020-01-23 13:45:00 | 1.818 | 0.013 | 2.119 | 12.77 | 1.998 | 20.73 | 1.873 | 351 | 4.28 | 979.147 | 86.3924 | 0.53206
2020-01-23 14:00:00 | 0.998 | 20.43 | 1.72 | 5.452 | 1.754 | 336.1 | 1.593 | 8.69 | 5.125 | 979.012 | 82.4313 | 0.60596
2020-01-23 14:15:00 | 2.331 | 351.9 | 2.56 | 360 | 2.779 | 334.7 | 2.661 | 350.4 | 5.062 | 978.927 | 83.1825 | 0.61334
2020-01-23 14:30:00 | 1.889 | 15.37 | 2.029 | 20.24 | 2.36 | 328.4 | 2.166 | 3.875 | 5.135 | 979.139 | 82.7728 | 1.2119
2020-01-23 14:45:00 | 2.194 | 13.55 | 2.937 | 41.52 | 2.177 | 26.56 | 2.334 | 350.7 | 4.927 | 978.949 | 85.2997 | 1.1934
2020-01-23 15:00:00 | 0.841 | 15.96 | 2.402 | 30.91 | 1.872 | 359.3 | 1.852 | 358.1 | 4.903 | 978.993 | 83.3874 | 0.72049
2020-01-23 15:15:00 | 1.51 | 0.378 | 2.622 | 32.79 | 2.632 | 13.53 | 2.533 | 351.2 | 4.849 | 979.012 | 84.3435 | 0.88676
2020-01-23 15:30:00 | 3.886 | 5.923 | 3.561 | 22.21 | 3.81 | 13.56 | 3.955 | 0.296 | 4.476 | 978.715 | 86.9567 | 1.1343
2020-01-23 15:45:00 | 4.267 | 9 | 4.313 | 17.02 | 4.435 | 4.908 | 4.372 | 3.641 | 4.34 | 978.418 | 87.9246 | 2.8081
2020-01-23 16:00:00 | 3.667 | 9.59 | 4.284 | 16.71 | 4.316 | 7.044 | 4.217 | 4.128 | 4.221 | 978.418 | 89.3595 | 2.3869
2020-01-23 16:15:00 | 4.167 | 1.239 | 4.486 | 10.41 | 4.779 | 3.39 | 4.675 | 0.911 | 4.17 | 978.418 | 89.9744 | 3.935
2020-01-23 16:30:00 | 4.499 | 352.3 | 4.791 | 7.531 | 5.363 | 2.098 | 5.398 | 357.4 | 4.072 | 978.418 | 90.1452 | 6.2406
2020-01-23 16:45:00 | 3.309 | 343.6 | 3.742 | 11.76 | 4.55 | 12.76 | 4.665 | 345.3 | 3.991 | 978.566 | 91.1358 | 11.7681
2020-01-23 17:00:00 | 4.438 | 1.22 | 4.824 | 13.8 | 5.295 | 8.1 | 5.498 | 358.8 | 3.757 | 978.477 | 93.6635 | 10.5229
2020-01-23 17:15:00 | 4.581 | 8.48 | 4.803 | 18.03 | 4.985 | 7.895 | 4.701 | 6.713 | 3.514 | 978.112 | 95.7385 | 9.5623
2020-01-23 17:30:00 | 4.096 | 15.18 | 5.558 | 26.45 | 5.305 | 10.11 | 5.398 | 20.94 | 3.328 | 978.122 | 96.6978 | 10.4084
2020-01-23 17:45:00 | 4.323 | 21.52 | 5.279 | 35.95 | 5.32 | 17.37 | 5.314 | 27.19 | 3.161 | 978.271 | 97.069 | 7.1828
2020-01-23 18:00:00 | 4.223 | 15.38 | 4.993 | 32.63 | 5.196 | 13.82 | 5.202 | 20.84 | 3.341 | 978.693 | 94.9189 | 6.0004
2020-01-23 18:15:00 | 2.944 | 6.787 | 4.873 | 22.59 | 4.372 | 12.05 | 4.214 | 10.51 | 3.354 | 978.704 | 93.8307 | 6.2739
2020-01-23 18:30:00 | 3.759 | 16.31 | 4.719 | 28.66 | 5.015 | 13.59 | 5.095 | 21.92 | 3.201 | 978.717 | 95.199 | 5.2873
2020-01-23 18:45:00 | 4.606 | 22.46 | 5.427 | 34.97 | 5.646 | 16.85 | 5.709 | 30.1 | 3.282 | 979.001 | 92.7387 | 4.3636
2020-01-23 19:00:00 | 3.222 | 25.8 | 4.898 | 35.43 | 5.168 | 23.82 | 5.151 | 30.2 | 3.264 | 979.312 | 91.4061 | 4.456
2020-01-23 19:15:00 | 3.703 | 27.78 | 4.292 | 36.3 | 4.384 | 16.13 | 4.5 | 36.86 | 3.257 | 979.609 | 90.4493 | 4.1789
2020-01-23 19:30:00 | 3.202 | 22.82 | 4.407 | 28.25 | 4.855 | 7.351 | 4.95 | 35.15 | 3.389 | 979.292 | 90.6885 | 5.3464
2020-01-23 19:45:00 | 3.669 | 6.77 | 4.338 | 19.2 | 5.226 | 11.05 | 4.953 | 15.66 | 2.795 | 979.312 | 95.6774 | 8.4353
2020-01-23 20:00:00 | 3.835 | 12.77 | 5.169 | 25.01 | 5.745 | 15.79 | 5.676 | 16.16 | 2.123 | 979.312 | 98.4111 | 11.6092
2020-01-23 20:15:00 | 3.468 | 7.965 | 4.796 | 22.24 | 5.155 | 10.11 | 5.106 | 13.45 | 2.474 | 979.609 | 96.4633 | 9.6657
2020-01-23 20:30:00 | 3.496 | 8.2 | 5.003 | 23.35 | 4.445 | 16.47 | 5.129 | 12.95 | 2.511 | 979.906 | 95.4041 | 11.8752
2020-01-23 20:45:00 | 4.425 | 6.93 | 6.046 | 22.39 | 5.595 | 11.56 | 5.964 | 11.32 | 2.187 | 979.906 | 96.0191 | 14.5097
2020-01-23 21:00:00 | 3.93 | 16.53 | 6.169 | 30.66 | 7.317 | 21.1 | 7.377 | 19.8 | 1.283 | 979.609 | 98.9578 | 17.0369
2020-01-23 21:15:00 | 4.938 | 20.97 | 6.32 | 38.25 | 7.146 | 25.79 | 7.275 | 24.59 | 1.398 | 979.906 | 99.5763 | 15.2634
2020-01-23 21:30:00 | 5.005 | 21.38 | 6.069 | 35.47 | 6.818 | 18.84 | 6.906 | 25.31 | 2.081 | 980.203 | 97.6687 | 11.6166
2020-01-23 21:45:00 | 4.992 | 26.78 | 5.721 | 42.48 | 6.167 | 26.4 | 6.196 | 31.51 | 2.218 | 980.352 | 95.4813 | 9.2408
2020-01-23 22:00:00 | 4.711 | 30.84 | 5.55 | 42.96 | 5.315 | 22.81 | 5.215 | 38.46 | 2.099 | 980.501 | 95.3104 | 7.6077
2020-01-23 22:15:00 | 3.868 | 21.71 | 4.471 | 38.32 | 4.491 | 15.3 | 4.522 | 29.87 | 2.231 | 980.501 | 92.473 | 4.3008
2020-01-23 22:30:00 | 4.333 | 28.54 | 4.632 | 38.17 | 4.545 | 22.36 | 4.479 | 35.85 | 2.441 | 980.501 | 90.5525 | 3.0224
2020-01-23 22:45:00 | 3.825 | 39.73 | 3.934 | 40.2 | 4.318 | 28.64 | 4.359 | 46.76 | 2.563 | 980.798 | 88.3654 | 0.5025
2020-01-23 23:00:00 | 3.22 | 45.68 | 3.42 | 40.78 | 3.347 | 35.46 | 3.415 | 62.6 | 2.986 | 981.095 | 85.2213 | -0.31776
2020-01-23 23:15:00 | 2.451 | 94.4 | 2.387 | 41.09 | 1.113 | 34.32 | 0.972 | 122.4 | 3.099 | 981.244 | 83.0002 | -0.26972
2020-01-23 23:30:00 | 2.051 | 99.3 | 2.382 | 41.18 | 0.47 | 41.24 | 0.468 | 120.1 | 3.193 | 981.392 | 82.351 | -0.26972
2020-01-23 23:45:00 | 3.212 | 29.96 | 2.963 | 37.95 | 1.071 | 19.04 | 0.507 | 85.9 | 2.802 | 981.69 | 86.5881 | -0.29189