## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-24 00:00:00 | 2.543 | 70.85 | 2.436 | 39.04 | 0.527 | 32.53 | 0.179 | 92.7 | 2.775 | 981.541 | 86.7248 | -0.13301
2020-01-24 00:15:00 | 2.732 | 45.64 | 2.61 | 40.21 | 0.249 | 19.51 | 0.077 | 97.1 | 2.556 | 981.69 | 87.7499 | 0.062812
2020-01-24 00:30:00 | 2.319 | 46.55 | 2.341 | 40.21 | 0 | 25.52 | 0 | 97.6 | 2.703 | 981.69 | 85.2213 | -0.092371
2020-01-24 00:45:00 | 2.924 | 36.04 | 2.643 | 40.07 | 0.271 | 15.12 | 0.234 | 73.94 | 2.778 | 981.69 | 85.8022 | -0.025864
2020-01-24 01:00:00 | 3.059 | 35.82 | 2.733 | 40.01 | 1.198 | 19.44 | 0.81 | 21.77 | 2.815 | 981.69 | 86.9981 | -0.26233
2020-01-24 01:15:00 | 3.498 | 26.64 | 3.431 | 38.09 | 2.256 | 13.62 | 1.91 | 35.11 | 2.322 | 981.69 | 90.0735 | -0.073897
2020-01-24 01:30:00 | 3.427 | 22.14 | 4.093 | 37.42 | 2.889 | 12.22 | 2.615 | 37.98 | 2.117 | 981.838 | 91.987 | 0.2143
2020-01-24 01:45:00 | 3.649 | 39.93 | 3.584 | 38.45 | 2.469 | 15.25 | 2.373 | 56.77 | 1.887 | 981.69 | 93.3539 | 0.036949
2020-01-24 02:00:00 | 2.908 | 50.42 | 2.51 | 40.05 | 0.998 | 26.39 | 0.591 | 80 | 2.22 | 981.69 | 89.1167 | -0.32515
2020-01-24 02:15:00 | 2.697 | 35.9 | 2.75 | 40.01 | 0.705 | 21.57 | 0.264 | 74.26 | 2.607 | 981.838 | 86.8285 | 0.059118
2020-01-24 02:30:00 | 3.018 | 27.13 | 3.027 | 40.01 | 2.001 | 27.05 | 1.678 | 35.33 | 2.405 | 981.987 | 86.964 | -0.059118
2020-01-24 02:45:00 | 2.525 | 23.76 | 2.485 | 40.01 | 0.964 | 29.31 | 0.265 | 28.1 | 2.564 | 982.136 | 84.7771 | -0.30298
2020-01-24 03:00:00 | 2.319 | 24.69 | 2.651 | 40.01 | 1.225 | 38.72 | 0.739 | 29.26 | 2.924 | 981.838 | 83.2736 | -0.29928
2020-01-24 03:15:00 | 2.331 | 18.76 | 2.666 | 40.01 | 1.826 | 32.04 | 1.635 | 14.79 | 2.897 | 981.987 | 83.171 | -0.49511
2020-01-24 03:30:00 | 2.25 | 27.08 | 2.607 | 40.06 | 2.266 | 41 | 1.912 | 21.62 | 3.267 | 982.284 | 78.7289 | -0.28081
2020-01-24 03:45:00 | 1.908 | 29.76 | 2.15 | 40.06 | 2.68 | 41.67 | 2.623 | 23.03 | 3.282 | 982.284 | 79.0022 | -0.28081
2020-01-24 04:00:00 | 2.702 | 25.54 | 3.098 | 40.06 | 2.82 | 46.76 | 2.607 | 21.28 | 3.522 | 982.284 | 77.0203 | -0.31406
2020-01-24 04:15:00 | 2.653 | 36.65 | 2.595 | 23.79 | 2.451 | 44.67 | 2.363 | 30.41 | 2.757 | 981.987 | 79.8907 | -0.29928
2020-01-24 04:30:00 | 2.651 | 35.46 | 1.82 | 23.72 | 1.79 | 26.02 | 1.851 | 30.28 | 1.195 | 981.69 | 92.0554 | -0.077592
2020-01-24 04:45:00 | 3.358 | 26.14 | 3.41 | 23.8 | 2.632 | 24.89 | 2.638 | 38.6 | -0.08 | 981.244 | 99.5742 | -0.096066
2020-01-24 05:00:00 | 3.399 | 29.58 | 4.016 | 23.9 | 3.38 | 11.58 | 3.438 | 49.49 | 1.315 | 981.696 | 95.8284 | -0.23278
2020-01-24 05:15:00 | 2.819 | 52 | 3.075 | 24.11 | 2.96 | 17.7 | 2.951 | 65.02 | 1.667 | 981.781 | 93.4449 | -0.31406
2020-01-24 05:30:00 | 2.022 | 76.99 | 2.722 | 24.16 | 3.064 | 64.05 | 3.175 | 77.34 | 1.84 | 982.016 | 86.2632 | -0.31776
2020-01-24 05:45:00 | 0.966 | 133.6 | 1.679 | 23.96 | 1.087 | 129.4 | 1.049 | 121.1 | 2.34 | 982.313 | 85.4099 | -0.28081
2020-01-24 06:00:00 | 0.652 | 120.6 | 0.011 | 23.67 | 0 | 356.4 | 0 | 120.9 | 1.893 | 982.146 | 89.7468 | -0.29928
2020-01-24 06:15:00 | 1.964 | 120.6 | 0 | 23.62 | 0 | 15.14 | 0 | 120.9 | 1.709 | 982.302 | 93.5751 | -0.29928
2020-01-24 06:30:00 | 2.459 | 31.14 | 0.034 | 23.52 | 0.081 | 16.01 | 0.092 | 120.9 | 1.173 | 982.645 | 94.1281 | -0.24386
2020-01-24 06:45:00 | 2.691 | 13.76 | 2.137 | 23.53 | 1.681 | 10.72 | 1.596 | 41.65 | 0.935 | 982.812 | 93.998 | -0.26603
2020-01-24 07:00:00 | 3.861 | 24.52 | 4.589 | 24.23 | 3.738 | 17.49 | 3.494 | 25.2 | 0.703 | 982.881 | 94.1372 | 0.055423
2020-01-24 07:15:00 | 2.717 | 47.09 | 3.149 | 25.19 | 3.436 | 50.25 | 3.44 | 52.51 | 1.028 | 983.18 | 91.3348 | -0.33993
2020-01-24 07:30:00 | 2.633 | 74.48 | 3.318 | 25.21 | 3.71 | 78.89 | 3.756 | 74.7 | 1.734 | 983.775 | 81.0118 | -0.15149
2020-01-24 07:45:00 | 2.459 | 71.11 | 3.147 | 25.52 | 4.097 | 46.2 | 4.273 | 76.79 | 1.976 | 983.775 | 81.0118 | -0.059118
2020-01-24 08:00:00 | 1.002 | 78.37 | 2.38 | 25.38 | 2.652 | 72.68 | 2.76 | 79.62 | 2.025 | 984.198 | 76.7048 | -0.29928
2020-01-24 08:15:00 | 0 | 110.9 | 0.004 | 25.07 | 0.789 | 94.9 | 1.044 | 94.9 | 2.507 | 984.675 | 75.6672 | -0.31776
2020-01-24 08:30:00 | 1.232 | 44.6 | 1.82 | 23.6 | 2.299 | 8.63 | 2.241 | 62.94 | 2.478 | 984.663 | 78.2513 | -0.28081
2020-01-24 08:45:00 | 4.019 | 40.6 | 3.691 | 25.27 | 2.912 | 26.25 | 2.74 | 57.29 | 1.84 | 984.96 | 76.4053 | -0.29928
2020-01-24 09:00:00 | 3.039 | 54.08 | 3.914 | 25.57 | 3.904 | 32.82 | 3.71 | 63.67 | 1.766 | 984.96 | 77.0203 | -0.22539
2020-01-24 09:15:00 | 2.342 | 65.1 | 3.313 | 25.52 | 3.443 | 44.05 | 3.468 | 77.22 | 1.869 | 985.258 | 74.0766 | -0.033254
2020-01-24 09:30:00 | 1.223 | 122 | 1.728 | 25.45 | 1.692 | 103.2 | 1.752 | 121.8 | 2.923 | 985.851 | 74.5872 | -0.29928
2020-01-24 09:45:00 | 0.128 | 140.8 | 0.229 | 25.37 | 0.075 | 149.5 | 0.037 | 124.1 | 3.062 | 985.952 | 79.8014 | -0.29928
2020-01-24 10:00:00 | 0.717 | 132.4 | 0.241 | 25.35 | 0.223 | 173 | 0.167 | 89.4 | 3.713 | 986.293 | 82.8011 | -0.29928
2020-01-24 10:15:00 | 1.855 | 156.5 | 1.619 | 25.53 | 0.632 | 151.4 | 0.204 | 123.5 | 2.746 | 987.036 | 91.3334 | -0.31037
2020-01-24 10:30:00 | 1.464 | 275.4 | 1.227 | 325 | 0.327 | 215 | 0.146 | 24.26 | 2.916 | 987.036 | 91.3784 | -0.28081
2020-01-24 10:45:00 | 0.252 | 172.1 | 0.094 | 305.5 | 0 | 275 | 0 | 49.13 | 2.654 | 987.156 | 90.8998 | -0.26972
2020-01-24 11:00:00 | 1.198 | 178.7 | 0.041 | 290.9 | 0 | 275.6 | 0 | 356.6 | 3.337 | 987.031 | 88.5778 | -0.2882
2020-01-24 11:15:00 | 0.476 | 9.01 | 0.975 | 346.7 | 0.324 | 315.2 | 0.21 | 57.17 | 3.111 | 987.031 | 89.7935 | -0.29928
2020-01-24 11:30:00 | 1.675 | 327 | 1.975 | 328 | 1.407 | 280.6 | 1.234 | 339.8 | 3.135 | 986.499 | 88.0817 | -0.25125
2020-01-24 11:45:00 | 1.322 | 17.28 | 1.73 | 36.91 | 1.385 | 331.2 | 1.224 | 6.04 | 3.765 | 986.211 | 84.2466 | -0.29928
2020-01-24 12:00:00 | 2.086 | 12.07 | 2.257 | 35.97 | 1.321 | 17.08 | 1.092 | 2.256 | 3.704 | 986.165 | 78.7165 | -0.19583
2020-01-24 12:15:00 | 1.613 | 14.51 | 2.802 | 31.05 | 2.09 | 11.18 | 1.803 | 7.054 | 3.724 | 985.577 | 74.9275 | -0.28081
2020-01-24 12:30:00 | 2.473 | 359.1 | 2.766 | 342.7 | 1.933 | 301.1 | 1.779 | 0.993 | 4.749 | 985.55 | 68.4759 | -0.28081
2020-01-24 12:45:00 | 3.161 | 310.8 | 3.083 | 313.8 | 2.446 | 290.9 | 2.365 | 316.4 | 4.187 | 985.587 | 68.4759 | -0.28081
2020-01-24 13:00:00 | 2.771 | 316.4 | 2.807 | 316.8 | 2.495 | 289.3 | 2.49 | 322.5 | 4.437 | 985.571 | 64.176 | -0.24755
2020-01-24 13:15:00 | 2.691 | 330.4 | 2.951 | 336.6 | 2.558 | 321.7 | 2.623 | 340 | 5.425 | 985.572 | 60.2873 | -0.29928
2020-01-24 13:30:00 | 2.421 | 334.9 | 2.556 | 332.8 | 2.204 | 307.6 | 2.119 | 340.2 | 4.974 | 985.591 | 60.1533 | -0.27342
2020-01-24 13:45:00 | 2.279 | 3.504 | 2.454 | 11.77 | 2.464 | 313.1 | 2.258 | 2.33 | 5.133 | 985.374 | 58.1103 | -0.036949
2020-01-24 14:00:00 | 3.524 | 325.1 | 3.712 | 326.7 | 3.349 | 302.3 | 3.224 | 332.1 | 4.889 | 985.091 | 57.9725 | 1.1934
2020-01-24 14:15:00 | 2.87 | 339.8 | 2.932 | 349.8 | 3.006 | 326.3 | 3.01 | 338 | 4.726 | 984.654 | 56.5476 | 3.2108
2020-01-24 14:30:00 | 2.614 | 348.2 | 2.444 | 350.8 | 2.488 | 327.6 | 2.389 | 353.3 | 4.727 | 984.775 | 56.5477 | 2.8118
2020-01-24 14:45:00 | 2.059 | 1.85 | 2.264 | 353.9 | 2.332 | 329.1 | 2.165 | 5.838 | 4.664 | 984.657 | 55.2501 | 3.0482
2020-01-24 15:00:00 | 1.604 | 0.202 | 2.119 | 19.11 | 2.507 | 350 | 2.586 | 342.7 | 4.568 | 984.361 | 53.0061 | 3.3438
2020-01-24 15:15:00 | 1.994 | 7.084 | 2.724 | 16.8 | 3.209 | 354.1 | 3.234 | 6.802 | 4.59 | 984.51 | 51.7161 | 3.5655
2020-01-24 15:30:00 | 1.218 | 6.086 | 2.263 | 21.04 | 2.493 | 5.175 | 2.521 | 351.7 | 4.472 | 984.361 | 51.2383 | 3.7946
2020-01-24 15:45:00 | 2.413 | 1.426 | 2.428 | 22.62 | 2.333 | 336.4 | 2.406 | 349.5 | 4.388 | 984.361 | 51.614 | 3.5138
2020-01-24 16:00:00 | 1.465 | 3.587 | 1.921 | 30.07 | 2.148 | 355.6 | 2.137 | 352.7 | 4.281 | 984.361 | 51.8531 | 3.1739
2020-01-24 16:15:00 | 2.416 | 355.9 | 2.922 | 21.4 | 3.364 | 7.54 | 3.506 | 354.4 | 4.068 | 984.064 | 50.76 | 2.6492
2020-01-24 16:30:00 | 3.189 | 2.698 | 3.73 | 9.79 | 3.952 | 1.497 | 4.166 | 1.58 | 3.903 | 983.767 | 49.0521 | 2.0654
2020-01-24 16:45:00 | 3.072 | 6.17 | 3.308 | 13.32 | 3.55 | 359.9 | 3.567 | 1.889 | 3.732 | 983.832 | 50.0769 | 3.4584
2020-01-24 17:00:00 | 3.886 | 355.5 | 4.479 | 12.4 | 4.463 | 356.2 | 4.482 | 2.755 | 3.534 | 983.975 | 51.5848 | 5.5607
2020-01-24 17:15:00 | 3.687 | 7.063 | 3.847 | 7.409 | 3.235 | 355.2 | 3.127 | 9.4 | 3.325 | 984.066 | 52.4499 | 4.2158
2020-01-24 17:30:00 | 3.703 | 20.09 | 3.287 | 11.49 | 2.754 | 353.5 | 2.406 | 5.81 | 3.258 | 984.068 | 53.3696 | 2.9633
2020-01-24 17:45:00 | 2.27 | 13.32 | 3.172 | 14.46 | 2.759 | 2.956 | 2.842 | 23.65 | 3.085 | 984.043 | 54.1926 | 2.1024
2020-01-24 18:00:00 | 2.181 | 24.71 | 3.08 | 22.15 | 3.044 | 7.863 | 3.043 | 35.9 | 3.024 | 983.769 | 53.5793 | 1.2563
2020-01-24 18:15:00 | 2.908 | 38.89 | 3.203 | 22.92 | 3.016 | 18.43 | 3.007 | 45.32 | 3.209 | 983.472 | 51.4608 | 0.32145
2020-01-24 18:30:00 | 2.794 | 43.22 | 2.814 | 22.93 | 2.884 | 24.36 | 2.877 | 63.82 | 3.405 | 983.771 | 48.8638 | -0.13671
2020-01-24 18:45:00 | 2.556 | 58.02 | 2.891 | 23.03 | 2.462 | 32.04 | 2.304 | 73.13 | 3.473 | 983.919 | 47.497 | -0.2143
2020-01-24 19:00:00 | 2.421 | 65.07 | 2.628 | 23.03 | 2.202 | 29.86 | 2.05 | 80.8 | 3.468 | 983.755 | 46.5402 | -0.34362
2020-01-24 19:15:00 | 2.533 | 104.9 | 2.29 | 23.68 | 1.91 | 69.21 | 1.93 | 120.9 | 4.039 | 984.068 | 43.5332 | -0.30298
2020-01-24 19:30:00 | 1.366 | 130.6 | 1.769 | 133.2 | 1.398 | 82.3 | 1.372 | 132.1 | 4.365 | 984.068 | 43.0206 | -0.29928
2020-01-24 19:45:00 | 0.078 | 133 | 1.093 | 133.3 | 0.647 | 83.1 | 0.653 | 132.1 | 4.453 | 984.041 | 43.2591 | -0.28081
2020-01-24 20:00:00 | 1.246 | 135.8 | 1.868 | 134.1 | 1.398 | 83.2 | 1.413 | 132.7 | 4.488 | 984.048 | 43.3267 | -0.28081
2020-01-24 20:15:00 | 1.517 | 144.4 | 1.899 | 135.1 | 1.579 | 83.2 | 1.629 | 146.2 | 4.483 | 984.06 | 43.4617 | -0.26972
2020-01-24 20:30:00 | 1.66 | 114 | 2.076 | 130.8 | 1.94 | 84.9 | 2.101 | 118.2 | 4.35 | 984.062 | 43.6656 | -0.28081
2020-01-24 20:45:00 | 1.305 | 116.1 | 1.897 | 118.8 | 1.675 | 115.7 | 1.748 | 113.4 | 4.291 | 984.042 | 41.8892 | -0.28081
2020-01-24 21:00:00 | 2.464 | 135.2 | 2.531 | 119 | 1.953 | 124.8 | 2.045 | 130.5 | 4.081 | 984.059 | 42.6395 | -0.31406
2020-01-24 21:15:00 | 2.301 | 140.9 | 2.605 | 119.1 | 2.464 | 138.6 | 2.531 | 140 | 3.924 | 984.067 | 44.2134 | -0.24386
2020-01-24 21:30:00 | 3.294 | 137.6 | 3.814 | 119.6 | 3.654 | 140.8 | 3.634 | 138.1 | 3.618 | 984.063 | 45.1714 | 1.271
2020-01-24 21:45:00 | 4.05 | 133.4 | 4.407 | 120.3 | 4.529 | 137.3 | 4.515 | 137.2 | 3.32 | 984.055 | 45.0331 | 2.8044
2020-01-24 22:00:00 | 4.423 | 125.1 | 4.704 | 143.1 | 4.896 | 129.5 | 5.019 | 125.1 | 3.299 | 984.065 | 43.8747 | 3.0593
2020-01-24 22:15:00 | 3.682 | 120.6 | 3.944 | 141.6 | 3.71 | 134.2 | 3.855 | 116.8 | 3.198 | 983.907 | 43.2596 | 2.7711
2020-01-24 22:30:00 | 2.403 | 126.9 | 2.786 | 151.4 | 2.243 | 133.9 | 2.429 | 113.7 | 3.004 | 983.771 | 40.2527 | 3.2884
2020-01-24 22:45:00 | 5.122 | 130 | 5.34 | 151.3 | 5.203 | 139.8 | 5.197 | 129 | 3.208 | 983.883 | 34.8539 | 4.4153
2020-01-24 23:00:00 | 3.879 | 133.9 | 4.134 | 150.8 | 4.585 | 138.4 | 4.65 | 137.7 | 2.969 | 984.068 | 36.4941 | 2.8007
2020-01-24 23:15:00 | 4.458 | 125.6 | 4.931 | 144.7 | 5.081 | 131 | 5.057 | 133.1 | 3.271 | 984.068 | 32.3253 | 2.1689
2020-01-24 23:30:00 | 2.847 | 122.7 | 3.556 | 142.9 | 3.98 | 137 | 4.087 | 127.8 | 3.417 | 984.068 | 32.462 | 1.0715
2020-01-24 23:45:00 | 2.117 | 136.6 | 2.692 | 157.6 | 3.166 | 155 | 3.3 | 138.5 | 3.028 | 983.919 | 34.9223 | 0.81287