## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-25 00:00:00 | 3.927 | 124.6 | 3.645 | 146.5 | 3.23 | 132.4 | 3.272 | 121.4 | 3.107 | 983.771 | 33.3504 | 0.3584
2020-01-25 00:15:00 | 3.496 | 121.1 | 3.924 | 144.6 | 3.975 | 133.3 | 4.036 | 122.2 | 3.091 | 983.325 | 32.8379 | 0.53945
2020-01-25 00:30:00 | 3.983 | 122.5 | 4.561 | 139.6 | 4.763 | 126.7 | 4.767 | 126.4 | 3.342 | 983.473 | 31.5052 | 1.0198
2020-01-25 00:45:00 | 2.464 | 136.6 | 2.712 | 149 | 3.001 | 145 | 3.226 | 136.8 | 2.853 | 983.164 | 33.6921 | 0.72049
2020-01-25 01:00:00 | 2.022 | 135.1 | 3.001 | 153.8 | 3.667 | 139 | 3.756 | 139 | 3.065 | 983.176 | 30.2067 | 0.82395
2020-01-25 01:15:00 | 2.998 | 132.2 | 3.633 | 150.1 | 4.176 | 138.3 | 4.123 | 136.9 | 3.144 | 983.176 | 29.455 | 0.95327
2020-01-25 01:30:00 | 3.442 | 140 | 4.198 | 158.6 | 4.73 | 148.9 | 4.64 | 146.6 | 3.12 | 983.176 | 32.667 | 1.2563
2020-01-25 01:45:00 | 3.376 | 139.1 | 4.448 | 155.7 | 4.448 | 144.8 | 4.357 | 144.9 | 2.847 | 983.176 | 32.8037 | 1.3264
2020-01-25 02:00:00 | 2.289 | 131.4 | 2.725 | 152 | 3.054 | 130.3 | 3.106 | 134.1 | 2.867 | 983.176 | 32.3253 | 1.7218
2020-01-25 02:15:00 | 2.796 | 137.2 | 3.387 | 156.6 | 3.741 | 144.8 | 3.853 | 143.2 | 2.769 | 982.879 | 33.8971 | 1.2341
2020-01-25 02:30:00 | 2.402 | 146.5 | 2.978 | 165.1 | 3.298 | 157.6 | 3.404 | 150.9 | 2.681 | 982.73 | 33.4188 | 1.1676
2020-01-25 02:45:00 | 2.993 | 151.3 | 3.771 | 167.5 | 3.548 | 158.7 | 3.537 | 153.8 | 2.676 | 982.582 | 33.4188 | 1.2156
2020-01-25 03:00:00 | 2.012 | 145.5 | 2.802 | 164.6 | 2.436 | 159.2 | 2.378 | 152.2 | 2.737 | 982.284 | 32.1886 | 0.45447
2020-01-25 03:15:00 | 1.918 | 138.7 | 2.538 | 153 | 2.22 | 148.8 | 2.177 | 147.1 | 2.988 | 982.136 | 30.9585 | 0.17735
2020-01-25 03:30:00 | 0.637 | 158.6 | 1.689 | 152.6 | 1.276 | 146.4 | 1.421 | 159.3 | 3.103 | 981.838 | 31.5052 | 0.1404
2020-01-25 03:45:00 | 0.257 | 159 | 1.156 | 152.6 | 0.722 | 146.4 | 0.961 | 169.4 | 3.203 | 981.69 | 31.7786 | 0.088676
2020-01-25 04:00:00 | 0 | 159 | 0.522 | 152.6 | 0.044 | 146.4 | 0.117 | 169.4 | 3.04 | 981.69 | 31.9157 | -0.34362
2020-01-25 04:15:00 | 0 | 158.9 | 0 | 152.6 | 0 | 146.4 | 0 | 169.4 | 3.124 | 981.541 | 31.9882 | -0.29928
2020-01-25 04:30:00 | 0 | 159 | 0 | 152.6 | 0 | 146.5 | 0 | 169.4 | 3.064 | 981.69 | 33.3571 | -0.29928
2020-01-25 04:45:00 | 0 | 159 | 0 | 152.6 | 0 | 146.5 | 0 | 169.4 | 3.047 | 981.442 | 35.9542 | -0.28081
2020-01-25 05:00:00 | 0 | 159 | 0 | 152.6 | 0 | 146.5 | 0 | 169.4 | 3.061 | 981.409 | 33.4248 | -0.28081
2020-01-25 05:15:00 | 0 | 159 | 0 | 152.6 | 0 | 146.5 | 0 | 169.4 | 2.951 | 981.393 | 34.7906 | -0.29928
2020-01-25 05:30:00 | 0 | 159 | 0 | 152.6 | 0.019 | 146.5 | 0.256 | 169.4 | 2.883 | 981.096 | 33.9008 | -0.29928
2020-01-25 05:45:00 | 0 | 159.1 | 0 | 152.6 | 0 | 146.5 | 0.179 | 174 | 3.001 | 981.096 | 33.9002 | -0.29928
2020-01-25 06:00:00 | 1.263 | 159.1 | 1.092 | 78.89 | 0 | 142.5 | 0 | 174 | 2.687 | 980.947 | 34.1762 | -0.29928
2020-01-25 06:15:00 | 1.362 | 318.6 | 0.808 | 61.26 | 0.733 | 139.5 | 0.649 | 174.7 | 2.745 | 981.096 | 32.877 | -0.29928
2020-01-25 06:30:00 | 3.085 | 336.4 | 2.858 | 59.38 | 1.622 | 0.355 | 1.578 | 181.6 | 2.683 | 981.393 | 35.5432 | -0.29928
2020-01-25 06:45:00 | 0.291 | 342.9 | 2.07 | 59.18 | 1.13 | 352 | 1.196 | 343.1 | 2.456 | 981.69 | 36.087 | -0.29928
2020-01-25 07:00:00 | 0 | 346.4 | 1.288 | 60.02 | 1.155 | 357 | 0.985 | 342.7 | 2.029 | 981.988 | 36.4621 | -0.28081
2020-01-25 07:15:00 | 0 | 352.3 | 0.338 | 60.02 | 1.569 | 357 | 1.647 | 342.9 | 2.299 | 981.69 | 35.7454 | -0.28081
2020-01-25 07:30:00 | 0.339 | 353.5 | 1.051 | 59.97 | 0.488 | 357 | 0.49 | 343 | 2.486 | 981.988 | 35.9507 | -0.29928
2020-01-25 07:45:00 | 0.737 | 353.4 | 0.301 | 59.97 | 0 | 357 | 0 | 343 | 2.685 | 981.988 | 34.5147 | -0.29928
2020-01-25 08:00:00 | 0 | 353.4 | 0 | 60 | 0 | 356.9 | 0 | 343 | 2.848 | 982.285 | 34.1025 | -0.28081
2020-01-25 08:15:00 | 0.063 | 353.4 | 0 | 60.11 | 0 | 356.9 | 0.012 | 343 | 2.903 | 982.582 | 34.8539 | -0.28081
2020-01-25 08:30:00 | 1.609 | 78.14 | 1.828 | 62.28 | 0.445 | 132.7 | 0.77 | 342.5 | 2.294 | 982.864 | 39.9795 | -0.28081
2020-01-25 08:45:00 | 1.255 | 160 | 1.7 | 166 | 0.802 | 144.7 | 1.076 | 192.7 | 2.367 | 983.473 | 39.0872 | -0.29928
2020-01-25 09:00:00 | 1.45 | 164.3 | 1.527 | 166 | 1.268 | 144.6 | 1.405 | 192.4 | 3.326 | 983.781 | 38.0531 | -0.20322
2020-01-25 09:15:00 | 2.408 | 168 | 2.03 | 167.3 | 1.404 | 144.7 | 1.482 | 189.7 | 3.509 | 984.213 | 39.2144 | 0.084981
2020-01-25 09:30:00 | 1.933 | 157 | 2.086 | 173.3 | 1.864 | 197.1 | 1.861 | 161.2 | 3.495 | 984.064 | 40.4081 | -0.11084
2020-01-25 09:45:00 | 1.542 | 191.5 | 1.453 | 179.4 | 1.147 | 164.6 | 1.277 | 183.2 | 3.481 | 984.213 | 40.5807 | -0.27711
2020-01-25 10:00:00 | 2.26 | 205.5 | 1.973 | 216.2 | 1.401 | 208.4 | 1.442 | 204 | 4.226 | 984.51 | 38.6673 | -0.24755
2020-01-25 10:15:00 | 2.213 | 169.8 | 2.109 | 171.7 | 0.692 | 180.5 | 0.726 | 179.5 | 4.712 | 984.658 | 37.2901 | -0.28081
2020-01-25 10:30:00 | 1.727 | 168.1 | 1.501 | 181.4 | 0.41 | 174.5 | 0.531 | 168.9 | 4.799 | 984.416 | 37.2887 | -0.29189
2020-01-25 10:45:00 | 1.163 | 173.6 | 1.35 | 205.1 | 0.625 | 172.8 | 0.592 | 185.4 | 5.301 | 984.655 | 35.4448 | -0.28081
2020-01-25 11:00:00 | 2.239 | 216.7 | 2.27 | 225.5 | 1.131 | 214.2 | 1.056 | 243.5 | 5.511 | 984.518 | 36.6 | -0.26972
2020-01-25 11:15:00 | 3.598 | 193.2 | 3.397 | 198.6 | 2.363 | 184 | 2.389 | 210.8 | 5.837 | 984.513 | 36.9347 | -0.26972
2020-01-25 11:30:00 | 4.075 | 196 | 3.548 | 201.4 | 2.678 | 178.2 | 2.568 | 209.9 | 4.806 | 984.365 | 39.1876 | -0.31776
2020-01-25 11:45:00 | 3.48 | 198.2 | 3.226 | 210 | 1.908 | 188.2 | 1.87 | 211.3 | 5.123 | 984.264 | 38.3026 | -0.28081
2020-01-25 12:00:00 | 2.264 | 187.8 | 2.39 | 195.6 | 1.406 | 179.7 | 1.568 | 203.2 | 5.436 | 983.986 | 36.8049 | -0.29928
2020-01-25 12:15:00 | 1.786 | 205.2 | 1.909 | 208.7 | 1.036 | 202.4 | 1.152 | 247.9 | 5.653 | 983.9 | 37.2141 | -0.31406
2020-01-25 12:30:00 | 2.567 | 307 | 3.129 | 308.3 | 2.553 | 277.3 | 2.567 | 311.5 | 5.646 | 984.009 | 44.4187 | -0.32884
2020-01-25 12:45:00 | 2.949 | 305.9 | 3.351 | 322.7 | 3.321 | 309.5 | 3.417 | 306.7 | 5.325 | 983.198 | 44.8923 | -0.30298
2020-01-25 13:00:00 | 3.057 | 304.6 | 3.295 | 320 | 3.301 | 304.8 | 3.303 | 300.2 | 5.413 | 983.216 | 44.6493 | -0.20322
2020-01-25 13:15:00 | 3.473 | 300.1 | 3.648 | 315.4 | 3.26 | 290.3 | 3.285 | 301.4 | 5.213 | 983.229 | 46.834 | -0.1441
2020-01-25 13:30:00 | 3.141 | 291.8 | 3.264 | 299.3 | 2.985 | 268.2 | 2.905 | 293.6 | 4.938 | 983.107 | 47.2436 | -0.092371
2020-01-25 13:45:00 | 1.89 | 307.3 | 2.531 | 315.7 | 1.347 | 291.5 | 1.247 | 299.1 | 5.437 | 983.172 | 45.5027 | -0.30298
2020-01-25 14:00:00 | 2.998 | 284 | 2.83 | 295.7 | 2.39 | 262 | 2.367 | 291.6 | 5.72 | 983.201 | 47.1753 | -0.26972
2020-01-25 14:15:00 | 2.763 | 272.6 | 2.252 | 278.6 | 1.325 | 257.5 | 1.256 | 280.5 | 5.887 | 983.359 | 47.107 | -0.25125
2020-01-25 14:30:00 | 1.682 | 303.5 | 1.974 | 317.6 | 1.564 | 264.3 | 1.577 | 300.8 | 5.611 | 983.054 | 48.3359 | -0.28081
2020-01-25 14:45:00 | 2.039 | 293.6 | 2.265 | 296.6 | 2.212 | 266.2 | 2.227 | 297.5 | 5.377 | 983.21 | 49.806 | -0.28081
2020-01-25 15:00:00 | 2.138 | 305.7 | 2.687 | 316.6 | 1.957 | 285.8 | 1.892 | 308.9 | 5.488 | 982.895 | 49.4355 | -0.28081
2020-01-25 15:15:00 | 2.753 | 313.2 | 3.223 | 313.6 | 2.762 | 269.7 | 2.798 | 319 | 5.558 | 982.89 | 49.7115 | -0.28081
2020-01-25 15:30:00 | 2.568 | 337.9 | 2.909 | 0.967 | 3.311 | 293.7 | 3.45 | 329.1 | 5.265 | 982.24 | 53.5678 | -0.22539
2020-01-25 15:45:00 | 1.303 | 10.04 | 2.495 | 25.85 | 2.037 | 349.8 | 1.955 | 354.4 | 5.003 | 981.98 | 53.8826 | 0.16257
2020-01-25 16:00:00 | 1.294 | 17.46 | 2.062 | 20.02 | 2.998 | 319.6 | 2.846 | 9.98 | 4.795 | 981.535 | 56.616 | 0.2845
2020-01-25 16:15:00 | 1.43 | 1.277 | 2.848 | 28.76 | 2.65 | 6.962 | 2.668 | 351.8 | 4.316 | 981.308 | 57.3672 | 0.19952
2020-01-25 16:30:00 | 2.919 | 355.8 | 3.308 | 13.8 | 3.993 | 8.97 | 3.934 | 353.3 | 3.994 | 980.795 | 61.8893 | 1.5223
2020-01-25 16:45:00 | 2.688 | 341.5 | 2.537 | 8.33 | 3.456 | 12.33 | 3.509 | 345.5 | 3.745 | 981.092 | 64.9018 | 1.3893
2020-01-25 17:00:00 | 3.169 | 12.06 | 3.955 | 8.88 | 3.423 | 0.591 | 3.073 | 1.126 | 3.521 | 980.943 | 65.4483 | 0.99761
2020-01-25 17:15:00 | 2.041 | 5.571 | 2.817 | 18.79 | 2.535 | 3.59 | 2.722 | 7.996 | 3.428 | 980.927 | 65.2492 | 0.24386
2020-01-25 17:30:00 | 1.079 | 4.694 | 2.646 | 16.43 | 2.492 | 1.618 | 2.508 | 9.02 | 3.23 | 981.391 | 67.9951 | 0.33254
2020-01-25 17:45:00 | 4.088 | 353.8 | 4.415 | 5.679 | 3.817 | 356.6 | 4.115 | 0.195 | 3.26 | 981.392 | 67.3111 | 0.5025
2020-01-25 18:00:00 | 3.434 | 0.386 | 3.906 | 15.23 | 4.293 | 2.1 | 2.913 | 1.125 | 3.153 | 981.362 | 66.698 | 2.5125
2020-01-25 18:15:00 | 2.679 | 0.15 | 3.323 | 20.49 | 4.283 | 6.088 | 3.157 | 3.904 | 3.046 | 981.392 | 67.1772 | 2.8302
2020-01-25 18:30:00 | 2.574 | 41.71 | 3.292 | 14.73 | 3.835 | 5.939 | 2.674 | 3.418 | 3.058 | 981.363 | 66.2224 | 1.6775
2020-01-25 18:45:00 | 2.574 | 2.22 | 3.599 | 22.47 | 2.619 | 9.74 | 2.549 | 8.76 | 3.05 | 981.095 | 65.1973 | 1.5925
2020-01-25 19:00:00 | 2.778 | 0.651 | 3.443 | 21.93 | 4.26 | 4.935 | 2.946 | 8.88 | 2.998 | 981.095 | 64.924 | 3.2034
2020-01-25 19:15:00 | 2.885 | 0.449 | 4.106 | 20.06 | 4.379 | 5.347 | 3.323 | 7.21 | 3.012 | 981.095 | 64.7873 | 3.2108
2020-01-25 19:30:00 | 2.852 | 1.306 | 3.617 | 18.39 | 4.506 | 6.132 | 3.346 | 6.961 | 2.802 | 981.095 | 65.6074 | 4.9733
2020-01-25 19:45:00 | 3.251 | 1.963 | 4.719 | 20.43 | 4.837 | 10.59 | 4.426 | 8.05 | 2.743 | 980.798 | 66.1199 | 5.6014
2020-01-25 20:00:00 | 3.304 | 8.16 | 4.223 | 29.06 | 4.392 | 16.25 | 4.036 | 12.88 | 2.576 | 981.095 | 67.1109 | 4.3784
2020-01-25 20:15:00 | 3.47 | 20.95 | 4.438 | 35.52 | 4.852 | 20.45 | 4.902 | 23.25 | 2.6 | 981.095 | 66.0858 | 4.1235
2020-01-25 20:30:00 | 3.649 | 22.01 | 4.438 | 40.51 | 4.901 | 19.35 | 4.968 | 27.62 | 2.817 | 981.095 | 61.2677 | 3.4473
2020-01-25 20:45:00 | 3.353 | 17.87 | 4.379 | 34.35 | 4.784 | 18.27 | 4.889 | 24.81 | 2.861 | 981.095 | 60.8918 | 3.2626
2020-01-25 21:00:00 | 3.396 | 24.44 | 4.382 | 35.22 | 4.715 | 18.73 | 4.711 | 28.35 | 3.01 | 981.095 | 58.8416 | 2.361
2020-01-25 21:15:00 | 2.804 | 21.13 | 3.673 | 35.01 | 4.255 | 19.14 | 4.403 | 27.19 | 3.057 | 981.095 | 57.9532 | 1.3634
2020-01-25 21:30:00 | 3.08 | 25.2 | 3.967 | 39.55 | 4.232 | 20.42 | 4.273 | 25.45 | 3.003 | 981.095 | 57.1331 | 2.0728
2020-01-25 21:45:00 | 3.192 | 21.35 | 4.32 | 41.51 | 4.506 | 20.66 | 4.558 | 25.73 | 3.067 | 981.095 | 55.7321 | 2.1652
2020-01-25 22:00:00 | 3.396 | 25.55 | 4.364 | 41.35 | 4.636 | 20.83 | 4.614 | 28.3 | 3.212 | 981.095 | 54.4678 | 2.2982
2020-01-25 22:15:00 | 3.371 | 20.49 | 4.08 | 40.71 | 4.72 | 19.83 | 4.833 | 27.19 | 3.265 | 980.947 | 53.9894 | 2.5753
2020-01-25 22:30:00 | 2.635 | 29.54 | 2.973 | 42.03 | 3.453 | 29.71 | 3.654 | 33.32 | 3.205 | 981.095 | 53.2035 | 1.271
2020-01-25 22:45:00 | 2.676 | 27.8 | 3.525 | 41.71 | 4.16 | 16.61 | 4.179 | 32.64 | 3.25 | 981.095 | 51.1191 | 1.4706
2020-01-25 23:00:00 | 3.243 | 25.28 | 3.806 | 41.41 | 3.965 | 13.53 | 4.051 | 30.54 | 3.407 | 980.798 | 51.6316 | 1.4595
2020-01-25 23:15:00 | 3.376 | 23.57 | 4.208 | 41.7 | 4.476 | 21.89 | 4.538 | 29.75 | 3.308 | 980.501 | 52.0758 | 3.6283
2020-01-25 23:30:00 | 3.491 | 21.49 | 4.553 | 39.99 | 5.163 | 18.04 | 5.304 | 24.08 | 3.263 | 980.5 | 51.1865 | 4.94
2020-01-25 23:45:00 | 3.608 | 21.37 | 4.448 | 40.09 | 5.018 | 22.09 | 5.146 | 24.6 | 3.378 | 980.779 | 48.9322 | 3.4695