## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-26 00:00:00 | 3.363 | 26.02 | 4.492 | 40.53 | 4.583 | 20.4 | 4.606 | 30.66 | 3.622 | 981.095 | 47.3603 | 1.0493
2020-01-26 00:15:00 | 3.391 | 25.11 | 4.461 | 40.29 | 4.598 | 17.45 | 4.642 | 31.52 | 3.698 | 981.071 | 47.6337 | 2.1061
2020-01-26 00:30:00 | 3.207 | 25.25 | 4.228 | 40.18 | 4.712 | 22.66 | 4.8 | 28.66 | 3.508 | 980.463 | 47.292 | 3.1221
2020-01-26 00:45:00 | 3.598 | 21.41 | 4.653 | 37.56 | 5.076 | 18.57 | 5.108 | 25.18 | 3.597 | 980.489 | 45.856 | 1.9583
2020-01-26 01:00:00 | 3.932 | 18.14 | 5.082 | 31.03 | 5.351 | 14.46 | 5.365 | 24.28 | 3.57 | 980.481 | 45.3088 | 3.2588
2020-01-26 01:15:00 | 2.903 | 18.16 | 4.162 | 29.33 | 4.283 | 15.79 | 4.265 | 25.02 | 3.531 | 980.501 | 45.6509 | 1.2673
2020-01-26 01:30:00 | 2.467 | 14.7 | 3.653 | 29.47 | 3.68 | 14.41 | 3.723 | 27.9 | 3.377 | 980.495 | 47.9055 | 1.3523
2020-01-26 01:45:00 | 1.704 | 20.2 | 3.231 | 27.48 | 3.151 | 19.03 | 3.119 | 29.96 | 3.168 | 980.459 | 48.863 | -0.25494
2020-01-26 02:00:00 | 0.337 | 49.19 | 1.682 | 28.89 | 1.701 | 51.5 | 1.833 | 67 | 3.232 | 980.498 | 44.9679 | -0.32884
2020-01-26 02:15:00 | 0.527 | 96.8 | 1.198 | 94 | 1.342 | 113.7 | 1.642 | 91 | 3.468 | 980.649 | 45.3784 | -0.31776
2020-01-26 02:30:00 | 0.037 | 91.5 | 0.398 | 94.1 | 1.62 | 117.9 | 1.805 | 94.2 | 3.383 | 980.501 | 46.2669 | -0.30298
2020-01-26 02:45:00 | 0 | 94.7 | 0.274 | 94 | 0.423 | 117.8 | 0.422 | 98.9 | 3.335 | 980.203 | 44.4217 | -0.29928
2020-01-26 03:00:00 | 1.23 | 358.4 | 1.55 | 92.4 | 1.405 | 356.3 | 1.37 | 82.5 | 3.375 | 980.203 | 46.4719 | -0.28081
2020-01-26 03:15:00 | 0.807 | 14.41 | 1.96 | 7.763 | 2.164 | 357 | 2.108 | 21.17 | 2.94 | 980.203 | 48.1804 | -0.50619
2020-01-26 03:30:00 | 0.074 | 4.343 | 0.919 | 7.561 | 1.026 | 2.568 | 0.999 | 7.905 | 2.66 | 979.906 | 51.0507 | -0.28081
2020-01-26 03:45:00 | 1.614 | 8.59 | 1.996 | 26.62 | 1.892 | 13.63 | 1.8 | 8.4 | 2.38 | 979.757 | 52.1442 | -0.29928
2020-01-26 04:00:00 | 1.684 | 10.95 | 2.495 | 21.56 | 2.339 | 9.17 | 2.516 | 16.08 | 2.288 | 979.906 | 50.2306 | -0.31776
2020-01-26 04:15:00 | 1.189 | 18.28 | 2.871 | 29.04 | 3.219 | 23 | 3.351 | 21.36 | 2.284 | 979.906 | 53.716 | -0.29928
2020-01-26 04:30:00 | 1.733 | 24.29 | 3.019 | 33.29 | 3.514 | 22.1 | 3.601 | 29.48 | 1.861 | 979.906 | 52.8276 | -0.24386
2020-01-26 04:45:00 | 1.805 | 25.39 | 3.213 | 42.02 | 3.403 | 7.346 | 3.42 | 26.98 | 2.16 | 980.055 | 49.6841 | -0.29928
2020-01-26 05:00:00 | 2.365 | 24.47 | 3.282 | 41.49 | 3.492 | 13.36 | 3.611 | 28.27 | 2.126 | 979.609 | 50.7091 | 0.77592
2020-01-26 05:15:00 | 2.862 | 22.44 | 3.681 | 41.11 | 4.036 | 18.37 | 4.115 | 27.01 | 1.92 | 979.312 | 54.3312 | 2.1061
2020-01-26 05:30:00 | 2.74 | 21.39 | 4.042 | 36.31 | 4.514 | 12.23 | 4.581 | 28.46 | 1.402 | 979.312 | 51.495 | 2.616
2020-01-26 05:45:00 | 2.796 | 41.1 | 4.044 | 48.24 | 4.021 | 26.44 | 4.074 | 45.78 | 1.238 | 979.014 | 53.7169 | 3.1258
2020-01-26 06:00:00 | 1.453 | 38.44 | 3.561 | 49.37 | 3.965 | 18.11 | 4.056 | 43.88 | 1.128 | 978.866 | 52.3557 | 3.063
2020-01-26 06:15:00 | 0.764 | 25.46 | 3.63 | 41.41 | 4.046 | 3.449 | 4.074 | 30.46 | 1.325 | 978.885 | 48.9077 | 4.0422
2020-01-26 06:30:00 | 2.661 | 23.64 | 3.998 | 35.39 | 4.074 | 17.96 | 4.115 | 31.21 | 1.354 | 979.341 | 47.8506 | 4.4486
2020-01-26 06:45:00 | 3.376 | 18.47 | 5.011 | 28.4 | 5.145 | 15.32 | 5.22 | 28.19 | 1.399 | 979.338 | 47.9192 | 6.9648
2020-01-26 07:00:00 | 2.799 | 18.11 | 4.696 | 26.14 | 4.745 | 12.11 | 4.736 | 27.45 | 1.463 | 979.375 | 44.6369 | 6.1224
2020-01-26 07:15:00 | 2.42 | 14.31 | 4.08 | 26.19 | 4.377 | 14.18 | 4.296 | 21.77 | 0.921 | 979.41 | 49.7638 | 6.7505
2020-01-26 07:30:00 | 2.088 | 18.17 | 4.139 | 30.28 | 4.885 | 27.43 | 5.004 | 24.36 | 0.658 | 979.4 | 51.2003 | 7.3158
2020-01-26 07:45:00 | 3.248 | 13.24 | 4.584 | 24.07 | 5.348 | 15.33 | 5.378 | 22.03 | 0.805 | 979.641 | 53.2216 | 12.0932
2020-01-26 08:00:00 | 3.646 | 8.24 | 5.074 | 22.65 | 5.605 | 10.8 | 5.157 | 16.97 | 0.507 | 979.553 | 54.3496 | 11.7607
2020-01-26 08:15:00 | 3.754 | 13.81 | 5.092 | 23.35 | 5.597 | 11.53 | 5.638 | 23.81 | 0.555 | 979.576 | 56.2639 | 11.5907
2020-01-26 08:30:00 | 3.672 | 20.68 | 5.069 | 31.81 | 5.122 | 14.9 | 5.174 | 28.98 | 0.725 | 979.587 | 52.4697 | 10.7446
2020-01-26 08:45:00 | 2.487 | 10.45 | 3.722 | 21.16 | 4.542 | 14.87 | 4.415 | 17.31 | 0.672 | 979.56 | 59.1349 | 8.7383
2020-01-26 09:00:00 | 2.906 | 10.29 | 3.704 | 17.29 | 4.323 | 3.849 | 4.275 | 15.76 | 0.654 | 979.528 | 54.3492 | 7.6262
2020-01-26 09:15:00 | 2.652 | 11.94 | 3.873 | 19.71 | 4.359 | 357.4 | 3.883 | 16.54 | 1.15 | 979.517 | 53.6625 | 7.5781
2020-01-26 09:30:00 | 3.353 | 11.33 | 4.509 | 19.94 | 5.295 | 356.7 | 5.174 | 22.69 | 1.289 | 979.652 | 50.4465 | 6.8613
2020-01-26 09:45:00 | 1.98 | 12.6 | 4.291 | 19.9 | 4.616 | 3.931 | 4.472 | 20.77 | 1.301 | 979.611 | 56.9019 | 5.8305
2020-01-26 10:00:00 | 1.679 | 13.56 | 3.344 | 28.97 | 3.413 | 13.65 | 3.275 | 16.91 | 0.762 | 979.907 | 59.5304 | 3.0335
2020-01-26 10:15:00 | 2.239 | 12.9 | 2.773 | 35.17 | 3.146 | 26.85 | 3.269 | 20.44 | 0.476 | 980.055 | 62.1933 | 1.7255
2020-01-26 10:30:00 | 1.678 | 10.92 | 2.587 | 21.52 | 2.622 | 14.24 | 2.427 | 10.69 | 0.326 | 979.907 | 64.8607 | 2.2576
2020-01-26 10:45:00 | 1.936 | 0.608 | 2.924 | 21.4 | 3.041 | 23.74 | 2.949 | 1.92 | 0.468 | 979.907 | 65.612 | 3.8611
2020-01-26 11:00:00 | 3.386 | 355.6 | 3.466 | 14.18 | 3.415 | 8.01 | 3.318 | 1.935 | 0.309 | 979.609 | 65.9501 | 3.281
2020-01-26 11:15:00 | 2.057 | 359 | 2.73 | 16.16 | 2.311 | 1.937 | 2.292 | 0.581 | 0.543 | 979.609 | 65.4035 | 1.9065
2020-01-26 11:30:00 | 1.265 | 28.37 | 1.493 | 25.47 | 1.098 | 347.1 | 1.23 | 21.49 | 1.183 | 979.907 | 65.0265 | 1.9583
2020-01-26 11:45:00 | 0.476 | 2.867 | 1.729 | 25.79 | 1.552 | 5.637 | 1.586 | 357.3 | 0.826 | 979.907 | 64.8556 | 1.962
2020-01-26 12:00:00 | 0.665 | 19.11 | 1.809 | 29.95 | 1.136 | 346 | 1.149 | 18.03 | 1.268 | 979.609 | 64.719 | 1.5075
2020-01-26 12:15:00 | 1.002 | 12.62 | 2.353 | 23.35 | 1.71 | 327.4 | 1.575 | 12.15 | 0.914 | 979.309 | 66.7009 | 2.0433
2020-01-26 12:30:00 | 3.041 | 10.03 | 3.799 | 26.72 | 3.387 | 12.26 | 3.455 | 357.7 | 0.588 | 978.717 | 66.7009 | 3.0852
2020-01-26 12:45:00 | 3.567 | 3.091 | 3.52 | 28.54 | 3.016 | 21.44 | 3.16 | 355.4 | 0.516 | 978.271 | 67.6576 | 3.3069
2020-01-26 13:00:00 | 3.817 | 8.18 | 3.804 | 15.43 | 3.593 | 9.94 | 3.769 | 5.067 | 0.46 | 978.122 | 66.8375 | 3.6505
2020-01-26 13:15:00 | 3.475 | 5.91 | 3.318 | 20.2 | 2.858 | 12.11 | 3.043 | 5.679 | 0.607 | 978.122 | 65.6757 | 2.3425
2020-01-26 13:30:00 | 2.824 | 0.739 | 2.96 | 18.15 | 2.841 | 10.47 | 2.982 | 358.4 | 0.689 | 977.974 | 65.8124 | 2.1504
2020-01-26 13:45:00 | 3.064 | 354.1 | 2.633 | 23.71 | 2.935 | 24.52 | 3.053 | 354.7 | 0.633 | 977.974 | 67.0426 | 2.1689
2020-01-26 14:00:00 | 3.697 | 6.865 | 3.592 | 23.94 | 3.286 | 12.48 | 3.448 | 354 | 0.599 | 977.825 | 67.0443 | 2.5051
2020-01-26 14:15:00 | 3.039 | 5.352 | 3.016 | 16.04 | 3.26 | 8.73 | 3.303 | 0.712 | 0.733 | 977.825 | 66.0188 | 2.9854
2020-01-26 14:30:00 | 3.11 | 4.959 | 3.349 | 15.17 | 3.474 | 9.93 | 3.705 | 0.071 | 0.779 | 977.528 | 65.4744 | 3.7872
2020-01-26 14:45:00 | 2.765 | 358.6 | 3.313 | 17.24 | 3.029 | 13.39 | 3.196 | 354.9 | 0.862 | 977.528 | 67.1164 | 2.845
2020-01-26 15:00:00 | 2.588 | 6.653 | 2.771 | 13.94 | 2.35 | 1.824 | 2.546 | 2.441 | 0.852 | 977.528 | 66.7743 | 2.5642
2020-01-26 15:15:00 | 2.162 | 347.8 | 2.357 | 9.31 | 2.427 | 356 | 2.704 | 344.5 | 1.006 | 977.528 | 68.9622 | 2.0728
2020-01-26 15:30:00 | 2.203 | 349.1 | 2.51 | 13.56 | 2.634 | 2.677 | 2.824 | 346.8 | 0.987 | 977.528 | 70.3987 | 2.8857
2020-01-26 15:45:00 | 0.656 | 26.15 | 1.63 | 31.42 | 1.902 | 341.9 | 1.929 | 13.17 | 1.015 | 977.974 | 73.0625 | 2.1024
2020-01-26 16:00:00 | 2.402 | 345.3 | 2.637 | 16.2 | 2.669 | 11.07 | 2.791 | 346 | 0.806 | 977.825 | 75.931 | 2.9042
2020-01-26 16:15:00 | 3.179 | 6.309 | 3.152 | 17.07 | 3.008 | 6.656 | 3.05 | 1.188 | 0.668 | 977.528 | 75.661 | 5.1063
2020-01-26 16:30:00 | 3.23 | 355.3 | 3.165 | 11.92 | 3.405 | 8.42 | 3.545 | 355.6 | 0.602 | 977.383 | 77.2385 | 5.424
2020-01-26 16:45:00 | 3.708 | 359.6 | 3.581 | 15.48 | 4.026 | 11.23 | 4.176 | 2.747 | 0.49 | 977.602 | 78.2702 | 4.8218
2020-01-26 17:00:00 | 2.511 | 353.3 | 2.775 | 9.85 | 3.074 | 16.46 | 3.188 | 352.1 | 0.472 | 977.625 | 78.8223 | 3.1258
2020-01-26 17:15:00 | 3.554 | 335.2 | 3.666 | 344.1 | 3.888 | 328.3 | 4.011 | 341.6 | 0.281 | 977.528 | 85.3871 | 4.4892
2020-01-26 17:30:00 | 4.006 | 7.417 | 4.63 | 11.01 | 4.623 | 2.036 | 4.349 | 4.39 | 0.059 | 977.232 | 86.4809 | 8.391
2020-01-26 17:45:00 | 3.011 | 7.028 | 3.988 | 21.52 | 3.993 | 6.378 | 3.585 | 13.06 | 0.024 | 977.381 | 84.4981 | 5.5903
2020-01-26 18:00:00 | 2.402 | 7.831 | 3.152 | 23.62 | 2.876 | 13.49 | 2.819 | 9.3 | 0.146 | 977.53 | 84.7718 | 4.2565
2020-01-26 18:15:00 | 2.702 | 1.098 | 2.444 | 32.91 | 1.688 | 335.2 | 1.815 | 15.09 | 0 | 977.53 | 82.9255 | 2.2982
2020-01-26 18:30:00 | 3.858 | 357.2 | 4.451 | 4.905 | 4.252 | 359.5 | 4.107 | 6.493 | 0.014 | 977.381 | 86.2074 | 4.5816
2020-01-26 18:45:00 | 3.674 | 6.506 | 4.215 | 14.8 | 4.323 | 4.877 | 3.753 | 7.058 | -0.122 | 977.232 | 85.9669 | 6.4253
2020-01-26 19:00:00 | 3.054 | 6.335 | 3.955 | 20.25 | 4.092 | 5.414 | 3.812 | 13.88 | -0.046 | 977.232 | 83.3359 | 5.8563
2020-01-26 19:15:00 | 3.514 | 7.84 | 4.581 | 20.28 | 4.135 | 4.794 | 4.13 | 14.09 | -0.043 | 977.381 | 84.156 | 4.1826
2020-01-26 19:30:00 | 2.454 | 15.78 | 3.778 | 27.03 | 3.68 | 7.755 | 3.715 | 23.15 | -0.209 | 977.232 | 83.7454 | 2.5494
2020-01-26 19:45:00 | 1.799 | 9.32 | 2.914 | 23.79 | 2.904 | 10.26 | 2.893 | 19.81 | -0.007 | 977.232 | 83.0621 | 1.2932
2020-01-26 20:00:00 | 3.47 | 357.6 | 3.725 | 358.5 | 3.194 | 343.8 | 3.175 | 4.97 | 0.017 | 977.232 | 80.8067 | 2.7083
2020-01-26 20:15:00 | 3.516 | 4.454 | 4.187 | 13.9 | 4.687 | 8.13 | 4.515 | 1.457 | -0.28 | 977.232 | 83.1311 | 8.9674
2020-01-26 20:30:00 | 4.634 | 8.77 | 5.471 | 21.36 | 5.17 | 12.03 | 5.106 | 10.9 | -0.296 | 977.232 | 82.4474 | 11.7459
2020-01-26 20:45:00 | 4.341 | 6.577 | 5.67 | 24.36 | 4.982 | 10.16 | 4.864 | 7.84 | -0.28 | 977.232 | 83.0627 | 14.8348
2020-01-26 21:00:00 | 5.388 | 6.084 | 6.066 | 22.18 | 5.59 | 11.33 | 5.505 | 8.56 | -0.28 | 977.232 | 82.6525 | 15.4334
2020-01-26 21:15:00 | 5.278 | 8.58 | 6.557 | 25.39 | 5.679 | 14.34 | 5.551 | 10.78 | -0.386 | 977.232 | 82.3449 | 14.7203
2020-01-26 21:30:00 | 4.765 | 14.55 | 7.667 | 28.5 | 7.34 | 16.43 | 6.916 | 20.2 | -0.416 | 976.935 | 82.3791 | 15.5294
2020-01-26 21:45:00 | 5.053 | 10.69 | 7.355 | 28.58 | 6.882 | 16.23 | 6.211 | 15.18 | -0.413 | 976.935 | 81.6271 | 13.4492
2020-01-26 22:00:00 | 5.25 | 9.88 | 6.619 | 27.71 | 6.037 | 15.72 | 5.712 | 13.67 | -0.483 | 976.935 | 81.2169 | 15.0491
2020-01-26 22:15:00 | 5.454 | 8.96 | 6.647 | 24.87 | 5.831 | 11.52 | 5.689 | 11.81 | -0.499 | 976.935 | 82.3107 | 13.0465
2020-01-26 22:30:00 | 5.781 | 5.573 | 5.934 | 16.09 | 5.887 | 9.02 | 5.653 | 6.66 | -0.589 | 976.638 | 84.1565 | 16.5123
2020-01-26 22:45:00 | 5.398 | 2.825 | 5.668 | 13.97 | 6.078 | 8.61 | 6.109 | 4.253 | -0.757 | 976.638 | 84.9427 | 18.9509
2020-01-26 23:00:00 | 5.153 | 7.215 | 6.148 | 21.77 | 5.58 | 8.81 | 5.531 | 9.18 | -0.719 | 976.638 | 83.1311 | 14.3803
2020-01-26 23:15:00 | 4.251 | 7.25 | 4.765 | 16.83 | 4.951 | 9.1 | 4.808 | 6.68 | -0.759 | 976.638 | 82.8576 | 12.278
2020-01-26 23:30:00 | 4.673 | 7.329 | 4.862 | 18.8 | 4.939 | 9.39 | 4.904 | 10.6 | -0.819 | 976.638 | 82.8576 | 12.2521
2020-01-26 23:45:00 | 4.821 | 6.637 | 5.218 | 19.16 | 4.987 | 10.92 | 4.866 | 7.272 | -0.899 | 976.34 | 83.4729 | 15.4038