## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-27 00:00:00 | 4.589 | 8.19 | 5.269 | 13.21 | 5.076 | 5.99 | 4.785 | 6.256 | -1.024 | 976.043 | 86.3442 | 14.9124
2020-01-27 00:15:00 | 4.096 | 6.179 | 4.645 | 17.17 | 4.806 | 7.988 | 4.571 | 8.66 | -1.123 | 976.043 | 87.1646 | 12.725
2020-01-27 00:30:00 | 4.397 | 8.26 | 4.719 | 14.13 | 4.72 | 7.711 | 4.647 | 8.1 | -1.304 | 976.043 | 88.1217 | 12.9393
2020-01-27 00:45:00 | 4.211 | 6.769 | 4.742 | 18.62 | 4.903 | 6.559 | 4.968 | 9.9 | -1.502 | 975.746 | 88.8053 | 14.0552
2020-01-27 01:00:00 | 4.208 | 9.41 | 5.742 | 22.69 | 6.2 | 8.65 | 5.658 | 17.74 | -1.503 | 975.597 | 87.5109 | 14.4875
2020-01-27 01:15:00 | 3.898 | 10.65 | 6.391 | 24.69 | 6.251 | 10.89 | 5.022 | 16.49 | -1.497 | 975.448 | 87.0384 | 14.0182
2020-01-27 01:30:00 | 3.292 | 14.42 | 6.394 | 28.76 | 6.864 | 15.47 | 6.453 | 20.36 | -1.356 | 975.448 | 87.1061 | 16.6785
2020-01-27 01:45:00 | 4.239 | 23.37 | 5.997 | 36.64 | 6.34 | 22.23 | 6.486 | 26.53 | -1.62 | 975.3 | 89.502 | 13.5305
2020-01-27 02:00:00 | 4.532 | 24.76 | 6.077 | 39.9 | 6.287 | 29.12 | 6.346 | 27.81 | -1.616 | 975.151 | 88.376 | 12.5773
2020-01-27 02:15:00 | 4.382 | 23.03 | 5.496 | 35.91 | 5.659 | 18.13 | 5.763 | 29.28 | -1.514 | 974.854 | 84.0684 | 11.14
2020-01-27 02:30:00 | 3.815 | 19.45 | 5.351 | 28.63 | 5.386 | 12.91 | 5.465 | 27.19 | -1.097 | 974.854 | 79.6904 | 12.1043
2020-01-27 02:45:00 | 2.902 | 21.79 | 5.225 | 30.31 | 5.727 | 16.27 | 5.803 | 30.65 | -1.079 | 974.854 | 81.3646 | 10.5488
2020-01-27 03:00:00 | 3.583 | 20.73 | 5.036 | 31.77 | 4.951 | 21.14 | 4.938 | 27.91 | -1.279 | 974.705 | 77.3294 | 7.9402
2020-01-27 03:15:00 | 2.635 | 15.68 | 4.323 | 27.9 | 4.618 | 21.96 | 4.744 | 25.44 | -1.406 | 974.407 | 79.7517 | 8.1656
2020-01-27 03:30:00 | 2.543 | 19.15 | 4.072 | 34.49 | 4.105 | 30.92 | 4.125 | 30.06 | -1.476 | 974.259 | 87.7196 | 6.8059
2020-01-27 03:45:00 | 2.653 | 14.58 | 3.129 | 26.27 | 3.492 | 18.06 | 3.636 | 27.23 | -1.611 | 974.259 | 88.2346 | 5.5497
2020-01-27 04:00:00 | 2.599 | 13.22 | 3.298 | 20.11 | 4.11 | 13.67 | 4.303 | 25.41 | -1.8 | 974.259 | 89.4356 | 7.0535
2020-01-27 04:15:00 | 3.411 | 16.2 | 4.44 | 27.22 | 4.748 | 14.59 | 4.93 | 25.73 | -1.804 | 973.961 | 88.2049 | 9.0265
2020-01-27 04:30:00 | 3.529 | 22.5 | 4.435 | 30.05 | 5.145 | 19.13 | 5.281 | 25.86 | -1.696 | 973.664 | 85.7436 | 10.2199
2020-01-27 04:45:00 | 3.92 | 25.7 | 4.993 | 33.29 | 5.862 | 19.6 | 6.022 | 29.58 | -1.902 | 973.664 | 90.6666 | 9.5438
2020-01-27 05:00:00 | 2.954 | 23.66 | 4.757 | 39.4 | 5.653 | 19.28 | 5.803 | 27.63 | -1.642 | 973.664 | 74.7008 | 7.519
2020-01-27 05:15:00 | 1.74 | 7.132 | 2.656 | 31.69 | 3.443 | 9.93 | 3.422 | 19.93 | -1.898 | 973.664 | 91.2478 | 5.5718
2020-01-27 05:30:00 | 3.697 | 358.5 | 4.013 | 11.21 | 4.117 | 10.47 | 3.886 | 4.958 | -2.119 | 973.367 | 94.7008 | 8.1324
2020-01-27 05:45:00 | 3.067 | 16.3 | 4.205 | 28.02 | 4.443 | 17.59 | 4.372 | 21.09 | -2.322 | 973.367 | 96.2735 | 7.2345
2020-01-27 06:00:00 | 2.839 | 23.2 | 4.453 | 31.03 | 4.112 | 12.96 | 4.148 | 26.24 | -2.372 | 973.367 | 96.7179 | 4.6186
2020-01-27 06:15:00 | 2.888 | 15.15 | 4.676 | 26.41 | 4.532 | 9.2 | 4.734 | 28.03 | -2.28 | 973.218 | 95.8974 | 6.3367
2020-01-27 06:30:00 | 3.235 | 7.271 | 4.213 | 18 | 4.883 | 5.14 | 4.938 | 21.63 | -2.458 | 973.069 | 96.9572 | 8.6127
2020-01-27 06:45:00 | 3.685 | 10.37 | 5.174 | 23.51 | 5.341 | 10.83 | 5.289 | 23.2 | -2.598 | 973.069 | 98.0171 | 9.9096
2020-01-27 07:00:00 | 3.325 | 17.03 | 5.164 | 26.48 | 5.361 | 15.42 | 5.396 | 22.73 | -2.734 | 972.921 | 98.735 | 8.9157
2020-01-27 07:15:00 | 4.086 | 19.75 | 5.164 | 29.32 | 5.376 | 19.26 | 5.551 | 24.3 | -2.79 | 973.069 | 99.2137 | 8.3688
2020-01-27 07:30:00 | 5.03 | 16.56 | 6.02 | 29.81 | 6.355 | 18.03 | 6.601 | 21.43 | -2.692 | 973.069 | 99.282 | 10.0389
2020-01-27 07:45:00 | 3.861 | 20.97 | 5.686 | 32.42 | 5.852 | 15.53 | 5.928 | 24.41 | -2.23 | 973.367 | 93.0598 | 9.4662
2020-01-27 08:00:00 | 3.436 | 18.5 | 6.013 | 30.08 | 6.368 | 16.36 | 6.488 | 28 | -1.923 | 973.665 | 78.9743 | 8.572
2020-01-27 08:15:00 | 3.359 | 18.83 | 5.253 | 33.46 | 5.661 | 25.3 | 5.954 | 29.8 | -1.054 | 974.259 | 73.3675 | 6.3884
2020-01-27 08:30:00 | 3.189 | 24.53 | 4.929 | 32.95 | 5.956 | 24.91 | 6.109 | 33.3 | -1.155 | 974.259 | 74.8591 | 6.9833
2020-01-27 08:45:00 | 3.764 | 18.3 | 5.251 | 29.25 | 6.409 | 16.26 | 6.555 | 25.03 | -0.692 | 974.408 | 66.9287 | 6.2036
2020-01-27 09:00:00 | 3.355 | 16.6 | 5.637 | 29.67 | 6.315 | 21.57 | 6.338 | 22.89 | -0.379 | 974.854 | 58.8618 | 5.546
2020-01-27 09:15:00 | 2.309 | 17.27 | 4.164 | 32.75 | 4.773 | 21.21 | 4.831 | 24.39 | 0.21 | 975.449 | 54.3835 | 1.6442
2020-01-27 09:30:00 | 2.242 | 12.21 | 3.579 | 28.31 | 4.153 | 16.57 | 3.96 | 20.07 | 0.845 | 975.332 | 49.1443 | 0.41752
2020-01-27 09:45:00 | 3.034 | 12.21 | 4.093 | 23.23 | 4.194 | 6.111 | 3.86 | 18.38 | 1.202 | 975.596 | 43.0549 | 0.12562
2020-01-27 10:00:00 | 2.66 | 359 | 3.125 | 15.84 | 3.453 | 10.58 | 3.606 | 359.4 | 1.475 | 975.743 | 48.0737 | 0.13301
2020-01-27 10:15:00 | 2.694 | 342.4 | 2.863 | 350.9 | 2.795 | 330 | 2.898 | 342.3 | 1.568 | 976.042 | 69.2573 | 0.69833
2020-01-27 10:30:00 | 1.568 | 6.268 | 2.181 | 14.96 | 2.495 | 340.5 | 2.567 | 1.614 | 1.827 | 976.342 | 65.5852 | 1.0937
2020-01-27 10:45:00 | 1.074 | 7.046 | 1.982 | 348.2 | 1.415 | 329.6 | 1.473 | 22.75 | 1.791 | 976.338 | 68.5227 | 1.1306
2020-01-27 11:00:00 | 1.551 | 15.66 | 1.943 | 358.1 | 1.817 | 326.9 | 1.878 | 25.01 | 2.286 | 976.635 | 68.7959 | 1.0974
2020-01-27 11:15:00 | 2.434 | 358.2 | 2.577 | 354.2 | 2.284 | 327.6 | 2.32 | 7.007 | 2.559 | 976.486 | 62.3552 | 0.99391
2020-01-27 11:30:00 | 2.144 | 3.635 | 3.006 | 12.63 | 2.973 | 349.8 | 3.007 | 4.809 | 2.917 | 976.195 | 59.0746 | 1.3745
2020-01-27 11:45:00 | 1.533 | 26.09 | 2.699 | 50.22 | 2.323 | 16.78 | 2.434 | 12.98 | 3.475 | 976.337 | 56.9575 | 1.1565
2020-01-27 12:00:00 | 1.73 | 21.62 | 2.369 | 2.405 | 3.206 | 7.656 | 3.187 | 24.14 | 3.674 | 975.742 | 54.5588 | 2.5421
2020-01-27 12:15:00 | 2.672 | 17.28 | 4.907 | 30.94 | 5.112 | 4.884 | 5.042 | 13.72 | 3.847 | 975.536 | 53.2963 | 4.1678
2020-01-27 12:30:00 | 2.403 | 12.65 | 3.532 | 35.88 | 3.703 | 1.109 | 3.832 | 8.64 | 3.178 | 974.891 | 50.9066 | 8.6977
2020-01-27 12:45:00 | 2.894 | 23.67 | 3.982 | 7.014 | 4.987 | 341 | 4.983 | 19.16 | 4.247 | 974.945 | 51.212 | 12.193
2020-01-27 13:00:00 | 1.821 | 28.3 | 3.136 | 23.71 | 5.28 | 334.6 | 4.762 | 25.42 | 3.744 | 974.753 | 47.9952 | 13.0243
2020-01-27 13:15:00 | 3.026 | 7.703 | 4.752 | 34.47 | 4.382 | 347.6 | 4.685 | 356.4 | 2.906 | 974.12 | 47.3519 | 17.2613
2020-01-27 13:30:00 | 3.614 | 11.28 | 5.402 | 27.21 | 5.483 | 9.73 | 5.327 | 9.8 | 2.96 | 974.25 | 46.6036 | 15.2634
2020-01-27 13:45:00 | 3.174 | 8.56 | 4.385 | 27.52 | 4.188 | 30.63 | 4.252 | 353.5 | 3.154 | 974.256 | 44.2543 | 15.4999
2020-01-27 14:00:00 | 1.831 | 25.21 | 3.592 | 32.81 | 4.573 | 14.44 | 4.135 | 20.35 | 3.504 | 974.256 | 44.2547 | 14.2658
2020-01-27 14:15:00 | 3.197 | 16.91 | 4.782 | 32.72 | 4.458 | 15.75 | 4.25 | 13.58 | 3.22 | 974.256 | 45.2791 | 11.6942
2020-01-27 14:30:00 | 4.583 | 9.36 | 5.289 | 34.19 | 4.868 | 20.17 | 4.92 | 358.5 | 3.81 | 974.553 | 46.8499 | 13.7264
2020-01-27 14:45:00 | 3.775 | 7.641 | 4.273 | 27.77 | 4.063 | 7.749 | 4.179 | 356.6 | 3.612 | 974.553 | 45.5865 | 12.4701
2020-01-27 15:00:00 | 3.796 | 4.267 | 4.993 | 30.98 | 4.898 | 15.4 | 4.973 | 355.5 | 3.527 | 974.553 | 44.9035 | 14.7868
2020-01-27 15:15:00 | 2.602 | 18.49 | 5.939 | 34.7 | 4.964 | 2.264 | 4.787 | 13.86 | 3.46 | 974.553 | 45.3474 | 17.4803
2020-01-27 15:30:00 | 2.62 | 16.63 | 5.13 | 35.52 | 4.58 | 15.73 | 4.456 | 3.597 | 3.5 | 974.553 | 45.7572 | 17.0517
2020-01-27 15:45:00 | 4.116 | 359.8 | 5.284 | 29.99 | 5.493 | 24.22 | 5.546 | 355.4 | 3.059 | 973.989 | 47.6694 | 20.1221
2020-01-27 16:00:00 | 4.129 | 1.84 | 5.604 | 21.49 | 5.73 | 11.52 | 5.839 | 3.059 | 3.122 | 974.298 | 46.7816 | 17.654
2020-01-27 16:15:00 | 3.684 | 3.79 | 4.959 | 18.09 | 5.511 | 12.05 | 5.648 | 359.2 | 2.908 | 973.959 | 47.0554 | 18.0087
2020-01-27 16:30:00 | 4.295 | 2.225 | 5.228 | 19.71 | 5.882 | 8.88 | 6.038 | 358.6 | 2.892 | 973.663 | 47.615 | 19.0248
2020-01-27 16:45:00 | 4.938 | 358.6 | 5.432 | 18.46 | 6.409 | 16.6 | 6.674 | 356.4 | 2.738 | 973.366 | 48.2323 | 18.138
2020-01-27 17:00:00 | 4.923 | 359.4 | 5.716 | 17.73 | 6.917 | 13.27 | 7.135 | 1.1 | 2.581 | 972.92 | 48.4372 | 16.213
2020-01-27 17:15:00 | 5.066 | 3.295 | 5.522 | 19.33 | 6.594 | 12.92 | 6.939 | 4.731 | 2.402 | 972.817 | 50.2149 | 16.9741
2020-01-27 17:30:00 | 4.121 | 7.83 | 5.461 | 23.24 | 4.962 | 10.36 | 4.693 | 11.79 | 2.3 | 972.906 | 51.1829 | 14.4173
2020-01-27 17:45:00 | 3.184 | 7.404 | 5.136 | 25.08 | 4.809 | 12.5 | 4.484 | 11.07 | 2.071 | 973.069 | 51.5965 | 13.2239
2020-01-27 18:00:00 | 3.537 | 9.14 | 5.977 | 25.31 | 5.384 | 9.65 | 4.744 | 13.69 | 2.05 | 973.069 | 51.7341 | 11.7348
2020-01-27 18:15:00 | 3.605 | 13.99 | 5.144 | 29.56 | 5.46 | 15.97 | 4.831 | 17.71 | 2.067 | 973.069 | 52.1784 | 10.2606
2020-01-27 18:30:00 | 3.243 | 12.92 | 5.299 | 29.62 | 5.348 | 14.8 | 4.487 | 16.84 | 1.966 | 973.069 | 52.8276 | 10.4453
2020-01-27 18:45:00 | 3.726 | 11.83 | 5.78 | 27.14 | 5.608 | 13.54 | 4.492 | 16 | 2.018 | 973.069 | 52.6909 | 11.2286
2020-01-27 19:00:00 | 3.657 | 13.51 | 5.732 | 29.85 | 5.811 | 16.67 | 4.803 | 17.71 | 1.895 | 973.069 | 52.6909 | 9.0191
2020-01-27 19:15:00 | 3.731 | 7.05 | 5.471 | 24.74 | 4.901 | 12.5 | 4.517 | 12.61 | 1.766 | 972.772 | 52.8276 | 8.9674
2020-01-27 19:30:00 | 3.585 | 9.5 | 5.44 | 26.46 | 5.254 | 14.78 | 4.441 | 14.51 | 1.745 | 972.772 | 51.3924 | 9.0782
2020-01-27 19:45:00 | 3.92 | 14.4 | 5.801 | 28.69 | 5.778 | 17.63 | 5.495 | 19.34 | 1.747 | 972.623 | 49.9595 | 9.5512
2020-01-27 20:00:00 | 3.274 | 20.67 | 5.031 | 35.69 | 5.3 | 21.84 | 5.238 | 23.58 | 1.604 | 972.772 | 50.2379 | 6.9685
2020-01-27 20:15:00 | 2.998 | 20.33 | 4.272 | 37.55 | 4.654 | 25.52 | 4.494 | 23.87 | 1.572 | 972.476 | 50.24 | 4.9917
2020-01-27 20:30:00 | 3.774 | 26.8 | 4.55 | 44.27 | 4.593 | 27.1 | 4.64 | 30.71 | 1.647 | 972.489 | 48.6034 | 3.5877
2020-01-27 20:45:00 | 3.529 | 26.35 | 4.435 | 43.47 | 4.494 | 22.67 | 4.512 | 30.52 | 1.736 | 972.765 | 48.1603 | 1.9509
2020-01-27 21:00:00 | 3.148 | 32.01 | 4.013 | 47.48 | 4.349 | 27.11 | 4.39 | 37.73 | 1.703 | 972.635 | 48.5371 | 1.5518
2020-01-27 21:15:00 | 3.307 | 27.72 | 3.97 | 41.83 | 4.122 | 22.18 | 4.135 | 32 | 1.515 | 972.713 | 48.1967 | 0.76483
2020-01-27 21:30:00 | 2.449 | 35.31 | 3.379 | 52.9 | 3.489 | 36.85 | 3.585 | 42.05 | 1.635 | 972.751 | 47.1031 | 0.33254
2020-01-27 21:45:00 | 2.645 | 33.28 | 3.569 | 52.63 | 3.433 | 29.14 | 3.466 | 43.72 | 1.5 | 972.748 | 49.0173 | 0.1404
2020-01-27 22:00:00 | 2.628 | 30.32 | 3.431 | 43.01 | 3.41 | 19.89 | 3.438 | 37.16 | 1.5 | 972.772 | 49.4958 | -0.218
2020-01-27 22:15:00 | 1.542 | 27.42 | 2.717 | 42.56 | 2.624 | 11.26 | 2.19 | 16.89 | 1.276 | 972.772 | 50.0427 | -0.29928
2020-01-27 22:30:00 | 0.246 | 27.53 | 2.41 | 42.56 | 2.266 | 14.23 | 1.726 | 19.21 | 1.247 | 972.772 | 49.6325 | -0.28081
2020-01-27 22:45:00 | 1.194 | 27.58 | 1.672 | 42.56 | 1.538 | 353 | 1.275 | 16.16 | 1.225 | 972.772 | 49.4957 | -0.26972
2020-01-27 23:00:00 | 1.592 | 27.3 | 2.058 | 21.69 | 1.902 | 1.339 | 1.642 | 15.21 | 1.392 | 972.772 | 49.4261 | -0.28081
2020-01-27 23:15:00 | 2.717 | 26.8 | 2.439 | 19.13 | 1.582 | 353.5 | 2.004 | 0.782 | 1.426 | 972.921 | 47.9234 | -0.26972
2020-01-27 23:30:00 | 2.845 | 25.96 | 2.592 | 17.05 | 2.278 | 355.6 | 2.584 | 359.6 | 1.558 | 973.069 | 47.5132 | -0.26972
2020-01-27 23:45:00 | 3.131 | 16.69 | 2.932 | 14.46 | 2.937 | 353.5 | 2.852 | 356.2 | 1.534 | 972.921 | 46.8287 | -0.26972