## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-28 00:00:00 | 2.597 | 12.51 | 2.958 | 14.25 | 3.108 | 356.8 | 3.045 | 356.8 | 1.47 | 972.772 | 47.274 | -0.26972
2020-01-28 00:15:00 | 2.421 | 11.81 | 2.912 | 14.2 | 2.556 | 357.3 | 3.234 | 356.8 | 1.461 | 972.623 | 47.5124 | -0.26972
2020-01-28 00:30:00 | 3.136 | 7.547 | 3.326 | 13.22 | 3.387 | 349.7 | 3.191 | 356.8 | 1.441 | 972.623 | 45.0514 | -0.2882
2020-01-28 00:45:00 | 2.38 | 6.785 | 3.114 | 13.13 | 3.245 | 357 | 3.114 | 356.8 | 1.292 | 972.474 | 46.4874 | -0.26972
2020-01-28 01:00:00 | 1.973 | 6.84 | 2.878 | 13.14 | 2.589 | 359.4 | 2.526 | 358.6 | 1.237 | 972.474 | 46.1457 | -0.26972
2020-01-28 01:15:00 | 3.108 | 7.029 | 3.009 | 13.18 | 2.637 | 355.1 | 2.865 | 1.416 | 1.537 | 972.474 | 41.3604 | -0.26972
2020-01-28 01:30:00 | 2.431 | 6.896 | 3.06 | 13.18 | 2.83 | 1.392 | 3.32 | 0.566 | 1.422 | 972.474 | 44.0266 | -0.26972
2020-01-28 01:45:00 | 3.171 | 6.77 | 3.16 | 13.18 | 3.448 | 352.2 | 3.583 | 1.106 | 1.424 | 972.474 | 40.5391 | -0.30667
2020-01-28 02:00:00 | 3.309 | 6.154 | 3.569 | 13 | 3.077 | 353.2 | 3.056 | 356.4 | 1.395 | 972.474 | 44.9833 | -0.2882
2020-01-28 02:15:00 | 2.995 | 5.174 | 3.51 | 12.89 | 2.67 | 355.8 | 2.722 | 354.6 | 1.047 | 972.326 | 47.8544 | -0.29928
2020-01-28 02:30:00 | 2.045 | 5.174 | 2.525 | 13.63 | 2.886 | 5.928 | 2.89 | 354.5 | 0.788 | 972.177 | 48.1969 | -0.26972
2020-01-28 02:45:00 | 2.03 | 5.311 | 2.743 | 14.58 | 2.856 | 8.08 | 3.101 | 355.6 | 0.745 | 971.88 | 47.9234 | -0.28081
2020-01-28 03:00:00 | 2.74 | 5.225 | 3.254 | 14.19 | 3.484 | 1.138 | 3.402 | 354.4 | 0.688 | 971.88 | 47.6497 | -0.29928
2020-01-28 03:15:00 | 2.165 | 5.383 | 3.019 | 14.31 | 3.288 | 11.43 | 3.46 | 355 | 0.682 | 971.731 | 47.7867 | -0.46186
2020-01-28 03:30:00 | 2.436 | 5.536 | 3.372 | 14.65 | 2.734 | 13.46 | 3.208 | 355.4 | 0.702 | 971.582 | 48.4703 | -0.26972
2020-01-28 03:45:00 | 1.565 | 5.711 | 2.37 | 14.64 | 1.826 | 12.15 | 2.062 | 5.422 | 0.863 | 971.582 | 48.5045 | -0.2882
2020-01-28 04:00:00 | 2.012 | 5.291 | 2.94 | 14.36 | 2.66 | 3.857 | 2.758 | 1.956 | 0.758 | 971.434 | 49.3591 | -0.29928
2020-01-28 04:15:00 | 2.582 | 5.101 | 3.492 | 13.28 | 3.108 | 0.838 | 3.14 | 351.1 | 0.676 | 971.434 | 49.7693 | -0.2882
2020-01-28 04:30:00 | 2.73 | 1.14 | 3.564 | 13.33 | 3.357 | 0.235 | 3.348 | 352.1 | 0.555 | 971.285 | 49.9744 | -0.33993
2020-01-28 04:45:00 | 3.184 | 80.6 | 3.538 | 1.058 | 3.247 | 356.8 | 3.32 | 349 | 0.541 | 971.285 | 51.3416 | -0.16627
2020-01-28 05:00:00 | 2.188 | 80 | 3.17 | 0.102 | 3.965 | 6.445 | 3.888 | 350.2 | 0.315 | 971.285 | 51.5467 | 0.092371
2020-01-28 05:15:00 | 2.114 | 79.52 | 3.162 | 0.103 | 4.372 | 7.631 | 4.102 | 350.8 | 0.285 | 971.285 | 54.0079 | 0.72049
2020-01-28 05:30:00 | 2.319 | 0.098 | 2.618 | 0.101 | 3.283 | 13.89 | 3.157 | 350.8 | 0.373 | 971.434 | 53.5293 | 0.033254
2020-01-28 05:45:00 | 2.01 | 78.92 | 3.285 | 21.3 | 2.96 | 11.05 | 3.048 | 351.9 | 0.461 | 971.582 | 54.3497 | -0.12932
2020-01-28 06:00:00 | 2.165 | 1.366 | 3.364 | 22.11 | 2.352 | 18.54 | 1.803 | 6.185 | 0.509 | 971.731 | 55.3068 | -0.20691
2020-01-28 06:15:00 | 2.125 | 2.733 | 3.441 | 22.75 | 2.123 | 18.93 | 2.803 | 10.16 | 0.542 | 971.88 | 55.5802 | -0.22908
2020-01-28 06:30:00 | 2.278 | 2.743 | 3.528 | 22.65 | 2.629 | 16.55 | 3.122 | 10.27 | 0.602 | 971.88 | 53.5977 | -0.15518
2020-01-28 06:45:00 | 2.268 | 3.663 | 3.308 | 29.41 | 3.647 | 19.95 | 3.702 | 19.37 | 0.571 | 972.028 | 50.8631 | -0.018474
2020-01-28 07:00:00 | 2.4 | 4.354 | 3.676 | 28.92 | 3.644 | 14.98 | 3.3 | 17.93 | 0.679 | 972.177 | 48.5387 | 0.26972
2020-01-28 07:15:00 | 2.199 | 4.393 | 3.277 | 28.49 | 3.817 | 17.86 | 3.713 | 17.65 | 0.753 | 972.474 | 47.3765 | 0.39904
2020-01-28 07:30:00 | 2.265 | 4.393 | 3.395 | 28.75 | 3.667 | 17.4 | 3.017 | 14.88 | 0.978 | 972.474 | 45.6673 | 0.11824
2020-01-28 07:45:00 | 1.387 | 4.738 | 3.014 | 29.25 | 3.306 | 21.76 | 3.336 | 19.55 | 1.089 | 972.772 | 45.5307 | 0.029559
2020-01-28 08:00:00 | 0.955 | 4.802 | 2.86 | 29.18 | 3.227 | 22.19 | 3.379 | 25.03 | 1.298 | 972.998 | 45.3579 | -0.24386
2020-01-28 08:15:00 | 1.586 | 6.856 | 2.735 | 28.86 | 2.889 | 15 | 2.987 | 22.06 | 1.297 | 972.773 | 45.5898 | -0.26972
2020-01-28 08:30:00 | 1.106 | 6.681 | 2.727 | 28.38 | 2.708 | 9.54 | 2.559 | 18.86 | 1.425 | 973.069 | 45.7206 | -0.21061
2020-01-28 08:45:00 | 2.029 | 7.124 | 3.116 | 26.42 | 2.678 | 7.677 | 2.671 | 12.86 | 1.891 | 973.367 | 45.7202 | -0.12193
2020-01-28 09:00:00 | 2.244 | 9.22 | 3.477 | 28.59 | 3.352 | 16.12 | 3.168 | 14.44 | 1.697 | 973.908 | 46.2665 | 0.26972
2020-01-28 09:15:00 | 3.322 | 11.86 | 4.417 | 29.8 | 3.845 | 20.55 | 3.649 | 12.99 | 1.717 | 974.258 | 45.5447 | 0.53945
2020-01-28 09:30:00 | 3.713 | 9.39 | 4.617 | 30 | 3.741 | 20.07 | 3.662 | 12.91 | 1.685 | 974.117 | 46.323 | 0.87937
2020-01-28 09:45:00 | 3.634 | 13.68 | 4.826 | 31.28 | 4.13 | 18.27 | 4 | 15.56 | 1.83 | 974.112 | 45.1922 | 0.70571
2020-01-28 10:00:00 | 3.861 | 10.97 | 4.936 | 30.14 | 4.257 | 13.31 | 4.204 | 13.1 | 1.991 | 974.257 | 45.4996 | 0.72789
2020-01-28 10:15:00 | 3.835 | 11.82 | 4.77 | 29.26 | 4.209 | 15.26 | 4.166 | 11.23 | 2.266 | 974.555 | 46.1144 | 1.4706
2020-01-28 10:30:00 | 4.509 | 15.83 | 5.412 | 31.47 | 4.557 | 15.85 | 4.377 | 13.55 | 2.26 | 974.555 | 47.3422 | 2.2169
2020-01-28 10:45:00 | 4.341 | 13.4 | 5.271 | 33.29 | 4.201 | 21.93 | 4.184 | 8.85 | 2.292 | 974.852 | 46.4464 | 3.7392
2020-01-28 11:00:00 | 3.966 | 6.378 | 4.97 | 26.47 | 4.697 | 13.61 | 4.815 | 2.968 | 2.243 | 974.555 | 49.3779 | 5.5127
2020-01-28 11:15:00 | 4.328 | 11.83 | 5.289 | 31.49 | 4.415 | 19.83 | 4.461 | 7.646 | 2.405 | 974.555 | 50.0256 | 7.8811
2020-01-28 11:30:00 | 3.294 | 21.65 | 5.197 | 42.81 | 4.649 | 32.8 | 4.556 | 18.57 | 3.099 | 974.606 | 48.728 | 5.4093
2020-01-28 11:45:00 | 3.899 | 7.542 | 4.221 | 29.15 | 3.218 | 19.92 | 3.478 | 3.158 | 3.014 | 974.408 | 49.2061 | 4.5299
2020-01-28 12:00:00 | 3.429 | 17.67 | 4.261 | 43.51 | 3.954 | 32.96 | 4.059 | 7.559 | 3.138 | 974.257 | 47.6012 | 4.8661
2020-01-28 12:15:00 | 3.179 | 15.26 | 3.745 | 40.59 | 3.034 | 39.27 | 3.068 | 3.978 | 3.645 | 974.257 | 45.72 | 4.722
2020-01-28 12:30:00 | 2.087 | 15.69 | 3.154 | 38.96 | 3.309 | 14.92 | 3.197 | 4.918 | 4.121 | 974.228 | 45.9543 | 4.0495
2020-01-28 12:45:00 | 2.656 | 25.53 | 3.087 | 29.74 | 3.042 | 353.1 | 2.996 | 25.51 | 4.34 | 974.167 | 44.0406 | 6.6322
2020-01-28 13:00:00 | 1.427 | 20 | 3.289 | 31.19 | 4.229 | 324.4 | 3.955 | 16.84 | 4.986 | 974.463 | 44.4445 | 6.0928
2020-01-28 13:15:00 | 2.708 | 22.28 | 3.343 | 342.4 | 3.48 | 318.7 | 3.453 | 28.83 | 4.808 | 974.446 | 44.8541 | 7.3343
2020-01-28 13:30:00 | 4.17 | 349.1 | 4.632 | 335.1 | 4.681 | 307.4 | 4.626 | 1.256 | 4.64 | 974.267 | 45.1613 | 8.2875
2020-01-28 13:45:00 | 1.07 | 20.25 | 2.113 | 14.31 | 3.532 | 291.1 | 3.434 | 26.2 | 4.896 | 974.937 | 45.1954 | 10.4971
2020-01-28 14:00:00 | 2.503 | 20.53 | 3.598 | 23.69 | 6.176 | 312.8 | 5.869 | 23.9 | 4.291 | 974.296 | 47.4484 | 10.4897
2020-01-28 14:15:00 | 3.719 | 1.739 | 4.438 | 19.83 | 4.058 | 13.26 | 4.193 | 356.1 | 4.367 | 974.119 | 48.8882 | 13.0428
2020-01-28 14:30:00 | 4.693 | 10.32 | 6.314 | 33.5 | 5.587 | 21.14 | 5.752 | 359.1 | 3.803 | 974.174 | 51.4857 | 10.3456
2020-01-28 14:45:00 | 2.841 | 18.59 | 6.248 | 33.05 | 4.903 | 344.7 | 4.739 | 6.829 | 3.745 | 973.959 | 52.8593 | 14.5983
2020-01-28 15:00:00 | 1.994 | 22.27 | 4.581 | 26.25 | 5.104 | 334.3 | 4.691 | 16.48 | 3.829 | 974.121 | 51.8013 | 15.2782
2020-01-28 15:15:00 | 3.162 | 8.33 | 4.131 | 24.02 | 5.046 | 356.1 | 5.118 | 352.3 | 3.64 | 974.256 | 54.1574 | 22.7381
2020-01-28 15:30:00 | 3.872 | 6.154 | 4.655 | 24.01 | 4.794 | 6.288 | 4.955 | 2.438 | 3.493 | 974.257 | 53.9574 | 14.2658
2020-01-28 15:45:00 | 4.18 | 7.932 | 6.348 | 28.75 | 5.61 | 7.878 | 5.467 | 6.715 | 3.455 | 973.96 | 55.5726 | 13.2645
2020-01-28 16:00:00 | 3.777 | 359 | 4.815 | 20.46 | 5.28 | 8.49 | 5.462 | 354.5 | 3.043 | 973.96 | 56.0205 | 12.5588
2020-01-28 16:15:00 | 3.858 | 1.699 | 4.809 | 31.65 | 5.259 | 12.38 | 5.536 | 353.3 | 2.978 | 973.663 | 59.0265 | 13.0724
2020-01-28 16:30:00 | 4.941 | 7.564 | 5.363 | 27.13 | 4.468 | 17.68 | 4.53 | 6.176 | 2.536 | 973.366 | 60.9394 | 12.3851
2020-01-28 16:45:00 | 4.147 | 3.283 | 4.446 | 18.45 | 4.723 | 10.51 | 4.81 | 3.844 | 2.364 | 973.749 | 62.3853 | 11.4836
2020-01-28 17:00:00 | 4.004 | 6.928 | 5.074 | 24.08 | 4.417 | 11.96 | 4.326 | 8.38 | 2.225 | 973.961 | 62.7331 | 10.0389
2020-01-28 17:15:00 | 3.577 | 8.12 | 4.619 | 23.33 | 3.891 | 8.53 | 3.82 | 8.42 | 2.019 | 973.648 | 63.7608 | 10.5857
2020-01-28 17:30:00 | 3.976 | 8.73 | 5.507 | 22.85 | 4.911 | 8.97 | 4.675 | 11.18 | 1.873 | 973.812 | 65.1973 | 9.9539
2020-01-28 17:45:00 | 3.571 | 8.66 | 5.663 | 27.14 | 5.038 | 13.52 | 4.528 | 11.3 | 1.618 | 973.961 | 67.1792 | 9.784
2020-01-28 18:00:00 | 3.485 | 7.303 | 5.236 | 22.87 | 4.463 | 10.35 | 4.25 | 8.87 | 1.485 | 973.961 | 68.0335 | 10.4379
2020-01-28 18:15:00 | 2.904 | 9.14 | 4.847 | 24.07 | 4.865 | 9.04 | 4.296 | 14.33 | 1.369 | 973.961 | 69.5809 | 11.3616
2020-01-28 18:30:00 | 3.067 | 11.65 | 4.975 | 27.2 | 5.048 | 11.27 | 4.556 | 14.99 | 1.16 | 974.133 | 70.8881 | 9.4957
2020-01-28 18:45:00 | 3.583 | 14.91 | 4.921 | 28.54 | 5.157 | 16.17 | 4.831 | 18.29 | 1.13 | 974.042 | 71.4062 | 11.5353
2020-01-28 19:00:00 | 3.218 | 16.48 | 5.264 | 31.24 | 5.651 | 22.33 | 5.307 | 19.93 | 0.953 | 974.527 | 71.3382 | 8.8048
2020-01-28 19:15:00 | 3.417 | 16.32 | 4.755 | 31.54 | 4.964 | 19.16 | 4.892 | 19.66 | 0.949 | 974.554 | 71.2357 | 9.9946
2020-01-28 19:30:00 | 3.764 | 8.3 | 5.243 | 24.97 | 4.758 | 15.45 | 4.52 | 12.72 | 0.976 | 974.556 | 70.5862 | 10.2901
2020-01-28 19:45:00 | 3.57 | 13.91 | 5.264 | 29 | 5.435 | 16.23 | 4.932 | 16.66 | 0.874 | 974.556 | 71.3724 | 10.534
2020-01-28 20:00:00 | 3.016 | 18.28 | 4.54 | 33.96 | 5.038 | 23.56 | 5.083 | 22.58 | 0.688 | 974.259 | 69.9365 | 8.4723
2020-01-28 20:15:00 | 3.363 | 25.05 | 4.538 | 38.52 | 5.208 | 22.39 | 5.312 | 27.46 | 0.714 | 974.259 | 69.3896 | 5.9117
2020-01-28 20:30:00 | 3.368 | 26.98 | 4.54 | 39.09 | 4.896 | 23.88 | 4.973 | 30.1 | 0.748 | 974.407 | 68.2944 | 5.3095
2020-01-28 20:45:00 | 3.095 | 30.5 | 4.435 | 44.2 | 5.175 | 24.28 | 5.276 | 30.99 | 0.739 | 974.556 | 66.723 | 5.1728
2020-01-28 21:00:00 | 3.358 | 28.26 | 4.44 | 42.56 | 4.921 | 26.35 | 5.039 | 29.76 | 0.855 | 974.407 | 67.817 | 4.9733
2020-01-28 21:15:00 | 3.307 | 26.98 | 4.55 | 39.92 | 4.868 | 22.39 | 4.973 | 30.07 | 0.826 | 974.556 | 69.5949 | 4.4116
2020-01-28 21:30:00 | 3.281 | 27.45 | 4.425 | 41.76 | 4.529 | 27.08 | 4.629 | 27.04 | 0.807 | 974.556 | 71.029 | 3.9424
2020-01-28 21:45:00 | 3.623 | 24.56 | 4.579 | 40.47 | 4.641 | 24.84 | 4.685 | 25.49 | 0.75 | 974.407 | 71.5074 | 3.7614
2020-01-28 22:00:00 | 3.164 | 25.91 | 4.507 | 40.82 | 4.555 | 23.06 | 4.589 | 26.51 | 0.685 | 974.407 | 71.8502 | 3.281
2020-01-28 22:15:00 | 3.171 | 23.89 | 4.412 | 37.38 | 4.481 | 22.15 | 4.591 | 25.39 | 0.684 | 974.407 | 72.3979 | 3.1702
2020-01-28 22:30:00 | 3.506 | 23.94 | 4.446 | 37.68 | 4.598 | 23.27 | 4.64 | 27.08 | 0.755 | 974.407 | 72.9446 | 2.0839
2020-01-28 22:45:00 | 3.131 | 25.51 | 3.753 | 37.4 | 3.949 | 26.69 | 4.036 | 25.68 | 0.746 | 974.407 | 73.0815 | 1.0493
2020-01-28 23:00:00 | 3.023 | 24.47 | 3.932 | 38.51 | 4.196 | 23.74 | 4.347 | 23.72 | 0.749 | 974.556 | 73.1499 | 0.84981
2020-01-28 23:15:00 | 2.827 | 25.45 | 3.515 | 40.26 | 3.81 | 22.13 | 3.944 | 23.5 | 0.867 | 974.556 | 72.2611 | 0.18105
2020-01-28 23:30:00 | 2.416 | 24.25 | 3.323 | 39.61 | 3.522 | 16.94 | 3.669 | 20.37 | 0.809 | 974.556 | 72.7055 | 0.15149
2020-01-28 23:45:00 | 2.548 | 23.53 | 3.61 | 28.35 | 3.751 | 16.59 | 3.845 | 22.12 | 0.746 | 974.705 | 73.1157 | 0.19952