## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-29 00:00:00 | 2.418 | 23.51 | 3.41 | 28.44 | 3.532 | 15.53 | 3.646 | 22.89 | 0.706 | 974.556 | 73.0132 | 0.19952
2020-01-29 00:15:00 | 2.727 | 23.09 | 3.676 | 28.61 | 3.962 | 17.46 | 4 | 19.27 | 0.679 | 974.556 | 73.5601 | 0.30298
2020-01-29 00:30:00 | 2.602 | 18.68 | 3.574 | 28.42 | 3.998 | 15.33 | 3.99 | 19 | 0.618 | 974.705 | 74.3804 | 0.18105
2020-01-29 00:45:00 | 2.857 | 15.24 | 3.886 | 31.45 | 4.171 | 17.16 | 3.947 | 17.94 | 0.548 | 974.259 | 75.3374 | 0.26972
2020-01-29 01:00:00 | 3.072 | 19.86 | 4.141 | 32.66 | 4.227 | 16.9 | 4.324 | 20.18 | 0.489 | 974.259 | 75.6794 | 0.53575
2020-01-29 01:15:00 | 2.982 | 19.34 | 4.169 | 31.41 | 4.232 | 19.95 | 4.365 | 21.11 | 0.458 | 974.259 | 75.6794 | 1.3523
2020-01-29 01:30:00 | 3.358 | 19.46 | 4.438 | 37.24 | 4.674 | 23.03 | 4.787 | 21.49 | 0.269 | 974.11 | 76.2263 | 2.5901
2020-01-29 01:45:00 | 3.432 | 24.36 | 4.249 | 40.84 | 4.878 | 29.66 | 5.037 | 27.21 | 0.214 | 973.961 | 75.0641 | 3.0667
2020-01-29 02:00:00 | 3.585 | 25.03 | 4.635 | 38.52 | 5.043 | 22.77 | 5.182 | 23.71 | 0.337 | 973.961 | 72.1928 | 3.3106
2020-01-29 02:15:00 | 3.401 | 16.16 | 4.696 | 35.83 | 5.198 | 21.22 | 5.009 | 17.24 | 0.447 | 973.961 | 68.4327 | 2.579
2020-01-29 02:30:00 | 3.383 | 14.73 | 4.878 | 31.07 | 5.007 | 18.38 | 4.566 | 14.45 | 0.732 | 973.961 | 66.3476 | 2.313
2020-01-29 02:45:00 | 3.114 | 9.86 | 5.003 | 27.21 | 4.545 | 12.78 | 4.179 | 12.73 | 0.604 | 973.813 | 66.2451 | 2.3758
2020-01-29 03:00:00 | 2.975 | 12.41 | 4.525 | 27.67 | 4.143 | 14.01 | 3.664 | 13.16 | 0.643 | 973.813 | 65.8349 | 2.313
2020-01-29 03:15:00 | 2.99 | 9.78 | 4.302 | 26.1 | 4.059 | 17.44 | 4 | 12.51 | 0.541 | 973.664 | 65.9716 | 3.1406
2020-01-29 03:30:00 | 3.24 | 9.66 | 4.55 | 29.01 | 4.478 | 16.84 | 4.449 | 10.63 | 0.48 | 973.664 | 66.3476 | 5.0878
2020-01-29 03:45:00 | 3.932 | 16 | 5.767 | 31.41 | 5.877 | 19.94 | 5.294 | 18.17 | 0.252 | 973.367 | 66.9971 | 6.1297
2020-01-29 04:00:00 | 4.109 | 13.99 | 5.875 | 31.77 | 6.198 | 18.26 | 5.577 | 17.66 | 0.188 | 973.515 | 66.792 | 4.3895
2020-01-29 04:15:00 | 3.583 | 15.27 | 5.468 | 31.55 | 5.89 | 19.88 | 5.289 | 17.69 | 0.05 | 973.367 | 68.7062 | 5.1211
2020-01-29 04:30:00 | 3.669 | 18.22 | 5.959 | 35.15 | 6.533 | 20.8 | 6.41 | 20.89 | -0.254 | 973.367 | 68.3644 | 3.9313
2020-01-29 04:45:00 | 3.981 | 17.33 | 5.928 | 33.87 | 6.808 | 21.31 | 6.488 | 20.11 | -0.175 | 973.367 | 69.4582 | 3.7946
2020-01-29 05:00:00 | 3.84 | 14.24 | 5.558 | 30.55 | 6.282 | 18.05 | 5.704 | 17.74 | -0.216 | 973.367 | 72.3637 | 3.6246
2020-01-29 05:15:00 | 3.406 | 11.3 | 5.701 | 26.84 | 5.625 | 10.32 | 5.157 | 15.41 | -0.27 | 973.515 | 75.8845 | 2.797
2020-01-29 05:30:00 | 3.759 | 11.14 | 6.02 | 25.57 | 6.037 | 12.53 | 5.526 | 15.81 | -0.283 | 973.664 | 79.0292 | 2.2908
2020-01-29 05:45:00 | 3.544 | 13.12 | 5.315 | 26.93 | 5.542 | 13.41 | 4.912 | 16.11 | -0.429 | 973.664 | 79.1659 | 2.3979
2020-01-29 06:00:00 | 3.743 | 18.36 | 5.269 | 31.88 | 5.694 | 17.8 | 5.656 | 21.81 | -0.72 | 973.367 | 78.8241 | 2.3721
2020-01-29 06:15:00 | 3.539 | 20.7 | 4.814 | 33.93 | 5.295 | 18.39 | 5.276 | 21.19 | -0.521 | 973.664 | 74.4511 | 2.3758
2020-01-29 06:30:00 | 3.537 | 24.01 | 5.095 | 39.64 | 5.732 | 24.23 | 5.867 | 27.53 | -0.545 | 973.515 | 73.9055 | 1.9065
2020-01-29 06:45:00 | 3.496 | 24.22 | 5.005 | 38.11 | 5.361 | 20.67 | 5.498 | 28.65 | -0.536 | 973.515 | 73.0149 | 1.8585
2020-01-29 07:00:00 | 3.488 | 22.79 | 5.108 | 38.11 | 5.702 | 22.05 | 5.824 | 26.89 | -0.469 | 973.664 | 73.6969 | 1.5777
2020-01-29 07:15:00 | 3.634 | 19.31 | 5.008 | 33.84 | 5.613 | 20.31 | 5.74 | 23.43 | -0.376 | 973.813 | 72.5346 | 1.271
2020-01-29 07:30:00 | 2.668 | 19.36 | 4.287 | 33.71 | 5.119 | 17.56 | 4.897 | 19.77 | -0.297 | 973.961 | 71.3041 | 1.3412
2020-01-29 07:45:00 | 2.605 | 19.07 | 4.52 | 35 | 5.338 | 20.41 | 5.05 | 19.27 | -0.335 | 973.961 | 71.7826 | 1.6922
2020-01-29 08:00:00 | 3.184 | 16.9 | 4.896 | 31.15 | 5.666 | 18.14 | 5.157 | 18.62 | -0.196 | 974.259 | 66.9287 | 1.8437
2020-01-29 08:15:00 | 3.284 | 12.86 | 5.187 | 27.63 | 5.511 | 15.76 | 4.729 | 16.18 | -0.033 | 974.854 | 65.9716 | 0.76853
2020-01-29 08:30:00 | 3.376 | 7.925 | 4.054 | 18.15 | 3.698 | 5.914 | 3.748 | 5.18 | 0.15 | 974.854 | 68.6374 | 1.1121
2020-01-29 08:45:00 | 3.046 | 4.866 | 3.428 | 19.17 | 3.553 | 9.23 | 3.646 | 7.696 | 0.033 | 975.045 | 72.6371 | 1.4077
2020-01-29 09:00:00 | 2.699 | 0.706 | 3.354 | 9.85 | 3.553 | 358.7 | 3.769 | 6.374 | -0.344 | 974.857 | 78.8371 | 3.3586
2020-01-29 09:15:00 | 2.168 | 3.131 | 3.142 | 12.84 | 2.973 | 6.272 | 3.053 | 6.301 | -0.834 | 975.15 | 83.1711 | 3.3734
2020-01-29 09:30:00 | 2.005 | 9.1 | 2.909 | 26.37 | 2.492 | 14.01 | 2.544 | 8.73 | -0.748 | 975.299 | 85.358 | 2.6566
2020-01-29 09:45:00 | 3.212 | 11.89 | 4.003 | 30.66 | 3.583 | 22.27 | 3.598 | 14.06 | -0.615 | 975.446 | 83.7164 | 1.8585
2020-01-29 10:00:00 | 2.694 | 10.26 | 3.515 | 28.36 | 2.978 | 23.23 | 2.921 | 8.39 | -0.271 | 975.744 | 82.1048 | 1.1417
2020-01-29 10:15:00 | 3.081 | 15.8 | 3.579 | 37.38 | 2.555 | 26.44 | 2.574 | 2.964 | -0.164 | 975.744 | 85.0805 | 1.6811
2020-01-29 10:30:00 | 2.96 | 19.88 | 3.643 | 39.22 | 2.97 | 32.9 | 3.012 | 8.51 | -0.057 | 975.991 | 84.7919 | 1.962
2020-01-29 10:45:00 | 3.498 | 15.27 | 4.435 | 35.76 | 3.242 | 23.27 | 3.229 | 7.046 | 0.075 | 976.198 | 83.416 | 1.973
2020-01-29 11:00:00 | 1.356 | 19.35 | 2.641 | 36.43 | 2.884 | 7.709 | 2.698 | 17.43 | 0.702 | 976.635 | 76.4475 | 1.4853
2020-01-29 11:15:00 | 1.339 | 23.64 | 2.903 | 32.25 | 3.359 | 21.98 | 3.196 | 15.49 | 1.841 | 976.635 | 74.5005 | 1.6479
2020-01-29 11:30:00 | 2.19 | 26.26 | 3.082 | 7.254 | 2.965 | 318.1 | 2.886 | 28.31 | 1.76 | 976.635 | 76.9904 | 1.5038
2020-01-29 11:45:00 | 2.425 | 23.92 | 2.456 | 25.39 | 2.607 | 326.4 | 2.703 | 11.44 | 1.893 | 976.635 | 74.2365 | 1.4558
2020-01-29 12:00:00 | 2.97 | 19.18 | 3.05 | 4.343 | 2.373 | 312.8 | 2.462 | 9.96 | 1.906 | 976.529 | 75.6702 | 1.5075
2020-01-29 12:15:00 | 2.541 | 351 | 3.154 | 8.91 | 3.354 | 338.3 | 3.336 | 341.7 | 1.818 | 975.988 | 74.0311 | 2.5457
2020-01-29 12:30:00 | 2.201 | 349.8 | 2.708 | 4.592 | 3.301 | 342.7 | 3.52 | 340.2 | 1.718 | 975.844 | 73.2116 | 2.3906
2020-01-29 12:45:00 | 3.866 | 332 | 4.026 | 327.5 | 3.275 | 305.1 | 3.249 | 351.5 | 1.845 | 975.826 | 77.2751 | 3.3845
2020-01-29 13:00:00 | 2.763 | 350.4 | 3.018 | 9.26 | 3.214 | 337.3 | 3.45 | 339.5 | 1.601 | 975.96 | 73.6213 | 3.5766
2020-01-29 13:15:00 | 2.76 | 4.676 | 3.405 | 5.384 | 2.956 | 336.4 | 2.993 | 353.2 | 1.683 | 975.74 | 75.4653 | 4.7922
2020-01-29 13:30:00 | 1.176 | 20.99 | 2.959 | 28.45 | 3.598 | 353 | 3.543 | 11.21 | 2.16 | 975.892 | 70.9613 | 5.7455
2020-01-29 13:45:00 | 2.181 | 15.57 | 3.997 | 35.13 | 4.089 | 351 | 3.766 | 2.469 | 2.108 | 975.743 | 73.111 | 7.1384
2020-01-29 14:00:00 | 1.819 | 21.05 | 3.68 | 39.55 | 3.947 | 35.36 | 3.651 | 9.49 | 1.443 | 975.743 | 74.4549 | 6.8096
2020-01-29 14:15:00 | 2.465 | 14.08 | 3.107 | 39.68 | 3.792 | 9.89 | 3.758 | 0.938 | 1.404 | 975.446 | 74.5677 | 6.2886
2020-01-29 14:30:00 | 1.105 | 23.83 | 2.947 | 38.28 | 3.927 | 339.2 | 3.687 | 22.86 | 1.827 | 975.446 | 73.8514 | 6.1002
2020-01-29 14:45:00 | 1.716 | 27.2 | 2.632 | 23.83 | 3.397 | 339.5 | 3.256 | 14.29 | 1.738 | 975.149 | 75.7643 | 5.764
2020-01-29 15:00:00 | 2.549 | 17.59 | 4.021 | 30.44 | 3.644 | 351.6 | 3.376 | 13.43 | 1.423 | 974.852 | 78.0188 | 7.1421
2020-01-29 15:15:00 | 2.203 | 10.89 | 2.998 | 31.72 | 2.976 | 355.6 | 3.045 | 350 | 1.116 | 974.703 | 80.4099 | 7.2678
2020-01-29 15:30:00 | 2.145 | 13.13 | 3.209 | 13.58 | 3.646 | 344.3 | 3.509 | 358.5 | 1.356 | 974.703 | 79.0435 | 8.5092
2020-01-29 15:45:00 | 2.501 | 11.18 | 3.42 | 32.13 | 3.317 | 340.1 | 3.054 | 354.3 | 1.129 | 974.792 | 78.3685 | 11.2176
2020-01-29 16:00:00 | 2.532 | 2.407 | 3.801 | 30.22 | 3.425 | 0.61 | 3.483 | 347 | 0.884 | 974.555 | 80.4307 | 11.018
2020-01-29 16:15:00 | 1.985 | 2.858 | 3.794 | 31.57 | 3.466 | 320.2 | 3.443 | 344 | 0.716 | 974.514 | 81.4891 | 8.3947
2020-01-29 16:30:00 | 1.493 | 357.1 | 2.591 | 15.41 | 2.586 | 346.4 | 2.724 | 341.1 | 0.494 | 974.553 | 82.6242 | 5.6383
2020-01-29 16:45:00 | 2.699 | 347.8 | 3.804 | 11.74 | 4.226 | 358.1 | 4.339 | 339.3 | 0.322 | 974.258 | 83.6494 | 6.551
2020-01-29 17:00:00 | 2.144 | 352.1 | 2.955 | 19.48 | 3.83 | 0.457 | 3.952 | 343.1 | 0.152 | 973.961 | 85.2303 | 6.3182
2020-01-29 17:15:00 | 2.784 | 343.5 | 3.287 | 10.89 | 4.379 | 359.4 | 4.556 | 342.7 | 0.009 | 974.129 | 85.3853 | 6.0337
2020-01-29 17:30:00 | 2.427 | 343.2 | 3.517 | 5.767 | 4.717 | 1.295 | 4.688 | 342.2 | -0.018 | 974.258 | 86.2075 | 7.955
2020-01-29 17:45:00 | 3.692 | 348.2 | 4.502 | 2.651 | 5.051 | 357.7 | 5.139 | 347.6 | -0.151 | 974.259 | 86.3435 | 8.7605
2020-01-29 18:00:00 | 4.073 | 338.3 | 5.287 | 356.8 | 4.445 | 352.4 | 4.443 | 338 | -0.078 | 974.407 | 85.7289 | 9.795
2020-01-29 18:15:00 | 3.861 | 338.6 | 4.87 | 358.4 | 4.42 | 353.3 | 4.441 | 338.6 | -0.16 | 974.259 | 85.1136 | 6.9463
2020-01-29 18:30:00 | 3.028 | 343.9 | 4.361 | 8.37 | 5.152 | 358.9 | 5.223 | 344.5 | -0.243 | 974.259 | 85.7289 | 6.8429
2020-01-29 18:45:00 | 3.1 | 351.6 | 4.417 | 6.678 | 5.135 | 1.14 | 5.207 | 351.4 | -0.282 | 973.961 | 86.2075 | 6.9352
2020-01-29 19:00:00 | 3.616 | 351.9 | 4.512 | 5.117 | 5.216 | 360 | 5.365 | 353.5 | -0.227 | 974.11 | 86.8228 | 7.7074
2020-01-29 19:15:00 | 3.146 | 351.7 | 4.323 | 7.336 | 5.384 | 0.88 | 5.546 | 354.7 | -0.305 | 973.961 | 87.5406 | 7.9957
2020-01-29 19:30:00 | 3.368 | 352.2 | 4.862 | 6.595 | 6.157 | 2.213 | 6.191 | 355.5 | -0.33 | 974.11 | 87.2329 | 7.1828
2020-01-29 19:45:00 | 3.639 | 356.3 | 4.683 | 9.99 | 5.837 | 2.155 | 6.02 | 5.102 | -0.234 | 974.259 | 87.0962 | 5.3871
2020-01-29 20:00:00 | 3.406 | 357.1 | 4.453 | 9.16 | 4.593 | 0.816 | 5.256 | 1.577 | -0.219 | 974.259 | 86.6177 | 3.9387
2020-01-29 20:15:00 | 2.315 | 10.07 | 2.843 | 13.96 | 2.991 | 1.544 | 3.04 | 5.301 | -0.171 | 974.259 | 86.7544 | 2.9042
2020-01-29 20:30:00 | 2.28 | 7.68 | 3.535 | 20.05 | 3.893 | 11.13 | 4.033 | 2.571 | -0.482 | 974.11 | 88.2584 | 2.9965
2020-01-29 20:45:00 | 3.207 | 356.6 | 3.702 | 10.68 | 4.911 | 357.9 | 4.999 | 354.9 | -0.187 | 974.259 | 85.1479 | 2.6086
2020-01-29 21:00:00 | 3.258 | 350.8 | 4.172 | 11.64 | 5.096 | 359.3 | 5.157 | 352 | 0.127 | 974.407 | 84.9089 | 2.2686
2020-01-29 21:15:00 | 3.141 | 346.4 | 4.272 | 10.14 | 4.804 | 358.9 | 4.894 | 344.4 | 0.187 | 974.259 | 83.7806 | 3.0002
2020-01-29 21:30:00 | 2.75 | 350.5 | 4.1 | 7.349 | 4.921 | 2.014 | 4.991 | 351.5 | 0.085 | 974.556 | 83.9515 | 3.717
2020-01-29 21:45:00 | 3.332 | 344.9 | 4.512 | 3.235 | 5.323 | 358.4 | 5.383 | 344.7 | 0.21 | 974.259 | 82.3791 | 4.2823
2020-01-29 22:00:00 | 2.934 | 350.6 | 4.463 | 7.451 | 5.399 | 2.439 | 5.516 | 352.9 | 0.139 | 974.407 | 81.9347 | 4.0828
2020-01-29 22:15:00 | 3.258 | 351.4 | 4.786 | 7.108 | 5.834 | 1.849 | 5.615 | 353.4 | 0.206 | 974.407 | 81.8322 | 3.3032
2020-01-29 22:30:00 | 3.34 | 350.9 | 4.481 | 8.35 | 5.542 | 0.908 | 5.274 | 353.5 | 0.256 | 974.556 | 77.5936 | 2.6344
2020-01-29 22:45:00 | 3.526 | 350.9 | 4.786 | 9.78 | 5.208 | 359.2 | 5.314 | 351.4 | 0.407 | 974.556 | 75.4059 | 3.3845
2020-01-29 23:00:00 | 3.057 | 349.3 | 4.543 | 4.913 | 5.287 | 1.813 | 5.439 | 349.7 | 0.312 | 974.705 | 74.9958 | 3.1258
2020-01-29 23:15:00 | 3.291 | 345.4 | 4.486 | 6.313 | 5.369 | 356.7 | 5.475 | 345.9 | 0.47 | 974.854 | 76.6365 | 2.2982
2020-01-29 23:30:00 | 2.883 | 341.1 | 4.469 | 4.573 | 5.32 | 0.337 | 5.505 | 343.2 | 0.315 | 974.705 | 76.4314 | 1.9878
2020-01-29 23:45:00 | 2.985 | 338.6 | 3.868 | 350.6 | 3.787 | 353.7 | 3.916 | 336.8 | 0.215 | 974.854 | 81.6955 | 1.5555