## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-30 00:00:00 | 3.026 | 332.7 | 2.505 | 348.1 | 2.716 | 342.9 | 3.101 | 336.9 | -0.032 | 974.407 | 84.3617 | 1.5851
2020-01-30 00:15:00 | 2.845 | 337 | 3.921 | 356 | 3.314 | 354 | 3.476 | 336.4 | -0.133 | 974.259 | 85.0111 | 1.8696
2020-01-30 00:30:00 | 2.776 | 339 | 4.187 | 4.008 | 4.435 | 359 | 4.443 | 338.6 | -0.323 | 973.961 | 84.4984 | 2.2797
2020-01-30 00:45:00 | 3.177 | 336.6 | 4.264 | 355.3 | 3.637 | 353.4 | 3.736 | 335.7 | -0.416 | 973.813 | 86.6861 | 2.3056
2020-01-30 01:00:00 | 2.645 | 335.5 | 3.029 | 348.2 | 2.072 | 348.9 | 2.146 | 331.7 | -0.751 | 973.664 | 89.2839 | 2.0359
2020-01-30 01:15:00 | 3.039 | 337.9 | 3.28 | 350.7 | 2.334 | 346.3 | 2.493 | 334.5 | -0.872 | 973.664 | 89.7699 | 2.1134
2020-01-30 01:30:00 | 2.605 | 335.2 | 2.676 | 349 | 2.02 | 341.6 | 2.271 | 334.9 | -1.087 | 973.664 | 90.8338 | 2.0617
2020-01-30 01:45:00 | 2.255 | 323.5 | 2.525 | 326.4 | 1.753 | 314.1 | 1.703 | 321.9 | -1.428 | 973.515 | 93.47 | 3.3254
2020-01-30 02:00:00 | 3.289 | 323.6 | 2.981 | 333.5 | 1.543 | 324.6 | 1.913 | 323.2 | -1.279 | 973.664 | 90.5983 | 4.3895
2020-01-30 02:15:00 | 3.286 | 331.5 | 3.837 | 346.9 | 2.202 | 347.1 | 2.177 | 322.4 | -1.127 | 973.367 | 89.3675 | 3.5138
2020-01-30 02:30:00 | 3.125 | 335.2 | 2.901 | 339.8 | 2.352 | 334.3 | 2.205 | 314.5 | -1.025 | 973.515 | 87.7265 | 2.9485
2020-01-30 02:45:00 | 2.492 | 319.6 | 2.889 | 338.7 | 2.217 | 333.8 | 2.373 | 312.6 | -1.055 | 973.367 | 88.5128 | 1.7883
2020-01-30 03:00:00 | 2.163 | 316.9 | 3.298 | 327 | 3.659 | 317.5 | 3.733 | 314.6 | -1.049 | 973.367 | 88.3419 | -0.37687
2020-01-30 03:15:00 | 1.951 | 317.4 | 2.615 | 335.5 | 3.146 | 312.2 | 3.305 | 322.4 | -1.241 | 972.921 | 91.4872 | -0.31776
2020-01-30 03:30:00 | 2.49 | 327.3 | 3.272 | 336.2 | 3.217 | 331.9 | 3.343 | 325.5 | -1.402 | 973.069 | 90.6666 | -0.33623
2020-01-30 03:45:00 | 2.862 | 323.3 | 3.73 | 345.9 | 4.211 | 345.6 | 4.395 | 323.5 | -1.249 | 973.069 | 89.9145 | -0.31776
2020-01-30 04:00:00 | 1.986 | 325.4 | 3.098 | 354.9 | 3.731 | 353.7 | 3.995 | 321.8 | -1.361 | 973.069 | 90.6666 | -0.31776
2020-01-30 04:15:00 | 2.467 | 329.3 | 3.369 | 3.499 | 4.005 | 347.8 | 4.212 | 325 | -1.576 | 973.069 | 93.6068 | -0.31776
2020-01-30 04:30:00 | 2.652 | 342 | 3.911 | 1.7 | 4.534 | 2.196 | 4.741 | 337.6 | -1.696 | 972.921 | 93.4017 | -0.31776
2020-01-30 04:45:00 | 2.455 | 339.6 | 3.149 | 7.511 | 4.346 | 1.835 | 4.612 | 333.7 | -1.698 | 973.069 | 94.2564 | -0.32884
2020-01-30 05:00:00 | 3.051 | 342.9 | 3.704 | 4.492 | 5.211 | 359.6 | 5.531 | 345.8 | -1.805 | 972.772 | 96.3419 | 2.4201
2020-01-30 05:15:00 | 2.74 | 4.411 | 3.673 | 20.28 | 5.01 | 10.11 | 4.864 | 0.769 | -2.108 | 972.921 | 97.4359 | 4.3267
2020-01-30 05:30:00 | 2.742 | 6.258 | 3.546 | 18.57 | 4.43 | 5.467 | 4.629 | 4.776 | -2.192 | 972.772 | 98.1196 | 4.5151
2020-01-30 05:45:00 | 3.235 | 2.513 | 3.845 | 16.26 | 5.399 | 6.404 | 5.961 | 1.487 | -2.065 | 972.772 | 97.8461 | 5.3391
2020-01-30 06:00:00 | 3.396 | 5.367 | 4.233 | 18.05 | 5.157 | 7.795 | 5.177 | 5.949 | -2.248 | 972.921 | 98.1196 | 6.9574
2020-01-30 06:15:00 | 3.173 | 7.12 | 5.036 | 21.86 | 5.213 | 10.17 | 4.683 | 10.95 | -2.357 | 973.085 | 98.2564 | 5.509
2020-01-30 06:30:00 | 3.09 | 14.46 | 5.19 | 26.82 | 5.714 | 14.7 | 5.406 | 19.14 | -2.546 | 972.921 | 98.3248 | 7.6631
2020-01-30 06:45:00 | 3.47 | 10.64 | 5.496 | 24.19 | 6.264 | 14.1 | 5.444 | 15.13 | -2.62 | 973.088 | 93.1282 | 9.1189
2020-01-30 07:00:00 | 3.727 | 7.589 | 5.381 | 21.62 | 6.284 | 8.09 | 5.814 | 13.64 | -2.265 | 973.396 | 83.1111 | 11.4836
2020-01-30 07:15:00 | 4.3 | 15.96 | 6.409 | 30.77 | 7.136 | 22.4 | 6.962 | 21.56 | -2.561 | 973.368 | 91.012 | 14.2769
2020-01-30 07:30:00 | 4.114 | 21.33 | 6.197 | 35.24 | 6.625 | 21.24 | 6.685 | 25.88 | -2.85 | 973.676 | 85.8812 | 12.9135
2020-01-30 07:45:00 | 4.103 | 20.9 | 6.072 | 35.28 | 6.717 | 21.66 | 6.784 | 25.94 | -2.455 | 973.813 | 74.3932 | 10.7446
2020-01-30 08:00:00 | 3.991 | 24.4 | 5.545 | 37.11 | 6.02 | 20.9 | 6.14 | 29.44 | -2.119 | 974.26 | 67.0086 | 6.9648
2020-01-30 08:15:00 | 4.343 | 17.55 | 5.944 | 31.99 | 6.162 | 20.09 | 6.203 | 23.4 | -1.614 | 974.854 | 61.9099 | 5.5386
2020-01-30 08:30:00 | 3.396 | 27.03 | 5.499 | 43.3 | 6.274 | 31.24 | 6.348 | 30.39 | -1.578 | 975.003 | 59.6479 | 5.0324
2020-01-30 08:45:00 | 3.47 | 20.65 | 5.057 | 35.92 | 5.524 | 19.72 | 5.444 | 23.44 | -1.214 | 975.449 | 56.9817 | 6.3884
2020-01-30 09:00:00 | 3.971 | 17.79 | 6.222 | 35.04 | 6.923 | 28.14 | 6.858 | 23.17 | -1.089 | 975.45 | 59.0489 | 9.5696
2020-01-30 09:15:00 | 3.815 | 19.81 | 6.422 | 35.11 | 6.887 | 26.32 | 6.83 | 24.62 | -1.013 | 975.745 | 54.4678 | 8.3245
2020-01-30 09:30:00 | 3.667 | 19.11 | 5.921 | 32.48 | 6.134 | 23.05 | 6.045 | 23.28 | -0.56 | 976.042 | 47.9739 | 5.328
2020-01-30 09:45:00 | 4.632 | 11.55 | 5.438 | 28.6 | 4.682 | 18.56 | 4.66 | 10.56 | -0.289 | 976.636 | 48.1424 | 6.1667
2020-01-30 10:00:00 | 3.912 | 14.92 | 5.085 | 28 | 4.506 | 15.15 | 4.375 | 19.43 | -0.309 | 976.875 | 49.7405 | 2.7009
2020-01-30 10:15:00 | 3.141 | 8.92 | 4.019 | 24.67 | 3.166 | 10.99 | 3.063 | 10.96 | 0.183 | 976.937 | 48.7447 | 1.356
2020-01-30 10:30:00 | 2.608 | 15.89 | 3.865 | 33.85 | 3.489 | 22.1 | 3.407 | 21.44 | 0.52 | 977.081 | 49.667 | 1.3708
2020-01-30 10:45:00 | 1.33 | 9.56 | 2.649 | 3.867 | 2.693 | 333.4 | 2.747 | 4.506 | 0.81 | 977.675 | 70.4681 | 1.8511
2020-01-30 11:00:00 | 1.324 | 17.44 | 1.902 | 21.04 | 1.99 | 322.7 | 1.961 | 7.292 | 0.781 | 977.494 | 58.4944 | 1.574
2020-01-30 11:15:00 | 2.079 | 2.429 | 3.142 | 20.09 | 2.5 | 345.6 | 2.528 | 0.547 | 1.166 | 977.228 | 55.2782 | 3.0778
2020-01-30 11:30:00 | 2.687 | 10.83 | 3.208 | 18.93 | 2.81 | 343.8 | 2.735 | 8.46 | 0.996 | 976.728 | 55.1727 | 2.6935
2020-01-30 11:45:00 | 2.097 | 18.26 | 2.76 | 8.9 | 2.61 | 347.7 | 2.287 | 16.11 | 1.141 | 976.689 | 59.8502 | 3.1443
2020-01-30 12:00:00 | 3.166 | 16.49 | 4.075 | 31.67 | 3.492 | 10.28 | 3.741 | 8.39 | 0.96 | 976.365 | 51.8876 | 3.499
2020-01-30 12:15:00 | 2.551 | 15.04 | 3.466 | 27.23 | 3.438 | 355.6 | 3.466 | 11.48 | 1.089 | 976.211 | 50.6325 | 2.7083
2020-01-30 12:30:00 | 2.812 | 8.64 | 4.003 | 27 | 3.934 | 21.16 | 3.965 | 2.132 | 1.148 | 976.325 | 53.6723 | 2.4349
2020-01-30 12:45:00 | 3.884 | 8.9 | 4.072 | 27.51 | 3.71 | 24.07 | 3.85 | 6.586 | 0.8 | 976.187 | 51.6641 | 2.3351
2020-01-30 13:00:00 | 4.892 | 7.579 | 4.931 | 31.09 | 4.646 | 20.85 | 4.782 | 358.5 | 1.254 | 976.063 | 48.2158 | 3.3069
2020-01-30 13:15:00 | 3.321 | 17.04 | 4.466 | 33.93 | 3.611 | 24.6 | 3.593 | 6.996 | 1.49 | 976.472 | 47.6694 | 7.0128
2020-01-30 13:30:00 | 4.377 | 6.593 | 4.617 | 29.95 | 4.478 | 19.3 | 4.584 | 2.257 | 1.76 | 976.337 | 51.8695 | 6.4253
2020-01-30 13:45:00 | 4.063 | 14.6 | 4.645 | 39.11 | 3.776 | 36.16 | 3.977 | 2.032 | 2.073 | 976.337 | 48.6939 | -0.32884
2020-01-30 14:00:00 | 2.692 | 14.38 | 3.795 | 36.36 | 3.28 | 23.49 | 3.326 | 0.394 | 2.563 | 976.635 | 41.4205 | -0.31776
2020-01-30 14:15:00 | 3.021 | 17.13 | 4.486 | 34.23 | 4.158 | 11.11 | 4.11 | 13.74 | 2.847 | 976.635 | 39.0644 | -0.3547
2020-01-30 14:30:00 | 2.414 | 19.04 | 3.25 | 29.51 | 3.555 | 348.1 | 3.463 | 16.44 | 3.276 | 976.793 | 34.8984 | -0.29928
2020-01-30 14:45:00 | 2.885 | 14.7 | 3.431 | 20.95 | 4.043 | 341 | 3.909 | 11.15 | 3.848 | 976.934 | 32.4398 | -0.3584
2020-01-30 15:00:00 | 1.142 | 21.57 | 2.811 | 15.8 | 4.255 | 328.7 | 3.908 | 23.58 | 3.956 | 977.227 | 32.2002 | -0.33993
2020-01-30 15:15:00 | 1.878 | 13.43 | 2.991 | 22.76 | 3.121 | 345.6 | 3.241 | 16.88 | 3.877 | 977.227 | 32.2644 | -0.29928
2020-01-30 15:30:00 | 1.803 | 16.4 | 4.062 | 28.31 | 3.657 | 20.9 | 3.425 | 8.58 | 3.253 | 976.775 | 34.0053 | -0.31406
2020-01-30 15:45:00 | 1.81 | 19.96 | 2.229 | 51.06 | 2.293 | 10.98 | 2.342 | 352.6 | 3.359 | 976.627 | 34.8249 | -0.27711
2020-01-30 16:00:00 | 1.851 | 2.12 | 2.71 | 28.49 | 2.398 | 10.32 | 2.427 | 347.1 | 3.303 | 976.781 | 34.3164 | 0.90154
2020-01-30 16:15:00 | 0.893 | 7.025 | 1.722 | 12.47 | 2.09 | 338.9 | 2.197 | 347.2 | 3.248 | 976.93 | 34.0788 | 0.55423
2020-01-30 16:30:00 | 1.842 | 354.3 | 2.398 | 17.52 | 2.164 | 0.815 | 2.274 | 344.7 | 2.993 | 976.336 | 35.035 | 0.15888
2020-01-30 16:45:00 | 2.458 | 8.58 | 2.848 | 15.28 | 2.2 | 1.739 | 2.248 | 0.441 | 2.82 | 975.964 | 35.3765 | 0.19583
2020-01-30 17:00:00 | 3.148 | 357.7 | 3.272 | 13.3 | 2.917 | 1.002 | 3.106 | 7.627 | 2.73 | 975.446 | 36.41 | 0.011085
2020-01-30 17:15:00 | 2.246 | 27.97 | 3.019 | 12.28 | 2.828 | 2.919 | 2.47 | 16 | 2.48 | 974.852 | 38.1213 | -0.19213
2020-01-30 17:30:00 | 0.805 | 352.6 | 1.625 | 14.34 | 1.699 | 5.647 | 1.869 | 8.51 | 2.002 | 974.683 | 38.4668 | -0.24386
2020-01-30 17:45:00 | 3.141 | 346.3 | 3.203 | 349.8 | 2.576 | 346.6 | 2.638 | 355.1 | 2.234 | 974.852 | 38.8492 | -0.20691
2020-01-30 18:00:00 | 2.806 | 356.8 | 2.858 | 352.2 | 2.339 | 7.528 | 1.996 | 85.3 | 2.229 | 974.852 | 39.7744 | -0.28081
2020-01-30 18:15:00 | 0.47 | 83.6 | 1.989 | 352.3 | 1.315 | 357.8 | 1.26 | 0.244 | 1.893 | 974.852 | 40.7312 | -0.26233
2020-01-30 18:30:00 | 2.942 | 83.7 | 2.968 | 352.1 | 2.207 | 357.3 | 2.376 | 0.244 | 2.052 | 974.852 | 39.0286 | -0.28081
2020-01-30 18:45:00 | 0 | 0.098 | 1.439 | 352.1 | 1.597 | 0.785 | 1.357 | 2.294 | 1.885 | 974.776 | 40.5364 | -0.24016
2020-01-30 19:00:00 | 1.218 | 42.18 | 1.812 | 352.1 | 1.103 | 359.5 | 1.219 | 1.917 | 2.025 | 974.942 | 39.3778 | -0.2882
2020-01-30 19:15:00 | 1.844 | 84 | 2.49 | 2.906 | 1.686 | 5.49 | 1.92 | 9.13 | 1.993 | 974.851 | 39.583 | -0.26972
2020-01-30 19:30:00 | 0 | 83.8 | 0.192 | 4.491 | 0 | 3.71 | 0.025 | 8.2 | 1.833 | 974.854 | 40.6084 | -0.28081
2020-01-30 19:45:00 | 0 | 280.1 | 0.15 | 4.181 | 0 | 58.39 | 0 | 7.177 | 1.497 | 974.854 | 39.5146 | -0.2882
2020-01-30 20:00:00 | 0 | 280.1 | 0 | 4.198 | 0 | 58.38 | 0 | 7.204 | 1.539 | 974.407 | 39.5829 | -0.29928
2020-01-30 20:15:00 | 0 | 228.1 | 0.71 | 3.807 | 0.003 | 58.42 | 0.201 | 11.85 | 1.569 | 974.556 | 38.0789 | -0.2882
2020-01-30 20:30:00 | 0 | 163.6 | 0.748 | 3.829 | 0.541 | 58.38 | 0.839 | 151.5 | 1.732 | 974.556 | 37.1219 | -0.26972
2020-01-30 20:45:00 | 0 | 171.9 | 1.022 | 3.807 | 1.103 | 58.39 | 1.298 | 171.3 | 1.93 | 974.556 | 35.9597 | -0.28081
2020-01-30 21:00:00 | 0.435 | 217.4 | 0.639 | 3.422 | 0.012 | 58.22 | 0.302 | 201.4 | 2.145 | 974.705 | 37.2586 | -0.25864
2020-01-30 21:15:00 | 0.776 | 218.2 | 0.759 | 2.939 | 0.134 | 221.7 | 0.434 | 201.1 | 2.269 | 974.854 | 35.5495 | -0.25864
2020-01-30 21:30:00 | 0.257 | 218.1 | 0.823 | 2.831 | 0 | 221.7 | 0 | 201.1 | 2.249 | 974.854 | 40.7451 | -0.26972
2020-01-30 21:45:00 | 0 | 218.1 | 0.428 | 2.868 | 0 | 221.7 | 0.197 | 200.8 | 2.231 | 974.705 | 37.8733 | -0.2882
2020-01-30 22:00:00 | 0.561 | 187.7 | 1.505 | 2.832 | 1.599 | 219.1 | 1.703 | 199.6 | 2.063 | 974.854 | 38.5575 | -0.29928
2020-01-30 22:15:00 | 2.086 | 178.7 | 2.653 | 2.741 | 2.891 | 186.9 | 2.931 | 179.5 | 2.246 | 974.854 | 36.3015 | -0.2882
2020-01-30 22:30:00 | 2.564 | 186.7 | 3.262 | 202.4 | 3.085 | 177.1 | 3.201 | 192.2 | 2.251 | 974.705 | 37.8055 | -0.2882
2020-01-30 22:45:00 | 2.98 | 185.3 | 3.497 | 195.3 | 3.459 | 163.8 | 3.491 | 187.3 | 1.987 | 974.705 | 37.9764 | -0.084981
2020-01-30 23:00:00 | 2.559 | 185 | 3.367 | 200.5 | 3.39 | 179.1 | 3.537 | 189.9 | 2.254 | 974.854 | 39.7197 | -0.18105
2020-01-30 23:15:00 | 2.561 | 194.2 | 3.464 | 207.1 | 3.667 | 195.3 | 3.761 | 194.7 | 2.252 | 974.676 | 40.0615 | -0.10346
2020-01-30 23:30:00 | 3.343 | 187.9 | 4.029 | 200.5 | 4.033 | 185.9 | 4.115 | 186.7 | 2.225 | 974.664 | 43.5481 | 0.25494
2020-01-30 23:45:00 | 3.011 | 185.5 | 3.379 | 193.5 | 3.576 | 176.8 | 3.664 | 191.6 | 2.205 | 974.471 | 40.4709 | 0.91632