## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-31 00:00:00 | 3.281 | 170.7 | 4.054 | 180.1 | 3.715 | 160.9 | 3.715 | 186.7 | 2.394 | 974.176 | 33.5655 | 1.1971
2020-01-31 00:15:00 | 2.546 | 186.3 | 3.469 | 191.6 | 3.634 | 171.7 | 3.71 | 194.6 | 2.591 | 974.075 | 35.2746 | 1.659
2020-01-31 00:30:00 | 2.783 | 182.7 | 3.914 | 189.9 | 3.98 | 178.1 | 4.016 | 192.1 | 2.853 | 974.003 | 35.2037 | 1.84
2020-01-31 00:45:00 | 3.491 | 183.1 | 4.307 | 190.2 | 4.155 | 169.3 | 4.26 | 193.3 | 2.994 | 974.117 | 34.1082 | 2.7637
2020-01-31 01:00:00 | 3.34 | 179.3 | 4.154 | 181.9 | 4.585 | 160.6 | 4.663 | 190.6 | 2.872 | 973.961 | 34.654 | 4.5964
2020-01-31 01:15:00 | 3.618 | 175.1 | 4.591 | 180 | 4.814 | 157 | 4.892 | 186.4 | 2.879 | 973.961 | 35.3356 | 4.6112
2020-01-31 01:30:00 | 3.291 | 183 | 4.364 | 186.2 | 4.344 | 167.7 | 4.431 | 194.6 | 2.919 | 973.961 | 35.1298 | 6.1778
2020-01-31 01:45:00 | 3.177 | 174.4 | 4.461 | 188.7 | 5.264 | 187.9 | 5.307 | 182.3 | 2.98 | 973.961 | 35.8798 | 3.5618
2020-01-31 02:00:00 | 4.042 | 170.1 | 5.261 | 181.8 | 5.389 | 168.2 | 5.505 | 177.7 | 2.627 | 973.961 | 35.9482 | 2.8598
2020-01-31 02:15:00 | 3.644 | 167.4 | 4.832 | 177.2 | 5.33 | 163.1 | 5.386 | 179.3 | 2.413 | 973.961 | 36.8367 | 2.8155
2020-01-31 02:30:00 | 3.904 | 176.7 | 4.936 | 185.2 | 4.918 | 160.6 | 4.927 | 187.8 | 2.802 | 973.813 | 38.5484 | 1.792
2020-01-31 02:45:00 | 4.075 | 186.8 | 4.658 | 194.8 | 4.458 | 176.5 | 4.584 | 194.5 | 2.951 | 973.965 | 40.872 | 2.0063
2020-01-31 03:00:00 | 4.241 | 185.6 | 4.688 | 198.4 | 5.028 | 183.1 | 5.23 | 192.9 | 2.947 | 973.961 | 40.5267 | 2.749
2020-01-31 03:15:00 | 3.894 | 179.7 | 4.806 | 190.9 | 4.745 | 182.2 | 4.91 | 189.2 | 2.845 | 973.664 | 40.7313 | 3.6136
2020-01-31 03:30:00 | 3.914 | 175.3 | 4.717 | 185.2 | 4.903 | 178.2 | 5.073 | 187.6 | 2.609 | 973.664 | 41.4147 | 4.6149
2020-01-31 03:45:00 | 4.476 | 161.3 | 5.698 | 174.5 | 5.661 | 164.2 | 5.752 | 173 | 2.035 | 973.367 | 41.6197 | 4.1271
2020-01-31 04:00:00 | 4.07 | 171.5 | 5.468 | 179 | 5.74 | 172.6 | 5.895 | 181.2 | 1.63 | 973.367 | 42.1694 | 4.2638
2020-01-31 04:15:00 | 4.08 | 169.7 | 5.755 | 179 | 6.144 | 166.4 | 6.211 | 179.6 | 2.022 | 973.088 | 42.1053 | 5.7085
2020-01-31 04:30:00 | 5.125 | 168.6 | 6.363 | 178.8 | 6.551 | 160.4 | 6.667 | 179.2 | 2.126 | 972.962 | 41.0814 | 5.945
2020-01-31 04:45:00 | 5.449 | 166.6 | 6.079 | 175.9 | 6.18 | 155.9 | 6.285 | 176.8 | 2.003 | 972.924 | 40.6706 | 7.0424
2020-01-31 05:00:00 | 5.727 | 161.7 | 6.432 | 170.8 | 6.32 | 150.9 | 6.44 | 173.1 | 1.78 | 972.862 | 38.6896 | 7.205
2020-01-31 05:15:00 | 5.985 | 160.6 | 7.025 | 170.1 | 7.541 | 154.2 | 7.563 | 170.6 | 1.484 | 972.942 | 39.2051 | 7.7148
2020-01-31 05:30:00 | 5.418 | 159.2 | 6.621 | 170.3 | 7.225 | 154.8 | 7.311 | 170.9 | 1.415 | 972.989 | 37.7371 | 8.7753
2020-01-31 05:45:00 | 6.256 | 157.4 | 7.179 | 168.9 | 7.622 | 154.1 | 7.665 | 166.9 | 1.364 | 972.901 | 37.7713 | 10.3899
2020-01-31 06:00:00 | 6.378 | 153.6 | 7.946 | 164.4 | 8.62 | 152.1 | 8.65 | 163.9 | 0.806 | 972.474 | 38.4208 | 9.8652
2020-01-31 06:15:00 | 7.379 | 154.9 | 8.64 | 165.7 | 9.2 | 150.9 | 9.23 | 165.6 | 1.137 | 972.474 | 38.5575 | 11.7681
2020-01-31 06:30:00 | 6.567 | 151.7 | 8.12 | 165.8 | 9.31 | 153.3 | 9.34 | 161.6 | 0.676 | 972.772 | 40.8135 | 13.368
2020-01-31 06:45:00 | 7.106 | 151 | 8.52 | 162 | 9.9 | 150.9 | 9.79 | 162.1 | 0.621 | 972.921 | 41.5996 | 13.501
2020-01-31 07:00:00 | 7.18 | 152 | 8.5 | 165.9 | 9.48 | 154.4 | 9.51 | 160.2 | 0.723 | 973.069 | 41.4281 | 13.0834
2020-01-31 07:15:00 | 7.193 | 154.5 | 8.83 | 166.9 | 9.91 | 153.6 | 9.89 | 162.9 | 0.794 | 973.367 | 43.3765 | 13.4825
2020-01-31 07:30:00 | 7.346 | 153.4 | 8.5 | 167.9 | 9.98 | 158.3 | 10.1 | 162.3 | 0.776 | 973.367 | 41.7701 | 15.6218
2020-01-31 07:45:00 | 7.55 | 154.1 | 8.3 | 168.9 | 9.27 | 156 | 9.28 | 161.3 | 1.128 | 973.664 | 41.6337 | 22.6863
2020-01-31 08:00:00 | 7.696 | 152.8 | 8.14 | 167.8 | 8.91 | 158.8 | 8.99 | 161.9 | 1.397 | 973.897 | 39.7868 | 35.0715
2020-01-31 08:15:00 | 7.39 | 157.9 | 7.925 | 173.1 | 8.66 | 163.2 | 8.75 | 163.8 | 1.471 | 974.113 | 39.5719 | 43.1743
2020-01-31 08:30:00 | 8.7 | 156 | 9.04 | 170.6 | 9.51 | 155.4 | 9.57 | 162.7 | 1.496 | 974.259 | 41.6197 | 45.3321
2020-01-31 08:45:00 | 9.07 | 153.9 | 9.39 | 169 | 9.85 | 157.3 | 9.85 | 162.3 | 1.575 | 974.556 | 40.4579 | 38.0421
2020-01-31 09:00:00 | 9.7 | 157.1 | 10.19 | 171.9 | 10.17 | 159.2 | 10.06 | 163.8 | 1.617 | 974.526 | 38.8852 | 31.2628
2020-01-31 09:15:00 | 10.32 | 155.5 | 10.48 | 168.5 | 10.27 | 153.3 | 10.16 | 163.4 | 1.562 | 974.555 | 40.4545 | 22.6346
2020-01-31 09:30:00 | 9.6 | 151.8 | 9.75 | 165.9 | 9.7 | 150.6 | 9.73 | 159.8 | 1.571 | 975.298 | 42.4379 | 18.0774
2020-01-31 09:45:00 | 10.87 | 152.3 | 10.71 | 165.9 | 10.21 | 152 | 10.09 | 160.2 | 1.652 | 975.107 | 44.5537 | 6.9759
2020-01-31 10:00:00 | 9.56 | 151.9 | 9.5 | 164.8 | 9.11 | 151.3 | 9.14 | 159.9 | 2.014 | 975.591 | 44.511 | 4.2121
2020-01-31 10:15:00 | 9.65 | 149.3 | 9.97 | 166 | 9.88 | 153.6 | 9.74 | 156.1 | 2.45 | 975.453 | 47.8224 | 16.879
2020-01-31 10:30:00 | 9.22 | 148.9 | 9.55 | 163.9 | 9.72 | 150 | 9.61 | 154.5 | 2.472 | 975.446 | 48.164 | 2.0285
2020-01-31 10:45:00 | 10.26 | 148.6 | 10.2 | 163.8 | 9.43 | 151.2 | 9.28 | 156.2 | 2.844 | 975.446 | 49.0863 | -0.28081
2020-01-31 11:00:00 | 10.25 | 148.9 | 10.39 | 162.1 | 9.63 | 147.3 | 9.39 | 157.5 | 3.333 | 975.446 | 51.8531 | -0.28081
2020-01-31 11:15:00 | 10.64 | 150 | 10.59 | 162.8 | 9.88 | 148 | 9.69 | 157.5 | 3.808 | 975.297 | 53.6977 | -0.25125
2020-01-31 11:30:00 | 9.65 | 150.2 | 9.66 | 167.2 | 9.39 | 161.8 | 9.31 | 157 | 4.424 | 975.446 | 54.5469 | -0.25125
2020-01-31 11:45:00 | 9.89 | 147.1 | 10.32 | 162.3 | 10.13 | 147.6 | 9.99 | 153.9 | 4.55 | 975.149 | 53.9536 | -0.25125
2020-01-31 12:00:00 | 8.64 | 147.1 | 8.84 | 163.5 | 8.34 | 152.4 | 8.23 | 156.5 | 5.194 | 975.397 | 52.4501 | -0.26233
2020-01-31 12:15:00 | 8.52 | 154 | 8.24 | 167 | 7.627 | 157.9 | 7.581 | 161.2 | 5.109 | 974.906 | 51.8013 | -0.25125
2020-01-31 12:30:00 | 7.895 | 157.6 | 7.854 | 173 | 7.174 | 166.1 | 7.151 | 167.5 | 5.428 | 974.554 | 51.494 | -0.26233
2020-01-31 12:45:00 | 9.52 | 150.8 | 9.28 | 163.8 | 8.41 | 148.5 | 8.31 | 159.4 | 5.406 | 974.257 | 52.0062 | -0.28081
2020-01-31 13:00:00 | 8.3 | 163.2 | 8.25 | 178.5 | 7.874 | 166.5 | 7.902 | 168.2 | 5.824 | 974.257 | 49.7866 | -0.26233
2020-01-31 13:15:00 | 8.12 | 164.1 | 7.902 | 178.9 | 7.492 | 167.3 | 7.52 | 169.8 | 6.463 | 974.554 | 50.1963 | -0.24016
2020-01-31 13:30:00 | 8.41 | 155.2 | 8.33 | 168.8 | 7.436 | 160.9 | 7.398 | 166.3 | 6.785 | 974.554 | 48.9288 | -0.25125
2020-01-31 13:45:00 | 7.349 | 182.2 | 7.012 | 201.2 | 6.182 | 194.9 | 6.216 | 183 | 7.518 | 974.375 | 47.3541 | -0.26233
2020-01-31 14:00:00 | 7.211 | 164.9 | 7.25 | 183.7 | 6.887 | 173.7 | 6.802 | 165 | 7.268 | 974.211 | 49.6084 | -0.22539
2020-01-31 14:15:00 | 8.76 | 156.1 | 8.79 | 170.5 | 7.675 | 157 | 7.594 | 164.5 | 7.404 | 974.123 | 48.6829 | -0.25125
2020-01-31 14:30:00 | 7.576 | 174.1 | 7.143 | 190.5 | 7.368 | 180.2 | 7.415 | 174.4 | 7.57 | 974.459 | 49.0577 | -0.28081
2020-01-31 14:45:00 | 7.538 | 159.3 | 7.644 | 175.9 | 6.579 | 169.5 | 6.552 | 168.6 | 7.641 | 974.26 | 48.9175 | -0.28081
2020-01-31 15:00:00 | 7.969 | 172.7 | 7.767 | 193.3 | 7.164 | 183.5 | 7.176 | 177 | 7.648 | 974.592 | 50.794 | -0.28081
2020-01-31 15:15:00 | 7.114 | 177.6 | 6.841 | 191.7 | 6.101 | 180.8 | 6.239 | 180.1 | 7.579 | 974.257 | 49.7705 | -0.28081
2020-01-31 15:30:00 | 8.79 | 180.5 | 7.951 | 198.8 | 6.503 | 189.5 | 6.59 | 180.9 | 7.665 | 974.312 | 49.3675 | -0.28081
2020-01-31 15:45:00 | 8.57 | 180.3 | 8.15 | 195.6 | 7.357 | 183 | 7.375 | 181.3 | 7.633 | 974.024 | 50.4617 | -0.26972
2020-01-31 16:00:00 | 7.086 | 176.5 | 6.964 | 194.1 | 6.465 | 184.5 | 6.466 | 174.8 | 7.599 | 974.226 | 50.4612 | 10.8185
2020-01-31 16:15:00 | 6.851 | 176.6 | 6.749 | 187.5 | 6.132 | 170.3 | 6.168 | 181.9 | 7.486 | 973.959 | 51.1453 | 11.5538
2020-01-31 16:30:00 | 6.989 | 173.1 | 6.821 | 191.1 | 5.994 | 180.1 | 6.157 | 177.1 | 7.401 | 974.108 | 51.3551 | 14.5466
2020-01-31 16:45:00 | 6.555 | 167.2 | 6.626 | 186.6 | 6.071 | 173.9 | 6.112 | 170.7 | 7.257 | 973.959 | 51.8695 | 20.0002
2020-01-31 17:00:00 | 6.989 | 163.4 | 6.992 | 176.8 | 6.254 | 166.2 | 6.31 | 168.7 | 7.136 | 973.692 | 52.4159 | 25.7198
2020-01-31 17:15:00 | 5.635 | 160.1 | 5.872 | 176 | 5.697 | 158.2 | 5.763 | 164.9 | 6.881 | 974.21 | 53.3379 | 21.7922
2020-01-31 17:30:00 | 5.288 | 165.8 | 5.407 | 177.5 | 4.923 | 166 | 5.027 | 172.2 | 6.649 | 974.257 | 54.5734 | 19.9189
2020-01-31 17:45:00 | 5.745 | 159.9 | 5.683 | 175.1 | 5.089 | 153.6 | 5.182 | 168.5 | 6.49 | 974.109 | 54.7211 | 19.0543
2020-01-31 18:00:00 | 6.098 | 163.9 | 6.22 | 177.3 | 5.798 | 163.2 | 5.926 | 168.6 | 6.358 | 974.257 | 54.7908 | 20.281
2020-01-31 18:15:00 | 5.03 | 170 | 5.062 | 177.2 | 4.702 | 160.8 | 4.841 | 176.5 | 6.215 | 974.257 | 54.9274 | 21.0865
2020-01-31 18:30:00 | 6.532 | 158.7 | 6.353 | 172.2 | 5.709 | 153.9 | 5.668 | 167.7 | 6.207 | 974.257 | 54.3125 | 22.9672
2020-01-31 18:45:00 | 6.238 | 164.8 | 6.105 | 187.1 | 5.58 | 180.4 | 5.75 | 160.2 | 6.11 | 974.703 | 53.5611 | 23.1445
2020-01-31 19:00:00 | 5.12 | 156.5 | 4.982 | 177.6 | 5.244 | 175.7 | 5.363 | 160.5 | 6.035 | 974.554 | 52.9462 | 22.3575
2020-01-31 19:15:00 | 5.738 | 153.4 | 6.054 | 170.6 | 7.022 | 165.2 | 7.194 | 158.6 | 6.084 | 974.703 | 52.5363 | 19.7637
2020-01-31 19:30:00 | 5.298 | 156.7 | 5.629 | 173.4 | 6.045 | 165 | 6.257 | 160.9 | 5.976 | 974.554 | 52.1264 | 23.6064
2020-01-31 19:45:00 | 5.577 | 156.8 | 6.023 | 174.9 | 6.8 | 158 | 6.975 | 162.2 | 5.944 | 974.852 | 52.468 | 26.0228
2020-01-31 20:00:00 | 5.692 | 152.2 | 6.358 | 170.3 | 7.065 | 164 | 7.255 | 155.4 | 6.017 | 974.703 | 51.8531 | 25.1545
2020-01-31 20:15:00 | 6.082 | 150.9 | 6.424 | 169.3 | 7.012 | 162.8 | 6.988 | 156.7 | 5.974 | 974.852 | 51.7165 | 24.4857
2020-01-31 20:30:00 | 6.064 | 153 | 6.274 | 171.6 | 7.286 | 161.3 | 7.337 | 157.9 | 5.649 | 974.852 | 53.5611 | 22.0619
2020-01-31 20:45:00 | 4.869 | 161.3 | 5.126 | 182.5 | 5.338 | 174.6 | 5.528 | 163.5 | 5.694 | 975.297 | 52.9462 | 21.3673
2020-01-31 21:00:00 | 6.435 | 158.1 | 7.289 | 171.7 | 7.403 | 163.6 | 7.387 | 165 | 5.826 | 975.149 | 52.5363 | 22.8785
2020-01-31 21:15:00 | 5.947 | 157.8 | 6.729 | 171.4 | 7.197 | 160.6 | 7.278 | 166.5 | 5.661 | 975.446 | 53.3219 | 22.1691
2020-01-31 21:30:00 | 5.49 | 156.2 | 6.256 | 171.5 | 7.23 | 161.6 | 7.207 | 164.1 | 5.584 | 975.446 | 54.0393 | 22.8305
2020-01-31 21:45:00 | 5.914 | 159 | 6.828 | 171 | 7.322 | 159 | 7.408 | 167.6 | 5.453 | 975.298 | 53.4927 | 23.6803
2020-01-31 22:00:00 | 6.049 | 157.3 | 6.721 | 169.7 | 7.396 | 157.1 | 7.405 | 166.3 | 5.512 | 975.452 | 53.2195 | 25.1065
2020-01-31 22:15:00 | 6.286 | 157.6 | 7.22 | 169.1 | 7.78 | 159.2 | 7.721 | 167.5 | 5.429 | 975.16 | 54.3809 | 24.4081
2020-01-31 22:30:00 | 6.297 | 158.1 | 7.434 | 168.5 | 7.678 | 155.4 | 7.685 | 167.6 | 5.363 | 975.462 | 54.2442 | 22.1173
2020-01-31 22:45:00 | 5.651 | 158.3 | 6.626 | 169 | 6.849 | 153.2 | 6.924 | 168.6 | 5.419 | 975.557 | 53.9028 | 18.7255
2020-01-31 23:00:00 | 5.069 | 160.2 | 6.128 | 170.4 | 6.172 | 156.5 | 6.234 | 170.7 | 5.551 | 975.505 | 54.0395 | 18.5703
2020-01-31 23:15:00 | 5.385 | 156.5 | 6.256 | 168.2 | 6.518 | 155.5 | 6.537 | 166.2 | 5.305 | 975.461 | 54.9988 | 18.8991
2020-01-31 23:30:00 | 5.482 | 156.3 | 6.481 | 167.2 | 6.798 | 156.3 | 6.84 | 167.5 | 5.267 | 975.33 | 55.5784 | 20.148
2020-01-31 23:45:00 | 5.15 | 151.4 | 6.212 | 165.4 | 6.966 | 157.4 | 7.026 | 161.5 | 5.073 | 975.323 | 56.2988 | 19.5605