## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-01 00:00:00 | 4.78 | 153 | 5.553 | 167.8 | 6.533 | 160.3 | 6.593 | 163.6 | 5.091 | 975.733 | 55.8946 | 17.048
2020-02-01 00:15:00 | 4.88 | 154.1 | 5.67 | 167.2 | 6.071 | 157.5 | 6.076 | 163.4 | 5.143 | 975.713 | 56.5791 | 14.9087
2020-02-01 00:30:00 | 4.165 | 158 | 5.399 | 173.1 | 5.765 | 161.7 | 5.826 | 167.1 | 5.102 | 975.593 | 57.2626 | 12.9615
2020-02-01 00:45:00 | 2.564 | 158.6 | 3.799 | 175.1 | 4.697 | 174.3 | 4.851 | 170.5 | 5.288 | 975.732 | 56.5819 | 8.5055
2020-02-01 01:00:00 | 3.406 | 175.4 | 4.205 | 180.8 | 4.224 | 163.6 | 4.339 | 188.9 | 5.966 | 975.739 | 55.2132 | 7.4858
2020-02-01 01:15:00 | 3.24 | 172.7 | 3.456 | 180.6 | 3.263 | 167.4 | 3.399 | 183.8 | 6.194 | 975.618 | 55.4098 | 6.0522
2020-02-01 01:30:00 | 3.118 | 159.1 | 3.523 | 172.9 | 3.626 | 163.9 | 3.784 | 170.9 | 5.835 | 975.515 | 56.2271 | 6.684
2020-02-01 01:45:00 | 3.311 | 161 | 4.136 | 170.8 | 3.464 | 161.2 | 3.478 | 169.8 | 5.641 | 975.547 | 56.9773 | 7.4784
2020-02-01 02:00:00 | 2.471 | 156.6 | 3.673 | 167.9 | 2.919 | 164.5 | 3.025 | 165.1 | 5.529 | 975.538 | 57.5927 | 8.0695
2020-02-01 02:15:00 | 2.746 | 152.8 | 4.029 | 164.1 | 3.339 | 159.5 | 3.366 | 163.4 | 5.438 | 975.761 | 57.6641 | 7.7518
2020-02-01 02:30:00 | 2.847 | 159 | 3.4 | 168.8 | 2.304 | 156.3 | 2.457 | 172.2 | 5.554 | 975.936 | 57.942 | 7.6853
2020-02-01 02:45:00 | 3.021 | 159.7 | 3.533 | 166.1 | 2.314 | 147.6 | 2.32 | 169.6 | 5.505 | 975.689 | 58.5582 | 8.4058
2020-02-01 03:00:00 | 3.22 | 149.8 | 3.863 | 159.9 | 2.397 | 146.1 | 2.246 | 159 | 5.323 | 975.698 | 58.1476 | 7.338
2020-02-01 03:15:00 | 2.536 | 155.2 | 3.124 | 167.2 | 0.401 | 149.6 | 0.231 | 145.6 | 5.624 | 975.713 | 58.5258 | 5.7787
2020-02-01 03:30:00 | 0.955 | 139.2 | 1.548 | 158.1 | 0.009 | 142.4 | 0.012 | 142.4 | 5.57 | 975.715 | 59.1753 | 4.9289
2020-02-01 03:45:00 | 0 | 133.2 | 0.21 | 158 | 0 | 95.1 | 0 | 142.4 | 5.872 | 975.739 | 58.8362 | 4.892
2020-02-01 04:00:00 | 0.161 | 102.5 | 0.938 | 157.7 | 0.106 | 95.1 | 0.354 | 142.2 | 5.906 | 975.729 | 58.6336 | 5.0545
2020-02-01 04:15:00 | 0.223 | 117.2 | 0.19 | 158.1 | 0 | 146.7 | 0 | 141.6 | 5.44 | 975.744 | 59.7617 | 4.5114
2020-02-01 04:30:00 | 0.319 | 87.1 | 1.517 | 157.8 | 0.255 | 109.8 | 0.561 | 141.6 | 5.527 | 975.744 | 59.109 | 3.4436
2020-02-01 04:45:00 | 2.171 | 78.58 | 2.191 | 103.6 | 0.58 | 85.5 | 0.972 | 70.28 | 5.655 | 975.744 | 58.9045 | 3.4103
2020-02-01 05:00:00 | 2.058 | 53.7 | 1.761 | 96.9 | 0.695 | 75.98 | 1.169 | 50.99 | 5.672 | 975.744 | 58.9391 | 3.0667
2020-02-01 05:15:00 | 2.444 | 68.04 | 2.436 | 97.7 | 1.37 | 82.9 | 1.708 | 65.61 | 5.583 | 975.744 | 59.3518 | 3.7355
2020-02-01 05:30:00 | 2.104 | 74.52 | 2.556 | 96.1 | 1.403 | 86 | 1.67 | 62.66 | 5.581 | 975.893 | 59.2145 | 4.2232
2020-02-01 05:45:00 | 1.752 | 74.92 | 2.083 | 97.1 | 1.247 | 92.1 | 1.525 | 56.67 | 5.532 | 976.19 | 59.0773 | 3.6099
2020-02-01 06:00:00 | 2.393 | 61.64 | 2.224 | 84.5 | 1.276 | 78.7 | 1.548 | 49.78 | 5.625 | 976.337 | 58.7348 | 3.5323
2020-02-01 06:15:00 | 2.497 | 48.92 | 2.318 | 64.85 | 1.439 | 63.93 | 1.716 | 39.16 | 5.649 | 976.634 | 58.6982 | 2.2576
2020-02-01 06:30:00 | 1.04 | 47.31 | 1.321 | 64.41 | 0.63 | 40.75 | 1.237 | 24.96 | 5.486 | 976.933 | 62.1168 | 1.3597
2020-02-01 06:45:00 | 1.344 | 351.9 | 1.056 | 350.2 | 0.18 | 343.1 | 0.613 | 20.74 | 3.971 | 976.933 | 65.739 | 0.15518
2020-02-01 07:00:00 | 2.679 | 28.86 | 2.147 | 27.64 | 0.787 | 12.21 | 1.162 | 47.16 | 3.011 | 976.933 | 68.1633 | -0.16627
2020-02-01 07:15:00 | 0.549 | 126.3 | 0.154 | 28.79 | 0 | 23.61 | 0 | 96 | 3.24 | 976.914 | 65.6727 | -0.27342
2020-02-01 07:30:00 | 0 | 128.2 | 1.355 | 29.17 | 0.853 | 87.4 | 1.216 | 116.3 | 3.609 | 976.924 | 64.1722 | -0.26972
2020-02-01 07:45:00 | 1.243 | 156.3 | 2.045 | 161.8 | 0.993 | 127.7 | 1.288 | 155.4 | 3.964 | 977.23 | 63.7622 | -0.29928
2020-02-01 08:00:00 | 0.645 | 108.4 | 1.782 | 132.2 | 2.456 | 139.6 | 2.732 | 111.7 | 4.19 | 977.501 | 60.7195 | 0.87937
2020-02-01 08:15:00 | 1.945 | 105.3 | 1.956 | 127.7 | 1.563 | 125.5 | 2.026 | 102.4 | 4.521 | 978.122 | 59.6559 | 2.627
2020-02-01 08:30:00 | 0.776 | 83.3 | 1.141 | 68.61 | 1.517 | 128.6 | 2.073 | 98 | 5.168 | 978.427 | 58.2069 | 3.0039
2020-02-01 08:45:00 | 1.108 | 81.8 | 2.602 | 94.9 | 3.143 | 77.9 | 3.328 | 91.7 | 5.137 | 978.418 | 57.4552 | 3.7798
2020-02-01 09:00:00 | 1.481 | 82.7 | 3.223 | 99.5 | 4.064 | 84.3 | 4.245 | 85.7 | 5.523 | 978.566 | 55.8788 | 2.6307
2020-02-01 09:15:00 | 1.217 | 75.05 | 2.288 | 90.1 | 2.2 | 81.5 | 2.551 | 74.84 | 6.235 | 979.094 | 54.1575 | 1.2747
2020-02-01 09:30:00 | 0.755 | 67.89 | 1.928 | 87.4 | 1.764 | 84.7 | 2.024 | 70.82 | 6.962 | 979.561 | 54.3542 | 1.4151
2020-02-01 09:45:00 | 0.619 | 29.96 | 1.546 | 33.35 | 0.311 | 32.84 | 0.645 | 49.5 | 6.968 | 979.63 | 53.6612 | 1.8548
2020-02-01 10:00:00 | 0.825 | 42.29 | 1.173 | 56.94 | 0.645 | 32.5 | 0.958 | 51.6 | 7.099 | 979.601 | 53.3538 | 2.2871
2020-02-01 10:15:00 | 0.776 | 337.2 | 1.26 | 334.5 | 0.447 | 321.2 | 0.573 | 45.8 | 7.643 | 980.195 | 50.9552 | 1.6996
2020-02-01 10:30:00 | 3.068 | 110.6 | 3.725 | 126.2 | 3.235 | 118.6 | 3.421 | 119.8 | 7.121 | 980.195 | 53.5154 | 2.4682
2020-02-01 10:45:00 | 3.243 | 101.7 | 4.254 | 127 | 3.942 | 117.7 | 4.09 | 106.7 | 6.966 | 980.047 | 50.4778 | 3.3327
2020-02-01 11:00:00 | 2.179 | 105.6 | 3.155 | 131.9 | 3.453 | 132.5 | 3.631 | 102.2 | 7.443 | 980.195 | 47.5767 | 4.3858
2020-02-01 11:15:00 | 2.537 | 94.5 | 3.788 | 122.1 | 3.748 | 120.2 | 3.873 | 100.4 | 7.448 | 980.195 | 49.8975 | 5.6753
2020-02-01 11:30:00 | 2.51 | 85.8 | 3.622 | 108.2 | 3.611 | 103.8 | 3.748 | 90 | 8.14 | 980.195 | 49.7609 | 3.414
2020-02-01 11:45:00 | 3.029 | 88.5 | 3.592 | 106.2 | 3.631 | 94.4 | 3.853 | 94.2 | 7.804 | 980.047 | 51.058 | 1.9435
2020-02-01 12:00:00 | 3.26 | 116.6 | 3.661 | 130.6 | 2.88 | 122.6 | 3.12 | 128.6 | 8.03 | 979.898 | 48.9414 | 1.1121
2020-02-01 12:15:00 | 2.805 | 135.3 | 2.942 | 160 | 2.426 | 149.6 | 2.584 | 129.5 | 8.45 | 979.75 | 48.5293 | 1.4853
2020-02-01 12:30:00 | 1.901 | 133.2 | 2.481 | 163.9 | 1.809 | 173 | 1.978 | 113.9 | 9.39 | 979.547 | 44.3617 | 0.73527
2020-02-01 12:45:00 | 4.555 | 155.5 | 4.594 | 173.3 | 3.754 | 170.3 | 3.733 | 167.8 | 8.44 | 979.238 | 49.0701 | 0.41382
2020-02-01 13:00:00 | 2.884 | 134 | 3.013 | 151.7 | 2.609 | 140.6 | 2.699 | 140.4 | 8.22 | 979.597 | 49.0736 | 0.029559
2020-02-01 13:15:00 | 3.92 | 161.6 | 3.64 | 180 | 2.899 | 175.8 | 3.043 | 165.3 | 7.924 | 979.007 | 49.9647 | 0.092371
2020-02-01 13:30:00 | 0.834 | 119.8 | 0.923 | 160.3 | 0.394 | 146.9 | 0.399 | 134.1 | 8.76 | 979.304 | 47.0985 | -0.048033
2020-02-01 13:45:00 | 4.407 | 137 | 4.131 | 156.3 | 3.38 | 146.9 | 3.422 | 136.9 | 8.39 | 979.304 | 50.2383 | -0.23647
2020-02-01 14:00:00 | 2.309 | 164.4 | 2.561 | 183.4 | 2.152 | 153.3 | 2.299 | 166.1 | 8.44 | 979.007 | 48.9408 | -0.24386
2020-02-01 14:15:00 | 0.581 | 217.4 | 0.952 | 230.1 | 0.25 | 222.9 | 0.575 | 172 | 8.5 | 978.71 | 48.7398 | -0.26972
2020-02-01 14:30:00 | 2.263 | 183.5 | 2.446 | 190.2 | 1.725 | 176.5 | 1.916 | 201.6 | 8.91 | 978.413 | 48.8136 | -0.29189
2020-02-01 14:45:00 | 0.411 | 229 | 1.315 | 237.4 | 0.195 | 219.7 | 0.22 | 246.5 | 8.58 | 978.265 | 48.5407 | -0.28081
2020-02-01 15:00:00 | 1.517 | 2.877 | 2.433 | 20.46 | 1.642 | 23.07 | 1.598 | 356 | 7.545 | 977.819 | 51.0667 | -0.31037
2020-02-01 15:15:00 | 0.218 | 4.182 | 1.558 | 41.56 | 0.793 | 35.04 | 0.927 | 11.33 | 7.577 | 977.849 | 49.7013 | -0.1441
2020-02-01 15:30:00 | 2.57 | 4.905 | 3.004 | 27.11 | 2.339 | 12.22 | 2.554 | 359.3 | 7.354 | 977.445 | 46.8344 | 0.4988
2020-02-01 15:45:00 | 3 | 352.8 | 3.239 | 16.32 | 2.942 | 9.55 | 3.073 | 350.3 | 7.064 | 977.594 | 43.326 | 0.86829
2020-02-01 16:00:00 | 3.013 | 355.3 | 3.149 | 15.12 | 3.517 | 14.68 | 3.573 | 357.4 | 6.826 | 977.524 | 41.9284 | 1.9509
2020-02-01 16:15:00 | 3.09 | 353.3 | 3.379 | 9.19 | 3.326 | 4.846 | 3.41 | 354.8 | 6.634 | 977.376 | 41.7278 | 2.4238
2020-02-01 16:30:00 | 2.559 | 7.425 | 2.996 | 15.33 | 2.482 | 5.562 | 2.567 | 7.331 | 6.565 | 977.091 | 40.0888 | 2.2169
2020-02-01 16:45:00 | 2.247 | 15.18 | 3.195 | 28.72 | 2.678 | 12.76 | 2.763 | 26.41 | 6.377 | 977.217 | 38.7229 | 0.66507
2020-02-01 17:00:00 | 2.482 | 48.11 | 2.464 | 31.89 | 1.615 | 19.49 | 1.762 | 79.94 | 6.435 | 976.932 | 38.5893 | 0.16996
2020-02-01 17:15:00 | 1.731 | 105.4 | 1.593 | 96.4 | 2.18 | 40.12 | 2.521 | 124.3 | 6.454 | 976.932 | 38.3247 | 0.25125
2020-02-01 17:30:00 | 0.389 | 131.5 | 1.39 | 132.3 | 1.204 | 60.68 | 1.51 | 137.2 | 6.512 | 976.932 | 38.7361 | 0.048033
2020-02-01 17:45:00 | 1.246 | 121.8 | 1.981 | 110.1 | 1.887 | 46.2 | 2.126 | 133 | 6.435 | 976.932 | 44.8164 | 0.048033
2020-02-01 18:00:00 | 1.138 | 124.3 | 1.722 | 133.3 | 1.64 | 80.2 | 1.861 | 136.6 | 6.721 | 977.229 | 49.3254 | -0.096066
2020-02-01 18:15:00 | 0.955 | 129 | 1.554 | 115.7 | 0.74 | 89.6 | 1.238 | 150.8 | 6.938 | 977.229 | 51.9897 | -0.26233
2020-02-01 18:30:00 | 1.24 | 138 | 1.636 | 116 | 1.512 | 129.1 | 1.843 | 152.9 | 7.083 | 977.229 | 54.5858 | -0.26972
2020-02-01 18:45:00 | 1.209 | 158 | 1.782 | 116.4 | 1.777 | 144.1 | 2.075 | 160.7 | 7.084 | 977.08 | 54.6541 | -0.25125
2020-02-01 19:00:00 | 1.235 | 159.2 | 1.945 | 154.4 | 2.055 | 158.7 | 2.335 | 160.4 | 7.063 | 977.08 | 54.9274 | -0.24016
2020-02-01 19:15:00 | 1.606 | 146.7 | 2.326 | 154.4 | 2.492 | 144.8 | 2.694 | 148.5 | 7.072 | 977.229 | 55.1324 | -0.25125
2020-02-01 19:30:00 | 1.369 | 146.9 | 2.321 | 154.1 | 2.607 | 150.1 | 2.803 | 144.3 | 7.055 | 977.229 | 55.0982 | -0.25125
2020-02-01 19:45:00 | 2.012 | 131.7 | 2.745 | 150.1 | 2.988 | 139 | 3.17 | 132 | 7.047 | 977.229 | 54.7908 | -0.073897
2020-02-01 20:00:00 | 3.243 | 126.6 | 3.988 | 142.8 | 3.929 | 128.8 | 4.054 | 129.9 | 7.174 | 977.229 | 52.8096 | -0.036949
2020-02-01 20:15:00 | 3.659 | 124.6 | 3.898 | 140.5 | 3.657 | 124.6 | 3.753 | 129.5 | 7.415 | 977.526 | 51.9214 | -0.018474
2020-02-01 20:30:00 | 3.695 | 120.8 | 4.059 | 137.5 | 3.954 | 126.7 | 4.105 | 126.4 | 7.277 | 977.675 | 52.468 | 0.11084
2020-02-01 20:45:00 | 4.119 | 114.9 | 4.077 | 137.3 | 3.937 | 127.7 | 4.14 | 117.7 | 7.209 | 977.675 | 51.7848 | 0.36949
2020-02-01 21:00:00 | 4.034 | 116.2 | 4.504 | 131.8 | 4.613 | 119.1 | 4.846 | 121.7 | 7.104 | 977.526 | 51.6482 | 2.3832
2020-02-01 21:15:00 | 3.182 | 121.8 | 3.369 | 141.3 | 3.209 | 132.3 | 3.598 | 123.5 | 6.97 | 977.675 | 52.4338 | 4.5151
2020-02-01 21:30:00 | 3.312 | 116.2 | 3.443 | 141.8 | 3.629 | 139.8 | 3.802 | 118.7 | 6.703 | 977.526 | 52.8096 | 6.0928
2020-02-01 21:45:00 | 3.669 | 121.7 | 3.973 | 144.2 | 3.858 | 128.4 | 4.12 | 122.4 | 6.451 | 977.526 | 53.6977 | 11.14
2020-02-01 22:00:00 | 3.833 | 109.5 | 4.76 | 121.2 | 4.486 | 106.5 | 4.698 | 117.3 | 6.162 | 977.526 | 54.2442 | 13.6303
2020-02-01 22:15:00 | 5.212 | 117 | 5.522 | 132.3 | 5.503 | 119.8 | 5.684 | 124.3 | 6.117 | 977.526 | 54.3809 | 10.2717
2020-02-01 22:30:00 | 5.926 | 127.3 | 6.317 | 142.8 | 5.987 | 125.9 | 6.028 | 133.3 | 6.059 | 977.526 | 54.8591 | 11.9713
2020-02-01 22:45:00 | 5.186 | 133 | 5.76 | 147.2 | 5.781 | 135.2 | 5.788 | 139.7 | 5.912 | 977.526 | 55.7472 | 16.9778
2020-02-01 23:00:00 | 4.721 | 141 | 5.069 | 155.1 | 5.046 | 146.3 | 5.131 | 147 | 5.704 | 977.377 | 56.6354 | 16.1649
2020-02-01 23:15:00 | 5.112 | 146.1 | 5.627 | 162.9 | 5.839 | 154.1 | 5.946 | 151.8 | 5.491 | 977.526 | 57.7968 | 14.7646
2020-02-01 23:30:00 | 5.138 | 150.1 | 5.415 | 169.8 | 6.246 | 159.6 | 6.31 | 156.7 | 5.269 | 977.377 | 58.6849 | 12.8618
2020-02-01 23:45:00 | 4.101 | 153.7 | 4.803 | 174.4 | 5.384 | 166.9 | 5.6 | 157.1 | 5.14 | 977.229 | 59.6413 | 11.8715