## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-02 00:00:00 | 4.65 | 154.7 | 5.443 | 172.5 | 5.875 | 163.6 | 6.038 | 159.5 | 5.129 | 977.229 | 60.3245 | 15.5073
2020-02-02 00:15:00 | 5.824 | 160.4 | 5.824 | 178.8 | 6.147 | 166.3 | 6.247 | 165.1 | 4.919 | 976.932 | 60.5978 | 15.644
2020-02-02 00:30:00 | 5.911 | 158.9 | 6.637 | 175.7 | 6.592 | 165.9 | 6.649 | 164.2 | 5.096 | 977.229 | 60.8027 | 15.5147
2020-02-02 00:45:00 | 4.744 | 155.5 | 5.343 | 178.8 | 5.898 | 171.1 | 6.028 | 159 | 5.055 | 977.231 | 60.6319 | 17.1219
2020-02-02 01:00:00 | 4.839 | 149 | 5.284 | 167.1 | 6.332 | 157.7 | 6.593 | 153 | 4.959 | 977.126 | 61.1102 | 18.3375
2020-02-02 01:15:00 | 4.571 | 147.9 | 4.855 | 164.2 | 5.114 | 154.6 | 5.19 | 153.9 | 5.031 | 976.942 | 60.3245 | 17.4692
2020-02-02 01:30:00 | 4.583 | 146.9 | 5.013 | 161.4 | 5.402 | 146.2 | 5.574 | 151.6 | 4.929 | 977.107 | 59.778 | 19.7674
2020-02-02 01:45:00 | 4.627 | 143.9 | 5.218 | 162.4 | 6.027 | 149.5 | 6.229 | 147.8 | 4.894 | 976.787 | 58.8898 | 16.2425
2020-02-02 02:00:00 | 4.882 | 137.4 | 5.261 | 157.2 | 5.374 | 148.5 | 5.439 | 144.9 | 5.095 | 976.797 | 57.3185 | 8.8602
2020-02-02 02:15:00 | 5.007 | 139.7 | 5.517 | 157 | 5.948 | 144.9 | 6.099 | 145.9 | 5.087 | 976.637 | 55.5423 | 12.1523
2020-02-02 02:30:00 | 6.389 | 139.3 | 6.828 | 156.5 | 6.94 | 139.7 | 7.033 | 145.6 | 5.038 | 976.392 | 54.3809 | 9.8911
2020-02-02 02:45:00 | 8.29 | 134.6 | 9.23 | 149.1 | 9.35 | 135.9 | 9.26 | 141.6 | 4.904 | 975.892 | 54.5175 | 9.9576
2020-02-02 03:00:00 | 6.994 | 136 | 7.294 | 154.6 | 7.881 | 140.1 | 7.945 | 141.4 | 4.905 | 975.745 | 53.4244 | 9.6953
2020-02-02 03:15:00 | 9.02 | 138.7 | 9.42 | 158.1 | 10.02 | 146.6 | 9.97 | 145.6 | 4.717 | 975.516 | 54.0393 | 2.361
2020-02-02 03:30:00 | 9.79 | 139.4 | 10.75 | 157.2 | 10.95 | 145.4 | 10.89 | 144.7 | 4.694 | 975.252 | 55.3734 | 2.6566
2020-02-02 03:45:00 | 10.44 | 138.4 | 11.05 | 154.1 | 11.46 | 143.4 | 11.4 | 145.6 | 4.637 | 975.334 | 54.8618 | 1.8881
2020-02-02 04:00:00 | 8.58 | 144.5 | 9.03 | 162.8 | 9.73 | 148.5 | 9.84 | 147.7 | 4.591 | 974.988 | 54.6583 | 1.8437
2020-02-02 04:15:00 | 9.15 | 144.6 | 9.37 | 161.1 | 9.35 | 149.7 | 9.21 | 150.5 | 4.488 | 975.039 | 55.1408 | 1.9878
2020-02-02 04:30:00 | 6.807 | 148.7 | 7.225 | 166.7 | 8.19 | 156.7 | 8.32 | 150.9 | 4.569 | 975.525 | 54.2868 | 1.84
2020-02-02 04:45:00 | 8.32 | 142 | 8.59 | 157.2 | 8.42 | 144.7 | 8.33 | 147.9 | 4.424 | 975.128 | 55.8266 | 1.6036
2020-02-02 05:00:00 | 7.586 | 146.2 | 7.598 | 162.5 | 7.37 | 148.3 | 7.316 | 149.7 | 4.285 | 975.135 | 54.1888 | 1.3006
2020-02-02 05:15:00 | 6.419 | 143.5 | 6.601 | 162.1 | 6.77 | 155.8 | 6.873 | 150.3 | 4.005 | 975.147 | 53.6429 | 1.0419
2020-02-02 05:30:00 | 5.748 | 146 | 6.335 | 163.6 | 7.162 | 149.1 | 7.117 | 149.6 | 3.905 | 975.447 | 53.5744 | 0.88676
2020-02-02 05:45:00 | 5.605 | 157.2 | 5.67 | 178.9 | 6.261 | 175.1 | 6.394 | 158.8 | 3.685 | 975.739 | 51.8657 | 0.70941
2020-02-02 06:00:00 | 5.658 | 160.1 | 5.68 | 176.3 | 5.353 | 161.2 | 5.381 | 165.6 | 3.264 | 975.744 | 50.3637 | 0.6466
2020-02-02 06:15:00 | 5.51 | 156.6 | 5.468 | 172.8 | 5.45 | 161.3 | 5.569 | 163.6 | 2.973 | 975.081 | 50.3981 | 2.0543
2020-02-02 06:30:00 | 5.663 | 164.5 | 5.911 | 176.3 | 5.402 | 159.1 | 5.531 | 177.3 | 2.653 | 975.283 | 51.324 | 1.7144
2020-02-02 06:45:00 | 4.343 | 174.8 | 4.85 | 187.5 | 5.081 | 171.1 | 5.215 | 183.5 | 2.809 | 975.744 | 55.0829 | 1.6627
2020-02-02 07:00:00 | 7.045 | 173.7 | 7.583 | 185.4 | 7.652 | 169.3 | 7.698 | 178.5 | 2.857 | 975.744 | 57.9532 | 5.5977
2020-02-02 07:15:00 | 5.63 | 181.1 | 5.847 | 192.5 | 5.659 | 181.2 | 5.831 | 186 | 2.988 | 976.19 | 64.0697 | 2.4608
2020-02-02 07:30:00 | 3.95 | 178.9 | 3.929 | 193.2 | 3.535 | 179.7 | 3.779 | 183.9 | 2.85 | 976.339 | 64.9923 | 0.5727
2020-02-02 07:45:00 | 2.27 | 174.3 | 2.656 | 192.3 | 2.894 | 187.6 | 3.081 | 182.1 | 2.718 | 976.308 | 64.8556 | 0.24386
2020-02-02 08:00:00 | 2.291 | 174.4 | 3.211 | 191.6 | 3.507 | 183.8 | 3.738 | 180.3 | 2.42 | 976.487 | 63.2154 | 0.51358
2020-02-02 08:15:00 | 2.635 | 186.1 | 3.374 | 196.2 | 3.522 | 192 | 3.764 | 195.1 | 2.629 | 976.775 | 62.2587 | 0.0036949
2020-02-02 08:30:00 | 1.266 | 186.2 | 0.92 | 285.8 | 0.396 | 322.2 | 0.825 | 169.7 | 0.985 | 976.933 | 74.8334 | -0.17735
2020-02-02 08:45:00 | 0.022 | 181.6 | 0.258 | 211.2 | 1.836 | 334.8 | 2.2 | 180.4 | 1.918 | 976.933 | 74.6271 | -0.25125
2020-02-02 09:00:00 | 0.514 | 153.6 | 1.397 | 210.7 | 2.314 | 344.6 | 2.513 | 165.1 | 1.353 | 977.219 | 70.7273 | -0.25864
2020-02-02 09:15:00 | 0.49 | 169.6 | 1.017 | 210.6 | 1.77 | 243.9 | 2.108 | 195.5 | 2.74 | 977.528 | 66.0809 | -0.24016
2020-02-02 09:30:00 | 1.559 | 196 | 1.899 | 211 | 2.413 | 188 | 2.689 | 196.5 | 3.148 | 977.672 | 67.722 | -0.25125
2020-02-02 09:45:00 | 1.501 | 75.26 | 1.649 | 10.32 | 0.215 | 340 | 0.462 | 281 | 1.815 | 977.258 | 75.9756 | -0.25125
2020-02-02 10:00:00 | 0.655 | 203.9 | 0.772 | 43.59 | 0.193 | 9.44 | 0.385 | 193.8 | 1.973 | 977.371 | 76.0398 | -0.26233
2020-02-02 10:15:00 | 2.676 | 7.45 | 2.49 | 21.19 | 0.775 | 348.3 | 0.93 | 279.1 | 1.155 | 976.798 | 79.1879 | -0.2845
2020-02-02 10:30:00 | 2.254 | 17.81 | 2.354 | 25.98 | 0.375 | 24.82 | 0.386 | 29.39 | 1.086 | 976.907 | 79.9518 | -0.22539
2020-02-02 10:45:00 | 2.26 | 132.6 | 2.088 | 67.48 | 0.944 | 34.66 | 1.415 | 137.3 | 0.465 | 976.636 | 82.6537 | -0.24016
2020-02-02 11:00:00 | 0.632 | 160.7 | 1.197 | 114.9 | 1.502 | 53.44 | 1.836 | 176.7 | 1.482 | 976.606 | 75.6473 | -0.25125
2020-02-02 11:15:00 | 1.163 | 189.5 | 0 | 114.9 | 0.92 | 21.39 | 1.289 | 178.9 | 1.739 | 976.636 | 76.881 | -0.26972
2020-02-02 11:30:00 | 0.864 | 189.5 | 0.148 | 109.4 | 0.927 | 18.28 | 1.375 | 191.3 | 1.669 | 976.636 | 76.6059 | -0.25125
2020-02-02 11:45:00 | 1.585 | 356.7 | 1.899 | 14.55 | 0.62 | 5.875 | 0.783 | 341.3 | 1.618 | 976.487 | 77.2166 | -0.25125
2020-02-02 12:00:00 | 1.411 | 12.82 | 1.856 | 33.7 | 0.527 | 31.98 | 0.554 | 346.4 | 1.98 | 976.785 | 74.2801 | -0.26233
2020-02-02 12:15:00 | 0.951 | 360 | 1.344 | 38.54 | 0.401 | 12.11 | 0.504 | 327.6 | 2.323 | 976.65 | 71.2215 | -0.26233
2020-02-02 12:30:00 | 0.284 | 359.7 | 0.576 | 14.93 | 0 | 20.94 | 0.012 | 357.9 | 3.991 | 977.229 | 67.7028 | -0.24016
2020-02-02 12:45:00 | 0.465 | 29.67 | 1.121 | 23.36 | 0.457 | 41.53 | 0.425 | 32.16 | 4.003 | 977.378 | 62.6267 | -0.25125
2020-02-02 13:00:00 | 1.746 | 337.5 | 2.18 | 342 | 1.157 | 310.3 | 1.363 | 329.3 | 5.107 | 977.229 | 62.3521 | -0.24016
2020-02-02 13:15:00 | 0.959 | 302.3 | 1.53 | 319.8 | 0.59 | 12.11 | 0.72 | 308.1 | 5.384 | 977.064 | 57.2541 | -0.24016
2020-02-02 13:30:00 | 1.666 | 264.6 | 2.036 | 278.6 | 0.532 | 297 | 0.528 | 263.3 | 5.988 | 977.241 | 54.0366 | -0.24016
2020-02-02 13:45:00 | 1.811 | 282 | 1.887 | 280.4 | 1.624 | 252.9 | 1.633 | 296.1 | 5.858 | 977.375 | 53.3197 | -0.25125
2020-02-02 14:00:00 | 2.451 | 292.1 | 2.508 | 298.9 | 1.932 | 271.8 | 1.912 | 288.4 | 6.047 | 977.226 | 48.9504 | -0.25125
2020-02-02 14:15:00 | 3.105 | 314.6 | 3.267 | 325.9 | 2.779 | 298.3 | 2.842 | 315.4 | 6.047 | 977.226 | 55.6068 | -0.28081
2020-02-02 14:30:00 | 2.923 | 319.3 | 3.597 | 323 | 2.665 | 303.4 | 2.742 | 329.6 | 5.755 | 977.226 | 56.5967 | -0.022169
2020-02-02 14:45:00 | 2.112 | 30.78 | 2.88 | 9.08 | 3.893 | 335.1 | 3.877 | 21.25 | 5.606 | 977.226 | 58.6448 | 5.4684
2020-02-02 15:00:00 | 2.57 | 19.71 | 3.063 | 17.3 | 3.317 | 329.3 | 3.33 | 12.77 | 5.486 | 977.27 | 59.3276 | 10.7816
2020-02-02 15:15:00 | 2.304 | 17.42 | 3.932 | 32.56 | 4.339 | 348.3 | 4.115 | 10.31 | 4.721 | 977.277 | 53.7976 | 16.527
2020-02-02 15:30:00 | 3.956 | 7.768 | 5.547 | 35.58 | 5.117 | 27.15 | 5.348 | 356.8 | 4.119 | 977.03 | 57.5284 | 18.6183
2020-02-02 15:45:00 | 5.16 | 358.1 | 5.852 | 30.61 | 5.943 | 23.35 | 6.277 | 351.2 | 4.049 | 976.929 | 59.3461 | 26.9613
2020-02-02 16:00:00 | 5.911 | 357.9 | 6.21 | 25.14 | 6.706 | 21.57 | 7.005 | 356.8 | 3.917 | 976.691 | 59.8941 | 29.2964
2020-02-02 16:15:00 | 6.238 | 10.75 | 6.918 | 31.52 | 5.893 | 23.44 | 5.959 | 5.463 | 3.827 | 976.967 | 60.5088 | 29.8026
2020-02-02 16:30:00 | 6.202 | 10.58 | 6.856 | 30.22 | 5.646 | 20.54 | 5.783 | 7.209 | 3.766 | 976.895 | 60.5771 | 32.7252
2020-02-02 16:45:00 | 6.327 | 0.563 | 7.03 | 23.75 | 7.94 | 19.06 | 8.53 | 2.105 | 3.467 | 976.932 | 62.0255 | 32.644
2020-02-02 17:00:00 | 6.146 | 4.46 | 6.488 | 23.72 | 6.656 | 17.45 | 6.56 | 6.369 | 3.245 | 976.635 | 61.3493 | 25.3023
2020-02-02 17:15:00 | 6.067 | 8.01 | 6.851 | 24.33 | 6.2 | 12.61 | 6.211 | 8.83 | 3.09 | 976.337 | 63.228 | 21.323
2020-02-02 17:30:00 | 5.526 | 9.44 | 7.611 | 28.66 | 6.299 | 13.78 | 5.989 | 10.39 | 2.818 | 976.103 | 59.1658 | 21.3119
2020-02-02 17:45:00 | 5.459 | 8.29 | 6.547 | 24.83 | 5.643 | 11.91 | 5.414 | 10.4 | 2.65 | 976.483 | 59.3168 | 23.8983
2020-02-02 18:00:00 | 5.258 | 6.478 | 5.931 | 20.9 | 5.615 | 11.29 | 5.658 | 7.446 | 2.226 | 976.334 | 59.4888 | 17.2291
2020-02-02 18:15:00 | 5.526 | 5.947 | 5.642 | 20.34 | 5.76 | 11.83 | 5.831 | 8.62 | 1.885 | 976.636 | 63.9672 | 19.5088
2020-02-02 18:30:00 | 5.503 | 8.31 | 6.217 | 22.3 | 6.175 | 13.32 | 6.012 | 9.29 | 1.535 | 976.487 | 66.7008 | 20.0224
2020-02-02 18:45:00 | 4.754 | 10.45 | 6.905 | 26.2 | 6.02 | 13.71 | 5.447 | 13.26 | 1.237 | 976.933 | 68.2736 | 13.2128
2020-02-02 19:00:00 | 3.562 | 8.92 | 5.65 | 23.61 | 5.445 | 9.3 | 5.218 | 14.52 | 0.907 | 976.933 | 68.5603 | 10.9183
2020-02-02 19:15:00 | 3.432 | 8.5 | 5.207 | 23.71 | 5.229 | 9.5 | 4.775 | 14.24 | 0.69 | 976.833 | 69.6954 | 11.2176
2020-02-02 19:30:00 | 3.886 | 7.865 | 5.606 | 22.31 | 5.689 | 10.11 | 5.113 | 12.92 | 0.495 | 977.072 | 71.9193 | 11.7718
2020-02-02 19:45:00 | 4.19 | 9.15 | 6.335 | 24.94 | 5.908 | 12.04 | 5.045 | 14.62 | 0.214 | 977.232 | 74.3801 | 13.161
2020-02-02 20:00:00 | 4.857 | 8.08 | 7.125 | 24.93 | 6.093 | 10.15 | 6.119 | 12.73 | 0.133 | 977.232 | 76.8411 | 19.1799
2020-02-02 20:15:00 | 6.184 | 7.927 | 7.82 | 23.18 | 6.755 | 11.02 | 6.962 | 10.2 | -0.049 | 977.084 | 80.6016 | 23.296
2020-02-02 20:30:00 | 6.677 | 7.904 | 8.12 | 22.91 | 7.914 | 11.16 | 7.301 | 13.02 | -0.275 | 977.232 | 83.2678 | 27.0204
2020-02-02 20:45:00 | 6.146 | 9.44 | 8.38 | 23.65 | 8.44 | 10.17 | 8.01 | 17.58 | -0.516 | 977.232 | 84.0882 | 26.4588
2020-02-02 21:00:00 | 6.026 | 13.89 | 9.54 | 26.74 | 9.1 | 10.98 | 8.76 | 20.52 | -0.569 | 977.381 | 83.1994 | 31.735
2020-02-02 21:15:00 | 6.126 | 14.53 | 8.83 | 27.94 | 8.62 | 12.68 | 8.21 | 20.53 | -0.746 | 977.53 | 81.3878 | 30.3199
2020-02-02 21:30:00 | 5.947 | 16.83 | 9.06 | 31.47 | 9.18 | 15.63 | 8.83 | 22.69 | -0.598 | 977.827 | 75.7477 | 31.5318
2020-02-02 21:45:00 | 6.113 | 20.53 | 9.15 | 32.75 | 9.05 | 18.85 | 8.88 | 26.94 | -0.484 | 977.678 | 68.7062 | 39.2208
2020-02-02 22:00:00 | 6.302 | 23.05 | 9.33 | 35.29 | 9.26 | 23.43 | 9.23 | 30.46 | -0.231 | 977.976 | 60.5025 | 41.8183
2020-02-02 22:15:00 | 5.778 | 24.76 | 9.39 | 38.19 | 9.55 | 30.68 | 9.47 | 30.32 | -0.16 | 978.125 | 56.1272 | 45.6166
2020-02-02 22:30:00 | 5.411 | 21.71 | 9.67 | 35.28 | 9.49 | 29.64 | 9.27 | 29.87 | 0.074 | 978.125 | 53.6661 | 51.2883
2020-02-02 22:45:00 | 5.824 | 22.86 | 10.28 | 36.82 | 10.7 | 33.57 | 10.51 | 29.71 | 0.177 | 978.422 | 51.5809 | 44.3936
2020-02-02 23:00:00 | 6.021 | 24.36 | 10.45 | 37.87 | 10.28 | 33.94 | 10.17 | 31.08 | 0.163 | 978.422 | 49.5642 | 24.9506
2020-02-02 23:15:00 | 6.011 | 24.25 | 10.17 | 39.41 | 10.15 | 33.99 | 10.01 | 29.59 | 0.21 | 978.571 | 47.5133 | 16.3719
2020-02-02 23:30:00 | 4.867 | 24.03 | 9.88 | 38.51 | 10.15 | 30.58 | 10.05 | 29.43 | 0.256 | 978.422 | 44.9838 | 13.3051
2020-02-02 23:45:00 | 4.887 | 22.5 | 9.39 | 36.26 | 9.56 | 27.42 | 9.42 | 28.73 | 0.225 | 978.719 | 43.2405 | 11.0439