## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-03 00:00:00 | 4.683 | 23.6 | 8.38 | 38.32 | 8.31 | 29.99 | 8.24 | 29.51 | 0.09 | 978.719 | 41.1554 | 11.528
2020-02-03 00:15:00 | 4.734 | 22.67 | 9.05 | 36.29 | 8.82 | 28.43 | 8.71 | 29.17 | -0.006 | 978.719 | 41.1554 | 9.7396
2020-02-03 00:30:00 | 3.834 | 23.08 | 8.7 | 36.05 | 8.74 | 31.46 | 8.63 | 30.63 | -0.049 | 978.719 | 40.5401 | 11.6979
2020-02-03 00:45:00 | 4.267 | 26.44 | 7.746 | 39.49 | 7.668 | 31.89 | 7.561 | 31.41 | -0.076 | 978.719 | 38.9335 | 13.4345
2020-02-03 01:00:00 | 4.371 | 28.9 | 7.296 | 42.55 | 7.52 | 28.91 | 7.517 | 34.33 | -0.09 | 978.422 | 38.079 | 14.4395
2020-02-03 01:15:00 | 3.371 | 28.54 | 7.069 | 42.48 | 7.304 | 10.03 | 7.298 | 34.26 | -0.166 | 978.422 | 38.1473 | 13.682
2020-02-03 01:30:00 | 4.096 | 25.53 | 7.496 | 36.57 | 7.523 | 24.98 | 7.609 | 31.95 | -0.138 | 978.422 | 36.7117 | 12.3001
2020-02-03 01:45:00 | 3.901 | 23.75 | 8.1 | 36.09 | 7.701 | 30.35 | 7.66 | 30.29 | -0.084 | 978.422 | 36.6433 | 10.5377
2020-02-03 02:00:00 | 3.27 | 22.78 | 7.076 | 34.53 | 7.291 | 25.21 | 7.301 | 28.61 | -0.235 | 978.422 | 37.1219 | 10.6559
2020-02-03 02:15:00 | 3.519 | 20.89 | 6.245 | 34.75 | 6.62 | 24.64 | 6.59 | 28.56 | -0.372 | 978.422 | 36.028 | 4.988
2020-02-03 02:30:00 | 3.493 | 24.94 | 5.632 | 37.65 | 6.05 | 25.11 | 6.081 | 32.53 | -0.459 | 978.422 | 36.5066 | 2.4977
2020-02-03 02:45:00 | 3.281 | 28.64 | 5.046 | 42.71 | 5.216 | 30.74 | 5.261 | 36.12 | -0.581 | 978.422 | 35.8232 | 3.8981
2020-02-03 03:00:00 | 1.74 | 32.46 | 3.3 | 43.7 | 3.634 | 14.02 | 3.799 | 35.69 | -0.738 | 978.422 | 37.4679 | 3.0963
2020-02-03 03:15:00 | 2.301 | 29.33 | 3.525 | 42.58 | 3.527 | 20.38 | 3.539 | 35.47 | -0.91 | 978.273 | 37.0598 | 1.9398
2020-02-03 03:30:00 | 3.386 | 20.03 | 4.43 | 39.1 | 4.44 | 17.91 | 4.492 | 24.92 | -0.844 | 978.125 | 36.5812 | 2.0174
2020-02-03 03:45:00 | 2.408 | 24.01 | 4.006 | 32.46 | 3.932 | 27.6 | 4.023 | 28.21 | -0.955 | 978.125 | 36.7863 | 0.75744
2020-02-03 04:00:00 | 3.08 | 21.76 | 4.497 | 32.49 | 4.519 | 17.83 | 4.612 | 28.38 | -1.21 | 977.827 | 38.7692 | 1.2341
2020-02-03 04:15:00 | 3.069 | 23.88 | 3.934 | 32.61 | 3.914 | 14.72 | 3.98 | 28.99 | -1.258 | 977.827 | 38.0171 | 1.3449
2020-02-03 04:30:00 | 2.891 | 21.66 | 4.157 | 32.65 | 4.051 | 16.35 | 4.09 | 29.09 | -1.398 | 977.827 | 37.1966 | 1.4336
2020-02-03 04:45:00 | 2.469 | 19.22 | 3.886 | 32.45 | 3.82 | 12.21 | 3.876 | 27.69 | -1.451 | 977.827 | 38.4273 | 1.2267
2020-02-03 05:00:00 | 2.173 | 13.86 | 3.63 | 28.25 | 3.464 | 13.75 | 3.522 | 24.33 | -1.502 | 977.678 | 38.2906 | 1.0789
2020-02-03 05:15:00 | 1.752 | 25.46 | 2.996 | 25.38 | 3.138 | 23.97 | 3.18 | 34.45 | -1.604 | 977.691 | 39.1111 | 0.81287
2020-02-03 05:30:00 | 1.708 | 31.58 | 2.508 | 25.68 | 2.357 | 32.3 | 2.337 | 44.99 | -1.372 | 977.828 | 36.1026 | 0.036949
2020-02-03 05:45:00 | 1.416 | 47.81 | 2.086 | 41.63 | 2.139 | 45.27 | 2.302 | 50.76 | -1.157 | 977.679 | 35.8291 | 0.018474
2020-02-03 06:00:00 | 0.899 | 38.32 | 1.549 | 47.45 | 1.828 | 36.41 | 1.996 | 46.58 | -1.289 | 977.683 | 36.4451 | -0.2143
2020-02-03 06:15:00 | 0 | 38.08 | 0.068 | 47.45 | 1.439 | 47.45 | 1.578 | 47.31 | -1.302 | 977.679 | 36.3079 | -0.25864
2020-02-03 06:30:00 | 0 | 44.85 | 0.741 | 47.46 | 1.462 | 47.46 | 1.607 | 47.36 | -1.57 | 977.575 | 36.0389 | -0.26972
2020-02-03 06:45:00 | 0.564 | 73.63 | 1.613 | 47.59 | 1.905 | 47.97 | 2.134 | 80.6 | -1.141 | 977.864 | 34.6725 | -0.30298
2020-02-03 07:00:00 | 1.576 | 125.6 | 2.03 | 48.73 | 1.524 | 151.7 | 1.529 | 126.6 | -1.391 | 978.132 | 39.1178 | 0.38796
2020-02-03 07:15:00 | 2.37 | 130.5 | 3.331 | 150.2 | 2.406 | 136.9 | 2.33 | 132.3 | -2.381 | 978.142 | 40.9642 | 1.3375
2020-02-03 07:30:00 | 3.307 | 151 | 3.656 | 167.6 | 3.431 | 160.8 | 3.478 | 155.8 | -2.133 | 978.329 | 49.3076 | 4.5816
2020-02-03 07:45:00 | 4.131 | 144.5 | 4.538 | 159.2 | 4.845 | 149.6 | 4.93 | 149.3 | -1.797 | 978.423 | 49.9218 | 6.0448
2020-02-03 08:00:00 | 3.485 | 140.5 | 4.136 | 156.2 | 5.01 | 142 | 5.093 | 147.7 | -1.812 | 978.72 | 46.8376 | 6.3441
2020-02-03 08:15:00 | 4.295 | 132 | 4.691 | 149.2 | 5.32 | 135.9 | 5.368 | 138.8 | -1.804 | 979.315 | 49.1624 | 8.2875
2020-02-03 08:30:00 | 3.731 | 121.1 | 4.458 | 139.6 | 4.903 | 125.9 | 4.999 | 124.7 | -1.365 | 979.612 | 46.146 | 16.4642
2020-02-03 08:45:00 | 4.696 | 130.9 | 4.671 | 156.5 | 4.697 | 150.6 | 4.683 | 129.1 | -1.041 | 979.909 | 43.548 | 26.5992
2020-02-03 09:00:00 | 5.577 | 124.4 | 5.673 | 146.5 | 5.951 | 140.4 | 6.084 | 124.3 | -0.774 | 980.511 | 43.4 | 36.1097
2020-02-03 09:15:00 | 6.412 | 129.3 | 6.409 | 154.5 | 6.025 | 146.1 | 5.933 | 129 | -0.729 | 980.65 | 44.2167 | 38.3082
2020-02-03 09:30:00 | 6.91 | 127 | 7.094 | 146.3 | 7.027 | 138.8 | 7.092 | 129.2 | -0.756 | 980.798 | 45.7885 | 41.6261
2020-02-03 09:45:00 | 6.322 | 123.8 | 6.721 | 143.6 | 7.052 | 133.7 | 7.135 | 126 | -0.362 | 980.786 | 43.6674 | 44.3107
2020-02-03 10:00:00 | 7.098 | 125.5 | 7.289 | 148.2 | 6.477 | 146.1 | 6.417 | 130.7 | -0.048 | 981.095 | 39.4967 | 47.5018
2020-02-03 10:15:00 | 7.617 | 129.2 | 7.577 | 150.2 | 6.594 | 142.9 | 6.468 | 127.3 | -0.131 | 980.798 | 36.3898 | 41.5892
2020-02-03 10:30:00 | 7.622 | 143.5 | 7.741 | 162.6 | 6.785 | 152.9 | 6.753 | 144.7 | 0.302 | 981.095 | 35.2956 | 15.8177
2020-02-03 10:45:00 | 7.318 | 146.9 | 7.396 | 165.2 | 7.08 | 156.7 | 6.942 | 150.8 | 0.577 | 981.017 | 35.6667 | 15.5783
2020-02-03 11:00:00 | 6.064 | 142.9 | 6.105 | 161.2 | 6.065 | 150.4 | 6.043 | 146.5 | 0.857 | 980.956 | 34.5005 | 7.9254
2020-02-03 11:15:00 | 7.081 | 143.9 | 6.966 | 161.6 | 6.457 | 151.8 | 6.338 | 148.7 | 1.402 | 980.795 | 33.8173 | 8.3023
2020-02-03 11:30:00 | 6.118 | 139 | 6.187 | 156.7 | 5.669 | 147.3 | 5.61 | 143.9 | 1.454 | 980.795 | 33.544 | 8.7198
2020-02-03 11:45:00 | 6.266 | 142.2 | 6.422 | 160.2 | 5.987 | 154.3 | 5.943 | 147.7 | 2.098 | 980.795 | 32.041 | 11.0661
2020-02-03 12:00:00 | 7.323 | 146.3 | 6.821 | 164.2 | 6.228 | 152.5 | 6.109 | 149.3 | 2.002 | 980.498 | 34.3293 | 12.7583
2020-02-03 12:15:00 | 6.58 | 147.3 | 6.55 | 162.8 | 6.043 | 146.2 | 5.994 | 152.2 | 2.221 | 980.052 | 35.4559 | 10.4305
2020-02-03 12:30:00 | 6.733 | 154.1 | 6.721 | 173.5 | 6.043 | 160.1 | 6.038 | 155.9 | 2.804 | 979.904 | 30.569 | 1.7255
2020-02-03 12:45:00 | 7.374 | 140.6 | 7.294 | 158.5 | 6.879 | 149 | 6.753 | 145.3 | 2.541 | 979.607 | 31.3189 | 1.223
2020-02-03 13:00:00 | 6.963 | 140 | 6.849 | 156.9 | 6.449 | 147.9 | 6.407 | 145.3 | 2.849 | 979.458 | 30.9768 | 1.8179
2020-02-03 13:15:00 | 6.225 | 155.1 | 6.44 | 168.6 | 5.898 | 157.8 | 5.849 | 162.8 | 3.055 | 979.309 | 30.0545 | 1.9213
2020-02-03 13:30:00 | 7.03 | 188.6 | 6.343 | 205.6 | 5.28 | 195.1 | 5.279 | 189.1 | 3.375 | 979.012 | 29.1301 | 1.7292
2020-02-03 13:45:00 | 6.486 | 146.6 | 6.427 | 166.5 | 6.012 | 154.7 | 5.931 | 152.4 | 3.679 | 979.012 | 27.1481 | 1.9287
2020-02-03 14:00:00 | 6.879 | 141.4 | 7.084 | 158.5 | 6.569 | 144.9 | 6.542 | 145.7 | 3.452 | 979.012 | 28.2412 | 1.7477
2020-02-03 14:15:00 | 5.681 | 141.9 | 5.882 | 157.9 | 5.422 | 153.7 | 5.452 | 149.8 | 3.957 | 979.012 | 27.5571 | 1.2563
2020-02-03 14:30:00 | 6.549 | 186.5 | 6.547 | 201.3 | 5.961 | 193.2 | 6.017 | 191.4 | 4.355 | 978.715 | 27.455 | 3.4362
2020-02-03 14:45:00 | 6.281 | 164.6 | 6.46 | 179.6 | 5.613 | 168.6 | 5.597 | 170.7 | 3.812 | 978.715 | 28.4793 | 4.8292
2020-02-03 15:00:00 | 5.942 | 164.7 | 5.719 | 186.3 | 5.16 | 176.2 | 5.225 | 171.6 | 4.489 | 978.418 | 25.884 | 4.7442
2020-02-03 15:15:00 | 7.068 | 155.7 | 7.005 | 170.4 | 6.416 | 157.4 | 6.351 | 159.5 | 4.381 | 977.972 | 26.0885 | 4.7109
2020-02-03 15:30:00 | 5.473 | 167.6 | 5.872 | 182 | 6.185 | 170.4 | 6.229 | 167.8 | 4.421 | 977.823 | 26.3279 | 5.982
2020-02-03 15:45:00 | 7.954 | 152.3 | 8.51 | 168.8 | 7.719 | 159.8 | 7.619 | 157.9 | 4.25 | 977.823 | 27.7278 | 7.0682
2020-02-03 16:00:00 | 8.8 | 162.5 | 8.77 | 178.5 | 7.925 | 165.5 | 7.869 | 167.8 | 4.483 | 977.526 | 29.5036 | 2.9854
2020-02-03 16:15:00 | 8.89 | 155.8 | 9.17 | 169.7 | 8.8 | 158.2 | 8.56 | 161.4 | 4.435 | 977.081 | 30.1903 | 11.3986
2020-02-03 16:30:00 | 8.11 | 167.7 | 8.38 | 182.2 | 7.668 | 169.8 | 7.581 | 172.3 | 4.528 | 977.229 | 30.6042 | 31.7584
2020-02-03 16:45:00 | 9.53 | 182.5 | 8.96 | 197 | 7.935 | 185.4 | 7.884 | 182.5 | 4.635 | 976.635 | 31.426 | 44.3351
2020-02-03 17:00:00 | 7.392 | 164.1 | 7.411 | 182 | 7.116 | 178.8 | 7.13 | 165.2 | 4.629 | 976.338 | 30.9479 | 46.4664
2020-02-03 17:15:00 | 8.17 | 162.8 | 8.17 | 181.6 | 7.566 | 176.4 | 7.744 | 169 | 4.549 | 976.189 | 31.6311 | 52.2941
2020-02-03 17:30:00 | 7.4 | 170.9 | 7.892 | 184.7 | 7.355 | 174.4 | 7.387 | 174.6 | 4.282 | 975.743 | 32.3143 | 51.7526
2020-02-03 17:45:00 | 8.18 | 162.7 | 8.31 | 178.6 | 6.816 | 169.5 | 6.789 | 168.7 | 4.07 | 975.446 | 31.9727 | 57.061
2020-02-03 18:00:00 | 7.961 | 160.9 | 8.09 | 176.1 | 7.609 | 166.1 | 7.693 | 167.5 | 3.896 | 975.305 | 30.9502 | 55.8735
2020-02-03 18:15:00 | 7.359 | 170.9 | 7.278 | 188.1 | 7.373 | 182 | 7.525 | 176.3 | 3.818 | 975.148 | 30.6822 | 56.622
2020-02-03 18:30:00 | 7.249 | 162.2 | 7.608 | 178.4 | 7.625 | 172.6 | 7.581 | 166.1 | 3.762 | 975.744 | 29.9308 | 56.6141
2020-02-03 18:45:00 | 7.831 | 156.1 | 8.1 | 173.2 | 7.902 | 162.8 | 7.887 | 164.5 | 3.624 | 975.744 | 30.9556 | 61.0795
2020-02-03 19:00:00 | 9.81 | 150.1 | 10.55 | 168.1 | 11.19 | 154.3 | 11.2 | 156.8 | 3.361 | 975.12 | 30.5465 | 65.9419
2020-02-03 19:15:00 | 10.71 | 150.9 | 11.23 | 166.1 | 11.06 | 152.6 | 10.92 | 159.3 | 3.359 | 974.839 | 30.4112 | 74.2479
2020-02-03 19:30:00 | 11.78 | 150 | 11.9 | 164.9 | 11.78 | 152.1 | 11.73 | 157.3 | 3.222 | 974.406 | 31.9153 | 82.5983
2020-02-03 19:45:00 | 10.33 | 151.2 | 11.03 | 166.6 | 12.25 | 155.4 | 12.22 | 156.6 | 3.013 | 974.555 | 33.5554 | 86.2451
2020-02-03 20:00:00 | 11.95 | 150.6 | 12.48 | 169.8 | 13.04 | 159.3 | 13.05 | 154.7 | 3.019 | 973.961 | 33.6921 | 88.2809
2020-02-03 20:15:00 | 11.02 | 149.4 | 11.57 | 166.7 | 12.61 | 156.8 | 12.47 | 153.8 | 2.764 | 973.961 | 35.469 | 86.5148
2020-02-03 20:30:00 | 9.94 | 148.9 | 10.52 | 165.5 | 11.79 | 156.8 | 11.88 | 153.1 | 2.716 | 973.961 | 35.264 | 87.5108
2020-02-03 20:45:00 | 9.75 | 147.6 | 10.18 | 165.1 | 11.58 | 153.8 | 11.73 | 152.3 | 2.556 | 974.109 | 37.5192 | 88.0038
2020-02-03 21:00:00 | 9.59 | 153 | 10.18 | 166.6 | 10.43 | 156.4 | 10.55 | 156.4 | 2.556 | 974.109 | 39.4328 | 86.0049
2020-02-03 21:15:00 | 9.42 | 148.6 | 9.92 | 166 | 11.22 | 155.9 | 11.28 | 153 | 2.458 | 973.961 | 40.3895 | 87.2316
2020-02-03 21:30:00 | 10.04 | 145.5 | 10.39 | 164 | 11.33 | 158 | 11.31 | 151.7 | 2.5 | 974.258 | 41.9614 | 83.2486
2020-02-03 21:45:00 | 9.38 | 147.2 | 10 | 165 | 11.74 | 156.6 | 11.72 | 152 | 2.481 | 973.961 | 42.9865 | 82.3544
2020-02-03 22:00:00 | 10.19 | 147.3 | 10.58 | 165.2 | 11.29 | 155.5 | 11.37 | 151.2 | 2.383 | 973.663 | 42.8498 | 82.8089
2020-02-03 22:15:00 | 9.44 | 146.9 | 9.93 | 167.1 | 11.47 | 160 | 11.53 | 150.8 | 2.319 | 973.515 | 42.8498 | 80.5772
2020-02-03 22:30:00 | 9.49 | 144.8 | 10.16 | 163.1 | 11.29 | 157 | 11.44 | 150.8 | 2.329 | 973.812 | 43.5675 | 80.1227
2020-02-03 22:45:00 | 9.54 | 144.6 | 10.67 | 162.3 | 11.91 | 153.8 | 11.9 | 150.6 | 2.25 | 973.515 | 43.3969 | 77.5933
2020-02-03 23:00:00 | 9.56 | 145.7 | 10.03 | 164.3 | 11.59 | 152.1 | 11.58 | 150.7 | 2.251 | 973.961 | 43.878 | 48.7417
2020-02-03 23:15:00 | 10.71 | 144.5 | 11 | 164.9 | 11.46 | 153 | 11.45 | 148.5 | 2.223 | 973.961 | 44.1522 | 44.279
2020-02-03 23:30:00 | 10.14 | 145.5 | 10.93 | 162.8 | 12.14 | 150.2 | 12.18 | 149.7 | 2.122 | 973.366 | 45.0411 | 37.5618
2020-02-03 23:45:00 | 10.36 | 146 | 10.83 | 161 | 11.44 | 147.2 | 11.5 | 152 | 2.118 | 973.812 | 46.4078 | 23.6978