## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-04 00:00:00 | 9.44 | 145 | 10.25 | 164.9 | 11.57 | 152.3 | 11.6 | 151.5 | 1.885 | 973.961 | 47.7771 | 14.9156
2020-02-04 00:15:00 | 9.61 | 149 | 9.81 | 164 | 11.14 | 151.1 | 11.24 | 153.2 | 1.819 | 973.366 | 48.5301 | 11.7422
2020-02-04 00:30:00 | 9.06 | 147.3 | 9.19 | 165.9 | 10.24 | 150.9 | 10.22 | 151.7 | 1.88 | 973.665 | 49.419 | 12.741
2020-02-04 00:45:00 | 9.38 | 148.6 | 10.06 | 166.1 | 10.2 | 153.3 | 10.25 | 152.1 | 1.868 | 973.383 | 51.0596 | 9.3406
2020-02-04 01:00:00 | 9.38 | 146.1 | 10.16 | 163.3 | 10.68 | 149 | 10.64 | 152.6 | 1.818 | 973.516 | 51.8121 | 5.0001
2020-02-04 01:15:00 | 10.67 | 144.4 | 11.73 | 160.6 | 12.7 | 147.7 | 12.51 | 151.2 | 2.038 | 973.219 | 54.4092 | 3.0635
2020-02-04 01:30:00 | 11.39 | 144.6 | 11.75 | 161.3 | 12.57 | 146 | 12.37 | 150.2 | 2.038 | 973.374 | 55.2303 | 4.068
2020-02-04 01:45:00 | 10.58 | 146.2 | 10.82 | 161.9 | 10.85 | 148.3 | 10.8 | 151.7 | 1.964 | 973.226 | 55.7751 | 4.0533
2020-02-04 02:00:00 | 10.52 | 143.2 | 10.9 | 160.3 | 11.58 | 149.4 | 11.54 | 150.2 | 1.815 | 972.921 | 57.0072 | 3.7872
2020-02-04 02:15:00 | 9.86 | 144.3 | 10.88 | 162.3 | 11.63 | 150.8 | 11.49 | 150.8 | 1.746 | 973.085 | 58.0315 | 3.8426
2020-02-04 02:30:00 | 10.58 | 146.2 | 10.76 | 163.3 | 11.29 | 147.8 | 11.21 | 151.2 | 1.64 | 972.826 | 59.1267 | 4.0348
2020-02-04 02:45:00 | 9.91 | 146.4 | 10.51 | 163.5 | 11.68 | 151.9 | 11.71 | 150.8 | 1.521 | 972.475 | 59.6778 | 4.0569
2020-02-04 03:00:00 | 10.46 | 147 | 11.06 | 162.3 | 11.06 | 149.3 | 10.95 | 151.6 | 1.574 | 972.856 | 60.0891 | 4.0422
2020-02-04 03:15:00 | 9.2 | 145.4 | 9.9 | 161.9 | 10.61 | 149.9 | 10.66 | 150.8 | 1.625 | 972.889 | 61.3192 | 4.0015
2020-02-04 03:30:00 | 10.82 | 147.9 | 10.91 | 164.5 | 10.91 | 147.9 | 10.96 | 152 | 1.62 | 972.286 | 62.4128 | 4.0717
2020-02-04 03:45:00 | 9.53 | 145.4 | 9.93 | 164.7 | 10.54 | 157.6 | 10.57 | 150.2 | 1.608 | 972.021 | 64.7371 | 4.1456
2020-02-04 04:00:00 | 10.74 | 145.2 | 11.48 | 162.5 | 11.99 | 152.5 | 12 | 150.6 | 1.489 | 972.379 | 66.1752 | 4.1419
2020-02-04 04:15:00 | 10.05 | 146.2 | 10.5 | 162.5 | 11.27 | 149.4 | 11.18 | 151.2 | 1.517 | 972.171 | 65.6276 | 3.972
2020-02-04 04:30:00 | 10.76 | 146.9 | 10.7 | 164.3 | 11.11 | 153.5 | 11.06 | 153 | 1.487 | 972.074 | 66.9271 | 3.9202
2020-02-04 04:45:00 | 8.85 | 144.9 | 9.4 | 167.5 | 11.02 | 161.1 | 11.01 | 149.6 | 1.342 | 971.936 | 68.1584 | 3.7466
2020-02-04 05:00:00 | 9.19 | 149.1 | 9.64 | 165.1 | 10.42 | 153.5 | 10.53 | 154.5 | 1.197 | 971.873 | 68.6719 | 4.0976
2020-02-04 05:15:00 | 10.03 | 147.9 | 10.27 | 165.6 | 10.89 | 149.5 | 10.99 | 153.5 | 1.171 | 972.173 | 69.1847 | 3.9165
2020-02-04 05:30:00 | 10.5 | 148.6 | 11.01 | 166.2 | 11.81 | 152 | 11.86 | 153.4 | 1.25 | 971.879 | 69.9368 | 3.5175
2020-02-04 05:45:00 | 8.98 | 149.7 | 9.79 | 166.9 | 11.09 | 157.4 | 11.29 | 155.3 | 1.116 | 971.88 | 70.6888 | 5.3132
2020-02-04 06:00:00 | 9.6 | 151.3 | 9.7 | 169.7 | 11.04 | 161.4 | 11.16 | 155.3 | 1.089 | 972.474 | 71.9877 | 6.7542
2020-02-04 06:15:00 | 8.83 | 149.9 | 9.46 | 167.2 | 10.4 | 155.8 | 10.49 | 156.2 | 1.036 | 972.474 | 73.2182 | 6.684
2020-02-04 06:30:00 | 9.53 | 150.8 | 9.9 | 167.4 | 10.66 | 155.8 | 10.82 | 156.9 | 1.048 | 972.474 | 74.2779 | 6.7542
2020-02-04 06:45:00 | 9.39 | 151.4 | 9.84 | 168.3 | 10.62 | 154 | 10.61 | 156.6 | 1.186 | 972.474 | 75.4059 | 6.5214
2020-02-04 07:00:00 | 9.41 | 149.8 | 9.89 | 165 | 10.22 | 150.6 | 10.32 | 156.3 | 1.267 | 972.753 | 76.1235 | 5.7048
2020-02-04 07:15:00 | 8.9 | 150.6 | 9.52 | 165.6 | 10.36 | 152.5 | 10.54 | 156.6 | 1.345 | 973.069 | 76.739 | 5.7012
2020-02-04 07:30:00 | 8.43 | 151.5 | 9.22 | 166 | 10.29 | 149 | 10.39 | 159.3 | 1.353 | 973.069 | 77.4227 | 5.3797
2020-02-04 07:45:00 | 7.964 | 152.6 | 9.01 | 167.4 | 10.13 | 152 | 10.16 | 159.3 | 1.591 | 973.65 | 77.4566 | 8.4084
2020-02-04 08:00:00 | 7.402 | 154.3 | 8.59 | 169.5 | 9.4 | 157.4 | 9.46 | 160.3 | 1.569 | 973.881 | 78.3105 | 22.8798
2020-02-04 08:15:00 | 7.231 | 154.9 | 7.815 | 171 | 9.33 | 156.4 | 9.57 | 160.7 | 1.718 | 974.013 | 77.927 | 25.2247
2020-02-04 08:30:00 | 8.54 | 153.9 | 9.03 | 169.6 | 9.56 | 154.3 | 9.75 | 160.2 | 1.988 | 973.963 | 77.8132 | 37.7465
2020-02-04 08:45:00 | 7.019 | 156.2 | 7.388 | 174.6 | 8.25 | 166.6 | 8.3 | 161.2 | 2.006 | 974.556 | 79.0706 | 31.7371
2020-02-04 09:00:00 | 6.853 | 155.9 | 7.368 | 169.8 | 7.864 | 160.2 | 7.904 | 163.4 | 1.958 | 974.556 | 79.0706 | 36.4607
2020-02-04 09:15:00 | 6.935 | 158.2 | 7.278 | 172 | 7.942 | 155.9 | 8.1 | 164.5 | 1.955 | 974.853 | 78.558 | 32.4518
2020-02-04 09:30:00 | 6.261 | 155.8 | 6.826 | 172.7 | 7.253 | 162.5 | 7.207 | 161.8 | 2.036 | 975.448 | 79.6173 | 29.0378
2020-02-04 09:45:00 | 7.267 | 164.8 | 7.051 | 176.1 | 6.996 | 161.2 | 7.107 | 173.4 | 2.473 | 975.299 | 79.2073 | 21.4671
2020-02-04 10:00:00 | 5.916 | 174 | 5.926 | 185 | 5.661 | 167.8 | 5.681 | 181.8 | 2.712 | 975.745 | 79.0706 | 13.985
2020-02-04 10:15:00 | 7.068 | 164.7 | 7.432 | 174.7 | 6.444 | 156.6 | 6.384 | 174.9 | 2.783 | 976.595 | 77.8343 | 12.5329
2020-02-04 10:30:00 | 4.903 | 161.7 | 4.929 | 179.5 | 4.628 | 169.8 | 4.576 | 168.6 | 2.585 | 976.933 | 77.015 | 7.471
2020-02-04 10:45:00 | 5.183 | 159.9 | 5.256 | 176.4 | 4.695 | 165.1 | 4.713 | 165.2 | 2.838 | 976.787 | 76.6538 | 5.1802
2020-02-04 11:00:00 | 3.751 | 172.2 | 3.681 | 183.7 | 2.957 | 181.1 | 2.961 | 174 | 3.195 | 977.082 | 75.6277 | 0.83134
2020-02-04 11:15:00 | 2.238 | 170.7 | 2.08 | 163.2 | 1.703 | 150.6 | 1.517 | 171.1 | 3.107 | 977.229 | 75.7643 | -0.33993
2020-02-04 11:30:00 | 1.821 | 203.7 | 2.368 | 211.4 | 1.5 | 184.3 | 1.285 | 240.6 | 4.089 | 977.526 | 74.9787 | -0.25864
2020-02-04 11:45:00 | 2.796 | 277 | 3.11 | 285.3 | 3.034 | 263.8 | 3.005 | 281.7 | 3.458 | 977.229 | 74.9445 | -0.31776
2020-02-04 12:00:00 | 2.307 | 312.6 | 2.607 | 322.7 | 2.414 | 323.4 | 2.412 | 311 | 3.558 | 976.932 | 74.1247 | -0.33254
2020-02-04 12:15:00 | 2.238 | 2.326 | 2.495 | 11.21 | 2.929 | 347.3 | 2.907 | 353.4 | 4.027 | 976.635 | 72.246 | -0.22169
2020-02-04 12:30:00 | 2.68 | 337.7 | 3.057 | 347.4 | 3.101 | 333.4 | 3.08 | 335.4 | 3.984 | 976.635 | 73.3049 | 4.2232
2020-02-04 12:45:00 | 3.698 | 355.3 | 4.727 | 24.24 | 5.646 | 17.46 | 5.969 | 350.5 | 2.183 | 976.041 | 77.5406 | 13.1148
2020-02-04 13:00:00 | 5.104 | 354.8 | 5.154 | 26.58 | 6.195 | 26.43 | 6.488 | 349.5 | 1.579 | 975.743 | 75.8326 | 15.5427
2020-02-04 13:15:00 | 4.977 | 2.77 | 4.988 | 29.09 | 4.931 | 20.63 | 5.162 | 357.4 | 1.384 | 975.889 | 73.0688 | 22.0398
2020-02-04 13:30:00 | 5.344 | 6.403 | 6.033 | 27.49 | 5.643 | 15.76 | 5.814 | 0.463 | 1.352 | 975.743 | 71.8211 | 25.6755
2020-02-04 13:45:00 | 6.118 | 1.872 | 5.959 | 27.93 | 6.216 | 26.63 | 6.463 | 352 | 1.232 | 975.714 | 71.4087 | 26.2527
2020-02-04 14:00:00 | 6.575 | 1.582 | 6.046 | 20.21 | 6.579 | 14.84 | 6.807 | 359.7 | 1.266 | 975.737 | 70.7963 | 27.9958
2020-02-04 14:15:00 | 6.994 | 3.668 | 7.181 | 20.49 | 7.329 | 10.27 | 7.273 | 5.349 | 1.339 | 975.744 | 68.751 | 29.507
2020-02-04 14:30:00 | 7.091 | 7.357 | 8.1 | 24.77 | 7.355 | 15.38 | 7.232 | 6.508 | 1.521 | 975.737 | 65.4023 | 30.2729
2020-02-04 14:45:00 | 7.098 | 7.641 | 9.19 | 25.36 | 8.57 | 12.82 | 8.03 | 8.38 | 1.563 | 975.732 | 64.6506 | 33.431
2020-02-04 15:00:00 | 6.379 | 2.982 | 7.516 | 23.57 | 8.33 | 13.53 | 8.75 | 358.1 | 1.604 | 975.744 | 62.5662 | 38.7811
2020-02-04 15:15:00 | 6.593 | 8.17 | 7.708 | 25.6 | 7.037 | 12.42 | 7.107 | 5.403 | 1.288 | 975.744 | 63.4205 | 33.431
2020-02-04 15:30:00 | 6.708 | 9.8 | 8.12 | 27.87 | 6.902 | 13.63 | 6.741 | 8.46 | 1.372 | 975.717 | 61.7803 | 32.5146
2020-02-04 15:45:00 | 6.994 | 4.603 | 7.314 | 20.63 | 7.154 | 11.57 | 7.479 | 3.347 | 1.147 | 975.744 | 62.0536 | 29.0193
2020-02-04 16:00:00 | 6.437 | 5.466 | 7.278 | 24.76 | 6.938 | 14.81 | 7.092 | 4.125 | 1.005 | 975.744 | 62.6687 | 30.3679
2020-02-04 16:15:00 | 6.79 | 9.42 | 7.422 | 26.06 | 6.32 | 16.55 | 6.198 | 7.509 | 0.95 | 975.744 | 63.6255 | 28.2936
2020-02-04 16:30:00 | 5.612 | 3.765 | 6.56 | 22.83 | 6.373 | 13.41 | 6.57 | 3.76 | 0.744 | 975.744 | 65.4707 | 27.7778
2020-02-04 16:45:00 | 6.075 | 7.031 | 6.749 | 16.66 | 6.719 | 6.444 | 6.82 | 5.915 | 0.464 | 975.596 | 68.0676 | 31.7941
2020-02-04 17:00:00 | 6.131 | 0.677 | 6.903 | 13.14 | 7.49 | 7.662 | 7.795 | 4.96 | 0.196 | 975.744 | 73.3985 | 31.398
2020-02-04 17:15:00 | 6.355 | 4.882 | 6.826 | 17.25 | 7.357 | 9.31 | 7.726 | 3.518 | -0.114 | 975.611 | 78.9472 | 30.875
2020-02-04 17:30:00 | 5.998 | 4.888 | 6.621 | 16.3 | 6.912 | 6.998 | 6.738 | 4.716 | -0.496 | 976.003 | 85.1817 | 30.6044
2020-02-04 17:45:00 | 6.235 | 6.519 | 7.012 | 22.82 | 5.9 | 12.79 | 5.829 | 7.995 | -0.779 | 975.448 | 87.6424 | 27.1312
2020-02-04 18:00:00 | 5.546 | 8.17 | 7.069 | 24.44 | 6.208 | 11.88 | 5.966 | 11.62 | -1.098 | 975.746 | 89.4548 | 25.7826
2020-02-04 18:15:00 | 5.109 | 9.59 | 7.115 | 23.43 | 6.493 | 11.31 | 5.908 | 15.81 | -1.433 | 975.746 | 90.8904 | 27.3086
2020-02-04 18:30:00 | 4.326 | 7.309 | 5.673 | 18.59 | 5.75 | 6.125 | 5.34 | 8.45 | -1.668 | 975.894 | 92.2273 | 33.9039
2020-02-04 18:45:00 | 5.549 | 6.408 | 5.957 | 16.02 | 5.979 | 6.195 | 5.854 | 9.13 | -1.81 | 976.043 | 93.5366 | 34.5062
2020-02-04 19:00:00 | 5.679 | 6.81 | 6.57 | 19.14 | 6.182 | 8.06 | 6.058 | 10.28 | -2.014 | 976.043 | 94.1538 | 32.91
2020-02-04 19:15:00 | 5.191 | 12.6 | 6.619 | 23.58 | 6.658 | 7.979 | 6.654 | 20.99 | -2.117 | 976.043 | 94.4273 | 25.6459
2020-02-04 19:30:00 | 4.525 | 16.74 | 6.435 | 26.88 | 6.34 | 14.01 | 6.422 | 24.78 | -2.101 | 976.192 | 94.3931 | 17.1884
2020-02-04 19:45:00 | 3.298 | 20.84 | 5.629 | 31.49 | 5.704 | 21.97 | 5.73 | 29.52 | -2.267 | 976.34 | 94.8376 | 13.1463
2020-02-04 20:00:00 | 4.264 | 17.92 | 5.379 | 28.53 | 4.939 | 14.7 | 4.907 | 28.07 | -2.322 | 976.34 | 95.1111 | 11.6757
2020-02-04 20:15:00 | 3.868 | 10.75 | 5.241 | 24.36 | 5.414 | 12.41 | 5.342 | 21.54 | -2.558 | 976.49 | 96.2393 | 13.9517
2020-02-04 20:30:00 | 4.221 | 10.85 | 5.634 | 24.81 | 5.674 | 12.41 | 5.612 | 20.21 | -2.529 | 976.638 | 96.2051 | 14.6057
2020-02-04 20:45:00 | 4.609 | 8.72 | 5.586 | 23.16 | 5.714 | 13.5 | 5.709 | 18.75 | -2.615 | 976.787 | 96.0684 | 14.7646
2020-02-04 21:00:00 | 4.017 | 9.75 | 4.423 | 22.54 | 4.893 | 6.627 | 4.912 | 21.95 | -2.886 | 977.089 | 96.547 | 13.0761
2020-02-04 21:15:00 | 3.861 | 10.99 | 4.279 | 24.27 | 4.369 | 4.495 | 4.456 | 19.73 | -3.09 | 977.243 | 96.8912 | 13.0539
2020-02-04 21:30:00 | 4.673 | 9.64 | 5.565 | 22.49 | 4.85 | 8.9 | 4.818 | 21.03 | -3.186 | 977.24 | 96.0783 | 12.4923
2020-02-04 21:45:00 | 4.349 | 8.21 | 4.614 | 21.82 | 4.857 | 10.61 | 4.938 | 18.53 | -3.349 | 977.244 | 95.6052 | 12.5883
2020-02-04 22:00:00 | 4.525 | 10.15 | 4.732 | 23.29 | 4.817 | 12.22 | 4.93 | 20.43 | -3.597 | 977.276 | 94.7169 | 12.4405
2020-02-04 22:15:00 | 5.263 | 20.81 | 5.98 | 30.13 | 5.478 | 16.29 | 5.511 | 25.3 | -3.782 | 977.35 | 94.8538 | 11.757
2020-02-04 22:30:00 | 4.882 | 14.24 | 5.706 | 26.45 | 5.338 | 10.85 | 5.396 | 22.22 | -3.812 | 977.473 | 94.04 | 9.6214
2020-02-04 22:45:00 | 4.56 | 15.05 | 5.872 | 25.58 | 5.236 | 14.69 | 5.157 | 22.79 | -4.003 | 977.866 | 94.1843 | 8.6755
2020-02-04 23:00:00 | 4.514 | 12.92 | 5.609 | 24.51 | 5.119 | 12.05 | 5.185 | 23.18 | -4.032 | 978.066 | 94.0492 | 13.0059
2020-02-04 23:15:00 | 4.895 | 16.13 | 5.977 | 27.93 | 5.542 | 14.35 | 5.533 | 24.59 | -4.221 | 978.069 | 93.9124 | 14.4505
2020-02-04 23:30:00 | 5.089 | 19.34 | 6.061 | 32.29 | 6.048 | 18.62 | 6.066 | 28.11 | -4.324 | 978.116 | 94.9384 | 13.0761
2020-02-04 23:45:00 | 4.231 | 28.74 | 5.167 | 37.15 | 5.31 | 22.45 | 5.297 | 39.46 | -4.221 | 978.278 | 94.9042 | 7.7038