## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-05 00:00:00 | 2.857 | 39.65 | 4.642 | 55.48 | 5.671 | 34.92 | 5.847 | 41.8 | -3.5 | 978.427 | 93.16 | 3.1111
2020-02-05 00:15:00 | 2.094 | 31.81 | 3.085 | 48.23 | 4.168 | 18.44 | 4.252 | 39.1 | -3.383 | 978.566 | 92.8865 | 2.0026
2020-02-05 00:30:00 | 2.924 | 36.74 | 4.146 | 46.05 | 4.27 | 22.91 | 4.319 | 46.02 | -3.154 | 978.719 | 90.2189 | 1.9657
2020-02-05 00:45:00 | 2.719 | 40.31 | 4.614 | 53.07 | 5.684 | 19.33 | 5.803 | 46.65 | -3.05 | 978.951 | 89.8085 | 3.1
2020-02-05 01:00:00 | 3.125 | 43.99 | 5.172 | 59.92 | 5.857 | 37.19 | 5.921 | 47.55 | -2.753 | 978.903 | 87.6197 | 4.3636
2020-02-05 01:15:00 | 2.334 | 37.51 | 6.159 | 55.38 | 6.233 | 29.78 | 6.277 | 40.86 | -2.583 | 978.785 | 85.8377 | 5.6642
2020-02-05 01:30:00 | 4.28 | 38.66 | 6.268 | 56.51 | 6.498 | 40.1 | 6.552 | 43.02 | -2.15 | 978.691 | 80.3571 | 4.6259
2020-02-05 01:45:00 | 4.675 | 30.04 | 7.529 | 46.12 | 7.897 | 24.52 | 8.01 | 37.22 | -2.263 | 978.517 | 79.7402 | 5.4721
2020-02-05 02:00:00 | 5.337 | 27.95 | 6.798 | 40.31 | 7.584 | 23.09 | 7.65 | 35.49 | -2.068 | 978.477 | 70.371 | 2.7268
2020-02-05 02:15:00 | 4.543 | 29.19 | 6.304 | 42 | 6.678 | 28.14 | 6.7 | 37.12 | -1.849 | 978.444 | 65.6513 | 4.7885
2020-02-05 02:30:00 | 1.137 | 23.77 | 3.85 | 35.17 | 4.186 | 0.88 | 4.265 | 33.71 | -2.445 | 978.422 | 62.4988 | 2.4866
2020-02-05 02:45:00 | 2.431 | 24.89 | 3.487 | 29.94 | 3.504 | 3.124 | 3.685 | 37.83 | -1.969 | 978.422 | 57.0316 | 0.82764
2020-02-05 03:00:00 | 2.423 | 40.83 | 3.124 | 42.68 | 4.046 | 8.58 | 4.224 | 46.06 | -2.357 | 978.422 | 59.4949 | 0.53945
2020-02-05 03:15:00 | 2.204 | 47.41 | 3.167 | 43.06 | 3.916 | 6.812 | 4.016 | 51.47 | -2.359 | 978.428 | 54.1963 | 0.19952
2020-02-05 03:30:00 | 2.352 | 43.25 | 3.129 | 43 | 3.817 | 10.38 | 3.893 | 51.01 | -2.195 | 978.427 | 59.3263 | 0.23647
2020-02-05 03:45:00 | 2.702 | 42.27 | 3.998 | 58.83 | 4.504 | 10.54 | 4.586 | 50.57 | -2.95 | 978.175 | 62.3006 | 0.6429
2020-02-05 04:00:00 | 2.684 | 45.62 | 3.42 | 58.76 | 3.81 | 13.27 | 3.924 | 51.86 | -3.166 | 978.251 | 48.9998 | 0.16257
2020-02-05 04:15:00 | 1.657 | 51.76 | 2.41 | 73.24 | 2.751 | 43.98 | 2.923 | 59.96 | -1.637 | 978.627 | 41.5798 | -0.096066
2020-02-05 04:30:00 | 0.999 | 51.26 | 1.989 | 73.15 | 2.637 | 23.75 | 2.788 | 53.48 | -1.672 | 978.463 | 41.8533 | -0.20691
2020-02-05 04:45:00 | 0.037 | 75.78 | 0.748 | 73.24 | 1.388 | 43.61 | 1.464 | 65.28 | -1.804 | 978.597 | 44.965 | -0.31776
2020-02-05 05:00:00 | 0.272 | 59.47 | 2.047 | 73.94 | 2.523 | 37.99 | 2.633 | 63.78 | -1.902 | 978.646 | 39.3914 | -0.29928
2020-02-05 05:15:00 | 0 | 71.97 | 0 | 73.98 | 0.46 | 51.68 | 0.767 | 64.43 | -2.035 | 978.663 | 48.2818 | -0.29928
2020-02-05 05:30:00 | 0.011 | 34.69 | 0.239 | 73.93 | 1.493 | 19.32 | 1.65 | 62.74 | -2.177 | 978.932 | 54.0951 | -0.31037
2020-02-05 05:45:00 | 0.551 | 6.46 | 0.792 | 72.85 | 1.61 | 0.342 | 1.826 | 61.7 | -2.127 | 978.937 | 44.2493 | -0.29928
2020-02-05 06:00:00 | 0.115 | 6.446 | 0.128 | 74.22 | 0.025 | 154.4 | 0.132 | 61.8 | -2.86 | 978.635 | 61.9619 | -0.31776
2020-02-05 06:15:00 | 1.696 | 170.5 | 2.29 | 167.3 | 1.559 | 176 | 1.438 | 142 | -3.068 | 979.096 | 65.9704 | -0.31776
2020-02-05 06:30:00 | 1.459 | 147.3 | 2.456 | 167.1 | 2.924 | 167.7 | 2.837 | 157 | -3.526 | 979.517 | 70.9301 | -0.22539
2020-02-05 06:45:00 | 2.094 | 114 | 2.252 | 117.6 | 1.469 | 82 | 1.424 | 143.8 | -3.008 | 979.55 | 60.7727 | -0.11454
2020-02-05 07:00:00 | 0.346 | 135.5 | 1.582 | 138 | 1.227 | 143.8 | 1.156 | 143.9 | -2.869 | 979.72 | 57.8658 | 0.022169
2020-02-05 07:15:00 | 1.917 | 132.1 | 2.531 | 158.2 | 2.726 | 152.9 | 2.679 | 136.4 | -2.726 | 979.915 | 53.6247 | 0.096066
2020-02-05 07:30:00 | 1.03 | 141.9 | 1.931 | 177.7 | 2.759 | 171.3 | 2.992 | 141.4 | -2.812 | 979.812 | 55.8763 | 0.62443
2020-02-05 07:45:00 | 0.805 | 138.4 | 1.387 | 166.2 | 2.599 | 158.7 | 2.793 | 137.2 | -2.891 | 979.951 | 54.0256 | 0.55792
2020-02-05 08:00:00 | 1.123 | 108.7 | 2.405 | 118.8 | 3.067 | 87.4 | 3.224 | 114.8 | -2.75 | 980.225 | 52.0386 | 0.92371
2020-02-05 08:15:00 | 1.082 | 103.2 | 2.074 | 118.3 | 2.617 | 104.5 | 2.77 | 112.1 | -2.579 | 980.51 | 48.2737 | 3.1702
2020-02-05 08:30:00 | 3.866 | 101.2 | 5.501 | 118.7 | 6.287 | 115.7 | 6.57 | 107.6 | -2.322 | 980.802 | 37.812 | 6.4364
2020-02-05 08:45:00 | 5.005 | 111.9 | 5.213 | 124.6 | 5.514 | 104.7 | 5.676 | 116 | -2.328 | 980.802 | 37.0598 | 5.0989
2020-02-05 09:00:00 | 3.963 | 97.6 | 5.335 | 119 | 4.855 | 109.5 | 5.016 | 99.4 | -2.427 | 980.802 | 38.3248 | 2.9337
2020-02-05 09:15:00 | 2.523 | 105.9 | 2.973 | 125 | 3.087 | 121.8 | 3.127 | 103.8 | -2.241 | 981.099 | 38.7009 | 1.9472
2020-02-05 09:30:00 | 3.667 | 136.4 | 3.484 | 156.8 | 2.889 | 150.6 | 2.862 | 137.6 | -2.163 | 981.396 | 38.8376 | 0.97913
2020-02-05 09:45:00 | 2.466 | 137 | 2.71 | 152.5 | 2.154 | 145 | 2.085 | 138.1 | -1.799 | 981.842 | 41.1925 | 0.45447
2020-02-05 10:00:00 | 1.252 | 111.4 | 1.773 | 118.1 | 1.598 | 120.3 | 1.621 | 115.8 | -1.982 | 981.991 | 41.1554 | 0.24386
2020-02-05 10:15:00 | 1.43 | 132.4 | 2.23 | 152.2 | 2.006 | 129.9 | 2.075 | 134.4 | -1.899 | 981.991 | 45.394 | 0.26972
2020-02-05 10:30:00 | 4.08 | 140.9 | 4.366 | 160.2 | 3.754 | 149.9 | 3.733 | 144.6 | -1.51 | 982.437 | 39.583 | 1.3154
2020-02-05 10:45:00 | 3.063 | 144.4 | 3.87 | 167.7 | 3.494 | 168.1 | 3.435 | 152 | -1.484 | 982.586 | 34.6263 | 2.1024
2020-02-05 11:00:00 | 1.729 | 124.2 | 2.525 | 139 | 2.66 | 147.5 | 2.699 | 126.4 | -1.078 | 982.734 | 32.4047 | 3.6505
2020-02-05 11:15:00 | 3.136 | 96.3 | 4.359 | 112.7 | 4.44 | 102.2 | 4.627 | 104 | -1.749 | 982.288 | 31.7209 | 3.5914
2020-02-05 11:30:00 | 1.842 | 74.26 | 2.601 | 95.2 | 3.036 | 91.2 | 3.152 | 77.24 | -1.418 | 982.14 | 31.5156 | 1.8437
2020-02-05 11:45:00 | 1.548 | 101.9 | 1.688 | 117 | 2.145 | 114.2 | 2.294 | 105.9 | -1.198 | 982.288 | 44.0266 | 2.0617
2020-02-05 12:00:00 | 2.719 | 126.5 | 2.671 | 148.6 | 2.083 | 147.6 | 2.131 | 124.3 | -1.397 | 981.991 | 35.8229 | 2.2686
2020-02-05 12:15:00 | 3.45 | 119.1 | 3.927 | 144.4 | 3.888 | 136.5 | 3.962 | 120.6 | -1.698 | 981.991 | 34.6607 | 2.8118
2020-02-05 12:30:00 | 2.628 | 93.1 | 3.269 | 107.6 | 3.576 | 96.6 | 3.715 | 100.7 | -1.929 | 981.694 | 36.7114 | 0.94957
2020-02-05 12:45:00 | 2.253 | 145.3 | 2.42 | 160.1 | 1.948 | 146.5 | 2 | 151.3 | -1.875 | 981.694 | 38.079 | 0.011085
2020-02-05 13:00:00 | 2.173 | 139.4 | 2.15 | 154.8 | 1.394 | 152.4 | 1.39 | 153.9 | -1.883 | 981.545 | 38.6259 | -0.14779
2020-02-05 13:15:00 | 0.201 | 34.8 | 1.065 | 66.2 | 1.502 | 112.4 | 1.354 | 43.85 | -1.918 | 981.396 | 48.7438 | -0.13671
2020-02-05 13:30:00 | 0.388 | 4.327 | 0.229 | 70.83 | 0.536 | 195.3 | 0.52 | 19.86 | -2.131 | 981.396 | 56.7424 | -0.15518
2020-02-05 13:45:00 | 0.391 | 101.9 | 0.393 | 76.87 | 0.566 | 149.3 | 0.658 | 52.09 | -2.135 | 981.396 | 49.906 | -0.1441
2020-02-05 14:00:00 | 2.211 | 140 | 2.334 | 157.5 | 1.935 | 148.4 | 1.91 | 144.4 | -2.085 | 981.248 | 40.6768 | -0.10346
2020-02-05 14:15:00 | 1.703 | 129.3 | 1.981 | 157.7 | 1.432 | 154 | 1.487 | 144 | -2.023 | 981.099 | 40.5401 | -0.32145
2020-02-05 14:30:00 | 0.082 | 54.73 | 0.422 | 157.3 | 0.636 | 68.81 | 0.744 | 92.8 | -1.663 | 981.099 | 44.9156 | -0.26972
2020-02-05 14:45:00 | 1.039 | 80.8 | 2.317 | 93.3 | 2.416 | 90.1 | 2.495 | 85.6 | -1.699 | 981.099 | 39.7881 | -0.19583
2020-02-05 15:00:00 | 2.377 | 99.5 | 2.95 | 112.2 | 2.777 | 94.5 | 2.936 | 105.4 | -1.87 | 980.95 | 39.583 | -0.16996
2020-02-05 15:15:00 | 1.437 | 100 | 2.185 | 120.3 | 2.162 | 120.6 | 2.316 | 102.5 | -1.888 | 980.802 | 39.1044 | -0.084981
2020-02-05 15:30:00 | 2.691 | 102.6 | 3.622 | 124.7 | 3.507 | 115.5 | 3.651 | 108.1 | -1.708 | 980.802 | 36.575 | -0.014779
2020-02-05 15:45:00 | 1.691 | 102.6 | 2.257 | 120 | 2.237 | 116 | 2.381 | 111.5 | -1.676 | 980.802 | 37.8055 | 0.081287
2020-02-05 16:00:00 | 0.268 | 95.1 | 0.788 | 111 | 1.267 | 41.08 | 1.433 | 100.4 | -1.603 | 980.802 | 47.3765 | 0.096066
2020-02-05 16:15:00 | 1.085 | 30.95 | 1.411 | 73.72 | 0.822 | 43.8 | 0.831 | 53.43 | -1.862 | 980.802 | 50.3162 | 0.14779
2020-02-05 16:30:00 | 1.439 | 29.21 | 2.027 | 43.2 | 1.492 | 27.81 | 1.589 | 50.19 | -2.048 | 980.207 | 49.2224 | 1.2489
2020-02-05 16:45:00 | 0.449 | 353.4 | 0.724 | 42.21 | 0.855 | 13.26 | 0.992 | 30.66 | -2.029 | 980.207 | 47.5484 | 1.1417
2020-02-05 17:00:00 | 0.396 | 94.3 | 1.243 | 122.2 | 1.384 | 98.2 | 1.521 | 102.9 | -1.755 | 980.504 | 37.1917 | 0.89415
2020-02-05 17:15:00 | 1.504 | 118.1 | 2.081 | 131.6 | 2.245 | 126.8 | 2.393 | 119 | -1.572 | 980.802 | 33.2974 | 0.1441
2020-02-05 17:30:00 | 1.923 | 141.7 | 2.019 | 165.4 | 1.503 | 158.9 | 1.646 | 141.8 | -1.571 | 980.802 | 33.1611 | 0.066507
2020-02-05 17:45:00 | 2.37 | 125 | 2.513 | 138 | 2.385 | 126.9 | 2.396 | 127.6 | -1.638 | 981.099 | 32.7514 | 0.092371
2020-02-05 18:00:00 | 2.474 | 111.3 | 2.676 | 137.7 | 2.515 | 124.7 | 2.633 | 117.4 | -1.643 | 981.099 | 32.8888 | 0.0073897
2020-02-05 18:15:00 | 2.829 | 123.5 | 3.195 | 141.2 | 3.125 | 127.7 | 3.122 | 128.2 | -1.708 | 981.248 | 33.0937 | 0.24755
2020-02-05 18:30:00 | 3.703 | 92.7 | 4.042 | 115.4 | 3.794 | 100.8 | 3.98 | 96.5 | -1.772 | 981.248 | 33.6752 | 0.033254
2020-02-05 18:45:00 | 2.5 | 93 | 2.899 | 114 | 2.711 | 98.7 | 2.803 | 96.4 | -1.777 | 981.099 | 33.8461 | -0.025864
2020-02-05 19:00:00 | 2.416 | 107.2 | 2.855 | 122 | 2.701 | 101.2 | 2.882 | 111.1 | -1.785 | 981.396 | 34.3248 | -0.033254
2020-02-05 19:15:00 | 2.142 | 113.3 | 2.28 | 144.9 | 2.248 | 136.7 | 2.314 | 119.4 | -1.793 | 981.099 | 35.0085 | 0.51358
2020-02-05 19:30:00 | 1.168 | 113.8 | 1.595 | 141.8 | 1.297 | 142.2 | 1.491 | 106.6 | -1.804 | 981.396 | 35.4188 | 0.18105
2020-02-05 19:45:00 | 1.897 | 111.9 | 2.426 | 115.6 | 2.609 | 108.8 | 2.745 | 114.1 | -1.847 | 981.248 | 35.8632 | 0.26603
2020-02-05 20:00:00 | 1.537 | 115.7 | 2.031 | 133.8 | 1.914 | 125.1 | 2.017 | 127.3 | -1.9 | 981.396 | 36.2735 | -0.25125
2020-02-05 20:15:00 | 0.427 | 117 | 0.499 | 153.5 | 0.213 | 145 | 0.232 | 95.1 | -1.894 | 981.396 | 36.5812 | -0.30667
2020-02-05 20:30:00 | 0.613 | 95 | 1.117 | 79.54 | 0.992 | 142.9 | 1.151 | 98.1 | -1.914 | 981.396 | 36.9231 | -0.29928
2020-02-05 20:45:00 | 0.748 | 140.6 | 1.087 | 124.1 | 1.092 | 142.9 | 1.284 | 133.2 | -1.916 | 981.545 | 36.8547 | -0.27711
2020-02-05 21:00:00 | 1.826 | 145.9 | 2.168 | 152 | 2.271 | 144.5 | 2.233 | 140.6 | -1.955 | 981.694 | 37.1966 | -0.33623
2020-02-05 21:15:00 | 2.268 | 131.9 | 2.301 | 151.9 | 2.123 | 143.5 | 2.177 | 131.2 | -1.945 | 981.694 | 37.5385 | 0.051728
2020-02-05 21:30:00 | 2.188 | 117.8 | 2.39 | 138.3 | 2.364 | 125.6 | 2.429 | 125.8 | -1.901 | 981.396 | 38.2906 | -0.077592
2020-02-05 21:45:00 | 3.067 | 99.6 | 3.402 | 117.6 | 3.718 | 105.3 | 3.789 | 101.1 | -1.847 | 981.396 | 38.8376 | 0.1441
2020-02-05 22:00:00 | 2.755 | 94.5 | 3.553 | 107.2 | 3.484 | 94 | 3.72 | 98.6 | -1.85 | 981.396 | 39.2479 | 0.051728
2020-02-05 22:15:00 | 1.522 | 94.5 | 2.145 | 105 | 2.125 | 89.3 | 2.25 | 94.2 | -1.795 | 981.545 | 39.9316 | -0.059118
2020-02-05 22:30:00 | 1.756 | 74.57 | 2.4 | 87.1 | 2.739 | 71.13 | 2.88 | 76.18 | -1.797 | 981.396 | 41.0598 | -0.20691
2020-02-05 22:45:00 | 0 | 50.92 | 0.333 | 67.46 | 1.035 | 64.52 | 1.357 | 72.02 | -1.804 | 981.842 | 42.5299 | -0.30667
2020-02-05 23:00:00 | 0 | 78.74 | 0.011 | 67.46 | 0.328 | 64.53 | 0.475 | 74.09 | -1.807 | 981.991 | 43.6239 | -0.29928
2020-02-05 23:15:00 | 0 | 87.6 | 0 | 67.47 | 0.358 | 64.6 | 0.503 | 95.9 | -1.844 | 981.991 | 44.3761 | -0.2882
2020-02-05 23:30:00 | 0 | 67.39 | 0.023 | 67.45 | 0 | 63.76 | 0 | 95.8 | -2.026 | 981.991 | 44.9914 | -0.2882
2020-02-05 23:45:00 | 0.797 | 27.56 | 1.063 | 67.4 | 0.053 | 52.63 | 0.206 | 95.2 | -2.031 | 981.991 | 44.9231 | -0.29928