## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-06 00:00:00 | 1.203 | 13.73 | 1.226 | 66.81 | 0.141 | 52.63 | 0.251 | 100.2 | -1.993 | 981.991 | 43.5555 | -0.30667
2020-02-06 00:15:00 | 0.491 | 45.3 | 0.863 | 66.48 | 0.99 | 52.63 | 1.122 | 63.81 | -2.051 | 981.991 | 43.6923 | -0.2882
2020-02-06 00:30:00 | 0.536 | 53.86 | 1.297 | 67.24 | 1.719 | 52.57 | 1.92 | 67.52 | -2.14 | 981.842 | 47.2479 | -0.29928
2020-02-06 00:45:00 | 0.531 | 103.9 | 1.204 | 113 | 1.909 | 82 | 2.236 | 106.3 | -1.998 | 981.991 | 45.9145 | -0.0036948
2020-02-06 01:00:00 | 0.239 | 110.5 | 1.319 | 110.9 | 1.902 | 88.1 | 2.006 | 116.6 | -1.779 | 981.991 | 45.4701 | -0.18844
2020-02-06 01:15:00 | 2.434 | 99 | 3.152 | 120.6 | 3.41 | 102.4 | 3.511 | 105.4 | -1.757 | 981.694 | 45.5385 | -0.0036948
2020-02-06 01:30:00 | 1.372 | 82.6 | 2.431 | 96.9 | 2.945 | 82.6 | 3.028 | 89.5 | -1.845 | 981.694 | 46.5641 | 1.4299
2020-02-06 01:45:00 | 2.093 | 89.2 | 2.883 | 102.8 | 3.054 | 87.1 | 3.16 | 97 | -1.838 | 981.991 | 46.9402 | 0.32515
2020-02-06 02:00:00 | 0.142 | 96.2 | 0.787 | 94.3 | 1.407 | 80.6 | 1.62 | 101.5 | -1.843 | 981.991 | 45.9487 | -0.1404
2020-02-06 02:15:00 | 1.37 | 104.6 | 1.493 | 147.6 | 1.439 | 114.2 | 1.566 | 97.3 | -1.837 | 981.991 | 48 | -0.092371
2020-02-06 02:30:00 | 2.689 | 103 | 3.267 | 119.3 | 3.415 | 108.4 | 3.501 | 108.9 | -1.975 | 981.991 | 51.3846 | 0.062812
2020-02-06 02:45:00 | 2.753 | 105 | 3.065 | 117.7 | 3.199 | 102.2 | 3.348 | 108.7 | -2.101 | 981.694 | 55.453 | -0.059118
2020-02-06 03:00:00 | 1.201 | 91.3 | 2.018 | 109.7 | 2.459 | 117 | 2.615 | 96.5 | -2.314 | 981.545 | 57.8461 | 0.14779
2020-02-06 03:15:00 | 2.197 | 87.6 | 2.825 | 107 | 2.978 | 85 | 3.173 | 95.9 | -2.394 | 981.248 | 61.3333 | -0.018474
2020-02-06 03:30:00 | 2.502 | 93.6 | 3.062 | 110 | 3.581 | 96.8 | 3.672 | 104.9 | -2.483 | 981.099 | 62.0171 | 0.1404
2020-02-06 03:45:00 | 1.751 | 71.93 | 2.697 | 88.4 | 2.38 | 93 | 2.546 | 89.3 | -2.531 | 980.802 | 62.906 | 1.6331
2020-02-06 04:00:00 | 2.26 | 67.43 | 2.508 | 90.3 | 2.904 | 86.2 | 2.984 | 79.26 | -2.597 | 980.802 | 62.906 | 0.73158
2020-02-06 04:15:00 | 0.957 | 66.38 | 2.001 | 76.91 | 2.006 | 88 | 2.027 | 77.59 | -2.668 | 980.802 | 63.7949 | 0.38796
2020-02-06 04:30:00 | 0.123 | 63.05 | 1.003 | 98.9 | 0.434 | 89 | 0.598 | 91.4 | -2.77 | 980.95 | 64.8889 | 1.404
2020-02-06 04:45:00 | 1.736 | 92.6 | 2.293 | 121.7 | 2.304 | 104.4 | 2.434 | 104.8 | -2.861 | 980.802 | 65.8461 | 0.60226
2020-02-06 05:00:00 | 1.182 | 60.05 | 2.242 | 86.7 | 2.123 | 80.5 | 2.233 | 83.5 | -3.169 | 980.802 | 73.4359 | 0.60965
2020-02-06 05:15:00 | 0.325 | 65.32 | 0.938 | 74.19 | 1.339 | 57.58 | 1.568 | 87.7 | -3.49 | 980.802 | 80.6154 | -0.0036948
2020-02-06 05:30:00 | 0.185 | 84 | 1.111 | 108.5 | 1.132 | 90.5 | 1.408 | 107.4 | -3.825 | 980.504 | 84.1049 | 0.13301
2020-02-06 05:45:00 | 0.231 | 68 | 0.542 | 107.9 | 0.482 | 75.95 | 0.701 | 96.2 | -4.145 | 980.51 | 89.446 | 0.014779
2020-02-06 06:00:00 | 0.895 | 6.081 | 1.287 | 106.8 | 1.308 | 68.95 | 1.547 | 31.33 | -4.408 | 980.248 | 93.2466 | -0.22908
2020-02-06 06:15:00 | 1.583 | 19.68 | 2.252 | 105.3 | 2.25 | 63.17 | 2.368 | 31.89 | -4.568 | 980.539 | 95.0264 | -0.31776
2020-02-06 06:30:00 | 0.931 | 41.27 | 1.858 | 105.1 | 1.925 | 47.05 | 2.073 | 47.85 | -4.586 | 980.463 | 95.9603 | -0.33254
2020-02-06 06:45:00 | 0.189 | 79.15 | 1.822 | 106 | 2.301 | 74.1 | 2.363 | 76.49 | -4.489 | 980.87 | 95.6223 | -0.27711
2020-02-06 07:00:00 | 1.187 | 76.14 | 2.07 | 106.3 | 1.332 | 78.17 | 1.423 | 76.15 | -4.305 | 981.265 | 92.8519 | -0.33623
2020-02-06 07:15:00 | 0.238 | 76.2 | 1.255 | 105.6 | 0.671 | 77.73 | 0.835 | 69.08 | -4.097 | 981.379 | 88.6798 | -0.31776
2020-02-06 07:30:00 | 0.787 | 62.32 | 1.156 | 105.6 | 0.621 | 77.18 | 0.939 | 69.07 | -3.993 | 981.483 | 84.5392 | -0.32884
2020-02-06 07:45:00 | 1.187 | 98.5 | 1.828 | 106.1 | 1.429 | 77.11 | 1.721 | 111 | -3.817 | 981.512 | 83.5467 | -0.3584
2020-02-06 08:00:00 | 0.51 | 84.6 | 1.039 | 137.5 | 1.075 | 93.4 | 1.333 | 103.3 | -3.817 | 981.709 | 86.7526 | -0.34731
2020-02-06 08:15:00 | 0 | 74.06 | 0.086 | 129.1 | 0.779 | 81.8 | 1.069 | 92.7 | -3.96 | 981.553 | 90.614 | -0.3584
2020-02-06 08:30:00 | 0.108 | 73.15 | 0.318 | 56.5 | 0.349 | 77.69 | 0.649 | 82.4 | -4.027 | 981.511 | 92.5971 | -0.34731
2020-02-06 08:45:00 | 0.112 | 67.73 | 0.023 | 56.49 | 0.366 | 77.69 | 0.669 | 95.6 | -4.079 | 981.719 | 93.5542 | -0.33623
2020-02-06 09:00:00 | 0.69 | 96.6 | 1.168 | 117.4 | 1.654 | 88.9 | 1.993 | 113 | -3.822 | 982.013 | 92.8662 | 0.218
2020-02-06 09:15:00 | 2.129 | 120 | 2.265 | 132.6 | 1.889 | 119.3 | 2.039 | 130.8 | -3.752 | 981.991 | 90.462 | 0.16257
2020-02-06 09:30:00 | 1.4 | 101.4 | 2.16 | 111.6 | 1.983 | 100.5 | 1.875 | 109.2 | -3.61 | 981.991 | 90.1197 | 0.014779
2020-02-06 09:45:00 | 2.166 | 97.7 | 3.308 | 114.4 | 2.942 | 108.9 | 2.972 | 106.8 | -3.279 | 982.14 | 87.453 | 0.077592
2020-02-06 10:00:00 | 1.391 | 96.2 | 2.06 | 110.8 | 1.94 | 108.2 | 1.991 | 112 | -3.324 | 982.437 | 87.7265 | -0.040643
2020-02-06 10:15:00 | 1.938 | 86.5 | 2.479 | 102.3 | 1.716 | 87.3 | 1.826 | 98.1 | -3.127 | 982.734 | 87.624 | -0.096066
2020-02-06 10:30:00 | 1.647 | 137.9 | 1.939 | 157.2 | 1.756 | 144.4 | 1.802 | 142.6 | -3.005 | 982.586 | 87.2479 | -0.13301
2020-02-06 10:45:00 | 2.414 | 147.4 | 2.387 | 166.1 | 1.748 | 157.3 | 1.809 | 141.7 | -2.81 | 982.586 | 86.9031 | -0.081287
2020-02-06 11:00:00 | 2.145 | 145.4 | 2.768 | 162.9 | 2.156 | 153.4 | 2.207 | 152.1 | -2.442 | 982.586 | 85.8664 | -0.18105
2020-02-06 11:15:00 | 2.605 | 146 | 2.51 | 157 | 2.243 | 152.1 | 2.233 | 150.9 | -2.686 | 982.586 | 85.7973 | -0.20691
2020-02-06 11:30:00 | 2.689 | 148.9 | 2.564 | 169.7 | 1.716 | 160.9 | 1.762 | 148 | -2.535 | 982.586 | 85.7973 | -0.16996
2020-02-06 11:45:00 | 2.822 | 141.4 | 2.901 | 161.5 | 2.548 | 160.8 | 2.539 | 149.1 | -2.417 | 982.288 | 86.0024 | -0.12562
2020-02-06 12:00:00 | 2.663 | 145.9 | 2.533 | 166.3 | 2.032 | 156.6 | 1.932 | 141.9 | -2.498 | 981.991 | 86.481 | -0.19583
2020-02-06 12:15:00 | 2.988 | 142.7 | 3.065 | 161.1 | 2.716 | 144.1 | 2.686 | 146 | -2.487 | 981.694 | 85.9341 | 0.23278
2020-02-06 12:30:00 | 3.357 | 147.1 | 3.51 | 167.5 | 2.991 | 158.3 | 2.921 | 153.3 | -2.333 | 981.396 | 86.481 | 0.46555
2020-02-06 12:45:00 | 2.875 | 140.8 | 2.717 | 160.9 | 2.444 | 154.1 | 2.449 | 138.3 | -2.323 | 981.099 | 86.5493 | 0.19213
2020-02-06 13:00:00 | 2.5 | 145.1 | 2.592 | 159.9 | 2.23 | 149.6 | 2.157 | 145.7 | -2.161 | 980.802 | 86.7544 | -0.070202
2020-02-06 13:15:00 | 2.106 | 142.3 | 2.024 | 157.6 | 1.252 | 158.7 | 1.266 | 146.9 | -2.239 | 980.802 | 86.8228 | -0.23278
2020-02-06 13:30:00 | 1.251 | 92.3 | 1.641 | 108.9 | 2.248 | 107.3 | 2.304 | 99.2 | -2.102 | 980.355 | 87.4381 | -0.29559
2020-02-06 13:45:00 | 0.676 | 106.5 | 1.235 | 113.2 | 1.458 | 118.4 | 1.407 | 99 | -2.109 | 980.207 | 87.8483 | -0.31406
2020-02-06 14:00:00 | 1.065 | 97.5 | 1.503 | 107.2 | 1.868 | 102.2 | 1.938 | 99.6 | -2.1 | 979.909 | 85.8315 | -0.33993
2020-02-06 14:15:00 | 1.377 | 86 | 1.886 | 95.4 | 2.002 | 81.6 | 2.08 | 92.4 | -1.781 | 980.058 | 83.4729 | -0.30667
2020-02-06 14:30:00 | 1.254 | 101.5 | 1.675 | 142.6 | 1.617 | 135.2 | 1.74 | 110.7 | -1.84 | 980.058 | 83.3704 | -0.29559
2020-02-06 14:45:00 | 2.138 | 95.9 | 2.643 | 116.5 | 2.428 | 109 | 2.488 | 102 | -1.745 | 980.058 | 83.1995 | -0.29559
2020-02-06 15:00:00 | 1.813 | 99.2 | 2.157 | 118.8 | 2.881 | 127.4 | 2.936 | 103.2 | -1.438 | 980.207 | 81.3195 | -0.31776
2020-02-06 15:15:00 | 3.376 | 107.6 | 3.3 | 126.2 | 2.998 | 120.4 | 3.142 | 114.6 | -1.506 | 979.909 | 82.2766 | -0.2845
2020-02-06 15:30:00 | 2.178 | 144.7 | 2.27 | 148.1 | 1.673 | 150.8 | 1.516 | 143.7 | -1.481 | 979.909 | 82.2424 | -0.31776
2020-02-06 15:45:00 | 2.521 | 134.5 | 2.324 | 154.2 | 1.988 | 142.8 | 2.027 | 137.5 | -1.509 | 979.761 | 82.7209 | -0.31406
2020-02-06 16:00:00 | 2.546 | 139.4 | 2.797 | 160.9 | 2.67 | 153.9 | 2.592 | 144.2 | -1.395 | 979.909 | 82.7893 | -0.34731
2020-02-06 16:15:00 | 2.078 | 136.8 | 2.479 | 164.3 | 2.071 | 164.6 | 1.991 | 144.5 | -1.296 | 979.761 | 82.4475 | 0.5727
2020-02-06 16:30:00 | 3.797 | 131.8 | 4.026 | 152 | 3.563 | 147.1 | 3.481 | 130.9 | -1.453 | 979.612 | 83.4729 | 1.8326
2020-02-06 16:45:00 | 2.326 | 132.6 | 2.436 | 148.3 | 2.294 | 133.3 | 2.299 | 141.7 | -1.535 | 979.612 | 83.6097 | 1.6775
2020-02-06 17:00:00 | 2.257 | 128.7 | 2.61 | 144.4 | 2.401 | 135.4 | 2.376 | 132.2 | -1.383 | 979.612 | 83.6097 | 0.69463
2020-02-06 17:15:00 | 1.767 | 139.2 | 2.336 | 157.8 | 2.172 | 154 | 2.167 | 145.1 | -1.443 | 979.612 | 84.5668 | 0.036949
2020-02-06 17:30:00 | 1.864 | 122.3 | 1.94 | 156.7 | 1.318 | 136.1 | 1.101 | 122.9 | -1.471 | 979.463 | 84.0199 | -0.23278
2020-02-06 17:45:00 | 0.652 | 135.8 | 1.301 | 156.6 | 0.538 | 145.2 | 0.55 | 139.9 | -1.596 | 979.315 | 85.2504 | -0.20691
2020-02-06 18:00:00 | 1.36 | 134 | 1.7 | 156.9 | 1.404 | 154.4 | 1.461 | 146.4 | -1.71 | 979.017 | 85.7394 | -0.059118
2020-02-06 18:15:00 | 1.802 | 145.9 | 2.193 | 161 | 2.197 | 145.7 | 2.164 | 153.3 | -1.71 | 979.017 | 86.0851 | -0.18844
2020-02-06 18:30:00 | 1.11 | 144.4 | 1.532 | 158.3 | 1.307 | 150.9 | 1.356 | 142.6 | -1.776 | 979.315 | 86.6325 | -0.27342
2020-02-06 18:45:00 | 1.447 | 153.9 | 1.871 | 179.4 | 1.622 | 141.9 | 1.65 | 154.7 | -1.782 | 979.315 | 87.2478 | -0.23647
2020-02-06 19:00:00 | 2.048 | 139.2 | 2.479 | 161 | 2.645 | 138.2 | 2.684 | 141.4 | -1.783 | 979.612 | 87.2478 | 0.073897
2020-02-06 19:15:00 | 2.852 | 135.4 | 3.037 | 149.5 | 2.924 | 132.9 | 2.887 | 139.9 | -1.659 | 979.612 | 86.906 | 0.58009
2020-02-06 19:30:00 | 3.23 | 136.5 | 3.328 | 153.4 | 3.489 | 143.8 | 3.496 | 143.1 | -1.639 | 979.463 | 86.1538 | 0.95327
2020-02-06 19:45:00 | 4.195 | 134.2 | 4.259 | 150.2 | 4.252 | 136.6 | 4.281 | 136.5 | -1.621 | 979.463 | 86.6325 | 3.6246
2020-02-06 20:00:00 | 4.979 | 139.8 | 5.289 | 155.7 | 5.539 | 143 | 5.513 | 141.7 | -1.616 | 979.612 | 86.4957 | 5.3243
2020-02-06 20:15:00 | 3.261 | 141.3 | 3.666 | 159.9 | 3.993 | 151.4 | 3.909 | 145.2 | -1.636 | 979.612 | 87.1795 | 4.3599
2020-02-06 20:30:00 | 4.068 | 139.9 | 4.139 | 155.7 | 4.15 | 146 | 4.163 | 144.3 | -1.648 | 979.612 | 87.2478 | 5.0804
2020-02-06 20:45:00 | 3.983 | 140.9 | 4.036 | 158.2 | 4.087 | 143.4 | 4.151 | 145.6 | -1.723 | 979.612 | 87.453 | 6.1593
2020-02-06 21:00:00 | 3.95 | 138.6 | 4.085 | 157.4 | 4.252 | 146.6 | 4.275 | 143 | -1.759 | 979.612 | 87.8632 | 4.7701
2020-02-06 21:15:00 | 4.823 | 136.3 | 5.207 | 151.9 | 5.402 | 136.3 | 5.35 | 138.9 | -1.696 | 979.612 | 86.7692 | 4.4597
2020-02-06 21:30:00 | 3.899 | 139.6 | 4.249 | 157 | 4.433 | 145.6 | 4.461 | 144.2 | -1.752 | 979.612 | 86.8376 | 4.9141
2020-02-06 21:45:00 | 3.728 | 139.4 | 3.737 | 158.8 | 4.087 | 148.7 | 4.135 | 144.6 | -1.768 | 979.612 | 86.7692 | 4.5557
2020-02-06 22:00:00 | 5.102 | 148.1 | 5.269 | 164.5 | 4.951 | 153.1 | 4.94 | 152 | -1.635 | 979.612 | 86.4615 | 4.7405
2020-02-06 22:15:00 | 5.048 | 144.5 | 5.427 | 161.3 | 5.216 | 149.4 | 5.248 | 148.4 | -1.597 | 979.761 | 86.2222 | 4.4708
2020-02-06 22:30:00 | 4.537 | 148.8 | 4.374 | 164.9 | 4.351 | 142.1 | 4.446 | 148.9 | -1.576 | 979.909 | 86.4957 | 4.9511
2020-02-06 22:45:00 | 4.775 | 142.8 | 5.274 | 160 | 5.318 | 147.3 | 5.261 | 146.7 | -1.57 | 979.909 | 85.9487 | 4.5742
2020-02-06 23:00:00 | 4.532 | 144 | 4.97 | 160.7 | 5.313 | 150.8 | 5.309 | 149 | -1.55 | 980.207 | 85.6752 | 3.6246
2020-02-06 23:15:00 | 4.407 | 147.4 | 4.757 | 164.7 | 4.962 | 150.4 | 4.938 | 151.4 | -1.543 | 979.909 | 86.0855 | 2.8598
2020-02-06 23:30:00 | 3.899 | 149.4 | 4.277 | 163.9 | 4.669 | 161.6 | 4.711 | 153.7 | -1.563 | 979.909 | 86.2906 | 2.6492
2020-02-06 23:45:00 | 3.955 | 155.7 | 4.162 | 175.7 | 4.311 | 161.1 | 4.329 | 159.7 | -1.571 | 979.909 | 86.6994 | 3.1185