## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-07 00:00:00 | 4.4 | 155.3 | 4.658 | 174 | 5.249 | 169.5 | 5.271 | 158.9 | -1.56 | 979.761 | 86.6666 | 2.6381
2020-02-07 00:15:00 | 4.32 | 152.9 | 4.63 | 166.5 | 3.83 | 151.7 | 3.629 | 168.4 | -1.633 | 979.909 | 87.453 | 2.7563
2020-02-07 00:30:00 | 3.695 | 160.2 | 3.965 | 172.5 | 3.817 | 160.3 | 3.814 | 166.6 | -1.639 | 979.909 | 87.5897 | 2.0506
2020-02-07 00:45:00 | 4.006 | 155.5 | 3.875 | 169.1 | 3.812 | 150.9 | 3.827 | 159.7 | -1.64 | 979.909 | 87.453 | 1.308
2020-02-07 01:00:00 | 3.948 | 152.4 | 4.379 | 165.4 | 4.054 | 154.8 | 3.955 | 159.6 | -1.709 | 979.612 | 87.7949 | 1.1454
2020-02-07 01:15:00 | 4.249 | 148.8 | 4.54 | 163.7 | 4.57 | 151.2 | 4.502 | 153.7 | -1.7 | 979.612 | 87.9316 | 1.9028
2020-02-07 01:30:00 | 4.257 | 149.5 | 4.251 | 167.2 | 4.575 | 156.9 | 4.589 | 153.4 | -1.748 | 979.612 | 88.6496 | 2.228
2020-02-07 01:45:00 | 3.692 | 148.9 | 3.587 | 171.4 | 3.96 | 162.2 | 4.011 | 150.1 | -1.711 | 979.612 | 88.8889 | 3.7022
2020-02-07 02:00:00 | 3.84 | 150.7 | 3.694 | 169.2 | 4.407 | 168.4 | 4.487 | 154.6 | -1.696 | 979.612 | 88.6837 | 4.2306
2020-02-07 02:15:00 | 4.558 | 146.2 | 4.732 | 163.5 | 5.297 | 154.1 | 5.322 | 153.9 | -1.705 | 979.315 | 89.094 | 5.9709
2020-02-07 02:30:00 | 4.2 | 147.2 | 4.423 | 167 | 4.934 | 158.3 | 4.955 | 151.1 | -1.699 | 979.315 | 89.2991 | 4.6518
2020-02-07 02:45:00 | 4.854 | 155.1 | 4.959 | 170.8 | 4.758 | 163.2 | 4.747 | 160.2 | -1.64 | 979.166 | 89.5043 | 2.8968
2020-02-07 03:00:00 | 4.287 | 156.6 | 4.446 | 170 | 4.491 | 157.8 | 4.489 | 162.3 | -1.614 | 979.017 | 89.9829 | 2.7748
2020-02-07 03:15:00 | 4.259 | 157.6 | 4.451 | 172.4 | 4.311 | 159.1 | 4.268 | 162.2 | -1.641 | 979.017 | 90.3248 | 3.1369
2020-02-07 03:30:00 | 3.894 | 150.9 | 4.152 | 167.6 | 4.555 | 163 | 4.589 | 154.7 | -1.637 | 978.72 | 90.7692 | 3.8611
2020-02-07 03:45:00 | 4.665 | 157.2 | 4.837 | 174.2 | 5.267 | 164.1 | 5.325 | 159.7 | -1.703 | 978.422 | 90.8718 | 4.589
2020-02-07 04:00:00 | 4.798 | 158 | 5.121 | 171.8 | 5.216 | 157.7 | 5.266 | 164.6 | -1.645 | 978.422 | 91.1453 | 4.0643
2020-02-07 04:15:00 | 4.354 | 158.5 | 4.479 | 170.8 | 4.311 | 154.8 | 4.25 | 163.4 | -1.686 | 978.422 | 91.4872 | 4.2675
2020-02-07 04:30:00 | 4.052 | 161 | 4.177 | 172 | 3.906 | 158.1 | 3.893 | 163.9 | -1.731 | 978.72 | 91.6923 | 5.291
2020-02-07 04:45:00 | 4.448 | 154.2 | 4.653 | 167.9 | 4.951 | 161.3 | 4.958 | 157.9 | -1.776 | 978.72 | 92.1025 | 5.6531
2020-02-07 05:00:00 | 4.875 | 153.9 | 5.018 | 168.7 | 4.641 | 155 | 4.533 | 161 | -1.77 | 978.72 | 92.4102 | 4.6333
2020-02-07 05:15:00 | 4.624 | 158.8 | 4.694 | 170.7 | 4.303 | 158.3 | 4.227 | 166.9 | -1.784 | 979.017 | 92.9231 | 6.4401
2020-02-07 05:30:00 | 4.701 | 162.2 | 4.55 | 173.2 | 4.171 | 155.2 | 4.227 | 167.9 | -1.791 | 978.72 | 93.1282 | 5.4351
2020-02-07 05:45:00 | 4.875 | 158.2 | 4.921 | 173.9 | 4.654 | 160.7 | 4.736 | 163.9 | -1.803 | 978.422 | 93.2649 | 5.9191
2020-02-07 06:00:00 | 4.895 | 155.5 | 5.085 | 168.8 | 4.364 | 155.7 | 4.357 | 164.8 | -1.899 | 978.422 | 93.7436 | 4.8144
2020-02-07 06:15:00 | 4.918 | 154.3 | 5.177 | 171.8 | 5.236 | 158.4 | 5.23 | 158.6 | -1.845 | 978.422 | 93.8803 | 5.4314
2020-02-07 06:30:00 | 5.079 | 156.9 | 5.197 | 173.3 | 5.112 | 164.4 | 5.174 | 160.2 | -1.84 | 978.422 | 94.0513 | 6.7357
2020-02-07 06:45:00 | 5.761 | 151.5 | 6.159 | 163.3 | 5.882 | 150.5 | 5.849 | 158.3 | -1.832 | 978.422 | 93.8803 | 7.3491
2020-02-07 07:00:00 | 5.559 | 150.1 | 5.788 | 163.4 | 5.43 | 149.3 | 5.34 | 159 | -1.822 | 978.422 | 94.0513 | 6.0337
2020-02-07 07:15:00 | 5.378 | 158.3 | 5.315 | 170.7 | 4.756 | 159.4 | 4.719 | 165.8 | -1.784 | 978.72 | 94.3248 | 8.0474
2020-02-07 07:30:00 | 5.712 | 156.6 | 5.683 | 170.8 | 5.13 | 155.2 | 5.185 | 161.5 | -1.776 | 979.017 | 94.735 | 10.1756
2020-02-07 07:45:00 | 5.753 | 155.7 | 5.663 | 172.9 | 5.358 | 163 | 5.314 | 159.1 | -1.775 | 979.017 | 94.7692 | 14.2141
2020-02-07 08:00:00 | 5.881 | 149.8 | 6.312 | 163.8 | 5.936 | 153.9 | 5.87 | 156.9 | -1.744 | 979.017 | 94.7008 | 16.1391
2020-02-07 08:15:00 | 7.198 | 158 | 7.161 | 172.1 | 7.017 | 157.5 | 7.026 | 161.5 | -1.709 | 979.315 | 95.5214 | 15.1008
2020-02-07 08:30:00 | 8.06 | 159.7 | 7.976 | 176.1 | 7.625 | 164.6 | 7.627 | 161.6 | -1.736 | 979.612 | 96.5112 | 19.978
2020-02-07 08:45:00 | 8.04 | 156.9 | 7.598 | 174.7 | 7.083 | 169.5 | 7.1 | 159.8 | -1.702 | 979.315 | 96.3419 | 23.5436
2020-02-07 09:00:00 | 8.15 | 156.4 | 8.05 | 172.7 | 7.398 | 160.4 | 7.387 | 161.9 | -1.651 | 979.612 | 96.5071 | 26.9465
2020-02-07 09:15:00 | 8.34 | 158.9 | 8.1 | 174.7 | 7.281 | 161.9 | 7.273 | 161.8 | -1.642 | 979.612 | 96.5348 | 26.9576
2020-02-07 09:30:00 | 7.535 | 155.8 | 7.434 | 172.9 | 7.083 | 163.9 | 7.102 | 157.9 | -1.638 | 979.612 | 96.3272 | 21.4966
2020-02-07 09:45:00 | 7.872 | 157.3 | 7.8 | 172.1 | 7.304 | 162.5 | 7.24 | 159.5 | -1.521 | 979.612 | 96.0862 | 23.2997
2020-02-07 10:00:00 | 8.02 | 150.5 | 7.941 | 166.4 | 7.266 | 155.1 | 7.306 | 157 | -1.493 | 979.909 | 95.8469 | 27.8628
2020-02-07 10:15:00 | 8.01 | 157.3 | 7.974 | 172.9 | 7.398 | 164.6 | 7.367 | 160.9 | -1.452 | 980.207 | 95.7785 | 25.5757
2020-02-07 10:30:00 | 8.27 | 155.7 | 8.31 | 170.4 | 7.548 | 157.4 | 7.512 | 159.5 | -1.511 | 980.207 | 95.8469 | 21.0643
2020-02-07 10:45:00 | 6.455 | 161.1 | 6.547 | 174.6 | 6.02 | 168.9 | 6.05 | 165.4 | -1.479 | 980.207 | 95.9153 | 19.446
2020-02-07 11:00:00 | 5.52 | 159.8 | 5.703 | 177.4 | 5.435 | 167.6 | 5.541 | 162.5 | -1.331 | 980.207 | 96.1204 | 14.602
2020-02-07 11:15:00 | 6.248 | 161.4 | 5.977 | 177.8 | 5.404 | 164.2 | 5.452 | 162.7 | -1.303 | 979.909 | 96.1204 | 14.3693
2020-02-07 11:30:00 | 7.035 | 158.4 | 6.557 | 173.6 | 5.816 | 161.1 | 5.842 | 162.7 | -1.238 | 979.612 | 96.3254 | 13.1721
2020-02-07 11:45:00 | 6.948 | 154.6 | 6.693 | 170.7 | 5.796 | 157.3 | 5.788 | 158.2 | -1.187 | 979.463 | 96.052 | 11.5057
2020-02-07 12:00:00 | 5.283 | 157.7 | 5.399 | 174.8 | 5.234 | 167.5 | 5.279 | 160 | -0.823 | 979.612 | 94.8214 | 9.614
2020-02-07 12:15:00 | 4.716 | 169.9 | 4.788 | 184.8 | 3.947 | 176.2 | 3.972 | 173.7 | -0.759 | 979.612 | 93.7275 | 9.6953
2020-02-07 12:30:00 | 5.446 | 153.8 | 5.415 | 167.4 | 4.636 | 156.8 | 4.617 | 159.7 | -0.721 | 979.612 | 94.7872 | 7.6594
2020-02-07 12:45:00 | 5.212 | 160.4 | 5.174 | 176.4 | 4.89 | 168.8 | 4.973 | 170.6 | -0.808 | 979.315 | 94.9581 | 7.5929
2020-02-07 13:00:00 | 5.909 | 151.8 | 5.519 | 166.9 | 5.107 | 153.5 | 5.08 | 157.2 | -0.715 | 979.166 | 95.0948 | 8.1397
2020-02-07 13:15:00 | 5.699 | 157.6 | 5.478 | 171.1 | 4.664 | 161.3 | 4.604 | 164.7 | -0.402 | 979.16 | 93.4883 | 8.8418
2020-02-07 13:30:00 | 5.115 | 147.7 | 5.207 | 167.2 | 4.723 | 156.7 | 4.561 | 152.3 | -0.394 | 978.965 | 93.3153 | 7.6077
2020-02-07 13:45:00 | 5.089 | 148.9 | 5.174 | 166.3 | 4.583 | 158.7 | 4.617 | 157.3 | -0.092 | 978.806 | 91.8773 | 9.6214
2020-02-07 14:00:00 | 4.961 | 158.6 | 4.883 | 168.4 | 4.173 | 154.5 | 4.252 | 166.3 | -0.136 | 978.667 | 92.0788 | 7.8442
2020-02-07 14:15:00 | 5.727 | 155.5 | 5.458 | 166.3 | 4.606 | 149.6 | 4.55 | 161.1 | -0.008 | 978.505 | 92.2872 | 6.6212
2020-02-07 14:30:00 | 4.936 | 156.5 | 4.77 | 175.3 | 4.178 | 164 | 4.1 | 162.8 | 0.245 | 978.577 | 90.3314 | 5.6309
2020-02-07 14:45:00 | 4.629 | 159.7 | 4.407 | 178.2 | 4.443 | 166.4 | 4.423 | 164.5 | 0.432 | 978.569 | 89.2659 | 5.073
2020-02-07 15:00:00 | 5.038 | 146.3 | 4.949 | 161.8 | 3.581 | 148.2 | 3.499 | 158.2 | 0.483 | 978.569 | 88.991 | 4.4634
2020-02-07 15:15:00 | 3.988 | 165.4 | 3.776 | 181.7 | 3.321 | 164.8 | 3.374 | 164.3 | 0.624 | 978.718 | 88.4385 | 5.025
2020-02-07 15:30:00 | 5.375 | 178.5 | 5.218 | 192.1 | 4.402 | 185.6 | 4.421 | 180.2 | 0.724 | 978.272 | 88.0967 | 7.6114
2020-02-07 15:45:00 | 5.727 | 184.2 | 5.305 | 199 | 4.705 | 185.4 | 4.744 | 185.8 | 0.741 | 978.272 | 88.5061 | 7.6557
2020-02-07 16:00:00 | 5.352 | 185.1 | 5.187 | 196.2 | 4.183 | 187.1 | 4.207 | 182.7 | 0.794 | 978.123 | 87.9644 | 9.4145
2020-02-07 16:15:00 | 5.865 | 172.5 | 5.491 | 190.7 | 4.855 | 184 | 4.797 | 171.3 | 0.844 | 978.272 | 88.1341 | 10.8592
2020-02-07 16:30:00 | 4.663 | 164.6 | 4.916 | 175.3 | 4.12 | 169.1 | 4.069 | 176 | 0.931 | 978.42 | 87.7235 | 10.4897
2020-02-07 16:45:00 | 5.51 | 166.7 | 5.379 | 176.1 | 4.483 | 165.4 | 4.494 | 171.9 | 0.986 | 978.123 | 88.3084 | 11.8272
2020-02-07 17:00:00 | 6.195 | 163.8 | 5.888 | 176.4 | 5.333 | 163.5 | 5.297 | 169.1 | 0.981 | 978.123 | 88.1745 | 14.3508
2020-02-07 17:15:00 | 5.985 | 163.1 | 5.801 | 179.5 | 5.249 | 173.8 | 5.274 | 169.1 | 0.877 | 978.143 | 89.2351 | 15.6551
2020-02-07 17:30:00 | 6.498 | 171.9 | 6.371 | 184.5 | 5.793 | 171.9 | 5.865 | 174.6 | 0.862 | 978.171 | 88.8648 | 16.4642
2020-02-07 17:45:00 | 7.068 | 165.1 | 6.841 | 174.4 | 5.727 | 158.7 | 5.796 | 173.6 | 0.813 | 978.259 | 88.8009 | 12.8322
2020-02-07 18:00:00 | 4.675 | 166.7 | 4.681 | 183.2 | 4.41 | 172.9 | 4.487 | 170.8 | 0.834 | 978.667 | 89.2131 | 7.9328
2020-02-07 18:15:00 | 5.615 | 164.2 | 5.578 | 179 | 5.277 | 165.2 | 5.276 | 167.7 | 0.882 | 978.648 | 89.1813 | 7.8515
2020-02-07 18:30:00 | 4.946 | 172.7 | 4.885 | 186.2 | 4.595 | 169.4 | 4.627 | 175.8 | 0.948 | 978.959 | 88.7364 | 4.9252
2020-02-07 18:45:00 | 4.903 | 179.6 | 4.896 | 188.1 | 4.73 | 173.8 | 4.81 | 179.3 | 1.082 | 978.993 | 87.6086 | 4.4412
2020-02-07 19:00:00 | 5.163 | 179.1 | 4.926 | 191.4 | 5.005 | 181 | 5.151 | 182.1 | 1.16 | 979.265 | 87.7783 | 2.5901
2020-02-07 19:15:00 | 4.752 | 176.7 | 4.893 | 187.5 | 4.781 | 170.7 | 4.892 | 181.6 | 1.209 | 979.553 | 87.846 | 0.83873
2020-02-07 19:30:00 | 2.671 | 180.6 | 2.646 | 186.9 | 2.477 | 165.2 | 2.577 | 188.8 | 1.125 | 979.506 | 88.0481 | -0.19952
2020-02-07 19:45:00 | 3.108 | 174.6 | 3.272 | 189.5 | 3.115 | 176.5 | 3.142 | 177.7 | 1.173 | 979.82 | 88.8013 | 0.23647
2020-02-07 20:00:00 | 3.593 | 156.4 | 3.888 | 172.6 | 3.28 | 155.7 | 3.221 | 165.3 | 1.016 | 979.901 | 89.6204 | 0.018474
2020-02-07 20:15:00 | 3.381 | 161.6 | 3.438 | 175.3 | 3.204 | 154.2 | 3.272 | 167.1 | 1.016 | 980.246 | 89.7891 | -0.10715
2020-02-07 20:30:00 | 3.703 | 160.7 | 3.86 | 176.8 | 3.588 | 160.3 | 3.583 | 168.6 | 1.018 | 980.185 | 89.757 | 0.7168
2020-02-07 20:45:00 | 3.968 | 161.8 | 4.031 | 175 | 3.563 | 160.5 | 3.567 | 168.1 | 1.11 | 980.341 | 89.3125 | 1.4779
2020-02-07 21:00:00 | 3.966 | 152.4 | 4.185 | 167.8 | 3.98 | 150.2 | 3.988 | 160.5 | 1.046 | 980.345 | 89.7548 | 4.5927
2020-02-07 21:15:00 | 3.371 | 148.4 | 3.742 | 165.3 | 4.298 | 147.7 | 4.321 | 156.3 | 1.017 | 980.33 | 89.893 | 4.8624
2020-02-07 21:30:00 | 3.365 | 156.5 | 4.003 | 172.8 | 4.066 | 160.7 | 4.095 | 163.7 | 1.158 | 980.401 | 89.0713 | 4.2269
2020-02-07 21:45:00 | 4.175 | 159.1 | 4.65 | 173.8 | 4.69 | 160.6 | 4.673 | 164.8 | 1.237 | 980.629 | 88.5962 | 3.2478
2020-02-07 22:00:00 | 4.101 | 161.1 | 4.093 | 177 | 3.937 | 160.2 | 4.011 | 168 | 1.232 | 980.585 | 88.388 | 4.201
2020-02-07 22:15:00 | 3.81 | 159.3 | 4.09 | 175.7 | 3.845 | 151 | 3.911 | 164.5 | 1.22 | 980.642 | 88.5228 | 4.6149
2020-02-07 22:30:00 | 2.602 | 151.2 | 3.101 | 159.8 | 3.451 | 151.8 | 3.517 | 158.4 | 1.222 | 980.599 | 88.5908 | 2.8118
2020-02-07 22:45:00 | 3.782 | 159.7 | 3.886 | 174 | 3.896 | 159.2 | 3.914 | 164.6 | 1.225 | 980.623 | 88.0415 | 3.6838
2020-02-07 23:00:00 | 3.626 | 156.9 | 3.855 | 173.7 | 3.932 | 161.3 | 3.934 | 164.3 | 1.289 | 980.561 | 88.3158 | 4.2047
2020-02-07 23:15:00 | 2.495 | 155.3 | 3.108 | 170.9 | 3.342 | 152 | 3.361 | 160.2 | 1.387 | 980.446 | 87.7666 | 2.3536
2020-02-07 23:30:00 | 1.749 | 153.5 | 2.188 | 173.5 | 2.161 | 146.1 | 2.182 | 156.4 | 1.483 | 980.536 | 87.153 | 1.4558
2020-02-07 23:45:00 | 2.352 | 182.9 | 2.968 | 180.1 | 3.001 | 164.1 | 2.992 | 194.1 | 1.623 | 980.555 | 86.8109 | 1.9767