## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-08 00:00:00 | 2.937 | 174.2 | 3.17 | 191.3 | 3.258 | 169.8 | 3.216 | 185.6 | 1.683 | 980.686 | 87.3575 | 1.8696
2020-02-08 00:15:00 | 2.37 | 182.6 | 2.758 | 182.3 | 2.451 | 159.2 | 2.511 | 195.6 | 1.622 | 980.799 | 87.4223 | 2.2612
2020-02-08 00:30:00 | 2.888 | 168 | 3.137 | 172.1 | 2.792 | 162.3 | 2.735 | 173.2 | 1.549 | 981.096 | 87.7629 | 0.89785
2020-02-08 00:45:00 | 3.003 | 182.7 | 3.269 | 183.6 | 2.846 | 174 | 2.837 | 192.1 | 1.618 | 980.947 | 87.9684 | 1.1269
2020-02-08 01:00:00 | 2.824 | 183.7 | 3.032 | 193 | 2.843 | 173 | 2.844 | 189.9 | 1.626 | 980.798 | 88.3061 | 1.3782
2020-02-08 01:15:00 | 3.304 | 177.6 | 3.203 | 186.7 | 2.759 | 168 | 2.786 | 182.4 | 1.6 | 980.798 | 89.1967 | 1.9878
2020-02-08 01:30:00 | 2.998 | 166.5 | 3.08 | 177.6 | 2.693 | 169.8 | 2.607 | 178.6 | 1.457 | 980.798 | 88.9859 | 1.5297
2020-02-08 01:45:00 | 3.1 | 173.7 | 3.2 | 187.8 | 2.741 | 172.4 | 2.64 | 183.5 | 1.448 | 980.798 | 89.0581 | 0.91632
2020-02-08 02:00:00 | 2.855 | 178.4 | 3.124 | 189.2 | 2.838 | 174.8 | 2.811 | 184.5 | 1.414 | 980.947 | 88.9206 | -0.34362
2020-02-08 02:15:00 | 2.497 | 175.1 | 2.848 | 193.2 | 2.411 | 167.7 | 2.409 | 179.2 | 1.57 | 981.096 | 88.3081 | -0.28081
2020-02-08 02:30:00 | 3.09 | 183.3 | 3.029 | 191.8 | 2.904 | 167.8 | 2.946 | 189.4 | 1.569 | 981.096 | 89.2622 | -0.28081
2020-02-08 02:45:00 | 2.569 | 189.5 | 2.873 | 193.7 | 2.98 | 185.9 | 3.058 | 193.9 | 1.649 | 981.096 | 90.2161 | -0.26972
2020-02-08 03:00:00 | 2.602 | 196.4 | 2.487 | 203.8 | 2.734 | 171.1 | 2.908 | 204.4 | 1.577 | 981.096 | 90.4243 | -0.28081
2020-02-08 03:15:00 | 2.617 | 188.7 | 2.635 | 191.7 | 2.278 | 171.3 | 2.35 | 192.8 | 1.496 | 980.947 | 90.4183 | -0.26972
2020-02-08 03:30:00 | 2.426 | 194.6 | 2.538 | 180.7 | 2.871 | 176.2 | 3 | 200 | 1.619 | 980.798 | 90.3206 | -0.26972
2020-02-08 03:45:00 | 2.38 | 208.7 | 2.904 | 210.2 | 3.631 | 183.3 | 3.786 | 218 | 1.657 | 980.65 | 90.4576 | -0.26972
2020-02-08 04:00:00 | 2.114 | 203 | 2.756 | 214.6 | 3.138 | 189.9 | 3.303 | 216.1 | 1.761 | 980.501 | 90.2845 | -0.26972
2020-02-08 04:15:00 | 2.674 | 208.1 | 3.004 | 214.7 | 3.603 | 189.7 | 3.738 | 222.8 | 1.761 | 980.501 | 90.6227 | -0.28081
2020-02-08 04:30:00 | 3.034 | 203.4 | 3.318 | 214.1 | 3.357 | 196.8 | 3.506 | 220.1 | 1.756 | 980.501 | 90.7945 | -0.28081
2020-02-08 04:45:00 | 2.75 | 190.4 | 2.922 | 210.7 | 3.207 | 181.9 | 3.315 | 201.2 | 1.546 | 980.501 | 91.5448 | -0.28081
2020-02-08 05:00:00 | 2.684 | 189.9 | 2.904 | 197.2 | 2.996 | 167.3 | 3.078 | 197.3 | 1.43 | 980.501 | 91.6186 | -0.28081
2020-02-08 05:15:00 | 1.546 | 192.3 | 2.116 | 201 | 2.655 | 170.6 | 2.77 | 198.3 | 1.537 | 980.65 | 90.6331 | -0.28081
2020-02-08 05:30:00 | 2.26 | 191.7 | 2.487 | 200 | 2.754 | 165.5 | 2.867 | 204.2 | 1.432 | 980.501 | 90.7707 | -0.28081
2020-02-08 05:45:00 | 2.462 | 203 | 2.996 | 200.7 | 2.861 | 177.7 | 2.918 | 214.3 | 1.478 | 980.504 | 89.577 | 0.15518
2020-02-08 06:00:00 | 3.547 | 206.4 | 4.198 | 209.5 | 4.122 | 197 | 4.24 | 210 | 1.559 | 980.533 | 89.1357 | 1.3597
2020-02-08 06:15:00 | 2.97 | 202.7 | 3.546 | 212.1 | 4.079 | 198.3 | 4.255 | 207.9 | 1.521 | 980.583 | 91.4642 | 1.1121
2020-02-08 06:30:00 | 2.753 | 208.9 | 3.494 | 212.7 | 3.817 | 195.9 | 3.944 | 213.9 | 1.494 | 980.748 | 92.6272 | 0.69094
2020-02-08 06:45:00 | 2.122 | 208.1 | 3.078 | 212.5 | 3.448 | 192.1 | 3.578 | 214.7 | 1.466 | 980.615 | 93.1121 | 0.040643
2020-02-08 07:00:00 | 2.061 | 229.6 | 2.85 | 213.1 | 3.062 | 208.6 | 3.142 | 244.8 | 1.503 | 980.796 | 93.078 | -0.11084
2020-02-08 07:15:00 | 2.612 | 237.5 | 3.405 | 213.4 | 3.448 | 209.8 | 3.527 | 244.5 | 1.505 | 980.771 | 92.7705 | -0.0036948
2020-02-08 07:30:00 | 2.594 | 241.4 | 3.515 | 215.1 | 3.957 | 216.8 | 3.886 | 246.5 | 1.59 | 981.098 | 91.369 | -0.022169
2020-02-08 07:45:00 | 3.286 | 234.5 | 3.886 | 216.3 | 4.318 | 214.7 | 4.377 | 244.1 | 1.652 | 981.352 | 92.2919 | -0.088676
2020-02-08 08:00:00 | 2.391 | 226.1 | 2.891 | 216.6 | 3.52 | 201.8 | 3.649 | 236.3 | 1.558 | 981.71 | 92.8658 | 0.099761
2020-02-08 08:15:00 | 2.622 | 223.1 | 3.246 | 216.8 | 3.743 | 207.6 | 3.883 | 230.7 | 1.626 | 981.694 | 93.1639 | 0.1441
2020-02-08 08:30:00 | 2.186 | 210.3 | 2.531 | 217.2 | 3.169 | 184.8 | 3.326 | 224.6 | 1.739 | 982.285 | 92.1921 | 0.062812
2020-02-08 08:45:00 | 1.909 | 218 | 2.157 | 216.1 | 2.474 | 185.8 | 2.653 | 224.9 | 1.99 | 982.433 | 91.0303 | -0.13671
2020-02-08 09:00:00 | 2.479 | 211.1 | 2.045 | 206.2 | 2.003 | 175.3 | 2.073 | 217.4 | 2.273 | 982.879 | 90.3383 | -0.218
2020-02-08 09:15:00 | 3.358 | 203 | 3.091 | 207.4 | 2.362 | 180.6 | 2.35 | 214.5 | 2.169 | 983.172 | 90.3404 | -0.2845
2020-02-08 09:30:00 | 2.574 | 197.2 | 2.413 | 190.6 | 2.512 | 167 | 2.526 | 209.8 | 2.249 | 983.337 | 89.4282 | -0.28081
2020-02-08 09:45:00 | 3.12 | 203.3 | 2.513 | 200.4 | 2.123 | 176.7 | 2.035 | 211.6 | 2.606 | 983.47 | 87.1734 | -0.28081
2020-02-08 10:00:00 | 3.21 | 198.4 | 2.952 | 202.3 | 2.347 | 183.1 | 2.332 | 210.5 | 2.836 | 983.767 | 85.0555 | -0.26972
2020-02-08 10:15:00 | 2.649 | 180.6 | 2.628 | 194.5 | 2.596 | 176.9 | 2.595 | 195.7 | 3.306 | 984.213 | 82.9719 | -0.26972
2020-02-08 10:30:00 | 2.883 | 176.3 | 2.773 | 184.6 | 1.484 | 164.5 | 1.255 | 202.9 | 3.298 | 984.361 | 81.0795 | -0.28081
2020-02-08 10:45:00 | 1.943 | 274.8 | 1.932 | 274.4 | 1.389 | 238.9 | 1.174 | 282.4 | 3.961 | 984.361 | 79.017 | -0.26972
2020-02-08 11:00:00 | 2.076 | 273.7 | 2.264 | 291.3 | 2.482 | 285.1 | 2.437 | 273.3 | 3.221 | 984.064 | 78.5397 | -0.28081
2020-02-08 11:15:00 | 2.64 | 262.1 | 2.387 | 265.9 | 1.912 | 271.7 | 1.823 | 261.5 | 3.068 | 984.064 | 76.7153 | -0.28081
2020-02-08 11:30:00 | 1.392 | 246.5 | 1.399 | 261.3 | 1.165 | 271.7 | 1.113 | 243.3 | 3.765 | 983.916 | 73.3048 | -0.26972
2020-02-08 11:45:00 | 2.434 | 302.2 | 2.584 | 310.5 | 2.566 | 279.1 | 2.513 | 306.4 | 4.362 | 984.064 | 72.7137 | -0.28081
2020-02-08 12:00:00 | 1.367 | 272.3 | 1.421 | 277.5 | 1.37 | 290.8 | 1.249 | 267 | 4.648 | 983.792 | 70.0018 | -0.26972
2020-02-08 12:15:00 | 2.409 | 323 | 2.275 | 327.5 | 1.937 | 314.9 | 1.913 | 331.7 | 5.245 | 983.763 | 68.0801 | -0.25864
2020-02-08 12:30:00 | 2.638 | 301.5 | 2.829 | 314.1 | 2.65 | 319.6 | 2.694 | 302.4 | 5.034 | 983.068 | 68.8886 | -0.24016
2020-02-08 12:45:00 | 3.279 | 246.9 | 2.941 | 268.9 | 2.521 | 258.1 | 2.374 | 252.3 | 4.762 | 983.206 | 68.2058 | -0.25125
2020-02-08 13:00:00 | 2.059 | 228.4 | 2.486 | 238.1 | 2.006 | 232.8 | 2.037 | 240.8 | 5.073 | 983.027 | 67.2546 | -0.26972
2020-02-08 13:15:00 | 2.35 | 256 | 2.746 | 256.2 | 2.779 | 253.1 | 2.742 | 260.6 | 5.491 | 983.032 | 65.3382 | -0.26233
2020-02-08 13:30:00 | 2.606 | 224.5 | 2.602 | 231.6 | 2.182 | 198 | 2.12 | 234.7 | 5.603 | 983.088 | 63.0142 | -0.25125
2020-02-08 13:45:00 | 1.007 | 320.8 | 1.486 | 284.6 | 1.593 | 296.2 | 1.503 | 304 | 6.607 | 983.462 | 61.8877 | -0.26233
2020-02-08 14:00:00 | 2.76 | 299.2 | 3.188 | 301.2 | 2.693 | 286.4 | 2.643 | 306.4 | 5.98 | 983.165 | 62.3998 | -0.25125
2020-02-08 14:15:00 | 3.192 | 289.1 | 3.415 | 299.8 | 2.985 | 283.3 | 2.774 | 287.4 | 6.358 | 983.462 | 62.1267 | -0.25125
2020-02-08 14:30:00 | 2.014 | 258.6 | 1.852 | 275.3 | 1.775 | 248 | 1.63 | 267.2 | 6.321 | 983.462 | 60.693 | -0.25125
2020-02-08 14:45:00 | 2.854 | 279.9 | 2.722 | 291.6 | 2.08 | 269.7 | 1.948 | 277.8 | 6.112 | 983.165 | 58.8497 | -0.26233
2020-02-08 15:00:00 | 1.775 | 307.4 | 2.023 | 317.5 | 1.913 | 275.1 | 1.683 | 307.2 | 6.733 | 983.759 | 58.2694 | -0.26972
2020-02-08 15:15:00 | 1.32 | 295 | 1.465 | 300.2 | 1.713 | 303.7 | 1.679 | 292.8 | 6.656 | 983.61 | 58.2352 | -0.26233
2020-02-08 15:30:00 | 2.491 | 303.5 | 2.62 | 314.2 | 2.276 | 301 | 2.151 | 300.7 | 7.046 | 983.462 | 57.2794 | -0.26233
2020-02-08 15:45:00 | 2.458 | 299.6 | 2.766 | 318.2 | 2.428 | 304.8 | 2.312 | 301 | 6.927 | 983.313 | 58.0304 | -0.26233
2020-02-08 16:00:00 | 3.473 | 259.1 | 3.454 | 268 | 3.102 | 252 | 3.053 | 261 | 6.237 | 983.165 | 59.3276 | -0.26233
2020-02-08 16:15:00 | 3.008 | 290 | 3.535 | 302.2 | 3.326 | 276.6 | 3.275 | 291.9 | 6.606 | 983.21 | 59.3617 | -0.25125
2020-02-08 16:30:00 | 3.473 | 283.3 | 3.765 | 300.6 | 3.446 | 285.9 | 3.336 | 281.5 | 6.235 | 983.207 | 58.6532 | -0.28081
2020-02-08 16:45:00 | 3.452 | 312.2 | 3.676 | 323.7 | 2.93 | 305.3 | 2.918 | 314 | 5.996 | 982.855 | 62.4485 | -0.28081
2020-02-08 17:00:00 | 2.385 | 328.5 | 3.098 | 339.4 | 3.494 | 342.3 | 3.463 | 330.6 | 5.743 | 982.574 | 64.5039 | -0.218
2020-02-08 17:15:00 | 2.214 | 332.3 | 2.654 | 357.8 | 3.008 | 333.2 | 3.122 | 334.7 | 5.586 | 982.45 | 65.426 | -0.27711
2020-02-08 17:30:00 | 1.449 | 353.9 | 1.563 | 358.2 | 1.854 | 356.2 | 1.769 | 342.6 | 5.38 | 982.428 | 66.5246 | -0.26972
2020-02-08 17:45:00 | 2.288 | 24.92 | 2.766 | 7.424 | 2.327 | 9.45 | 2.215 | 7.361 | 5.2 | 981.984 | 67.7026 | -0.25125
2020-02-08 18:00:00 | 2.518 | 3.237 | 3.213 | 29.81 | 2.548 | 7.275 | 2.088 | 11.87 | 5.023 | 982.281 | 67.6687 | -0.2882
2020-02-08 18:15:00 | 2.513 | 26.45 | 2.955 | 42.6 | 2.731 | 28.54 | 2.689 | 34.98 | 5.021 | 981.984 | 67.7711 | -0.26972
2020-02-08 18:30:00 | 2.446 | 45.62 | 2.244 | 44.01 | 0.499 | 45.3 | 0.234 | 61.13 | 4.989 | 981.984 | 68.386 | -0.26972
2020-02-08 18:45:00 | 1.639 | 26.36 | 1.44 | 41.65 | 0.663 | 25.74 | 0.51 | 28.3 | 5.023 | 981.829 | 67.8429 | -0.25125
2020-02-08 19:00:00 | 0 | 9.47 | 0.323 | 41.89 | 0.106 | 25.86 | 0.052 | 253.9 | 5.087 | 981.674 | 67.3799 | -0.25125
2020-02-08 19:15:00 | 1.854 | 172.1 | 2.224 | 43.48 | 1.676 | 68.92 | 1.573 | 198.6 | 5.096 | 981.69 | 66.5596 | -0.26972
2020-02-08 19:30:00 | 2.508 | 168.9 | 2.958 | 46.1 | 2.945 | 128.4 | 2.831 | 180 | 4.88 | 981.095 | 68.1302 | -0.28081
2020-02-08 19:45:00 | 2.957 | 155.5 | 3.61 | 46.72 | 3.787 | 137.5 | 3.682 | 170.5 | 4.72 | 981.095 | 68.5742 | -0.22539
2020-02-08 20:00:00 | 3.005 | 160.6 | 3.558 | 46.95 | 3.512 | 145.6 | 3.43 | 171.5 | 4.783 | 981.392 | 68.133 | -0.28081
2020-02-08 20:15:00 | 2.73 | 157.5 | 3.162 | 46.9 | 3.024 | 145.7 | 2.885 | 171.2 | 4.7 | 981.392 | 68.3016 | -0.26972
2020-02-08 20:30:00 | 1.808 | 167 | 2.525 | 46.87 | 2.69 | 148.9 | 2.61 | 171.5 | 4.432 | 981.69 | 68.9832 | -0.16996
2020-02-08 20:45:00 | 2.359 | 171.9 | 3.088 | 47.49 | 4.054 | 179.7 | 4.186 | 176.4 | 4.252 | 981.373 | 71.0001 | 0.92741
2020-02-08 21:00:00 | 3.12 | 181.6 | 4.098 | 189.5 | 4.491 | 179.3 | 4.604 | 192.7 | 3.931 | 981.653 | 70.9291 | 2.0026
2020-02-08 21:15:00 | 3.215 | 189.6 | 3.914 | 198.1 | 4.374 | 179.1 | 4.487 | 196.2 | 4.308 | 981.688 | 69.7725 | 2.3721
2020-02-08 21:30:00 | 3.669 | 197 | 4.361 | 204.8 | 5.099 | 189.2 | 5.123 | 206.7 | 4.419 | 981.681 | 70.7281 | 3.2108
2020-02-08 21:45:00 | 3.588 | 190.4 | 4.208 | 205.5 | 4.962 | 194.6 | 5.085 | 197.8 | 4.243 | 981.677 | 73.357 | 3.3106
2020-02-08 22:00:00 | 3.097 | 188.2 | 3.863 | 196.4 | 4.288 | 188 | 4.393 | 196.1 | 4.077 | 981.69 | 75.3038 | 3.3106
2020-02-08 22:15:00 | 3.261 | 192.3 | 4.088 | 203.5 | 4.898 | 194.8 | 5.111 | 200 | 3.924 | 981.69 | 77.8334 | 3.6025
2020-02-08 22:30:00 | 3.641 | 200.7 | 4.405 | 208.7 | 5.046 | 196.7 | 5.149 | 209.2 | 3.834 | 981.69 | 78.0423 | 4.7737
2020-02-08 22:45:00 | 3.935 | 211.8 | 4.688 | 219.5 | 5.453 | 198.1 | 5.668 | 216.9 | 4.066 | 981.68 | 77.698 | 7.6483
2020-02-08 23:00:00 | 4.374 | 207.1 | 5.036 | 215.4 | 5.636 | 195.1 | 5.908 | 213.8 | 4.011 | 981.66 | 77.426 | 7.6003
2020-02-08 23:15:00 | 3.697 | 207.8 | 4.448 | 214.6 | 5.648 | 193.4 | 5.87 | 213.7 | 3.941 | 981.671 | 78.1758 | 6.6914
2020-02-08 23:30:00 | 3.662 | 203.8 | 4.783 | 210.9 | 5.394 | 194.4 | 5.536 | 209.8 | 3.968 | 981.363 | 78.7898 | 5.1654
2020-02-08 23:45:00 | 3.348 | 193.9 | 4.366 | 203.1 | 5.104 | 192.2 | 5.266 | 203.4 | 3.805 | 981.362 | 79.3758 | 5.7122