## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-09 00:00:00 | 3.874 | 186.3 | 4.502 | 194.2 | 5.168 | 186.4 | 5.192 | 195.3 | 3.717 | 981.677 | 81.3916 | 6.8724
2020-02-09 00:15:00 | 3.314 | 171 | 4.428 | 185.1 | 5.46 | 193.5 | 5.414 | 183 | 2.884 | 981.244 | 85.494 | 7.9772
2020-02-09 00:30:00 | 4.28 | 183.4 | 4.878 | 191.5 | 4.939 | 179.8 | 5.228 | 193.1 | 2.793 | 981.095 | 86.4514 | 10.9072
2020-02-09 00:45:00 | 3.789 | 181.3 | 4.87 | 191.5 | 5.025 | 188.1 | 5.141 | 189.6 | 2.721 | 981.095 | 87.6132 | 10.7779
2020-02-09 01:00:00 | 4.075 | 169.8 | 4.599 | 189.4 | 6.104 | 205 | 6.155 | 180 | 2.318 | 980.649 | 88.8091 | 11.3173
2020-02-09 01:15:00 | 3.93 | 165.6 | 5.018 | 181.2 | 6.416 | 185.6 | 6.606 | 178.1 | 1.94 | 980.501 | 89.7659 | 2.8376
2020-02-09 01:30:00 | 4.412 | 176.3 | 6.064 | 182.5 | 6.19 | 178.9 | 6.267 | 187.7 | 1.825 | 980.203 | 90.9961 | 4.6777
2020-02-09 01:45:00 | 3.95 | 176.8 | 5.604 | 180.9 | 6.556 | 186.8 | 6.69 | 190.2 | 1.773 | 980.203 | 91.5151 | 4.9548
2020-02-09 02:00:00 | 4.433 | 176.2 | 6.051 | 182.2 | 6.508 | 183 | 6.557 | 188.4 | 2.31 | 980.203 | 89.3356 | 4.7737
2020-02-09 02:15:00 | 4.006 | 167.2 | 5.568 | 175 | 6.338 | 171.4 | 6.488 | 178.2 | 2.148 | 980.203 | 90.2237 | 4.8033
2020-02-09 02:30:00 | 4.476 | 169.7 | 5.939 | 176.4 | 6.376 | 163.1 | 6.369 | 181.7 | 2.276 | 979.906 | 89.746 | 4.988
2020-02-09 02:45:00 | 5.051 | 167.3 | 6.107 | 174.7 | 6.635 | 166.5 | 6.817 | 179.1 | 2.057 | 979.609 | 91.4542 | 5.0398
2020-02-09 03:00:00 | 6.307 | 162.4 | 7.117 | 174.5 | 7.337 | 163.2 | 7.433 | 175.3 | 1.95 | 979.312 | 91.4893 | 5.0176
2020-02-09 03:15:00 | 6.105 | 156.6 | 6.632 | 169.5 | 6.63 | 157.8 | 6.685 | 166.8 | 1.793 | 979.313 | 92.2082 | 4.9548
2020-02-09 03:30:00 | 6.307 | 162.2 | 6.552 | 175.5 | 6.683 | 163.9 | 6.718 | 170.1 | 1.969 | 979.173 | 92.0042 | 10.2643
2020-02-09 03:45:00 | 7.344 | 163.5 | 7.547 | 174.9 | 7.497 | 159.3 | 7.596 | 171.8 | 2.041 | 979.02 | 91.5945 | 5.0767
2020-02-09 04:00:00 | 6.595 | 160 | 7.255 | 171.5 | 7.151 | 156 | 7.163 | 170.2 | 2.05 | 978.718 | 91.797 | 4.7885
2020-02-09 04:15:00 | 6.828 | 158.4 | 7.437 | 169.8 | 7.617 | 153.8 | 7.693 | 172 | 1.777 | 978.569 | 92.6167 | 4.9289
2020-02-09 04:30:00 | 6.149 | 158.7 | 7.03 | 167.2 | 7.302 | 154.5 | 7.446 | 171.8 | 1.464 | 978.154 | 93.9901 | 5.0804
2020-02-09 04:45:00 | 5.699 | 161.8 | 6.371 | 173.2 | 6.35 | 162.8 | 6.46 | 171.7 | 1.558 | 978.199 | 94.3693 | 4.9991
2020-02-09 05:00:00 | 5.462 | 167.6 | 6.271 | 173.5 | 6.617 | 159.6 | 6.825 | 177.7 | 1.534 | 978.31 | 94.6122 | 5.0176
2020-02-09 05:15:00 | 4.706 | 172.3 | 5.862 | 181.7 | 6.559 | 176 | 6.682 | 182.5 | 1.68 | 978.329 | 94.5133 | 4.8329
2020-02-09 05:30:00 | 4.589 | 170.1 | 5.829 | 182 | 6.271 | 187.8 | 6.356 | 178.9 | 1.691 | 978.357 | 93.8625 | 4.8144
2020-02-09 05:45:00 | 5.01 | 166.4 | 6.458 | 173.7 | 6.533 | 171.4 | 6.534 | 176.8 | 1.377 | 978 | 94.753 | 4.6259
2020-02-09 06:00:00 | 4.754 | 162.8 | 6.409 | 173.1 | 7.111 | 167.8 | 7.168 | 174.3 | 1.396 | 977.916 | 95.5723 | 4.7072
2020-02-09 06:15:00 | 5.546 | 161.4 | 6.77 | 172 | 7.439 | 161.6 | 7.614 | 174.4 | 1.555 | 977.796 | 95.334 | 4.9252
2020-02-09 06:30:00 | 6.613 | 160.3 | 7.485 | 170.3 | 7.464 | 155.5 | 7.487 | 170.6 | 1.976 | 977.495 | 94.001 | 4.8107
2020-02-09 06:45:00 | 6.797 | 158.1 | 7.736 | 168.2 | 7.986 | 154.1 | 8.08 | 170.2 | 1.248 | 977.483 | 96.8711 | 4.9031
2020-02-09 07:00:00 | 7.058 | 163 | 7.935 | 172.5 | 8.2 | 163.5 | 8.36 | 174 | 1.185 | 977.215 | 97.8294 | 4.7096
2020-02-09 07:15:00 | 8.49 | 167.2 | 9.37 | 174.8 | 9.13 | 153.6 | 9.14 | 178.2 | 2.112 | 977.375 | 93.0439 | 19.4866
2020-02-09 07:30:00 | 8.05 | 171.6 | 8.78 | 176.9 | 8.75 | 158.3 | 8.88 | 181.9 | 1.761 | 977.406 | 96.2509 | 19.1984
2020-02-09 07:45:00 | 7.522 | 166.8 | 8.4 | 174 | 8.58 | 159.4 | 8.68 | 180.2 | 1.272 | 977.169 | 96.9968 | 27.1756
2020-02-09 08:00:00 | 8.47 | 168.4 | 8.74 | 176.6 | 8.43 | 160.4 | 8.44 | 181.5 | 1.435 | 977.121 | 97.5415 | 32.4518
2020-02-09 08:15:00 | 8.7 | 171.9 | 9.4 | 179.6 | 8.88 | 163 | 8.86 | 181.5 | 1.801 | 977.38 | 96.0984 | 40.9721
2020-02-09 08:30:00 | 7.941 | 166.5 | 8.53 | 175.7 | 8.32 | 162 | 8.52 | 176.5 | 1.769 | 977.38 | 94.5158 | 36.7896
2020-02-09 08:45:00 | 7.939 | 169.2 | 8.34 | 177.2 | 7.993 | 166.1 | 7.953 | 180.3 | 2.22 | 978.123 | 92.7388 | 37.5359
2020-02-09 09:00:00 | 7.109 | 159.1 | 8.07 | 168.9 | 7.683 | 160.9 | 7.662 | 169.9 | 2.062 | 978.665 | 92.7708 | 42.5166
2020-02-09 09:15:00 | 8.1 | 169.7 | 8.3 | 177.8 | 7.932 | 165.4 | 7.932 | 181.4 | 1.691 | 978.417 | 96.421 | 24.7498
2020-02-09 09:30:00 | 8.66 | 168 | 9 | 175.8 | 8.27 | 162.3 | 8.2 | 179.5 | 1.836 | 978.41 | 94.0976 | 24.9587
2020-02-09 09:45:00 | 9.06 | 162.5 | 9.05 | 174.1 | 8.87 | 161.5 | 8.83 | 175.1 | 2.15 | 978.633 | 90.8039 | 28.8889
2020-02-09 10:00:00 | 8.4 | 161.3 | 8.58 | 176.1 | 7.848 | 168.3 | 7.785 | 170.1 | 2.086 | 978.449 | 90.1452 | 20.4436
2020-02-09 10:15:00 | 8.3 | 164.4 | 8.33 | 174.1 | 8.08 | 161.7 | 8.01 | 179.2 | 2.318 | 978.418 | 88.2323 | 21.9215
2020-02-09 10:30:00 | 7.619 | 159.1 | 7.332 | 173.9 | 7.357 | 163.7 | 7.26 | 169.4 | 2.504 | 978.715 | 85.6362 | 14.3619
2020-02-09 10:45:00 | 7.139 | 165.9 | 7.511 | 175.4 | 7.047 | 166.7 | 7.033 | 175.5 | 2.906 | 979.012 | 85.4654 | 13.6783
2020-02-09 11:00:00 | 7.052 | 162.7 | 6.989 | 173.6 | 6.607 | 159.4 | 6.58 | 175.7 | 3.309 | 979.012 | 78.9069 | 17.3953
2020-02-09 11:15:00 | 6.726 | 175.9 | 6.215 | 183.8 | 5.552 | 165.3 | 5.643 | 184.3 | 4.053 | 979.012 | 76.0211 | 17.0074
2020-02-09 11:30:00 | 6.56 | 172.4 | 5.903 | 180.4 | 4.969 | 163.1 | 4.917 | 185.4 | 4.513 | 979.004 | 71.9482 | 17.3879
2020-02-09 11:45:00 | 6.961 | 163.8 | 6.401 | 174.4 | 5.526 | 160.4 | 5.355 | 174.4 | 5.084 | 978.737 | 69.9334 | 17.4655
2020-02-09 12:00:00 | 7.001 | 157.2 | 6.711 | 171.8 | 6.126 | 161.6 | 6.03 | 165.3 | 5.915 | 978.713 | 70.1018 | 18.659
2020-02-09 12:15:00 | 6.917 | 160.7 | 6.798 | 175.7 | 5.793 | 165.3 | 5.73 | 170.2 | 6.199 | 978.388 | 67.3271 | 16.1908
2020-02-09 12:30:00 | 6.68 | 151.7 | 6.552 | 166.5 | 5.745 | 157.9 | 5.618 | 163 | 6.903 | 978.198 | 58.246 | 3.8168
2020-02-09 12:45:00 | 6.488 | 155.9 | 6.389 | 169.3 | 5.979 | 154.6 | 5.908 | 166.8 | 6.955 | 977.855 | 56.9383 | 9.0819
2020-02-09 13:00:00 | 6.332 | 168.7 | 5.949 | 181.8 | 4.923 | 172.5 | 4.859 | 179.7 | 7.836 | 977.556 | 56.3236 | 11.4651
2020-02-09 13:15:00 | 6.034 | 168.6 | 5.553 | 175.2 | 4.511 | 161.1 | 4.492 | 177.9 | 7.757 | 977.671 | 53.1149 | 2.9596
2020-02-09 13:30:00 | 5.865 | 179.4 | 5.328 | 189.2 | 4.483 | 172.4 | 4.484 | 185.2 | 8.21 | 977.671 | 52.7735 | 2.8524
2020-02-09 13:45:00 | 6.205 | 187.1 | 5.923 | 200.6 | 5.567 | 191 | 5.521 | 192.2 | 8.59 | 977.226 | 48.4725 | 5.1728
2020-02-09 14:00:00 | 6.141 | 182.5 | 6.161 | 197.2 | 5.534 | 186.5 | 5.618 | 188.1 | 9.07 | 977.226 | 49.6331 | 4.3193
2020-02-09 14:15:00 | 5.886 | 177 | 6.02 | 183.9 | 4.72 | 173.7 | 4.81 | 191.8 | 9.57 | 977.523 | 45.4685 | 4.3747
2020-02-09 14:30:00 | 5.995 | 178.7 | 5.974 | 190.7 | 5.366 | 176.5 | 5.335 | 186.3 | 9.54 | 977.374 | 45.6722 | 3.5286
2020-02-09 14:45:00 | 6.072 | 181.3 | 5.867 | 194.6 | 5.516 | 179.7 | 5.511 | 185.7 | 9.95 | 977.226 | 43.2107 | 3.6579
2020-02-09 15:00:00 | 5.768 | 177.8 | 5.57 | 194.2 | 4.972 | 184.8 | 4.958 | 180.5 | 10.16 | 977.226 | 40.5111 | 3.3143
2020-02-09 15:15:00 | 5.533 | 153.5 | 5.259 | 164.4 | 4.272 | 150.2 | 4.179 | 166.3 | 10.28 | 977.671 | 43.1731 | 3.2552
2020-02-09 15:30:00 | 6.353 | 157.3 | 6.281 | 173.9 | 5.422 | 158.5 | 5.34 | 167 | 10.23 | 977.671 | 44.9829 | 4.2454
2020-02-09 15:45:00 | 5.768 | 174.4 | 5.146 | 190.8 | 4.478 | 181.1 | 4.482 | 172.5 | 10.58 | 977.226 | 41.9113 | 5.8194
2020-02-09 16:00:00 | 5.87 | 166.4 | 5.714 | 181.4 | 5.394 | 167.1 | 5.36 | 170.6 | 10.33 | 977.226 | 41.8768 | 6.4549
2020-02-09 16:15:00 | 5.967 | 182.2 | 5.729 | 196 | 5.03 | 179.6 | 5.047 | 183.9 | 10.32 | 976.632 | 41.5699 | 5.5866
2020-02-09 16:30:00 | 5.492 | 157.8 | 5.389 | 171.8 | 4.888 | 166.4 | 4.82 | 165.1 | 10.25 | 976.632 | 40.5445 | 4.8994
2020-02-09 16:45:00 | 5.569 | 182.4 | 5.276 | 197.7 | 4.466 | 182.7 | 4.415 | 182 | 10.32 | 976.483 | 41.6393 | 6.2812
2020-02-09 17:00:00 | 6.077 | 158 | 6.049 | 172.2 | 5.491 | 154.5 | 5.378 | 166.6 | 10.11 | 976.335 | 43.2154 | 12.8802
2020-02-09 17:15:00 | 6.417 | 163 | 6.435 | 177.1 | 6.241 | 164.1 | 6.226 | 169.7 | 10.01 | 976.038 | 45.1954 | 17.8867
2020-02-09 17:30:00 | 6.046 | 161.8 | 6.097 | 174.4 | 6.022 | 157.9 | 6.078 | 170 | 9.77 | 975.444 | 45.8781 | 17.048
2020-02-09 17:45:00 | 5.944 | 164.9 | 6.424 | 177.4 | 6.483 | 159.7 | 6.499 | 170.7 | 9.56 | 975.111 | 46.4243 | 19.6603
2020-02-09 18:00:00 | 6.481 | 161.8 | 6.813 | 176.4 | 6.821 | 159.2 | 6.797 | 169.4 | 9.55 | 974.896 | 46.8434 | 23.0263
2020-02-09 18:15:00 | 5.975 | 157 | 6.407 | 172.3 | 6.536 | 151.9 | 6.534 | 162.8 | 9.33 | 975.122 | 47.3882 | 25.5203
2020-02-09 18:30:00 | 6.269 | 150.4 | 7.291 | 165 | 7.752 | 150.8 | 7.68 | 157 | 9.11 | 975.148 | 48.2829 | 27.9219
2020-02-09 18:45:00 | 6.08 | 155.6 | 6.895 | 168.9 | 7.828 | 155.8 | 7.815 | 161.9 | 9.09 | 974.999 | 47.6353 | 29.6622
2020-02-09 19:00:00 | 6.407 | 157.5 | 6.995 | 172.3 | 7.515 | 157.9 | 7.581 | 162.5 | 9.11 | 974.85 | 47.1914 | 30.161
2020-02-09 19:15:00 | 6.675 | 157.9 | 7.161 | 170.9 | 7.561 | 155.8 | 7.609 | 163.5 | 9.3 | 975 | 47.1914 | 31.3027
2020-02-09 19:30:00 | 6.407 | 162.5 | 6.46 | 176.5 | 7.182 | 157.2 | 7.273 | 168.1 | 9.1 | 974.601 | 47.6694 | 30.4714
2020-02-09 19:45:00 | 6.884 | 157.6 | 7.662 | 170.5 | 7.897 | 154.3 | 7.892 | 163.7 | 9.17 | 974.682 | 48.8987 | 31.3545
2020-02-09 20:00:00 | 6.728 | 155 | 7.514 | 168.7 | 8.3 | 157.2 | 8.31 | 160.6 | 8.9 | 974.478 | 48.6256 | 39.8526
2020-02-09 20:15:00 | 6.667 | 152.8 | 7.608 | 168.4 | 8.11 | 158.2 | 8.11 | 158.8 | 8.69 | 974.758 | 49.4451 | 38.1899
2020-02-09 20:30:00 | 6.741 | 154.4 | 7.404 | 169.7 | 7.922 | 159 | 7.983 | 162.4 | 8.51 | 974.524 | 49.9915 | 30.9702
2020-02-09 20:45:00 | 7.356 | 158.1 | 8.34 | 171.5 | 8.8 | 158 | 8.74 | 166.3 | 8.5 | 974.549 | 50.7768 | 36.3758
2020-02-09 21:00:00 | 7.533 | 161.5 | 8.49 | 174.8 | 8.81 | 159.6 | 8.82 | 169.6 | 8.42 | 974.554 | 50.9476 | 36.6935
2020-02-09 21:15:00 | 7.872 | 160.4 | 8.8 | 172.9 | 8.93 | 158 | 8.98 | 169.9 | 8.24 | 974.554 | 50.6061 | 38.9917
2020-02-09 21:30:00 | 7.392 | 164.7 | 8.03 | 174.3 | 8.83 | 158.7 | 9.06 | 175.1 | 8.13 | 974.554 | 50.6744 | 36.457
2020-02-09 21:45:00 | 7.109 | 160.7 | 7.769 | 171.2 | 8.22 | 154.9 | 8.33 | 173.2 | 8.3 | 974.406 | 51.3578 | 31.8163
2020-02-09 22:00:00 | 7.328 | 158.2 | 8.14 | 168.1 | 8.82 | 153.2 | 8.83 | 168.6 | 8.46 | 974.257 | 51.3241 | 36.0432
2020-02-09 22:15:00 | 7.622 | 155.8 | 8.39 | 168 | 9.14 | 153.2 | 9.19 | 165.8 | 8.16 | 974.406 | 52.7944 | 43.0265
2020-02-09 22:30:00 | 7.844 | 155.5 | 8.55 | 165.9 | 9 | 149.8 | 8.97 | 165 | 8.06 | 974.257 | 52.1135 | 40.3329
2020-02-09 22:45:00 | 6.728 | 152.5 | 7.871 | 165.2 | 8.66 | 155 | 8.7 | 163.6 | 7.893 | 974.257 | 52.1852 | 41.1901
2020-02-09 23:00:00 | 7.267 | 154.5 | 8.23 | 166.6 | 8.88 | 155 | 8.85 | 164 | 8.04 | 973.96 | 50.9577 | 43.7654
2020-02-09 23:15:00 | 7.54 | 152.3 | 8.4 | 165.7 | 9.24 | 153.5 | 9.22 | 162.4 | 8.07 | 973.96 | 50.4113 | 45.3838
2020-02-09 23:30:00 | 8.44 | 150 | 9.14 | 163.1 | 9.44 | 151.7 | 9.33 | 161.1 | 8.03 | 973.663 | 50.2068 | 21.6636
2020-02-09 23:45:00 | 8.59 | 152.9 | 9.29 | 165.1 | 9.45 | 152.9 | 9.36 | 162.8 | 8.32 | 973.663 | 50.0687 | 3.7813