## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-10 00:00:00 | 7.604 | 151.8 | 8.38 | 165.6 | 9.55 | 156.5 | 9.52 | 160.7 | 8.04 | 973.663 | 50.5446 | 6.078
2020-02-10 00:15:00 | 7.665 | 148.7 | 7.902 | 166.3 | 8.95 | 161.5 | 8.98 | 156.9 | 8.21 | 973.663 | 50.0693 | 3.233
2020-02-10 00:30:00 | 7.601 | 149.8 | 8.06 | 172.4 | 9.06 | 169 | 9.23 | 154.8 | 8.23 | 973.811 | 51.2945 | 3.6764
2020-02-10 00:45:00 | 7.847 | 147.6 | 8.56 | 164.2 | 9.52 | 152 | 9.47 | 153.3 | 7.695 | 973.663 | 52.8636 | 3.5471
2020-02-10 01:00:00 | 7.824 | 146.6 | 8.33 | 163.2 | 9.84 | 156.4 | 9.92 | 153.4 | 7.623 | 973.514 | 52.12 | 3.1591
2020-02-10 01:15:00 | 8.28 | 148 | 9.13 | 165.7 | 10.03 | 160 | 9.94 | 153.3 | 7.844 | 973.068 | 50.6185 | 3.2588
2020-02-10 01:30:00 | 10.09 | 150 | 10.92 | 159.2 | 10.35 | 143.7 | 10.15 | 159 | 8.19 | 973.068 | 49.6631 | 3.3143
2020-02-10 01:45:00 | 9.9 | 147.9 | 10.7 | 160.8 | 9.81 | 149 | 9.55 | 160.1 | 8.16 | 973.068 | 49.9314 | 3.7096
2020-02-10 02:00:00 | 9.62 | 146.2 | 10.01 | 161.6 | 10.28 | 151 | 9.95 | 155.6 | 7.79 | 972.771 | 51.9791 | 3.0778
2020-02-10 02:15:00 | 9.17 | 145.9 | 9.7 | 162.2 | 10.05 | 154.4 | 9.95 | 153.9 | 7.51 | 972.623 | 54.0333 | 3.5803
2020-02-10 02:30:00 | 9.56 | 145.1 | 10.6 | 161.2 | 10.35 | 149.2 | 10.15 | 153.5 | 7.416 | 972.474 | 54.3096 | 3.5655
2020-02-10 02:45:00 | 8.3 | 146.3 | 8.39 | 164.9 | 9.29 | 157.4 | 9.33 | 150.6 | 7.247 | 972.474 | 55.1997 | 3.0556
2020-02-10 03:00:00 | 9.14 | 147.4 | 9.36 | 163.2 | 9.93 | 155.1 | 9.82 | 152.5 | 7.388 | 972.028 | 54.7223 | 3.3069
2020-02-10 03:15:00 | 9.02 | 145.1 | 9.22 | 163 | 9.63 | 155.9 | 9.49 | 154.3 | 7.22 | 971.88 | 55.6789 | 2.9448
2020-02-10 03:30:00 | 9.06 | 146 | 9.29 | 163.6 | 10.3 | 155.4 | 10.25 | 150.4 | 6.927 | 971.88 | 56.4304 | 3.1258
2020-02-10 03:45:00 | 9.3 | 146.8 | 9.41 | 161.3 | 9.97 | 151.1 | 10.01 | 151.3 | 6.737 | 971.731 | 57.4552 | 3.4916
2020-02-10 04:00:00 | 9.26 | 145.9 | 9.53 | 163.9 | 10.45 | 154.7 | 10.4 | 149.2 | 6.555 | 971.434 | 58.4799 | 3.6431
2020-02-10 04:15:00 | 10.23 | 144.6 | 10.41 | 162.2 | 11.11 | 152.8 | 10.97 | 147.6 | 6.454 | 970.988 | 58.9582 | 3.3032
2020-02-10 04:30:00 | 9.54 | 143.8 | 10.03 | 161.6 | 10.13 | 152.3 | 10.02 | 146.3 | 6.334 | 971.286 | 59.9146 | 3.4214
2020-02-10 04:45:00 | 8.71 | 143.8 | 8.65 | 162 | 9.72 | 152.6 | 9.7 | 150 | 6.294 | 971.286 | 60.3245 | 6.2
2020-02-10 05:00:00 | 9 | 142.7 | 9.42 | 161 | 9.8 | 152.5 | 9.61 | 150.4 | 6.206 | 970.988 | 60.5978 | 6.1482
2020-02-10 05:15:00 | 9.32 | 141.6 | 10.13 | 159.7 | 10.9 | 152 | 10.61 | 148.2 | 6.072 | 970.691 | 60.5636 | 6.1963
2020-02-10 05:30:00 | 10.24 | 141.4 | 10.67 | 160.5 | 10.46 | 151.2 | 10.11 | 148.8 | 6.03 | 970.691 | 61.8958 | 9.529
2020-02-10 05:45:00 | 8.93 | 143.4 | 9.45 | 162 | 10.13 | 152.6 | 9.94 | 148.5 | 5.91 | 970.691 | 61.5542 | 10.3751
2020-02-10 06:00:00 | 9.69 | 145.4 | 9.66 | 166 | 9.78 | 157.5 | 9.65 | 151.3 | 5.95 | 970.691 | 62.374 | 12.8765
2020-02-10 06:15:00 | 8.72 | 145.8 | 8.96 | 163.3 | 9.85 | 158 | 9.78 | 150.6 | 5.727 | 970.84 | 63.1938 | 16.1686
2020-02-10 06:30:00 | 9.48 | 142 | 10.07 | 161.5 | 11.26 | 152.5 | 11.23 | 146.5 | 5.566 | 970.721 | 64.3552 | 22.7676
2020-02-10 06:45:00 | 9.75 | 143.8 | 10.07 | 165 | 10.62 | 156.8 | 10.64 | 146 | 5.315 | 970.691 | 67.4295 | 27.7483
2020-02-10 07:00:00 | 8.69 | 145.5 | 8.6 | 163.6 | 9.49 | 156 | 9.56 | 151.6 | 5.275 | 970.691 | 66.883 | 27.6744
2020-02-10 07:15:00 | 9.53 | 147.3 | 10.12 | 163.4 | 9.96 | 152.4 | 9.85 | 153.7 | 5.414 | 971.339 | 64.7652 | 31.687
2020-02-10 07:30:00 | 9.58 | 146.2 | 9.77 | 164.3 | 9.77 | 155.8 | 9.75 | 150 | 5.187 | 971.347 | 68.9327 | 38.4453
2020-02-10 07:45:00 | 7.428 | 149 | 8.16 | 168.2 | 9.21 | 165.9 | 9.24 | 150.7 | 5.056 | 971.286 | 66.7122 | 48.7651
2020-02-10 08:00:00 | 8.61 | 148.5 | 9.01 | 170 | 9.6 | 161.7 | 9.68 | 150.2 | 5.088 | 970.989 | 69.4108 | 65.4393
2020-02-10 08:15:00 | 9.54 | 147.8 | 10.53 | 165.6 | 11.16 | 157.4 | 11.2 | 152.7 | 5.093 | 971.434 | 70.1623 | 69.0456
2020-02-10 08:30:00 | 11.47 | 144.9 | 11.87 | 162.8 | 12.78 | 153 | 12.78 | 148.9 | 5.093 | 971.583 | 72.2801 | 76.2253
2020-02-10 08:45:00 | 11.89 | 142.5 | 12.08 | 161 | 11.82 | 151.7 | 11.62 | 146 | 5.091 | 971.88 | 73.9881 | 81.5231
2020-02-10 09:00:00 | 10.43 | 140.3 | 10.69 | 159.1 | 10.78 | 150.6 | 10.65 | 144.8 | 5.236 | 972.177 | 72.0716 | 79.8826
2020-02-10 09:15:00 | 10.52 | 147.3 | 11 | 164.9 | 10.9 | 155.5 | 10.75 | 150.3 | 5.279 | 973.069 | 73.2819 | 62.9826
2020-02-10 09:30:00 | 9.79 | 145.5 | 9.58 | 165.2 | 8.82 | 159.7 | 8.72 | 149.1 | 5.581 | 972.753 | 74.3726 | 38.9128
2020-02-10 09:45:00 | 9.59 | 146.5 | 9.02 | 169.1 | 8.43 | 165.3 | 8.5 | 148.4 | 5.808 | 973.204 | 72.1871 | 48.4616
2020-02-10 10:00:00 | 7.89 | 145.4 | 7.375 | 166.7 | 7.523 | 164.2 | 7.494 | 152.2 | 5.779 | 973.366 | 69.5237 | 29.5751
2020-02-10 10:15:00 | 8.71 | 138.8 | 9.13 | 154.7 | 9.16 | 147.5 | 8.89 | 146 | 6.57 | 973.365 | 64.127 | 21.0828
2020-02-10 10:30:00 | 7.683 | 137.4 | 7.634 | 158.8 | 7.64 | 155.6 | 7.729 | 143.9 | 7.14 | 973.886 | 58.452 | 21.227
2020-02-10 10:45:00 | 7.489 | 138 | 7.785 | 156.4 | 7.711 | 154.4 | 7.584 | 146.1 | 7.833 | 973.695 | 60.4207 | 22.3169
2020-02-10 11:00:00 | 7.87 | 135.8 | 7.836 | 154.9 | 7.945 | 150.1 | 7.841 | 144.5 | 8.25 | 973.81 | 55.8116 | 10.1934
2020-02-10 11:15:00 | 8.32 | 138.8 | 7.825 | 161.5 | 8.06 | 153.9 | 8.1 | 143.1 | 8.94 | 973.81 | 51.374 | 24.6586
2020-02-10 11:30:00 | 7.75 | 138.7 | 7.245 | 157 | 7.167 | 149.1 | 7.11 | 143.5 | 9.3 | 973.81 | 44.9224 | 26.3478
2020-02-10 11:45:00 | 7.926 | 140.6 | 8.05 | 161.3 | 8.22 | 154.5 | 8.24 | 145.3 | 9.79 | 973.81 | 46.3471 | 29.6585
2020-02-10 12:00:00 | 8.73 | 146.5 | 8.7 | 164.5 | 8.52 | 155.4 | 8.4 | 151.2 | 9.91 | 973.662 | 43.413 | 18.1855
2020-02-10 12:15:00 | 8.47 | 146.5 | 8.63 | 163 | 8.37 | 152.6 | 8.3 | 153 | 10.15 | 973.662 | 49.1809 | 11.6498
2020-02-10 12:30:00 | 8.02 | 144.9 | 7.825 | 163.2 | 7.515 | 155.8 | 7.395 | 150.1 | 10.33 | 973.662 | 46.0406 | 5.0173
2020-02-10 12:45:00 | 8.52 | 141.5 | 8.72 | 157.1 | 7.731 | 145.5 | 7.573 | 150.7 | 10.63 | 973.662 | 43.3778 | 5.424
2020-02-10 13:00:00 | 8.38 | 145.2 | 8.66 | 160.4 | 8.28 | 149.8 | 8.04 | 151.3 | 10.84 | 973.353 | 38.2563 | 5.8305
2020-02-10 13:15:00 | 7.609 | 151.4 | 7.434 | 173.7 | 6.539 | 171.3 | 6.55 | 155.5 | 11.2 | 973.341 | 38.8354 | 4.9733
2020-02-10 13:30:00 | 7.185 | 141.9 | 7.465 | 156.8 | 7.024 | 146.3 | 6.949 | 148.5 | 11.26 | 973.214 | 37.2642 | 5.5238
2020-02-10 13:45:00 | 8.34 | 145.2 | 8.25 | 160 | 8.2 | 150.1 | 8.14 | 150.8 | 11.11 | 973.313 | 38.1505 | 5.9265
2020-02-10 14:00:00 | 8.49 | 148.8 | 8.57 | 166.5 | 8.35 | 156.6 | 8.21 | 153.9 | 11.42 | 973.131 | 40.4709 | 11.1908
2020-02-10 14:15:00 | 8.07 | 155.7 | 8.11 | 171.5 | 7.902 | 159.1 | 7.894 | 162.5 | 11.71 | 972.983 | 34.7382 | 8.1878
2020-02-10 14:30:00 | 7.183 | 171.8 | 7.271 | 187.8 | 7.169 | 180.7 | 7.24 | 171 | 12.28 | 972.937 | 34.8064 | 8.5942
2020-02-10 14:45:00 | 8.48 | 187.6 | 7.902 | 201.3 | 6.531 | 191.5 | 6.504 | 185.5 | 12.01 | 972.549 | 36.5808 | 9.1595
2020-02-10 15:00:00 | 6.8 | 168 | 6.537 | 180.5 | 5.875 | 169.3 | 5.844 | 176.6 | 11.77 | 972.832 | 37.741 | 8.8565
2020-02-10 15:15:00 | 6.856 | 165.9 | 6.545 | 180.5 | 5.745 | 167.9 | 5.635 | 173.2 | 12.12 | 973.08 | 38.833 | 7.434
2020-02-10 15:30:00 | 6.698 | 166.2 | 6.672 | 180.6 | 6.277 | 174 | 6.31 | 172.9 | 12.49 | 972.771 | 36.5126 | 14.3375
2020-02-10 15:45:00 | 7.658 | 139.7 | 7.861 | 155.7 | 7.126 | 143.5 | 6.919 | 147.5 | 12.23 | 973.216 | 37.4339 | 14.2843
2020-02-10 16:00:00 | 5.776 | 144.2 | 6.089 | 156.4 | 5.898 | 144.6 | 5.811 | 152.1 | 12.68 | 973.364 | 36.8538 | 20.3919
2020-02-10 16:15:00 | 6.887 | 148.2 | 6.736 | 163.3 | 6.409 | 151.3 | 6.292 | 154.3 | 12.44 | 973.216 | 37.9458 | 20.9091
2020-02-10 16:30:00 | 6.585 | 144.5 | 6.744 | 162.1 | 6.897 | 152.9 | 6.85 | 151.6 | 12.52 | 973.364 | 36.9903 | 20.6727
2020-02-10 16:45:00 | 5.827 | 151.4 | 5.941 | 168.8 | 6.109 | 161.9 | 6.099 | 156 | 12.59 | 973.068 | 36.6832 | 22.025
2020-02-10 17:00:00 | 6.991 | 145.8 | 7.122 | 163.8 | 7.294 | 154.4 | 7.176 | 151.1 | 12.51 | 972.771 | 37.468 | 23.3293
2020-02-10 17:15:00 | 6.189 | 149.3 | 6.276 | 165.7 | 6.165 | 150.3 | 6.084 | 155.5 | 12.44 | 972.883 | 38.6971 | 18.4262
2020-02-10 17:30:00 | 6.603 | 149.3 | 6.79 | 165.5 | 7.457 | 157.3 | 7.415 | 155 | 12.28 | 972.474 | 38.9419 | 24.6298
2020-02-10 17:45:00 | 6.447 | 147.7 | 7.317 | 162.7 | 7.95 | 152.3 | 7.828 | 152.6 | 12.11 | 972.474 | 39.2486 | 27.0906
2020-02-10 18:00:00 | 7.665 | 147.3 | 7.92 | 166.3 | 8.02 | 152.3 | 8.02 | 152.6 | 11.92 | 972.325 | 41.0308 | 29.3888
2020-02-10 18:15:00 | 7.466 | 144.8 | 7.966 | 160.3 | 8.3 | 148 | 8.24 | 150.5 | 11.56 | 972.177 | 43.4886 | 35.0899
2020-02-10 18:30:00 | 7.127 | 143.3 | 7.312 | 161.3 | 8.17 | 149.5 | 8.25 | 147.8 | 11.36 | 971.88 | 44.7175 | 39.4868
2020-02-10 18:45:00 | 7.114 | 140.4 | 7.611 | 156.4 | 8.13 | 142 | 8.15 | 146.7 | 11.07 | 972.041 | 46.0829 | 35.7439
2020-02-10 19:00:00 | 6.184 | 145.2 | 6.716 | 162.7 | 6.961 | 153 | 6.898 | 151.9 | 10.86 | 971.913 | 47.4142 | 32.1821
2020-02-10 19:15:00 | 6.417 | 142.7 | 6.701 | 161.1 | 7.48 | 149.8 | 7.53 | 146.5 | 10.73 | 971.951 | 49.7032 | 29.8876
2020-02-10 19:30:00 | 4.517 | 142.2 | 4.929 | 160.9 | 6.628 | 152.2 | 6.82 | 147.3 | 10.69 | 971.917 | 51.0414 | 29.847
2020-02-10 19:45:00 | 7.249 | 138 | 7.58 | 155.5 | 8.03 | 143.8 | 7.976 | 143.6 | 10.98 | 971.845 | 50.734 | 32.6994
2020-02-10 20:00:00 | 7.706 | 137.1 | 8.25 | 151.3 | 8.54 | 135.3 | 8.56 | 145.1 | 11.35 | 971.982 | 49.2015 | 38.5668
2020-02-10 20:15:00 | 7.903 | 136.2 | 8.02 | 153.4 | 8.47 | 141 | 8.41 | 144.2 | 11.28 | 971.923 | 48.6184 | 41.3527
2020-02-10 20:30:00 | 8.32 | 144.1 | 9.33 | 158.7 | 9.97 | 142.5 | 9.89 | 148.6 | 11.19 | 971.753 | 50.5936 | 44.3714
2020-02-10 20:45:00 | 9.03 | 141.8 | 9.6 | 157.1 | 10.17 | 145.6 | 10.05 | 147.7 | 11.19 | 971.903 | 50.6607 | 45.2397
2020-02-10 21:00:00 | 9.16 | 140.1 | 9.85 | 157.7 | 10.78 | 145.7 | 10.72 | 146.5 | 11.2 | 971.882 | 50.0475 | 49.1821
2020-02-10 21:15:00 | 9.98 | 142.1 | 10.48 | 159.3 | 10.62 | 146.8 | 10.51 | 147.9 | 11.14 | 971.914 | 49.8417 | 51.4158
2020-02-10 21:30:00 | 9.37 | 143.3 | 9.93 | 159.3 | 10.49 | 148.1 | 10.44 | 148.8 | 10.91 | 971.897 | 50.2522 | 52.4003
2020-02-10 21:45:00 | 8.27 | 145.5 | 8.64 | 163.5 | 9.47 | 149.7 | 9.55 | 150.2 | 10.59 | 971.906 | 51.1402 | 55.5684
2020-02-10 22:00:00 | 8.24 | 149.8 | 8.75 | 166.2 | 9.33 | 154.1 | 9.34 | 153.7 | 10.18 | 972.194 | 51.6894 | 57.5916
2020-02-10 22:15:00 | 7.331 | 150.5 | 8.02 | 167.2 | 8.96 | 161.9 | 9.02 | 155.9 | 9.9 | 972.442 | 51.9634 | 49.8767
2020-02-10 22:30:00 | 7.132 | 157.9 | 7.416 | 173 | 7.937 | 157.8 | 7.902 | 162.8 | 9.7 | 972.169 | 52.6467 | 46.7472
2020-02-10 22:45:00 | 8.27 | 154.6 | 8.46 | 169.9 | 8.33 | 153.8 | 8.21 | 162.1 | 9.54 | 972.177 | 52.7883 | 38.3303
2020-02-10 23:00:00 | 6.629 | 157.7 | 7.404 | 172.9 | 7.927 | 158.8 | 8.11 | 162.7 | 9.48 | 972.028 | 52.7913 | 34.9274
2020-02-10 23:15:00 | 7.047 | 156.1 | 7.557 | 172.8 | 8.48 | 163.8 | 8.53 | 160.6 | 9.3 | 972.177 | 52.5183 | 37.1665
2020-02-10 23:30:00 | 8.24 | 159.6 | 8.63 | 172.7 | 8.8 | 159.7 | 8.75 | 164.7 | 9.32 | 972.028 | 50.8451 | 31.9124
2020-02-10 23:45:00 | 8.07 | 156.8 | 8.64 | 172.3 | 9.14 | 160.1 | 9.15 | 161.9 | 9.1 | 972.028 | 51.0842 | 28.853