## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-11 00:00:00 | 7.4 | 154.9 | 7.756 | 173.7 | 9.13 | 166.7 | 9.25 | 159.6 | 9.05 | 972.028 | 49.9915 | 17.0576
2020-02-11 00:15:00 | 7.453 | 153.5 | 7.549 | 173.5 | 8.61 | 162.8 | 8.7 | 155.4 | 9.11 | 972.028 | 50.2646 | 20.7761
2020-02-11 00:30:00 | 7.556 | 154.8 | 7.593 | 176.1 | 8.7 | 166.2 | 9.02 | 157.6 | 9.07 | 971.589 | 49.7866 | 14.0404
2020-02-11 00:45:00 | 7.254 | 156.3 | 7.754 | 173.4 | 9.61 | 156.9 | 9.86 | 157.3 | 9.01 | 971.697 | 48.6939 | 14.0219
2020-02-11 01:00:00 | 7.63 | 152.5 | 7.907 | 175.4 | 9.12 | 168.8 | 9.23 | 154.7 | 8.99 | 971.669 | 49.2402 | 13.4049
2020-02-11 01:15:00 | 7.451 | 156 | 7.46 | 175.8 | 8.28 | 172.8 | 8.51 | 156.7 | 8.94 | 971.704 | 48.7622 | 15.0861
2020-02-11 01:30:00 | 6.999 | 156.1 | 6.864 | 174.3 | 7.892 | 166.9 | 8.03 | 157.6 | 8.85 | 971.708 | 48.967 | 15.7044
2020-02-11 01:45:00 | 7.287 | 156.7 | 7.733 | 170.5 | 8.32 | 157.6 | 8.31 | 162.4 | 8.74 | 971.762 | 49.4451 | 13.4825
2020-02-11 02:00:00 | 7.696 | 154.8 | 8.44 | 173.4 | 9.09 | 160.5 | 9.03 | 158.4 | 8.44 | 971.519 | 48.967 | 8.8713
2020-02-11 02:15:00 | 7.921 | 150.8 | 8.41 | 168 | 8.77 | 159.9 | 8.84 | 155.1 | 8.45 | 971.729 | 50.128 | 6.0745
2020-02-11 02:30:00 | 6.087 | 151.3 | 6.289 | 179.2 | 6.681 | 175 | 6.82 | 152.6 | 8.04 | 971.577 | 50.4012 | 6.6322
2020-02-11 02:45:00 | 6.555 | 149.5 | 7.087 | 167.6 | 8.13 | 157 | 8.28 | 154.3 | 8.12 | 971.583 | 50.743 | 8.04
2020-02-11 03:00:00 | 6.703 | 151.7 | 6.736 | 175.6 | 7.64 | 168.4 | 7.808 | 154 | 8.21 | 971.286 | 49.7866 | 10.4527
2020-02-11 03:15:00 | 6.197 | 151.5 | 6.608 | 174.9 | 7.563 | 166.2 | 7.739 | 155.5 | 8.25 | 971.286 | 49.2749 | 9.9687
2020-02-11 03:30:00 | 6.368 | 147.9 | 6.588 | 167.5 | 7.63 | 162.6 | 7.752 | 151.7 | 8.18 | 971.286 | 49.377 | 7.7926
2020-02-11 03:45:00 | 7.665 | 145 | 7.836 | 161.8 | 8.05 | 148 | 8.07 | 148.3 | 8.47 | 970.988 | 48.4214 | 4.51
2020-02-11 04:00:00 | 6.848 | 138.6 | 7.611 | 158.3 | 7.907 | 150.2 | 7.912 | 143.6 | 8.46 | 970.988 | 49.3769 | 5.413
2020-02-11 04:15:00 | 7.729 | 142.5 | 7.808 | 160.4 | 8.1 | 149.6 | 8.08 | 146.8 | 8.26 | 970.672 | 50.1622 | 6.4438
2020-02-11 04:30:00 | 7.951 | 143.4 | 8.19 | 160.8 | 8.93 | 147.3 | 8.94 | 148.3 | 8.13 | 970.691 | 51.2894 | 6.8798
2020-02-11 04:45:00 | 6.391 | 141.2 | 6.412 | 158.8 | 6.816 | 151.4 | 6.764 | 147.5 | 8.14 | 970.691 | 50.3351 | 7.519
2020-02-11 05:00:00 | 5.702 | 141 | 6.499 | 159 | 7.108 | 152.2 | 7.107 | 145.8 | 8.24 | 970.691 | 50.0617 | 9.965
2020-02-11 05:15:00 | 6.524 | 141.3 | 7.002 | 159.3 | 7.691 | 152.2 | 7.652 | 146.5 | 8.34 | 970.691 | 50.2665 | 10.5192
2020-02-11 05:30:00 | 6.524 | 144 | 6.956 | 159.9 | 7.729 | 149.3 | 7.734 | 149.5 | 8.35 | 970.691 | 50.1281 | 14.4432
2020-02-11 05:45:00 | 5.569 | 139.1 | 6.263 | 159.6 | 6.668 | 152.3 | 6.651 | 144.8 | 8.31 | 970.691 | 50.811 | 15.1784
2020-02-11 06:00:00 | 7.42 | 137.8 | 8.11 | 153.6 | 7.978 | 141.9 | 7.841 | 146.6 | 8.49 | 970.84 | 51.494 | 15.4223
2020-02-11 06:15:00 | 8.23 | 135.3 | 8.16 | 149.9 | 8.17 | 135.8 | 8.14 | 141.7 | 8.38 | 970.988 | 51.4257 | 16.0024
2020-02-11 06:30:00 | 8.69 | 136.9 | 9.12 | 152.9 | 9.11 | 138.6 | 9 | 142.8 | 8.48 | 970.84 | 51.8354 | 17.4655
2020-02-11 06:45:00 | 7.918 | 136.6 | 8.5 | 152.5 | 8.49 | 139.6 | 8.38 | 142.5 | 8.44 | 970.84 | 51.972 | 15.8176
2020-02-11 07:00:00 | 7.515 | 132.8 | 7.93 | 147.5 | 8.25 | 132.6 | 8.21 | 140 | 8.47 | 971.286 | 52.1086 | 18.7994
2020-02-11 07:15:00 | 6.253 | 136.2 | 6.926 | 150.6 | 7.197 | 141.1 | 7.255 | 143.5 | 8.35 | 971.137 | 52.7233 | 20.6579
2020-02-11 07:30:00 | 7.51 | 137.2 | 7.923 | 153.6 | 8.31 | 143.2 | 8.22 | 142.9 | 8.48 | 971.434 | 54.0891 | 30.2938
2020-02-11 07:45:00 | 6.504 | 134.5 | 7.053 | 150.4 | 7.177 | 138 | 7.235 | 140.8 | 8.56 | 971.549 | 54.7721 | 39.3867
2020-02-11 08:00:00 | 6.71 | 131 | 7.409 | 149.6 | 7.597 | 138.1 | 7.645 | 134.5 | 8.71 | 971.677 | 54.7038 | 46.3297
2020-02-11 08:15:00 | 6.881 | 133.3 | 7.112 | 149.8 | 7.569 | 139.7 | 7.553 | 138.8 | 8.73 | 971.687 | 52.655 | 49.7104
2020-02-11 08:30:00 | 6.853 | 130.7 | 7.741 | 148 | 8.62 | 140.5 | 8.56 | 136.2 | 8.7 | 971.732 | 51.8696 | 51.7796
2020-02-11 08:45:00 | 9.04 | 129.3 | 9.3 | 147.1 | 9.46 | 134.9 | 9.44 | 134.7 | 8.67 | 971.583 | 52.2452 | 51.6392
2020-02-11 09:00:00 | 8.42 | 132.7 | 9.04 | 150 | 9.19 | 140.6 | 9.18 | 137.2 | 8.56 | 971.583 | 51.3915 | 57.4917
2020-02-11 09:15:00 | 9.48 | 129.6 | 9.88 | 144.8 | 10.48 | 134.6 | 10.42 | 135.9 | 8.5 | 971.716 | 50.8762 | 56.738
2020-02-11 09:30:00 | 9.16 | 126.7 | 9.79 | 143.9 | 10.23 | 134.1 | 10.23 | 132.5 | 8.98 | 971.974 | 51.0775 | 56.69
2020-02-11 09:45:00 | 9.41 | 127.5 | 10.15 | 142.3 | 10.74 | 132.3 | 10.62 | 133.7 | 9.06 | 971.74 | 52.1945 | 55.1012
2020-02-11 10:00:00 | 9.07 | 126.9 | 9.17 | 145.4 | 9.17 | 133.7 | 9.08 | 130.9 | 9.12 | 972.272 | 50.8619 | 47.6302
2020-02-11 10:15:00 | 9.66 | 129.4 | 9.44 | 146.1 | 9.38 | 135.7 | 9.25 | 132.6 | 9.48 | 972.51 | 50.9985 | 36.7194
2020-02-11 10:30:00 | 8.11 | 131.4 | 8.26 | 147.8 | 8.52 | 135.3 | 8.58 | 135.2 | 9.7 | 972.92 | 50.4182 | 28.6942
2020-02-11 10:45:00 | 7.956 | 144 | 7.718 | 162.3 | 6.862 | 148.1 | 6.83 | 144.1 | 10.21 | 973.217 | 49.1552 | 26.1706
2020-02-11 11:00:00 | 7.972 | 145.5 | 7.498 | 165.2 | 6.803 | 154.3 | 6.672 | 148 | 10.74 | 973.365 | 49.0775 | 26.7913
2020-02-11 11:15:00 | 7.341 | 140.6 | 7.491 | 158 | 7.357 | 148.8 | 7.189 | 144.9 | 10.84 | 973.365 | 47.7125 | 23.4918
2020-02-11 11:30:00 | 7.982 | 145 | 8.03 | 164.1 | 7.434 | 154 | 7.278 | 148.9 | 11.23 | 972.954 | 48.4222 | 22.0804
2020-02-11 11:45:00 | 7.382 | 141.1 | 7.577 | 158.2 | 7.286 | 144.7 | 7.166 | 144.5 | 10.92 | 973.414 | 49.2066 | 22.3316
2020-02-11 12:00:00 | 6.504 | 171.8 | 6.486 | 184.5 | 5.493 | 174.7 | 5.424 | 172.7 | 11.56 | 973.216 | 47.5004 | 22.5755
2020-02-11 12:15:00 | 8.6 | 187.2 | 7.9 | 202.5 | 7.037 | 192.2 | 6.977 | 186.9 | 11.74 | 972.771 | 49.1725 | 22.4757
2020-02-11 12:30:00 | 6.912 | 154.1 | 6.987 | 171.3 | 6.846 | 159.6 | 6.799 | 159.9 | 11.54 | 972.622 | 49.6161 | 15.8065
2020-02-11 12:45:00 | 8.11 | 182.1 | 7.846 | 197.5 | 7.167 | 191.6 | 7.161 | 184.3 | 11.91 | 972.474 | 49.6161 | 12.2152
2020-02-11 13:00:00 | 6.874 | 167.6 | 6.217 | 182 | 5.806 | 175.9 | 5.819 | 172.5 | 12.01 | 972.474 | 47.944 | 6.1268
2020-02-11 13:15:00 | 7.331 | 156.2 | 7.375 | 170.2 | 6.945 | 154 | 6.746 | 164.2 | 12.04 | 972.622 | 48.1829 | 4.7294
2020-02-11 13:30:00 | 7.032 | 156.2 | 6.818 | 173.8 | 6.396 | 162.5 | 6.282 | 163.2 | 12.25 | 972.177 | 45.4871 | 10.316
2020-02-11 13:45:00 | 8.21 | 183.7 | 8.06 | 197 | 7.538 | 187.3 | 7.642 | 187.6 | 12.23 | 972.028 | 45.6577 | 13.3273
2020-02-11 14:00:00 | 7.239 | 172.6 | 7.35 | 191.3 | 6.388 | 180.8 | 6.458 | 175.7 | 12.33 | 972.177 | 46.4085 | 14.0618
2020-02-11 14:15:00 | 5.048 | 156.5 | 5.302 | 169.6 | 5.32 | 157.5 | 5.21 | 161.5 | 12.73 | 972.177 | 45.1459 | 12.2632
2020-02-11 14:30:00 | 6.889 | 138.1 | 7.033 | 154.8 | 7.197 | 137.3 | 7.115 | 145.1 | 12.84 | 972.474 | 45.7942 | 13.9333
2020-02-11 14:45:00 | 5.329 | 155.3 | 5.578 | 176 | 5.806 | 166.6 | 5.755 | 163.3 | 13.13 | 972.177 | 43.4738 | 14.9087
2020-02-11 15:00:00 | 7.17 | 157.1 | 6.864 | 179.6 | 6.892 | 169.2 | 6.947 | 161.1 | 12.78 | 971.88 | 44.5658 | 17.6688
2020-02-11 15:15:00 | 6.764 | 140.5 | 7.061 | 158.5 | 6.836 | 146.1 | 6.674 | 145.7 | 12.72 | 972.028 | 42.2454 | 14.8607
2020-02-11 15:30:00 | 7.903 | 149.6 | 7.67 | 166.1 | 7.457 | 152.5 | 7.296 | 154.4 | 12.9 | 972.325 | 43.6103 | 15.4223
2020-02-11 15:45:00 | 7.287 | 188.1 | 7.094 | 203.2 | 6.312 | 193.4 | 6.292 | 188 | 13.17 | 971.583 | 42.2454 | 16.213
2020-02-11 16:00:00 | 6.991 | 177.7 | 6.905 | 197.4 | 6.444 | 190.2 | 6.516 | 177.2 | 13.09 | 971.286 | 42.3819 | 27.4158
2020-02-11 16:15:00 | 5.526 | 172 | 5.721 | 188.6 | 5.475 | 180.2 | 5.404 | 175.5 | 12.97 | 971.732 | 43.3373 | 20.2958
2020-02-11 16:30:00 | 4.943 | 163.8 | 4.862 | 175.8 | 4.555 | 166.4 | 4.584 | 170.2 | 13.03 | 971.88 | 44.9411 | 22.775
2020-02-11 16:45:00 | 5.168 | 166.8 | 5.154 | 180.7 | 4.898 | 181.1 | 4.869 | 173.9 | 12.87 | 971.286 | 45.726 | 23.7726
2020-02-11 17:00:00 | 6.419 | 155.5 | 6.524 | 170.5 | 6.406 | 159.9 | 6.287 | 161.2 | 12.61 | 971.227 | 46.6815 | 24.0202
2020-02-11 17:15:00 | 5.812 | 148.4 | 6.174 | 163.1 | 5.498 | 149.4 | 5.348 | 156.3 | 12.56 | 971.281 | 46.0703 | 23.8576
2020-02-11 17:30:00 | 4.762 | 167.2 | 4.717 | 180.6 | 4.56 | 165 | 4.479 | 174.7 | 12.25 | 970.989 | 48.6007 | 25.5536
2020-02-11 17:45:00 | 7.494 | 153.2 | 7.209 | 166.6 | 6.592 | 151.8 | 6.463 | 160.6 | 11.84 | 970.692 | 55.2218 | 37.4776
2020-02-11 18:00:00 | 7.29 | 151.2 | 7.943 | 165.8 | 7.932 | 155.9 | 7.892 | 157.4 | 11.36 | 970.395 | 57.5523 | 40.0152
2020-02-11 18:15:00 | 8.29 | 153.4 | 8.56 | 167.6 | 8.72 | 154.2 | 8.63 | 158.5 | 11.04 | 970.247 | 59.8737 | 45.2234
2020-02-11 18:30:00 | 7.18 | 147.5 | 7.445 | 164.9 | 7.797 | 154.3 | 7.823 | 152.6 | 10.8 | 970.735 | 61.1708 | 37.8869
2020-02-11 18:45:00 | 7.116 | 151.1 | 8.03 | 166.5 | 8.29 | 159.7 | 8.2 | 156 | 10.64 | 970.777 | 61.9218 | 41.604
2020-02-11 19:00:00 | 7.584 | 146.5 | 7.739 | 163.9 | 7.772 | 153.8 | 7.782 | 150.3 | 10.39 | 970.759 | 63.9036 | 42.6016
2020-02-11 19:15:00 | 8.09 | 145.2 | 8.56 | 162.8 | 9.02 | 151.2 | 9.01 | 150.2 | 10.18 | 970.172 | 63.9819 | 43.9982
2020-02-11 19:30:00 | 7.67 | 149.5 | 8.22 | 165.9 | 8.79 | 155.5 | 8.84 | 155.5 | 10.06 | 970.287 | 63.6395 | 48.7424
2020-02-11 19:45:00 | 7.729 | 161.1 | 7.363 | 172.1 | 7.607 | 156 | 7.471 | 167.5 | 10.04 | 970.384 | 63.6398 | 53.6381
2020-02-11 20:00:00 | 7.617 | 154.4 | 7.67 | 169.4 | 7.637 | 161.1 | 7.785 | 160.6 | 9.78 | 970.394 | 65.8978 | 49.1341
2020-02-11 20:15:00 | 8.36 | 163.2 | 8.23 | 178.9 | 7.996 | 164.1 | 7.953 | 168 | 9.35 | 970.394 | 67.8824 | 51.0221
2020-02-11 20:30:00 | 6.731 | 160.4 | 6.874 | 171.8 | 6.666 | 155.3 | 6.631 | 167.4 | 8.92 | 970.394 | 69.3187 | 53.2908
2020-02-11 20:45:00 | 8.24 | 153.8 | 8.66 | 168.6 | 8.92 | 157 | 8.77 | 159.2 | 8.64 | 969.949 | 71.1968 | 58.3749
2020-02-11 21:00:00 | 8.61 | 151.6 | 9.19 | 167.2 | 9.08 | 157.7 | 9.19 | 159 | 8.5 | 970.14 | 71.7091 | 59.2341
2020-02-11 21:15:00 | 8.58 | 156.1 | 8.77 | 168.4 | 8.36 | 156.5 | 8.34 | 164.8 | 8.32 | 969.935 | 72.9384 | 61.0462
2020-02-11 21:30:00 | 8.07 | 158.9 | 8.87 | 169.5 | 8.13 | 156.8 | 8.07 | 166.4 | 8.29 | 970.07 | 73.3481 | 57.9684
2020-02-11 21:45:00 | 7.193 | 154.7 | 7.434 | 169.6 | 8.27 | 157.7 | 8.27 | 159.3 | 8.1 | 970.369 | 74.953 | 51.484
2020-02-11 22:00:00 | 7.29 | 148.8 | 7.854 | 165.9 | 8.87 | 157.9 | 8.88 | 155.8 | 7.954 | 970.097 | 75.3969 | 54.4435
2020-02-11 22:15:00 | 6.843 | 147.2 | 7.314 | 163.1 | 8.29 | 151.1 | 8.4 | 152.4 | 7.992 | 969.947 | 76.6945 | 56.8821
2020-02-11 22:30:00 | 7.481 | 148.4 | 8.21 | 164.8 | 8.57 | 155 | 8.52 | 152.9 | 7.964 | 970.097 | 76.6964 | 54.0519
2020-02-11 22:45:00 | 6.999 | 147.2 | 7.465 | 164.5 | 8.38 | 153 | 8.53 | 151.6 | 8.02 | 970.097 | 76.8355 | 50.2499
2020-02-11 23:00:00 | 7.241 | 151.4 | 7.618 | 166.6 | 8.01 | 156.3 | 8.04 | 155.7 | 7.864 | 969.948 | 78.4802 | 46.4257
2020-02-11 23:15:00 | 6.925 | 152.5 | 7.13 | 167.1 | 7.772 | 156.4 | 7.792 | 154.8 | 7.733 | 970.097 | 79.5728 | 50.5935
2020-02-11 23:30:00 | 6.723 | 147.4 | 7.291 | 165.9 | 8.38 | 165.8 | 8.54 | 152.7 | 7.731 | 969.948 | 80.8067 | 52.452
2020-02-11 23:45:00 | 7.382 | 152 | 7.7 | 166.9 | 8.02 | 154.2 | 8.01 | 155.3 | 7.633 | 969.8 | 82.2449 | 58.9016