## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-12 00:00:00 | 6.932 | 151.2 | 7.202 | 167.4 | 8.08 | 164.6 | 8.13 | 155.9 | 7.555 | 969.8 | 82.2487 | 61.1164
2020-02-12 00:15:00 | 7.129 | 151.6 | 7.795 | 168.3 | 8.72 | 154.6 | 8.66 | 155 | 7.485 | 969.8 | 82.5212 | 48.9345
2020-02-12 00:30:00 | 6.57 | 150.3 | 7.13 | 166.7 | 8.07 | 155.9 | 8.23 | 154.1 | 7.47 | 969.8 | 83.5456 | 41.5338
2020-02-12 00:45:00 | 6.815 | 152.4 | 7.726 | 169.5 | 8.88 | 163.6 | 9.01 | 154.8 | 7.329 | 969.651 | 85.0526 | 44.1128
2020-02-12 01:00:00 | 6.846 | 150.5 | 7.779 | 167.8 | 8.65 | 157.8 | 8.7 | 154.6 | 7.182 | 969.502 | 86.0117 | 41.5227
2020-02-12 01:15:00 | 5.809 | 151.7 | 6.736 | 168 | 8.05 | 160.6 | 8.14 | 153.5 | 7.085 | 969.502 | 86.5585 | 52.4003
2020-02-12 01:30:00 | 6.276 | 147.8 | 7.041 | 166 | 8.47 | 155.2 | 8.46 | 152.1 | 6.969 | 969.502 | 86.9682 | 43.8615
2020-02-12 01:45:00 | 5.707 | 148.7 | 6.435 | 170.2 | 7.754 | 161.6 | 7.978 | 151.8 | 6.874 | 969.502 | 86.9684 | 38.9732
2020-02-12 02:00:00 | 6.948 | 147.4 | 7.56 | 164.8 | 8.29 | 151.9 | 8.28 | 152 | 6.876 | 969.205 | 87.0367 | 35.7957
2020-02-12 02:15:00 | 7.055 | 150 | 7.662 | 164 | 8.37 | 150.8 | 8.49 | 155.1 | 6.826 | 969.205 | 87.3783 | 41.643
2020-02-12 02:30:00 | 6.583 | 149.9 | 7.094 | 166.1 | 8.12 | 156.2 | 8.24 | 155 | 6.659 | 969.205 | 87.2417 | 36.7785
2020-02-12 02:45:00 | 6.978 | 151.8 | 7.716 | 166.9 | 8.13 | 155.4 | 8.06 | 160.3 | 6.656 | 969.205 | 87.31 | 30.5305
2020-02-12 03:00:00 | 6.828 | 156.3 | 7.401 | 170.1 | 7.94 | 156 | 7.92 | 162.8 | 6.526 | 969.205 | 87.7541 | 35.6072
2020-02-12 03:15:00 | 6.603 | 153.4 | 7.107 | 168 | 7.49 | 158.6 | 7.477 | 160.5 | 6.369 | 968.908 | 89.1546 | 35.3153
2020-02-12 03:30:00 | 7.558 | 154.7 | 7.897 | 166 | 7.899 | 150.1 | 7.831 | 162.2 | 6.461 | 968.908 | 88.5397 | 34.7279
2020-02-12 03:45:00 | 7.369 | 155.4 | 7.744 | 165.9 | 7.724 | 150.1 | 7.719 | 162.8 | 6.468 | 968.611 | 89.7694 | 34.4618
2020-02-12 04:00:00 | 7.41 | 152.5 | 7.964 | 165.1 | 8.2 | 152.4 | 8.17 | 159.3 | 6.301 | 968.462 | 91.2724 | 37.6394
2020-02-12 04:15:00 | 7.456 | 147.1 | 8.29 | 161.4 | 8.39 | 149.1 | 8.36 | 155.7 | 6.085 | 968.314 | 92.7071 | 40.3514
2020-02-12 04:30:00 | 7.213 | 150.7 | 7.869 | 163.5 | 8.57 | 150.8 | 8.58 | 156.8 | 6.006 | 968.314 | 94.1759 | 36.0543
2020-02-12 04:45:00 | 7.349 | 152 | 8.04 | 163.2 | 8.38 | 144.8 | 8.34 | 158 | 6.103 | 968.314 | 95.1665 | 35.9472
2020-02-12 05:00:00 | 6.861 | 150.6 | 7.48 | 163 | 8.27 | 151.4 | 8.22 | 157.5 | 6.089 | 968.314 | 95.4398 | 34.5727
2020-02-12 05:15:00 | 7.487 | 148.7 | 7.93 | 162.3 | 8.15 | 149.3 | 8.09 | 155.8 | 6.057 | 968.314 | 96.3279 | 36.0986
2020-02-12 05:30:00 | 7.402 | 149.3 | 8.07 | 162.7 | 8.29 | 149.3 | 8.25 | 156.5 | 5.897 | 968.314 | 96.9428 | 37.6135
2020-02-12 05:45:00 | 6.907 | 148.4 | 7.332 | 162.7 | 8.37 | 145.6 | 8.42 | 154 | 5.804 | 968.314 | 97.5235 | 37.0741
2020-02-12 06:00:00 | 6.856 | 148.6 | 7.473 | 162.8 | 8.33 | 151.6 | 8.38 | 154.8 | 5.699 | 968.314 | 97.6943 | 40.392
2020-02-12 06:15:00 | 6.692 | 150.3 | 7.593 | 162.6 | 8.2 | 148.2 | 8.29 | 158.1 | 5.699 | 968.314 | 97.6943 | 37.3179
2020-02-12 06:30:00 | 7.012 | 150.6 | 7.869 | 163.5 | 8.18 | 151.8 | 8.12 | 157.5 | 5.686 | 968.314 | 97.2844 | 36.7711
2020-02-12 06:45:00 | 7.594 | 148.9 | 8.3 | 165.1 | 9.06 | 155.9 | 9.07 | 154.5 | 5.683 | 968.314 | 97.8309 | 46.4405
2020-02-12 07:00:00 | 8.04 | 147.5 | 8.56 | 163.6 | 8.89 | 152.6 | 8.86 | 151.5 | 5.37 | 968.017 | 98.924 | 45.8752
2020-02-12 07:15:00 | 7.132 | 149.9 | 7.703 | 167 | 8.54 | 157.9 | 8.61 | 152.1 | 5.299 | 968.337 | 99.1289 | 40.1297
2020-02-12 07:30:00 | 7.504 | 150.5 | 7.966 | 165.4 | 8.38 | 154.5 | 8.44 | 153.3 | 5.182 | 968.165 | 99.5388 | 35.5998
2020-02-12 07:45:00 | 7.663 | 150.6 | 8.08 | 166.1 | 8.43 | 153.7 | 8.48 | 154.8 | 5.157 | 968.314 | 99.9488 | 33.8596
2020-02-12 08:00:00 | 7.931 | 151.9 | 8.19 | 164 | 8.28 | 150.2 | 8.33 | 157.8 | 5.081 | 968.314 | 100 | 33.527
2020-02-12 08:15:00 | 7.586 | 156.6 | 7.595 | 167.8 | 8.36 | 151.4 | 8.49 | 164.7 | 4.951 | 968.611 | 99.9829 | 30.0834
2020-02-12 08:30:00 | 7.423 | 156.6 | 7.352 | 167.7 | 7.991 | 151.1 | 8.06 | 164.7 | 4.865 | 968.76 | 99.9829 | 31.1771
2020-02-12 08:45:00 | 6.409 | 154.4 | 6.818 | 167.2 | 7.5 | 157.6 | 7.619 | 160.9 | 4.643 | 968.76 | 100 | 34.399
2020-02-12 09:00:00 | 6.636 | 154.3 | 7.125 | 167.5 | 8.26 | 156.9 | 8.33 | 162.3 | 4.553 | 969.057 | 100 | 35.7144
2020-02-12 09:15:00 | 6.506 | 155.6 | 7.102 | 167.1 | 7.902 | 149.8 | 8.03 | 163.2 | 4.833 | 969.503 | 100 | 32.1784
2020-02-12 09:30:00 | 6.825 | 154.7 | 7.079 | 168.2 | 8.13 | 153.4 | 8.29 | 161.6 | 4.891 | 969.503 | 100 | 30.6487
2020-02-12 09:45:00 | 7.387 | 156.7 | 7.383 | 167.8 | 7.909 | 151.3 | 7.93 | 163.8 | 4.991 | 969.503 | 99.9965 | 32.3484
2020-02-12 10:00:00 | 7.461 | 155.4 | 7.787 | 167.2 | 8.3 | 154.8 | 8.39 | 162.5 | 5.232 | 969.948 | 99.9831 | 36.0063
2020-02-12 10:15:00 | 7.208 | 153.3 | 7.981 | 168.3 | 8.37 | 157.7 | 8.3 | 160 | 5.855 | 969.809 | 99.3 | 33.2573
2020-02-12 10:30:00 | 8.43 | 152.3 | 8.28 | 168 | 8.02 | 155.8 | 7.96 | 160 | 6.311 | 970.395 | 93.8279 | 24.1754
2020-02-12 10:45:00 | 6.784 | 151.8 | 6.805 | 166.8 | 6.699 | 158 | 6.641 | 158.3 | 6.82 | 970.706 | 88.9724 | 15.256
2020-02-12 11:00:00 | 6.537 | 155.8 | 6.396 | 167.6 | 6.032 | 152.2 | 6.035 | 164.2 | 7.376 | 970.736 | 86.2948 | 18.3227
2020-02-12 11:15:00 | 7.476 | 155.3 | 7.184 | 168.3 | 6.689 | 152.4 | 6.657 | 164 | 7.915 | 970.693 | 82.4373 | 20.4029
2020-02-12 11:30:00 | 7.89 | 151.9 | 7.805 | 165.1 | 7.24 | 151.2 | 7.115 | 159.3 | 8.41 | 970.395 | 80.0478 | 25.5831
2020-02-12 11:45:00 | 8.48 | 146.4 | 8.29 | 160.3 | 7.556 | 147.7 | 7.418 | 155.1 | 8.58 | 970.247 | 78.1704 | 27.0056
2020-02-12 12:00:00 | 8.2 | 146.1 | 8.35 | 161.1 | 8.09 | 149.4 | 7.948 | 152 | 8.92 | 970.098 | 77.6872 | 28.2545
2020-02-12 12:15:00 | 8.63 | 147.1 | 8.9 | 160.7 | 7.958 | 148.4 | 7.803 | 155.8 | 9.48 | 970.098 | 76.1435 | 24.7407
2020-02-12 12:30:00 | 9.16 | 140.9 | 8.85 | 155.3 | 7.418 | 141 | 7.158 | 149.2 | 9.68 | 969.801 | 74.06 | 24.3934
2020-02-12 12:45:00 | 8.38 | 146.1 | 7.987 | 159.5 | 6.981 | 144.4 | 6.952 | 155.8 | 10.02 | 969.801 | 70.8521 | 26.6398
2020-02-12 13:00:00 | 7.984 | 153.4 | 8.11 | 166.7 | 7.22 | 152.7 | 7.161 | 159.2 | 10.65 | 970.098 | 67.6789 | 24.9143
2020-02-12 13:15:00 | 8.6 | 150.6 | 8.59 | 168.6 | 7.36 | 157.2 | 7.224 | 157.8 | 10.87 | 969.801 | 66.6553 | 24.2604
2020-02-12 13:30:00 | 7.647 | 170.6 | 7.179 | 187.8 | 6.564 | 181.2 | 6.43 | 174.2 | 11.2 | 969.92 | 63.8524 | 24.7813
2020-02-12 13:45:00 | 7.548 | 167.6 | 6.918 | 182.8 | 6.483 | 171.1 | 6.427 | 172.8 | 11.24 | 969.501 | 63.3015 | 23.5103
2020-02-12 14:00:00 | 7.921 | 159.5 | 7.501 | 172.6 | 6.383 | 157.1 | 6.287 | 168 | 11.01 | 969.421 | 63.676 | 24.7
2020-02-12 14:15:00 | 6.297 | 164.8 | 6.325 | 178 | 5.893 | 167 | 5.89 | 170.2 | 11.33 | 969.432 | 64.0515 | 29.6401
2020-02-12 14:30:00 | 7.213 | 180.4 | 6.698 | 197.6 | 6.012 | 195.2 | 6.012 | 175.9 | 11.35 | 968.883 | 68.4186 | 29.1716
2020-02-12 14:45:00 | 7.921 | 160.5 | 7.7 | 175.9 | 7.327 | 164.3 | 7.265 | 164.3 | 11.05 | 969.055 | 71.4587 | 34.0037
2020-02-12 15:00:00 | 9.44 | 150.3 | 9.31 | 164.1 | 8.9 | 149.6 | 8.81 | 155.6 | 10.88 | 969.207 | 71.9445 | 36.3463
2020-02-12 15:15:00 | 9.51 | 147.8 | 9.31 | 163.8 | 8.74 | 153.5 | 8.62 | 153.4 | 11.13 | 969.059 | 70.4432 | 37.5507
2020-02-12 15:30:00 | 8.93 | 148.4 | 9.14 | 161.9 | 9.03 | 149.3 | 8.87 | 154.6 | 11.68 | 968.91 | 70 | 37.9587
2020-02-12 15:45:00 | 8.63 | 144.8 | 8.94 | 161.1 | 8.59 | 148 | 8.49 | 152.8 | 11.63 | 968.91 | 68.5324 | 36.3823
2020-02-12 16:00:00 | 9.74 | 148.2 | 9.6 | 164 | 9.27 | 153.2 | 9.12 | 154.9 | 11.82 | 968.613 | 66.9621 | 46.7767
2020-02-12 16:15:00 | 9.82 | 157.2 | 9.47 | 171.7 | 8.87 | 158.1 | 8.75 | 161.9 | 12.02 | 968.762 | 61.9454 | 45.3542
2020-02-12 16:30:00 | 8.49 | 145.4 | 8.71 | 160.7 | 8.89 | 153.1 | 8.79 | 150.7 | 12.11 | 968.613 | 62.6618 | 42.2595
2020-02-12 16:45:00 | 8.19 | 148.6 | 8.65 | 165.8 | 8.04 | 156.3 | 7.856 | 154.1 | 11.95 | 968.316 | 63.7883 | 43.3073
2020-02-12 17:00:00 | 8.15 | 148.9 | 8.32 | 167 | 7.988 | 157 | 7.917 | 155.1 | 11.79 | 968.316 | 64.2317 | 45.2286
2020-02-12 17:15:00 | 6.455 | 143.2 | 6.521 | 165.6 | 6.945 | 158 | 6.947 | 149 | 11.67 | 968.316 | 64.2313 | 46.2611
2020-02-12 17:30:00 | 8.36 | 148.5 | 8.46 | 167 | 8.35 | 159.3 | 8.2 | 153.1 | 11.48 | 967.722 | 64.3733 | 47.7817
2020-02-12 17:45:00 | 7.967 | 155.1 | 8.06 | 168.6 | 8.02 | 156.5 | 8.04 | 156.8 | 11.37 | 967.574 | 65.1988 | 55.6592
2020-02-12 18:00:00 | 6.44 | 160.3 | 6.872 | 177 | 7.068 | 167.9 | 7.041 | 162.6 | 11.16 | 967.128 | 66.1546 | 61.1238
2020-02-12 18:15:00 | 7.829 | 163.4 | 7.664 | 179.4 | 7.116 | 164.1 | 7.194 | 164.1 | 10.95 | 967.132 | 67.9297 | 67.926
2020-02-12 18:30:00 | 9.52 | 155.2 | 9.46 | 167.7 | 9.13 | 150.4 | 9.17 | 159.6 | 10.65 | 966.921 | 69.534 | 74.429
2020-02-12 18:45:00 | 8.23 | 148.6 | 8.46 | 169.3 | 9.47 | 156.7 | 9.49 | 147.3 | 10.34 | 967.027 | 70.7971 | 77.1077
2020-02-12 19:00:00 | 9.14 | 143.2 | 9.67 | 162.2 | 11.3 | 148.1 | 11.32 | 148.5 | 10.05 | 966.933 | 71.4226 | 84.3296
2020-02-12 19:15:00 | 10.93 | 147 | 11.56 | 163.6 | 12.37 | 148.7 | 12.26 | 150.8 | 9.95 | 966.809 | 73.1318 | 83.3964
2020-02-12 19:30:00 | 10.31 | 147.7 | 10.63 | 162.1 | 11.54 | 146.5 | 11.62 | 151 | 9.68 | 966.829 | 74.2273 | 86.7513
2020-02-12 19:45:00 | 11.1 | 145.8 | 11.67 | 162.1 | 12.56 | 147.7 | 12.49 | 151.2 | 9.77 | 966.83 | 75.94 | 86.5676
2020-02-12 20:00:00 | 10.65 | 145.6 | 11.09 | 160.7 | 11.93 | 154.1 | 11.94 | 150.8 | 9.73 | 966.681 | 76.8306 | 90.5496
2020-02-12 20:15:00 | 12.94 | 143 | 13.33 | 159.6 | 13.58 | 146.7 | 13.48 | 149 | 10.03 | 966.83 | 77.8884 | 89.7589
2020-02-12 20:30:00 | 11.2 | 144.4 | 11.82 | 160.1 | 12.73 | 148.4 | 12.66 | 149.8 | 10.09 | 966.83 | 76.6233 | 87.021
2020-02-12 20:45:00 | 11.86 | 143.6 | 12.42 | 158.2 | 12.62 | 145.8 | 12.45 | 150 | 10 | 966.83 | 76.8972 | 89.0273
2020-02-12 21:00:00 | 11.57 | 144.5 | 12.27 | 160.2 | 12.79 | 146.3 | 12.63 | 150.9 | 10.02 | 967.127 | 78.1935 | 87.5504
2020-02-12 21:15:00 | 12.62 | 144.4 | 13.14 | 158.6 | 13.37 | 146.3 | 13.16 | 149.8 | 9.94 | 966.978 | 77.7839 | 86.4409
2020-02-12 21:30:00 | 12.53 | 144.1 | 13.39 | 159.9 | 13.96 | 146.6 | 13.75 | 149.6 | 9.83 | 966.83 | 78.195 | 88.8426
2020-02-12 21:45:00 | 13.31 | 143.2 | 13.93 | 158.2 | 14.43 | 146 | 14.24 | 148.9 | 9.98 | 966.83 | 78.0549 | 89.4855
2020-02-12 22:00:00 | 13.19 | 143.1 | 13.62 | 158.9 | 14.11 | 146.1 | 14.02 | 148.4 | 9.97 | 967.127 | 77.0648 | 90.217
2020-02-12 22:15:00 | 13.15 | 142.9 | 13.69 | 158.4 | 13.94 | 146.9 | 13.81 | 149.4 | 10.07 | 966.83 | 76.0754 | 89.8512
2020-02-12 22:30:00 | 13.52 | 143.6 | 14.2 | 158.4 | 14.9 | 146.3 | 14.71 | 148.8 | 10.09 | 966.83 | 76.6205 | 89.8106
2020-02-12 22:45:00 | 13.9 | 143.5 | 14.67 | 159.1 | 15.43 | 149.5 | 15.31 | 148.9 | 10.05 | 966.384 | 77.5079 | 88.547
2020-02-12 23:00:00 | 14.1 | 143 | 14.96 | 158.9 | 15.79 | 147.9 | 15.48 | 149.2 | 10.09 | 966.235 | 78.1195 | 88.9793
2020-02-12 23:15:00 | 15.23 | 142.3 | 15.6 | 157.6 | 16.17 | 146.6 | 15.95 | 148.7 | 10.11 | 966.533 | 77.2307 | 84.6785
2020-02-12 23:30:00 | 14.38 | 144.2 | 15.04 | 159.3 | 15.71 | 146.2 | 15.58 | 150.5 | 10.11 | 966.83 | 77.4712 | 53.773
2020-02-12 23:45:00 | 13.79 | 142.9 | 14.27 | 159.8 | 14.87 | 146.6 | 14.81 | 147.8 | 10.24 | 966.83 | 77.1262 | 37.4657