## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-13 00:00:00 | 12.9 | 139.4 | 13.04 | 157.7 | 13.49 | 149.4 | 13.39 | 145.2 | 10.09 | 967.123 | 77.4329 | 35.9693
2020-02-13 00:15:00 | 14.13 | 141.1 | 14.35 | 157 | 15 | 143.8 | 14.96 | 146.3 | 10.06 | 966.532 | 76.5463 | 38.6855
2020-02-13 00:30:00 | 14.01 | 137.8 | 14.51 | 153.8 | 14.6 | 145.3 | 14.45 | 145.7 | 10 | 966.681 | 78.0499 | 32.4903
2020-02-13 00:45:00 | 14.39 | 139.6 | 14.94 | 156 | 14.91 | 143.3 | 14.71 | 146.8 | 9.68 | 966.235 | 78.3243 | 32.522
2020-02-13 01:00:00 | 12.86 | 142.1 | 13.32 | 158.7 | 13.81 | 147.6 | 13.61 | 148.2 | 9.62 | 966.087 | 79.8308 | 23.7135
2020-02-13 01:15:00 | 13.15 | 144.2 | 13.51 | 158.9 | 14.21 | 147.5 | 14.16 | 148.4 | 9.55 | 966.235 | 80.5185 | 24.253
2020-02-13 01:30:00 | 12.58 | 142.5 | 13.3 | 160 | 13.73 | 147.6 | 13.61 | 147.8 | 9.52 | 966.235 | 81.2702 | 21.674
2020-02-13 01:45:00 | 13.02 | 145.4 | 12.91 | 159.8 | 12.69 | 146.6 | 12.53 | 150.1 | 9.35 | 966.235 | 82.1239 | 19.8118
2020-02-13 02:00:00 | 13.56 | 144.2 | 13.54 | 161.4 | 13.56 | 149 | 13.58 | 148.5 | 9.27 | 966.235 | 83.0459 | 22.6457
2020-02-13 02:15:00 | 13.01 | 144.3 | 13.61 | 161.7 | 13.71 | 148.3 | 13.54 | 148.5 | 9.09 | 965.938 | 84.1728 | 23.7283
2020-02-13 02:30:00 | 12.62 | 145.6 | 13.3 | 162.7 | 13.78 | 153.4 | 13.67 | 150.4 | 9.05 | 966.087 | 83.9337 | 19.4903
2020-02-13 02:45:00 | 12.17 | 146.1 | 12.26 | 163.9 | 13.17 | 150.2 | 13.12 | 150.3 | 9.02 | 965.641 | 84.2069 | 19.6048
2020-02-13 03:00:00 | 11.88 | 146.5 | 12.36 | 160.7 | 12.78 | 151.1 | 12.68 | 152 | 8.92 | 965.653 | 84.2069 | 20.4879
2020-02-13 03:15:00 | 11.35 | 147.1 | 11.87 | 164.6 | 12.04 | 151.8 | 12.01 | 152 | 8.96 | 965.649 | 84.002 | 20.632
2020-02-13 03:30:00 | 12.49 | 146.5 | 13.13 | 160.4 | 13.18 | 147.7 | 13.04 | 153.1 | 9.07 | 965.642 | 83.3874 | 20.319
2020-02-13 03:45:00 | 12.1 | 144.8 | 12.41 | 163.8 | 13.29 | 153 | 13.25 | 150.3 | 9.03 | 965.346 | 84.4801 | 20.1517
2020-02-13 04:00:00 | 13 | 143.4 | 13.85 | 161.6 | 14.1 | 150.1 | 13.94 | 149.8 | 8.89 | 965.374 | 85.163 | 15.6701
2020-02-13 04:15:00 | 12.56 | 145.3 | 12.87 | 162.2 | 13.1 | 150.3 | 13.05 | 150.1 | 8.84 | 965.372 | 85.5387 | 15.9063
2020-02-13 04:30:00 | 13.26 | 145.8 | 13.35 | 160.9 | 13.65 | 148.7 | 13.51 | 150.3 | 8.76 | 965.543 | 85.7777 | 18.7476
2020-02-13 04:45:00 | 11.9 | 143.3 | 12.7 | 159.5 | 13.06 | 149 | 13.03 | 147.9 | 8.75 | 965.266 | 86.085 | 21.4855
2020-02-13 05:00:00 | 13.69 | 142.5 | 13.76 | 160.5 | 13.44 | 150.3 | 13.3 | 146.2 | 8.75 | 965.471 | 85.0265 | 21.685
2020-02-13 05:15:00 | 12.82 | 141.8 | 13.37 | 156.9 | 13.86 | 147.5 | 13.75 | 146.8 | 8.72 | 965.088 | 85.5728 | 21.7589
2020-02-13 05:30:00 | 12.46 | 144.5 | 12.91 | 160.3 | 13.5 | 147.4 | 13.48 | 147.5 | 8.72 | 964.824 | 84.7533 | 21.7405
2020-02-13 05:45:00 | 13.25 | 143.3 | 13.95 | 160.4 | 14.39 | 148.2 | 14.27 | 147.7 | 8.77 | 965.026 | 83.7972 | 26.3073
2020-02-13 06:00:00 | 13.09 | 143.1 | 13.61 | 160.2 | 14.06 | 149.4 | 13.87 | 149.3 | 8.77 | 965.328 | 83.2167 | 26.3295
2020-02-13 06:15:00 | 12.35 | 142.7 | 13.19 | 159.1 | 13.65 | 146.9 | 13.46 | 148.6 | 8.79 | 965.147 | 82.2264 | 26.2704
2020-02-13 06:30:00 | 12.03 | 143.4 | 13.02 | 160.3 | 13.83 | 149.8 | 13.69 | 149.5 | 8.92 | 965.142 | 81.7825 | 32.1599
2020-02-13 06:45:00 | 12.41 | 141.7 | 13.4 | 158.4 | 14.4 | 146.7 | 14.28 | 146.4 | 8.77 | 965.302 | 80.1093 | 37.7759
2020-02-13 07:00:00 | 12.23 | 140.6 | 12.57 | 157.6 | 13.69 | 142.9 | 13.68 | 146.2 | 9.06 | 965.195 | 80.6898 | 42.5868
2020-02-13 07:15:00 | 12.56 | 140 | 13.1 | 155.8 | 13.92 | 142.9 | 13.86 | 145.7 | 9.07 | 965.604 | 79.2214 | 49.3489
2020-02-13 07:30:00 | 12.15 | 141.1 | 12.47 | 157.2 | 13.04 | 146 | 13.09 | 147.4 | 8.97 | 965.511 | 78.4019 | 54.2219
2020-02-13 07:45:00 | 12.35 | 138.9 | 13.05 | 154.2 | 13.47 | 144.4 | 13.47 | 145.6 | 9.02 | 965.642 | 77.3775 | 59.6036
2020-02-13 08:00:00 | 12.56 | 137 | 12.8 | 153.6 | 13.29 | 143.7 | 13.21 | 143.4 | 8.97 | 965.642 | 79.0165 | 82.4968
2020-02-13 08:15:00 | 12.37 | 136.2 | 12.96 | 151.8 | 13.77 | 142.4 | 13.67 | 142 | 9.06 | 965.493 | 79.9698 | 91.2664
2020-02-13 08:30:00 | 12.58 | 137.1 | 12.76 | 156.1 | 13.24 | 147.6 | 13.26 | 140.7 | 9.03 | 965.623 | 79.9593 | 92.5485
2020-02-13 08:45:00 | 13.11 | 134.9 | 13.71 | 150.8 | 14.14 | 140.2 | 14.04 | 141.1 | 9.07 | 965.37 | 78.9351 | 82.6683
2020-02-13 09:00:00 | 12.85 | 133.6 | 14.15 | 149.2 | 14.72 | 138.5 | 14.54 | 139.8 | 9.23 | 965.697 | 77.4208 | 56.2338
2020-02-13 09:15:00 | 13.2 | 132.6 | 13.58 | 149.7 | 14.68 | 141.6 | 14.65 | 140.2 | 9.56 | 965.999 | 74.8934 | 41.9032
2020-02-13 09:30:00 | 13.39 | 133.3 | 14.37 | 149.4 | 15.32 | 138 | 15.2 | 140.5 | 9.84 | 965.792 | 72.9818 | 34.5394
2020-02-13 09:45:00 | 13.48 | 138.8 | 14.15 | 154.3 | 14 | 141.3 | 13.8 | 144.9 | 10.04 | 965.941 | 72.8452 | 27.3456
2020-02-13 10:00:00 | 12.41 | 137.1 | 12.76 | 154.1 | 13.32 | 143.5 | 13.3 | 143 | 10.21 | 966.535 | 71.275 | 28.3099
2020-02-13 10:15:00 | 11.85 | 140.4 | 11.97 | 157.5 | 11.99 | 143.8 | 11.78 | 147.1 | 10.51 | 966.535 | 68.2688 | 21.7737
2020-02-13 10:30:00 | 11.34 | 140.1 | 11.87 | 157.8 | 12 | 153.5 | 11.9 | 145.5 | 10.85 | 967.129 | 67.916 | 25.003
2020-02-13 10:45:00 | 13.23 | 144.2 | 13.56 | 163.2 | 13.27 | 152.7 | 13.03 | 149.1 | 11.28 | 966.683 | 63.72 | 23.9817
2020-02-13 11:00:00 | 11.59 | 150.9 | 12.15 | 165.1 | 11.95 | 151.5 | 11.83 | 157.5 | 11.83 | 967.129 | 60.306 | 20.9606
2020-02-13 11:15:00 | 13.01 | 145 | 13.46 | 161.1 | 13.25 | 147.1 | 12.96 | 151 | 12.01 | 967.333 | 61.6289 | 19.0211
2020-02-13 11:30:00 | 12.21 | 144.5 | 12.14 | 158.4 | 11.11 | 145.8 | 10.78 | 152.8 | 12.3 | 966.853 | 62.1055 | 20.584
2020-02-13 11:45:00 | 10.67 | 152.3 | 10.65 | 167.9 | 9.82 | 154.8 | 9.78 | 158.3 | 12.76 | 966.685 | 61.1841 | 17.0586
2020-02-13 12:00:00 | 11.8 | 152.5 | 12.26 | 169.1 | 11.55 | 158.5 | 11.39 | 157.6 | 12.98 | 966.833 | 61.9007 | 16.3275
2020-02-13 12:15:00 | 12.87 | 149 | 13.03 | 166 | 12.68 | 154.4 | 12.39 | 153.7 | 13.17 | 966.388 | 60.6723 | 8.5612
2020-02-13 12:30:00 | 10.98 | 143.4 | 11.45 | 157.8 | 10.52 | 147.6 | 10.31 | 149.1 | 13.59 | 966.24 | 58.4873 | 5.8231
2020-02-13 12:45:00 | 11.76 | 143.1 | 11.76 | 161.7 | 11.91 | 152.7 | 11.68 | 148.3 | 13.85 | 965.943 | 60.1164 | 5.8194
2020-02-13 13:00:00 | 12.36 | 140.6 | 12.69 | 156.2 | 12.17 | 142.2 | 11.9 | 148.6 | 14.17 | 965.943 | 57.9921 | 5.6716
2020-02-13 13:15:00 | 11.84 | 149.1 | 11.85 | 167 | 11.55 | 157.2 | 11.34 | 153.4 | 14.4 | 966.24 | 57.8221 | 6.7579
2020-02-13 13:30:00 | 10.71 | 137.9 | 10.88 | 154.8 | 10.63 | 143.4 | 10.45 | 143.5 | 14.67 | 966.24 | 55.6036 | 12.1228
2020-02-13 13:45:00 | 11.21 | 145.9 | 11.27 | 162.3 | 11.06 | 150.2 | 10.85 | 150.7 | 14.84 | 966.24 | 55.0913 | 21.0126
2020-02-13 14:00:00 | 9.8 | 141 | 10.28 | 159.3 | 10.58 | 149.9 | 10.6 | 146.8 | 15.44 | 966.091 | 54.5114 | 22.1743
2020-02-13 14:15:00 | 10.69 | 144.5 | 10.87 | 161.7 | 10.49 | 149.7 | 10.3 | 151.2 | 15.27 | 966.091 | 53.4539 | 23.5323
2020-02-13 14:30:00 | 11.61 | 138 | 11.66 | 154.2 | 11.46 | 143.9 | 11.26 | 142.9 | 15.35 | 965.943 | 53.3857 | 24.0645
2020-02-13 14:45:00 | 12.18 | 138 | 12.35 | 154 | 12.29 | 142.3 | 12.13 | 145 | 15.5 | 965.943 | 52.567 | 20.8641
2020-02-13 15:00:00 | 10.93 | 149.6 | 11.33 | 168.4 | 11.26 | 159.8 | 11.14 | 153.4 | 15.79 | 965.943 | 50.8272 | 24.3379
2020-02-13 15:15:00 | 10.66 | 152.9 | 10.75 | 170.6 | 10.71 | 161.1 | 10.65 | 158 | 15.98 | 966.091 | 49.5992 | 31.6353
2020-02-13 15:30:00 | 10.68 | 147.5 | 11.54 | 163.2 | 11.31 | 154.3 | 11.17 | 153.4 | 15.92 | 965.925 | 49.1216 | 34.7574
2020-02-13 15:45:00 | 12.31 | 150.9 | 12.23 | 169.8 | 11.71 | 160.8 | 11.51 | 156 | 16.05 | 965.625 | 50.0085 | 38.4338
2020-02-13 16:00:00 | 11.53 | 143.1 | 11.7 | 159.5 | 11.34 | 148.7 | 11.26 | 147.9 | 16.14 | 965.642 | 47.416 | 37.2477
2020-02-13 16:15:00 | 10.69 | 149.3 | 10.7 | 165 | 10.47 | 159.1 | 10.37 | 155 | 16.09 | 965.61 | 48.5758 | 35.3238
2020-02-13 16:30:00 | 10.3 | 152.6 | 10.94 | 168.9 | 10.87 | 159.2 | 10.72 | 158.3 | 16.11 | 965.794 | 48.7123 | 39.69
2020-02-13 16:45:00 | 9.94 | 157.1 | 10.17 | 172.5 | 10.06 | 158.4 | 9.94 | 158.4 | 15.88 | 965.026 | 49.531 | 43.625
2020-02-13 17:00:00 | 11.91 | 151.4 | 12.25 | 167.5 | 11.72 | 154.8 | 11.55 | 156.3 | 15.74 | 965.497 | 49.1898 | 56.3796
2020-02-13 17:15:00 | 12.17 | 150.1 | 12.42 | 166 | 12.8 | 156.2 | 12.59 | 155.1 | 15.68 | 965.052 | 47.9962 | 63.8079
2020-02-13 17:30:00 | 12.48 | 148.5 | 13.03 | 164.9 | 13.19 | 152.5 | 12.97 | 153.7 | 15.51 | 964.31 | 48.2363 | 70.8982
2020-02-13 17:45:00 | 10.02 | 153.8 | 10.67 | 169.6 | 10.84 | 160.9 | 10.65 | 157.5 | 15.29 | 964.607 | 49.682 | 62.1608
2020-02-13 18:00:00 | 9.7 | 148.3 | 9.45 | 169.4 | 8.72 | 159 | 8.55 | 149.8 | 15.13 | 964.755 | 51.1175 | 57.6137
2020-02-13 18:15:00 | 9.39 | 148.1 | 9.58 | 167.8 | 8.72 | 157.3 | 8.6 | 149.5 | 14.89 | 964.919 | 52.2095 | 59.0436
2020-02-13 18:30:00 | 10.05 | 149.1 | 10.37 | 168.5 | 9.69 | 157.7 | 9.59 | 152.5 | 14.92 | 965.24 | 52.2778 | 53.429
2020-02-13 18:45:00 | 9.19 | 145.9 | 9.14 | 166.3 | 8.58 | 158.9 | 8.44 | 149 | 14.77 | 965.286 | 52.8273 | 57.2832
2020-02-13 19:00:00 | 8.32 | 140.6 | 8.63 | 156.7 | 8.9 | 142 | 8.9 | 147 | 14.58 | 965.198 | 52.661 | 55.8217
2020-02-13 19:15:00 | 8.87 | 137.6 | 9.36 | 153.2 | 9.25 | 137.3 | 9.21 | 142.6 | 14.83 | 965.347 | 52.2183 | 51.1847
2020-02-13 19:30:00 | 9.41 | 140.4 | 9.23 | 159.7 | 9.46 | 149.9 | 9.41 | 145.2 | 14.76 | 965.792 | 51.3311 | 51.4396
2020-02-13 19:45:00 | 8.06 | 137.7 | 8.44 | 155 | 8.2 | 144.5 | 8.18 | 145.5 | 14.83 | 965.644 | 51.058 | 51.5484
2020-02-13 20:00:00 | 8.81 | 137.5 | 9.4 | 154.6 | 9.73 | 142.7 | 9.59 | 145.7 | 14.68 | 965.644 | 52.901 | 51.787
2020-02-13 20:15:00 | 8.12 | 143 | 8.32 | 158.8 | 8.88 | 148.7 | 8.82 | 147.5 | 14.26 | 965.941 | 55.0512 | 50.1982
2020-02-13 20:30:00 | 9.53 | 146.2 | 9.78 | 163 | 9.67 | 150.6 | 9.58 | 151.1 | 14.08 | 965.644 | 53.6519 | 58.824
2020-02-13 20:45:00 | 10.83 | 150.2 | 10.88 | 169.6 | 9.69 | 157.8 | 9.62 | 154.1 | 14.22 | 965.644 | 53.1736 | 63.5144
2020-02-13 21:00:00 | 10.12 | 146.6 | 10.27 | 167 | 9.86 | 159.1 | 9.74 | 149.4 | 13.94 | 965.941 | 54.5384 | 61.0721
2020-02-13 21:15:00 | 8.91 | 137.3 | 9.32 | 156.7 | 9.75 | 149.8 | 9.71 | 142 | 13.63 | 965.792 | 56.1091 | 54.111
2020-02-13 21:30:00 | 6.751 | 138.2 | 7.058 | 156 | 7.917 | 146.8 | 7.948 | 143 | 13.52 | 966.238 | 55.4247 | 44.4394
2020-02-13 21:45:00 | 5.572 | 133.3 | 6.133 | 153.9 | 6.521 | 142.7 | 6.565 | 137.5 | 13.55 | 966.089 | 51.8111 | 43.9724
2020-02-13 22:00:00 | 7.308 | 145.5 | 7.629 | 164.6 | 7.736 | 148.4 | 7.79 | 147.5 | 13.69 | 966.238 | 50.8585 | 36.6307
2020-02-13 22:15:00 | 7.91 | 137.1 | 7.966 | 154.1 | 8.07 | 142.8 | 8.11 | 143.6 | 13.54 | 966.534 | 50.9257 | 32.2007
2020-02-13 22:30:00 | 6.013 | 136.3 | 6.286 | 153.8 | 7.106 | 145 | 7.056 | 140.9 | 13.51 | 966.238 | 50.6528 | 27.3492
2020-02-13 22:45:00 | 6.529 | 142.9 | 7.056 | 159.8 | 7.296 | 150.3 | 7.237 | 148.8 | 13.3 | 966.534 | 50.6531 | 24.5596
2020-02-13 23:00:00 | 6.802 | 139.3 | 7.363 | 155.6 | 7.319 | 143.4 | 7.237 | 145.5 | 13.1 | 966.534 | 51.5754 | 28.3321
2020-02-13 23:15:00 | 5.385 | 132.8 | 5.709 | 151.6 | 5.613 | 137.9 | 5.533 | 136.2 | 13.19 | 966.534 | 51.541 | 30.7485
2020-02-13 23:30:00 | 6.253 | 130.1 | 6.386 | 147.3 | 6.21 | 133.7 | 6.188 | 134.6 | 13.15 | 966.534 | 52.9092 | 37.6357
2020-02-13 23:45:00 | 7.87 | 127.8 | 8.17 | 141.6 | 8.6 | 129.7 | 8.63 | 132.2 | 13.29 | 965.941 | 55.8436 | 45.0217