## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-14 00:00:00 | 9.76 | 126.9 | 10.38 | 141.1 | 10.6 | 126.9 | 10.65 | 132.5 | 13.19 | 966.238 | 59.4625 | 40.9721
2020-02-14 00:15:00 | 9.22 | 126.3 | 9.38 | 141.7 | 9.97 | 131.7 | 10 | 132.8 | 12.99 | 965.941 | 62.1932 | 37.233
2020-02-14 00:30:00 | 9.59 | 124.2 | 9.84 | 142.4 | 10.43 | 132.3 | 10.51 | 128.8 | 12.81 | 965.941 | 64.2419 | 39.4905
2020-02-14 00:45:00 | 10.11 | 124 | 10.81 | 140.4 | 11.34 | 124 | 11.29 | 129.7 | 12.65 | 965.941 | 66.1886 | 45.9269
2020-02-14 01:00:00 | 9.49 | 119.6 | 9.97 | 134.3 | 10.46 | 121.3 | 10.49 | 127.2 | 12.43 | 965.644 | 67.759 | 39.2208
2020-02-14 01:15:00 | 9.13 | 126.4 | 9.37 | 140.9 | 10.08 | 128.6 | 10.15 | 133 | 12.41 | 965.495 | 69.0903 | 42.2025
2020-02-14 01:30:00 | 8.51 | 123.2 | 9.15 | 137.5 | 9.64 | 129.2 | 9.73 | 129.7 | 12.38 | 965.347 | 71.0701 | 33.5233
2020-02-14 01:45:00 | 7.676 | 123.2 | 8.42 | 141 | 9.7 | 131.7 | 9.85 | 129.2 | 12.23 | 965.495 | 72.7769 | 34.342
2020-02-14 02:00:00 | 9.24 | 125.8 | 9.73 | 141.1 | 10.12 | 130.3 | 10.22 | 133.9 | 12.28 | 965.495 | 74.7568 | 38.7737
2020-02-14 02:15:00 | 10.89 | 129.3 | 11.38 | 145.2 | 11.43 | 133.7 | 11.41 | 133.3 | 12.22 | 965.347 | 76.0539 | 30.7596
2020-02-14 02:30:00 | 9.14 | 127.4 | 9.66 | 145.1 | 10.38 | 136.4 | 10.43 | 132.6 | 12.12 | 965.644 | 77.2828 | 35.7255
2020-02-14 02:45:00 | 9.74 | 132.3 | 9.95 | 147.1 | 10.04 | 137.7 | 10.01 | 136.9 | 11.86 | 965.347 | 78.7165 | 36.7341
2020-02-14 03:00:00 | 9.04 | 131.3 | 9.38 | 147.6 | 9.81 | 138.4 | 9.73 | 136.4 | 11.82 | 965.347 | 80.2526 | 36.3019
2020-02-14 03:15:00 | 8.81 | 135.6 | 8.95 | 153.4 | 9.57 | 143.5 | 9.48 | 141.5 | 11.74 | 965.05 | 81.9252 | 37.632
2020-02-14 03:30:00 | 10.06 | 135.2 | 10.16 | 152.9 | 10.38 | 144.3 | 10.41 | 139.5 | 11.43 | 965.347 | 84.4513 | 38.0421
2020-02-14 03:45:00 | 9.76 | 132.7 | 10.31 | 148.5 | 10.85 | 136 | 10.74 | 137.5 | 11.41 | 965.347 | 86.2263 | 30.0576
2020-02-14 04:00:00 | 10.9 | 132.4 | 11.42 | 147.5 | 12.07 | 136.1 | 11.98 | 137.2 | 11.2 | 964.83 | 85.5436 | 30.2423
2020-02-14 04:15:00 | 10.07 | 132.1 | 10.56 | 148.1 | 10.82 | 138.7 | 10.74 | 137.7 | 11.25 | 964.624 | 86.5677 | 37.0926
2020-02-14 04:30:00 | 10.36 | 133 | 10.88 | 149.8 | 11.38 | 136.4 | 11.26 | 138.1 | 11.32 | 965.112 | 87.4893 | 22.272
2020-02-14 04:45:00 | 9.37 | 134.6 | 9.66 | 152.5 | 10.21 | 141.2 | 10.3 | 140.4 | 11.29 | 965.409 | 88.5817 | 19.4608
2020-02-14 05:00:00 | 10.91 | 132.4 | 10.65 | 150.1 | 10.74 | 136.8 | 10.67 | 136.9 | 10.94 | 965.353 | 90.186 | 21.8739
2020-02-14 05:15:00 | 9.88 | 128.8 | 10.5 | 143.9 | 11.09 | 130.6 | 11.04 | 134.3 | 10.95 | 965.246 | 90.186 | 19.8709
2020-02-14 05:30:00 | 8.99 | 138.4 | 9.63 | 153.4 | 10.21 | 141.8 | 10.24 | 142 | 11.22 | 965.376 | 90.1178 | 22.2547
2020-02-14 05:45:00 | 8.85 | 137.3 | 9.09 | 151.9 | 9.56 | 141 | 9.56 | 142.6 | 11.14 | 965.236 | 90.8005 | 30.3753
2020-02-14 06:00:00 | 8.47 | 137.2 | 8.61 | 151.1 | 8.91 | 136.6 | 8.85 | 141.6 | 10.92 | 965.434 | 91.4149 | 30.0576
2020-02-14 06:15:00 | 8.12 | 134.9 | 8.46 | 151.4 | 9.16 | 140.4 | 9.27 | 138.2 | 10.85 | 965.496 | 92.1659 | 27.6588
2020-02-14 06:30:00 | 7.706 | 126.5 | 8.16 | 136.4 | 8.24 | 123.2 | 8.25 | 135 | 10.77 | 965.725 | 93.6337 | 26.1595
2020-02-14 06:45:00 | 5.989 | 119.7 | 6.501 | 139.3 | 6.523 | 128.8 | 6.567 | 126 | 10.48 | 965.968 | 93.8727 | 25.3984
2020-02-14 07:00:00 | 8.18 | 121.4 | 8.36 | 133.2 | 8.32 | 120.7 | 8.25 | 128.7 | 10.34 | 965.992 | 95.136 | 29.6364
2020-02-14 07:15:00 | 7.41 | 120.3 | 8.14 | 133.3 | 8.33 | 120.7 | 8.33 | 127.7 | 10.08 | 965.964 | 96.6082 | 30.4899
2020-02-14 07:30:00 | 8.42 | 122.3 | 8.98 | 133.5 | 8.35 | 118.5 | 8.26 | 128.9 | 10.11 | 965.958 | 97.2985 | 23.8695
2020-02-14 07:45:00 | 7.428 | 130.5 | 7.598 | 140.2 | 7.726 | 119.4 | 7.734 | 134.6 | 10.23 | 966.635 | 97.4397 | 26.6131
2020-02-14 08:00:00 | 6.322 | 125.3 | 6.565 | 139.1 | 6.859 | 130.9 | 7.056 | 131.5 | 10.06 | 966.94 | 98.1253 | 33.4347
2020-02-14 08:15:00 | 6.782 | 123.4 | 7.222 | 138.8 | 7.396 | 126.5 | 7.38 | 127.8 | 9.87 | 967.225 | 98.8749 | 35.1343
2020-02-14 08:30:00 | 6.539 | 120.8 | 7.127 | 136.8 | 7.131 | 124.5 | 7.174 | 127.7 | 9.81 | 967.45 | 99.3556 | 32.7179
2020-02-14 08:45:00 | 5.84 | 124.6 | 5.647 | 141.6 | 5.946 | 128.7 | 5.961 | 128.2 | 9.78 | 967.908 | 99.7283 | 34.9126
2020-02-14 09:00:00 | 7.464 | 130.1 | 7.756 | 144.5 | 8.2 | 128.5 | 8.28 | 131.4 | 9.71 | 967.9 | 99.9668 | 40.6137
2020-02-14 09:15:00 | 7.173 | 130.1 | 7.358 | 148.3 | 7.48 | 137.9 | 7.502 | 131.2 | 9.65 | 967.979 | 99.9659 | 39.9043
2020-02-14 09:30:00 | 6.149 | 127.3 | 6.647 | 145.3 | 7.515 | 136 | 7.54 | 130.6 | 9.65 | 968.458 | 99.9659 | 35.1823
2020-02-14 09:45:00 | 5.898 | 123.9 | 6.159 | 141.6 | 7.182 | 136 | 7.362 | 128.7 | 9.63 | 968.589 | 99.9659 | 21.1678
2020-02-14 10:00:00 | 4.892 | 120 | 5.57 | 132.6 | 5.16 | 120 | 5.083 | 128.9 | 9.7 | 968.888 | 99.9659 | 7.4266
2020-02-14 10:15:00 | 5.02 | 313.6 | 5.489 | 329.6 | 4.489 | 323.1 | 4.517 | 313.7 | 9.63 | 969.168 | 99.9663 | 0.82026
2020-02-14 10:30:00 | 5.023 | 302.9 | 5.325 | 321.1 | 5.399 | 313.6 | 5.404 | 297.5 | 9.06 | 969.176 | 99.9659 | 0.40643
2020-02-14 10:45:00 | 4.144 | 311.8 | 4.152 | 326.8 | 3.558 | 316.3 | 3.534 | 305.7 | 7.715 | 968.612 | 99.9744 | 0.014779
2020-02-14 11:00:00 | 3.102 | 296.6 | 2.84 | 309.8 | 1.772 | 298 | 1.808 | 312 | 7.389 | 968.909 | 100 | 0.14779
2020-02-14 11:15:00 | 1.942 | 331.6 | 2.111 | 345.1 | 1.645 | 346 | 1.488 | 300.2 | 7.053 | 968.778 | 99.9829 | 0.10346
2020-02-14 11:30:00 | 1.014 | 15.38 | 1.022 | 7.842 | 0.216 | 21.08 | 0.389 | 300.3 | 7.193 | 968.79 | 99.9829 | 0.38057
2020-02-14 11:45:00 | 1.963 | 331.3 | 1.771 | 338.3 | 2.618 | 326.3 | 2.875 | 302.2 | 7.089 | 968.903 | 99.9829 | 1.0937
2020-02-14 12:00:00 | 1.701 | 330.1 | 1.64 | 334.3 | 1.521 | 317.7 | 1.884 | 302.6 | 6.967 | 968.908 | 99.9829 | 1.4262
2020-02-14 12:15:00 | 2.937 | 299.1 | 2.86 | 323.1 | 2.334 | 301.7 | 2.299 | 302.5 | 6.635 | 968.9 | 99.9829 | 4.5336
2020-02-14 12:30:00 | 5.242 | 283.9 | 5.535 | 320.2 | 5.412 | 282.4 | 5.419 | 284.7 | 6.496 | 968.76 | 99.9829 | 17.9348
2020-02-14 12:45:00 | 6.516 | 293.4 | 7.145 | 306.6 | 7.2 | 291.8 | 7.219 | 293.7 | 6.297 | 968.908 | 100 | 37.4625
2020-02-14 13:00:00 | 6.708 | 307.5 | 7.861 | 322.1 | 7.566 | 316 | 7.708 | 305.3 | 6.172 | 968.76 | 100 | 35.186
2020-02-14 13:15:00 | 4.798 | 327.2 | 4.499 | 337.3 | 3.977 | 323.7 | 4.072 | 331.1 | 6.119 | 968.908 | 100 | 51.4099
2020-02-14 13:30:00 | 7.571 | 334.2 | 8.3 | 351.2 | 8.54 | 340.7 | 8.88 | 334.1 | 5.532 | 968.908 | 99.9829 | 67.6075
2020-02-14 13:45:00 | 5.794 | 344.9 | 6.145 | 5.9 | 7.218 | 350.1 | 7.446 | 339 | 4.69 | 968.611 | 99.9829 | 71.0794
2020-02-14 14:00:00 | 7.451 | 338.7 | 8.49 | 357 | 9.03 | 347.7 | 9.31 | 336.6 | 4.057 | 968.908 | 100 | 82.5576
2020-02-14 14:15:00 | 6.394 | 345.4 | 7.102 | 5.049 | 8.11 | 344.5 | 8.46 | 340.7 | 3.406 | 968.908 | 99.9829 | 83.4518
2020-02-14 14:30:00 | 6.744 | 349.7 | 8.48 | 20.03 | 10.17 | 13.53 | 10.45 | 345.3 | 2.996 | 968.886 | 99.9917 | 80.0488
2020-02-14 14:45:00 | 5.658 | 357.4 | 7.813 | 24.93 | 9.02 | 359.5 | 9.59 | 343.2 | 2.686 | 968.903 | 100 | 85.6539
2020-02-14 15:00:00 | 11.67 | 356.5 | 11.77 | 21.72 | 13.29 | 19.03 | 13.81 | 353.2 | 2.033 | 968.61 | 100 | 83.5035
2020-02-14 15:15:00 | 10.27 | 355 | 10.99 | 23.49 | 13.03 | 18.28 | 13.33 | 350.3 | 1.789 | 968.312 | 99.9823 | 89.2305
2020-02-14 15:30:00 | 7.063 | 350.7 | 8.72 | 19.93 | 11.04 | 12.11 | 11.8 | 343.2 | 1.51 | 969.502 | 100 | 84.4014
2020-02-14 15:45:00 | 6.294 | 349.3 | 7.744 | 24.29 | 9.32 | 8.53 | 9.81 | 340.6 | 1.36 | 969.799 | 99.9829 | 89.1566
2020-02-14 16:00:00 | 7.173 | 353.6 | 9.87 | 26.34 | 11.4 | 7.081 | 11.84 | 348.5 | 0.943 | 969.204 | 100 | 87.6787
2020-02-14 16:15:00 | 11.77 | 356.5 | 12.79 | 20.42 | 14.97 | 15.82 | 15.52 | 356.4 | 0.442 | 968.907 | 100 | 90.871
2020-02-14 16:30:00 | 13.01 | 4.567 | 14.87 | 27.46 | 13.74 | 15.42 | 13.55 | 6.795 | -0.094 | 968.824 | 100 | 89.866
2020-02-14 16:45:00 | 12.42 | 357.3 | 12.99 | 25.59 | 15.19 | 18.43 | 16.15 | 356.7 | -0.345 | 968.163 | 100 | 91.0853
2020-02-14 17:00:00 | 12.5 | 1.265 | 13.03 | 23.38 | 14.25 | 15.81 | 15.04 | 1.182 | -0.516 | 969.501 | 100 | 90.0619
2020-02-14 17:15:00 | 12.89 | 354.5 | 12.81 | 20.11 | 15.16 | 16.42 | 15.83 | 356.2 | -0.84 | 970.095 | 100 | 90.1764
2020-02-14 17:30:00 | 11.83 | 1.745 | 12.49 | 24.78 | 12.91 | 18.47 | 13.59 | 1.817 | -1.012 | 969.798 | 100 | 88.6689
2020-02-14 17:45:00 | 12.85 | 4.103 | 13.22 | 22.64 | 13.77 | 13.14 | 13.61 | 4.821 | -0.97 | 969.798 | 100 | 88.1258
2020-02-14 18:00:00 | 12.95 | 7.066 | 15.15 | 26.06 | 13.56 | 16.16 | 12.88 | 9.69 | -1.037 | 969.798 | 100 | 90.0043
2020-02-14 18:15:00 | 11.57 | 5.471 | 13.41 | 22 | 13.28 | 9.96 | 12.8 | 6.714 | -1.032 | 970.393 | 100 | 88.0001
2020-02-14 18:30:00 | 12.51 | 358.8 | 12.35 | 19.63 | 15.31 | 17.53 | 15.79 | 0.217 | -1.104 | 971.285 | 100 | 85.617
2020-02-14 18:45:00 | 12.8 | 355.8 | 13.08 | 19.82 | 15.51 | 13.99 | 15.97 | 358.1 | -1.236 | 971.88 | 100 | 88.3142
2020-02-14 19:00:00 | 12.75 | 4.051 | 13.48 | 25.44 | 13.27 | 16.75 | 13.19 | 4.47 | -1.37 | 971.88 | 100 | 84.2646
2020-02-14 19:15:00 | 14 | 6.504 | 16.35 | 25.16 | 15.49 | 14.58 | 14.28 | 9 | -1.526 | 971.285 | 100 | 90.3168
2020-02-14 19:30:00 | 12.9 | 12.48 | 16.54 | 27.87 | 15.34 | 17.52 | 14.55 | 14.17 | -1.809 | 971.285 | 100 | 87.5567
2020-02-14 19:45:00 | 12.01 | 13.57 | 14.53 | 25.08 | 13.29 | 14.72 | 12.52 | 9.97 | -1.845 | 971.88 | 100 | 79.7991
2020-02-14 20:00:00 | 12.18 | 13.57 | 13.59 | 24.14 | 12.14 | 11.33 | 11.55 | 8.87 | -1.912 | 971.88 | 100 | 84.3105
2020-02-14 20:15:00 | 13.43 | 13.57 | 15.76 | 26.26 | 14.24 | 16.65 | 13.53 | 14.16 | -2.095 | 971.88 | 100 | 82.9804
2020-02-14 20:30:00 | 10.83 | 13.57 | 13.6 | 25.65 | 12.97 | 8.51 | 11.9 | 14.89 | -2.29 | 971.88 | 100 | 80.751
2020-02-14 20:45:00 | 11.33 | 13.57 | 13.84 | 39.54 | 12.56 | 12.01 | 12.01 | 14.84 | -2.393 | 972.177 | 100 | 80.0562
2020-02-14 21:00:00 | 10.93 | 13.57 | 11.62 | 39.54 | 13.13 | 12.01 | 13.92 | 14.84 | -2.571 | 972.474 | 100 | 79.7348
2020-02-14 21:15:00 | 11.03 | 13.57 | 12.5 | 26.75 | 13.51 | 12 | 13.93 | 14.84 | -2.794 | 972.772 | 100 | 78.3824
2020-02-14 21:30:00 | 11.5 | 13.57 | 11.62 | 21.25 | 14.78 | 12 | 15.37 | 2.067 | -2.811 | 973.367 | 100 | 78.8776
2020-02-14 21:45:00 | 11.66 | 13.57 | 11.59 | 22.18 | 13.27 | 12 | 13.41 | 1.66 | -3.009 | 973.68 | 100 | 77.1779
2020-02-14 22:00:00 | 11.22 | 13.57 | 11.22 | 20.78 | 13.47 | 12 | 13.85 | 349.6 | -3.031 | 973.962 | 99.8974 | 79.6239
2020-02-14 22:15:00 | 10.57 | 13.57 | 10.99 | 18.43 | 12.89 | 12 | 13.05 | 340.5 | -3.351 | 974.271 | 99.6601 | 81.5342
2020-02-14 22:30:00 | 10.13 | 13.57 | 10.55 | 23.52 | 13.17 | 12 | 13.28 | 340.6 | -3.532 | 974.26 | 99.5282 | 82.2251
2020-02-14 22:45:00 | 11.29 | 13.57 | 11.75 | 18.17 | 14.24 | 12 | 14.64 | 357 | -3.619 | 974.259 | 99.4332 | 85.0184
2020-02-14 23:00:00 | 11.66 | 13.57 | 11.79 | 20.81 | 13.75 | 12 | 14.4 | 1.172 | -3.73 | 974.327 | 99.4016 | 81.2164
2020-02-14 23:15:00 | 12.29 | 13.57 | 11.79 | 22.31 | 13.46 | 12 | 14.05 | 338.6 | -3.819 | 974.099 | 99.3332 | 80.5292
2020-02-14 23:30:00 | 11.2 | 13.57 | 11.88 | 20.35 | 13.17 | 12 | 13.61 | 339.2 | -3.822 | 974.192 | 99.3348 | 81.028
2020-02-14 23:45:00 | 11.25 | 13.57 | 11.57 | 24.49 | 13.02 | 12 | 13.11 | 339.5 | -3.816 | 973.878 | 99.3025 | 80.7102