## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-15 00:00:00 | 10.71 | 13.58 | 12.66 | 26.26 | 11.8 | 12 | 10.85 | 339.9 | -3.819 | 973.907 | 99.3058 | 61.4432
2020-02-15 00:15:00 | 10.68 | 13.58 | 12.08 | 23.77 | 12.11 | 12 | 10.25 | 340 | -3.816 | 973.96 | 99.31 | 53.1878
2020-02-15 00:30:00 | 10.86 | 13.58 | 11.76 | 20.85 | 12.3 | 12 | 10.99 | 340.1 | -3.838 | 973.919 | 99.242 | 51.7811
2020-02-15 00:45:00 | 11.59 | 13.58 | 11.81 | 20.35 | 12.91 | 12.01 | 13.4 | 340.2 | -3.853 | 973.969 | 99.1734 | 42.9563
2020-02-15 01:00:00 | 12 | 13.58 | 11.68 | 19.13 | 13.47 | 12.01 | 14.03 | 340.2 | -3.952 | 973.98 | 99.1768 | 42.5461
2020-02-15 01:15:00 | 11.28 | 13.58 | 11.35 | 18.97 | 13.17 | 12.01 | 13.2 | 340.3 | -3.89 | 974.265 | 99.1767 | 42.5839
2020-02-15 01:30:00 | 10.34 | 13.58 | 11.06 | 23.05 | 12.74 | 12.01 | 12.69 | 340.3 | -3.95 | 974.602 | 99.1766 | 45.1436
2020-02-15 01:45:00 | 10.12 | 13.58 | 10.57 | 21.27 | 12.05 | 12.01 | 11.89 | 340.3 | -3.951 | 974.745 | 99.1763 | 53.6492
2020-02-15 02:00:00 | 9.01 | 13.58 | 10.08 | 21.08 | 11.57 | 12.01 | 11.38 | 340.3 | -3.948 | 975.171 | 99.1759 | 65.8717
2020-02-15 02:15:00 | 10.67 | 13.58 | 11.34 | 22.29 | 11.81 | 12.02 | 11.93 | 340.3 | -3.935 | 974.843 | 99.1743 | 68.9754
2020-02-15 02:30:00 | 9.14 | 13.58 | 10.24 | 25.23 | 11.13 | 12.01 | 10.7 | 340.3 | -3.888 | 974.91 | 99.1096 | 77.5031
2020-02-15 02:45:00 | 8.52 | 13.58 | 9.06 | 29.17 | 9.38 | 12.02 | 9.18 | 340.3 | -3.967 | 975.156 | 99.0415 | 81.6339
2020-02-15 03:00:00 | 6.177 | 13.58 | 8.36 | 33.25 | 8.24 | 12.01 | 8.08 | 340.3 | -4.041 | 976.433 | 99.038 | 70.6891
2020-02-15 03:15:00 | 6.637 | 13.58 | 7.621 | 33.11 | 8.2 | 12.01 | 6.056 | 340.3 | -4.087 | 976.778 | 99.0082 | 75.8884
2020-02-15 03:30:00 | 5.793 | 13.58 | 7.925 | 31.8 | 9.1 | 12.01 | 8.74 | 340.3 | -4.219 | 975.493 | 98.7654 | 78.024
2020-02-15 03:45:00 | 9.45 | 13.58 | 9.53 | 24.36 | 10.44 | 12.02 | 10.4 | 340.3 | -4.411 | 975.622 | 98.7346 | 77.104
2020-02-15 04:00:00 | 10.35 | 13.58 | 11.05 | 22.29 | 11.31 | 12.02 | 11.36 | 340.4 | -4.498 | 974.934 | 98.7004 | 75.4561
2020-02-15 04:15:00 | 10.09 | 13.58 | 10.04 | 21.35 | 10.06 | 12.02 | 9.92 | 340.4 | -4.484 | 975.423 | 98.7004 | 67.9002
2020-02-15 04:30:00 | 8.83 | 13.58 | 10.36 | 26.27 | 8.12 | 12.01 | 6.341 | 340.4 | -4.431 | 975.748 | 98.7004 | 61.5577
2020-02-15 04:45:00 | 7.9 | 13.58 | 7.907 | 24.49 | 7.508 | 12.01 | 7.051 | 340.4 | -4.425 | 975.897 | 98.7688 | 61.7023
2020-02-15 05:00:00 | 6.407 | 13.58 | 6.647 | 25.81 | 6.096 | 12.01 | 5.508 | 340.4 | -4.363 | 976.046 | 98.7346 | 61.2088
2020-02-15 05:15:00 | 8.55 | 13.58 | 9.29 | 27.91 | 7.459 | 12.01 | 6.035 | 340.4 | -4.427 | 975.301 | 98.7004 | 64.5453
2020-02-15 05:30:00 | 6.624 | 13.58 | 6.982 | 23.49 | 7.436 | 12.01 | 7.181 | 340.4 | -4.465 | 976.344 | 98.5978 | 67.888
2020-02-15 05:45:00 | 5.846 | 13.58 | 6.77 | 34.54 | 7.032 | 12.01 | 6.97 | 340.3 | -4.566 | 977.088 | 98.632 | 63.7242
2020-02-15 06:00:00 | 5.217 | 13.58 | 5.959 | 25.39 | 6.193 | 12.01 | 6.17 | 340.3 | -4.503 | 976.938 | 98.632 | 63.8453
2020-02-15 06:15:00 | 5.084 | 13.58 | 5.334 | 45.78 | 6.409 | 12.01 | 6.343 | 340.3 | -4.537 | 976.935 | 98.5636 | 64.0612
2020-02-15 06:30:00 | 6.823 | 13.58 | 7.214 | 16.57 | 7.673 | 12.01 | 7.357 | 340.4 | -4.569 | 976.641 | 98.5636 | 60.9586
2020-02-15 06:45:00 | 7.384 | 13.58 | 9.25 | 27.85 | 7.454 | 12.01 | 5.903 | 340.4 | -4.66 | 976.046 | 98.4268 | 46.7134
2020-02-15 07:00:00 | 6.549 | 13.58 | 6.943 | 17.18 | 6.076 | 12.01 | 5.33 | 340.4 | -4.752 | 976.939 | 98.4952 | 46.7346
2020-02-15 07:15:00 | 5.615 | 13.58 | 6.343 | 46.69 | 6.406 | 12.01 | 6.29 | 340.4 | -4.743 | 977.236 | 98.4268 | 48.8532
2020-02-15 07:30:00 | 6.478 | 13.58 | 6.384 | 46.65 | 6.282 | 12.01 | 6.104 | 340.4 | -4.77 | 977.236 | 98.3584 | 45.2138
2020-02-15 07:45:00 | 5.967 | 13.58 | 5.928 | 46.64 | 6.104 | 12.01 | 5.89 | 340.4 | -4.772 | 977.831 | 98.3584 | 41.6483
2020-02-15 08:00:00 | 6.235 | 13.58 | 6.023 | 46.62 | 6.287 | 12.01 | 6.073 | 340.4 | -4.843 | 977.98 | 98.2216 | 41.509
2020-02-15 08:15:00 | 5.324 | 13.58 | 5.284 | 46.61 | 5.631 | 12.01 | 5.21 | 340.4 | -4.905 | 978.873 | 98.2216 | 37.2282
2020-02-15 08:30:00 | 5.186 | 13.58 | 5.665 | 46.6 | 5.435 | 12.01 | 5.103 | 340.4 | -4.96 | 978.873 | 98.1532 | 44.7963
2020-02-15 08:45:00 | 6.488 | 13.58 | 6.427 | 46.59 | 6.241 | 12.01 | 5.849 | 340.4 | -5.032 | 979.022 | 98.1874 | 40.6396
2020-02-15 09:00:00 | 6.641 | 13.58 | 6.363 | 46.59 | 5.89 | 12.01 | 5.353 | 340.4 | -5.047 | 978.724 | 98.0848 | 47.7959
2020-02-15 09:15:00 | 6.935 | 13.58 | 6.974 | 46.59 | 6.399 | 12.01 | 6.025 | 340.4 | -5.058 | 978.427 | 97.948 | 52.0256
2020-02-15 09:30:00 | 7.446 | 13.58 | 7.007 | 46.59 | 6.455 | 12.01 | 6.155 | 340.4 | -5.241 | 979.021 | 97.8796 | 43.5179
2020-02-15 09:45:00 | 6.315 | 13.58 | 6.892 | 46.59 | 6.363 | 12.01 | 5.842 | 340.4 | -5.214 | 979.022 | 98.0164 | 43.6361
2020-02-15 10:00:00 | 6.549 | 13.58 | 6.897 | 46.59 | 6.648 | 12.01 | 6.078 | 340.4 | -5.205 | 979.254 | 97.948 | 45.1399
2020-02-15 10:15:00 | 5.495 | 13.58 | 6 | 46.57 | 5.625 | 12.01 | 5.307 | 340.4 | -5.187 | 979.33 | 97.913 | 41.8035
2020-02-15 10:30:00 | 4.785 | 13.58 | 5.55 | 46.55 | 4.974 | 12.01 | 4.713 | 340.4 | -5.145 | 979.617 | 98.0817 | 37.1738
2020-02-15 10:45:00 | 4.691 | 13.58 | 5.504 | 46.54 | 4.56 | 12.01 | 4.243 | 340.4 | -4.996 | 979.289 | 98.0385 | 37.8585
2020-02-15 11:00:00 | 3.751 | 13.57 | 5.289 | 46.53 | 4.733 | 12.01 | 4.349 | 340.3 | -4.773 | 978.772 | 98.2391 | 53.5214
2020-02-15 11:15:00 | 4.96 | 13.57 | 5.765 | 24.71 | 4.806 | 12.01 | 4.948 | 340.3 | -5.024 | 978.423 | 97.3701 | 50.6141
2020-02-15 11:30:00 | 5.574 | 13.57 | 5.959 | 25.58 | 5.142 | 12.01 | 5.083 | 340.3 | -5.614 | 978.422 | 97.3002 | 51.9886
2020-02-15 11:45:00 | 4.254 | 13.57 | 5.231 | 30.23 | 4.669 | 12.01 | 4.789 | 340.3 | -5.47 | 978.424 | 97.2992 | 39.3684
2020-02-15 12:00:00 | 3.872 | 13.57 | 5.542 | 30.48 | 4.654 | 12.01 | 4.775 | 340.3 | -5.546 | 978.125 | 97.1624 | 37.2293
2020-02-15 12:15:00 | 3.941 | 13.57 | 5.146 | 21.63 | 5.028 | 12.01 | 4.927 | 340.3 | -5.329 | 978.422 | 96.6154 | 32.0786
2020-02-15 12:30:00 | 3.188 | 13.57 | 3.556 | 20.54 | 3.923 | 12.01 | 4.138 | 340.3 | -5.364 | 978.422 | 97.1624 | 28.4023
2020-02-15 12:45:00 | 3.908 | 13.57 | 4.129 | 18.89 | 4.397 | 12.01 | 4.545 | 340.4 | -5.187 | 978.422 | 97.5727 | 26.0043
2020-02-15 13:00:00 | 3.519 | 13.57 | 4.415 | 16.37 | 4.313 | 12.01 | 4.413 | 340.4 | -4.815 | 977.976 | 97.1624 | 31.118
2020-02-15 13:15:00 | 3.531 | 13.57 | 3.685 | 17.37 | 5.002 | 12.01 | 5.129 | 340.4 | -4.634 | 977.679 | 97.2927 | 33.0282
2020-02-15 13:30:00 | 4.111 | 13.57 | 4.6 | 357 | 4.913 | 12.01 | 5.016 | 340.4 | -4.579 | 977.233 | 97.8391 | 42.2527
2020-02-15 13:45:00 | 4.376 | 13.57 | 4.024 | 5.595 | 4.074 | 12.01 | 4.235 | 340.3 | -4.288 | 977.53 | 98.1081 | 45.4347
2020-02-15 14:00:00 | 4.688 | 13.57 | 5.232 | 5.984 | 6.658 | 12.01 | 6.825 | 340.3 | -4.195 | 977.53 | 96.7358 | 80.6004
2020-02-15 14:15:00 | 7.001 | 13.57 | 7.393 | 346 | 7.856 | 1.683 | 8.07 | 340.3 | -4.749 | 977.233 | 95.7792 | 78.8849
2020-02-15 14:30:00 | 4.902 | 13.57 | 5.522 | 4.201 | 6.882 | 340 | 7.224 | 340.3 | -4.407 | 977.53 | 96.3383 | 52.9908
2020-02-15 14:45:00 | 4.075 | 13.57 | 4.816 | 19.86 | 6.574 | 353 | 7.008 | 340.4 | -4.199 | 977.233 | 95.1109 | 52.5296
2020-02-15 15:00:00 | 5.04 | 13.57 | 5.755 | 13.67 | 6.33 | 354.5 | 6.672 | 340.4 | -4.115 | 977.233 | 93.6752 | 44.6098
2020-02-15 15:15:00 | 3.937 | 13.57 | 4.389 | 15.06 | 4.999 | 349.9 | 5.261 | 340.4 | -4.052 | 977.233 | 92.6496 | 40.9795
2020-02-15 15:30:00 | 4.167 | 13.57 | 4.341 | 19.61 | 4.556 | 355.6 | 4.598 | 340.4 | -4.097 | 976.936 | 90.359 | 40.6987
2020-02-15 15:45:00 | 3.771 | 13.57 | 5.054 | 24.73 | 5.989 | 12.59 | 6.162 | 340.4 | -4.086 | 976.936 | 88.4786 | 35.574
2020-02-15 16:00:00 | 6.447 | 13.57 | 6.621 | 30.96 | 6.577 | 21.39 | 6.904 | 0.003 | -4.149 | 976.638 | 84.1709 | 34.0406
2020-02-15 16:15:00 | 5.255 | 13.57 | 5.934 | 29.76 | 6.015 | 18.48 | 6.341 | 354.4 | -4.222 | 976.49 | 81.0256 | 26.7433
2020-02-15 16:30:00 | 5.615 | 13.57 | 5.941 | 23.83 | 6.854 | 20.88 | 7.354 | 357 | -4.169 | 976.643 | 78.7008 | 20.0482
2020-02-15 16:45:00 | 5.15 | 13.57 | 5.353 | 26.25 | 5.798 | 20.16 | 6.211 | 0.589 | -4.166 | 976.638 | 77.0624 | 16.0911
2020-02-15 17:00:00 | 4.647 | 13.57 | 5.346 | 26.03 | 5.781 | 18.19 | 6.188 | 1.579 | -4.163 | 976.192 | 74.9507 | 14.9826
2020-02-15 17:15:00 | 4.045 | 13.57 | 5.233 | 22.65 | 6.043 | 15.82 | 6.257 | 355.1 | -4.162 | 976.356 | 73.3116 | 13.3236
2020-02-15 17:30:00 | 4.632 | 13.57 | 5.701 | 28.01 | 4.804 | 16.61 | 4.782 | 7.353 | -4.163 | 976.479 | 71.8755 | 12.6031
2020-02-15 17:45:00 | 5.053 | 13.57 | 5.959 | 24.19 | 5.201 | 13.35 | 5.172 | 9.73 | -4.218 | 976.256 | 70.5785 | 10.3677
2020-02-15 18:00:00 | 4.063 | 13.58 | 5.409 | 27.71 | 4.969 | 16.43 | 4.655 | 13.31 | -4.238 | 976.393 | 70.8265 | 9.0339
2020-02-15 18:15:00 | 3.465 | 13.58 | 4.502 | 25.51 | 4.382 | 12.95 | 4.38 | 8.57 | -4.232 | 976.563 | 70.725 | 6.115
2020-02-15 18:30:00 | 3.736 | 13.58 | 4.581 | 23.22 | 4.565 | 13.28 | 4.469 | 11.4 | -4.305 | 976.629 | 68.673 | 5.5312
2020-02-15 18:45:00 | 2.832 | 13.58 | 3.837 | 28.36 | 4.117 | 17.04 | 3.967 | 12.48 | -4.346 | 976.641 | 69.2886 | 5.6974
2020-02-15 19:00:00 | 3.368 | 13.58 | 4.354 | 29.91 | 4.481 | 16.55 | 4.061 | 13.62 | -4.362 | 976.939 | 66.5527 | 7.2752
2020-02-15 19:15:00 | 3.45 | 13.58 | 4.397 | 31.95 | 4.88 | 20.71 | 4.66 | 18.07 | -4.389 | 976.641 | 66.8947 | 10.3419
2020-02-15 19:30:00 | 4.721 | 13.58 | 6.713 | 38.26 | 7.169 | 23.88 | 7.247 | 27.72 | -4.707 | 976.641 | 65.8003 | 8.258
2020-02-15 19:45:00 | 3.488 | 13.58 | 4.75 | 25.77 | 4.662 | 13.79 | 4.275 | 13.44 | -4.054 | 976.641 | 55.9508 | 4.5594
2020-02-15 20:00:00 | 1.737 | 13.58 | 2.84 | 23.11 | 3.489 | 15.6 | 3.455 | 9.26 | -3.765 | 976.939 | 53.6252 | 1.0974
2020-02-15 20:15:00 | 2.13 | 13.58 | 2.623 | 9.96 | 3.525 | 3.381 | 3.886 | 0.369 | -3.629 | 977.236 | 53.5568 | 0.25494
2020-02-15 20:30:00 | 3.051 | 13.58 | 3.004 | 10.71 | 3.827 | 356 | 4 | 356.6 | -3.617 | 977.385 | 53.0096 | 0.218
2020-02-15 20:45:00 | 2.842 | 13.58 | 2.935 | 10.88 | 3.158 | 354.8 | 3.384 | 6.77 | -3.541 | 977.385 | 54.446 | 0.18105
2020-02-15 21:00:00 | 2.352 | 13.58 | 3.211 | 24.14 | 3.278 | 9.81 | 3.287 | 2.998 | -3.662 | 977.534 | 55.0616 | 0.218
2020-02-15 21:15:00 | 3.011 | 13.58 | 3.272 | 353.6 | 3.746 | 343.1 | 3.865 | 354.1 | -3.615 | 977.534 | 55.5746 | 0.32884
2020-02-15 21:30:00 | 3.616 | 10.4 | 2.968 | 12.2 | 3.835 | 355.3 | 4.255 | 0.992 | -3.6 | 977.236 | 53.4884 | 0.79809
2020-02-15 21:45:00 | 3.314 | 350.4 | 3.727 | 2.55 | 3.99 | 352.5 | 4.008 | 351.1 | -3.655 | 977.236 | 55.5404 | 0.8609
2020-02-15 22:00:00 | 2.628 | 358.5 | 3.134 | 14.6 | 4.499 | 2.234 | 4.693 | 358.1 | -3.738 | 976.939 | 56.84 | 1.5888
2020-02-15 22:15:00 | 3.738 | 344.7 | 3.97 | 2.568 | 4.163 | 354.3 | 4.212 | 344.8 | -3.725 | 977.236 | 53.8304 | 0.83503
2020-02-15 22:30:00 | 2.436 | 343 | 2.676 | 11.63 | 3.232 | 356.7 | 3.185 | 339.1 | -3.679 | 977.236 | 54.8564 | 0.033254
2020-02-15 22:45:00 | 0.617 | 289 | 0.414 | 324.1 | 0.536 | 293.4 | 0.486 | 318.9 | -4.143 | 976.939 | 60.9441 | -0.36949
2020-02-15 23:00:00 | 1.785 | 237.8 | 2.15 | 244.4 | 1.856 | 215.7 | 1.775 | 251.2 | -5.108 | 976.641 | 66.4199 | 0.29189
2020-02-15 23:15:00 | 3.307 | 249 | 3.075 | 254.8 | 2.515 | 231.3 | 2.483 | 264.6 | -4.81 | 976.641 | 65.0582 | 1.7366
2020-02-15 23:30:00 | 2.537 | 253.3 | 3.4 | 257.7 | 2.932 | 227.5 | 2.951 | 266.4 | -4.843 | 976.641 | 70.053 | 2.2243
2020-02-15 23:45:00 | 2.809 | 261.7 | 3.645 | 266.5 | 3.311 | 230.1 | 3.29 | 270.6 | -4.986 | 976.641 | 66.4272 | 2.5384