## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-16 00:00:00 | 2.737 | 267.3 | 3.413 | 267.7 | 3.27 | 242.4 | 3.292 | 276.2 | -4.796 | 976.641 | 65.9483 | 3.9646
2020-02-16 00:15:00 | 2.842 | 262.6 | 3.41 | 272.5 | 3.687 | 255.3 | 3.677 | 272.5 | -4.641 | 976.641 | 65.4695 | 5.4314
2020-02-16 00:30:00 | 3.085 | 269.8 | 3.85 | 281.3 | 4.29 | 268.3 | 4.324 | 276.6 | -4.534 | 976.641 | 63.2119 | 7.2271
2020-02-16 00:45:00 | 3.074 | 276.9 | 3.791 | 287.6 | 5.132 | 272.6 | 5.294 | 281.1 | -4.427 | 976.641 | 60.9885 | 12.0711
2020-02-16 01:00:00 | 2.811 | 275.1 | 3.229 | 284.8 | 4.545 | 263 | 4.708 | 279.5 | -4.349 | 976.492 | 61.6384 | 13.3827
2020-02-16 01:15:00 | 3.557 | 284.7 | 4.259 | 296 | 5.544 | 277.4 | 5.712 | 289.2 | -4.375 | 976.344 | 61.0226 | 19.8487
2020-02-16 01:30:00 | 4.56 | 283.8 | 4.952 | 295.6 | 5.976 | 286.2 | 6.132 | 288.3 | -4.468 | 976.641 | 65.9479 | 22.4092
2020-02-16 01:45:00 | 4.732 | 311.3 | 5.64 | 321.2 | 5.839 | 310.3 | 6.056 | 312.2 | -4.798 | 976.492 | 62.083 | 33.176
2020-02-16 02:00:00 | 4.892 | 315.6 | 5.197 | 323.8 | 4.356 | 311.9 | 4.247 | 320.4 | -4.583 | 976.641 | 59.2435 | 35.0124
2020-02-16 02:15:00 | 4.349 | 314.3 | 5.23 | 327.2 | 4.926 | 317.8 | 5.345 | 316.3 | -4.574 | 976.641 | 58.2172 | 39.8415
2020-02-16 02:30:00 | 4.905 | 309.2 | 5.928 | 323.5 | 6.979 | 314.2 | 7.153 | 311.8 | -4.851 | 976.641 | 59.4475 | 36.3942
2020-02-16 02:45:00 | 4.619 | 313.2 | 5.519 | 326.2 | 5.435 | 318.2 | 5.605 | 318.4 | -4.928 | 976.641 | 58.867 | 40.9537
2020-02-16 03:00:00 | 4.359 | 329.3 | 4.152 | 343.3 | 3.631 | 332.6 | 3.774 | 326.6 | -5.223 | 976.641 | 61.2279 | 34.5801
2020-02-16 03:15:00 | 3.279 | 344.9 | 3.939 | 7.897 | 5.081 | 0.179 | 5.429 | 340.9 | -5.534 | 976.344 | 65.401 | 23.4918
2020-02-16 03:30:00 | 3.651 | 351.5 | 4.509 | 3.745 | 5.544 | 0.363 | 5.668 | 352.6 | -5.831 | 976.046 | 68.548 | 11.5279
2020-02-16 03:45:00 | 3.143 | 7.473 | 3.64 | 15.64 | 4.435 | 9.36 | 4.673 | 4.726 | -6.141 | 975.748 | 71.8323 | 7.3232
2020-02-16 04:00:00 | 3.835 | 7.697 | 4.029 | 12.48 | 3.97 | 358.9 | 4.059 | 4.013 | -6.167 | 975.897 | 72.2817 | 7.0572
2020-02-16 04:15:00 | 2.954 | 10.73 | 3.397 | 19.46 | 4.349 | 13.97 | 4.612 | 3.933 | -6.406 | 975.748 | 75.8104 | 8.6275
2020-02-16 04:30:00 | 3.166 | 7.361 | 4.568 | 23.8 | 4.761 | 8.52 | 4.685 | 6.803 | -6.535 | 975.6 | 74.9914 | 10.486
2020-02-16 04:45:00 | 3.736 | 10.57 | 4.228 | 18.62 | 4.41 | 4.573 | 4.461 | 4.382 | -6.323 | 975.451 | 71.8782 | 10.4379
2020-02-16 05:00:00 | 3.309 | 11.12 | 3.41 | 20.8 | 3.896 | 2.168 | 4.174 | 5.432 | -6.218 | 975.6 | 66.3017 | 6.9759
2020-02-16 05:15:00 | 3.202 | 7.623 | 3.883 | 17.39 | 4.608 | 4.855 | 4.932 | 3.905 | -6.324 | 975.451 | 64.5227 | 4.1678
2020-02-16 05:30:00 | 2.684 | 10.49 | 3.011 | 16.21 | 4.377 | 3.514 | 4.818 | 2.424 | -6.067 | 975.6 | 61.0332 | 1.5814
2020-02-16 05:45:00 | 2.554 | 10.38 | 3.183 | 18.33 | 3.375 | 13.95 | 3.57 | 3.366 | -6.108 | 975.451 | 58.9121 | 2.2834
2020-02-16 06:00:00 | 3.483 | 0.588 | 3.666 | 15.05 | 5.328 | 359.9 | 5.332 | 356.1 | -6.023 | 975.451 | 53.1646 | 2.8376
2020-02-16 06:15:00 | 3.182 | 340.4 | 4.371 | 4.292 | 4.209 | 0.482 | 4.069 | 337.7 | -5.899 | 975.748 | 52.9593 | 1.5075
2020-02-16 06:30:00 | 2.855 | 340.6 | 3.783 | 12.82 | 3.273 | 0.278 | 3.272 | 337.5 | -5.963 | 976.046 | 56.7225 | 1.3191
2020-02-16 06:45:00 | 2.131 | 334.8 | 3.244 | 355.5 | 2.66 | 357.6 | 2.556 | 328 | -6.269 | 976.046 | 61.7174 | 2.2354
2020-02-16 07:00:00 | 3.391 | 314.9 | 2.809 | 335.6 | 4.901 | 329 | 5.444 | 311.6 | -6.3 | 976.344 | 51.5224 | 4.2897
2020-02-16 07:15:00 | 3.542 | 310.2 | 4.059 | 327.1 | 5.163 | 321.4 | 5.353 | 308.7 | -5.826 | 976.344 | 53.233 | 9.5364
2020-02-16 07:30:00 | 4.285 | 309.7 | 4.325 | 326.5 | 5.432 | 312.6 | 5.752 | 310.1 | -5.916 | 976.344 | 59.6647 | 17.0591
2020-02-16 07:45:00 | 3.884 | 311.1 | 4.057 | 325.7 | 5.491 | 311.5 | 5.847 | 307.9 | -6.104 | 976.641 | 59.4502 | 15.8361
2020-02-16 08:00:00 | 2.831 | 308.4 | 3.446 | 327 | 5.458 | 311.1 | 5.788 | 306.7 | -5.646 | 976.939 | 54.0384 | 13.0871
2020-02-16 08:15:00 | 3.133 | 303.1 | 3.944 | 318.2 | 4.628 | 307.9 | 4.777 | 305 | -5.504 | 976.953 | 55.6028 | 6.9278
2020-02-16 08:30:00 | 3.268 | 325.9 | 3.379 | 332.5 | 2.876 | 315.1 | 2.994 | 322.7 | -5.278 | 977.234 | 53.4022 | 6.2591
2020-02-16 08:45:00 | 2.875 | 334.4 | 2.992 | 358.6 | 3.008 | 352.9 | 2.964 | 329.3 | -4.504 | 977.53 | 46.2155 | 4.6444
2020-02-16 09:00:00 | 3.925 | 340.4 | 4.141 | 355.6 | 4.092 | 343.5 | 4.158 | 335.3 | -4.193 | 978.125 | 47.2395 | 5.5571
2020-02-16 09:15:00 | 3.264 | 334.5 | 3.62 | 340.4 | 3.848 | 332.1 | 4.061 | 336.2 | -3.816 | 978.187 | 42.5535 | 1.7366
2020-02-16 09:30:00 | 2.205 | 6.994 | 2.42 | 30.3 | 2.866 | 13.55 | 2.903 | 357 | -3.158 | 978.42 | 36.6309 | 1.1232
2020-02-16 09:45:00 | 2.327 | 11.14 | 3.975 | 34.82 | 4.458 | 28.14 | 4.423 | 2.097 | -3.107 | 978.42 | 41.4822 | 1.8881
2020-02-16 10:00:00 | 3.761 | 13.59 | 4.773 | 37.76 | 4.112 | 29.81 | 4.309 | 1.321 | -3.29 | 978.566 | 35.9785 | 1.9657
2020-02-16 10:15:00 | 3.981 | 15.14 | 5.284 | 35.61 | 4.517 | 28.18 | 4.415 | 9.54 | -3.314 | 978.709 | 37.3787 | 2.9411
2020-02-16 10:30:00 | 3.188 | 6.724 | 3.612 | 350.9 | 3.637 | 307.5 | 3.753 | 8.15 | -2.192 | 978.717 | 38.3366 | 2.9596
2020-02-16 10:45:00 | 3.237 | 349.1 | 3.221 | 354.1 | 2.757 | 313.9 | 2.793 | 347.2 | -2.132 | 978.772 | 37.8488 | 1.6922
2020-02-16 11:00:00 | 3.6 | 325.1 | 3.804 | 319.1 | 3.129 | 292.7 | 3.077 | 334.8 | -2.537 | 978.418 | 35.5252 | 1.9028
2020-02-16 11:15:00 | 4.244 | 303.2 | 4.663 | 312.7 | 4.255 | 300 | 4.283 | 303.6 | -2.374 | 978.418 | 35.9693 | 2.0728
2020-02-16 11:30:00 | 3.055 | 346.7 | 3.331 | 353.8 | 2.74 | 320.9 | 2.544 | 350.9 | -1.846 | 978.715 | 35.2519 | 3.4214
2020-02-16 11:45:00 | 3.817 | 311.8 | 4.504 | 322.5 | 4.295 | 315.7 | 4.38 | 314.5 | -1.945 | 978.418 | 37.9846 | 7.7038
2020-02-16 12:00:00 | 3.738 | 307 | 4.09 | 323.5 | 3.736 | 318.7 | 3.715 | 310.1 | -1.501 | 978.715 | 34.5346 | 6.3256
2020-02-16 12:15:00 | 3.281 | 303.3 | 3.826 | 317.1 | 4.079 | 304.4 | 4.097 | 307.2 | -1.35 | 978.418 | 37.5747 | 14.1697
2020-02-16 12:30:00 | 5.868 | 299.7 | 6.703 | 314.5 | 6.577 | 305.2 | 6.601 | 300.9 | -1.056 | 978.566 | 35.6617 | 13.6525
2020-02-16 12:45:00 | 6.261 | 299.6 | 7.424 | 313.1 | 7.162 | 301.7 | 7.179 | 301.6 | -1.067 | 978.269 | 37.2331 | 13.4455
2020-02-16 13:00:00 | 4.563 | 313.4 | 4.97 | 327.2 | 5.051 | 310.4 | 5.032 | 315.9 | -0.777 | 977.972 | 38.9752 | 11.5723
2020-02-16 13:15:00 | 5.365 | 313.8 | 5.875 | 324.1 | 5.862 | 315.7 | 5.888 | 315 | -0.345 | 977.972 | 37.0965 | 13.2054
2020-02-16 13:30:00 | 4.073 | 311.3 | 4.814 | 329.6 | 4.62 | 314.8 | 4.659 | 312.7 | -0.046 | 977.823 | 38.9411 | 23.9704
2020-02-16 13:45:00 | 4.678 | 313.2 | 4.806 | 324.1 | 4.758 | 314.1 | 4.991 | 314.3 | 0.209 | 978.121 | 38.2237 | 32.0343
2020-02-16 14:00:00 | 5.906 | 309.1 | 6.148 | 323.9 | 6.315 | 315.7 | 6.41 | 310.5 | 0.137 | 977.823 | 38.1554 | 31.0552
2020-02-16 14:15:00 | 4.541 | 337.9 | 4.553 | 346.6 | 4.585 | 326.5 | 4.711 | 341.6 | 0.914 | 977.823 | 37.0965 | 34.2116
2020-02-16 14:30:00 | 6.345 | 306.5 | 7.386 | 319.4 | 7.492 | 309.8 | 7.647 | 305.5 | 0.69 | 978.121 | 36.0717 | 50.2958
2020-02-16 14:45:00 | 6.557 | 313.4 | 6.823 | 331.6 | 6.193 | 312.8 | 6.101 | 319.5 | 1.101 | 977.972 | 32.5192 | 37.9755
2020-02-16 15:00:00 | 4.354 | 323.4 | 5.2 | 343.2 | 5.286 | 325.9 | 5.406 | 323.6 | 1.166 | 978.418 | 33.4415 | 47.644
2020-02-16 15:15:00 | 4.41 | 338 | 4.862 | 354.7 | 4.613 | 342.3 | 4.668 | 329.1 | 1.176 | 978.566 | 33.988 | 38.9468
2020-02-16 15:30:00 | 5.232 | 310.1 | 6.657 | 326.3 | 6.887 | 321.3 | 6.926 | 311.3 | 1.501 | 978.418 | 34.7737 | 52.1671
2020-02-16 15:45:00 | 6.864 | 306.2 | 8.2 | 319.8 | 8.02 | 309.5 | 8.07 | 307 | 1.688 | 978.418 | 32.1435 | 65.0821
2020-02-16 16:00:00 | 6.309 | 317.9 | 7.283 | 336.4 | 7.541 | 331.8 | 7.696 | 318.5 | 1.596 | 978.418 | 31.9385 | 55.5647
2020-02-16 16:15:00 | 5.858 | 311.3 | 7.496 | 323.4 | 7.024 | 317.4 | 7.023 | 311.8 | 1.682 | 978.418 | 32.3143 | 44.9986
2020-02-16 16:30:00 | 4.151 | 327.8 | 5.266 | 349 | 5.442 | 339.8 | 5.801 | 326.1 | 1.696 | 978.418 | 33.2707 | 41.2862
2020-02-16 16:45:00 | 4.052 | 344.7 | 4.642 | 4.162 | 4.86 | 359 | 4.846 | 334.3 | 1.319 | 978.418 | 33.544 | 33.5212
2020-02-16 17:00:00 | 4.492 | 342 | 4.704 | 5.186 | 5.529 | 345.4 | 5.64 | 335.5 | 1.234 | 978.121 | 36.14 | 22.5903
2020-02-16 17:15:00 | 3.212 | 342.4 | 3.492 | 8.72 | 3.586 | 357.8 | 3.71 | 338.1 | 1.124 | 978.167 | 36.345 | 22.727
2020-02-16 17:30:00 | 4.558 | 345.2 | 4.944 | 8.63 | 5.061 | 351.4 | 5.016 | 341.7 | 1.123 | 978.101 | 36.6239 | 31.0182
2020-02-16 17:45:00 | 4.612 | 337.6 | 5.08 | 358.1 | 4.6 | 348.1 | 4.688 | 336 | 1.01 | 977.825 | 36.8654 | 30.2608
2020-02-16 18:00:00 | 4.152 | 341.9 | 4.811 | 2.94 | 5.191 | 353.4 | 5.154 | 335.2 | 0.776 | 977.525 | 35.3321 | 20.8537
2020-02-16 18:15:00 | 4.379 | 337.9 | 5.169 | 359.8 | 5.343 | 357.6 | 5.511 | 337.8 | 0.746 | 977.379 | 36.0502 | 19.3573
2020-02-16 18:30:00 | 3.914 | 1.271 | 4.499 | 22.12 | 4.99 | 13.73 | 5.332 | 359.3 | 0.49 | 977.438 | 41.0158 | 13.0206
2020-02-16 18:45:00 | 3.731 | 8.72 | 5.716 | 23.62 | 5.109 | 12.02 | 4.823 | 13.24 | 0.107 | 977.823 | 42.0441 | 10.8259
2020-02-16 19:00:00 | 3.557 | 13.64 | 4.502 | 28.58 | 5.066 | 21.07 | 4.864 | 19.62 | -0.198 | 977.678 | 44.0265 | 7.9328
2020-02-16 19:15:00 | 3.498 | 22.43 | 4.484 | 37.05 | 4.723 | 21.94 | 4.609 | 26.79 | -0.35 | 977.53 | 42.5568 | 6.3958
2020-02-16 19:30:00 | 3.741 | 23.07 | 4.642 | 39.92 | 4.865 | 24.49 | 4.851 | 26.49 | -0.376 | 977.53 | 43.2747 | 6.7985
2020-02-16 19:45:00 | 4.177 | 29.56 | 4.896 | 44.69 | 5.127 | 32.6 | 5.151 | 32.26 | -0.483 | 977.232 | 41.7365 | 12.932
2020-02-16 20:00:00 | 4.078 | 31.31 | 5.136 | 45.97 | 5.259 | 26.76 | 5.236 | 36.22 | -0.748 | 977.232 | 42.1808 | 11.757
2020-02-16 20:15:00 | 3.687 | 31.03 | 4.648 | 44.86 | 5.114 | 32.58 | 5.197 | 35.27 | -0.799 | 977.232 | 43.823 | 12.2743
2020-02-16 20:30:00 | 3.856 | 35.83 | 5.138 | 49.83 | 5.397 | 31.22 | 5.401 | 37.73 | -0.993 | 977.232 | 43.6915 | 11.4688
2020-02-16 20:45:00 | 3.593 | 33.93 | 4.387 | 54.27 | 4.7 | 30.81 | 4.731 | 37.04 | -0.995 | 976.935 | 43.4186 | 9.4514
2020-02-16 21:00:00 | 3.978 | 37.66 | 4.366 | 57.87 | 4.229 | 42.7 | 4.209 | 38.11 | -0.992 | 976.935 | 42.5299 | 5.9524
2020-02-16 21:15:00 | 3.715 | 45.29 | 3.837 | 67.71 | 3.626 | 52.18 | 3.618 | 41.2 | -0.865 | 977.232 | 41.641 | 1.0678
2020-02-16 21:30:00 | 3.445 | 32.62 | 3.517 | 63.59 | 3.1 | 51.54 | 3.117 | 25.98 | -0.954 | 977.232 | 39.7265 | -0.39165
2020-02-16 21:45:00 | 2.495 | 26.92 | 2.515 | 53 | 2.164 | 50.12 | 2.33 | 18.04 | -0.948 | 977.381 | 38.4615 | -0.28081
2020-02-16 22:00:00 | 0.153 | 336.2 | 0.788 | 52.48 | 1.318 | 46.89 | 1.423 | 353.6 | -0.749 | 977.381 | 39.453 | -0.28081
2020-02-16 22:15:00 | 2.15 | 190.3 | 2.49 | 204.6 | 1.466 | 185.7 | 1.117 | 201 | -1.482 | 977.381 | 43.4872 | -0.25125
2020-02-16 22:30:00 | 0.045 | 181.6 | 0.507 | 190.4 | 0 | 176 | 0 | 200.5 | -1.329 | 977.381 | 42.3248 | -0.29928
2020-02-16 22:45:00 | 0.164 | 322.2 | 0.015 | 190.4 | 0.264 | 176 | 0.254 | 330.5 | -1.326 | 977.53 | 41.9829 | -0.26972
2020-02-16 23:00:00 | 0 | 339.3 | 0 | 191.5 | 0 | 176 | 0 | 335.5 | -1.469 | 977.53 | 42.5304 | -0.26972
2020-02-16 23:15:00 | 0 | 357 | 0.008 | 191.5 | 0.721 | 176 | 0.644 | 359.4 | -1.63 | 977.566 | 40.8273 | -0.28081
2020-02-16 23:30:00 | 0 | 19.5 | 0.18 | 37.92 | 1.166 | 176 | 1.104 | 22.75 | -1.067 | 977.906 | 38.2971 | -0.28081
2020-02-16 23:45:00 | 1.264 | 19.69 | 2.178 | 37.67 | 2.701 | 175.4 | 2.753 | 24.38 | -0.921 | 978.057 | 39.5281 | -0.29928