## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-17 00:00:00 | 2.832 | 14.24 | 3.65 | 32.56 | 3.812 | 16.31 | 3.713 | 19.68 | -1.051 | 978.2 | 36.7569 | -0.18844
2020-02-17 00:15:00 | 2.635 | 9.92 | 3.098 | 25.26 | 3.517 | 12.99 | 3.494 | 8.51 | -0.943 | 978.286 | 37.8124 | 0.6429
2020-02-17 00:30:00 | 2.735 | 24.29 | 3.323 | 17.72 | 4.773 | 5.475 | 5.228 | 1.551 | -0.901 | 978.425 | 35.0086 | 1.404
2020-02-17 00:45:00 | 3.726 | 348.1 | 4.272 | 3.265 | 4.43 | 356.2 | 4.535 | 346.5 | -0.593 | 978.422 | 34.6667 | 1.4742
2020-02-17 01:00:00 | 3.322 | 347.5 | 4.113 | 5.458 | 4.829 | 359.9 | 4.927 | 346.4 | -0.75 | 978.422 | 35.8974 | 1.3228
2020-02-17 01:15:00 | 3.064 | 337 | 4.374 | 357.6 | 3.247 | 358.3 | 3.216 | 334.5 | -0.879 | 978.422 | 35.4188 | 2.1024
2020-02-17 01:30:00 | 3.485 | 336.2 | 4.573 | 353.9 | 3.619 | 354.4 | 3.664 | 332.3 | -0.734 | 978.422 | 34.188 | 3.9867
2020-02-17 01:45:00 | 3.71 | 336.1 | 4.635 | 353.4 | 3.217 | 350.5 | 3.127 | 333 | -0.59 | 978.571 | 34.0513 | 4.5705
2020-02-17 02:00:00 | 3.565 | 328.5 | 3.441 | 348.6 | 2.94 | 341.6 | 3.127 | 331.2 | -0.675 | 978.869 | 33.9145 | 7.0941
2020-02-17 02:15:00 | 3.789 | 337 | 4.642 | 353.8 | 4.509 | 351.2 | 4.719 | 337.6 | -0.738 | 978.72 | 34.8034 | 9.6805
2020-02-17 02:30:00 | 4.535 | 332 | 4.09 | 348.8 | 3.415 | 341.8 | 3.46 | 331.4 | -0.684 | 978.72 | 34.5983 | 11.2397
2020-02-17 02:45:00 | 4.193 | 332 | 3.847 | 347.7 | 2.851 | 338.5 | 2.933 | 329.4 | -0.806 | 978.72 | 35.1453 | 9.7027
2020-02-17 03:00:00 | 3.937 | 333.3 | 3.942 | 344.9 | 3.194 | 342.6 | 3.236 | 327.2 | -0.851 | 978.422 | 35.8974 | 11.5168
2020-02-17 03:15:00 | 4.001 | 321.5 | 4.361 | 332.5 | 4.056 | 324.4 | 4.286 | 317.7 | -1.045 | 978.422 | 37.6752 | 11.4873
2020-02-17 03:30:00 | 4.277 | 327.8 | 4.607 | 337.4 | 3.296 | 326.3 | 3.272 | 323.1 | -1.337 | 978.422 | 37.5385 | 15.6107
2020-02-17 03:45:00 | 3.529 | 326 | 4.126 | 338.1 | 3.954 | 331.9 | 4.092 | 329 | -1.854 | 978.422 | 42.0513 | 19.1024
2020-02-17 04:00:00 | 4.183 | 328.1 | 5.435 | 346.3 | 7.368 | 342.5 | 7.729 | 327.7 | -2.105 | 978.422 | 47.1797 | 20.366
2020-02-17 04:15:00 | 4.492 | 343.9 | 5.824 | 6.158 | 8.25 | 2.639 | 8.55 | 345.2 | -2.725 | 977.858 | 49.2308 | 24.9845
2020-02-17 04:30:00 | 3.966 | 343 | 5.098 | 5.054 | 6.867 | 7.225 | 7.143 | 343.6 | -2.826 | 977.828 | 49.5043 | 20.8278
2020-02-17 04:45:00 | 4.412 | 347.5 | 5.816 | 5.631 | 7.909 | 6.996 | 8.05 | 348.4 | -2.875 | 977.846 | 50.4673 | 26.5585
2020-02-17 05:00:00 | 4.525 | 352.6 | 5.276 | 9.86 | 7.118 | 11.1 | 7.543 | 352.3 | -3.059 | 977.878 | 50.6069 | 26.9539
2020-02-17 05:15:00 | 4.859 | 358.6 | 5.852 | 11.7 | 7.914 | 8.28 | 8.16 | 356.1 | -3.294 | 977.591 | 52.9323 | 28.7016
2020-02-17 05:30:00 | 4.938 | 4.546 | 5.926 | 17.07 | 7.332 | 13.25 | 7.843 | 1.612 | -3.548 | 977.929 | 53.0016 | 21.6407
2020-02-17 05:45:00 | 4.285 | 6.742 | 4.525 | 18.99 | 5.152 | 15.02 | 5.447 | 6.565 | -3.546 | 978.032 | 50.5447 | 20.9572
2020-02-17 06:00:00 | 4.234 | 7.488 | 6.151 | 23.19 | 5.725 | 13.12 | 5.518 | 7.478 | -3.763 | 978.21 | 49.1791 | 23.0965
2020-02-17 06:15:00 | 4.068 | 8.39 | 5.547 | 24.51 | 5.641 | 9.73 | 5.36 | 10.39 | -3.653 | 978.104 | 48.461 | 24.0682
2020-02-17 06:30:00 | 4.844 | 8.7 | 6.867 | 24.81 | 6.165 | 14.82 | 5.773 | 9.97 | -3.816 | 978.376 | 47.5376 | 21.334
2020-02-17 06:45:00 | 5.273 | 5.884 | 5.926 | 22.29 | 5.918 | 14.43 | 6 | 6.123 | -3.713 | 978.712 | 47.264 | 20.9017
2020-02-17 07:00:00 | 4.461 | 5.753 | 5.241 | 22.31 | 6.045 | 11.67 | 6.109 | 4.125 | -3.718 | 978.724 | 46.6142 | 20.6098
2020-02-17 07:15:00 | 3.805 | 7.8 | 4.484 | 19.82 | 4.911 | 6.979 | 4.864 | 6.323 | -3.816 | 978.843 | 45.6908 | 16.0726
2020-02-17 07:30:00 | 3.817 | 7.682 | 5.524 | 24.45 | 4.501 | 12.26 | 4.344 | 8.44 | -3.711 | 978.877 | 45.9644 | 11.3653
2020-02-17 07:45:00 | 4.134 | 8.67 | 5.578 | 27.47 | 4.672 | 16.27 | 4.543 | 8.45 | -3.537 | 978.798 | 44.4524 | 5.3391
2020-02-17 08:00:00 | 3.649 | 7.384 | 3.806 | 23.56 | 3.965 | 21.04 | 4.14 | 4.039 | -3.278 | 979.196 | 44.1712 | 1.9361
2020-02-17 08:15:00 | 2.538 | 6.792 | 2.975 | 30.16 | 2.838 | 3.703 | 2.775 | 7.232 | -2.997 | 979.612 | 42.837 | 0.80548
2020-02-17 08:30:00 | 1.48 | 8.96 | 2.354 | 33.35 | 2.283 | 18.63 | 2.199 | 357.9 | -2.546 | 980.207 | 41.087 | 0.33254
2020-02-17 08:45:00 | 1.126 | 28.28 | 3.101 | 50.21 | 2.512 | 12.22 | 2.052 | 14.37 | -2.089 | 980.612 | 42.0083 | 0.49511
2020-02-17 09:00:00 | 1.434 | 31.28 | 3.418 | 51 | 2.772 | 6.555 | 2.294 | 29.93 | -2.181 | 980.799 | 43.1233 | 0.022169
2020-02-17 09:15:00 | 2.817 | 27.29 | 3.362 | 49.25 | 2.526 | 50.14 | 2.084 | 23.27 | -2.343 | 981.09 | 42.5047 | -0.20322
2020-02-17 09:30:00 | 0.472 | 32.47 | 0.782 | 358 | 1.243 | 306 | 1.245 | 18.51 | -0.997 | 981.545 | 40.4468 | -0.23278
2020-02-17 09:45:00 | 2.87 | 359.9 | 2.666 | 347 | 1.757 | 301.5 | 1.615 | 4.087 | -1.635 | 981.39 | 40.649 | -0.23278
2020-02-17 10:00:00 | 2.999 | 336.2 | 3.252 | 326.6 | 2.319 | 300.1 | 2.079 | 349.4 | -0.978 | 981.687 | 39.0736 | -0.29928
2020-02-17 10:15:00 | 3.442 | 296 | 3.673 | 303.6 | 3.209 | 276.5 | 3.145 | 301.7 | -1.372 | 981.687 | 38.245 | -0.20691
2020-02-17 10:30:00 | 2.316 | 359.3 | 2.7 | 341.7 | 2.619 | 312.8 | 2.634 | 12.64 | -1.212 | 981.687 | 35.8545 | -0.15149
2020-02-17 10:45:00 | 2.08 | 321.6 | 2.469 | 327.4 | 2.662 | 300.6 | 2.632 | 328.9 | -0.542 | 981.822 | 35.5814 | -0.088676
2020-02-17 11:00:00 | 4.106 | 308.6 | 4.412 | 309.9 | 3.492 | 283.5 | 3.506 | 318.7 | -0.59 | 981.984 | 36.7082 | 0.72049
2020-02-17 11:15:00 | 3.348 | 298.4 | 3.326 | 307.8 | 3.222 | 283.1 | 3.221 | 302 | -0.575 | 981.98 | 37.8692 | 1.3412
2020-02-17 11:30:00 | 3.759 | 301.7 | 3.778 | 313.6 | 3.69 | 298.4 | 3.708 | 303.4 | -0.478 | 981.981 | 39.9864 | 1.6036
2020-02-17 11:45:00 | 2.962 | 311.4 | 3.285 | 328.5 | 2.977 | 314 | 3.207 | 307.3 | -0.28 | 982.281 | 39.5424 | 3.9461
2020-02-17 12:00:00 | 4.412 | 306.2 | 4.678 | 322.4 | 4.6 | 318.4 | 4.622 | 306.1 | 0.384 | 981.981 | 38.1766 | 4.4634
2020-02-17 12:15:00 | 4.149 | 289.9 | 4.277 | 300.6 | 4.56 | 281.2 | 4.622 | 293.3 | 0.096 | 982.141 | 35.9911 | 8.1139
2020-02-17 12:30:00 | 3.855 | 300.5 | 4.663 | 309.6 | 4.946 | 288.1 | 5.014 | 301.4 | 0.972 | 982.179 | 37.3229 | 9.481
2020-02-17 12:45:00 | 5.362 | 289.9 | 5.384 | 301.2 | 5.648 | 285.3 | 5.628 | 290.6 | 0.705 | 981.947 | 37.4595 | 10.7926
2020-02-17 13:00:00 | 5.406 | 295.6 | 5.951 | 308 | 6.32 | 295.8 | 6.394 | 296 | 1.25 | 981.834 | 38.1083 | 11.7385
2020-02-17 13:15:00 | 4.011 | 282.9 | 4.098 | 292.8 | 4.372 | 270.7 | 4.395 | 285.2 | 1.423 | 982.281 | 34.5228 | 10.8037
2020-02-17 13:30:00 | 4.504 | 303.2 | 4.977 | 317.6 | 5.058 | 310.9 | 5.024 | 303 | 1.786 | 982.281 | 33.7716 | 19.2982
2020-02-17 13:45:00 | 3.794 | 295 | 4.2 | 307.4 | 4.239 | 291 | 4.342 | 296.9 | 2.295 | 982.576 | 30.63 | 21.6629
2020-02-17 14:00:00 | 5.459 | 297.1 | 6.332 | 303.8 | 6.043 | 289.9 | 6.145 | 298.9 | 2.444 | 982.429 | 31.6886 | 26.6347
2020-02-17 14:15:00 | 5.26 | 307.3 | 5.939 | 322.6 | 6.5 | 307.1 | 6.537 | 303.1 | 3.186 | 982.429 | 28.3089 | 25.4916
2020-02-17 14:30:00 | 5.612 | 303.1 | 6.192 | 317.2 | 6.444 | 303.6 | 6.44 | 303 | 3.194 | 981.984 | 29.3681 | 26.5823
2020-02-17 14:45:00 | 5.929 | 318.2 | 6.238 | 327.1 | 6.289 | 314.6 | 6.387 | 317.4 | 3.81 | 982.132 | 29.5036 | 22.2688
2020-02-17 15:00:00 | 5.081 | 309.3 | 5.524 | 321.1 | 5.384 | 307.7 | 5.434 | 313.5 | 3.713 | 981.977 | 26.8055 | 19.4386
2020-02-17 15:15:00 | 5.574 | 310.3 | 5.576 | 325 | 5.849 | 311.6 | 6.14 | 309 | 3.862 | 981.984 | 26.9763 | 16.5418
2020-02-17 15:30:00 | 5.457 | 311.5 | 5.622 | 319.2 | 4.636 | 303.7 | 4.769 | 312.8 | 3.964 | 982.142 | 23.0493 | 18.0345
2020-02-17 15:45:00 | 6.246 | 308 | 7.089 | 320.2 | 6.727 | 308.5 | 6.832 | 309.6 | 4.295 | 982.101 | 23.8347 | 15.9913
2020-02-17 16:00:00 | 5.385 | 295.3 | 6 | 307 | 5.859 | 297.6 | 5.928 | 294.9 | 4.265 | 982.081 | 23.3908 | 15.2856
2020-02-17 16:15:00 | 4.56 | 293.6 | 5.154 | 304.5 | 5.063 | 287.6 | 5.098 | 296.6 | 4.344 | 982.306 | 23.2542 | 13.2793
2020-02-17 16:30:00 | 5.607 | 300.9 | 6.603 | 313.2 | 6.185 | 302.8 | 6.213 | 301.1 | 4.374 | 982.338 | 22.503 | 13.6525
2020-02-17 16:45:00 | 3.027 | 314.9 | 3.719 | 334.8 | 3.888 | 321.5 | 4.016 | 308.8 | 4.491 | 982.166 | 23.2884 | 11.2323
2020-02-17 17:00:00 | 5.446 | 322.7 | 5.53 | 327.8 | 4.857 | 314 | 4.859 | 324.7 | 4.325 | 982.059 | 21.4444 | 6.9389
2020-02-17 17:15:00 | 2.592 | 308.9 | 3.413 | 326.3 | 3.296 | 329.5 | 3.249 | 309.1 | 4.325 | 982.126 | 22.9469 | 2.8081
2020-02-17 17:30:00 | 2.132 | 312.3 | 2.687 | 325.1 | 2.802 | 316.2 | 2.941 | 312.6 | 4.423 | 981.982 | 24.3128 | 1.8179
2020-02-17 17:45:00 | 2.165 | 318.8 | 2.523 | 334 | 2.726 | 329.8 | 2.77 | 320 | 4.203 | 981.389 | 24.7942 | 0.23278
2020-02-17 18:00:00 | 2.525 | 310.1 | 2.848 | 327 | 2.985 | 320.2 | 3.033 | 311.4 | 3.877 | 980.795 | 24.321 | -0.19583
2020-02-17 18:15:00 | 1.918 | 326.1 | 2.321 | 0.135 | 2.332 | 344.6 | 2.449 | 326 | 3.647 | 980.646 | 23.8429 | -0.24755
2020-02-17 18:30:00 | 0.216 | 288.9 | 1.316 | 57.16 | 1.439 | 306.4 | 1.54 | 297.5 | 3.66 | 980.619 | 24.0871 | -0.26972
2020-02-17 18:45:00 | 1.209 | 273 | 1.707 | 346.7 | 1.704 | 267.2 | 1.82 | 269.7 | 3.68 | 980.754 | 23.8497 | -0.25125
2020-02-17 19:00:00 | 1.862 | 244.7 | 1.971 | 250.1 | 1.813 | 228.9 | 1.894 | 245.8 | 3.742 | 980.798 | 25.2178 | -0.25125
2020-02-17 19:15:00 | 2.303 | 236.8 | 2.582 | 245.7 | 2.573 | 207 | 2.595 | 245.3 | 3.557 | 980.798 | 25.4912 | -0.26233
2020-02-17 19:30:00 | 1.902 | 240.7 | 2.51 | 244.8 | 2.637 | 212.6 | 2.732 | 240.6 | 3.383 | 980.798 | 23.5776 | -0.28081
2020-02-17 19:45:00 | 2.786 | 229.4 | 3.377 | 234.1 | 3.171 | 207.2 | 3.155 | 234.4 | 3.677 | 980.798 | 23.9877 | -0.28081
2020-02-17 20:00:00 | 2.699 | 215.5 | 3.604 | 230.3 | 3.113 | 198.4 | 3.127 | 219.5 | 3.493 | 980.798 | 23.7827 | -0.28081
2020-02-17 20:15:00 | 2.952 | 212 | 3.379 | 230.5 | 2.782 | 198.2 | 2.775 | 214.6 | 3.664 | 980.501 | 23.9877 | -0.28081
2020-02-17 20:30:00 | 3.299 | 203.8 | 3.973 | 218.8 | 3.782 | 193.9 | 3.83 | 209.3 | 3.468 | 980.352 | 24.1244 | 0.088676
2020-02-17 20:45:00 | 2.929 | 203.9 | 3.886 | 211.7 | 3.896 | 191.4 | 3.934 | 209.4 | 3.447 | 980.352 | 24.6369 | 1.4632
2020-02-17 21:00:00 | 4.06 | 190.1 | 4.614 | 196.8 | 4.738 | 178.3 | 4.815 | 199.5 | 3.281 | 980.203 | 24.7394 | 7.8515
2020-02-17 21:15:00 | 4.642 | 189.9 | 5.269 | 200.6 | 5.89 | 187.1 | 6.053 | 198.4 | 3.105 | 980.501 | 25.4229 | 8.2284
2020-02-17 21:30:00 | 4.709 | 180.7 | 5.604 | 188.5 | 5.646 | 170.4 | 5.694 | 190.1 | 2.916 | 980.501 | 27.1997 | 7.9439
2020-02-17 21:45:00 | 4.56 | 182.3 | 5.951 | 187 | 5.91 | 168.8 | 6.056 | 192.3 | 2.702 | 980.203 | 27.9515 | 8.9748
2020-02-17 22:00:00 | 5.206 | 181.8 | 5.599 | 188.3 | 5.605 | 164.7 | 5.618 | 190.8 | 3.233 | 980.352 | 25.7646 | 10.7446
2020-02-17 22:15:00 | 4.859 | 177.8 | 5.721 | 185.6 | 6.045 | 170.2 | 6.196 | 188.8 | 3.1 | 980.501 | 26.2429 | 11.7274
2020-02-17 22:30:00 | 4.68 | 181.6 | 5.954 | 188.1 | 6.03 | 170.9 | 6.094 | 191.4 | 3.002 | 980.501 | 24.7394 | 15.0713
2020-02-17 22:45:00 | 5.467 | 178.7 | 6.823 | 188 | 6.526 | 182.1 | 6.613 | 189.2 | 2.693 | 980.501 | 26.1067 | 20.0371
2020-02-17 23:00:00 | 4.486 | 174.1 | 6.192 | 184 | 6.572 | 175.7 | 6.7 | 185.4 | 2.475 | 980.501 | 26.38 | 16.2315
2020-02-17 23:15:00 | 4.553 | 169 | 6.222 | 177.7 | 6.531 | 168.2 | 6.509 | 183.1 | 2.327 | 980.203 | 26.1753 | 16.261
2020-02-17 23:30:00 | 5.314 | 173.8 | 6.966 | 183.6 | 6.78 | 173.5 | 6.758 | 183.2 | 2.452 | 980.203 | 26.1787 | 18.404
2020-02-17 23:45:00 | 6.549 | 166.3 | 7.097 | 177.9 | 7.174 | 163.3 | 7.14 | 176.7 | 2.692 | 980.055 | 25.4607 | 22.4979