## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-18 00:00:00 | 7.847 | 171.1 | 7.979 | 182.9 | 7.627 | 166.4 | 7.777 | 180.3 | 2.526 | 980.203 | 25.6982 | 27.1645
2020-02-18 00:15:00 | 6.146 | 169.8 | 6.744 | 176.2 | 6.299 | 157.7 | 6.379 | 181.8 | 2.648 | 980.203 | 25.4925 | 18.877
2020-02-18 00:30:00 | 5.245 | 169 | 6.235 | 175 | 7.085 | 161.6 | 7.186 | 182.7 | 2.643 | 979.906 | 24.9465 | 18.2378
2020-02-18 00:45:00 | 5.4 | 175.6 | 6.422 | 182.3 | 7.129 | 170.5 | 7.258 | 184.9 | 2.475 | 979.757 | 25.9714 | 22.339
2020-02-18 01:00:00 | 5.967 | 174.8 | 6.511 | 179.3 | 7.103 | 158.9 | 7.204 | 185.4 | 2.614 | 979.906 | 25.9729 | 26.2482
2020-02-18 01:15:00 | 5.888 | 161.5 | 6.407 | 172.3 | 6.511 | 158.3 | 6.573 | 169.5 | 2.711 | 979.46 | 23.444 | 20.802
2020-02-18 01:30:00 | 4.394 | 172 | 5.1 | 185.2 | 5.803 | 178.5 | 5.811 | 175 | 3.251 | 979.609 | 23.853 | 23.5066
2020-02-18 01:45:00 | 4.088 | 159.6 | 4.87 | 177.9 | 5.534 | 185.3 | 5.559 | 165 | 3.241 | 979.312 | 24.0564 | 25.6348
2020-02-18 02:00:00 | 3.95 | 164.2 | 4.632 | 188.4 | 5.264 | 209.2 | 5.213 | 166.8 | 3.132 | 979.46 | 22.6213 | 27.1534
2020-02-18 02:15:00 | 4.53 | 155.4 | 5.53 | 172.8 | 5.641 | 166.5 | 5.556 | 163.9 | 3.22 | 979.312 | 23.3043 | 27.4084
2020-02-18 02:30:00 | 1.708 | 158.3 | 2.884 | 173.8 | 4.959 | 158.3 | 5.266 | 163.2 | 3.252 | 979.014 | 22.4159 | 27.1276
2020-02-18 02:45:00 | 3.231 | 158.1 | 4.494 | 171.9 | 5.628 | 164.3 | 5.783 | 163.5 | 3.3 | 979.014 | 23.441 | 29.3112
2020-02-18 03:00:00 | 2.249 | 161.5 | 3.341 | 177.2 | 4.631 | 163.9 | 4.706 | 162.4 | 3.158 | 979.014 | 22.6892 | 34.1662
2020-02-18 03:15:00 | 6.973 | 158.7 | 7.672 | 174.2 | 7.48 | 162.1 | 7.525 | 165.4 | 3.182 | 978.717 | 24.9445 | 43.3664
2020-02-18 03:30:00 | 8.33 | 160.1 | 8.72 | 173.3 | 8.96 | 159.4 | 8.97 | 167.6 | 3.162 | 978.717 | 23.5093 | 39.5275
2020-02-18 03:45:00 | 6.994 | 157.8 | 7.337 | 172.9 | 7.523 | 164.9 | 7.571 | 165.2 | 2.778 | 978.717 | 26.653 | 46.1191
2020-02-18 04:00:00 | 7.42 | 153.8 | 7.989 | 170.5 | 8.04 | 161.5 | 8.17 | 163 | 2.016 | 978.122 | 27.4731 | 57.1888
2020-02-18 04:15:00 | 8.66 | 151 | 9.71 | 162.5 | 10 | 148 | 9.85 | 160.6 | 2.007 | 978.122 | 27.2018 | 58.6446
2020-02-18 04:30:00 | 9.31 | 154.7 | 10.48 | 167.6 | 10.18 | 150.7 | 10.15 | 164.4 | 2.733 | 978.122 | 26.7926 | 64.8187
2020-02-18 04:45:00 | 9.01 | 152 | 9.72 | 165.5 | 10.65 | 149 | 10.59 | 161.2 | 1.99 | 978.122 | 27.9551 | 72.2342
2020-02-18 05:00:00 | 8.49 | 143.5 | 9.24 | 165.8 | 11.17 | 152.7 | 11.16 | 158.7 | 1.801 | 978.135 | 29.6655 | 76.3503
2020-02-18 05:15:00 | 8.26 | 141.9 | 8.64 | 168.2 | 10.66 | 152.7 | 10.74 | 160.1 | 1.663 | 978.156 | 28.916 | 76.0067
2020-02-18 05:30:00 | 8.85 | 135.2 | 9.68 | 164 | 10.56 | 156.2 | 10.51 | 157.8 | 1.867 | 978.308 | 30.6954 | 75.5818
2020-02-18 05:45:00 | 9.96 | 149.7 | 10.42 | 165.2 | 10.9 | 150 | 10.79 | 160.4 | 1.913 | 978.251 | 32.0969 | 76.6274
2020-02-18 06:00:00 | 10.17 | 153.7 | 10.82 | 168 | 11.42 | 155.8 | 11.33 | 162.6 | 1.481 | 978.208 | 34.3867 | 79.332
2020-02-18 06:15:00 | 9.97 | 158.4 | 10.54 | 174.1 | 11.05 | 158.3 | 11.13 | 165.7 | 1.362 | 978.238 | 33.9765 | 82.6759
2020-02-18 06:30:00 | 11.12 | 159.4 | 11.76 | 173.1 | 11.43 | 157.3 | 11.39 | 165.3 | 1.585 | 978.693 | 34.7974 | 75.0275
2020-02-18 06:45:00 | 10.76 | 162.9 | 11.27 | 176.5 | 11.62 | 159.1 | 11.64 | 170.5 | 1.629 | 979.014 | 34.9342 | 75.785
2020-02-18 07:00:00 | 10.49 | 161.5 | 11.22 | 173 | 11.68 | 160.1 | 11.73 | 171.1 | 1.86 | 979.004 | 34.3873 | 79.0808
2020-02-18 07:15:00 | 10.6 | 160 | 11.05 | 171.5 | 11.53 | 158.4 | 11.65 | 166.3 | 1.884 | 978.585 | 34.3187 | 78.2442
2020-02-18 07:30:00 | 10.54 | 161.9 | 10.7 | 173 | 10.99 | 157.8 | 11.06 | 169 | 2.274 | 978.129 | 36.501 | 81.6709
2020-02-18 07:45:00 | 10.6 | 160.8 | 11.2 | 173.9 | 12.22 | 162.4 | 12.46 | 168.8 | 1.962 | 978.42 | 39.4329 | 82.6632
2020-02-18 08:00:00 | 10.4 | 155.9 | 11.35 | 170.3 | 11.89 | 158.5 | 11.81 | 163.2 | 2.194 | 978.42 | 38.3393 | 82.4484
2020-02-18 08:15:00 | 11.89 | 158.4 | 12.46 | 172 | 12.29 | 156.3 | 12.26 | 162.9 | 2.717 | 978.545 | 38.4748 | 84.5011
2020-02-18 08:30:00 | 11.58 | 154.7 | 12.44 | 168.3 | 13.11 | 153.6 | 12.96 | 161.8 | 2.701 | 978.717 | 37.9243 | 84.0762
2020-02-18 08:45:00 | 12.01 | 159.3 | 12.73 | 173.5 | 13.41 | 161.4 | 13.35 | 167.6 | 3.064 | 979.278 | 38.7455 | 84.3238
2020-02-18 09:00:00 | 10.08 | 153.6 | 11 | 170.9 | 11.92 | 160.4 | 11.9 | 160.9 | 2.761 | 979.126 | 38.4634 | 83.9136
2020-02-18 09:15:00 | 10.84 | 156.3 | 11.06 | 172.5 | 10.31 | 160.3 | 10.27 | 164.5 | 2.845 | 979.013 | 39.0777 | 84.176
2020-02-18 09:30:00 | 11.34 | 157.5 | 11.68 | 169.7 | 10.9 | 155.1 | 10.87 | 166.3 | 3.137 | 979.458 | 39.2144 | 85.5394
2020-02-18 09:45:00 | 10.79 | 157.8 | 11.3 | 171.9 | 10.99 | 159.2 | 10.93 | 164.4 | 3.166 | 979.607 | 39.6926 | 84.2214
2020-02-18 10:00:00 | 12.32 | 156.5 | 12.11 | 171.8 | 12.07 | 159.7 | 12.05 | 163.3 | 3.801 | 979.309 | 41.9471 | 86.8326
2020-02-18 10:15:00 | 11.96 | 156.5 | 12.1 | 168.3 | 11.93 | 155.2 | 11.72 | 165.7 | 3.731 | 979.458 | 40.5124 | 81.2423
2020-02-18 10:30:00 | 11.8 | 155.8 | 11.43 | 170.7 | 10.96 | 158.2 | 10.87 | 165.5 | 4.503 | 980.201 | 39.3852 | 80.0685
2020-02-18 10:45:00 | 10.97 | 156.3 | 11.58 | 168.7 | 11.39 | 154.6 | 11.24 | 161.3 | 5.281 | 980.201 | 37.329 | 72.6793
2020-02-18 11:00:00 | 11.11 | 153.7 | 11.16 | 165.7 | 9.72 | 149.7 | 9.63 | 165 | 5.12 | 980.201 | 37.8693 | 70.058
2020-02-18 11:15:00 | 11.36 | 154.3 | 11.22 | 169.3 | 10.23 | 157.7 | 10.01 | 161.9 | 5.574 | 980.063 | 37.9375 | 73.6421
2020-02-18 11:30:00 | 10.46 | 148.5 | 10.65 | 163.6 | 10.06 | 153.7 | 9.87 | 156.5 | 5.802 | 979.902 | 37.6985 | 62.4458
2020-02-18 11:45:00 | 11.21 | 147.2 | 11.6 | 162.7 | 10.87 | 151.2 | 10.62 | 154.2 | 5.955 | 979.604 | 39.7132 | 32.9975
2020-02-18 12:00:00 | 10.03 | 159.1 | 9.86 | 173.5 | 9.19 | 162.7 | 9.12 | 167 | 6.505 | 979.455 | 34.8627 | 23.9463
2020-02-18 12:15:00 | 8.95 | 160.7 | 8.72 | 176.9 | 9.34 | 167.6 | 9.35 | 162.7 | 7.134 | 979.291 | 36.0193 | 24.3823
2020-02-18 12:30:00 | 8.14 | 159.6 | 8.14 | 179.9 | 7.942 | 178.7 | 7.808 | 166.9 | 7.531 | 978.977 | 35.2692 | 26.3886
2020-02-18 12:45:00 | 9.39 | 163.4 | 9.6 | 178.1 | 8.57 | 169.9 | 8.61 | 167.6 | 8.14 | 978.771 | 33.2487 | 30.2957
2020-02-18 13:00:00 | 10.88 | 179.1 | 10.5 | 195 | 9.73 | 185.8 | 9.75 | 179.2 | 8.45 | 978.821 | 31.7119 | 31.4353
2020-02-18 13:15:00 | 8.39 | 166.8 | 8.68 | 181.2 | 8.12 | 171.7 | 8.15 | 173 | 8.87 | 978.438 | 32.1557 | 30.3679
2020-02-18 13:30:00 | 8.75 | 171.2 | 7.941 | 192.2 | 8.06 | 187.2 | 8.09 | 171.7 | 9.09 | 978.414 | 29.9027 | 26.3073
2020-02-18 13:45:00 | 9.89 | 170.5 | 9.33 | 190.5 | 8.26 | 186.3 | 8.23 | 168.5 | 9.11 | 978.265 | 30.5513 | 23.1297
2020-02-18 14:00:00 | 9.31 | 154.7 | 8.87 | 169.1 | 8.25 | 156.5 | 8.04 | 161.5 | 9.15 | 978.116 | 30.7561 | 26.662
2020-02-18 14:15:00 | 9.07 | 170.5 | 8.66 | 191.1 | 7.975 | 183.1 | 7.828 | 171.4 | 9.31 | 977.819 | 30.4489 | 21.3151
2020-02-18 14:30:00 | 8.93 | 183.3 | 8.45 | 197.9 | 7.225 | 191.9 | 7.23 | 180.5 | 9.76 | 977.523 | 30.9951 | 21.5296
2020-02-18 14:45:00 | 8.25 | 179.6 | 7.887 | 195.8 | 7.032 | 185.3 | 7.151 | 180.3 | 9.64 | 977.671 | 28.9811 | 34.1475
2020-02-18 15:00:00 | 10.18 | 172.8 | 9.88 | 186.5 | 8.68 | 168.5 | 8.67 | 176.6 | 9.88 | 977.819 | 29.3224 | 44.5221
2020-02-18 15:15:00 | 9.37 | 180 | 9.06 | 193.8 | 7.968 | 183.4 | 8.05 | 178.9 | 9.98 | 977.819 | 29.2883 | 52.3364
2020-02-18 15:30:00 | 9.34 | 173.3 | 9.22 | 189.8 | 8.04 | 184.8 | 8.07 | 175.7 | 9.8 | 977.374 | 29.1517 | 57.4585
2020-02-18 15:45:00 | 8.46 | 169 | 8.41 | 186.2 | 7.535 | 176.2 | 7.662 | 173.9 | 10.02 | 977.968 | 29.6296 | 71.7893
2020-02-18 16:00:00 | 8.12 | 179.5 | 7.749 | 196.2 | 6.795 | 194 | 6.919 | 180.6 | 9.95 | 977.819 | 30.2441 | 66.0787
2020-02-18 16:15:00 | 9.99 | 179.1 | 9.47 | 192.6 | 7.815 | 181.6 | 7.825 | 179.8 | 9.81 | 977.819 | 30.6537 | 63.8491
2020-02-18 16:30:00 | 7.956 | 172.1 | 7.93 | 188.6 | 7.113 | 178.3 | 7.168 | 178.2 | 9.89 | 977.819 | 30.4489 | 66.858
2020-02-18 16:45:00 | 9.41 | 153.4 | 9.55 | 171 | 9.29 | 157.7 | 9.21 | 157.2 | 9.67 | 977.819 | 31.1999 | 67.9334
2020-02-18 17:00:00 | 10.32 | 150.8 | 10.31 | 164.8 | 9.74 | 152.2 | 9.72 | 158.2 | 9.27 | 977.374 | 31.6095 | 65.7535
2020-02-18 17:15:00 | 7.9 | 166.1 | 8.11 | 180.8 | 7.892 | 170.5 | 7.958 | 170.7 | 9.12 | 976.929 | 31.2681 | 69.0899
2020-02-18 17:30:00 | 8.95 | 157.9 | 9.12 | 171.3 | 9.37 | 156.3 | 9.41 | 162 | 8.81 | 976.579 | 32.0874 | 58.4609
2020-02-18 17:45:00 | 8.79 | 161.3 | 8.56 | 171.4 | 7.652 | 151.9 | 7.617 | 168 | 8.52 | 976.236 | 31.888 | 59.5868
2020-02-18 18:00:00 | 7.785 | 158.8 | 7.997 | 176.1 | 7.818 | 169.6 | 7.869 | 162.9 | 8.34 | 976.038 | 30.8005 | 67.4088
2020-02-18 18:15:00 | 7.928 | 150.1 | 8.35 | 169.2 | 9.16 | 161.9 | 9.07 | 154.4 | 8.26 | 976.187 | 32.5081 | 66.3689
2020-02-18 18:30:00 | 9.34 | 157.7 | 9.53 | 168.4 | 9.37 | 152.1 | 9.39 | 163.6 | 7.99 | 976.258 | 33.0545 | 67.8891
2020-02-18 18:45:00 | 10.04 | 148.5 | 10.74 | 163.4 | 11.01 | 153 | 10.94 | 154.5 | 7.922 | 976.318 | 33.9423 | 64.2525
2020-02-18 19:00:00 | 9.27 | 141.8 | 9.62 | 158.5 | 10.11 | 148.5 | 10.08 | 148.2 | 7.664 | 976.635 | 34.6259 | 64.4566
2020-02-18 19:15:00 | 8.74 | 145.5 | 9.39 | 163 | 9.85 | 155.2 | 9.75 | 151 | 7.449 | 976.635 | 35.8566 | 70.0719
2020-02-18 19:30:00 | 7.323 | 148 | 8.12 | 165.3 | 9.06 | 157.2 | 9.18 | 153.8 | 7.035 | 976.635 | 36.2747 | 67.1412
2020-02-18 19:45:00 | 8.74 | 147.9 | 9.01 | 164.1 | 9.75 | 155 | 9.8 | 153.5 | 6.983 | 976.486 | 36.4816 | 69.6536
2020-02-18 20:00:00 | 8.91 | 146.2 | 9.44 | 162.2 | 10.58 | 150.3 | 10.54 | 151.6 | 7.027 | 976.337 | 35.5935 | 66.3853
2020-02-18 20:15:00 | 8.33 | 146.2 | 8.4 | 162.7 | 9.38 | 150.4 | 9.45 | 152.7 | 7.201 | 976.337 | 35.3886 | 62.018
2020-02-18 20:30:00 | 9.52 | 142.3 | 10.22 | 159 | 10.35 | 147.1 | 10.28 | 149.3 | 7.264 | 976.04 | 35.3202 | 68.6375
2020-02-18 20:45:00 | 11.58 | 142.2 | 11.94 | 158.5 | 12.14 | 144.9 | 11.98 | 148.5 | 7.466 | 976.04 | 35.5252 | 70.3166
2020-02-18 21:00:00 | 11.23 | 143.4 | 12.16 | 157.2 | 12.26 | 146.6 | 12.02 | 150.1 | 7.465 | 976.04 | 36.4133 | 66.9247
2020-02-18 21:15:00 | 10.51 | 145.2 | 10.5 | 160.2 | 11.38 | 146.9 | 11.26 | 151 | 7.292 | 976.337 | 37.3698 | 64.124
2020-02-18 21:30:00 | 9.51 | 145 | 9.84 | 160.3 | 10.12 | 149.7 | 10.09 | 151.8 | 7.103 | 976.04 | 37.5747 | 64.209
2020-02-18 21:45:00 | 9.06 | 144.2 | 9.65 | 160.2 | 10.25 | 150.1 | 10.13 | 150.6 | 6.929 | 976.486 | 38.5995 | 64.8803
2020-02-18 22:00:00 | 9.51 | 145.1 | 9.75 | 161.3 | 10.1 | 150.6 | 10.04 | 151.3 | 6.817 | 976.04 | 39.2143 | 67.7376
2020-02-18 22:15:00 | 10.26 | 145.5 | 10.33 | 160.3 | 10.34 | 144.3 | 10.25 | 151.8 | 6.799 | 976.04 | 39.2827 | 70.9136
2020-02-18 22:30:00 | 10.57 | 145.7 | 10.76 | 160.5 | 11.04 | 148 | 10.87 | 151.7 | 6.699 | 976.04 | 40.1366 | 72.0404
2020-02-18 22:45:00 | 10.21 | 145.3 | 10.19 | 162.9 | 10.33 | 150.7 | 10.24 | 152 | 6.663 | 975.446 | 39.7609 | 61.6989
2020-02-18 23:00:00 | 10.2 | 145.8 | 10.7 | 161.1 | 10.71 | 148.2 | 10.5 | 153.7 | 6.691 | 976.04 | 40.3757 | 49.1156
2020-02-18 23:15:00 | 7.982 | 152 | 8.01 | 172.2 | 8.54 | 162.2 | 8.65 | 153.9 | 6.408 | 976.04 | 41.1272 | 61.785
2020-02-18 23:30:00 | 8.19 | 152.3 | 8.19 | 170.1 | 9.01 | 158.7 | 9.13 | 153.4 | 6.222 | 976.04 | 41.9812 | 77.4157
2020-02-18 23:45:00 | 8.16 | 150.9 | 7.894 | 171.4 | 8.34 | 171.4 | 8.45 | 155.6 | 6.116 | 975.743 | 42.6985 | 81.7911