## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-19 00:00:00 | 9.32 | 149 | 9.58 | 171.1 | 10.09 | 167.6 | 9.99 | 152.6 | 5.915 | 975.446 | 43.1768 | 78.743
2020-02-19 00:15:00 | 9.2 | 151.3 | 9.73 | 172.1 | 10.34 | 162.9 | 10.41 | 153.7 | 5.844 | 975.446 | 43.655 | 73.9523
2020-02-19 00:30:00 | 9.43 | 150.7 | 9.74 | 171.1 | 10.14 | 162.7 | 10.12 | 155.4 | 5.726 | 975.446 | 43.9283 | 57.1371
2020-02-19 00:45:00 | 8.91 | 150.4 | 9.3 | 169.5 | 10.44 | 159.9 | 10.41 | 153.9 | 5.655 | 975.743 | 44.6114 | 57.0262
2020-02-19 01:00:00 | 9.64 | 152 | 10.12 | 166.7 | 10.75 | 158 | 10.59 | 158.6 | 5.563 | 975.446 | 45.2946 | 58.4377
2020-02-19 01:15:00 | 8.9 | 152.6 | 9.28 | 169.9 | 9.97 | 161 | 10.01 | 157.6 | 5.357 | 975.446 | 45.7045 | 58.87
2020-02-19 01:30:00 | 8.28 | 150 | 8.37 | 167.3 | 9.97 | 164 | 9.91 | 153.3 | 5.202 | 975.47 | 46.1144 | 55.4818
2020-02-19 01:45:00 | 7.997 | 151.1 | 8.56 | 169.9 | 9.2 | 161.7 | 9.21 | 153.6 | 5.089 | 974.917 | 46.6615 | 57.2184
2020-02-19 02:00:00 | 8.42 | 149.8 | 8.55 | 170.7 | 9.36 | 169.7 | 9.54 | 152.6 | 4.89 | 974.989 | 47.4853 | 56.1949
2020-02-19 02:15:00 | 8.6 | 151.4 | 8.68 | 167.3 | 9.1 | 157 | 9.11 | 155.3 | 4.888 | 975.096 | 47.3527 | 58.2345
2020-02-19 02:30:00 | 8.59 | 150 | 8.93 | 168.5 | 9.05 | 163.2 | 9.14 | 154 | 4.985 | 975.148 | 47.0119 | 58.2012
2020-02-19 02:45:00 | 9.85 | 148.4 | 10.29 | 162.9 | 10.6 | 150.7 | 10.52 | 153.4 | 5.134 | 974.542 | 45.714 | 56.2392
2020-02-19 03:00:00 | 8.82 | 149.8 | 9.1 | 165.7 | 9.83 | 151.8 | 9.99 | 154.1 | 5.08 | 974.826 | 47.0799 | 46.5785
2020-02-19 03:15:00 | 9.16 | 147.1 | 9.77 | 162.6 | 10.09 | 148.7 | 9.94 | 152.2 | 4.919 | 974.376 | 46.3959 | 36.7372
2020-02-19 03:30:00 | 9.99 | 145.1 | 10.77 | 161.2 | 11.02 | 148 | 10.72 | 151.6 | 5.015 | 974.023 | 46.0194 | 39.7381
2020-02-19 03:45:00 | 10.12 | 145.5 | 10.86 | 161 | 10.72 | 148.2 | 10.64 | 152.8 | 5.039 | 973.925 | 46.1232 | 41.1975
2020-02-19 04:00:00 | 10.4 | 144.1 | 10.54 | 161.4 | 10.85 | 149.9 | 10.74 | 149.1 | 4.919 | 973.949 | 46.5339 | 35.0715
2020-02-19 04:15:00 | 10.74 | 144.2 | 11.04 | 161.2 | 11.03 | 150.4 | 10.87 | 151.2 | 4.89 | 973.615 | 47.1517 | 35.5222
2020-02-19 04:30:00 | 9.82 | 145.6 | 10.39 | 162.8 | 11.02 | 153.4 | 10.97 | 151.9 | 4.897 | 973.803 | 47.4906 | 36.1651
2020-02-19 04:45:00 | 11.27 | 144.4 | 11.78 | 159.3 | 12.1 | 146.8 | 11.92 | 149.8 | 4.83 | 973.323 | 47.9701 | 36.8154
2020-02-19 05:00:00 | 10.61 | 142.4 | 11.12 | 158.7 | 11.72 | 147.7 | 11.6 | 147.4 | 4.76 | 973.503 | 48.7894 | 36.5088
2020-02-19 05:15:00 | 11.36 | 143.6 | 11.89 | 160.9 | 12.61 | 149.1 | 12.48 | 149.6 | 4.717 | 973.366 | 48.5178 | 37.026
2020-02-19 05:30:00 | 11.81 | 143.2 | 12.19 | 157.1 | 12.21 | 144.4 | 12.16 | 149 | 4.739 | 973.634 | 48.1102 | 36.1504
2020-02-19 05:45:00 | 10.85 | 142.7 | 11.26 | 158.5 | 11.89 | 148.6 | 11.77 | 149.3 | 4.687 | 973.662 | 45.8521 | 36.7637
2020-02-19 06:00:00 | 12.13 | 143.1 | 12.63 | 159.5 | 12.91 | 147.3 | 12.72 | 147.9 | 4.758 | 973.961 | 45.4445 | 36.7379
2020-02-19 06:15:00 | 10.74 | 143.1 | 11.48 | 158.3 | 12.04 | 147.1 | 11.98 | 148.9 | 4.765 | 973.663 | 44.3515 | 54.4692
2020-02-19 06:30:00 | 11.62 | 144 | 12.06 | 158.6 | 12.45 | 146.3 | 12.43 | 150.4 | 4.744 | 973.961 | 44.6907 | 67.1982
2020-02-19 06:45:00 | 10.5 | 142.2 | 11.01 | 159.7 | 11.83 | 149.2 | 11.82 | 147.4 | 4.739 | 973.961 | 44.8293 | 80.8445
2020-02-19 07:00:00 | 11.23 | 144 | 11.64 | 159.6 | 12.42 | 148 | 12.34 | 149.9 | 4.707 | 974.258 | 45.0349 | 86.6515
2020-02-19 07:15:00 | 11.03 | 143.9 | 11.1 | 159.3 | 11.35 | 146.1 | 11.27 | 148.9 | 4.582 | 974.555 | 45.7194 | 82.2546
2020-02-19 07:30:00 | 9.99 | 142.1 | 10.33 | 157.5 | 10.75 | 147.4 | 10.63 | 146.6 | 4.571 | 974.848 | 45.102 | 79.8124
2020-02-19 07:45:00 | 8.86 | 139 | 9.46 | 155.7 | 10.16 | 145.1 | 10.25 | 144.9 | 4.603 | 974.676 | 44.6864 | 82.8347
2020-02-19 08:00:00 | 10.11 | 140.1 | 10.35 | 157.1 | 10.85 | 146.2 | 10.79 | 146.2 | 4.751 | 974.872 | 44.5432 | 82.5133
2020-02-19 08:15:00 | 9.15 | 140.1 | 9.19 | 156.8 | 9.63 | 145.3 | 9.57 | 145.9 | 4.82 | 975.446 | 45.4313 | 78.5524
2020-02-19 08:30:00 | 9.46 | 140.4 | 9.38 | 155.6 | 9.67 | 140.6 | 9.62 | 145.1 | 4.885 | 975.743 | 45.4996 | 77.4107
2020-02-19 08:45:00 | 8.97 | 137.3 | 8.89 | 154.4 | 9.33 | 143.1 | 9.36 | 141.3 | 5.061 | 976.041 | 44.6115 | 72.2676
2020-02-19 09:00:00 | 8.87 | 136.7 | 8.99 | 151.8 | 8.97 | 138.1 | 8.84 | 142.9 | 5.252 | 976.486 | 43.8555 | 68.1403
2020-02-19 09:15:00 | 8.89 | 137.4 | 9.52 | 153.3 | 9.76 | 142.2 | 9.72 | 142.4 | 5.439 | 976.635 | 43.3671 | 68.05
2020-02-19 09:30:00 | 10.55 | 140.3 | 10.58 | 156.3 | 10.87 | 140.7 | 10.73 | 145.8 | 5.509 | 976.807 | 44.323 | 71.8469
2020-02-19 09:45:00 | 10.21 | 139.5 | 10.21 | 154.9 | 9.89 | 145.4 | 9.73 | 146 | 5.678 | 976.524 | 44.9377 | 73.8304
2020-02-19 10:00:00 | 9.79 | 139.9 | 9.86 | 157.8 | 10.48 | 147.5 | 10.39 | 145.2 | 5.861 | 976.634 | 44.1865 | 76.2801
2020-02-19 10:15:00 | 10.04 | 141 | 10.13 | 159.7 | 9.5 | 151.5 | 9.39 | 144.4 | 6.12 | 976.485 | 43.0937 | 71.8241
2020-02-19 10:30:00 | 11.15 | 145.6 | 11.43 | 161.8 | 10.7 | 150.7 | 10.49 | 150.6 | 6.413 | 976.633 | 40.9083 | 75.2365
2020-02-19 10:45:00 | 9.76 | 147 | 10.08 | 163.5 | 9.7 | 151.4 | 9.47 | 149.8 | 6.574 | 976.614 | 40.6325 | 76.9087
2020-02-19 11:00:00 | 10.55 | 141.9 | 11 | 156.8 | 10.65 | 143.7 | 10.44 | 148.7 | 6.855 | 976.484 | 40.4235 | 71.9386
2020-02-19 11:15:00 | 9.74 | 142.6 | 9.88 | 158.8 | 9.62 | 149.3 | 9.5 | 147.3 | 7.076 | 976.452 | 39.7762 | 64.5063
2020-02-19 11:30:00 | 10.09 | 142.4 | 10.36 | 160 | 9.59 | 149.2 | 9.36 | 146.1 | 7.67 | 976.685 | 40.7588 | 54.499
2020-02-19 11:45:00 | 8.04 | 139.7 | 7.961 | 160.2 | 8.21 | 154.4 | 8.18 | 146 | 8.03 | 976.945 | 40.8261 | 52.4779
2020-02-19 12:00:00 | 8.34 | 143.6 | 8.38 | 161.9 | 8.17 | 150 | 8.04 | 148.6 | 8.12 | 977.238 | 39.3241 | 41.4606
2020-02-19 12:15:00 | 6.639 | 148.9 | 6.655 | 164.1 | 5.971 | 151 | 6.04 | 155.1 | 8.65 | 976.929 | 38.9828 | 37.3844
2020-02-19 12:30:00 | 9.19 | 137.5 | 9.49 | 153.9 | 9.16 | 142.6 | 8.96 | 142.6 | 8.93 | 976.78 | 36.9346 | 46.3017
2020-02-19 12:45:00 | 8.43 | 148.1 | 8.56 | 166.2 | 8.16 | 159.1 | 7.991 | 153 | 9.33 | 976.483 | 36.5592 | 43.9139
2020-02-19 13:00:00 | 7.977 | 156.5 | 7.741 | 168.5 | 6.859 | 154.6 | 6.781 | 162.1 | 9.87 | 976.335 | 35.9447 | 55.1234
2020-02-19 13:15:00 | 9.01 | 147 | 9.23 | 161.8 | 8.84 | 150.7 | 8.78 | 156.1 | 9.62 | 976.632 | 35.0231 | 51.3694
2020-02-19 13:30:00 | 7.691 | 162.2 | 7.508 | 178.7 | 6.92 | 169.1 | 6.888 | 167.4 | 9.87 | 976.335 | 36.1495 | 47.3716
2020-02-19 13:45:00 | 10.67 | 149.3 | 10.5 | 163.2 | 9.97 | 148.8 | 9.75 | 155 | 9.7 | 976.038 | 36.4567 | 53.3343
2020-02-19 14:00:00 | 8.27 | 145.3 | 8.27 | 158.5 | 7.617 | 145.4 | 7.471 | 156.9 | 10.14 | 976.038 | 36.1837 | 53.3961
2020-02-19 14:15:00 | 7.561 | 160.9 | 8.27 | 177.7 | 7.686 | 170.1 | 7.53 | 166.1 | 10.05 | 976.038 | 35.9789 | 49.4186
2020-02-19 14:30:00 | 8.02 | 159.9 | 8.27 | 174 | 7.96 | 165.7 | 7.938 | 165.4 | 10.48 | 976.038 | 36.2178 | 48.0872
2020-02-19 14:45:00 | 6.823 | 178.7 | 6.593 | 197 | 5.77 | 186.1 | 5.806 | 175.4 | 10.39 | 975.741 | 35.9789 | 49.0554
2020-02-19 15:00:00 | 9.08 | 150.2 | 9.19 | 167.3 | 8.8 | 154.7 | 8.69 | 155.8 | 10.29 | 976.038 | 35.4327 | 44.6559
2020-02-19 15:15:00 | 7.709 | 158.1 | 7.667 | 170.3 | 6.897 | 155.8 | 6.807 | 167 | 10.2 | 976.038 | 35.2279 | 42.1471
2020-02-19 15:30:00 | 8.18 | 148.6 | 8.74 | 165.4 | 8.6 | 153.9 | 8.43 | 154.2 | 10.28 | 976.038 | 36.6274 | 44.3161
2020-02-19 15:45:00 | 7.788 | 150.5 | 8.15 | 165.5 | 7.34 | 156.5 | 7.283 | 159.4 | 10.28 | 976.038 | 36.1837 | 44.5081
2020-02-19 16:00:00 | 7.489 | 159.2 | 7.076 | 175.8 | 6.879 | 159 | 6.975 | 164.4 | 9.9 | 975.444 | 38.027 | 39.4609
2020-02-19 16:15:00 | 8.64 | 157.7 | 8.86 | 165.8 | 8.24 | 149.7 | 8.23 | 162.6 | 9.86 | 975.741 | 36.4226 | 33.5455
2020-02-19 16:30:00 | 6.953 | 159.4 | 7.145 | 175.8 | 6.928 | 161.7 | 6.937 | 161 | 10.05 | 976.335 | 37.0712 | 29.9956
2020-02-19 16:45:00 | 6.943 | 150.5 | 6.933 | 167.8 | 7.057 | 155.2 | 7.056 | 155 | 10.12 | 976.038 | 36.9346 | 30.1484
2020-02-19 17:00:00 | 7.676 | 149.2 | 7.894 | 165.8 | 7.711 | 152.5 | 7.548 | 155.4 | 10.03 | 976.038 | 38.0611 | 23.4881
2020-02-19 17:15:00 | 6.59 | 149.3 | 6.928 | 168.1 | 6.915 | 156.3 | 6.896 | 149.6 | 9.99 | 976.335 | 38.027 | 18.973
2020-02-19 17:30:00 | 6.996 | 151.5 | 7.087 | 166.6 | 6.971 | 156.3 | 6.86 | 158 | 9.83 | 975.91 | 38.5049 | 28.8198
2020-02-19 17:45:00 | 5.998 | 144.4 | 6.238 | 164.5 | 5.816 | 155.5 | 5.786 | 150.6 | 9.59 | 975.906 | 38.3342 | 27.8961
2020-02-19 18:00:00 | 6.399 | 143.7 | 6.621 | 158 | 6.65 | 143 | 6.639 | 150.9 | 9.26 | 975.596 | 38.8535 | 38.8624
2020-02-19 18:15:00 | 8.2 | 141 | 8.59 | 157 | 8.66 | 145.9 | 8.52 | 147.1 | 9.03 | 975.888 | 38.3438 | 37.9313
2020-02-19 18:30:00 | 6.613 | 144.4 | 6.729 | 159.1 | 7.742 | 144.1 | 7.861 | 149.3 | 8.81 | 975.742 | 38.1082 | 45.1215
2020-02-19 18:45:00 | 7.663 | 144.7 | 7.907 | 161.2 | 8.54 | 146.9 | 8.46 | 150 | 8.76 | 976.336 | 38.6546 | 41.3897
2020-02-19 19:00:00 | 6.432 | 143.5 | 7.061 | 160.6 | 7.899 | 146.2 | 7.948 | 149 | 8.6 | 976.352 | 38.2448 | 40.0447
2020-02-19 19:15:00 | 6.396 | 143 | 6.775 | 158.3 | 7.21 | 143.7 | 7.158 | 149.7 | 8.42 | 976.499 | 39.8839 | 35.1971
2020-02-19 19:30:00 | 6.299 | 143 | 6.716 | 157 | 7.263 | 142.2 | 7.27 | 149.8 | 8.18 | 976.775 | 41.1815 | 34.5542
2020-02-19 19:45:00 | 6.534 | 146.1 | 7.186 | 159.6 | 8.35 | 146.3 | 8.38 | 153.4 | 7.973 | 976.634 | 41.8998 | 37.8685
2020-02-19 20:00:00 | 7.035 | 152 | 7.25 | 167.5 | 8.19 | 159.9 | 8.32 | 155.3 | 8 | 976.635 | 41.1847 | 46.1228
2020-02-19 20:15:00 | 7.446 | 149.1 | 7.769 | 169.2 | 8.6 | 159.3 | 8.63 | 153.1 | 7.935 | 976.932 | 41.3247 | 44.209
2020-02-19 20:30:00 | 7.213 | 148.7 | 7.871 | 163.3 | 8.1 | 149.9 | 7.943 | 156.9 | 7.829 | 976.932 | 42.6918 | 40.5953
2020-02-19 20:45:00 | 7.645 | 149.8 | 7.667 | 170.3 | 7.879 | 166.3 | 7.95 | 155.3 | 7.535 | 977.229 | 42.4887 | 41.4488
2020-02-19 21:00:00 | 7.142 | 156.9 | 7.631 | 168.5 | 6.905 | 156.5 | 6.873 | 165.6 | 7.34 | 977.526 | 41.8094 | 43.5327
2020-02-19 21:15:00 | 6.874 | 154.9 | 7.133 | 172.5 | 7.772 | 159.1 | 7.719 | 158.8 | 7.221 | 977.526 | 43.1768 | 43.8246
2020-02-19 21:30:00 | 5.446 | 157.7 | 5.435 | 170.4 | 5.453 | 155.6 | 5.533 | 161.9 | 6.928 | 977.823 | 44.6456 | 43.7248
2020-02-19 21:45:00 | 6.095 | 166.1 | 5.724 | 178.4 | 5.361 | 156.8 | 5.381 | 172 | 6.81 | 977.972 | 45.2946 | 43.8246
2020-02-19 22:00:00 | 5.939 | 156.5 | 5.849 | 172.7 | 5.801 | 162.1 | 5.938 | 159.6 | 6.62 | 977.972 | 46.1827 | 44.9995
2020-02-19 22:15:00 | 6.994 | 154.9 | 6.895 | 171.9 | 7.477 | 155.6 | 7.54 | 157.8 | 6.394 | 977.675 | 47.2417 | 50.176
2020-02-19 22:30:00 | 7.134 | 150.2 | 7.329 | 166.6 | 7.63 | 155.8 | 7.769 | 156.3 | 6.103 | 977.823 | 48.4372 | 45.7311
2020-02-19 22:45:00 | 4.798 | 141.8 | 5.622 | 163.4 | 7.223 | 165 | 7.466 | 146.7 | 5.925 | 977.823 | 46.9342 | 43.5844
2020-02-19 23:00:00 | 6.348 | 142.5 | 6.591 | 159.7 | 7.342 | 147 | 7.456 | 146.5 | 6.504 | 977.823 | 44.6798 | 39.8046
2020-02-19 23:15:00 | 6.922 | 140.8 | 7.363 | 159.9 | 7.93 | 148.2 | 7.927 | 145.3 | 6.441 | 977.823 | 44.5431 | 43.7876
2020-02-19 23:30:00 | 7.875 | 144 | 8.45 | 160.4 | 8.61 | 148.8 | 8.52 | 148.5 | 6.549 | 977.972 | 43.8599 | 45.2692
2020-02-19 23:45:00 | 6.307 | 145.5 | 6.662 | 163.7 | 7.625 | 148.8 | 7.797 | 150.1 | 6.341 | 978.12 | 44.7481 | 43.5992